## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5239-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5239-1_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5239-1_0_5_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_5239-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5239-1_0_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_5239-1_0_5_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_5239-1_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5239-1_0_5_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_5239-1_0_5_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_5239-1_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5239-1_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5239-1_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_5239-1_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5239-1_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5239-1_0_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_5239-1_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5239-1_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5239-1_0_5_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_5239-1_0_5_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_5239-1_0_5_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_5239-1_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5239-1_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5239-1_0_5_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5239-1_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5239-1_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5239-1_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_5239-1_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5239-1_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5239-1_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_5239-1_0_5_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_5239-1_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_5239-1_0_5_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5239-1_0_5_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_5239-1_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_5239-1_0_5_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_5239-1_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_5239-1_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5239-1_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_5239-1_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5239-1_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_5239-1_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5239-1_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5239-1_0_5_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_5239-1_0_5_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_5239-1_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5239-1_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5239-1_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5239-1_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5239-1_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5239-1_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_5239-1_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5239-1_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5239-1_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_5239-1_0_5_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5239-1_0_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_5239-1_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_5239-1_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5239-1_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5239-1_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5239-1_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5239-1_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_MV_246_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5239-1_0_5_load_0 | 0 | 0.046736 | 0.011713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5239-1_0_5_load_64 | 5 | 0.0081361 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5239-1_0_5_load_46 | 8 | 0.0078383 | 0.0019645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5239-1_0_5_load_18 | 12 | 0.021244 | 0.0053243 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5239-1_0_5_load_39 | 14 | 0.069019 | 0.017298 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5239-1_0_5_load_58 | 17 | 0.0063862 | 0.0016005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5239-1_0_5_load_65 | 18 | 0.0087623 | 0.002196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5239-1_0_5_load_41 | 19 | 0.014076 | 0.0035278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5239-1_0_5_load_48 | 21 | 0.0083194 | 0.002085 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5239-1_0_5_load_60 | 22 | 0.029833 | 0.0074768 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5239-1_0_5_load_19 | 23 | 0.028551 | 0.0071556 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5239-1_0_5_load_22 | 24 | 0.036541 | 0.009158 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5239-1_0_5_load_45 | 25 | 0.01704 | 0.0042705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5239-1_0_5_load_66 | 29 | 0.013947 | 0.0034953 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5239-1_0_5_load_56 | 30 | 0.02547 | 0.0063834 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5239-1_0_5_load_61 | 32 | 0.0019914 | 0.00049909 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5239-1_0_5_load_13 | 33 | 0.01662 | 0.0041652 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5239-1_0_5_load_26 | 36 | 0.010484 | 0.0026274 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5239-1_0_5_load_42 | 37 | 0.0049991 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5239-1_0_5_load_43 | 39 | 0.0021165 | 0.00053044 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5239-1_0_5_load_28 | 40 | 0.0045166 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5239-1_0_5_load_63 | 42 | 0.0083815 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5239-1_0_5_load_67 | 43 | 0.010837 | 0.0027159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5239-1_0_5_load_52 | 44 | 0.0020478 | 0.00051324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5239-1_0_5_load_38 | 45 | 0.0037672 | 0.00094414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5239-1_0_5_load_35 | 46 | 0.0055905 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5239-1_0_5_load_31 | 47 | 0.015607 | 0.0039116 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5239-1_0_5_load_47 | 49 | 0.0023742 | 0.00059504 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5239-1_0_5_load_62 | 52 | 0.014657 | 0.0036734 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5239-1_0_5_load_54 | 53 | 0.0026914 | 0.00067452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5239-1_0_5_load_44 | 55 | 0.0022888 | 0.00057364 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5239-1_0_5_load_51 | 57 | 0.0022007 | 0.00055156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5239-1_0_5_load_53 | 58 | 0.0031549 | 0.00079068 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5239-1_0_5_load_57 | 59 | 0.0094868 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5239-1_0_5_load_55 | 60 | 0.0053848 | 0.0013496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5239-1_0_5_line_0 |  | 0 | 1 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5239-1_0_5_line_1 |  | 1 | 2 | 0.092455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5239-1_0_5_line_2 |  | 2 | 18 | 0.064384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5239-1_0_5_line_3 |  | 2 | 13 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5239-1_0_5_line_4 |  | 3 | 4 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5239-1_0_5_line_5 |  | 3 | 5 | 0.052331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5239-1_0_5_line_6 |  | 4 | 8 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5239-1_0_5_line_7 |  | 5 | 18 | 0.010153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5239-1_0_5_line_8 |  | 6 | 7 | 0.043332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5239-1_0_5_line_9 |  | 6 | 8 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5239-1_0_5_line_10 |  | 7 | 11 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5239-1_0_5_line_11 |  | 7 | 23 | 0.019134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5239-1_0_5_line_12 |  | 9 | 10 | 0.035904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5239-1_0_5_line_13 |  | 9 | 11 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5239-1_0_5_line_14 |  | 10 | 12 | 0.00087442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5239-1_0_5_line_15 |  | 11 | 24 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5239-1_0_5_line_16 |  | 13 | 14 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5239-1_0_5_line_17 |  | 14 | 28 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5239-1_0_5_line_18 |  | 15 | 16 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5239-1_0_5_line_19 |  | 15 | 17 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5239-1_0_5_line_20 |  | 16 | 19 | 0.0072221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5239-1_0_5_line_21 |  | 17 | 30 | 0.0020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5239-1_0_5_line_22 |  | 19 | 28 | 0.0054358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5239-1_0_5_line_23 |  | 20 | 21 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5239-1_0_5_line_24 |  | 20 | 22 | 0.029451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5239-1_0_5_line_25 |  | 21 | 31 | 0.037815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5239-1_0_5_line_26 |  | 22 | 32 | 0.04204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5239-1_0_5_line_27 |  | 25 | 26 | 0.012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5239-1_0_5_line_28 |  | 26 | 37 | 0.0089971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5239-1_0_5_line_29 |  | 27 | 28 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5239-1_0_5_line_30 |  | 27 | 29 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5239-1_0_5_line_31 |  | 30 | 60 | 0.015756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5239-1_0_5_line_32 |  | 31 | 49 | 0.0093852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5239-1_0_5_line_33 |  | 31 | 48 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5239-1_0_5_line_34 |  | 32 | 52 | 0.064218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5239-1_0_5_line_35 |  | 33 | 34 | 0.0048582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5239-1_0_5_line_36 |  | 34 | 35 | 0.024884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5239-1_0_5_line_37 |  | 35 | 36 | 0.0041435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5239-1_0_5_line_38 |  | 36 | 38 | 0.01388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5239-1_0_5_line_39 |  | 37 | 39 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5239-1_0_5_line_40 |  | 38 | 40 | 0.042342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5239-1_0_5_line_41 |  | 38 | 41 | 0.052953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5239-1_0_5_line_42 |  | 39 | 55 | 0.00035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5239-1_0_5_line_43 |  | 40 | 42 | 0.0058622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5239-1_0_5_line_44 |  | 41 | 43 | 0.068329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5239-1_0_5_line_45 |  | 42 | 44 | 0.0074471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5239-1_0_5_line_46 |  | 44 | 56 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5239-1_0_5_line_47 |  | 45 | 46 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5239-1_0_5_line_48 |  | 46 | 48 | 0.054358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5239-1_0_5_line_49 |  | 47 | 48 | 0.067021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5239-1_0_5_line_50 |  | 49 | 50 | 0.020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5239-1_0_5_line_51 |  | 50 | 51 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5239-1_0_5_line_52 |  | 51 | 53 | 0.016959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5239-1_0_5_line_53 |  | 51 | 54 | 0.002935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5239-1_0_5_line_54 |  | 53 | 58 | 0.042161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5239-1_0_5_line_55 |  | 54 | 59 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5239-1_0_5_line_56 |  | 55 | 56 | 0.0080114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5239-1_0_5_line_57 |  | 56 | 57 | 0.0046805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5239-1_0_5_line_58 |  | 57 | 58 | 0.0018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5239-1_0_5_line_59 |  | 59 | 60 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5239-1_0_5_trafo_59 | 0.63 MVA 20/0.4 kV | 61 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2710123.7522 | 1091616.6575 | 2710127.8432 | 1091614.6746 | 2710132.4413 | 1091609.9436 | 2710140.5268 | 1091617.8419
1 | 2710110.2889 | 1091673.363 | 2710110.057 | 1091673.3255 | 2710091.3483 | 1091662.6242 | 2710090.1995 | 1091661.8362 | 2710113.4805 | 1091646.5472 | 2710110.019 | 1091640.7473 | 2710104.7086 | 1091635.1475 | 2710112.3772 | 1091627.8369 | 2710115.7463 | 1091623.3282 | 2710119.0279 | 1091618.9402 | 2710123.7522 | 1091616.6575
2 | 2710110.2889 | 1091673.363 | 2710115.0837 | 1091675.7514 | 2710125.3757 | 1091681.1302 | 2710129.8309 | 1091683.4346 | 2710135.8977 | 1091687.9363 | 2710142.5714 | 1091693.1718 | 2710147.5118 | 1091696.9415 | 2710153.1455 | 1091703.0921 | 2710158.9391 | 1091713.3795
3 | 2710106.606 | 1091684.0702 | 2710106.7441 | 1091679.8699 | 2710110.057 | 1091673.3255 | 2710110.2889 | 1091673.363
4 | 2710171.9036 | 1091773.9571 | 2710173.1043 | 1091785.5645
5 | 2710171.9036 | 1091773.9571 | 2710171.113 | 1091769.6622 | 2710170.2237 | 1091764.8317 | 2710169.4929 | 1091756.8131 | 2710168.422 | 1091744.8857 | 2710166.8158 | 1091732.9708 | 2710166.2006 | 1091730.9805 | 2710163.0229 | 1091722.647
6 | 2710173.1043 | 1091785.5645 | 2710173.4244 | 1091796.3644
7 | 2710163.0229 | 1091722.647 | 2710160.6421 | 1091716.4034 | 2710158.9391 | 1091713.3795
8 | 2710173.8164 | 1091809.5935 | 2710173.2826 | 1091815.0875 | 2710171.8228 | 1091847.7275 | 2710174.5035 | 1091852.1123
9 | 2710173.8164 | 1091809.5935 | 2710173.4244 | 1091796.3644
10 | 2710153.8424 | 1091855.9185 | 2710166.8499 | 1091854.7533 | 2710174.5035 | 1091852.1123
11 | 2710174.5035 | 1091852.1123 | 2710179.1796 | 1091859.7577 | 2710182.6772 | 1091864.8355 | 2710184.9492 | 1091868.1348
12 | 2710154.6011 | 1091901.3406 | 2710158.4103 | 1091899.0636 | 2710164.1057 | 1091894.9528 | 2710167.4385 | 1091892.8673 | 2710159.0713 | 1091882.2642 | 2710156.8892 | 1091875.6091
13 | 2710153.8424 | 1091855.9185 | 2710156.5568 | 1091869.5657 | 2710156.7899 | 1091873.8173 | 2710156.8892 | 1091875.6091
14 | 2710154.6011 | 1091901.3406 | 2710153.8207 | 1091901.735
15 | 2710153.8424 | 1091855.9185 | 2710152.8508 | 1091849.0293 | 2710151.8682 | 1091835.8279
16 | 2710106.606 | 1091684.0702 | 2710105.3506 | 1091685.7486 | 2710101.3305 | 1091691.1017 | 2710100.4721 | 1091692.2647 | 2710090.7634 | 1091699.9016
17 | 2710076.3855 | 1091714.8107 | 2710086.0472 | 1091703.6113 | 2710090.7634 | 1091699.9016
18 | 2710064.5907 | 1091710.2165 | 2710060.2874 | 1091710.2275 | 2710049.5451 | 1091713.024
19 | 2710049.5451 | 1091713.024 | 2710052.7526 | 1091717.0069 | 2710055.3496 | 1091724.7368 | 2710058.8532 | 1091729.9259 | 2710058.7711 | 1091734.4616
20 | 2710064.5907 | 1091710.2165 | 2710071.3203 | 1091712.8378
21 | 2710058.7334 | 1091736.5424 | 2710058.7711 | 1091734.4616
22 | 2710076.3855 | 1091714.8107 | 2710071.3203 | 1091712.8378
23 | 2710008.1001 | 1091732.9545 | 2710014.1924 | 1091743.5794
24 | 2710008.1001 | 1091732.9545 | 2709992.4209 | 1091743.7894 | 2709983.532 | 1091749.1743
25 | 2710027.9969 | 1091772.6855 | 2710026.4385 | 1091765.8304 | 2710020.1325 | 1091764.6934 | 2710016.3445 | 1091752.9393 | 2710018.7879 | 1091751.5936 | 2710014.1924 | 1091743.5794
26 | 2709983.532 | 1091749.1743 | 2709947.5748 | 1091770.9569
27 | 2710094.5001 | 1091836.2423 | 2710106.339 | 1091833.677 | 2710106.7297 | 1091833.7525
28 | 2710094.5001 | 1091836.2423 | 2710085.6696 | 1091837.9656
29 | 2710076.3855 | 1091714.8107 | 2710081.3435 | 1091716.7462 | 2710087.2748 | 1091720.1669
30 | 2710087.2748 | 1091720.1669 | 2710083.1872 | 1091725.3965 | 2710077.3076 | 1091739.3079
31 | 2710060.5436 | 1091752.1598 | 2710058.6771 | 1091739.6515 | 2710058.7334 | 1091736.5424
32 | 2710027.9969 | 1091772.6855 | 2710033.0507 | 1091773.6108 | 2710036.9931 | 1091775.1911
33 | 2710010.7232 | 1091776.5201 | 2710015.7633 | 1091773.9206 | 2710024.4413 | 1091772.0874 | 2710027.9969 | 1091772.6855
34 | 2709947.5748 | 1091770.9569 | 2709930.1161 | 1091781.5332 | 2709917.7028 | 1091791.4267 | 2709901.5306 | 1091808.9685 | 2709898.917 | 1091812.0917
35 | 2710076.5629 | 1091915.7044 | 2710081.0932 | 1091917.4592
36 | 2710076.5629 | 1091915.7044 | 2710053.2232 | 1091906.8874
37 | 2710053.2232 | 1091906.8874 | 2710049.3427 | 1091905.4347
38 | 2710035.8059 | 1091903.2588 | 2710044.3596 | 1091903.5693 | 2710049.3427 | 1091905.4347
39 | 2710068.7219 | 1091841.273 | 2710085.6696 | 1091837.9656
40 | 2710035.8059 | 1091903.2588 | 2710033.794 | 1091897.4741 | 2710039.2637 | 1091877.5597 | 2710044.9874 | 1091878.3081 | 2710049.8197 | 1091869.7909
41 | 2710035.8059 | 1091903.2588 | 2710031.7791 | 1091905.5653 | 2710030.7084 | 1091908.181 | 2710030.6209 | 1091910.014 | 2710031.2604 | 1091911.9491 | 2710033.6721 | 1091916.2067 | 2710053.3607 | 1091942.1247 | 2710055.8508 | 1091945.472
42 | 2710068.7219 | 1091841.273 | 2710068.3698 | 1091841.3417
43 | 2710049.8197 | 1091869.7909 | 2710052.7125 | 1091864.6921
44 | 2710055.8508 | 1091945.472 | 2710052.9902 | 1091948.4555 | 2710051.8505 | 1091949.3133 | 2710050.7131 | 1091949.6151 | 2710049.5134 | 1091949.5045 | 2710048.5292 | 1091949.053 | 2710023.0005 | 1091919.8272 | 2710005.6357 | 1091930.7227
45 | 2710055.4675 | 1091857.8032 | 2710053.7727 | 1091862.8233 | 2710052.7125 | 1091864.6921
46 | 2710060.5068 | 1091842.8762 | 2710055.4675 | 1091857.8032
47 | 2710019.7459 | 1091846.7228 | 2710019.0713 | 1091826.6902
48 | 2710010.7232 | 1091776.5201 | 2710008.295 | 1091781.7464 | 2710006.1231 | 1091791.6582 | 2710007.1753 | 1091800.3497 | 2710015.2047 | 1091810.7908 | 2710018.8957 | 1091821.4759 | 2710019.0713 | 1091826.6902
49 | 2710010.7232 | 1091776.5201 | 2710003.2027 | 1091773.9491 | 2709991.6059 | 1091778.9872 | 2709958.0324 | 1091801.4065 | 2709953.4966 | 1091805.423
50 | 2710056.2298 | 1091780.6236 | 2710050.0156 | 1091780.4111 | 2710036.9931 | 1091775.1911
51 | 2710056.2298 | 1091780.6236 | 2710061.075 | 1091779.366
52 | 2710061.075 | 1091779.366 | 2710066.2355 | 1091795.5205
53 | 2710063.4403 | 1091777.6187 | 2710061.075 | 1091779.366
54 | 2710061.9019 | 1091836.4901 | 2710068.9773 | 1091804.1034 | 2710066.2355 | 1091795.5205
55 | 2710063.4403 | 1091777.6187 | 2710061.8306 | 1091774.8878 | 2710061.2829 | 1091764.5713
56 | 2710060.5068 | 1091842.8762 | 2710068.3698 | 1091841.3417
57 | 2710060.5068 | 1091842.8762 | 2710061.5058 | 1091838.3035
58 | 2710061.5058 | 1091838.3035 | 2710061.9019 | 1091836.4901
59 | 2710060.5436 | 1091752.1598 | 2710060.6685 | 1091752.9965 | 2710061.2829 | 1091764.5713

## bus_geodata
| x | y | coords
0 | 2710140.5268 | 1091617.8419
1 | 2710123.7522 | 1091616.6575
2 | 2710110.2889 | 1091673.363
3 | 2710171.9036 | 1091773.9571
4 | 2710173.1043 | 1091785.5645
5 | 2710163.0229 | 1091722.647
6 | 2710173.8164 | 1091809.5935
7 | 2710174.5035 | 1091852.1123
8 | 2710173.4244 | 1091796.3644
9 | 2710156.8892 | 1091875.6091
10 | 2710154.6011 | 1091901.3406
11 | 2710153.8424 | 1091855.9185
12 | 2710153.8207 | 1091901.735
13 | 2710106.606 | 1091684.0702
14 | 2710090.7634 | 1091699.9016
15 | 2710049.5451 | 1091713.024
16 | 2710064.5907 | 1091710.2165
17 | 2710058.7711 | 1091734.4616
18 | 2710158.9391 | 1091713.3795
19 | 2710071.3203 | 1091712.8378
20 | 2710008.1001 | 1091732.9545
21 | 2710014.1924 | 1091743.5794
22 | 2709983.532 | 1091749.1743
23 | 2710184.9492 | 1091868.1348
24 | 2710151.8682 | 1091835.8279
25 | 2710106.7298 | 1091833.7525
26 | 2710094.5001 | 1091836.2423
27 | 2710087.2748 | 1091720.1669
28 | 2710076.3855 | 1091714.8107
29 | 2710077.3076 | 1091739.3079
30 | 2710058.7334 | 1091736.5424
31 | 2710027.9969 | 1091772.6855
32 | 2709947.5748 | 1091770.9569
33 | 2710081.0932 | 1091917.4592
34 | 2710076.5629 | 1091915.7044
35 | 2710053.2232 | 1091906.8874
36 | 2710049.3427 | 1091905.4347
37 | 2710085.6696 | 1091837.9656
38 | 2710035.8059 | 1091903.2588
39 | 2710068.7219 | 1091841.273
40 | 2710049.8197 | 1091869.7909
41 | 2710055.8508 | 1091945.472
42 | 2710052.7125 | 1091864.6921
43 | 2710005.6357 | 1091930.7227
44 | 2710055.4675 | 1091857.8032
45 | 2710019.7459 | 1091846.7228
46 | 2710019.0713 | 1091826.6902
47 | 2709953.4966 | 1091805.423
48 | 2710010.7232 | 1091776.5201
49 | 2710036.9931 | 1091775.1911
50 | 2710056.2298 | 1091780.6236
51 | 2710061.075 | 1091779.366
52 | 2709898.917 | 1091812.0917
53 | 2710066.2355 | 1091795.5205
54 | 2710063.4403 | 1091777.6187
55 | 2710068.3698 | 1091841.3417
56 | 2710060.5068 | 1091842.8762
57 | 2710061.5058 | 1091838.3035
58 | 2710061.9019 | 1091836.4901
59 | 2710061.2829 | 1091764.5713
60 | 2710060.5436 | 1091752.1598
61 | 2710061.075 | 1091779.366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1