## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5239-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5239-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5239-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5239-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5239-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5239-2_0_3_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_5239-2_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_5239-2_0_3_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_5239-2_0_3_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_5239-2_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5239-2_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5239-2_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5239-2_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5239-2_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5239-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5239-2_0_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5239-2_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_5239-2_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_5239-2_0_3_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_5239-2_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5239-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5239-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5239-2_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5239-2_0_3_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_5239-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5239-2_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_5239-2_0_3_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_5239-2_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_5239-2_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5239-2_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5239-2_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5239-2_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5239-2_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5239-2_0_3_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_5239-2_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5239-2_0_3_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_5239-2_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5239-2_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5239-2_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5239-2_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5239-2_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5239-2_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_5239-2_0_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_5239-2_0_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_5239-2_0_3_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_5239-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5239-2_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5239-2_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5239-2_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5239-2_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5239-2_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5239-2_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5239-2_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5239-2_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_5239-2_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5239-2_0_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_5239-2_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5239-2_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5239-2_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_5239-2_0_3_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_5239-2_0_3_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5239-2_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5239-2_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5239-2_0_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5239-2_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5239-2_0_3_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_5239-2_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_5239-2_0_3_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_5239-2_0_3_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_5239-2_0_3_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5239-2_0_3_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5239-2_0_3_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_5239-2_0_3_node_121 | 0.4 | n |  | TRUE
73 | bus_LV_5239-2_0_3_node_122 | 0.4 | n |  | TRUE
74 | bus_LV_5239-2_0_3_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_5239-2_0_3_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_5239-2_0_3_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_5239-2_0_3_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_5239-2_0_3_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_5239-2_0_3_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_5239-2_0_3_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_5239-2_0_3_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_5239-2_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_5239-2_0_3_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_5239-2_0_3_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_5239-2_0_3_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_5239-2_0_3_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_5239-2_0_3_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_5239-2_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5239-2_0_3_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_5239-2_0_3_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_5239-2_0_3_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_5239-2_0_3_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_5239-2_0_3_node_118 | 0.4 | n |  | TRUE
94 | bus_LV_5239-2_0_3_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_5239-2_0_3_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_5239-2_0_3_node_115 | 0.4 | n |  | TRUE
97 | bus_LV_5239-2_0_3_node_116 | 0.4 | n |  | TRUE
98 | bus_LV_5239-2_0_3_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_5239-2_0_3_node_70 | 0.4 | n |  | TRUE
100 | bus_LV_5239-2_0_3_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_5239-2_0_3_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_5239-2_0_3_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_5239-2_0_3_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_5239-2_0_3_node_79 | 0.4 | n |  | TRUE
105 | bus_LV_5239-2_0_3_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_5239-2_0_3_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_5239-2_0_3_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_5239-2_0_3_node_82 | 0.4 | n |  | TRUE
109 | bus_LV_5239-2_0_3_node_83 | 0.4 | n |  | TRUE
110 | bus_LV_5239-2_0_3_node_84 | 0.4 | n |  | TRUE
111 | bus_LV_5239-2_0_3_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_5239-2_0_3_node_92 | 0.4 | n |  | TRUE
113 | bus_LV_5239-2_0_3_node_97 | 0.4 | n |  | TRUE
114 | bus_LV_5239-2_0_3_node_107 | 0.4 | n |  | TRUE
115 | bus_LV_5239-2_0_3_node_98 | 0.4 | n |  | TRUE
116 | bus_LV_5239-2_0_3_node_112 | 0.4 | n |  | TRUE
117 | bus_LV_5239-2_0_3_node_113 | 0.4 | n |  | TRUE
118 | bus_LV_5239-2_0_3_node_119 | 0.4 | n |  | TRUE
119 | bus_MV_69_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5239-2_0_3_load_0 | 0 | 0.0059654 | 0.0014951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5239-2_0_3_load_1 | 1 | 0.0043203 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5239-2_0_3_load_2 | 2 | 0.0034838 | 0.00087313 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5239-2_0_3_load_3 | 3 | 0.002534 | 0.00063509 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5239-2_0_3_load_4 | 4 | 0.003546 | 0.00088872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5239-2_0_3_load_26 | 6 | 0.0085335 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5239-2_0_3_load_110 | 7 | 0.0040984 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5239-2_0_3_load_27 | 9 | 0.0022657 | 0.00056785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5239-2_0_3_load_5 | 10 | 0.0062779 | 0.0015734 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5239-2_0_3_load_6 | 11 | 0.0027687 | 0.00069391 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5239-2_0_3_load_7 | 12 | 0.0019659 | 0.00049271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5239-2_0_3_load_8 | 13 | 0.0024943 | 0.00062512 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5239-2_0_3_load_9 | 14 | 0.005741 | 0.0014388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5239-2_0_3_load_61 | 15 | 0.0014736 | 0.00036933 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5239-2_0_3_load_64 | 17 | 0.0017295 | 0.00043345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5239-2_0_3_load_108 | 18 | 0.0059703 | 0.0014963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5239-2_0_3_load_10 | 20 | 0.006589 | 0.0016514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5239-2_0_3_load_11 | 21 | 0.0026517 | 0.00066458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5239-2_0_3_load_13 | 22 | 0.0042944 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5239-2_0_3_load_14 | 24 | 0.0030896 | 0.00077432 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5239-2_0_3_load_89 | 26 | 0.0042556 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5239-2_0_3_load_38 | 27 | 0.0077343 | 0.0019384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5239-2_0_3_load_15 | 29 | 0.0060957 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5239-2_0_3_load_16 | 30 | 0.011246 | 0.0028185 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5239-2_0_3_load_18 | 31 | 0.0021364 | 0.00053544 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5239-2_0_3_load_25 | 32 | 0.0046315 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5239-2_0_3_load_104 | 33 | 0.0061103 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5239-2_0_3_load_103 | 35 | 0.0041946 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5239-2_0_3_load_20 | 36 | 0.010228 | 0.0025634 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5239-2_0_3_load_21 | 37 | 0.0049609 | 0.0012433 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5239-2_0_3_load_22 | 38 | 0.0017276 | 0.00043299 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5239-2_0_3_load_54 | 40 | 0.0027703 | 0.0006943 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5239-2_0_3_load_53 | 42 | 0.0033094 | 0.00082941 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5239-2_0_3_load_102 | 44 | 0.0022264 | 0.000558 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5239-2_0_3_load_34 | 45 | 0.0045884 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5239-2_0_3_load_60 | 46 | 0.0032458 | 0.00081347 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5239-2_0_3_load_28 | 47 | 0.0060627 | 0.0015195 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5239-2_0_3_load_29 | 48 | 0.0041632 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5239-2_0_3_load_31 | 50 | 0.0022538 | 0.00056485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5239-2_0_3_load_32 | 51 | 0.0041478 | 0.0010395 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5239-2_0_3_load_33 | 52 | 0.0021942 | 0.00054991 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5239-2_0_3_load_35 | 53 | 0.0066959 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5239-2_0_3_load_46 | 54 | 0.0041354 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5239-2_0_3_load_36 | 56 | 0.0035268 | 0.0008839 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5239-2_0_3_load_45 | 57 | 0.0031952 | 0.00080079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5239-2_0_3_load_66 | 58 | 0.011227 | 0.0028137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5239-2_0_3_load_105 | 59 | 0.007203 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5239-2_0_3_load_106 | 60 | 0.0058058 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5239-2_0_3_load_62 | 61 | 0.0036852 | 0.00092359 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5239-2_0_3_load_56 | 62 | 0.0043345 | 0.0010863 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5239-2_0_3_load_87 | 63 | 0.0044365 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5239-2_0_3_load_55 | 64 | 0.0077463 | 0.0019414 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5239-2_0_3_load_86 | 65 | 0.002798 | 0.00070123 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5239-2_0_3_load_40 | 66 | 0.0052865 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5239-2_0_3_load_41 | 67 | 0.0029844 | 0.00074796 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5239-2_0_3_load_42 | 68 | 0.0076046 | 0.0019059 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5239-2_0_3_load_43 | 69 | 0.0042526 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5239-2_0_3_load_44 | 70 | 0.0030201 | 0.00075691 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5239-2_0_3_load_123 | 71 | 0.001814 | 0.00045462 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5239-2_0_3_load_121 | 72 | 0.0017013 | 0.00042639 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5239-2_0_3_load_52 | 74 | 0.0027812 | 0.00069704 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5239-2_0_3_load_48 | 75 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5239-2_0_3_load_49 | 76 | 0.00208 | 0.0005213 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5239-2_0_3_load_50 | 77 | 0.0019076 | 0.00047808 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5239-2_0_3_load_51 | 78 | 0.0026504 | 0.00066426 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5239-2_0_3_load_90 | 79 | 0.0021642 | 0.00054241 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5239-2_0_3_load_101 | 80 | 0.0033537 | 0.00084051 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5239-2_0_3_load_93 | 81 | 0.0019762 | 0.00049529 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5239-2_0_3_load_95 | 83 | 0.0011806 | 0.00029589 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5239-2_0_3_load_47 | 84 | 0.0056799 | 0.0014235 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5239-2_0_3_load_57 | 85 | 0.0038611 | 0.00096768 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5239-2_0_3_load_58 | 86 | 0.0032538 | 0.00081547 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5239-2_0_3_load_78 | 87 | 0.0030124 | 0.00075497 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5239-2_0_3_load_75 | 88 | 0.0015458 | 0.00038742 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5239-2_0_3_load_65 | 89 | 0.0040342 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5239-2_0_3_load_67 | 90 | 0.003181 | 0.00079724 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5239-2_0_3_load_114 | 95 | 0.0022247 | 0.00055756 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5239-2_0_3_load_115 | 96 | 0.0021762 | 0.00054541 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5239-2_0_3_load_116 | 97 | 0.0041377 | 0.001037 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5239-2_0_3_load_85 | 98 | 0.0014616 | 0.00036631 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5239-2_0_3_load_70 | 99 | 0.0033168 | 0.00083126 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5239-2_0_3_load_71 | 100 | 0.0027963 | 0.00070082 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5239-2_0_3_load_72 | 101 | 0.0019774 | 0.00049558 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5239-2_0_3_load_109 | 102 | 0.0032357 | 0.00081094 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5239-2_0_3_load_79 | 104 | 0.003832 | 0.0009604 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5239-2_0_3_load_100 | 105 | 0.0026934 | 0.00067503 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5239-2_0_3_load_99 | 106 | 0.011266 | 0.0028234 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5239-2_0_3_load_82 | 108 | 0.0054441 | 0.0013644 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5239-2_0_3_load_83 | 109 | 0.0041888 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5239-2_0_3_load_91 | 111 | 0.0029523 | 0.00073991 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5239-2_0_3_load_92 | 112 | 0.0067661 | 0.0016957 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5239-2_0_3_load_97 | 113 | 0.002373 | 0.00059472 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5239-2_0_3_load_107 | 114 | 0.0047921 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5239-2_0_3_load_98 | 115 | 0.0021586 | 0.00054099 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5239-2_0_3_load_112 | 116 | 0.001537 | 0.00038522 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5239-2_0_3_load_113 | 117 | 0.011317 | 0.0028362 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5239-2_0_3_load_119 | 118 | 0.0015122 | 0.000379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 108 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5239-2_0_3_line_0 |  | 0 | 1 | 0.0013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5239-2_0_3_line_1 |  | 0 | 2 | 0.013347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5239-2_0_3_line_2 |  | 1 | 3 | 0.0094608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5239-2_0_3_line_3 |  | 2 | 4 | 0.00070451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5239-2_0_3_line_4 |  | 3 | 5 | 0.0077105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5239-2_0_3_line_5 |  | 4 | 6 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5239-2_0_3_line_6 |  | 5 | 7 | 0.0050593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5239-2_0_3_line_7 |  | 5 | 8 | 0.040395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5239-2_0_3_line_8 |  | 6 | 9 | 0.0079426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5239-2_0_3_line_9 |  | 7 | 107 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5239-2_0_3_line_10 |  | 8 | 94 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5239-2_0_3_line_11 |  | 8 | 100 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5239-2_0_3_line_12 |  | 9 | 45 | 0.0045181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5239-2_0_3_line_13 |  | 10 | 11 | 2.9211e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5239-2_0_3_line_14 |  | 10 | 12 | 0.0098161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5239-2_0_3_line_15 |  | 11 | 13 | 0.0035073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5239-2_0_3_line_16 |  | 12 | 14 | 0.0052845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5239-2_0_3_line_17 |  | 13 | 15 | 0.0069399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5239-2_0_3_line_18 |  | 14 | 16 | 0.0032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5239-2_0_3_line_19 |  | 15 | 17 | 0.0053382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5239-2_0_3_line_20 |  | 16 | 18 | 0.018112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5239-2_0_3_line_21 |  | 16 | 19 | 0.007679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5239-2_0_3_line_22 |  | 17 | 89 | 0.0029282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5239-2_0_3_line_23 |  | 18 | 102 | 0.0081898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5239-2_0_3_line_24 |  | 19 | 33 | 0.0085774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5239-2_0_3_line_25 |  | 20 | 21 | 0.024865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5239-2_0_3_line_26 |  | 21 | 22 | 0.002402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5239-2_0_3_line_27 |  | 22 | 23 | 0.0092184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5239-2_0_3_line_28 |  | 23 | 26 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5239-2_0_3_line_29 |  | 24 | 25 | 0.0312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5239-2_0_3_line_30 |  | 25 | 27 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5239-2_0_3_line_31 |  | 25 | 28 | 0.028502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5239-2_0_3_line_32 |  | 26 | 55 | 0.056236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5239-2_0_3_line_33 |  | 27 | 61 | 0.0021136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5239-2_0_3_line_34 |  | 28 | 62 | 0.0024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5239-2_0_3_line_35 |  | 28 | 63 | 0.018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5239-2_0_3_line_36 |  | 29 | 30 | 0.005819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5239-2_0_3_line_37 |  | 30 | 31 | 0.0034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5239-2_0_3_line_38 |  | 31 | 32 | 0.00089798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5239-2_0_3_line_39 |  | 32 | 34 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5239-2_0_3_line_40 |  | 33 | 35 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5239-2_0_3_line_41 |  | 34 | 41 | 0.007349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5239-2_0_3_line_42 |  | 34 | 38 | 0.0021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5239-2_0_3_line_43 |  | 35 | 44 | 0.0015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5239-2_0_3_line_44 |  | 36 | 37 | 0.0091483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5239-2_0_3_line_45 |  | 36 | 38 | 0.0081076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5239-2_0_3_line_46 |  | 37 | 39 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5239-2_0_3_line_47 |  | 39 | 40 | 0.013807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5239-2_0_3_line_48 |  | 40 | 42 | 0.011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5239-2_0_3_line_49 |  | 41 | 43 | 0.015225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5239-2_0_3_line_50 |  | 41 | 44 | 0.024628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5239-2_0_3_line_51 |  | 42 | 70 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5239-2_0_3_line_52 |  | 43 | 87 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5239-2_0_3_line_53 |  | 43 | 88 | 0.009035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5239-2_0_3_line_54 |  | 45 | 46 | 0.0048964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5239-2_0_3_line_55 |  | 46 | 58 | 0.0051412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5239-2_0_3_line_56 |  | 47 | 48 | 0.0071787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5239-2_0_3_line_57 |  | 47 | 49 | 0.009158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5239-2_0_3_line_58 |  | 48 | 50 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5239-2_0_3_line_59 |  | 49 | 51 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5239-2_0_3_line_60 |  | 49 | 52 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5239-2_0_3_line_61 |  | 50 | 53 | 0.00027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5239-2_0_3_line_62 |  | 51 | 54 | 0.012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5239-2_0_3_line_63 |  | 52 | 55 | 0.0082574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5239-2_0_3_line_64 |  | 53 | 56 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5239-2_0_3_line_65 |  | 54 | 57 | 0.031142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5239-2_0_3_line_66 |  | 56 | 59 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5239-2_0_3_line_67 |  | 57 | 84 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5239-2_0_3_line_68 |  | 58 | 89 | 0.0069977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5239-2_0_3_line_69 |  | 59 | 60 | 0.013791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5239-2_0_3_line_70 |  | 60 | 114 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5239-2_0_3_line_71 |  | 62 | 64 | 0.028275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5239-2_0_3_line_72 |  | 63 | 65 | 0.068969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5239-2_0_3_line_73 |  | 64 | 85 | 0.0068985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5239-2_0_3_line_74 |  | 65 | 98 | 0.0060479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5239-2_0_3_line_75 |  | 66 | 67 | 0.055213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5239-2_0_3_line_76 |  | 66 | 68 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5239-2_0_3_line_77 |  | 67 | 69 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5239-2_0_3_line_78 |  | 68 | 70 | 0.031414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5239-2_0_3_line_79 |  | 68 | 71 | 0.30602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5239-2_0_3_line_80 |  | 69 | 74 | 0.20014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5239-2_0_3_line_81 |  | 71 | 73 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5239-2_0_3_line_82 |  | 72 | 73 | 0.01179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5239-2_0_3_line_83 |  | 74 | 77 | 0.00040854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5239-2_0_3_line_84 |  | 75 | 76 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5239-2_0_3_line_85 |  | 75 | 77 | 0.0040665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5239-2_0_3_line_86 |  | 76 | 78 | 0.0025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5239-2_0_3_line_87 |  | 78 | 79 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5239-2_0_3_line_88 |  | 79 | 80 | 0.0030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5239-2_0_3_line_89 |  | 80 | 83 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5239-2_0_3_line_90 |  | 81 | 82 | 0.039168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5239-2_0_3_line_91 |  | 82 | 83 | 0.060939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5239-2_0_3_line_92 |  | 85 | 86 | 0.00037014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5239-2_0_3_line_93 |  | 87 | 103 | 0.0026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5239-2_0_3_line_94 |  | 90 | 91 | 0.050775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5239-2_0_3_line_95 |  | 91 | 92 | 0.050556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5239-2_0_3_line_96 |  | 91 | 93 | 0.097174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5239-2_0_3_line_97 |  | 92 | 94 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5239-2_0_3_line_98 |  | 92 | 95 | 0.049532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5239-2_0_3_line_99 |  | 93 | 97 | 0.10951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5239-2_0_3_line_100 |  | 94 | 98 | 0.014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5239-2_0_3_line_101 |  | 96 | 97 | 0.070215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5239-2_0_3_line_102 |  | 99 | 100 | 0.031352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5239-2_0_3_line_103 |  | 99 | 101 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5239-2_0_3_line_104 |  | 103 | 104 | 0.013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_5239-2_0_3_line_105 |  | 104 | 105 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_5239-2_0_3_line_106 |  | 105 | 106 | 0.0032949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_5239-2_0_3_line_107 |  | 106 | 115 | 0.0028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_5239-2_0_3_line_108 |  | 107 | 116 | 0.036969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5239-2_0_3_line_109 |  | 107 | 117 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5239-2_0_3_line_110 |  | 108 | 109 | 0.054373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_5239-2_0_3_line_111 |  | 109 | 110 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_5239-2_0_3_line_112 |  | 110 | 111 | 0.0016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_5239-2_0_3_line_113 |  | 110 | 112 | 0.0056456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5239-2_0_3_line_114 |  | 111 | 113 | 0.0076632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_5239-2_0_3_line_115 |  | 112 | 114 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5239-2_0_3_line_116 |  | 113 | 115 | 0.0066673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_5239-2_0_3_line_117 |  | 116 | 118 | 0.0025928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5239-2_0_3_trafo_82 | 0.63 MVA 20/0.4 kV | 119 | 108 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2706940.1077 | 1095070.7203 | 2706939.9738 | 1095069.4106
1 | 2706940.1077 | 1095070.7203 | 2706941.465 | 1095083.9982
2 | 2706939.9738 | 1095069.4106 | 2706939.0116 | 1095059.9988
3 | 2706941.465 | 1095083.9982 | 2706941.5367 | 1095084.6991
4 | 2706938.2275 | 1095052.3283 | 2706939.0116 | 1095059.9988
5 | 2706941.5367 | 1095084.6991 | 2706942.789 | 1095096.949 | 2706942.789 | 1095096.949
6 | 2706938.2275 | 1095052.3283 | 2706937.5812 | 1095047.3104
7 | 2706938.2275 | 1095052.3283 | 2706939.0221 | 1095042.4024 | 2706941.6186 | 1095036.6442 | 2706947.7985 | 1095028.0472 | 2706956.4588 | 1095017.6483
8 | 2706941.1316 | 1095104.7168 | 2706942.789 | 1095096.949
9 | 2706936.1005 | 1095035.8133 | 2706937.5812 | 1095047.3104
10 | 2706968.4837 | 1095003.1947 | 2706956.4588 | 1095017.6483
11 | 2706956.4588 | 1095017.6483 | 2706959.9539 | 1095022.4685 | 2706962.6478 | 1095031.2243
12 | 2706941.1316 | 1095104.7168 | 2706940.1889 | 1095109.1355
13 | 2706935.2639 | 1095144.4103 | 2706935.2628 | 1095144.4394
14 | 2706935.2628 | 1095144.4394 | 2706934.9166 | 1095154.2495
15 | 2706935.2639 | 1095144.4103 | 2706935.3875 | 1095140.9051
16 | 2706934.9166 | 1095154.2495 | 2706934.7303 | 1095159.5307
17 | 2706935.6323 | 1095133.9695 | 2706935.3875 | 1095140.9051
18 | 2706934.6186 | 1095162.7376 | 2706934.6665 | 1095161.3375 | 2706934.7303 | 1095159.5307
19 | 2706936.0233 | 1095128.6596 | 2706935.7793 | 1095129.803 | 2706935.6323 | 1095133.9695
20 | 2706934.6186 | 1095162.7376 | 2706917.3462 | 1095157.2886
21 | 2706934.809 | 1095170.4127 | 2706934.6186 | 1095162.7376
22 | 2706936.0233 | 1095128.6596 | 2706936.6343 | 1095125.7958
23 | 2706909.5358 | 1095154.8247 | 2706917.3462 | 1095157.2886
24 | 2706934.809 | 1095170.4127 | 2706939.4545 | 1095170.1831 | 2706943.2556 | 1095171.1668
25 | 2707181.503 | 1094983.3865 | 2707183.485 | 1094990.4499 | 2707188.2152 | 1095007.3288
26 | 2707188.2152 | 1095007.3288 | 2707188.8634 | 1095009.6417
27 | 2707191.351 | 1095018.5181 | 2707188.8634 | 1095009.6417
28 | 2707191.351 | 1095018.5181 | 2707197.1429 | 1095037.2104 | 2707197.7872 | 1095039.2909
29 | 2707071.4781 | 1094949.772 | 2707102.4459 | 1094945.9707
30 | 2707071.4781 | 1094949.772 | 2707070.7575 | 1094937.3561
31 | 2707073.2629 | 1094978.2111 | 2707071.4781 | 1094949.772
32 | 2707178.9853 | 1095085.2109 | 2707199.9142 | 1095066.801 | 2707202.2688 | 1095055.8797 | 2707199.7015 | 1095045.472 | 2707197.7872 | 1095039.2909
33 | 2707070.635 | 1094935.246 | 2707070.7575 | 1094937.3561
34 | 2707073.2629 | 1094978.2111 | 2707074.0563 | 1094980.4997
35 | 2707073.2629 | 1094978.2111 | 2707055.5707 | 1094983.6841
36 | 2706953.0831 | 1095207.5439 | 2706958.458 | 1095205.3142
37 | 2706958.458 | 1095205.3142 | 2706961.6163 | 1095204.004
38 | 2706962.4457 | 1095203.6599 | 2706961.6163 | 1095204.004
39 | 2706980.4591 | 1095198.4341 | 2706965.4419 | 1095202.417 | 2706962.4457 | 1095203.6599
40 | 2706956.4853 | 1095176.6124 | 2706951.1486 | 1095174.0691 | 2706947.2452 | 1095172.1992 | 2706943.2556 | 1095171.1668
41 | 2706977.8526 | 1095191.5615 | 2706980.4591 | 1095198.4341
42 | 2706980.4591 | 1095198.4341 | 2706981.2163 | 1095200.4295
43 | 2706957.8469 | 1095177.2612 | 2706956.4853 | 1095176.6124
44 | 2706984.0928 | 1095208.0097 | 2706987.3384 | 1095216.5629
45 | 2706981.2163 | 1095200.4295 | 2706984.0928 | 1095208.0097
46 | 2706992.17 | 1095226.8923 | 2706990.0117 | 1095223.6077 | 2706987.3384 | 1095216.5629
47 | 2706992.17 | 1095226.8923 | 2706996.9107 | 1095226.531 | 2707005.5794 | 1095223.9219
48 | 2707005.5794 | 1095223.9219 | 2707016.3641 | 1095220.676
49 | 2706977.8526 | 1095191.5615 | 2706990.5327 | 1095191.3734 | 2706993.1215 | 1095191.33
50 | 2706977.8526 | 1095191.5615 | 2706970.4192 | 1095185.5379 | 2706958.61 | 1095177.6249 | 2706957.8469 | 1095177.2612
51 | 2707045.422 | 1095213.0428 | 2707030.2048 | 1095216.5103 | 2707016.3641 | 1095220.676
52 | 2706993.1215 | 1095191.33 | 2707009.0639 | 1095189.6887
53 | 2706993.1215 | 1095191.33 | 2706993.507 | 1095182.3032
54 | 2706939.1672 | 1095113.9241 | 2706940.1889 | 1095109.1355
55 | 2706939.1672 | 1095113.9241 | 2706938.0944 | 1095118.9521
56 | 2707144.9916 | 1095109.0054 | 2707150.7096 | 1095104.6651
57 | 2707158.0041 | 1095099.1281 | 2707150.7096 | 1095104.6651
58 | 2707134.4952 | 1095116.9728 | 2707144.9916 | 1095109.0054
59 | 2707158.0041 | 1095099.1281 | 2707151.7441 | 1095082.8214
60 | 2707158.0041 | 1095099.1281 | 2707172.1042 | 1095089.7753
61 | 2707134.4952 | 1095116.9728 | 2707134.278 | 1095117.1377
62 | 2707151.7441 | 1095082.8214 | 2707147.4203 | 1095071.5585
63 | 2707178.9853 | 1095085.2109 | 2707172.1042 | 1095089.7753
64 | 2707118.4974 | 1095129.1162 | 2707134.278 | 1095117.1377
65 | 2707130.3186 | 1095053.0341 | 2707137.5348 | 1095050.6132 | 2707140.2903 | 1095052.9855 | 2707147.4203 | 1095071.5585
66 | 2707118.4974 | 1095129.1162 | 2707109.1037 | 1095136.2466
67 | 2707119.1153 | 1095056.7927 | 2707130.3186 | 1095053.0341
68 | 2706936.6343 | 1095125.7958 | 2706938.0944 | 1095118.9521
69 | 2707099.788 | 1095146.3915 | 2707108.2734 | 1095136.8768 | 2707109.1037 | 1095136.2466
70 | 2707099.788 | 1095146.3915 | 2707097.8863 | 1095148.5238 | 2707089.9625 | 1095156.7007 | 2707088.0935 | 1095157.8809
71 | 2707083.318 | 1095007.2147 | 2707074.0563 | 1094980.4997
72 | 2707055.5707 | 1094983.6841 | 2707006.7479 | 1094998.7872 | 2706989.1202 | 1095001.6817
73 | 2707083.318 | 1095007.2147 | 2707085.5777 | 1095013.7326
74 | 2706983.1523 | 1095002.6616 | 2706989.1202 | 1095001.6817
75 | 2707101.5414 | 1095200.6885 | 2707111.6801 | 1095199.4559 | 2707156.4832 | 1095195.2561
76 | 2707101.5414 | 1095200.6885 | 2707097.4619 | 1095201.1844 | 2707076.0512 | 1095206.0633
77 | 2707156.4832 | 1095195.2561 | 2707168.4631 | 1095194.1331
78 | 2707045.422 | 1095213.0428 | 2707076.0512 | 1095206.0633
79 | 2707076.0512 | 1095206.0633 | 2707142.8405 | 1095504.7063
80 | 2707168.4631 | 1095194.1331 | 2707368.1592 | 1095207.4511
81 | 2707145.6588 | 1095518.0091 | 2707142.8405 | 1095504.7063
82 | 2707145.6588 | 1095518.0091 | 2707149.296 | 1095517.3839 | 2707157.1096 | 1095519.5164
83 | 2707368.1592 | 1095207.4511 | 2707368.5514 | 1095207.5653
84 | 2707372.4557 | 1095208.7024 | 2707383.1806 | 1095211.8259
85 | 2707372.4557 | 1095208.7024 | 2707368.5514 | 1095207.5653
86 | 2707383.1806 | 1095211.8259 | 2707385.6322 | 1095212.5399
87 | 2707398.6099 | 1095216.3195 | 2707385.6322 | 1095212.5399
88 | 2707398.6099 | 1095216.3195 | 2707401.5063 | 1095217.1631
89 | 2707418.3449 | 1095221.9048 | 2707415.5077 | 1095221.2409 | 2707401.5063 | 1095217.1631
90 | 2707476.2901 | 1095218.9356 | 2707464.6074 | 1095210.9238 | 2707442.7832 | 1095198.7244
91 | 2707476.2901 | 1095218.9356 | 2707471.065 | 1095223.0237 | 2707465.0061 | 1095226.4967 | 2707456.1781 | 1095227.9416 | 2707433.0324 | 1095225.342 | 2707418.3449 | 1095221.9048
92 | 2707085.6989 | 1095014.0823 | 2707085.5777 | 1095013.7326
93 | 2707011.659 | 1095189.4216 | 2707009.0639 | 1095189.6887
94 | 2706969.6978 | 1094916.1697 | 2706990.1351 | 1094914.6727 | 2706993.9928 | 1094913.4287 | 2706995.9174 | 1094910.1826 | 2706995.8906 | 1094887.7264
95 | 2706971.8625 | 1094966.6411 | 2706969.4565 | 1094925.038 | 2706969.6978 | 1094916.1697
96 | 2706969.6978 | 1094916.1697 | 2706899.6853 | 1094848.783
97 | 2706971.8625 | 1094966.6411 | 2706971.7177 | 1094989.398 | 2706968.4837 | 1095003.1947
98 | 2706971.8625 | 1094966.6411 | 2707001.3661 | 1094964.6922 | 2707001.2432 | 1094944.7289
99 | 2706899.6853 | 1094848.783 | 2706896.7797 | 1094839.5147 | 2706882.8778 | 1094835.9903 | 2706874.9681 | 1094834.1056 | 2706865.3683 | 1094831.8242 | 2706816.5443 | 1094843.9856 | 2706799.714 | 1094840.7101
100 | 2706968.4837 | 1095003.1947 | 2706975.8645 | 1095003.8583 | 2706983.1523 | 1095002.6616
101 | 2706743.8164 | 1094802.8477 | 2706747.843 | 1094808.567 | 2706768.4112 | 1094827.863 | 2706777.9849 | 1094836.4812 | 2706799.714 | 1094840.7101
102 | 2706981.9507 | 1095050.6373 | 2706977.4628 | 1095049.0829 | 2706969.5838 | 1095048.1103 | 2706967.2248 | 1095046.1008 | 2706962.6478 | 1095031.2243
103 | 2706992.8869 | 1095064.2643 | 2706991.5562 | 1095057.1028 | 2706989.1311 | 1095053.1242 | 2706981.9507 | 1095050.6373
104 | 2707011.659 | 1095189.4216 | 2707016.631 | 1095188.2528 | 2707024.8056 | 1095186.3348
105 | 2707024.8056 | 1095186.3348 | 2707026.2403 | 1095185.9982 | 2707035.991 | 1095182.7566 | 2707045.8312 | 1095178.3742
106 | 2707048.8411 | 1095177.0338 | 2707045.8312 | 1095178.3742
107 | 2707051.4509 | 1095175.8715 | 2707048.8411 | 1095177.0338
108 | 2706936.1005 | 1095035.8133 | 2706934.2551 | 1095035.8809 | 2706916.8447 | 1095029.6373 | 2706900.2302 | 1095030.2511
109 | 2706934.0005 | 1095019.5212 | 2706936.1005 | 1095035.8133
110 | 2707036.2177 | 1095116.6503 | 2707041.0285 | 1095116.2792 | 2707045.7846 | 1095119.4539 | 2707062.299 | 1095160.0533
111 | 2707066.0827 | 1095169.3553 | 2707062.299 | 1095160.0533
112 | 2707066.0827 | 1095169.3553 | 2707064.5418 | 1095170.0415
113 | 2707066.0827 | 1095169.3553 | 2707071.2402 | 1095167.0589
114 | 2707057.5415 | 1095173.1591 | 2707064.5418 | 1095170.0415
115 | 2707088.0935 | 1095157.8809 | 2707079.1019 | 1095163.5585 | 2707071.2402 | 1095167.0589
116 | 2707057.5415 | 1095173.1591 | 2707051.4509 | 1095175.8715
117 | 2706897.6391 | 1095030.3469 | 2706900.2302 | 1095030.2511

## bus_geodata
| x | y | coords
0 | 2706940.1077 | 1095070.7203
1 | 2706939.9738 | 1095069.4106
2 | 2706941.465 | 1095083.9982
3 | 2706939.0116 | 1095059.9988
4 | 2706941.5367 | 1095084.6991
5 | 2706938.2275 | 1095052.3283
6 | 2706942.789 | 1095096.949
7 | 2706937.5812 | 1095047.3104
8 | 2706956.4588 | 1095017.6483
9 | 2706941.1316 | 1095104.7168
10 | 2706935.2628 | 1095144.4395
11 | 2706935.2639 | 1095144.4103
12 | 2706934.9166 | 1095154.2495
13 | 2706935.3875 | 1095140.9051
14 | 2706934.7303 | 1095159.5307
15 | 2706935.6323 | 1095133.9695
16 | 2706934.6186 | 1095162.7376
17 | 2706936.0233 | 1095128.6596
18 | 2706917.3462 | 1095157.2886
19 | 2706934.809 | 1095170.4127
20 | 2707181.503 | 1094983.3865
21 | 2707188.2152 | 1095007.3288
22 | 2707188.8634 | 1095009.6417
23 | 2707191.351 | 1095018.5181
24 | 2707102.4459 | 1094945.9707
25 | 2707071.4781 | 1094949.772
26 | 2707197.7872 | 1095039.2909
27 | 2707070.7575 | 1094937.3561
28 | 2707073.2629 | 1094978.2111
29 | 2706953.0831 | 1095207.5439
30 | 2706958.458 | 1095205.3142
31 | 2706961.6163 | 1095204.004
32 | 2706962.4457 | 1095203.6599
33 | 2706943.2556 | 1095171.1668
34 | 2706980.4591 | 1095198.4341
35 | 2706956.4853 | 1095176.6124
36 | 2706984.0928 | 1095208.0097
37 | 2706987.3384 | 1095216.5629
38 | 2706981.2163 | 1095200.4295
39 | 2706992.17 | 1095226.8922
40 | 2707005.5794 | 1095223.9219
41 | 2706977.8526 | 1095191.5615
42 | 2707016.3641 | 1095220.676
43 | 2706993.1215 | 1095191.33
44 | 2706957.8469 | 1095177.2612
45 | 2706940.1889 | 1095109.1355
46 | 2706939.1672 | 1095113.9241
47 | 2707150.7096 | 1095104.6651
48 | 2707144.9916 | 1095109.0054
49 | 2707158.0041 | 1095099.1281
50 | 2707134.4952 | 1095116.9728
51 | 2707151.7441 | 1095082.8214
52 | 2707172.1042 | 1095089.7753
53 | 2707134.2781 | 1095117.1377
54 | 2707147.4203 | 1095071.5585
55 | 2707178.9853 | 1095085.2109
56 | 2707118.4974 | 1095129.1162
57 | 2707130.3186 | 1095053.0341
58 | 2706938.0944 | 1095118.9521
59 | 2707109.1037 | 1095136.2466
60 | 2707099.788 | 1095146.3915
61 | 2707070.635 | 1094935.246
62 | 2707074.0563 | 1094980.4997
63 | 2707055.5707 | 1094983.6841
64 | 2707083.318 | 1095007.2147
65 | 2706989.1202 | 1095001.6817
66 | 2707101.5414 | 1095200.6885
67 | 2707156.4832 | 1095195.2561
68 | 2707076.0512 | 1095206.0633
69 | 2707168.4631 | 1095194.1331
70 | 2707045.422 | 1095213.0428
71 | 2707142.8405 | 1095504.7063
72 | 2707157.1096 | 1095519.5164
73 | 2707145.6588 | 1095518.0091
74 | 2707368.1592 | 1095207.4511
75 | 2707372.4557 | 1095208.7024
76 | 2707383.1806 | 1095211.8259
77 | 2707368.5514 | 1095207.5653
78 | 2707385.6322 | 1095212.5399
79 | 2707398.6099 | 1095216.3195
80 | 2707401.5063 | 1095217.1631
81 | 2707442.7832 | 1095198.7244
82 | 2707476.2901 | 1095218.9356
83 | 2707418.3449 | 1095221.9048
84 | 2707119.1153 | 1095056.7927
85 | 2707085.5777 | 1095013.7326
86 | 2707085.6989 | 1095014.0823
87 | 2707009.0639 | 1095189.6887
88 | 2706993.507 | 1095182.3032
89 | 2706936.6343 | 1095125.7958
90 | 2706995.8906 | 1094887.7264
91 | 2706969.6978 | 1094916.1697
92 | 2706971.8625 | 1094966.6411
93 | 2706899.6853 | 1094848.783
94 | 2706968.4837 | 1095003.1947
95 | 2707001.2432 | 1094944.7289
96 | 2706743.8164 | 1094802.8477
97 | 2706799.714 | 1094840.7101
98 | 2706983.1523 | 1095002.6616
99 | 2706981.9507 | 1095050.6373
100 | 2706962.6478 | 1095031.2243
101 | 2706992.8869 | 1095064.2643
102 | 2706909.5358 | 1095154.8247
103 | 2707011.659 | 1095189.4216
104 | 2707024.8056 | 1095186.3348
105 | 2707045.8312 | 1095178.3742
106 | 2707048.8411 | 1095177.0338
107 | 2706936.1005 | 1095035.8133
108 | 2707036.2177 | 1095116.6503
109 | 2707062.299 | 1095160.0533
110 | 2707066.0827 | 1095169.3553
111 | 2707064.5418 | 1095170.0415
112 | 2707071.2402 | 1095167.0589
113 | 2707057.5415 | 1095173.1591
114 | 2707088.0935 | 1095157.8809
115 | 2707051.4509 | 1095175.8715
116 | 2706900.2302 | 1095030.2511
117 | 2706934.0005 | 1095019.5212
118 | 2706897.6391 | 1095030.3469
119 | 2707034.5749 | 1095156.6922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1