## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5239-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5239-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5239-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5239-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5239-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5239-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5239-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5239-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5239-4_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5239-4_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5239-4_0_3_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_5239-4_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_5239-4_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5239-4_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5239-4_0_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_5239-4_0_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5239-4_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5239-4_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5239-4_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5239-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5239-4_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5239-4_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5239-4_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5239-4_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5239-4_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5239-4_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5239-4_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5239-4_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5239-4_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5239-4_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5239-4_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5239-4_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5239-4_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5239-4_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5239-4_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5239-4_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5239-4_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5239-4_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5239-4_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5239-4_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5239-4_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5239-4_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5239-4_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5239-4_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5239-4_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5239-4_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5239-4_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5239-4_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_5239-4_0_3_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_5239-4_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5239-4_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_5239-4_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5239-4_0_3_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_5239-4_0_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_5239-4_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5239-4_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5239-4_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5239-4_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5239-4_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5239-4_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5239-4_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5239-4_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5239-4_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5239-4_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5239-4_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5239-4_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5239-4_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5239-4_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5239-4_0_3_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_5239-4_0_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_5239-4_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5239-4_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5239-4_0_3_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_5239-4_0_3_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_5239-4_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5239-4_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5239-4_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5239-4_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5239-4_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5239-4_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5239-4_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5239-4_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5239-4_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5239-4_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_5239-4_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_5239-4_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_5239-4_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_5239-4_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5239-4_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_MV_69_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5239-4_0_3_load_0 | 0 | 0.0044457 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5239-4_0_3_load_1 | 1 | 0.0019434 | 0.00048707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5239-4_0_3_load_4 | 4 | 0.0036933 | 0.00092563 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5239-4_0_3_load_6 | 6 | 0.0030357 | 0.00076083 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5239-4_0_3_load_8 | 8 | 0.0021677 | 0.00054329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5239-4_0_3_load_63 | 10 | 0.003261 | 0.00081728 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5239-4_0_3_load_60 | 11 | 0.0017654 | 0.00044244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5239-4_0_3_load_15 | 12 | 0.0032522 | 0.00081507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5239-4_0_3_load_61 | 15 | 0.0029821 | 0.0007474 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5239-4_0_3_load_9 | 16 | 0.0019503 | 0.00048879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5239-4_0_3_load_10 | 17 | 0.0050144 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5239-4_0_3_load_12 | 18 | 0.0019892 | 0.00049855 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5239-4_0_3_load_14 | 19 | 0.0023089 | 0.00057866 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5239-4_0_3_load_16 | 20 | 0.0028047 | 0.00070291 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5239-4_0_3_load_22 | 22 | 0.003067 | 0.00076865 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5239-4_0_3_load_20 | 26 | 0.0069026 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5239-4_0_3_load_21 | 27 | 0.0012297 | 0.00030818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5239-4_0_3_load_26 | 29 | 0.0033375 | 0.00083646 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5239-4_0_3_load_25 | 30 | 0.0030721 | 0.00076993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5239-4_0_3_load_27 | 31 | 0.0032861 | 0.00082356 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5239-4_0_3_load_48 | 32 | 0.001826 | 0.00045763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5239-4_0_3_load_28 | 34 | 0.006105 | 0.0015301 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5239-4_0_3_load_31 | 37 | 0.0021114 | 0.00052918 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5239-4_0_3_load_33 | 39 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5239-4_0_3_load_34 | 40 | 0.0017411 | 0.00043636 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5239-4_0_3_load_36 | 42 | 0.0010944 | 0.00027428 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5239-4_0_3_load_38 | 44 | 0.0016819 | 0.00042152 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5239-4_0_3_load_39 | 45 | 0.0012029 | 0.00030147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5239-4_0_3_load_40 | 46 | 0.00084155 | 0.00021091 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5239-4_0_3_load_72 | 47 | 0.0011882 | 0.0002978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5239-4_0_3_load_42 | 49 | 0.0026231 | 0.00065742 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5239-4_0_3_load_54 | 50 | 0.0023194 | 0.0005813 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5239-4_0_3_load_41 | 51 | 0.0009488 | 0.00023779 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5239-4_0_3_load_87 | 52 | 0.00093492 | 0.00023431 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5239-4_0_3_load_43 | 54 | 0.0044966 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5239-4_0_3_load_53 | 55 | 0.0015858 | 0.00039744 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5239-4_0_3_load_55 | 56 | 0.00068241 | 0.00017103 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5239-4_0_3_load_56 | 57 | 0.0018611 | 0.00046645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5239-4_0_3_load_49 | 58 | 0.0026345 | 0.00066026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5239-4_0_3_load_44 | 59 | 0.0024379 | 0.000611 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5239-4_0_3_load_45 | 60 | 0.0026463 | 0.00066322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5239-4_0_3_load_47 | 61 | 0.0013818 | 0.00034631 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5239-4_0_3_load_50 | 62 | 0.002007 | 0.000503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5239-4_0_3_load_51 | 63 | 0.0016601 | 0.00041607 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5239-4_0_3_load_52 | 64 | 0.0017095 | 0.00042844 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5239-4_0_3_load_57 | 65 | 0.0073712 | 0.0018474 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5239-4_0_3_load_58 | 66 | 0.0017029 | 0.00042678 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5239-4_0_3_load_78 | 68 | 0.024148 | 0.006052 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5239-4_0_3_load_76 | 70 | 0.00092377 | 0.00023152 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5239-4_0_3_load_62 | 71 | 0.0017635 | 0.00044199 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5239-4_0_3_load_79 | 72 | 0.0021181 | 0.00053084 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5239-4_0_3_load_80 | 73 | 0.0027366 | 0.00068585 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5239-4_0_3_load_65 | 74 | 0.0013921 | 0.00034889 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5239-4_0_3_load_67 | 76 | 0.0011522 | 0.00028876 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5239-4_0_3_load_74 | 77 | 0.0017984 | 0.00045072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5239-4_0_3_load_73 | 78 | 0.0018078 | 0.00045307 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5239-4_0_3_load_75 | 80 | 0.0033237 | 0.00083301 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5239-4_0_3_load_68 | 82 | 0.0014108 | 0.00035359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5239-4_0_3_load_84 | 84 | 0.0011148 | 0.00027939 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5239-4_0_3_load_71 | 85 | 0.0013815 | 0.00034623 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5239-4_0_3_load_88 | 86 | 0.0011627 | 0.00029139 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5239-4_0_3_load_85 | 87 | 0.0015235 | 0.00038183 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5239-4_0_3_load_86 | 88 | 0.0064618 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5239-4_0_3_line_0 |  | 0 | 1 | 0.0075993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5239-4_0_3_line_1 |  | 0 | 2 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5239-4_0_3_line_2 |  | 1 | 3 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5239-4_0_3_line_3 |  | 2 | 4 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5239-4_0_3_line_4 |  | 2 | 5 | 0.031557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5239-4_0_3_line_5 |  | 3 | 6 | 0.0033622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5239-4_0_3_line_6 |  | 5 | 7 | 0.034101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5239-4_0_3_line_7 |  | 5 | 8 | 0.0096363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5239-4_0_3_line_8 |  | 6 | 9 | 0.010728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5239-4_0_3_line_9 |  | 7 | 10 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5239-4_0_3_line_10 |  | 8 | 11 | 0.029138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5239-4_0_3_line_11 |  | 9 | 12 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5239-4_0_3_line_12 |  | 9 | 13 | 0.005204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5239-4_0_3_line_13 |  | 10 | 14 | 0.11743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5239-4_0_3_line_14 |  | 11 | 15 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5239-4_0_3_line_15 |  | 12 | 21 | 0.013834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5239-4_0_3_line_16 |  | 13 | 16 | 0.0042061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5239-4_0_3_line_17 |  | 14 | 74 | 0.003843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5239-4_0_3_line_18 |  | 14 | 75 | 0.2298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5239-4_0_3_line_19 |  | 15 | 71 | 0.0068226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5239-4_0_3_line_20 |  | 16 | 17 | 0.011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5239-4_0_3_line_21 |  | 17 | 18 | 0.0059704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5239-4_0_3_line_22 |  | 18 | 19 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5239-4_0_3_line_23 |  | 19 | 20 | 0.032788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5239-4_0_3_line_24 |  | 21 | 22 | 0.16824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5239-4_0_3_line_25 |  | 22 | 25 | 0.16647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5239-4_0_3_line_26 |  | 23 | 24 | 0.082871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5239-4_0_3_line_27 |  | 23 | 25 | 0.2148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5239-4_0_3_line_28 |  | 24 | 26 | 0.12164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5239-4_0_3_line_29 |  | 25 | 27 | 0.13576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5239-4_0_3_line_30 |  | 27 | 28 | 0.040074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5239-4_0_3_line_31 |  | 28 | 29 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5239-4_0_3_line_32 |  | 28 | 30 | 0.006341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5239-4_0_3_line_33 |  | 29 | 31 | 0.007679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5239-4_0_3_line_34 |  | 31 | 32 | 0.0012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5239-4_0_3_line_35 |  | 32 | 33 | 0.0086547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5239-4_0_3_line_36 |  | 33 | 58 | 0.011676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5239-4_0_3_line_37 |  | 33 | 59 | 0.002566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5239-4_0_3_line_38 |  | 34 | 35 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5239-4_0_3_line_39 |  | 34 | 36 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5239-4_0_3_line_40 |  | 35 | 37 | 0.0099247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5239-4_0_3_line_41 |  | 35 | 38 | 0.10303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5239-4_0_3_line_42 |  | 36 | 39 | 0.0032976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5239-4_0_3_line_43 |  | 36 | 40 | 0.0097829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5239-4_0_3_line_44 |  | 37 | 41 | 0.16437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5239-4_0_3_line_45 |  | 38 | 42 | 0.12488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5239-4_0_3_line_46 |  | 38 | 43 | 0.015699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5239-4_0_3_line_47 |  | 39 | 44 | 0.0085408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5239-4_0_3_line_48 |  | 40 | 45 | 0.0066322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5239-4_0_3_line_49 |  | 41 | 46 | 0.028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5239-4_0_3_line_50 |  | 43 | 47 | 0.046163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5239-4_0_3_line_51 |  | 43 | 48 | 0.1762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5239-4_0_3_line_52 |  | 44 | 49 | 0.011349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5239-4_0_3_line_53 |  | 45 | 50 | 0.0031141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5239-4_0_3_line_54 |  | 46 | 51 | 0.066121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5239-4_0_3_line_55 |  | 47 | 52 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5239-4_0_3_line_56 |  | 48 | 53 | 0.019947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5239-4_0_3_line_57 |  | 49 | 54 | 0.002034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5239-4_0_3_line_58 |  | 50 | 55 | 0.0023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5239-4_0_3_line_59 |  | 51 | 56 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5239-4_0_3_line_60 |  | 52 | 86 | 0.00016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5239-4_0_3_line_61 |  | 53 | 85 | 0.056169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5239-4_0_3_line_62 |  | 55 | 64 | 0.0043579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5239-4_0_3_line_63 |  | 56 | 57 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5239-4_0_3_line_64 |  | 57 | 65 | 0.057584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5239-4_0_3_line_65 |  | 59 | 60 | 0.0076677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5239-4_0_3_line_66 |  | 60 | 61 | 0.00011406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5239-4_0_3_line_67 |  | 61 | 62 | 0.0076636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5239-4_0_3_line_68 |  | 62 | 63 | 0.0079533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5239-4_0_3_line_69 |  | 63 | 64 | 0.0040189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5239-4_0_3_line_70 |  | 65 | 66 | 0.088575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5239-4_0_3_line_71 |  | 66 | 67 | 0.084109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5239-4_0_3_line_72 |  | 67 | 68 | 0.1338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5239-4_0_3_line_73 |  | 67 | 69 | 0.033599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5239-4_0_3_line_74 |  | 69 | 70 | 0.043459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5239-4_0_3_line_75 |  | 71 | 72 | 0.0059767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5239-4_0_3_line_76 |  | 72 | 73 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5239-4_0_3_line_77 |  | 73 | 87 | 0.0043368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5239-4_0_3_line_78 |  | 74 | 76 | 0.01977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5239-4_0_3_line_79 |  | 75 | 77 | 0.054045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5239-4_0_3_line_80 |  | 75 | 78 | 0.048228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5239-4_0_3_line_81 |  | 76 | 79 | 0.0066276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5239-4_0_3_line_82 |  | 77 | 80 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5239-4_0_3_line_83 |  | 79 | 81 | 0.001703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5239-4_0_3_line_84 |  | 81 | 84 | 0.034641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5239-4_0_3_line_85 |  | 82 | 83 | 0.092629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5239-4_0_3_line_86 |  | 83 | 84 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5239-4_0_3_line_87 |  | 87 | 88 | 0.0065677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5239-4_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 89 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2707423.7202 | 1096066.4564 | 2707426.9761 | 1096073.323
1 | 2707416.1808 | 1096050.5559 | 2707423.7202 | 1096066.4564
2 | 2707432.9235 | 1096086.0418 | 2707428.7065 | 1096076.9724 | 2707426.9761 | 1096073.323
3 | 2707416.1808 | 1096050.5559 | 2707427.6401 | 1096045.6996
4 | 2707403.6528 | 1096021.6377 | 2707406.2764 | 1096029.6893 | 2707416.1808 | 1096050.5559
5 | 2707432.9235 | 1096086.0418 | 2707434.2945 | 1096089.1117
6 | 2707403.6528 | 1096021.6377 | 2707393.1628 | 1095989.1865
7 | 2707403.6528 | 1096021.6377 | 2707412.7329 | 1096018.4112
8 | 2707438.6693 | 1096098.9073 | 2707434.2945 | 1096089.1117
9 | 2707393.1628 | 1095989.1865 | 2707392.1431 | 1095982.4418 | 2707388.9718 | 1095973.9921
10 | 2707412.7329 | 1096018.4112 | 2707425.0545 | 1096014.033 | 2707427.9264 | 1096011.9824 | 2707428.693 | 1096008.06 | 2707425.1321 | 1096000.3025
11 | 2707438.6693 | 1096098.9073 | 2707442.1015 | 1096097.1557 | 2707460.3144 | 1096085.9074
12 | 2707439.0657 | 1096104.0955 | 2707438.6693 | 1096098.9073
13 | 2707343.4002 | 1095868.984 | 2707341.8525 | 1095886.4237 | 2707342.9362 | 1095889.9897 | 2707350.4485 | 1095901.5633 | 2707374.372 | 1095938.9215 | 2707379.4034 | 1095948.828 | 2707381.5992 | 1095954.3482 | 2707388.9718 | 1095973.9921
14 | 2707425.1321 | 1096000.3025 | 2707422.8889 | 1095995.4158 | 2707430.5412 | 1095992.2205
15 | 2707469.7697 | 1096076.4644 | 2707466.901 | 1096081.8395 | 2707460.3144 | 1096085.9074
16 | 2707439.0657 | 1096104.0955 | 2707442.7804 | 1096106.0685
17 | 2707343.4002 | 1095868.984 | 2707344.2016 | 1095865.2255
18 | 2707258.7592 | 1095842.873 | 2707266.4319 | 1095860.7313 | 2707266.9308 | 1095875.4832 | 2707266.6271 | 1095901.4616 | 2707270.6439 | 1095917.065 | 2707275.1868 | 1095926.1289 | 2707275.3207 | 1095898.3574 | 2707275.4279 | 1095880.4363 | 2707276.9131 | 1095873.1133 | 2707280.7633 | 1095866.5547 | 2707284.3629 | 1095862.7823 | 2707286.8862 | 1095861.1703 | 2707289.3802 | 1095861.2143 | 2707290.8161 | 1095862.3848 | 2707293.411 | 1095868.1233 | 2707296.5746 | 1095871.4925 | 2707299.6833 | 1095872.2701 | 2707303.952 | 1095871.4115 | 2707320.507 | 1095857.9281 | 2707324.0644 | 1095856.5456 | 2707329.4775 | 1095855.8184 | 2707332.5899 | 1095856.3848 | 2707336.9286 | 1095857.7068 | 2707338.9769 | 1095859.2995 | 2707343.4002 | 1095868.984
19 | 2707430.5412 | 1095992.2205 | 2707436.837 | 1095989.5917
20 | 2707442.7804 | 1096106.0685 | 2707445.7356 | 1096107.638 | 2707451.5723 | 1096113.357
21 | 2707455.6115 | 1096117.7428 | 2707453.7091 | 1096115.4507 | 2707451.5723 | 1096113.357
22 | 2707455.6115 | 1096117.7428 | 2707467.9837 | 1096132.6492
23 | 2707488.9227 | 1096157.8802 | 2707468.638 | 1096133.4376 | 2707467.9837 | 1096132.6492
24 | 2707469.7697 | 1096076.4644 | 2707482.3793 | 1096077.0988 | 2707544.4225 | 1096036.3469 | 2707593.4322 | 1095989.1939 | 2707602.9841 | 1095979.8346
25 | 2707715.6663 | 1095916.6992 | 2707705.6531 | 1095921.2471 | 2707699.0664 | 1095938.3528 | 2707689.1415 | 1095936.6092 | 2707677.8817 | 1095922.3114 | 2707672.1653 | 1095919.6084 | 2707641.1845 | 1095924.274 | 2707626.6966 | 1095944.3753 | 2707620.3043 | 1095950.5217 | 2707622.2106 | 1095960.9957 | 2707602.9841 | 1095979.8346
26 | 2707799.3183 | 1096098.4019 | 2707789.8687 | 1096093.4644 | 2707776.215 | 1096090.1091 | 2707747.7919 | 1096087.3368 | 2707718.1555 | 1096083.9538
27 | 2707799.3183 | 1096098.4019 | 2707800.1778 | 1096061.7485 | 2707798.4968 | 1096039.9042 | 2707795.668 | 1096024.2326 | 2707787.755 | 1096011.7174 | 2707783.0337 | 1096006.2078 | 2707776.4602 | 1095998.5418 | 2707756.021 | 1095983.7364 | 2707736.4411 | 1095970.7141 | 2707728.4652 | 1095961.7335 | 2707722.1523 | 1095951.1591 | 2707717.9677 | 1095936.7866 | 2707715.6663 | 1095916.6992
28 | 2707615.0521 | 1096037.9643 | 2707619.7609 | 1096041.5612 | 2707625.4565 | 1096048.4999 | 2707628.8378 | 1096057.0543 | 2707630.3967 | 1096063.0859 | 2707635.3001 | 1096067.9425 | 2707652.0493 | 1096072.3753 | 2707669.8439 | 1096076.8378 | 2707685.1483 | 1096081.045 | 2707709.0086 | 1096082.9133 | 2707718.1555 | 1096083.9538
29 | 2707715.6663 | 1095916.6992 | 2707714.1584 | 1095879.8259 | 2707710.964 | 1095801.7177 | 2707709.1112 | 1095786.0412 | 2707707.1396 | 1095781.5544
30 | 2707680.413 | 1095753.2445 | 2707693.1553 | 1095761.2866 | 2707702.5127 | 1095771.0255 | 2707707.1396 | 1095781.5544
31 | 2707680.413 | 1095753.2445 | 2707668.1843 | 1095748.5693 | 2707667.0927 | 1095748.3846
32 | 2707680.413 | 1095753.2445 | 2707686.6742 | 1095752.2422
33 | 2707667.0927 | 1095748.3846 | 2707659.5213 | 1095747.1036
34 | 2707659.5213 | 1095747.1036 | 2707658.294 | 1095746.896
35 | 2707649.7606 | 1095745.4522 | 2707658.294 | 1095746.896
36 | 2707649.7606 | 1095745.4522 | 2707638.0862 | 1095745.2454
37 | 2707649.7606 | 1095745.4522 | 2707647.5291 | 1095744.1852
38 | 2707565.6468 | 1095738.9815 | 2707573.6768 | 1095741.8699 | 2707588.8306 | 1095743.9214
39 | 2707600.8474 | 1095744.5858 | 2707592.6681 | 1095744.4409 | 2707588.8306 | 1095743.9214
40 | 2707565.6468 | 1095738.9815 | 2707556.563 | 1095734.9832
41 | 2707474.8399 | 1095705.2756 | 2707492.9686 | 1095713.6906 | 2707506.6005 | 1095729.7199 | 2707514.1965 | 1095732.1781 | 2707529.8647 | 1095730.7653 | 2707538.6045 | 1095730.7644 | 2707557.1999 | 1095740.8221 | 2707565.6468 | 1095738.9815
42 | 2707600.8474 | 1095744.5858 | 2707604.1445 | 1095744.6442
43 | 2707600.8474 | 1095744.5858 | 2707609.3623 | 1095739.769
44 | 2707563.7035 | 1095600.589 | 2707560.8857 | 1095609.2004 | 2707554.1812 | 1095622.0236 | 2707523.3519 | 1095654.8334 | 2707519.0827 | 1095667.5329 | 2707518.9709 | 1095681.2956 | 2707522.2527 | 1095696.3747 | 2707528.7674 | 1095710.8995 | 2707539.4887 | 1095723.7087 | 2707550.5397 | 1095732.3321 | 2707556.563 | 1095734.9832
45 | 2707474.8399 | 1095705.2756 | 2707469.2702 | 1095692.9468 | 2707475.7936 | 1095640.4052 | 2707472.6333 | 1095607.0607 | 2707474.2477 | 1095599.0172 | 2707479.376 | 1095591.6252 | 2707479.8839 | 1095583.9402
46 | 2707474.8399 | 1095705.2756 | 2707460.3998 | 1095699.0163
47 | 2707604.1445 | 1095744.6442 | 2707612.6839 | 1095744.7954
48 | 2707615.1349 | 1095736.5036 | 2707609.3623 | 1095739.769
49 | 2707563.7035 | 1095600.589 | 2707565.3906 | 1095595.4488 | 2707566.1611 | 1095582.9986 | 2707565.8259 | 1095572.5515
50 | 2707460.3998 | 1095699.0163 | 2707455.5617 | 1095673.7919 | 2707449.5405 | 1095654.2179
51 | 2707460.3998 | 1095699.0163 | 2707439.5452 | 1095688.7632 | 2707428.553 | 1095676.3608 | 2707413.9288 | 1095661.2258 | 2707404.7044 | 1095656.6376 | 2707389.4646 | 1095655.7233 | 2707377.8453 | 1095651.1818 | 2707342.6809 | 1095628.1346 | 2707314.712 | 1095606.093
52 | 2707612.6839 | 1095744.7954 | 2707624.0309 | 1095744.9964
53 | 2707615.1349 | 1095736.5036 | 2707615.3888 | 1095736.3599 | 2707617.8079 | 1095734.906
54 | 2707559.9861 | 1095506.7233 | 2707560.5292 | 1095509.4059 | 2707563.2103 | 1095533.4693 | 2707565.0117 | 1095559.0736 | 2707565.7167 | 1095569.1483 | 2707565.8259 | 1095572.5515
55 | 2707448.2632 | 1095641.685 | 2707449.5024 | 1095654.094 | 2707449.5405 | 1095654.2179
56 | 2707298.031 | 1095595.0802 | 2707314.712 | 1095606.093
57 | 2707624.0309 | 1095744.9964 | 2707626.0646 | 1095745.0324
58 | 2707619.8296 | 1095733.6908 | 2707617.8079 | 1095734.906
59 | 2707559.9861 | 1095506.7233 | 2707557.3802 | 1095493.8519
60 | 2707448.2466 | 1095641.5193 | 2707448.2632 | 1095641.685
61 | 2707298.031 | 1095595.0802 | 2707298.0104 | 1095587.4749 | 2707325.9323 | 1095547.6969
62 | 2707623.5648 | 1095731.4458 | 2707623.5648 | 1095731.4458 | 2707619.8296 | 1095733.6908
63 | 2707552.1547 | 1095468.0413 | 2707557.3802 | 1095493.8519
64 | 2707552.1547 | 1095468.0413 | 2707545.687 | 1095436.0949 | 2707540.5143 | 1095411.6468
65 | 2707647.5291 | 1095744.1852 | 2707640.8612 | 1095740.3995
66 | 2707640.762 | 1095740.3431 | 2707640.8612 | 1095740.3995
67 | 2707640.762 | 1095740.3431 | 2707634.58 | 1095736.8333 | 2707634.1207 | 1095736.5221
68 | 2707634.1207 | 1095736.5221 | 2707627.5364 | 1095732.061
69 | 2707623.5648 | 1095731.4458 | 2707627.5364 | 1095732.061 | 2707627.5364 | 1095732.061
70 | 2707522.1795 | 1095324.9898 | 2707540.5143 | 1095411.6468
71 | 2707497.573 | 1095244.9289 | 2707501.8796 | 1095252.4656 | 2707506.2952 | 1095263.0396 | 2707519.3234 | 1095311.4908 | 2707522.1795 | 1095324.9898
72 | 2707497.573 | 1095244.9289 | 2707532.8172 | 1095168.1013 | 2707548.1746 | 1095121.2864
73 | 2707476.2901 | 1095218.9356 | 2707487.7433 | 1095231.6019 | 2707497.573 | 1095244.9289
74 | 2707476.2901 | 1095218.9356 | 2707471.065 | 1095223.0237 | 2707465.0061 | 1095226.4967 | 2707456.1781 | 1095227.9416 | 2707435.4137 | 1095225.6095
75 | 2707439.8906 | 1095994.7294 | 2707436.837 | 1095989.5917 | 2707436.837 | 1095989.5917
76 | 2707439.8906 | 1095994.7294 | 2707447.6562 | 1096007.7949 | 2707447.6562 | 1096007.7949
77 | 2707447.6562 | 1096007.7949 | 2707451.4942 | 1096005.7757
78 | 2707348.3721 | 1095846.0345 | 2707348.179 | 1095850.6563 | 2707346.1965 | 1095855.8692 | 2707344.2016 | 1095865.2255
79 | 2707258.7592 | 1095842.873 | 2707256.0335 | 1095833.1296 | 2707251.2704 | 1095820.2927 | 2707251.8099 | 1095808.6056 | 2707254.2118 | 1095805.9685 | 2707258.5003 | 1095804.8656 | 2707261.2935 | 1095805.9601 | 2707265.9366 | 1095811.9017
80 | 2707258.7592 | 1095842.873 | 2707254.2134 | 1095839.2349 | 2707244.2655 | 1095824.294 | 2707228.99 | 1095817.5201 | 2707222.8731 | 1095812.7675
81 | 2707348.6488 | 1095839.4127 | 2707348.3721 | 1095846.0345
82 | 2707273.4163 | 1095821.4731 | 2707265.9366 | 1095811.9017
83 | 2707348.6488 | 1095839.4127 | 2707350.2991 | 1095839.8532
84 | 2707350.2991 | 1095839.8532 | 2707352.5253 | 1095829.6191 | 2707353.0919 | 1095817.2877 | 2707351.5032 | 1095812.9234 | 2707345.2569 | 1095809.386
85 | 2707333.6294 | 1095802.8012 | 2707299.7751 | 1095716.5801
86 | 2707333.6294 | 1095802.8012 | 2707345.2569 | 1095809.386
87 | 2707457.3066 | 1096002.7177 | 2707451.4942 | 1096005.7757

## bus_geodata
| x | y | coords
0 | 2707423.7202 | 1096066.4564
1 | 2707426.9761 | 1096073.323
2 | 2707416.1808 | 1096050.5559
3 | 2707432.9235 | 1096086.0418
4 | 2707427.6401 | 1096045.6996
5 | 2707403.6528 | 1096021.6377
6 | 2707434.2945 | 1096089.1117
7 | 2707393.1628 | 1095989.1865
8 | 2707412.7329 | 1096018.4112
9 | 2707438.6693 | 1096098.9073
10 | 2707388.9718 | 1095973.9921
11 | 2707425.1321 | 1096000.3025
12 | 2707460.3144 | 1096085.9074
13 | 2707439.0657 | 1096104.0955
14 | 2707343.4002 | 1095868.984
15 | 2707430.5412 | 1095992.2205
16 | 2707442.7804 | 1096106.0685
17 | 2707451.5723 | 1096113.357
18 | 2707455.6115 | 1096117.7428
19 | 2707467.9837 | 1096132.6492
20 | 2707488.9227 | 1096157.8802
21 | 2707469.7697 | 1096076.4644
22 | 2707602.9841 | 1095979.8346
23 | 2707799.3183 | 1096098.4019
24 | 2707718.1555 | 1096083.9538
25 | 2707715.6663 | 1095916.6992
26 | 2707615.0521 | 1096037.9643
27 | 2707707.1396 | 1095781.5544
28 | 2707680.413 | 1095753.2445
29 | 2707667.0927 | 1095748.3846
30 | 2707686.6742 | 1095752.2422
31 | 2707659.5213 | 1095747.1036
32 | 2707658.294 | 1095746.896
33 | 2707649.7606 | 1095745.4522
34 | 2707588.8306 | 1095743.9214
35 | 2707565.6468 | 1095738.9815
36 | 2707600.8474 | 1095744.5858
37 | 2707556.563 | 1095734.9832
38 | 2707474.8399 | 1095705.2756
39 | 2707604.1445 | 1095744.6442
40 | 2707609.3623 | 1095739.769
41 | 2707563.7035 | 1095600.589
42 | 2707479.8839 | 1095583.9402
43 | 2707460.3998 | 1095699.0163
44 | 2707612.6839 | 1095744.7954
45 | 2707615.1349 | 1095736.5036
46 | 2707565.8259 | 1095572.5515
47 | 2707449.5405 | 1095654.2179
48 | 2707314.712 | 1095606.093
49 | 2707624.0309 | 1095744.9964
50 | 2707617.8079 | 1095734.906
51 | 2707559.9861 | 1095506.7233
52 | 2707448.2632 | 1095641.685
53 | 2707298.031 | 1095595.0802
54 | 2707626.0646 | 1095745.0324
55 | 2707619.8296 | 1095733.6908
56 | 2707557.3802 | 1095493.8519
57 | 2707552.1547 | 1095468.0413
58 | 2707638.0862 | 1095745.2454
59 | 2707647.5291 | 1095744.1852
60 | 2707640.8612 | 1095740.3995
61 | 2707640.762 | 1095740.3431
62 | 2707634.1207 | 1095736.5221
63 | 2707627.5364 | 1095732.061
64 | 2707623.5648 | 1095731.4458
65 | 2707540.5143 | 1095411.6468
66 | 2707522.1795 | 1095324.9898
67 | 2707497.573 | 1095244.9289
68 | 2707548.1746 | 1095121.2864
69 | 2707476.2901 | 1095218.9356
70 | 2707435.4137 | 1095225.6095
71 | 2707436.837 | 1095989.5917
72 | 2707439.8906 | 1095994.7294
73 | 2707447.6562 | 1096007.7949
74 | 2707344.2016 | 1095865.2255
75 | 2707258.7592 | 1095842.873
76 | 2707348.3721 | 1095846.0345
77 | 2707265.9366 | 1095811.9017
78 | 2707222.8731 | 1095812.7675
79 | 2707348.6488 | 1095839.4127
80 | 2707273.4163 | 1095821.4731
81 | 2707350.2991 | 1095839.8532
82 | 2707299.7751 | 1095716.5801
83 | 2707333.6294 | 1095802.8012
84 | 2707345.2569 | 1095809.386
85 | 2707325.9323 | 1095547.6969
86 | 2707448.2466 | 1095641.5193
87 | 2707451.4942 | 1096005.7757
88 | 2707457.3066 | 1096002.7177
89 | 2707565.6468 | 1095738.9815

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1