## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5239-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5239-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5239-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5239-6_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5239-6_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5239-6_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5239-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5239-6_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5239-6_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5239-6_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5239-6_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5239-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5239-6_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5239-6_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5239-6_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5239-6_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5239-6_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5239-6_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5239-6_0_3_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_5239-6_0_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_5239-6_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5239-6_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5239-6_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5239-6_0_3_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_5239-6_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5239-6_0_3_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5239-6_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5239-6_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5239-6_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5239-6_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5239-6_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5239-6_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5239-6_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_5239-6_0_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5239-6_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_5239-6_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5239-6_0_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_5239-6_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5239-6_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5239-6_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5239-6_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5239-6_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5239-6_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5239-6_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5239-6_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5239-6_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5239-6_0_3_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_5239-6_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_5239-6_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5239-6_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5239-6_0_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_5239-6_0_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5239-6_0_3_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_5239-6_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5239-6_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5239-6_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5239-6_0_3_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_5239-6_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_5239-6_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5239-6_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5239-6_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5239-6_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5239-6_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5239-6_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5239-6_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5239-6_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5239-6_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5239-6_0_3_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_5239-6_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5239-6_0_3_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_5239-6_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5239-6_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5239-6_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5239-6_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5239-6_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5239-6_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5239-6_0_3_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_5239-6_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5239-6_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5239-6_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5239-6_0_3_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_5239-6_0_3_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_5239-6_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_5239-6_0_3_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_5239-6_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5239-6_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5239-6_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5239-6_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5239-6_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5239-6_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5239-6_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5239-6_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5239-6_0_3_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_5239-6_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_5239-6_0_3_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_5239-6_0_3_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_5239-6_0_3_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_5239-6_0_3_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_5239-6_0_3_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_5239-6_0_3_node_102 | 0.4 | n |  | TRUE
100 | bus_LV_5239-6_0_3_node_103 | 0.4 | n |  | TRUE
101 | bus_MV_69_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5239-6_0_3_load_0 | 0 | 0.0044157 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5239-6_0_3_load_12 | 4 | 0.00095142 | 0.00023845 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5239-6_0_3_load_10 | 5 | 0.0051144 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5239-6_0_3_load_6 | 6 | 0.0067351 | 0.001688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5239-6_0_3_load_13 | 7 | 0.0045564 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5239-6_0_3_load_3 | 8 | 0.0061472 | 0.0015406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5239-6_0_3_load_4 | 9 | 0.006049 | 0.001516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5239-6_0_3_load_7 | 11 | 0.0085504 | 0.0021429 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5239-6_0_3_load_16 | 13 | 0.0027448 | 0.00068792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5239-6_0_3_load_20 | 14 | 0.0072378 | 0.001814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5239-6_0_3_load_17 | 15 | 0.010577 | 0.0026508 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5239-6_0_3_load_21 | 16 | 0.0064986 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5239-6_0_3_load_15 | 17 | 0.0067389 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5239-6_0_3_load_62 | 18 | 0.0028947 | 0.00072548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5239-6_0_3_load_14 | 20 | 0.0016546 | 0.00041469 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5239-6_0_3_load_18 | 21 | 0.0007916 | 0.00019839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5239-6_0_3_load_19 | 22 | 0.0034604 | 0.00086727 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5239-6_0_3_load_86 | 23 | 0.0024166 | 0.00060566 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5239-6_0_3_load_22 | 24 | 0.0054104 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5239-6_0_3_load_84 | 25 | 0.0055293 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5239-6_0_3_load_27 | 26 | 0.0062251 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5239-6_0_3_load_23 | 27 | 0.0039962 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5239-6_0_3_load_24 | 28 | 0.003412 | 0.00085512 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5239-6_0_3_load_26 | 30 | 0.002778 | 0.00069623 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5239-6_0_3_load_28 | 31 | 0.0058019 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5239-6_0_3_load_76 | 33 | 0.0065847 | 0.0016503 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5239-6_0_3_load_40 | 34 | 0.0025463 | 0.00063815 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5239-6_0_3_load_36 | 35 | 0.016624 | 0.0041664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5239-6_0_3_load_74 | 36 | 0.0033744 | 0.00084571 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5239-6_0_3_load_29 | 37 | 0.010172 | 0.0025493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5239-6_0_3_load_32 | 39 | 0.011993 | 0.0030058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5239-6_0_3_load_34 | 42 | 0.0039342 | 0.000986 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5239-6_0_3_load_35 | 43 | 0.0028019 | 0.00070223 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5239-6_0_3_load_45 | 44 | 0.014706 | 0.0036858 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5239-6_0_3_load_42 | 45 | 0.0053552 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5239-6_0_3_load_69 | 46 | 0.0016598 | 0.00041598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5239-6_0_3_load_46 | 48 | 0.0093721 | 0.0023489 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5239-6_0_3_load_41 | 49 | 0.0080699 | 0.0020225 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5239-6_0_3_load_71 | 51 | 0.0026101 | 0.00065415 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5239-6_0_3_load_72 | 52 | 0.0026215 | 0.00065702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5239-6_0_3_load_37 | 54 | 0.0025908 | 0.00064931 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5239-6_0_3_load_39 | 55 | 0.0025882 | 0.00064866 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5239-6_0_3_load_78 | 56 | 0.0048756 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5239-6_0_3_load_80 | 57 | 0.0020168 | 0.00050545 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5239-6_0_3_load_60 | 58 | 0.0032879 | 0.00082404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5239-6_0_3_load_56 | 59 | 0.0034693 | 0.00086948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5239-6_0_3_load_43 | 60 | 0.0042951 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5239-6_0_3_load_44 | 61 | 0.0049832 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5239-6_0_3_load_54 | 62 | 0.0083909 | 0.002103 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5239-6_0_3_load_53 | 63 | 0.002432 | 0.00060952 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5239-6_0_3_load_47 | 64 | 0.0030539 | 0.00076539 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5239-6_0_3_load_48 | 65 | 0.0021977 | 0.00055079 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5239-6_0_3_load_85 | 67 | 0.0022764 | 0.00057052 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5239-6_0_3_load_64 | 68 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5239-6_0_3_load_83 | 69 | 0.0041671 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5239-6_0_3_load_55 | 70 | 0.0082871 | 0.0020769 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5239-6_0_3_load_57 | 71 | 0.0040728 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5239-6_0_3_load_58 | 72 | 0.0022943 | 0.00057501 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5239-6_0_3_load_59 | 73 | 0.0030366 | 0.00076105 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5239-6_0_3_load_61 | 74 | 0.0044824 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5239-6_0_3_load_65 | 77 | 0.0010617 | 0.00026609 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5239-6_0_3_load_66 | 78 | 0.0016887 | 0.00042322 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5239-6_0_3_load_67 | 79 | 0.001811 | 0.00045388 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5239-6_0_3_load_92 | 80 | 0.0030417 | 0.00076233 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5239-6_0_3_load_93 | 81 | 0.0022084 | 0.00055347 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5239-6_0_3_load_90 | 83 | 0.0026575 | 0.00066604 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5239-6_0_3_load_87 | 84 | 0.00087265 | 0.00021871 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5239-6_0_3_load_79 | 85 | 0.0026051 | 0.00065291 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5239-6_0_3_load_81 | 86 | 0.0016756 | 0.00041994 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5239-6_0_3_load_77 | 87 | 0.0060341 | 0.0015123 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5239-6_0_3_load_82 | 88 | 0.0037266 | 0.00093397 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5239-6_0_3_load_73 | 89 | 0.0018182 | 0.00045568 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5239-6_0_3_load_75 | 90 | 0.0018327 | 0.00045932 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5239-6_0_3_load_89 | 91 | 0.00078213 | 0.00019602 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5239-6_0_3_load_95 | 93 | 0.0026641 | 0.00066768 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5239-6_0_3_load_99 | 95 | 0.001715 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5239-6_0_3_load_98 | 97 | 0.0046306 | 0.0011605 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5239-6_0_3_load_101 | 98 | 0.00090197 | 0.00022605 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5239-6_0_3_load_103 | 100 | 0.0091867 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5239-6_0_3_line_0 |  | 0 | 1 | 0.041409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5239-6_0_3_line_1 |  | 1 | 2 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5239-6_0_3_line_2 |  | 2 | 3 | 0.041797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5239-6_0_3_line_3 |  | 2 | 4 | 0.021969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5239-6_0_3_line_4 |  | 3 | 5 | 0.029469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5239-6_0_3_line_5 |  | 3 | 6 | 0.067988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5239-6_0_3_line_6 |  | 4 | 7 | 0.0014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5239-6_0_3_line_7 |  | 5 | 17 | 0.0091033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5239-6_0_3_line_8 |  | 6 | 9 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5239-6_0_3_line_9 |  | 7 | 20 | 0.032221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5239-6_0_3_line_10 |  | 8 | 9 | 0.030474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5239-6_0_3_line_11 |  | 8 | 10 | 0.0046059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5239-6_0_3_line_12 |  | 10 | 11 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5239-6_0_3_line_13 |  | 10 | 12 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5239-6_0_3_line_14 |  | 11 | 13 | 0.0035373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5239-6_0_3_line_15 |  | 12 | 14 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5239-6_0_3_line_16 |  | 13 | 15 | 0.0022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5239-6_0_3_line_17 |  | 14 | 16 | 0.038983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5239-6_0_3_line_18 |  | 16 | 24 | 0.006258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5239-6_0_3_line_19 |  | 18 | 19 | 0.034879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5239-6_0_3_line_20 |  | 19 | 68 | 0.03461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5239-6_0_3_line_21 |  | 19 | 66 | 0.055611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5239-6_0_3_line_22 |  | 20 | 21 | 0.0060588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5239-6_0_3_line_23 |  | 21 | 22 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5239-6_0_3_line_24 |  | 22 | 23 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5239-6_0_3_line_25 |  | 24 | 25 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5239-6_0_3_line_26 |  | 25 | 26 | 0.0083175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5239-6_0_3_line_27 |  | 26 | 29 | 0.007961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5239-6_0_3_line_28 |  | 27 | 28 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5239-6_0_3_line_29 |  | 27 | 29 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5239-6_0_3_line_30 |  | 28 | 30 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5239-6_0_3_line_31 |  | 29 | 31 | 0.0087848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5239-6_0_3_line_32 |  | 30 | 32 | 0.0055276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5239-6_0_3_line_33 |  | 31 | 33 | 0.00354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5239-6_0_3_line_34 |  | 32 | 34 | 0.0044218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5239-6_0_3_line_35 |  | 32 | 35 | 0.022964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5239-6_0_3_line_36 |  | 33 | 36 | 0.014751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5239-6_0_3_line_37 |  | 34 | 57 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5239-6_0_3_line_38 |  | 35 | 54 | 0.0038603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5239-6_0_3_line_39 |  | 36 | 89 | 0.005214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5239-6_0_3_line_40 |  | 37 | 38 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5239-6_0_3_line_41 |  | 38 | 39 | 0.012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5239-6_0_3_line_42 |  | 38 | 40 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5239-6_0_3_line_43 |  | 39 | 44 | 0.0039001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5239-6_0_3_line_44 |  | 40 | 45 | 0.0045061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5239-6_0_3_line_45 |  | 41 | 42 | 0.0014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5239-6_0_3_line_46 |  | 41 | 43 | 0.012752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5239-6_0_3_line_47 |  | 42 | 46 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5239-6_0_3_line_48 |  | 43 | 47 | 0.0054298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5239-6_0_3_line_49 |  | 44 | 48 | 0.0010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5239-6_0_3_line_50 |  | 45 | 49 | 0.0014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5239-6_0_3_line_51 |  | 46 | 50 | 0.010669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5239-6_0_3_line_52 |  | 47 | 53 | 0.007679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5239-6_0_3_line_53 |  | 49 | 60 | 0.0016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5239-6_0_3_line_54 |  | 50 | 51 | 0.0074334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5239-6_0_3_line_55 |  | 50 | 52 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5239-6_0_3_line_56 |  | 51 | 85 | 0.0079201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5239-6_0_3_line_57 |  | 52 | 86 | 0.0017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5239-6_0_3_line_58 |  | 53 | 64 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5239-6_0_3_line_59 |  | 54 | 55 | 0.0071714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5239-6_0_3_line_60 |  | 55 | 56 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5239-6_0_3_line_61 |  | 56 | 58 | 0.0012239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5239-6_0_3_line_62 |  | 57 | 59 | 0.00029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5239-6_0_3_line_63 |  | 58 | 75 | 0.31143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5239-6_0_3_line_64 |  | 58 | 72 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5239-6_0_3_line_65 |  | 59 | 70 | 0.0038049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5239-6_0_3_line_66 |  | 60 | 61 | 0.0052092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5239-6_0_3_line_67 |  | 61 | 62 | 0.0026194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5239-6_0_3_line_68 |  | 62 | 63 | 0.0015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5239-6_0_3_line_69 |  | 63 | 70 | 0.0041124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5239-6_0_3_line_70 |  | 64 | 65 | 0.0061582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5239-6_0_3_line_71 |  | 66 | 67 | 0.11552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5239-6_0_3_line_72 |  | 67 | 69 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5239-6_0_3_line_73 |  | 68 | 82 | 0.050861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5239-6_0_3_line_74 |  | 69 | 88 | 0.0067264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5239-6_0_3_line_75 |  | 71 | 72 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5239-6_0_3_line_76 |  | 71 | 73 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5239-6_0_3_line_77 |  | 73 | 74 | 0.077712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5239-6_0_3_line_78 |  | 74 | 76 | 0.13131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5239-6_0_3_line_79 |  | 75 | 78 | 0.057897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5239-6_0_3_line_80 |  | 76 | 80 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5239-6_0_3_line_81 |  | 76 | 81 | 0.070057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5239-6_0_3_line_82 |  | 77 | 78 | 0.010515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5239-6_0_3_line_83 |  | 77 | 79 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5239-6_0_3_line_84 |  | 82 | 83 | 0.025024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5239-6_0_3_line_85 |  | 82 | 84 | 0.074346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5239-6_0_3_line_86 |  | 83 | 92 | 0.0075127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5239-6_0_3_line_87 |  | 84 | 91 | 0.0067919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5239-6_0_3_line_88 |  | 85 | 87 | 0.0074702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5239-6_0_3_line_89 |  | 86 | 88 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5239-6_0_3_line_90 |  | 87 | 90 | 0.0011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5239-6_0_3_line_91 |  | 89 | 90 | 0.0088706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5239-6_0_3_line_92 |  | 92 | 93 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5239-6_0_3_line_93 |  | 92 | 94 | 0.060492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5239-6_0_3_line_94 |  | 94 | 95 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5239-6_0_3_line_95 |  | 94 | 96 | 0.1387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5239-6_0_3_line_96 |  | 94 | 97 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5239-6_0_3_line_97 |  | 96 | 98 | 0.053381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5239-6_0_3_line_98 |  | 96 | 99 | 0.17696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5239-6_0_3_line_99 |  | 99 | 100 | 0.12069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5239-6_0_3_trafo_22 | 0.63 MVA 20/0.4 kV | 101 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2706565.5136 | 1095330.4238 | 2706551.7064 | 1095291.3846
1 | 2706565.5136 | 1095330.4238 | 2706582.6615 | 1095325.5323
2 | 2706582.6615 | 1095325.5323 | 2706592.6792 | 1095321.6164 | 2706607.5539 | 1095313.3606 | 2706615.1007 | 1095307.6336 | 2706618.5034 | 1095310.6619
3 | 2706582.6615 | 1095325.5323 | 2706590.8422 | 1095345.921
4 | 2706618.5034 | 1095310.6619 | 2706617.7546 | 1095312.2721 | 2706617.6163 | 1095313.9708 | 2706618.2761 | 1095315.2276 | 2706627.683 | 1095330.6694 | 2706630.622 | 1095336.4534
5 | 2706618.5034 | 1095310.6619 | 2706635.633 | 1095299.7551 | 2706647.3167 | 1095292.3107 | 2706661.2551 | 1095284.8725 | 2706678.5628 | 1095279.8255
6 | 2706590.8422 | 1095345.921 | 2706591.395 | 1095347.2989
7 | 2706634.7459 | 1095344.5691 | 2706630.622 | 1095336.4534
8 | 2706698.0527 | 1095276.5014 | 2706698.0527 | 1095276.5014 | 2706682.5097 | 1095278.6746 | 2706678.5628 | 1095279.8255
9 | 2706591.395 | 1095347.2989 | 2706596.3957 | 1095359.7622 | 2706579.9279 | 1095368.8157
10 | 2706728.5214 | 1095277.0751 | 2706698.0527 | 1095276.5014
11 | 2706733.1265 | 1095277.1619 | 2706728.5214 | 1095277.0751
12 | 2706733.1265 | 1095277.1619 | 2706732.1617 | 1095280.0357 | 2706731.6118 | 1095284.4289 | 2706731.7926 | 1095289.1352 | 2706732.7533 | 1095293.555 | 2706735.807 | 1095301.5602
13 | 2706767.9704 | 1095268.4122 | 2706761.8572 | 1095273.2414 | 2706755.8457 | 1095275.3706 | 2706745.1955 | 1095276.4621 | 2706733.1265 | 1095277.1619
14 | 2706737.0678 | 1095304.8651 | 2706735.807 | 1095301.5602
15 | 2706767.9704 | 1095268.4122 | 2706773.935 | 1095269.3954 | 2706780.5756 | 1095267.9407
16 | 2706737.8644 | 1095306.9535 | 2706737.0678 | 1095304.8651
17 | 2706780.5756 | 1095267.9407 | 2706782.0636 | 1095267.6147 | 2706808.8069 | 1095252.4522 | 2706814.6502 | 1095249.1394
18 | 2706820.0942 | 1095246.053 | 2706814.6502 | 1095249.1394
19 | 2706809.4913 | 1095014.6853 | 2706814.9701 | 1095049.1314
20 | 2706809.4913 | 1095014.6853 | 2706782.168 | 1095008.557 | 2706775.6066 | 1095007.7743
21 | 2706862.6139 | 1095031.6409 | 2706809.4913 | 1095014.6853
22 | 2706574.6186 | 1095371.7346 | 2706579.9279 | 1095368.8157
23 | 2706574.6186 | 1095371.7346 | 2706564.8421 | 1095377.1094 | 2706554.379 | 1095386.7904
24 | 2706544.405 | 1095395.6546 | 2706547.2703 | 1095393.3678 | 2706554.379 | 1095386.7904
25 | 2706832.8789 | 1095238.8048 | 2706820.0942 | 1095246.053
26 | 2706832.8789 | 1095238.8048 | 2706840.1145 | 1095234.7026
27 | 2706847.0398 | 1095230.7763 | 2706840.1145 | 1095234.7026
28 | 2706854.3326 | 1095242.6011 | 2706862.8423 | 1095238.0921 | 2706867.2409 | 1095242.2055 | 2706867.2409 | 1095242.2055
29 | 2706847.0398 | 1095230.7763 | 2706854.3326 | 1095242.6011
30 | 2706867.2409 | 1095242.2055 | 2706878.4832 | 1095243.1121
31 | 2706847.0398 | 1095230.7763 | 2706854.7174 | 1095226.507
32 | 2706883.9929 | 1095243.5564 | 2706878.4832 | 1095243.1121
33 | 2706857.8113 | 1095224.7866 | 2706854.7174 | 1095226.507
34 | 2706883.9929 | 1095243.5564 | 2706886.0655 | 1095239.6503
35 | 2706883.9929 | 1095243.5564 | 2706881.4201 | 1095248.4143 | 2706876.4736 | 1095255.6321 | 2706879.2105 | 1095263.9079
36 | 2706870.7033 | 1095217.6177 | 2706857.8113 | 1095224.7866
37 | 2706886.0655 | 1095239.6503 | 2706887.5993 | 1095236.7597 | 2706893.2084 | 1095232.4661
38 | 2706879.2105 | 1095263.9079 | 2706877.8643 | 1095267.5259
39 | 2706875.2602 | 1095215.0838 | 2706870.7033 | 1095217.6177
40 | 2706922.5458 | 1095213.4031 | 2706922.7123 | 1095201.7949
41 | 2706922.5458 | 1095213.4031 | 2706926.0871 | 1095212.5093 | 2706935.3934 | 1095212.4943
42 | 2706912.0927 | 1095216.0544 | 2706922.5458 | 1095213.4031
43 | 2706935.3934 | 1095212.4943 | 2706939.2936 | 1095212.4881
44 | 2706912.0927 | 1095216.0544 | 2706909.6779 | 1095219.8589 | 2706909.6779 | 1095219.8589
45 | 2706923.1066 | 1095184.1715 | 2706922.0449 | 1095185.1423
46 | 2706923.1066 | 1095184.1715 | 2706929.7571 | 1095174.8045 | 2706930.7105 | 1095173.9743
47 | 2706912.6258 | 1095192.9322 | 2706916.7354 | 1095189.9967 | 2706922.0449 | 1095185.1423
48 | 2706934.809 | 1095170.4127 | 2706931.3467 | 1095173.4204 | 2706930.7105 | 1095173.9743
49 | 2706939.2936 | 1095212.4881 | 2706940.341 | 1095212.4864
50 | 2706908.5004 | 1095220.7603 | 2706909.6779 | 1095219.8589
51 | 2706903.9444 | 1095199.1334 | 2706912.6258 | 1095192.9322
52 | 2706934.809 | 1095170.4127 | 2706934.6186 | 1095162.7376
53 | 2706908.5004 | 1095220.7603 | 2706907.1713 | 1095221.7777
54 | 2706903.9444 | 1095199.1334 | 2706897.4478 | 1095202.7459
55 | 2706903.9444 | 1095199.1334 | 2706896.6093 | 1095185.8079
56 | 2706890.526 | 1095206.5949 | 2706897.4478 | 1095202.7459
57 | 2706895.7702 | 1095184.2835 | 2706896.6093 | 1095185.8079
58 | 2706934.6186 | 1095162.7376 | 2706917.4342 | 1095157.3164
59 | 2706877.8643 | 1095267.5259 | 2706875.3636 | 1095274.2471 | 2706875.3636 | 1095274.2471
60 | 2706875.3636 | 1095274.2471 | 2706875.0288 | 1095279.6226 | 2706867.1863 | 1095286.306
61 | 2706867.1863 | 1095286.306 | 2706866.2547 | 1095287.0998
62 | 2706893.2084 | 1095232.4661 | 2706893.4435 | 1095232.286
63 | 2706866.2547 | 1095287.0998 | 2707016.0244 | 1095560.154
64 | 2706844.6699 | 1095299.4955 | 2706858.2657 | 1095296.5391 | 2706861.0187 | 1095291.562 | 2706866.2547 | 1095287.0998
65 | 2706893.4435 | 1095232.286 | 2706896.4649 | 1095229.9733
66 | 2706903.0349 | 1095224.9441 | 2706907.1713 | 1095221.7777
67 | 2706903.0349 | 1095224.9441 | 2706900.9549 | 1095226.5362
68 | 2706899.7304 | 1095227.4736 | 2706900.9549 | 1095226.5362
69 | 2706899.7304 | 1095227.4736 | 2706896.4649 | 1095229.9733
70 | 2706917.4342 | 1095157.3164 | 2706911.5614 | 1095155.4637
71 | 2706862.6139 | 1095031.6409 | 2706868.5341 | 1095035.6031 | 2706878.8782 | 1095047.5372 | 2706884.0572 | 1095063.2386 | 2706889.9319 | 1095099.299 | 2706889.3066 | 1095115.9101 | 2706888.441 | 1095138.8039
72 | 2706888.441 | 1095138.8039 | 2706888.3067 | 1095142.3544 | 2706889.4513 | 1095160.6866
73 | 2706725.2886 | 1095012.6723 | 2706752.5297 | 1095007.6026 | 2706767.7388 | 1095006.8358 | 2706775.6066 | 1095007.7743
74 | 2706889.4513 | 1095160.6866 | 2706889.8704 | 1095167.4
75 | 2706820.6894 | 1095304.6831 | 2706835.1331 | 1095301.5693 | 2706844.6699 | 1095299.4955
76 | 2706820.6894 | 1095304.6831 | 2706817.6326 | 1095305.3421 | 2706812.8946 | 1095306.4374 | 2706802.2781 | 1095311.0975
77 | 2706736.8446 | 1095352.5081 | 2706740.8628 | 1095348.8782 | 2706763.4456 | 1095334.9878 | 2706773.6488 | 1095328.0179 | 2706789.5386 | 1095316.6894 | 2706802.2781 | 1095311.0975
78 | 2706633.657 | 1095430.9068 | 2706636.1328 | 1095424.9352 | 2706639.5322 | 1095420.6364 | 2706646.2764 | 1095415.1622 | 2706658.9843 | 1095407.6246 | 2706697.7996 | 1095385.7912 | 2706708.8812 | 1095377.7692 | 2706736.8446 | 1095352.5081
79 | 2707016.0244 | 1095560.154 | 2707024.1233 | 1095556.5163 | 2707048.0086 | 1095549.1764 | 2707071.9551 | 1095547.1634
80 | 2706633.657 | 1095430.9068 | 2706636.6764 | 1095438.1089 | 2706645.9946 | 1095447.5564
81 | 2706633.657 | 1095430.9068 | 2706630.307 | 1095442.0999 | 2706617.3473 | 1095468.4122 | 2706612.6972 | 1095485.6976 | 2706604.9197 | 1095492.221 | 2706604.0538 | 1095492.7041
82 | 2707082.3264 | 1095548.8953 | 2707071.9551 | 1095547.1634
83 | 2707082.3264 | 1095548.8953 | 2707093.7013 | 1095550.7947
84 | 2706725.2886 | 1095012.6723 | 2706718.7903 | 1095013.3809 | 2706710.6335 | 1095011.4587 | 2706704.5651 | 1095008.8728 | 2706701.6858 | 1095006.8641
85 | 2706725.2886 | 1095012.6723 | 2706720.1628 | 1094996.5606 | 2706719.1821 | 1094986.6591 | 2706722.326 | 1094939.2746
86 | 2706695.5244 | 1095002.5655 | 2706701.6858 | 1095006.8641
87 | 2706722.7757 | 1094932.4976 | 2706722.326 | 1094939.2746
88 | 2706890.526 | 1095206.5949 | 2706883.9973 | 1095210.2253
89 | 2706895.7702 | 1095184.2835 | 2706892.5237 | 1095178.3856 | 2706889.9572 | 1095168.7897 | 2706889.8704 | 1095167.4
90 | 2706883.0128 | 1095210.7728 | 2706883.9973 | 1095210.2253
91 | 2706875.2602 | 1095215.0838 | 2706883.0128 | 1095210.7728
92 | 2706695.5244 | 1095002.5655 | 2706701.4781 | 1094983.8799
93 | 2706695.5244 | 1095002.5655 | 2706687.6415 | 1094996.9569 | 2706669.8862 | 1094982.5359 | 2706645.6815 | 1094996.4983
94 | 2706630.816 | 1095005.0655 | 2706645.6815 | 1094996.4983
95 | 2706583.8477 | 1094912.8591 | 2706591.9735 | 1094918.3274 | 2706655.8395 | 1094970.9374 | 2706664.9736 | 1094978.5471 | 2706669.8862 | 1094982.5359 | 2706645.6815 | 1094996.4983
96 | 2706645.6815 | 1094996.4983 | 2706654.4153 | 1095012.5692
97 | 2706583.8477 | 1094912.8591 | 2706582.0104 | 1094919.0866 | 2706583.3096 | 1094935.5869 | 2706587.0097 | 1094945.9697 | 2706596.6501 | 1094962.7164
98 | 2706583.8477 | 1094912.8591 | 2706463.1379 | 1094783.4595
99 | 2706559.7826 | 1094736.777 | 2706543.1531 | 1094731.0152 | 2706528.9228 | 1094729.3981 | 2706516.8226 | 1094731.3764 | 2706507.414 | 1094735.859 | 2706498.5394 | 1094741.7074 | 2706481.2908 | 1094755.3477 | 2706470.93 | 1094767.7411 | 2706463.1379 | 1094783.4595

## bus_geodata
| x | y | coords
0 | 2706551.7064 | 1095291.3846
1 | 2706565.5136 | 1095330.4238
2 | 2706582.6615 | 1095325.5323
3 | 2706618.5034 | 1095310.6619
4 | 2706590.8422 | 1095345.921
5 | 2706630.622 | 1095336.4534
6 | 2706678.5628 | 1095279.8255
7 | 2706591.395 | 1095347.2989
8 | 2706728.5214 | 1095277.0751
9 | 2706698.0527 | 1095276.5014
10 | 2706733.1265 | 1095277.1619
11 | 2706735.807 | 1095301.5602
12 | 2706767.9704 | 1095268.4122
13 | 2706737.0678 | 1095304.8651
14 | 2706780.5756 | 1095267.9407
15 | 2706737.8644 | 1095306.9535
16 | 2706814.6502 | 1095249.1394
17 | 2706634.7459 | 1095344.5691
18 | 2706814.9701 | 1095049.1314
19 | 2706809.4913 | 1095014.6853
20 | 2706579.9279 | 1095368.8157
21 | 2706574.6186 | 1095371.7346
22 | 2706554.379 | 1095386.7904
23 | 2706544.405 | 1095395.6546
24 | 2706820.0942 | 1095246.053
25 | 2706832.8789 | 1095238.8048
26 | 2706840.1145 | 1095234.7026
27 | 2706854.3326 | 1095242.6011
28 | 2706867.2409 | 1095242.2055
29 | 2706847.0398 | 1095230.7763
30 | 2706878.4832 | 1095243.1121
31 | 2706854.7174 | 1095226.507
32 | 2706883.9929 | 1095243.5564
33 | 2706857.8113 | 1095224.7866
34 | 2706886.0655 | 1095239.6503
35 | 2706879.2105 | 1095263.9079
36 | 2706870.7033 | 1095217.6177
37 | 2706922.7123 | 1095201.7949
38 | 2706922.5458 | 1095213.4032
39 | 2706935.3934 | 1095212.4943
40 | 2706912.0927 | 1095216.0544
41 | 2706923.1066 | 1095184.1715
42 | 2706922.0449 | 1095185.1423
43 | 2706930.7105 | 1095173.9743
44 | 2706939.2936 | 1095212.4881
45 | 2706909.6779 | 1095219.8589
46 | 2706912.6258 | 1095192.9322
47 | 2706934.809 | 1095170.4127
48 | 2706940.341 | 1095212.4864
49 | 2706908.5004 | 1095220.7603
50 | 2706903.9444 | 1095199.1334
51 | 2706897.4478 | 1095202.7459
52 | 2706896.6093 | 1095185.8079
53 | 2706934.6186 | 1095162.7376
54 | 2706877.8643 | 1095267.5259
55 | 2706875.3636 | 1095274.2471
56 | 2706867.1863 | 1095286.306
57 | 2706893.2084 | 1095232.4661
58 | 2706866.2547 | 1095287.0998
59 | 2706893.4435 | 1095232.286
60 | 2706907.1713 | 1095221.7777
61 | 2706903.0349 | 1095224.9441
62 | 2706900.9549 | 1095226.5362
63 | 2706899.7304 | 1095227.4736
64 | 2706917.4342 | 1095157.3164
65 | 2706911.5614 | 1095155.4637
66 | 2706862.6139 | 1095031.6409
67 | 2706888.441 | 1095138.8039
68 | 2706775.6066 | 1095007.7743
69 | 2706889.4513 | 1095160.6866
70 | 2706896.4649 | 1095229.9733
71 | 2706820.6894 | 1095304.6831
72 | 2706844.6699 | 1095299.4955
73 | 2706802.2781 | 1095311.0975
74 | 2706736.8446 | 1095352.5081
75 | 2707016.0244 | 1095560.154
76 | 2706633.657 | 1095430.9068
77 | 2707082.3264 | 1095548.8953
78 | 2707071.9551 | 1095547.1634
79 | 2707093.7013 | 1095550.7947
80 | 2706645.9946 | 1095447.5564
81 | 2706604.0538 | 1095492.7041
82 | 2706725.2886 | 1095012.6723
83 | 2706701.6858 | 1095006.8641
84 | 2706722.326 | 1094939.2746
85 | 2706890.526 | 1095206.5949
86 | 2706895.7702 | 1095184.2835
87 | 2706883.9973 | 1095210.2253
88 | 2706889.8704 | 1095167.4
89 | 2706875.2602 | 1095215.0838
90 | 2706883.0128 | 1095210.7728
91 | 2706722.7757 | 1094932.4976
92 | 2706695.5244 | 1095002.5655
93 | 2706701.4781 | 1094983.8799
94 | 2706645.6815 | 1094996.4983
95 | 2706630.816 | 1095005.0655
96 | 2706583.8477 | 1094912.8591
97 | 2706654.4153 | 1095012.5692
98 | 2706596.6501 | 1094962.7164
99 | 2706463.1379 | 1094783.4595
100 | 2706559.7826 | 1094736.777
101 | 2706847.0398 | 1095230.7763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1