## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5242-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5242-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5242-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5242-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5242-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5242-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5242-18_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5242-18_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_5242-18_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_5242-18_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5242-18_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_5242-18_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5242-18_0_4_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_5242-18_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5242-18_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5242-18_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5242-18_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5242-18_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5242-18_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_5242-18_0_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_5242-18_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5242-18_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5242-18_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5242-18_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5242-18_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5242-18_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5242-18_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_5242-18_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5242-18_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5242-18_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5242-18_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_5242-18_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5242-18_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5242-18_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5242-18_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5242-18_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5242-18_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5242-18_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5242-18_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5242-18_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5242-18_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5242-18_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5242-18_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5242-18_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5242-18_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5242-18_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5242-18_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_5242-18_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_5242-18_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5242-18_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5242-18_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5242-18_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_5242-18_0_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_5242-18_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5242-18_0_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_5242-18_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5242-18_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5242-18_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5242-18_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5242-18_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5242-18_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5242-18_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5242-18_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_5242-18_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5242-18_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_5242-18_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5242-18_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5242-18_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_MV_257_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5242-18_0_4_load_0 | 0 | 0.080762 | 0.020241 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5242-18_0_4_load_3 | 3 | 0.012389 | 0.003105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5242-18_0_4_load_4 | 4 | 0.0038817 | 0.00097285 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5242-18_0_4_load_5 | 5 | 0.0041071 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5242-18_0_4_load_6 | 6 | 0.014114 | 0.0035374 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5242-18_0_4_load_11 | 9 | 0.0096479 | 0.002418 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5242-18_0_4_load_43 | 10 | 0.0035318 | 0.00088516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5242-18_0_4_load_33 | 11 | 0.0035489 | 0.00088943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5242-18_0_4_load_31 | 12 | 0.0037667 | 0.00094403 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5242-18_0_4_load_7 | 13 | 0.078283 | 0.019619 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5242-18_0_4_load_8 | 14 | 0.020283 | 0.0050835 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5242-18_0_4_load_9 | 15 | 0.0033188 | 0.00083176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5242-18_0_4_load_12 | 17 | 0.0018955 | 0.00047506 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5242-18_0_4_load_59 | 18 | 0.0038464 | 0.000964 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5242-18_0_4_load_13 | 20 | 0.0029316 | 0.00073474 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5242-18_0_4_load_14 | 21 | 0.0033338 | 0.00083552 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5242-18_0_4_load_17 | 23 | 0.0037111 | 0.00093008 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5242-18_0_4_load_19 | 25 | 0.0085214 | 0.0021357 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5242-18_0_4_load_38 | 26 | 0.0055596 | 0.0013934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5242-18_0_4_load_37 | 27 | 0.0062536 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5242-18_0_4_load_20 | 28 | 0.012338 | 0.0030922 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5242-18_0_4_load_21 | 31 | 0.0087867 | 0.0022022 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5242-18_0_4_load_22 | 32 | 0.011511 | 0.002885 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5242-18_0_4_load_23 | 33 | 0.0054779 | 0.0013729 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5242-18_0_4_load_24 | 34 | 0.002727 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5242-18_0_4_load_25 | 35 | 0.0015877 | 0.00039792 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5242-18_0_4_load_26 | 36 | 0.0045275 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5242-18_0_4_load_27 | 37 | 0.0037395 | 0.00093722 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5242-18_0_4_load_36 | 38 | 0.0037166 | 0.00093147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5242-18_0_4_load_35 | 39 | 0.004671 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5242-18_0_4_load_29 | 40 | 0.0043815 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5242-18_0_4_load_30 | 41 | 0.0033467 | 0.00083876 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5242-18_0_4_load_34 | 42 | 0.0067899 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5242-18_0_4_load_42 | 43 | 0.0018969 | 0.0004754 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5242-18_0_4_load_39 | 44 | 0.0046797 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5242-18_0_4_load_40 | 45 | 0.0055459 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5242-18_0_4_load_55 | 46 | 0.0027535 | 0.00069008 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5242-18_0_4_load_56 | 47 | 0.0071641 | 0.0017955 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5242-18_0_4_load_46 | 49 | 0.0032754 | 0.00082088 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5242-18_0_4_load_48 | 51 | 0.0030079 | 0.00075385 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5242-18_0_4_load_64 | 52 | 0.0031118 | 0.00077989 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5242-18_0_4_load_49 | 53 | 0.0032468 | 0.00081372 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5242-18_0_4_load_63 | 54 | 0.012495 | 0.0031316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5242-18_0_4_load_50 | 55 | 0.0031143 | 0.00078052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5242-18_0_4_load_51 | 56 | 0.0032557 | 0.00081596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5242-18_0_4_load_52 | 57 | 0.011735 | 0.002941 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5242-18_0_4_load_53 | 58 | 0.002321 | 0.0005817 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5242-18_0_4_load_54 | 59 | 0.0043019 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5242-18_0_4_load_57 | 60 | 0.0032693 | 0.00081936 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5242-18_0_4_load_58 | 61 | 0.001616 | 0.00040501 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5242-18_0_4_load_61 | 62 | 0.0034223 | 0.0008577 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5242-18_0_4_load_62 | 63 | 0.0017709 | 0.00044384 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5242-18_0_4_load_68 | 64 | 0.0032087 | 0.00080418 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5242-18_0_4_load_67 | 65 | 0.0044023 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5242-18_0_4_load_65 | 66 | 0.0023197 | 0.00058136 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5242-18_0_4_load_66 | 67 | 0.0018256 | 0.00045753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5242-18_0_4_line_0 |  | 0 | 1 | 0.051225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5242-18_0_4_line_1 |  | 0 | 2 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5242-18_0_4_line_2 |  | 1 | 3 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5242-18_0_4_line_3 |  | 1 | 4 | 0.014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5242-18_0_4_line_4 |  | 2 | 5 | 0.034039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5242-18_0_4_line_5 |  | 2 | 6 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5242-18_0_4_line_6 |  | 5 | 7 | 0.0092177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5242-18_0_4_line_7 |  | 6 | 8 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5242-18_0_4_line_8 |  | 7 | 9 | 0.024004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5242-18_0_4_line_9 |  | 7 | 10 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5242-18_0_4_line_10 |  | 8 | 11 | 0.031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5242-18_0_4_line_11 |  | 8 | 12 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5242-18_0_4_line_12 |  | 9 | 16 | 0.039896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5242-18_0_4_line_13 |  | 10 | 48 | 0.044785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5242-18_0_4_line_14 |  | 11 | 42 | 0.0017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5242-18_0_4_line_15 |  | 12 | 41 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5242-18_0_4_line_16 |  | 13 | 14 | 0.0018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5242-18_0_4_line_17 |  | 13 | 15 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5242-18_0_4_line_18 |  | 14 | 16 | 0.006841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5242-18_0_4_line_19 |  | 16 | 17 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5242-18_0_4_line_20 |  | 17 | 18 | 0.0024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5242-18_0_4_line_21 |  | 18 | 19 | 0.025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5242-18_0_4_line_22 |  | 19 | 62 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5242-18_0_4_line_23 |  | 19 | 63 | 0.0089413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5242-18_0_4_line_24 |  | 20 | 21 | 0.0073634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5242-18_0_4_line_25 |  | 20 | 22 | 0.046374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5242-18_0_4_line_26 |  | 22 | 23 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5242-18_0_4_line_27 |  | 22 | 24 | 0.031149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5242-18_0_4_line_28 |  | 23 | 25 | 0.038249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5242-18_0_4_line_29 |  | 24 | 26 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5242-18_0_4_line_30 |  | 24 | 27 | 0.028788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5242-18_0_4_line_31 |  | 25 | 28 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5242-18_0_4_line_32 |  | 26 | 29 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5242-18_0_4_line_33 |  | 27 | 30 | 0.00059348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5242-18_0_4_line_34 |  | 29 | 43 | 0.038084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5242-18_0_4_line_35 |  | 29 | 44 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5242-18_0_4_line_36 |  | 30 | 38 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5242-18_0_4_line_37 |  | 30 | 37 | 0.026132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5242-18_0_4_line_38 |  | 31 | 32 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5242-18_0_4_line_39 |  | 31 | 33 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5242-18_0_4_line_40 |  | 32 | 34 | 0.0089894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5242-18_0_4_line_41 |  | 34 | 35 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5242-18_0_4_line_42 |  | 35 | 36 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5242-18_0_4_line_43 |  | 36 | 37 | 0.001145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5242-18_0_4_line_44 |  | 38 | 39 | 0.0024905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5242-18_0_4_line_45 |  | 39 | 42 | 0.022396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5242-18_0_4_line_46 |  | 40 | 41 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5242-18_0_4_line_47 |  | 43 | 46 | 0.014602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5242-18_0_4_line_48 |  | 44 | 45 | 0.00014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5242-18_0_4_line_49 |  | 46 | 47 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5242-18_0_4_line_50 |  | 48 | 49 | 0.016639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5242-18_0_4_line_51 |  | 48 | 50 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5242-18_0_4_line_52 |  | 49 | 51 | 0.00066295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5242-18_0_4_line_53 |  | 50 | 52 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5242-18_0_4_line_54 |  | 51 | 53 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5242-18_0_4_line_55 |  | 52 | 54 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5242-18_0_4_line_56 |  | 53 | 55 | 0.0044135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5242-18_0_4_line_57 |  | 54 | 66 | 0.0049274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5242-18_0_4_line_58 |  | 55 | 56 | 0.0012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5242-18_0_4_line_59 |  | 56 | 57 | 0.021573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5242-18_0_4_line_60 |  | 57 | 58 | 0.0072864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5242-18_0_4_line_61 |  | 58 | 59 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5242-18_0_4_line_62 |  | 59 | 60 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5242-18_0_4_line_63 |  | 60 | 61 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5242-18_0_4_line_64 |  | 63 | 64 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5242-18_0_4_line_65 |  | 64 | 65 | 0.0066126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5242-18_0_4_line_66 |  | 65 | 67 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5242-18_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 68 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2721489.6368 | 1078344.7072 | 2721439.008 | 1078336.9122
1 | 2721419.6189 | 1078333.927 | 2721439.008 | 1078336.9122
2 | 2721489.6368 | 1078344.7072 | 2721489.8371 | 1078341.6757 | 2721492.475 | 1078324.7383 | 2721493.7786 | 1078322.0949
3 | 2721489.6368 | 1078344.7072 | 2721497.9881 | 1078345.9968 | 2721503.8711 | 1078346.9018
4 | 2721419.6189 | 1078333.927 | 2721386.0975 | 1078328.7558 | 2721385.9772 | 1078328.7449
5 | 2721419.6189 | 1078333.927 | 2721419.1315 | 1078310.5659
6 | 2721376.797 | 1078327.9145 | 2721385.9772 | 1078328.7449
7 | 2721418.8279 | 1078296.0172 | 2721419.1315 | 1078310.5659
8 | 2721376.797 | 1078327.9145 | 2721376.9735 | 1078334.6562 | 2721377.2415 | 1078351.9144
9 | 2721376.797 | 1078327.9145 | 2721361.1892 | 1078325.3576
10 | 2721418.8279 | 1078296.0172 | 2721409.7512 | 1078296.8148 | 2721401.6088 | 1078281.9197 | 2721401.6453 | 1078276.6791
11 | 2721418.8279 | 1078296.0172 | 2721443.0564 | 1078285.9368 | 2721448.6256 | 1078283.1281
12 | 2721379.668 | 1078391.7066 | 2721377.5011 | 1078368.6357 | 2721377.2415 | 1078351.9144
13 | 2721316.9933 | 1078318.1172 | 2721361.1892 | 1078325.3576
14 | 2721401.6453 | 1078276.6791 | 2721401.6574 | 1078274.9378
15 | 2721448.6256 | 1078283.1281 | 2721466.2598 | 1078274.2343
16 | 2721380.4824 | 1078400.3586 | 2721380.3091 | 1078398.5175
17 | 2721380.4824 | 1078400.3586 | 2721381.4381 | 1078410.511 | 2721384.8557 | 1078421.7739
18 | 2721379.668 | 1078391.7066 | 2721380.3091 | 1078398.5175
19 | 2721379.668 | 1078391.7066 | 2721365.5107 | 1078394.4138
20 | 2721363.1207 | 1078394.8708 | 2721365.5107 | 1078394.4138
21 | 2721337.7483 | 1078399.7225 | 2721363.1207 | 1078394.8708
22 | 2721337.7483 | 1078399.7225 | 2721325.8864 | 1078401.9874
23 | 2721337.7483 | 1078399.7225 | 2721338.9998 | 1078408.5758
24 | 2721372.5098 | 1078129.2093 | 2721375.1393 | 1078136.0873
25 | 2721391.6995 | 1078179.4038 | 2721375.1393 | 1078136.0873
26 | 2721391.6995 | 1078179.4038 | 2721405.2142 | 1078171.7213
27 | 2721402.5253 | 1078208.6182 | 2721393.0291 | 1078182.8772 | 2721391.6995 | 1078179.4038
28 | 2721405.2142 | 1078171.7213 | 2721418.2509 | 1078164.3104 | 2721437.7673 | 1078151.6677
29 | 2721402.5253 | 1078208.6182 | 2721382.9041 | 1078215.8308
30 | 2721402.5253 | 1078208.6182 | 2721408.5258 | 1078225.7167 | 2721405.4293 | 1078235.9249
31 | 2721431.9244 | 1078139.5315 | 2721437.7673 | 1078151.6677
32 | 2721373.0282 | 1078219.4611 | 2721382.9041 | 1078215.8308
33 | 2721405.4293 | 1078235.9249 | 2721405.257 | 1078236.4928
34 | 2721373.0282 | 1078219.4611 | 2721358.8013 | 1078184.1347
35 | 2721373.0282 | 1078219.4611 | 2721359.559 | 1078224.42
36 | 2721405.257 | 1078236.4928 | 2721401.8344 | 1078249.5341 | 2721401.8308 | 1078250.0517
37 | 2721405.257 | 1078236.4928 | 2721425.0463 | 1078231.9836 | 2721429.8119 | 1078228.6153
38 | 2721449.5321 | 1078187.9159 | 2721460.9411 | 1078206.6135
39 | 2721441.5481 | 1078174.8312 | 2721449.5321 | 1078187.9159
40 | 2721453.6002 | 1078211.8019 | 2721460.9411 | 1078206.6135 | 2721460.9411 | 1078206.6135
41 | 2721453.6002 | 1078211.8019 | 2721441.7771 | 1078220.1584
42 | 2721441.7771 | 1078220.1584 | 2721430.747 | 1078227.9544
43 | 2721430.747 | 1078227.9544 | 2721429.8119 | 1078228.6153
44 | 2721401.8135 | 1078252.5421 | 2721401.8308 | 1078250.0517
45 | 2721401.8135 | 1078252.5421 | 2721401.6574 | 1078274.9378
46 | 2721480.0438 | 1078264.0412 | 2721469.4397 | 1078272.6305 | 2721466.2598 | 1078274.2343
47 | 2721353.3463 | 1078170.5896 | 2721358.8013 | 1078184.1347
48 | 2721359.4245 | 1078224.4695 | 2721359.559 | 1078224.42
49 | 2721337.883 | 1078175.6077 | 2721353.3463 | 1078170.5896
50 | 2721316.9933 | 1078318.1172 | 2721311.7222 | 1078302.3351
51 | 2721316.9933 | 1078318.1172 | 2721301.3105 | 1078315.4477
52 | 2721311.5122 | 1078301.7063 | 2721311.7222 | 1078302.3351
53 | 2721301.3105 | 1078315.4477 | 2721297.9945 | 1078334.5234
54 | 2721311.5122 | 1078301.7063 | 2721307.5019 | 1078289.6993
55 | 2721302.7952 | 1078358.2179 | 2721297.1595 | 1078339.3268 | 2721297.9945 | 1078334.5234
56 | 2721306.1037 | 1078285.5131 | 2721307.5019 | 1078289.6993
57 | 2721304.2038 | 1078362.9396 | 2721302.7952 | 1078358.2179
58 | 2721305.7164 | 1078284.3535 | 2721306.1037 | 1078285.5131
59 | 2721305.7164 | 1078284.3535 | 2721298.8824 | 1078263.892
60 | 2721298.8824 | 1078263.892 | 2721297.3096 | 1078259.183 | 2721296.5627 | 1078256.9848
61 | 2721296.5627 | 1078256.9848 | 2721290.1069 | 1078237.9841
62 | 2721283.0009 | 1078217.0696 | 2721290.1069 | 1078237.9841
63 | 2721283.0009 | 1078217.0696 | 2721280.1173 | 1078208.5823 | 2721276.1818 | 1078197.228
64 | 2721341.9683 | 1078429.5758 | 2721338.9998 | 1078408.5758
65 | 2721341.9683 | 1078429.5758 | 2721342.8939 | 1078436.1233
66 | 2721344.9604 | 1078450.7422 | 2721342.8939 | 1078436.1233

## bus_geodata
| x | y | coords
0 | 2721439.008 | 1078336.9122
1 | 2721489.6368 | 1078344.7072
2 | 2721419.6189 | 1078333.927
3 | 2721493.7786 | 1078322.0949
4 | 2721503.8711 | 1078346.9018
5 | 2721385.9772 | 1078328.7449
6 | 2721419.1315 | 1078310.5659
7 | 2721376.797 | 1078327.9145
8 | 2721418.8279 | 1078296.0172
9 | 2721377.2415 | 1078351.9144
10 | 2721361.1892 | 1078325.3576
11 | 2721401.6453 | 1078276.6791
12 | 2721448.6256 | 1078283.1281
13 | 2721380.4824 | 1078400.3586
14 | 2721380.3091 | 1078398.5175
15 | 2721384.8557 | 1078421.7739
16 | 2721379.668 | 1078391.7066
17 | 2721365.5107 | 1078394.4138
18 | 2721363.1207 | 1078394.8708
19 | 2721337.7483 | 1078399.7225
20 | 2721375.1393 | 1078136.0873
21 | 2721372.5098 | 1078129.2093
22 | 2721391.6995 | 1078179.4038
23 | 2721405.2142 | 1078171.7213
24 | 2721402.5253 | 1078208.6182
25 | 2721437.7673 | 1078151.6677
26 | 2721382.9041 | 1078215.8308
27 | 2721405.4293 | 1078235.9249
28 | 2721431.9244 | 1078139.5315
29 | 2721373.0282 | 1078219.4611
30 | 2721405.257 | 1078236.4928
31 | 2721449.5321 | 1078187.9159
32 | 2721460.9411 | 1078206.6135
33 | 2721441.5481 | 1078174.8312
34 | 2721453.6002 | 1078211.8019
35 | 2721441.7771 | 1078220.1584
36 | 2721430.747 | 1078227.9544
37 | 2721429.8119 | 1078228.6153
38 | 2721401.8308 | 1078250.0517
39 | 2721401.8135 | 1078252.5421
40 | 2721480.0438 | 1078264.0412
41 | 2721466.2598 | 1078274.2343
42 | 2721401.6574 | 1078274.9378
43 | 2721358.8013 | 1078184.1347
44 | 2721359.559 | 1078224.42
45 | 2721359.4245 | 1078224.4695
46 | 2721353.3463 | 1078170.5896
47 | 2721337.883 | 1078175.6077
48 | 2721316.9933 | 1078318.1172
49 | 2721311.7222 | 1078302.3351
50 | 2721301.3105 | 1078315.4477
51 | 2721311.5122 | 1078301.7063
52 | 2721297.9945 | 1078334.5234
53 | 2721307.5019 | 1078289.6993
54 | 2721302.7952 | 1078358.2179
55 | 2721306.1037 | 1078285.5131
56 | 2721305.7164 | 1078284.3535
57 | 2721298.8824 | 1078263.892
58 | 2721296.5627 | 1078256.9848
59 | 2721290.1069 | 1078237.9841
60 | 2721283.0009 | 1078217.0696
61 | 2721276.1818 | 1078197.228
62 | 2721325.8864 | 1078401.9874
63 | 2721338.9998 | 1078408.5758
64 | 2721341.9683 | 1078429.5758
65 | 2721342.8939 | 1078436.1233
66 | 2721304.2038 | 1078362.9396
67 | 2721344.9604 | 1078450.7422
68 | 2721376.797 | 1078327.9145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1