## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5242-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5242-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5242-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5242-8_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5242-8_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5242-8_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5242-8_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5242-8_0_6_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_5242-8_0_6_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_5242-8_0_6_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_5242-8_0_6_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_5242-8_0_6_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_5242-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5242-8_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5242-8_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5242-8_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5242-8_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5242-8_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5242-8_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5242-8_0_6_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5242-8_0_6_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5242-8_0_6_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_5242-8_0_6_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_5242-8_0_6_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_5242-8_0_6_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_5242-8_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_5242-8_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5242-8_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5242-8_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5242-8_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5242-8_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5242-8_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_5242-8_0_6_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_5242-8_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5242-8_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5242-8_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5242-8_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5242-8_0_6_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5242-8_0_6_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_5242-8_0_6_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_5242-8_0_6_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_5242-8_0_6_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_5242-8_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5242-8_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5242-8_0_6_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_5242-8_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5242-8_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5242-8_0_6_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_5242-8_0_6_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_5242-8_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5242-8_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5242-8_0_6_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5242-8_0_6_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_5242-8_0_6_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_5242-8_0_6_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_5242-8_0_6_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_5242-8_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_5242-8_0_6_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_5242-8_0_6_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_5242-8_0_6_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5242-8_0_6_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_5242-8_0_6_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_5242-8_0_6_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_5242-8_0_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_5242-8_0_6_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_5242-8_0_6_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_5242-8_0_6_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_5242-8_0_6_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_5242-8_0_6_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_5242-8_0_6_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_5242-8_0_6_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_5242-8_0_6_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_5242-8_0_6_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_5242-8_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5242-8_0_6_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_5242-8_0_6_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_5242-8_0_6_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_5242-8_0_6_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_5242-8_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5242-8_0_6_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_5242-8_0_6_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_5242-8_0_6_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_5242-8_0_6_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_5242-8_0_6_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_5242-8_0_6_node_53 | 0.4 | n |  | TRUE
85 | bus_LV_5242-8_0_6_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_5242-8_0_6_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_5242-8_0_6_node_54 | 0.4 | n |  | TRUE
88 | bus_LV_5242-8_0_6_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_5242-8_0_6_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_5242-8_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_5242-8_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5242-8_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_5242-8_0_6_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_5242-8_0_6_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_5242-8_0_6_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_5242-8_0_6_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_5242-8_0_6_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_5242-8_0_6_node_85 | 0.4 | n |  | TRUE
99 | bus_MV_258_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5242-8_0_6_load_0 | 0 | 0.0011037 | 0.0002766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5242-8_0_6_load_5 | 4 | 0.00032389 | 8.1175e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5242-8_0_6_load_6 | 5 | 0.00099828 | 0.00025019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5242-8_0_6_load_94 | 8 | 0.00099828 | 0.00025019 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5242-8_0_6_load_64 | 9 | 0.0012084 | 0.00030286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5242-8_0_6_load_97 | 10 | 0.0081595 | 0.002045 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5242-8_0_6_load_7 | 12 | 0.016523 | 0.0041411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5242-8_0_6_load_10 | 15 | 0.0011545 | 0.00028934 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5242-8_0_6_load_51 | 19 | 0.0017423 | 0.00043666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5242-8_0_6_load_43 | 20 | 0.00064686 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5242-8_0_6_load_41 | 21 | 0.0025095 | 0.00062893 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5242-8_0_6_load_67 | 22 | 0.0016323 | 0.0004091 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5242-8_0_6_load_52 | 23 | 0.00095957 | 0.00024049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5242-8_0_6_load_66 | 25 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5242-8_0_6_load_14 | 26 | 0.030035 | 0.0075276 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5242-8_0_6_load_70 | 31 | 0.031493 | 0.0078928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5242-8_0_6_load_71 | 32 | 0.0008591 | 0.00021531 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5242-8_0_6_load_21 | 33 | 0.0021906 | 0.00054903 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5242-8_0_6_load_22 | 34 | 0.0032196 | 0.00080692 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5242-8_0_6_load_23 | 35 | 0.0016694 | 0.00041838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5242-8_0_6_load_24 | 36 | 0.029225 | 0.0073246 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5242-8_0_6_load_96 | 38 | 0.0048534 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5242-8_0_6_load_99 | 39 | 0.023137 | 0.0057986 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5242-8_0_6_load_100 | 40 | 0.0048471 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5242-8_0_6_load_72 | 41 | 0.0046911 | 0.0011757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5242-8_0_6_load_25 | 42 | 0.0089169 | 0.0022348 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5242-8_0_6_load_26 | 43 | 0.0058301 | 0.0014612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5242-8_0_6_load_75 | 44 | 0.0016645 | 0.00041717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5242-8_0_6_load_27 | 45 | 0.00011716 | 2.9363e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5242-8_0_6_load_29 | 46 | 0.012189 | 0.0030548 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5242-8_0_6_load_76 | 47 | 0.00062914 | 0.00015768 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5242-8_0_6_load_77 | 48 | 0.0050385 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5242-8_0_6_load_57 | 50 | 0.00053329 | 0.00013366 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5242-8_0_6_load_58 | 51 | 0.0041016 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5242-8_0_6_load_28 | 52 | 0.0033399 | 0.00083705 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5242-8_0_6_load_82 | 53 | 0.00070822 | 0.0001775 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5242-8_0_6_load_81 | 54 | 0.00024959 | 6.2553e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5242-8_0_6_load_80 | 55 | 0.0035556 | 0.00089111 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5242-8_0_6_load_83 | 57 | 0.0051595 | 0.0012931 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5242-8_0_6_load_30 | 58 | 0.0089649 | 0.0022468 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5242-8_0_6_load_31 | 59 | 0.00056985 | 0.00014282 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5242-8_0_6_load_32 | 60 | 0.00044968 | 0.0001127 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5242-8_0_6_load_33 | 63 | 0.0015423 | 0.00038654 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5242-8_0_6_load_34 | 64 | 0.00014694 | 3.6827e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5242-8_0_6_load_88 | 66 | 0.00029115 | 7.297e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5242-8_0_6_load_36 | 67 | 0.020141 | 0.0050477 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5242-8_0_6_load_40 | 71 | 0.0085339 | 0.0021388 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5242-8_0_6_load_90 | 72 | 0.019232 | 0.0048201 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5242-8_0_6_load_44 | 75 | 0.00099474 | 0.00024931 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5242-8_0_6_load_98 | 77 | 0.0012629 | 0.0003165 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5242-8_0_6_load_46 | 80 | 0.0027444 | 0.00068781 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5242-8_0_6_load_47 | 81 | 0.0013018 | 0.00032625 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5242-8_0_6_load_48 | 82 | 0.00073006 | 0.00018297 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5242-8_0_6_load_49 | 83 | 0.00035289 | 8.8443e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5242-8_0_6_load_53 | 84 | 0.0014241 | 0.0003569 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5242-8_0_6_load_56 | 85 | 0.00086343 | 0.0002164 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5242-8_0_6_load_55 | 86 | 0.0008141 | 0.00020403 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5242-8_0_6_load_54 | 87 | 0.00091562 | 0.00022948 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5242-8_0_6_load_59 | 88 | 0.0011436 | 0.00028662 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5242-8_0_6_load_61 | 89 | 0.0016154 | 0.00040486 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5242-8_0_6_load_78 | 90 | 0.00029726 | 7.4501e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5242-8_0_6_load_79 | 91 | 0.001369 | 0.0003431 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5242-8_0_6_load_89 | 92 | 0.0005135 | 0.00012869 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5242-8_0_6_load_63 | 93 | 0.0015922 | 0.00039904 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5242-8_0_6_load_65 | 94 | 0.002486 | 0.00062306 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5242-8_0_6_load_68 | 95 | 0.0056369 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5242-8_0_6_load_91 | 96 | 0.0086948 | 0.0021791 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5242-8_0_6_load_85 | 98 | 0.00032542 | 8.1558e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5242-8_0_6_line_0 |  | 0 | 1 | 0.008176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5242-8_0_6_line_1 |  | 0 | 2 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5242-8_0_6_line_2 |  | 1 | 3 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5242-8_0_6_line_3 |  | 2 | 4 | 0.0050619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5242-8_0_6_line_4 |  | 2 | 5 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5242-8_0_6_line_5 |  | 3 | 9 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5242-8_0_6_line_6 |  | 5 | 7 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5242-8_0_6_line_7 |  | 6 | 7 | 0.021626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5242-8_0_6_line_8 |  | 6 | 8 | 0.032276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5242-8_0_6_line_9 |  | 9 | 10 | 0.070738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5242-8_0_6_line_10 |  | 9 | 11 | 0.010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5242-8_0_6_line_11 |  | 10 | 37 | 0.081693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5242-8_0_6_line_12 |  | 11 | 93 | 0.028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5242-8_0_6_line_13 |  | 11 | 89 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5242-8_0_6_line_14 |  | 12 | 13 | 0.045001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5242-8_0_6_line_15 |  | 12 | 14 | 0.047837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5242-8_0_6_line_16 |  | 13 | 15 | 0.040345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5242-8_0_6_line_17 |  | 13 | 16 | 0.062836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5242-8_0_6_line_18 |  | 14 | 17 | 0.066831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5242-8_0_6_line_19 |  | 16 | 18 | 0.040631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5242-8_0_6_line_20 |  | 16 | 19 | 0.043091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5242-8_0_6_line_21 |  | 17 | 22 | 0.0069692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5242-8_0_6_line_22 |  | 18 | 20 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5242-8_0_6_line_23 |  | 18 | 21 | 0.031734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5242-8_0_6_line_24 |  | 19 | 23 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5242-8_0_6_line_25 |  | 20 | 24 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5242-8_0_6_line_26 |  | 22 | 25 | 0.0303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5242-8_0_6_line_27 |  | 24 | 78 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5242-8_0_6_line_28 |  | 24 | 61 | 0.11642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5242-8_0_6_line_29 |  | 25 | 95 | 0.09808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5242-8_0_6_line_30 |  | 26 | 27 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5242-8_0_6_line_31 |  | 26 | 28 | 0.036619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5242-8_0_6_line_32 |  | 27 | 29 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5242-8_0_6_line_33 |  | 27 | 30 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5242-8_0_6_line_34 |  | 28 | 31 | 0.034048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5242-8_0_6_line_35 |  | 28 | 32 | 0.052637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5242-8_0_6_line_36 |  | 29 | 37 | 0.040674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5242-8_0_6_line_37 |  | 29 | 38 | 0.037957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5242-8_0_6_line_38 |  | 30 | 39 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5242-8_0_6_line_39 |  | 30 | 40 | 0.035159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5242-8_0_6_line_40 |  | 32 | 41 | 0.024629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5242-8_0_6_line_41 |  | 33 | 34 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5242-8_0_6_line_42 |  | 33 | 35 | 0.0078659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5242-8_0_6_line_43 |  | 35 | 36 | 0.065624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5242-8_0_6_line_44 |  | 36 | 41 | 0.032813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5242-8_0_6_line_45 |  | 42 | 43 | 0.0028777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5242-8_0_6_line_46 |  | 43 | 44 | 0.044499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5242-8_0_6_line_47 |  | 44 | 47 | 0.074453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5242-8_0_6_line_48 |  | 44 | 48 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5242-8_0_6_line_49 |  | 45 | 46 | 0.0044342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5242-8_0_6_line_50 |  | 46 | 53 | 0.042875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5242-8_0_6_line_51 |  | 47 | 56 | 0.0079362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5242-8_0_6_line_52 |  | 47 | 52 | 0.053388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5242-8_0_6_line_53 |  | 48 | 90 | 0.0096125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5242-8_0_6_line_54 |  | 49 | 50 | 0.048508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5242-8_0_6_line_55 |  | 49 | 51 | 0.044629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5242-8_0_6_line_56 |  | 50 | 79 | 0.028617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5242-8_0_6_line_57 |  | 50 | 76 | 0.005981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5242-8_0_6_line_58 |  | 51 | 88 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5242-8_0_6_line_59 |  | 53 | 57 | 0.0553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5242-8_0_6_line_60 |  | 53 | 54 | 0.0047899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5242-8_0_6_line_61 |  | 54 | 55 | 0.00045873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5242-8_0_6_line_62 |  | 55 | 91 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5242-8_0_6_line_63 |  | 56 | 65 | 0.072133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5242-8_0_6_line_64 |  | 56 | 64 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5242-8_0_6_line_65 |  | 58 | 59 | 0.055005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5242-8_0_6_line_66 |  | 59 | 60 | 0.0039982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5242-8_0_6_line_67 |  | 60 | 63 | 0.0003678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5242-8_0_6_line_68 |  | 61 | 62 | 0.138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5242-8_0_6_line_69 |  | 62 | 98 | 0.095045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5242-8_0_6_line_70 |  | 63 | 64 | 0.027323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5242-8_0_6_line_71 |  | 65 | 66 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5242-8_0_6_line_72 |  | 66 | 97 | 0.032918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5242-8_0_6_line_73 |  | 67 | 68 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5242-8_0_6_line_74 |  | 67 | 69 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5242-8_0_6_line_75 |  | 68 | 70 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5242-8_0_6_line_76 |  | 69 | 71 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5242-8_0_6_line_77 |  | 70 | 72 | 0.076043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5242-8_0_6_line_78 |  | 72 | 73 | 0.064361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5242-8_0_6_line_79 |  | 73 | 96 | 0.061703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5242-8_0_6_line_80 |  | 73 | 95 | 0.034837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5242-8_0_6_line_81 |  | 74 | 75 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5242-8_0_6_line_82 |  | 74 | 76 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5242-8_0_6_line_83 |  | 75 | 77 | 0.0089722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5242-8_0_6_line_84 |  | 77 | 78 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5242-8_0_6_line_85 |  | 79 | 84 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5242-8_0_6_line_86 |  | 79 | 83 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5242-8_0_6_line_87 |  | 80 | 81 | 0.01458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5242-8_0_6_line_88 |  | 80 | 82 | 7.1764e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5242-8_0_6_line_89 |  | 81 | 83 | 0.0067507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5242-8_0_6_line_90 |  | 84 | 87 | 0.034692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5242-8_0_6_line_91 |  | 85 | 86 | 0.0059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5242-8_0_6_line_92 |  | 86 | 87 | 0.0033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5242-8_0_6_line_93 |  | 88 | 89 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5242-8_0_6_line_94 |  | 90 | 91 | 0.040332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5242-8_0_6_line_95 |  | 90 | 92 | 0.054276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5242-8_0_6_line_96 |  | 93 | 94 | 0.0046841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5242-8_0_6_line_97 |  | 97 | 98 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5242-8_0_6_trafo_58 | 0.63 MVA 20/0.4 kV | 99 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2722290.2108 | 1077124.6138 | 2722287.4693 | 1077116.9111
1 | 2722282.8606 | 1077103.9625 | 2722287.4693 | 1077116.9111
2 | 2722293.8969 | 1077134.973 | 2722290.2108 | 1077124.6138
3 | 2722282.8606 | 1077103.9625 | 2722281.1686 | 1077099.1917
4 | 2722282.8606 | 1077103.9625 | 2722267.3267 | 1077109.2613
5 | 2722298.5615 | 1077148.0872 | 2722293.8969 | 1077134.973
6 | 2722255.8921 | 1077113.1618 | 2722267.3267 | 1077109.2613
7 | 2722262.7322 | 1077133.6805 | 2722255.8921 | 1077113.1618
8 | 2722262.7322 | 1077133.6805 | 2722243.3989 | 1077140.042 | 2722242.4169 | 1077140.178 | 2722241.6522 | 1077139.9403 | 2722241.07 | 1077139.5172 | 2722240.5874 | 1077138.7736 | 2722237.9281 | 1077130.6745
9 | 2722298.5615 | 1077148.0872 | 2722231.7367 | 1077171.288
10 | 2722298.5615 | 1077148.0872 | 2722302.1166 | 1077157.999
11 | 2722154.5628 | 1077198.082 | 2722231.7367 | 1077171.288
12 | 2722302.1166 | 1077157.999 | 2722329.0006 | 1077148.3362
13 | 2722302.1166 | 1077157.999 | 2722306.6511 | 1077170.6253
14 | 2722399.9599 | 1077126.8171 | 2722385.4223 | 1077084.2288
15 | 2722359.736 | 1077044.828 | 2722379.9568 | 1077068.2175 | 2722385.4223 | 1077084.2288
16 | 2722399.9599 | 1077126.8171 | 2722362.2317 | 1077141.1106
17 | 2722398.6997 | 1077174.8601 | 2722415.445 | 1077169.2588 | 2722399.9599 | 1077126.8171
18 | 2722423.6302 | 1077027.2197 | 2722381.7255 | 1077037.0414 | 2722374.7966 | 1077041.8614 | 2722359.736 | 1077044.828
19 | 2722398.6997 | 1077174.8601 | 2722415.445 | 1077169.2588 | 2722423.3123 | 1077190.8435
20 | 2722398.6997 | 1077174.8601 | 2722397.5136 | 1077171.2225 | 2722397.1857 | 1077169.7482 | 2722397.3534 | 1077168.3617 | 2722398.0342 | 1077166.9743 | 2722399.9156 | 1077163.8543 | 2722400.569 | 1077162.6665 | 2722400.699 | 1077161.2236 | 2722400.4117 | 1077159.6612 | 2722397.2465 | 1077150.4687 | 2722396.512 | 1077149.4977 | 2722395.4167 | 1077148.6974 | 2722393.8906 | 1077148.4443 | 2722392.4104 | 1077148.6148 | 2722381.5776 | 1077152.3025
21 | 2722423.6302 | 1077027.2197 | 2722429.3405 | 1077031.215
22 | 2722423.3123 | 1077190.8435 | 2722427.8698 | 1077203.1788
23 | 2722423.3123 | 1077190.8435 | 2722393.2898 | 1077201.1236
24 | 2722371.437 | 1077155.7546 | 2722381.5776 | 1077152.3025
25 | 2722436.7432 | 1077227.1952 | 2722427.8698 | 1077203.1788
26 | 2722437.5339 | 1077010.0777 | 2722439.6348 | 1077029.8874 | 2722429.3405 | 1077031.215
27 | 2722436.7432 | 1077227.1952 | 2722423.8161 | 1077231.5388
28 | 2722436.7432 | 1077227.1952 | 2722496.4358 | 1077207.0236 | 2722518.0611 | 1077200.709 | 2722548.0118 | 1077193.172
29 | 2722437.5339 | 1077010.0777 | 2722435.5768 | 1076991.6225 | 2722512.7783 | 1076972.5547
30 | 2722176.3146 | 1077259.0954 | 2722170.1763 | 1077261.3296 | 2722168.8566 | 1077262.415 | 2722167.9644 | 1077263.8871 | 2722167.5882 | 1077265.5919 | 2722167.7996 | 1077267.4531 | 2722170.3612 | 1077274.7157
31 | 2722190.8547 | 1077299.883 | 2722178.2426 | 1077297.0616 | 2722170.3612 | 1077274.7157
32 | 2722168.2202 | 1077236.3945 | 2722176.3146 | 1077259.0954
33 | 2722176.3146 | 1077259.0954 | 2722180.2657 | 1077270.1937 | 2722187.7634 | 1077267.6087
34 | 2722190.8547 | 1077299.883 | 2722220.8201 | 1077316.0497
35 | 2722190.8547 | 1077299.883 | 2722154.427 | 1077337.8784
36 | 2722154.5628 | 1077198.082 | 2722166.4024 | 1077231.3099 | 2722168.2202 | 1077236.3945
37 | 2722168.2202 | 1077236.3945 | 2722204.0674 | 1077223.9158
38 | 2722203.5725 | 1077262.166 | 2722187.7634 | 1077267.6087
39 | 2722209.4413 | 1077279.9521 | 2722194.2134 | 1077285.4843 | 2722187.7634 | 1077267.6087
40 | 2722131.1575 | 1077345.9272 | 2722138.0358 | 1077343.2675 | 2722154.427 | 1077337.8784
41 | 2722013.9759 | 1077393.4636 | 2722023.4813 | 1077387.562 | 2722032.009 | 1077384.2646
42 | 2722039.3455 | 1077381.4278 | 2722032.009 | 1077384.2646
43 | 2722100.5529 | 1077357.7609 | 2722039.3455 | 1077381.4278
44 | 2722131.1575 | 1077345.9272 | 2722100.5529 | 1077357.7609
45 | 2722381.8392 | 1077438.5636 | 2722379.328 | 1077439.969
46 | 2722403.813 | 1077477.2586 | 2722381.8392 | 1077438.5636
47 | 2722403.813 | 1077477.2586 | 2722454.395 | 1077448.7775 | 2722456.195 | 1077448.1576 | 2722457.9972 | 1077447.8158 | 2722459.8593 | 1077447.5863 | 2722468.0966 | 1077447.2515 | 2722470.64 | 1077447.1527
48 | 2722403.813 | 1077477.2586 | 2722388.8905 | 1077485.6609
49 | 2722302.2203 | 1077485.2588 | 2722305.8634 | 1077482.7309
50 | 2722323.4803 | 1077522.4913 | 2722302.2203 | 1077485.2588
51 | 2722478.1434 | 1077448.9211 | 2722477.179 | 1077448.179 | 2722476.1944 | 1077447.67 | 2722474.8329 | 1077447.3535 | 2722473.6323 | 1077447.1515 | 2722472.4368 | 1077447.083 | 2722470.64 | 1077447.1527
52 | 2722470.64 | 1077447.1527 | 2722459.9526 | 1077394.8458
53 | 2722388.8905 | 1077485.6609 | 2722380.5145 | 1077490.3772
54 | 2722338.9359 | 1077260.5232 | 2722385.0118 | 1077244.9475
55 | 2722338.9359 | 1077260.5232 | 2722323.8516 | 1077218.5205
56 | 2722375.88 | 1077217.8223 | 2722385.0118 | 1077244.9475
57 | 2722390.693 | 1077243.0268 | 2722385.0118 | 1077244.9475
58 | 2722323.8516 | 1077218.5205 | 2722312.9533 | 1077188.1739
59 | 2722275.2937 | 1077549.6236 | 2722323.4803 | 1077522.4913
60 | 2722323.4803 | 1077522.4913 | 2722327.654 | 1077520.1412
61 | 2722327.654 | 1077520.1412 | 2722328.0537 | 1077519.9162
62 | 2722345.3709 | 1077510.1654 | 2722328.0537 | 1077519.9162
63 | 2722478.1434 | 1077448.9211 | 2722478.9188 | 1077449.7818 | 2722490.712 | 1077465.4856 | 2722493.2859 | 1077468.8954 | 2722530.4023 | 1077444.679 | 2722532.7019 | 1077443.1796
64 | 2722478.1434 | 1077448.9211 | 2722487.0309 | 1077444.109
65 | 2722563.2677 | 1077402.8307 | 2722514.8975 | 1077429.0207
66 | 2722511.3816 | 1077430.9243 | 2722514.8975 | 1077429.0207
67 | 2722511.3816 | 1077430.9243 | 2722511.0582 | 1077431.0995
68 | 2722548.0118 | 1077193.172 | 2722594.034 | 1077323.2695
69 | 2722594.034 | 1077323.2695 | 2722611.7909 | 1077353.5263 | 2722613.4085 | 1077356.9502 | 2722614.5023 | 1077360.9195 | 2722615.1141 | 1077364.8902 | 2722615.3044 | 1077368.9526 | 2722614.8789 | 1077371.9462 | 2722613.7399 | 1077374.8588 | 2722611.6179 | 1077377.9628 | 2722608.5756 | 1077381.6043 | 2722586.083 | 1077400.4097
70 | 2722511.0582 | 1077431.0995 | 2722487.0309 | 1077444.109
71 | 2722532.7019 | 1077443.1796 | 2722541.6816 | 1077436.8444 | 2722547.2272 | 1077432.3306
72 | 2722572.7578 | 1077411.5505 | 2722547.2272 | 1077432.3306
73 | 2722684.3006 | 1076929.8314 | 2722663.9279 | 1076932.3393
74 | 2722644.242 | 1076934.7626 | 2722663.9279 | 1076932.3393
75 | 2722686.9199 | 1076953.3902 | 2722684.3006 | 1076929.8314
76 | 2722644.242 | 1076934.7626 | 2722641.5694 | 1076911.7342
77 | 2722686.9199 | 1076953.3902 | 2722648.0909 | 1076957.0897 | 2722611.267 | 1076961.0684
78 | 2722547.2782 | 1076967.9821 | 2722611.267 | 1076961.0684
79 | 2722547.2782 | 1076967.9821 | 2722541.8647 | 1077006.0455 | 2722539.4816 | 1077029.1795
80 | 2722547.2782 | 1076967.9821 | 2722517.6745 | 1076971.3454 | 2722512.7783 | 1076972.5547
81 | 2722387.0826 | 1077232.391 | 2722395.3143 | 1077229.6431 | 2722401.9869 | 1077227.4634
82 | 2722390.693 | 1077243.0268 | 2722387.0826 | 1077232.391
83 | 2722410.5083 | 1077224.6555 | 2722410.5083 | 1077224.6555 | 2722408.9431 | 1077225.1912 | 2722401.9869 | 1077227.4634
84 | 2722423.8161 | 1077231.5388 | 2722410.5083 | 1077224.6555
85 | 2722375.88 | 1077217.8223 | 2722360.5879 | 1077216.0808 | 2722358.9349 | 1077215.5695 | 2722358.9349 | 1077215.5695
86 | 2722375.88 | 1077217.8223 | 2722373.8264 | 1077208.6188 | 2722372.7051 | 1077205.4638
87 | 2722365.5622 | 1077185.3646 | 2722370.4446 | 1077199.1028
88 | 2722365.5382 | 1077185.2969 | 2722365.5622 | 1077185.3646
89 | 2722370.4446 | 1077199.1028 | 2722372.7051 | 1077205.4638
90 | 2722358.9349 | 1077215.5695 | 2722357.5477 | 1077214.5965 | 2722356.7949 | 1077213.3805 | 2722344.6966 | 1077188.4419 | 2722344.1185 | 1077186.6512 | 2722344.158 | 1077184.6839
91 | 2722351.7237 | 1077179.4722 | 2722346.4147 | 1077182.2274 | 2722346.4147 | 1077182.2274
92 | 2722344.158 | 1077184.6839 | 2722344.158 | 1077184.6839 | 2722344.9855 | 1077183.344 | 2722346.4147 | 1077182.2274
93 | 2722312.9533 | 1077188.1739 | 2722306.6511 | 1077170.6253
94 | 2722345.3709 | 1077510.1654 | 2722380.5145 | 1077490.3772
95 | 2722380.5145 | 1077490.3772 | 2722406.9085 | 1077537.8032
96 | 2722333.4086 | 1077146.7518 | 2722329.0006 | 1077148.3362
97 | 2722572.7578 | 1077411.5505 | 2722586.083 | 1077400.4097

## bus_geodata
| x | y | coords
0 | 2722287.4693 | 1077116.9111
1 | 2722290.2108 | 1077124.6138
2 | 2722282.8606 | 1077103.9625
3 | 2722293.8969 | 1077134.973
4 | 2722281.1686 | 1077099.1917
5 | 2722267.3267 | 1077109.2613
6 | 2722262.7322 | 1077133.6805
7 | 2722255.8921 | 1077113.1618
8 | 2722237.9281 | 1077130.6745
9 | 2722298.5615 | 1077148.0872
10 | 2722231.7367 | 1077171.288
11 | 2722302.1166 | 1077157.999
12 | 2722385.4223 | 1077084.2288
13 | 2722399.9599 | 1077126.8171
14 | 2722359.736 | 1077044.828
15 | 2722362.2317 | 1077141.1106
16 | 2722398.6997 | 1077174.8601
17 | 2722423.6303 | 1077027.2197
18 | 2722423.3123 | 1077190.8435
19 | 2722381.5776 | 1077152.3025
20 | 2722427.8698 | 1077203.1788
21 | 2722393.2898 | 1077201.1236
22 | 2722429.3405 | 1077031.215
23 | 2722371.437 | 1077155.7546
24 | 2722436.7432 | 1077227.1952
25 | 2722437.5339 | 1077010.0777
26 | 2722170.3612 | 1077274.7157
27 | 2722176.3146 | 1077259.0954
28 | 2722190.8547 | 1077299.883
29 | 2722168.2202 | 1077236.3945
30 | 2722187.7634 | 1077267.6087
31 | 2722220.8201 | 1077316.0497
32 | 2722154.427 | 1077337.8784
33 | 2722032.009 | 1077384.2646
34 | 2722013.9759 | 1077393.4636
35 | 2722039.3455 | 1077381.4278
36 | 2722100.553 | 1077357.7609
37 | 2722154.5628 | 1077198.082
38 | 2722204.0674 | 1077223.9158
39 | 2722203.5725 | 1077262.166
40 | 2722209.4413 | 1077279.9521
41 | 2722131.1575 | 1077345.9272
42 | 2722379.328 | 1077439.969
43 | 2722381.8392 | 1077438.5636
44 | 2722403.813 | 1077477.2586
45 | 2722305.8634 | 1077482.7309
46 | 2722302.2203 | 1077485.2588
47 | 2722470.64 | 1077447.1527
48 | 2722388.8905 | 1077485.6609
49 | 2722338.9359 | 1077260.5232
50 | 2722385.0118 | 1077244.9475
51 | 2722323.8516 | 1077218.5205
52 | 2722459.9526 | 1077394.8458
53 | 2722323.4803 | 1077522.4913
54 | 2722327.654 | 1077520.1412
55 | 2722328.0537 | 1077519.9162
56 | 2722478.1434 | 1077448.9211
57 | 2722275.2937 | 1077549.6236
58 | 2722563.2677 | 1077402.8307
59 | 2722514.8975 | 1077429.0207
60 | 2722511.3816 | 1077430.9243
61 | 2722548.0118 | 1077193.172
62 | 2722594.034 | 1077323.2695
63 | 2722511.0582 | 1077431.0995
64 | 2722487.0309 | 1077444.109
65 | 2722532.7019 | 1077443.1796
66 | 2722547.2272 | 1077432.3306
67 | 2722663.9279 | 1076932.3393
68 | 2722684.3006 | 1076929.8314
69 | 2722644.242 | 1076934.7626
70 | 2722686.9199 | 1076953.3902
71 | 2722641.5694 | 1076911.7342
72 | 2722611.267 | 1076961.0684
73 | 2722547.2782 | 1076967.9821
74 | 2722387.0826 | 1077232.391
75 | 2722401.9869 | 1077227.4634
76 | 2722390.693 | 1077243.0268
77 | 2722410.5083 | 1077224.6555
78 | 2722423.8161 | 1077231.5388
79 | 2722375.88 | 1077217.8223
80 | 2722365.5622 | 1077185.3646
81 | 2722370.4446 | 1077199.1029
82 | 2722365.5382 | 1077185.2969
83 | 2722372.7051 | 1077205.4638
84 | 2722358.9349 | 1077215.5695
85 | 2722351.7237 | 1077179.4722
86 | 2722346.4147 | 1077182.2274
87 | 2722344.158 | 1077184.6839
88 | 2722312.9533 | 1077188.1739
89 | 2722306.6511 | 1077170.6253
90 | 2722380.5145 | 1077490.3772
91 | 2722345.3709 | 1077510.1654
92 | 2722406.9085 | 1077537.8032
93 | 2722329.0006 | 1077148.3362
94 | 2722333.4086 | 1077146.7518
95 | 2722512.7783 | 1076972.5547
96 | 2722539.4816 | 1077029.1795
97 | 2722572.7578 | 1077411.5505
98 | 2722586.083 | 1077400.4097
99 | 2722338.9359 | 1077260.5232

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1