## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5249-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5249-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5249-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5249-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5249-10_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_5249-10_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_5249-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5249-10_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5249-10_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_5249-10_0_3_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5249-10_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_5249-10_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5249-10_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5249-10_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5249-10_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5249-10_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5249-10_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5249-10_0_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_5249-10_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5249-10_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5249-10_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5249-10_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5249-10_0_3_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5249-10_0_3_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_5249-10_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5249-10_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5249-10_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5249-10_0_3_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_5249-10_0_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_5249-10_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_5249-10_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_5249-10_0_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_5249-10_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5249-10_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5249-10_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5249-10_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5249-10_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5249-10_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5249-10_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5249-10_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5249-10_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5249-10_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5249-10_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5249-10_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5249-10_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5249-10_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5249-10_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5249-10_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5249-10_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5249-10_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5249-10_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5249-10_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5249-10_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5249-10_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5249-10_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5249-10_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5249-10_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5249-10_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_5249-10_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5249-10_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5249-10_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5249-10_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5249-10_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5249-10_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5249-10_0_3_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_5249-10_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_5249-10_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_5249-10_0_3_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_5249-10_0_3_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_5249-10_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5249-10_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5249-10_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5249-10_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5249-10_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5249-10_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_MV_68_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5249-10_0_3_load_0 | 0 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5249-10_0_3_load_1 | 1 | 0.0070252 | 0.0017607 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5249-10_0_3_load_2 | 2 | 0.0055604 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5249-10_0_3_load_3 | 3 | 0.0038389 | 0.00096212 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5249-10_0_3_load_54 | 4 | 0.0020087 | 0.00050342 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5249-10_0_3_load_55 | 5 | 0.0020734 | 0.00051963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5249-10_0_3_load_5 | 6 | 0.0058935 | 0.0014771 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5249-10_0_3_load_4 | 7 | 0.0082832 | 0.002076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5249-10_0_3_load_56 | 9 | 0.00096328 | 0.00024142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5249-10_0_3_load_52 | 10 | 0.0024024 | 0.0006021 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5249-10_0_3_load_6 | 11 | 0.016736 | 0.0041944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5249-10_0_3_load_7 | 12 | 0.023016 | 0.0057685 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5249-10_0_3_load_8 | 13 | 0.008948 | 0.0022426 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5249-10_0_3_load_9 | 14 | 0.0095544 | 0.0023946 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5249-10_0_3_load_10 | 15 | 0.026723 | 0.0066974 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5249-10_0_3_load_77 | 17 | 0.0083546 | 0.0020939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5249-10_0_3_load_11 | 19 | 0.084429 | 0.02116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5249-10_0_3_load_12 | 20 | 0.0046519 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5249-10_0_3_load_13 | 21 | 0.0034292 | 0.00085943 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5249-10_0_3_load_49 | 22 | 0.0018627 | 0.00046685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5249-10_0_3_load_50 | 23 | 0.00082232 | 0.00020609 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5249-10_0_3_load_14 | 24 | 0.0091867 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5249-10_0_3_load_17 | 26 | 0.0065793 | 0.0016489 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5249-10_0_3_load_68 | 27 | 0.0069086 | 0.0017315 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5249-10_0_3_load_61 | 30 | 0.001991 | 0.00049899 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5249-10_0_3_load_69 | 31 | 0.00041804 | 0.00010477 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5249-10_0_3_load_18 | 32 | 0.0027093 | 0.00067901 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5249-10_0_3_load_21 | 34 | 0.0067732 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5249-10_0_3_load_23 | 35 | 0.0026334 | 0.00066 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5249-10_0_3_load_24 | 36 | 0.0018414 | 0.00046149 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5249-10_0_3_load_25 | 37 | 0.0015284 | 0.00038305 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5249-10_0_3_load_26 | 38 | 0.0079046 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5249-10_0_3_load_33 | 40 | 0.00064054 | 0.00016053 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5249-10_0_3_load_27 | 42 | 0.003289 | 0.00082431 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5249-10_0_3_load_28 | 43 | 0.0020458 | 0.00051274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5249-10_0_3_load_30 | 44 | 0.0053157 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5249-10_0_3_load_32 | 45 | 0.0053382 | 0.0013379 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5249-10_0_3_load_34 | 46 | 0.0035591 | 0.00089198 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5249-10_0_3_load_35 | 47 | 0.0026365 | 0.00066076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5249-10_0_3_load_37 | 48 | 0.0043241 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5249-10_0_3_load_36 | 50 | 0.0018879 | 0.00047315 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5249-10_0_3_load_45 | 51 | 0.00096328 | 0.00024142 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5249-10_0_3_load_38 | 53 | 0.0015716 | 0.00039389 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5249-10_0_3_load_39 | 54 | 0.0021257 | 0.00053274 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5249-10_0_3_load_40 | 55 | 0.0022199 | 0.00055637 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5249-10_0_3_load_41 | 56 | 0.0018869 | 0.0004729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5249-10_0_3_load_42 | 57 | 0.001904 | 0.0004772 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5249-10_0_3_load_43 | 58 | 0.00051638 | 0.00012942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5249-10_0_3_load_47 | 59 | 0.00097993 | 0.00024559 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5249-10_0_3_load_48 | 60 | 0.0029405 | 0.00073696 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5249-10_0_3_load_59 | 61 | 0.0042728 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5249-10_0_3_load_57 | 62 | 0.0014531 | 0.00036418 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5249-10_0_3_load_51 | 63 | 0.00082551 | 0.00020689 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5249-10_0_3_load_70 | 64 | 0.0010046 | 0.00025179 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5249-10_0_3_load_71 | 65 | 0.00083247 | 0.00020864 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5249-10_0_3_load_73 | 67 | 0.0033051 | 0.00082835 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5249-10_0_3_load_74 | 68 | 0.00079676 | 0.00019969 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5249-10_0_3_load_60 | 69 | 0.0012423 | 0.00031136 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5249-10_0_3_load_62 | 70 | 0.0020161 | 0.00050527 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5249-10_0_3_load_67 | 71 | 0.0007461 | 0.00018699 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5249-10_0_3_load_64 | 72 | 0.0030656 | 0.0007683 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5249-10_0_3_load_66 | 73 | 0.0017392 | 0.00043588 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5249-10_0_3_load_76 | 74 | 0.0017497 | 0.00043851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5249-10_0_3_line_0 |  | 0 | 1 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5249-10_0_3_line_1 |  | 1 | 2 | 0.056724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5249-10_0_3_line_2 |  | 1 | 3 | 0.099955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5249-10_0_3_line_3 |  | 2 | 6 | 0.016713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5249-10_0_3_line_4 |  | 3 | 7 | 0.0087377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5249-10_0_3_line_5 |  | 4 | 5 | 0.0027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5249-10_0_3_line_6 |  | 4 | 6 | 0.50877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5249-10_0_3_line_7 |  | 5 | 8 | 0.034046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5249-10_0_3_line_8 |  | 8 | 9 | 0.056914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5249-10_0_3_line_9 |  | 8 | 10 | 0.033748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5249-10_0_3_line_10 |  | 10 | 63 | 0.00031481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5249-10_0_3_line_11 |  | 11 | 12 | 0.0083439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5249-10_0_3_line_12 |  | 11 | 13 | 0.016391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5249-10_0_3_line_13 |  | 12 | 14 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5249-10_0_3_line_14 |  | 13 | 15 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5249-10_0_3_line_15 |  | 14 | 19 | 0.052723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5249-10_0_3_line_16 |  | 14 | 16 | 0.11676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5249-10_0_3_line_17 |  | 16 | 17 | 0.052498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5249-10_0_3_line_18 |  | 16 | 18 | 0.088384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5249-10_0_3_line_19 |  | 17 | 24 | 0.098179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5249-10_0_3_line_20 |  | 18 | 35 | 0.01211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5249-10_0_3_line_21 |  | 18 | 32 | 0.088485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5249-10_0_3_line_22 |  | 19 | 20 | 0.11324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5249-10_0_3_line_23 |  | 20 | 21 | 0.045823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5249-10_0_3_line_24 |  | 21 | 22 | 0.040694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5249-10_0_3_line_25 |  | 22 | 23 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5249-10_0_3_line_26 |  | 23 | 63 | 0.0044236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5249-10_0_3_line_27 |  | 24 | 25 | 0.0061631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5249-10_0_3_line_28 |  | 25 | 26 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5249-10_0_3_line_29 |  | 26 | 27 | 0.032886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5249-10_0_3_line_30 |  | 27 | 31 | 0.0016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5249-10_0_3_line_31 |  | 28 | 29 | 0.043209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5249-10_0_3_line_32 |  | 28 | 30 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5249-10_0_3_line_33 |  | 29 | 74 | 0.036314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5249-10_0_3_line_34 |  | 29 | 66 | 0.23208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5249-10_0_3_line_35 |  | 30 | 69 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5249-10_0_3_line_36 |  | 31 | 73 | 0.033203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5249-10_0_3_line_37 |  | 32 | 33 | 0.0087213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5249-10_0_3_line_38 |  | 33 | 34 | 0.039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5249-10_0_3_line_39 |  | 35 | 36 | 0.0016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5249-10_0_3_line_40 |  | 36 | 37 | 0.042594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5249-10_0_3_line_41 |  | 37 | 38 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5249-10_0_3_line_42 |  | 38 | 39 | 0.043606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5249-10_0_3_line_43 |  | 39 | 40 | 0.06904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5249-10_0_3_line_44 |  | 39 | 41 | 0.088957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5249-10_0_3_line_45 |  | 40 | 49 | 0.03629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5249-10_0_3_line_46 |  | 41 | 45 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5249-10_0_3_line_47 |  | 41 | 42 | 0.0057466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5249-10_0_3_line_48 |  | 42 | 43 | 0.034936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5249-10_0_3_line_49 |  | 43 | 44 | 0.044664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5249-10_0_3_line_50 |  | 44 | 46 | 0.035274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5249-10_0_3_line_51 |  | 45 | 47 | 0.012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5249-10_0_3_line_52 |  | 46 | 48 | 0.013815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5249-10_0_3_line_53 |  | 47 | 50 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5249-10_0_3_line_54 |  | 49 | 51 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5249-10_0_3_line_55 |  | 49 | 52 | 0.045869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5249-10_0_3_line_56 |  | 50 | 53 | 0.020757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5249-10_0_3_line_57 |  | 51 | 59 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5249-10_0_3_line_58 |  | 52 | 60 | 0.060839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5249-10_0_3_line_59 |  | 53 | 54 | 0.0086238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5249-10_0_3_line_60 |  | 54 | 55 | 0.0085919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5249-10_0_3_line_61 |  | 55 | 56 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5249-10_0_3_line_62 |  | 56 | 57 | 0.0019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5249-10_0_3_line_63 |  | 57 | 58 | 0.0029809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5249-10_0_3_line_64 |  | 59 | 61 | 0.22781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5249-10_0_3_line_65 |  | 61 | 62 | 0.0052815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5249-10_0_3_line_66 |  | 64 | 65 | 0.084324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5249-10_0_3_line_67 |  | 64 | 66 | 0.030685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5249-10_0_3_line_68 |  | 65 | 67 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5249-10_0_3_line_69 |  | 67 | 68 | 0.00042646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5249-10_0_3_line_70 |  | 69 | 70 | 0.027516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5249-10_0_3_line_71 |  | 69 | 71 | 0.050179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5249-10_0_3_line_72 |  | 70 | 72 | 0.00099634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5249-10_0_3_line_73 |  | 71 | 73 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5249-10_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 75 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2720145.0175 | 1080100.9973 | 2720152.5216 | 1080108.0883 | 2720152.5216 | 1080108.0883
1 | 2720152.5216 | 1080108.0883 | 2720163.2832 | 1080113.0929 | 2720173.7734 | 1080115.7127 | 2720207.7787 | 1080117.3157
2 | 2720152.5216 | 1080108.0883 | 2720096.1417 | 1080190.6252
3 | 2720224.4845 | 1080117.6066 | 2720214.3417 | 1080117.6251 | 2720207.7787 | 1080117.3157
4 | 2720096.1417 | 1080190.6252 | 2720096.1417 | 1080190.6252 | 2720096.3253 | 1080199.3611
5 | 2720648.871 | 1080398.2119 | 2720647.6248 | 1080400.719
6 | 2720648.871 | 1080398.2119 | 2720224.4845 | 1080117.6066
7 | 2720634.5118 | 1080432.0961 | 2720642.309 | 1080411.4134 | 2720647.6248 | 1080400.719
8 | 2720634.5118 | 1080432.0961 | 2720669.0355 | 1080461.7897 | 2720672.8453 | 1080472.5951
9 | 2720634.5118 | 1080432.0961 | 2720632.6081 | 1080438.0071 | 2720627.0961 | 1080464.9877
10 | 2720627.0331 | 1080465.2962 | 2720627.0961 | 1080464.9877
11 | 2720503.3892 | 1080729.2511 | 2720507.9376 | 1080722.2559
12 | 2720503.3892 | 1080729.2511 | 2720494.4544 | 1080742.9924
13 | 2720507.9376 | 1080722.2559 | 2720507.9376 | 1080722.2559 | 2720519.1487 | 1080708.2127
14 | 2720485.5021 | 1080758.6907 | 2720492.2911 | 1080746.3194 | 2720494.4544 | 1080742.9924
15 | 2720552.0424 | 1080667.0091 | 2720519.1487 | 1080708.2127
16 | 2720619.4711 | 1080767.9394 | 2720519.1487 | 1080708.2127
17 | 2720630.1694 | 1080810.9708 | 2720638.392 | 1080785.6488 | 2720619.4711 | 1080767.9394
18 | 2720683.9751 | 1080707.5173 | 2720677.1093 | 1080716.0987 | 2720619.4711 | 1080767.9394
19 | 2720630.1694 | 1080810.9708 | 2720696.8923 | 1080882.9927
20 | 2720683.9751 | 1080707.5173 | 2720689.0424 | 1080696.5188
21 | 2720683.9751 | 1080707.5173 | 2720692.5444 | 1080725.4777 | 2720692.891 | 1080733.8572 | 2720684.3269 | 1080741.9045 | 2720675.9192 | 1080750.2885 | 2720674.1912 | 1080759.4831 | 2720675.7954 | 1080765.1634 | 2720682.2567 | 1080768.3714 | 2720696.3581 | 1080768.3348
22 | 2720604.3805 | 1080566.5948 | 2720552.0424 | 1080667.0091
23 | 2720604.3805 | 1080566.5948 | 2720605.3766 | 1080559.8334 | 2720614.8739 | 1080522.0188
24 | 2720614.8739 | 1080522.0188 | 2720615.3274 | 1080520.213 | 2720619.7334 | 1080505.6231 | 2720622.0449 | 1080489.713 | 2720623.549 | 1080482.3503
25 | 2720623.549 | 1080482.3503 | 2720626.1477 | 1080469.6302
26 | 2720627.0331 | 1080465.2962 | 2720626.1477 | 1080469.6302
27 | 2720694.8576 | 1080888.6183 | 2720696.0424 | 1080883.7049 | 2720696.8923 | 1080882.9927
28 | 2720694.8576 | 1080888.6183 | 2720698.2418 | 1080885.6054 | 2720708.8269 | 1080887.672 | 2720719.6209 | 1080892.9118 | 2720721.5333 | 1080894.9584
29 | 2720743.9863 | 1080918.987 | 2720721.5333 | 1080894.9584
30 | 2720745.1016 | 1080920.1805 | 2720743.9863 | 1080918.987
31 | 2720834.6253 | 1080916.1074 | 2720837.0059 | 1080912.3964 | 2720864.3889 | 1080900.5308 | 2720873.4331 | 1080899.9987
32 | 2720834.6253 | 1080916.1074 | 2720835.0567 | 1080919.0292 | 2720843.3058 | 1080931.5573
33 | 2720873.4331 | 1080899.9987 | 2720852.0502 | 1080888.9779 | 2720842.4417 | 1080888.5871 | 2720839.8294 | 1080888.9828
34 | 2720873.4331 | 1080899.9987 | 2721096.392 | 1080835.5782
35 | 2720829.2383 | 1080951.2552 | 2720840.6065 | 1080939.9764 | 2720843.3058 | 1080931.5573 | 2720843.3058 | 1080931.5573
36 | 2720745.1016 | 1080920.1805 | 2720761.7359 | 1080948.9161
37 | 2720705.0793 | 1080768.3122 | 2720696.3581 | 1080768.3348
38 | 2720705.0793 | 1080768.3122 | 2720725.2451 | 1080749.8539 | 2720733.3527 | 1080740.152
39 | 2720689.0424 | 1080696.5188 | 2720689.7398 | 1080695.0051
40 | 2720689.7398 | 1080695.0051 | 2720707.5628 | 1080656.3197
41 | 2720707.5628 | 1080656.3197 | 2720714.9315 | 1080640.326
42 | 2720742.0909 | 1080606.5626 | 2720718.0989 | 1080633.4511 | 2720714.9315 | 1080640.326
43 | 2720742.0909 | 1080606.5626 | 2720768.4485 | 1080582.612 | 2720792.5197 | 1080564.287 | 2720795.2345 | 1080562.6437
44 | 2720742.0909 | 1080606.5626 | 2720746.2869 | 1080662.9195 | 2720750.3642 | 1080695.09
45 | 2720826.2807 | 1080543.8526 | 2720795.2345 | 1080562.6437
46 | 2720750.3642 | 1080695.09 | 2720756.3641 | 1080681.3681
47 | 2720750.3642 | 1080695.09 | 2720751.0867 | 1080700.791
48 | 2720751.0867 | 1080700.791 | 2720753.3734 | 1080718.8333 | 2720768.7166 | 1080725.5521
49 | 2720768.7166 | 1080725.5521 | 2720776.8842 | 1080729.1288 | 2720797.2509 | 1080699.7498
50 | 2720797.2509 | 1080699.7498 | 2720811.2375 | 1080679.574 | 2720813.8743 | 1080669.1786
51 | 2720756.3641 | 1080681.3681 | 2720761.2491 | 1080670.1961
52 | 2720817.2711 | 1080655.7877 | 2720813.8743 | 1080669.1786
53 | 2720761.2491 | 1080670.1961 | 2720768.7851 | 1080652.9611
54 | 2720826.2807 | 1080543.8526 | 2720835.0899 | 1080556.9918
55 | 2720826.2807 | 1080543.8526 | 2720830.4792 | 1080541.3117 | 2720848.8936 | 1080530.1355 | 2720855.0173 | 1080526.4876 | 2720844.5496 | 1080520.0421
56 | 2720768.7851 | 1080652.9611 | 2720775.2791 | 1080638.1094 | 2720773.0977 | 1080634.1189 | 2720773.0977 | 1080634.1189
57 | 2720842.5094 | 1080568.0583 | 2720835.0899 | 1080556.9918
58 | 2720844.5496 | 1080520.0421 | 2720835.4763 | 1080523.5758 | 2720809.3038 | 1080546.7848 | 2720795.5874 | 1080555.2556
59 | 2720774.8519 | 1080625.6754 | 2720773.0977 | 1080634.1189
60 | 2720774.8519 | 1080625.6754 | 2720776.5996 | 1080617.2631
61 | 2720776.5996 | 1080617.2631 | 2720777.4688 | 1080613.0793 | 2720782.0312 | 1080606.1131
62 | 2720782.0312 | 1080606.1131 | 2720783.1251 | 1080604.4428
63 | 2720784.7583 | 1080601.9491 | 2720783.1251 | 1080604.4428
64 | 2720842.5094 | 1080568.0583 | 2721070.2446 | 1080562.1178
65 | 2721070.2446 | 1080562.1178 | 2721074.4355 | 1080558.9037
66 | 2721115.3926 | 1080812.5924 | 2721121.3109 | 1080808.2204 | 2721189.1378 | 1080771.8433
67 | 2721096.392 | 1080835.5782 | 2721099.6507 | 1080826.7811 | 2721106.4191 | 1080819.2213 | 2721115.3926 | 1080812.5924
68 | 2721189.1378 | 1080771.8433 | 2721207.8285 | 1080761.819
69 | 2721207.8285 | 1080761.819 | 2721208.2043 | 1080761.6175
70 | 2720829.2383 | 1080951.2552 | 2720822.0815 | 1080958.3557 | 2720819.0444 | 1080975.524
71 | 2720829.2383 | 1080951.2552 | 2720780.528 | 1080939.2023
72 | 2720818.8708 | 1080976.5051 | 2720819.0444 | 1080975.524
73 | 2720761.7359 | 1080948.9161 | 2720780.528 | 1080939.2023

## bus_geodata
| x | y | coords
0 | 2720145.0175 | 1080100.9973
1 | 2720152.5216 | 1080108.0883
2 | 2720207.7787 | 1080117.3157
3 | 2720096.1417 | 1080190.6252
4 | 2720648.871 | 1080398.2119
5 | 2720647.6248 | 1080400.719
6 | 2720224.4845 | 1080117.6066
7 | 2720096.3253 | 1080199.3611
8 | 2720634.5118 | 1080432.0961
9 | 2720672.8453 | 1080472.5951
10 | 2720627.0961 | 1080464.9877
11 | 2720503.3892 | 1080729.2511
12 | 2720507.9376 | 1080722.2559
13 | 2720494.4544 | 1080742.9924
14 | 2720519.1487 | 1080708.2127
15 | 2720485.5021 | 1080758.6907
16 | 2720619.4711 | 1080767.9394
17 | 2720630.1694 | 1080810.9708
18 | 2720683.9751 | 1080707.5173
19 | 2720552.0424 | 1080667.0091
20 | 2720604.3805 | 1080566.5948
21 | 2720614.8739 | 1080522.0188
22 | 2720623.549 | 1080482.3503
23 | 2720626.1477 | 1080469.6302
24 | 2720696.8923 | 1080882.9927
25 | 2720694.8576 | 1080888.6183
26 | 2720721.5333 | 1080894.9584
27 | 2720743.9863 | 1080918.987
28 | 2720834.6253 | 1080916.1074
29 | 2720873.4331 | 1080899.9987
30 | 2720843.3058 | 1080931.5573
31 | 2720745.1016 | 1080920.1805
32 | 2720696.3581 | 1080768.3348
33 | 2720705.0793 | 1080768.3122
34 | 2720733.3527 | 1080740.152
35 | 2720689.0424 | 1080696.5188
36 | 2720689.7398 | 1080695.0051
37 | 2720707.5628 | 1080656.3197
38 | 2720714.9315 | 1080640.326
39 | 2720742.0909 | 1080606.5626
40 | 2720795.2345 | 1080562.6437
41 | 2720750.3642 | 1080695.09
42 | 2720751.0867 | 1080700.791
43 | 2720768.7166 | 1080725.5521
44 | 2720797.2509 | 1080699.7498
45 | 2720756.3641 | 1080681.3681
46 | 2720813.8743 | 1080669.1786
47 | 2720761.2491 | 1080670.1961
48 | 2720817.2711 | 1080655.7877
49 | 2720826.2807 | 1080543.8526
50 | 2720768.7851 | 1080652.9611
51 | 2720835.0899 | 1080556.9918
52 | 2720844.5496 | 1080520.0421
53 | 2720773.0977 | 1080634.1189
54 | 2720774.8519 | 1080625.6754
55 | 2720776.5996 | 1080617.2631
56 | 2720782.0312 | 1080606.1131
57 | 2720783.1251 | 1080604.4428
58 | 2720784.7583 | 1080601.9491
59 | 2720842.5094 | 1080568.0583
60 | 2720795.5874 | 1080555.2556
61 | 2721070.2446 | 1080562.1178
62 | 2721074.4355 | 1080558.9037
63 | 2720627.0331 | 1080465.2962
64 | 2721115.3926 | 1080812.5924
65 | 2721189.1378 | 1080771.8433
66 | 2721096.392 | 1080835.5782
67 | 2721207.8285 | 1080761.819
68 | 2721208.2043 | 1080761.6175
69 | 2720829.2383 | 1080951.2552
70 | 2720819.0444 | 1080975.524
71 | 2720780.528 | 1080939.2023
72 | 2720818.8708 | 1080976.5051
73 | 2720761.7359 | 1080948.9161
74 | 2720839.8294 | 1080888.9828
75 | 2720472.0989 | 1080785.0035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1