## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5249-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5249-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5249-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5249-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5249-1_0_4_node_84 | 0.4 | n |  | TRUE
5 | bus_LV_5249-1_0_4_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_5249-1_0_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_5249-1_0_4_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_5249-1_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5249-1_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5249-1_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5249-1_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5249-1_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5249-1_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5249-1_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5249-1_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_5249-1_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5249-1_0_4_node_85 | 0.4 | n |  | TRUE
18 | bus_LV_5249-1_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5249-1_0_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_5249-1_0_4_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_5249-1_0_4_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_5249-1_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_5249-1_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5249-1_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5249-1_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5249-1_0_4_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5249-1_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5249-1_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5249-1_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5249-1_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5249-1_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5249-1_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5249-1_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_5249-1_0_4_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_5249-1_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_5249-1_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5249-1_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5249-1_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5249-1_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_5249-1_0_4_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_5249-1_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5249-1_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5249-1_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5249-1_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5249-1_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5249-1_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5249-1_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5249-1_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5249-1_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5249-1_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5249-1_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5249-1_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5249-1_0_4_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_5249-1_0_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5249-1_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_5249-1_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_5249-1_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5249-1_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5249-1_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_5249-1_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5249-1_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_5249-1_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5249-1_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5249-1_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_5249-1_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5249-1_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5249-1_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5249-1_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5249-1_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_5249-1_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5249-1_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_5249-1_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5249-1_0_4_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5249-1_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_5249-1_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5249-1_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5249-1_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5249-1_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5249-1_0_4_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_5249-1_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_5249-1_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5249-1_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_5249-1_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5249-1_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5249-1_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5249-1_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5249-1_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5249-1_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5249-1_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_5249-1_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_MV_76_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5249-1_0_4_load_0 | 0 | 0.0037115 | 0.00093019 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5249-1_0_4_load_1 | 1 | 0.001447 | 0.00036265 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5249-1_0_4_load_84 | 4 | 0.0012824 | 0.00032139 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5249-1_0_4_load_89 | 5 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5249-1_0_4_load_91 | 7 | 0.002368 | 0.00059347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5249-1_0_4_load_4 | 8 | 0.0062936 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5249-1_0_4_load_7 | 11 | 0.0030824 | 0.00077253 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5249-1_0_4_load_8 | 12 | 0.0033136 | 0.00083047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5249-1_0_4_load_9 | 13 | 0.0052367 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5249-1_0_4_load_20 | 18 | 0.0030692 | 0.00076921 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5249-1_0_4_load_61 | 19 | 0.004401 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5249-1_0_4_load_62 | 20 | 0.0030555 | 0.00076578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5249-1_0_4_load_71 | 21 | 0.0043108 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5249-1_0_4_load_67 | 22 | 0.0035584 | 0.00089183 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5249-1_0_4_load_18 | 25 | 0.010446 | 0.0026179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5249-1_0_4_load_86 | 26 | 0.0044855 | 0.0011242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5249-1_0_4_load_11 | 27 | 0.0038298 | 0.00095983 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5249-1_0_4_load_12 | 28 | 0.0022046 | 0.00055252 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5249-1_0_4_load_13 | 29 | 0.0027614 | 0.00069206 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5249-1_0_4_load_14 | 30 | 0.0015819 | 0.00039646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5249-1_0_4_load_70 | 34 | 0.0026174 | 0.00065597 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5249-1_0_4_load_44 | 36 | 0.0059161 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5249-1_0_4_load_19 | 38 | 0.0092868 | 0.0023275 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5249-1_0_4_load_72 | 39 | 0.010473 | 0.0026247 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5249-1_0_4_load_73 | 40 | 0.003951 | 0.00099022 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5249-1_0_4_load_21 | 41 | 0.0053514 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5249-1_0_4_load_22 | 42 | 0.0020991 | 0.00052609 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5249-1_0_4_load_23 | 43 | 0.0025316 | 0.00063449 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5249-1_0_4_load_24 | 44 | 0.004462 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5249-1_0_4_load_26 | 46 | 0.003628 | 0.00090925 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5249-1_0_4_load_35 | 50 | 0.0023219 | 0.00058192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5249-1_0_4_load_29 | 51 | 0.0018106 | 0.00045378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5249-1_0_4_load_30 | 52 | 0.0091852 | 0.002302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5249-1_0_4_load_83 | 54 | 0.021661 | 0.0054288 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5249-1_0_4_load_31 | 56 | 0.0050313 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5249-1_0_4_load_33 | 57 | 0.0014077 | 0.0003528 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5249-1_0_4_load_34 | 58 | 0.0015823 | 0.00039657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5249-1_0_4_load_39 | 59 | 0.00091388 | 0.00022904 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5249-1_0_4_load_38 | 60 | 0.0021669 | 0.00054308 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5249-1_0_4_load_42 | 61 | 0.004952 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5249-1_0_4_load_40 | 62 | 0.0017223 | 0.00043164 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5249-1_0_4_load_41 | 63 | 0.0023414 | 0.00058681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5249-1_0_4_load_43 | 64 | 0.0023247 | 0.00058263 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5249-1_0_4_load_45 | 65 | 0.00269 | 0.00067417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5249-1_0_4_load_46 | 66 | 0.0018638 | 0.00046712 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5249-1_0_4_load_47 | 67 | 0.0074246 | 0.0018608 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5249-1_0_4_load_52 | 68 | 0.0033168 | 0.00083128 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5249-1_0_4_load_49 | 69 | 0.0052734 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5249-1_0_4_load_68 | 70 | 0.015637 | 0.003919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5249-1_0_4_load_51 | 71 | 0.0045004 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5249-1_0_4_load_54 | 72 | 0.0033197 | 0.00083201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5249-1_0_4_load_53 | 73 | 0.0066759 | 0.0016731 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5249-1_0_4_load_57 | 75 | 0.0049248 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5249-1_0_4_load_58 | 76 | 0.008299 | 0.0020799 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5249-1_0_4_load_59 | 77 | 0.0032584 | 0.00081662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5249-1_0_4_load_88 | 79 | 0.0033876 | 0.00084902 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5249-1_0_4_load_64 | 80 | 0.0021138 | 0.00052977 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5249-1_0_4_load_65 | 81 | 0.0060756 | 0.0015227 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5249-1_0_4_load_87 | 82 | 0.0021777 | 0.00054579 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5249-1_0_4_load_66 | 83 | 0.0052689 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5249-1_0_4_load_75 | 85 | 0.0017481 | 0.00043812 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5249-1_0_4_load_74 | 87 | 0.001623 | 0.00040676 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5249-1_0_4_load_76 | 88 | 0.0086085 | 0.0021575 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5249-1_0_4_load_81 | 90 | 0.0045493 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5249-1_0_4_line_0 |  | 0 | 1 | 0.038468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5249-1_0_4_line_1 |  | 0 | 2 | 0.055849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5249-1_0_4_line_2 |  | 2 | 3 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5249-1_0_4_line_3 |  | 2 | 4 | 0.071962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5249-1_0_4_line_4 |  | 3 | 7 | 0.035438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5249-1_0_4_line_5 |  | 4 | 5 | 0.10889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5249-1_0_4_line_6 |  | 4 | 6 | 0.064499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5249-1_0_4_line_7 |  | 6 | 74 | 0.029369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5249-1_0_4_line_8 |  | 8 | 9 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5249-1_0_4_line_9 |  | 8 | 10 | 0.050104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5249-1_0_4_line_10 |  | 9 | 11 | 0.031171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5249-1_0_4_line_11 |  | 9 | 12 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5249-1_0_4_line_12 |  | 10 | 13 | 0.03735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5249-1_0_4_line_13 |  | 10 | 14 | 0.034765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5249-1_0_4_line_14 |  | 11 | 15 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5249-1_0_4_line_15 |  | 12 | 16 | 0.02615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5249-1_0_4_line_16 |  | 14 | 17 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5249-1_0_4_line_17 |  | 14 | 18 | 0.027986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5249-1_0_4_line_18 |  | 15 | 19 | 0.0034135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5249-1_0_4_line_19 |  | 15 | 20 | 0.060503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5249-1_0_4_line_20 |  | 16 | 21 | 0.0097613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5249-1_0_4_line_21 |  | 16 | 22 | 0.0054256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5249-1_0_4_line_22 |  | 17 | 26 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5249-1_0_4_line_23 |  | 19 | 78 | 0.058764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5249-1_0_4_line_24 |  | 20 | 79 | 0.020622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5249-1_0_4_line_25 |  | 21 | 84 | 0.014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5249-1_0_4_line_26 |  | 22 | 83 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5249-1_0_4_line_27 |  | 23 | 24 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5249-1_0_4_line_28 |  | 23 | 25 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5249-1_0_4_line_29 |  | 24 | 38 | 0.055818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5249-1_0_4_line_30 |  | 25 | 39 | 0.0098997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5249-1_0_4_line_31 |  | 27 | 28 | 0.059688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5249-1_0_4_line_32 |  | 27 | 29 | 0.004445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5249-1_0_4_line_33 |  | 28 | 30 | 0.0017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5249-1_0_4_line_34 |  | 29 | 31 | 0.026245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5249-1_0_4_line_35 |  | 31 | 32 | 0.02794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5249-1_0_4_line_36 |  | 32 | 33 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5249-1_0_4_line_37 |  | 32 | 34 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5249-1_0_4_line_38 |  | 33 | 68 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5249-1_0_4_line_39 |  | 33 | 69 | 0.030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5249-1_0_4_line_40 |  | 34 | 70 | 0.00035576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5249-1_0_4_line_41 |  | 35 | 36 | 0.036948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5249-1_0_4_line_42 |  | 35 | 37 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5249-1_0_4_line_43 |  | 36 | 61 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5249-1_0_4_line_44 |  | 37 | 60 | 0.033469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5249-1_0_4_line_45 |  | 37 | 50 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5249-1_0_4_line_46 |  | 39 | 40 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5249-1_0_4_line_47 |  | 40 | 87 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5249-1_0_4_line_48 |  | 41 | 42 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5249-1_0_4_line_49 |  | 41 | 43 | 9.0122e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5249-1_0_4_line_50 |  | 42 | 44 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5249-1_0_4_line_51 |  | 44 | 45 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5249-1_0_4_line_52 |  | 45 | 46 | 0.036061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5249-1_0_4_line_53 |  | 45 | 47 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5249-1_0_4_line_54 |  | 46 | 48 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5249-1_0_4_line_55 |  | 47 | 49 | 0.039753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5249-1_0_4_line_56 |  | 47 | 50 | 0.022222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5249-1_0_4_line_57 |  | 48 | 51 | 0.003822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5249-1_0_4_line_58 |  | 49 | 52 | 0.034102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5249-1_0_4_line_59 |  | 51 | 53 | 0.017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5249-1_0_4_line_60 |  | 52 | 56 | 0.03842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5249-1_0_4_line_61 |  | 53 | 54 | 0.035074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5249-1_0_4_line_62 |  | 53 | 55 | 0.001578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5249-1_0_4_line_63 |  | 55 | 90 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5249-1_0_4_line_64 |  | 56 | 57 | 0.00095716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5249-1_0_4_line_65 |  | 57 | 58 | 0.023861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5249-1_0_4_line_66 |  | 58 | 59 | 0.0045121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5249-1_0_4_line_67 |  | 61 | 62 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5249-1_0_4_line_68 |  | 62 | 63 | 0.035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5249-1_0_4_line_69 |  | 63 | 64 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5249-1_0_4_line_70 |  | 64 | 65 | 0.017907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5249-1_0_4_line_71 |  | 65 | 66 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5249-1_0_4_line_72 |  | 66 | 67 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5249-1_0_4_line_73 |  | 68 | 72 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5249-1_0_4_line_74 |  | 69 | 71 | 0.0090158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5249-1_0_4_line_75 |  | 70 | 83 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_5249-1_0_4_line_76 |  | 72 | 73 | 0.022014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5249-1_0_4_line_77 |  | 73 | 74 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5249-1_0_4_line_78 |  | 74 | 75 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5249-1_0_4_line_79 |  | 75 | 76 | 0.002965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5249-1_0_4_line_80 |  | 76 | 77 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5249-1_0_4_line_81 |  | 78 | 80 | 0.048429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5249-1_0_4_line_82 |  | 78 | 81 | 0.029731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5249-1_0_4_line_83 |  | 80 | 82 | 2.6911e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5249-1_0_4_line_84 |  | 84 | 85 | 0.0041723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5249-1_0_4_line_85 |  | 84 | 86 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5249-1_0_4_line_86 |  | 85 | 87 | 0.00074998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5249-1_0_4_line_87 |  | 86 | 88 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5249-1_0_4_line_88 |  | 88 | 89 | 0.0047871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5249-1_0_4_line_89 |  | 89 | 90 | 0.0093798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5249-1_0_4_trafo_48 | 0.63 MVA 20/0.4 kV | 91 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2722521.1108 | 1080393.6391 | 2722532.7686 | 1080395.7013 | 2722544.2148 | 1080398.6113 | 2722552.4983 | 1080402.3472 | 2722557.0166 | 1080405.8743
1 | 2722466.0122 | 1080385.0631 | 2722472.7701 | 1080385.0878 | 2722521.1108 | 1080393.6391
2 | 2722466.0122 | 1080385.0631 | 2722465.3829 | 1080367.6823
3 | 2722400.9202 | 1080415.7475 | 2722466.0122 | 1080385.0631
4 | 2722500.7397 | 1080364.0457 | 2722465.3829 | 1080367.6823
5 | 2722400.9202 | 1080415.7475 | 2722443.4993 | 1080515.9718
6 | 2722346.5682 | 1080449.6 | 2722355.9348 | 1080446.2078 | 2722365.7084 | 1080440.7333 | 2722389.2902 | 1080421.9154 | 2722400.9202 | 1080415.7475
7 | 2722317.2874 | 1080452.8146 | 2722346.5682 | 1080449.6
8 | 2722209.4302 | 1080465.0044 | 2722200.7981 | 1080472.1833
9 | 2722162.2755 | 1080504.2208 | 2722200.7981 | 1080472.1833
10 | 2722209.4302 | 1080465.0044 | 2722234.3842 | 1080469.13 | 2722239.8674 | 1080471.2471
11 | 2722209.4302 | 1080465.0044 | 2722209.474 | 1080455.0759 | 2722208.5276 | 1080448.0407
12 | 2722162.2755 | 1080504.2208 | 2722156.7696 | 1080492.9023 | 2722153.4044 | 1080468.3685
13 | 2722162.2755 | 1080504.2208 | 2722135.2526 | 1080526.184
14 | 2722254.2753 | 1080480.1258 | 2722245.1375 | 1080473.282 | 2722239.8674 | 1080471.2471
15 | 2722198.3286 | 1080424.0078 | 2722203.2471 | 1080437.4939 | 2722208.5276 | 1080448.0407
16 | 2722135.2526 | 1080526.184 | 2722145.4865 | 1080553.1308
17 | 2722135.2526 | 1080526.184 | 2722128.6463 | 1080522.0931 | 2722123.0728 | 1080509.1054 | 2722120.807 | 1080503.4612
18 | 2722254.2753 | 1080480.1258 | 2722257.0951 | 1080482.0493
19 | 2722254.2753 | 1080480.1258 | 2722261.1663 | 1080495.186 | 2722279.832 | 1080513.04 | 2722287.4877 | 1080521.7332 | 2722280.9984 | 1080522.4387
20 | 2722198.3286 | 1080424.0078 | 2722192.5815 | 1080422.0022 | 2722189.0425 | 1080421.0142
21 | 2722198.3286 | 1080424.0078 | 2722203.6441 | 1080422.9206
22 | 2722145.4865 | 1080553.1308 | 2722164.5511 | 1080549.6291
23 | 2722299.4768 | 1080522.3631 | 2722269.7933 | 1080490.7113 | 2722257.0951 | 1080482.0493
24 | 2722260.4972 | 1080524.6675 | 2722280.9984 | 1080522.4387
25 | 2722175.0304 | 1080417.1024 | 2722189.0425 | 1080421.0142
26 | 2722216.6879 | 1080418.6035 | 2722208.032 | 1080422.0231 | 2722203.6441 | 1080422.9206
27 | 2722103.1279 | 1080411.6688 | 2722119.257 | 1080413.4932
28 | 2722119.257 | 1080413.4932 | 2722136.8078 | 1080414.629
29 | 2722103.1279 | 1080411.6688 | 2722063.3238 | 1080450.7998
30 | 2722146.6868 | 1080415.2683 | 2722136.8078 | 1080414.629
31 | 2722281.6985 | 1080367.4557 | 2722289.2972 | 1080365.4454 | 2722291.621 | 1080369.2614 | 2722295.3358 | 1080380.7888 | 2722299.7827 | 1080392.6088 | 2722320.9819 | 1080384.7184
32 | 2722281.6985 | 1080367.4557 | 2722277.4014 | 1080368.5925
33 | 2722320.9819 | 1080384.7184 | 2722322.6283 | 1080384.1056
34 | 2722252.029 | 1080375.3049 | 2722277.4014 | 1080368.5925
35 | 2722252.029 | 1080375.3049 | 2722252.5768 | 1080393.2956 | 2722254.0497 | 1080403.1211
36 | 2722255.9938 | 1080416.1807 | 2722254.0497 | 1080403.1211
37 | 2722254.0497 | 1080403.1211 | 2722247.8994 | 1080406.5002 | 2722229.3074 | 1080413.6785
38 | 2722255.9938 | 1080416.1807 | 2722257.1215 | 1080424.2425 | 2722259.757 | 1080429.9439 | 2722261.0098 | 1080432.1177
39 | 2722255.9938 | 1080416.1807 | 2722270.6696 | 1080416.4864 | 2722286.8574 | 1080414.851
40 | 2722228.9756 | 1080413.8067 | 2722229.3074 | 1080413.6785
41 | 2722247.8147 | 1080336.7926 | 2722252.1906 | 1080331.6433 | 2722268.3329 | 1080316.1781 | 2722274.4369 | 1080311.2647
42 | 2722236.988 | 1080319.6408 | 2722240.625 | 1080324.6062 | 2722247.8147 | 1080336.7926
43 | 2722274.4369 | 1080311.2647 | 2722283.5509 | 1080303.9282
44 | 2722236.988 | 1080319.6408 | 2722242.5225 | 1080314.8261 | 2722249.4768 | 1080302.7457 | 2722255.8302 | 1080292.3379
45 | 2722236.988 | 1080319.6408 | 2722225.9186 | 1080306.8429 | 2722224.7454 | 1080305.4588
46 | 2722146.6868 | 1080415.2683 | 2722159.1113 | 1080416.0723
47 | 2722159.1113 | 1080416.0723 | 2722170.1184 | 1080416.7845
48 | 2722151.8072 | 1080296.9811 | 2722166.2515 | 1080296.5246
49 | 2722151.7171 | 1080296.984 | 2722151.8072 | 1080296.9811
50 | 2722166.2515 | 1080296.5246 | 2722188.1216 | 1080295.8333
51 | 2722202.2056 | 1080295.0367 | 2722194.5885 | 1080295.6289 | 2722188.1216 | 1080295.8333
52 | 2722202.2056 | 1080295.0367 | 2722203.9795 | 1080308.8378 | 2722206.5641 | 1080327.9257 | 2722206.7665 | 1080330.8031
53 | 2722210.3769 | 1080288.5069 | 2722202.2056 | 1080295.0367
54 | 2722204.6186 | 1080353.6497 | 2722206.0189 | 1080350.8424 | 2722207.0464 | 1080347.2493 | 2722207.5916 | 1080342.5346 | 2722206.7665 | 1080330.8031
55 | 2722210.3769 | 1080288.5069 | 2722184.5248 | 1080258.2446
56 | 2722210.3769 | 1080288.5069 | 2722224.7454 | 1080305.4588
57 | 2722204.6186 | 1080353.6497 | 2722202.9628 | 1080357.0944
58 | 2722184.5248 | 1080258.2446 | 2722195.3985 | 1080250.9907 | 2722213.8973 | 1080240.9861
59 | 2722192.9511 | 1080371.4398 | 2722202.6811 | 1080357.6804 | 2722202.9628 | 1080357.0944
60 | 2722213.8973 | 1080240.9861 | 2722247.6914 | 1080222.7095
61 | 2722192.9511 | 1080371.4398 | 2722188.1078 | 1080373.5553 | 2722184.5742 | 1080374.285 | 2722178.2049 | 1080372.7006 | 2722159.1749 | 1080367.5488
62 | 2722193.4102 | 1080372.95 | 2722192.9511 | 1080371.4398
63 | 2722193.4102 | 1080372.95 | 2722180.157 | 1080380.3342 | 2722177.1204 | 1080382.7087
64 | 2722247.6914 | 1080222.7095 | 2722248.5333 | 1080222.2542
65 | 2722269.4358 | 1080219.8306 | 2722264.5181 | 1080215.5844 | 2722253.6022 | 1080219.5128 | 2722248.5333 | 1080222.2542
66 | 2722271.5093 | 1080223.838 | 2722269.4358 | 1080219.8306 | 2722269.4358 | 1080219.8306
67 | 2722293.7925 | 1080295.684 | 2722283.5509 | 1080303.9282
68 | 2722293.7925 | 1080295.684 | 2722321.702 | 1080273.2178 | 2722321.702 | 1080273.2178
69 | 2722321.702 | 1080273.2178 | 2722336.7968 | 1080268.5396 | 2722342.6353 | 1080268.3135
70 | 2722359.3427 | 1080263.3649 | 2722350.9774 | 1080267.9905 | 2722342.6353 | 1080268.3135
71 | 2722376.5387 | 1080253.8563 | 2722359.3427 | 1080263.3649
72 | 2722387.2237 | 1080247.9481 | 2722376.5387 | 1080253.8563
73 | 2722261.0098 | 1080432.1177 | 2722262.7522 | 1080435.141 | 2722269.7358 | 1080444.0431 | 2722269.8176 | 1080444.1153
74 | 2722295.8276 | 1080413.9448 | 2722286.8574 | 1080414.851
75 | 2722216.6879 | 1080418.6035 | 2722222.5494 | 1080416.2878 | 2722228.9756 | 1080413.8067
76 | 2722288.7329 | 1080454.3529 | 2722283.8785 | 1080453.4892 | 2722276.7811 | 1080450.2556 | 2722269.8176 | 1080444.1153
77 | 2722317.2874 | 1080452.8146 | 2722291.5571 | 1080454.8554 | 2722288.7329 | 1080454.3529
78 | 2722317.2874 | 1080452.8146 | 2722318.4998 | 1080471.2534
79 | 2722318.4998 | 1080471.2534 | 2722318.6943 | 1080474.212
80 | 2722330.159 | 1080483.7731 | 2722319.1857 | 1080481.6847 | 2722318.6943 | 1080474.212
81 | 2722299.4768 | 1080522.3631 | 2722297.8829 | 1080524.3659 | 2722312.3479 | 1080537.4767 | 2722310.5062 | 1080554.919 | 2722305.2547 | 1080556.4815 | 2722301.9287 | 1080556.3533
82 | 2722299.4768 | 1080522.3631 | 2722318.1391 | 1080537.2817 | 2722323.1436 | 1080540.289
83 | 2722301.9287 | 1080556.3533 | 2722301.926 | 1080556.3532
84 | 2722175.0304 | 1080417.1024 | 2722170.8668 | 1080416.833
85 | 2722175.0304 | 1080417.1024 | 2722185.6922 | 1080400.2595
86 | 2722170.1184 | 1080416.7845 | 2722170.8668 | 1080416.833
87 | 2722185.6922 | 1080400.2595 | 2722173.584 | 1080391.3282
88 | 2722169.7315 | 1080388.4866 | 2722173.584 | 1080391.3282
89 | 2722169.7315 | 1080388.4866 | 2722177.1204 | 1080382.7087

## bus_geodata
| x | y | coords
0 | 2722521.1108 | 1080393.6391
1 | 2722557.0166 | 1080405.8743
2 | 2722466.0122 | 1080385.0631
3 | 2722465.3829 | 1080367.6823
4 | 2722400.9202 | 1080415.7475
5 | 2722443.4993 | 1080515.9718
6 | 2722346.5682 | 1080449.6
7 | 2722500.7397 | 1080364.0457
8 | 2722200.7981 | 1080472.1833
9 | 2722209.4302 | 1080465.0044
10 | 2722162.2755 | 1080504.2208
11 | 2722239.8674 | 1080471.2472
12 | 2722208.5276 | 1080448.0407
13 | 2722153.4044 | 1080468.3685
14 | 2722135.2526 | 1080526.184
15 | 2722254.2753 | 1080480.1258
16 | 2722198.3286 | 1080424.0078
17 | 2722145.4865 | 1080553.1308
18 | 2722120.807 | 1080503.4612
19 | 2722257.0951 | 1080482.0493
20 | 2722280.9984 | 1080522.4387
21 | 2722189.0425 | 1080421.0142
22 | 2722203.6441 | 1080422.9206
23 | 2722119.257 | 1080413.4932
24 | 2722103.1279 | 1080411.6688
25 | 2722136.8078 | 1080414.629
26 | 2722164.5511 | 1080549.6291
27 | 2722281.6985 | 1080367.4557
28 | 2722320.9819 | 1080384.7184
29 | 2722277.4014 | 1080368.5925
30 | 2722322.6283 | 1080384.1056
31 | 2722252.029 | 1080375.3049
32 | 2722254.0497 | 1080403.1211
33 | 2722255.9938 | 1080416.1807
34 | 2722229.3074 | 1080413.6785
35 | 2722247.8147 | 1080336.7926
36 | 2722274.4369 | 1080311.2647
37 | 2722236.988 | 1080319.6408
38 | 2722063.3238 | 1080450.7998
39 | 2722146.6868 | 1080415.2683
40 | 2722159.1113 | 1080416.0723
41 | 2722151.8072 | 1080296.9811
42 | 2722166.2515 | 1080296.5246
43 | 2722151.7171 | 1080296.984
44 | 2722188.1216 | 1080295.8333
45 | 2722202.2056 | 1080295.0367
46 | 2722206.7665 | 1080330.8031
47 | 2722210.3769 | 1080288.5069
48 | 2722204.6186 | 1080353.6497
49 | 2722184.5248 | 1080258.2446
50 | 2722224.7454 | 1080305.4588
51 | 2722202.9628 | 1080357.0944
52 | 2722213.8973 | 1080240.9861
53 | 2722192.9511 | 1080371.4398
54 | 2722159.1749 | 1080367.5488
55 | 2722193.4102 | 1080372.95
56 | 2722247.6914 | 1080222.7095
57 | 2722248.5333 | 1080222.2542
58 | 2722269.4358 | 1080219.8306
59 | 2722271.5093 | 1080223.838
60 | 2722255.8302 | 1080292.3379
61 | 2722283.5509 | 1080303.9282
62 | 2722293.7925 | 1080295.684
63 | 2722321.702 | 1080273.2178
64 | 2722342.6353 | 1080268.3135
65 | 2722359.3427 | 1080263.3649
66 | 2722376.5387 | 1080253.8563
67 | 2722387.2237 | 1080247.9481
68 | 2722261.0098 | 1080432.1177
69 | 2722286.8574 | 1080414.851
70 | 2722228.9756 | 1080413.8067
71 | 2722295.8276 | 1080413.9448
72 | 2722269.8176 | 1080444.1153
73 | 2722288.7329 | 1080454.3529
74 | 2722317.2874 | 1080452.8146
75 | 2722318.4998 | 1080471.2534
76 | 2722318.6943 | 1080474.212
77 | 2722330.159 | 1080483.7731
78 | 2722299.4768 | 1080522.3631
79 | 2722260.4972 | 1080524.6675
80 | 2722301.9287 | 1080556.3533
81 | 2722323.1436 | 1080540.289
82 | 2722301.926 | 1080556.3532
83 | 2722216.6879 | 1080418.6035
84 | 2722175.0304 | 1080417.1024
85 | 2722170.8668 | 1080416.833
86 | 2722185.6922 | 1080400.2595
87 | 2722170.1184 | 1080416.7845
88 | 2722173.584 | 1080391.3282
89 | 2722169.7315 | 1080388.4866
90 | 2722177.1204 | 1080382.7087
91 | 2722255.9938 | 1080416.1807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1