## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5249-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5249-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5249-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5249-8_0_4_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_5249-8_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_5249-8_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_5249-8_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5249-8_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_5249-8_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5249-8_0_4_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_5249-8_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5249-8_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5249-8_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5249-8_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5249-8_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5249-8_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5249-8_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5249-8_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5249-8_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5249-8_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5249-8_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_5249-8_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5249-8_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5249-8_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5249-8_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5249-8_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5249-8_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5249-8_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5249-8_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5249-8_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5249-8_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5249-8_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5249-8_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5249-8_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5249-8_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5249-8_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5249-8_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5249-8_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5249-8_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5249-8_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5249-8_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5249-8_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5249-8_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5249-8_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5249-8_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5249-8_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5249-8_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_5249-8_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_5249-8_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_5249-8_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5249-8_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5249-8_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5249-8_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5249-8_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5249-8_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5249-8_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5249-8_0_4_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_5249-8_0_4_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_5249-8_0_4_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_5249-8_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_5249-8_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5249-8_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5249-8_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5249-8_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5249-8_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5249-8_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5249-8_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5249-8_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5249-8_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5249-8_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5249-8_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5249-8_0_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_5249-8_0_4_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_5249-8_0_4_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_5249-8_0_4_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_5249-8_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5249-8_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_5249-8_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5249-8_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5249-8_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5249-8_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_5249-8_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5249-8_0_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_5249-8_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5249-8_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_5249-8_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5249-8_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5249-8_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5249-8_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_5249-8_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_5249-8_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_MV_76_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5249-8_0_4_load_0 | 0 | 0.0030603 | 0.00076697 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5249-8_0_4_load_33 | 3 | 0.0031373 | 0.00078629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5249-8_0_4_load_34 | 4 | 0.0018771 | 0.00047044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5249-8_0_4_load_32 | 5 | 0.0051592 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5249-8_0_4_load_31 | 7 | 0.0023479 | 0.00058843 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5249-8_0_4_load_9 | 8 | 0.0026737 | 0.00067009 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5249-8_0_4_load_28 | 9 | 0.0078066 | 0.0019565 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5249-8_0_4_load_7 | 10 | 0.0019559 | 0.0004902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5249-8_0_4_load_4 | 11 | 0.0022557 | 0.00056533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5249-8_0_4_load_5 | 12 | 0.001796 | 0.00045012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5249-8_0_4_load_8 | 14 | 0.0010225 | 0.00025627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5249-8_0_4_load_10 | 15 | 0.0047937 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5249-8_0_4_load_14 | 19 | 0.0051695 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5249-8_0_4_load_15 | 21 | 0.0029196 | 0.00073173 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5249-8_0_4_load_49 | 22 | 0.0043352 | 0.0010865 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5249-8_0_4_load_19 | 23 | 0.0021263 | 0.00053289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5249-8_0_4_load_17 | 24 | 0.0044227 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5249-8_0_4_load_16 | 25 | 0.0041162 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5249-8_0_4_load_21 | 26 | 0.0015727 | 0.00039416 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5249-8_0_4_load_18 | 28 | 0.0055018 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5249-8_0_4_load_20 | 29 | 0.0048984 | 0.0012276 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5249-8_0_4_load_22 | 30 | 0.0077754 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5249-8_0_4_load_26 | 32 | 0.0026142 | 0.00065519 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5249-8_0_4_load_24 | 33 | 0.0043629 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5249-8_0_4_load_29 | 34 | 0.0064065 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5249-8_0_4_load_30 | 35 | 0.0047307 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5249-8_0_4_load_25 | 36 | 0.0019827 | 0.00049691 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5249-8_0_4_load_39 | 39 | 0.0014741 | 0.00036944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5249-8_0_4_load_40 | 40 | 0.0070813 | 0.0017748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5249-8_0_4_load_38 | 41 | 0.0026872 | 0.00067349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5249-8_0_4_load_41 | 42 | 0.0047392 | 0.0011877 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5249-8_0_4_load_50 | 44 | 0.0035629 | 0.00089295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5249-8_0_4_load_61 | 46 | 0.0015551 | 0.00038974 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5249-8_0_4_load_69 | 48 | 0.0065449 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5249-8_0_4_load_48 | 49 | 0.0025564 | 0.00064069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5249-8_0_4_load_44 | 50 | 0.0093091 | 0.0023331 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5249-8_0_4_load_43 | 51 | 0.0050131 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5249-8_0_4_load_45 | 52 | 0.0017543 | 0.00043967 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5249-8_0_4_load_47 | 53 | 0.0039296 | 0.00098486 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5249-8_0_4_load_53 | 54 | 0.0024159 | 0.00060548 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5249-8_0_4_load_54 | 55 | 0.0020898 | 0.00052376 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5249-8_0_4_load_77 | 58 | 0.0053471 | 0.0013401 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5249-8_0_4_load_55 | 60 | 0.0024583 | 0.0006161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5249-8_0_4_load_56 | 61 | 0.009145 | 0.002292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5249-8_0_4_load_57 | 62 | 0.0019256 | 0.00048259 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5249-8_0_4_load_58 | 63 | 0.0021608 | 0.00054156 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5249-8_0_4_load_59 | 64 | 0.0010121 | 0.00025366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5249-8_0_4_load_60 | 65 | 0.0062386 | 0.0015635 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5249-8_0_4_load_62 | 66 | 0.0051368 | 0.0012874 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5249-8_0_4_load_63 | 67 | 0.0050258 | 0.0012596 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5249-8_0_4_load_66 | 69 | 0.0013269 | 0.00033255 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5249-8_0_4_load_67 | 70 | 0.0015716 | 0.00039387 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5249-8_0_4_load_91 | 72 | 0.0022509 | 0.00056412 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5249-8_0_4_load_94 | 73 | 0.0022277 | 0.00055832 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5249-8_0_4_load_89 | 74 | 0.0020951 | 0.00052508 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5249-8_0_4_load_71 | 75 | 0.0033365 | 0.0008362 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5249-8_0_4_load_76 | 76 | 0.0047945 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5249-8_0_4_load_74 | 78 | 0.0076777 | 0.0019242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5249-8_0_4_load_82 | 81 | 0.0076163 | 0.0019088 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5249-8_0_4_load_95 | 82 | 0.0048562 | 0.0012171 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5249-8_0_4_load_78 | 84 | 0.0053435 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5249-8_0_4_load_79 | 85 | 0.0028093 | 0.00070408 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5249-8_0_4_load_84 | 86 | 0.0026744 | 0.00067028 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5249-8_0_4_load_85 | 87 | 0.00088357 | 0.00022144 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5249-8_0_4_load_86 | 88 | 0.0028647 | 0.00071795 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5249-8_0_4_load_87 | 89 | 0.0019761 | 0.00049527 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5249-8_0_4_load_88 | 90 | 0.00066623 | 0.00016697 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5249-8_0_4_line_0 |  | 0 | 1 | 0.12772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5249-8_0_4_line_1 |  | 1 | 2 | 0.14376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5249-8_0_4_line_2 |  | 2 | 6 | 0.14144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5249-8_0_4_line_3 |  | 2 | 7 | 0.083906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5249-8_0_4_line_4 |  | 3 | 4 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5249-8_0_4_line_5 |  | 3 | 5 | 0.033289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5249-8_0_4_line_6 |  | 5 | 9 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5249-8_0_4_line_7 |  | 5 | 7 | 0.039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5249-8_0_4_line_8 |  | 6 | 8 | 0.0048768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5249-8_0_4_line_9 |  | 8 | 10 | 0.0053576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5249-8_0_4_line_10 |  | 9 | 31 | 0.057776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5249-8_0_4_line_11 |  | 10 | 13 | 0.014316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5249-8_0_4_line_12 |  | 11 | 12 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5249-8_0_4_line_13 |  | 12 | 13 | 0.038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5249-8_0_4_line_14 |  | 13 | 14 | 0.01107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5249-8_0_4_line_15 |  | 15 | 16 | 0.090535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5249-8_0_4_line_16 |  | 15 | 17 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5249-8_0_4_line_17 |  | 16 | 18 | 0.020945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5249-8_0_4_line_18 |  | 17 | 19 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5249-8_0_4_line_19 |  | 18 | 20 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5249-8_0_4_line_20 |  | 19 | 21 | 0.030737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5249-8_0_4_line_21 |  | 20 | 22 | 0.077115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5249-8_0_4_line_22 |  | 21 | 25 | 0.034402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5249-8_0_4_line_23 |  | 22 | 53 | 0.03594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5249-8_0_4_line_24 |  | 23 | 24 | 0.036857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5249-8_0_4_line_25 |  | 24 | 28 | 0.05168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5249-8_0_4_line_26 |  | 25 | 26 | 0.059015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5249-8_0_4_line_27 |  | 26 | 27 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5249-8_0_4_line_28 |  | 27 | 32 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5249-8_0_4_line_29 |  | 27 | 33 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5249-8_0_4_line_30 |  | 28 | 29 | 0.066619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5249-8_0_4_line_31 |  | 29 | 30 | 0.032652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5249-8_0_4_line_32 |  | 30 | 31 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5249-8_0_4_line_33 |  | 31 | 34 | 0.0035847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5249-8_0_4_line_34 |  | 32 | 35 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5249-8_0_4_line_35 |  | 33 | 36 | 0.0011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5249-8_0_4_line_36 |  | 34 | 37 | 0.022811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5249-8_0_4_line_37 |  | 37 | 38 | 0.019233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5249-8_0_4_line_38 |  | 38 | 39 | 0.055132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5249-8_0_4_line_39 |  | 38 | 40 | 0.0034774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5249-8_0_4_line_40 |  | 39 | 41 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5249-8_0_4_line_41 |  | 40 | 42 | 0.023199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5249-8_0_4_line_42 |  | 42 | 43 | 0.049435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5249-8_0_4_line_43 |  | 43 | 44 | 0.042686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5249-8_0_4_line_44 |  | 43 | 45 | 0.022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5249-8_0_4_line_45 |  | 44 | 46 | 0.051363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5249-8_0_4_line_46 |  | 45 | 49 | 0.044581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5249-8_0_4_line_47 |  | 45 | 50 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5249-8_0_4_line_48 |  | 46 | 47 | 0.065323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5249-8_0_4_line_49 |  | 47 | 48 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5249-8_0_4_line_50 |  | 48 | 56 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5249-8_0_4_line_51 |  | 49 | 54 | 0.036009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5249-8_0_4_line_52 |  | 50 | 51 | 0.035023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5249-8_0_4_line_53 |  | 51 | 52 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5249-8_0_4_line_54 |  | 52 | 53 | 0.035519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5249-8_0_4_line_55 |  | 54 | 55 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5249-8_0_4_line_56 |  | 55 | 60 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5249-8_0_4_line_57 |  | 56 | 75 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5249-8_0_4_line_58 |  | 57 | 58 | 0.032686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5249-8_0_4_line_59 |  | 57 | 59 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5249-8_0_4_line_60 |  | 58 | 76 | 0.01336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5249-8_0_4_line_61 |  | 59 | 71 | 0.098562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5249-8_0_4_line_62 |  | 59 | 67 | 0.0076337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5249-8_0_4_line_63 |  | 60 | 61 | 0.00029002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5249-8_0_4_line_64 |  | 61 | 62 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5249-8_0_4_line_65 |  | 62 | 63 | 0.015103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5249-8_0_4_line_66 |  | 63 | 64 | 0.016409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5249-8_0_4_line_67 |  | 64 | 65 | 0.076186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5249-8_0_4_line_68 |  | 66 | 67 | 0.11716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5249-8_0_4_line_69 |  | 66 | 68 | 0.061993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5249-8_0_4_line_70 |  | 68 | 69 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5249-8_0_4_line_71 |  | 68 | 70 | 0.09801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5249-8_0_4_line_72 |  | 70 | 72 | 0.0024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5249-8_0_4_line_73 |  | 71 | 73 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5249-8_0_4_line_74 |  | 72 | 74 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5249-8_0_4_line_75 |  | 74 | 90 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5249-8_0_4_line_76 |  | 75 | 77 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5249-8_0_4_line_77 |  | 76 | 84 | 0.0082845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5249-8_0_4_line_78 |  | 77 | 78 | 0.071335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5249-8_0_4_line_79 |  | 77 | 79 | 0.003286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5249-8_0_4_line_80 |  | 79 | 80 | 0.13001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5249-8_0_4_line_81 |  | 79 | 81 | 0.024325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5249-8_0_4_line_82 |  | 80 | 82 | 0.10279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5249-8_0_4_line_83 |  | 81 | 83 | 0.048706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5249-8_0_4_line_84 |  | 83 | 86 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5249-8_0_4_line_85 |  | 83 | 85 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5249-8_0_4_line_86 |  | 84 | 85 | 0.026158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5249-8_0_4_line_87 |  | 86 | 87 | 0.00078335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5249-8_0_4_line_88 |  | 87 | 88 | 0.055815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5249-8_0_4_line_89 |  | 88 | 89 | 0.1486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5249-8_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 91 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2722004.6542 | 1079248.5674 | 2721977.263 | 1079181.1928 | 2721955.5219 | 1079130.679
1 | 2722004.6542 | 1079248.5674 | 2721926.9896 | 1079273.3427 | 2721930.5931 | 1079282.3546 | 2721932.6796 | 1079313.5856 | 2721929.4625 | 1079334.5698
2 | 2721889.9439 | 1079203.4402 | 2721922.0105 | 1079260.8563 | 2721926.9896 | 1079273.3427 | 2721930.5931 | 1079282.3546 | 2721932.6796 | 1079313.5856 | 2721929.4625 | 1079334.5698
3 | 2721929.4625 | 1079334.5698 | 2721926.6209 | 1079352.3258 | 2721929.7072 | 1079376.694 | 2721935.6736 | 1079380.9942 | 2721946.4528 | 1079383.1781 | 2721969.4303 | 1079384.3784
4 | 2722016.7131 | 1079420.8259 | 2722000.8945 | 1079420.0051 | 2721994.8076 | 1079420.2733
5 | 2721994.8076 | 1079420.2733 | 2721977.8221 | 1079421.0219 | 2721961.7337 | 1079423.5573
6 | 2721927.836 | 1079435.634 | 2721928.4585 | 1079435.2002 | 2721940.6635 | 1079429.4179 | 2721954.4087 | 1079424.7117 | 2721961.7337 | 1079423.5573
7 | 2721961.7337 | 1079423.5573 | 2721969.4303 | 1079384.3784
8 | 2721889.9439 | 1079203.4402 | 2721887.7124 | 1079199.1039
9 | 2721887.7124 | 1079199.1039 | 2721885.2609 | 1079194.3401
10 | 2721899.4156 | 1079482.9873 | 2721907.0184 | 1079454.819 | 2721915.5679 | 1079444.1822 | 2721927.836 | 1079435.634
11 | 2721878.7104 | 1079181.611 | 2721885.2609 | 1079194.3401
12 | 2721939.1286 | 1079157.5554 | 2721914.277 | 1079167.4501
13 | 2721878.7104 | 1079181.611 | 2721914.277 | 1079167.4501
14 | 2721878.7104 | 1079181.611 | 2721874.5326 | 1079171.3591
15 | 2721606.1068 | 1079484.8641 | 2721663.9105 | 1079471.6634 | 2721694.7677 | 1079466.7658
16 | 2721709.2723 | 1079464.4637 | 2721694.7677 | 1079466.7658
17 | 2721616.2638 | 1079502.257 | 2721612.8018 | 1079499.7639 | 2721609.9685 | 1079496.5273 | 2721607.4322 | 1079491.2507 | 2721606.1068 | 1079484.8641
18 | 2721709.2723 | 1079464.4637 | 2721723.6903 | 1079463.2371
19 | 2721616.2638 | 1079502.257 | 2721608.8863 | 1079513.7626
20 | 2721723.6903 | 1079463.2371 | 2721739.648 | 1079461.8794 | 2721753.8836 | 1079458.1277
21 | 2721608.8863 | 1079513.7626 | 2721645.1423 | 1079517.8333 | 2721677.0277 | 1079530.6678 | 2721683.1925 | 1079531.7507
22 | 2721787.1501 | 1079449.3604 | 2721753.8836 | 1079458.1277
23 | 2721718.9336 | 1079534.7346 | 2721717.7438 | 1079534.7058 | 2721695.0979 | 1079533.8419 | 2721683.1925 | 1079531.7507
24 | 2721703.2013 | 1079507.7282 | 2721740.0467 | 1079508.6548
25 | 2721740.0467 | 1079508.6548 | 2721770.164 | 1079509.4121 | 2721784.6425 | 1079509.5904 | 2721791.5931 | 1079508.2773
26 | 2721787.1501 | 1079449.3604 | 2721816.7072 | 1079441.5708 | 2721834.1684 | 1079436.7496 | 2721838.0949 | 1079446.3083
27 | 2721843.1996 | 1079458.7348 | 2721838.0949 | 1079446.3083
28 | 2721843.1996 | 1079458.7348 | 2721854.4602 | 1079452.4909
29 | 2721843.1996 | 1079458.7348 | 2721821.9619 | 1079470.5519
30 | 2721855.3964 | 1079489.2685 | 2721798.9066 | 1079506.8956 | 2721791.5931 | 1079508.2773
31 | 2721855.3964 | 1079489.2685 | 2721886.5661 | 1079479.5422
32 | 2721899.4156 | 1079482.9873 | 2721896.3826 | 1079480.8029 | 2721892.0857 | 1079479.2714 | 2721887.5804 | 1079479.2257 | 2721886.5661 | 1079479.5422
33 | 2721899.4156 | 1079482.9873 | 2721900.2547 | 1079486.0952 | 2721900.2691 | 1079486.4605
34 | 2721867.0443 | 1079445.513 | 2721854.4602 | 1079452.4909
35 | 2721821.9619 | 1079470.5519 | 2721820.9401 | 1079471.1205
36 | 2721891.6618 | 1079506.6716 | 2721896.3062 | 1079501.7053 | 2721899.0726 | 1079495.8564 | 2721900.399 | 1079489.7563 | 2721900.2691 | 1079486.4605
37 | 2721891.6618 | 1079506.6716 | 2721878.5142 | 1079520.7411
38 | 2721878.5142 | 1079520.7411 | 2721884.602 | 1079522.8533 | 2721901.2618 | 1079520.796 | 2721920.2456 | 1079516.7505 | 2721932.2704 | 1079513.3663
39 | 2721878.5142 | 1079520.7411 | 2721876.1395 | 1079523.2814
40 | 2721951.1443 | 1079506.3172 | 2721932.2704 | 1079513.3663 | 2721932.2704 | 1079513.3663
41 | 2721876.1395 | 1079523.2814 | 2721860.2971 | 1079540.2283
42 | 2721831.4644 | 1079579.3319 | 2721835.7165 | 1079566.7856 | 2721846.1381 | 1079555.3745 | 2721860.2971 | 1079540.2283
43 | 2721831.4644 | 1079579.3319 | 2721832.041 | 1079593.6204 | 2721843.0049 | 1079619.8035
44 | 2721814.9729 | 1079563.6577 | 2721822.3587 | 1079572.3449 | 2721831.4644 | 1079579.3319
45 | 2721843.0049 | 1079619.8035 | 2721860.6778 | 1079662.0089 | 2721862.5803 | 1079667.2827
46 | 2721814.9729 | 1079563.6577 | 2721800.8063 | 1079556.436 | 2721788.3092 | 1079551.5829 | 2721773.8033 | 1079556.3654
47 | 2721814.9729 | 1079563.6577 | 2721808.4755 | 1079556.0001
48 | 2721869.845 | 1079731.5424 | 2721870.6114 | 1079701.7806 | 2721866.7948 | 1079678.9656 | 2721862.5803 | 1079667.2827
49 | 2721869.845 | 1079731.5424 | 2721872.6483 | 1079751.4127
50 | 2721878.4996 | 1079767.6637 | 2721872.6483 | 1079751.4127
51 | 2721739.8848 | 1079568.2474 | 2721742.3931 | 1079566.7211 | 2721773.8033 | 1079556.3654
52 | 2721777.6963 | 1079539.3929 | 2721778.798 | 1079539.6175 | 2721808.4755 | 1079556.0001
53 | 2721777.6963 | 1079539.3929 | 2721765.133 | 1079536.8315 | 2721754.4242 | 1079535.9186
54 | 2721754.4242 | 1079535.9186 | 2721749.1166 | 1079535.4661 | 2721718.9336 | 1079534.7346
55 | 2721739.8848 | 1079568.2474 | 2721727.733 | 1079575.6418
56 | 2721727.733 | 1079575.6418 | 2721712.5486 | 1079584.8816
57 | 2721878.4996 | 1079767.6637 | 2721885.6912 | 1079780.923
58 | 2721804.9717 | 1079726.9536 | 2721812.2441 | 1079758.8207
59 | 2721804.9717 | 1079726.9536 | 2721794.2573 | 1079726.2167
60 | 2721815.2165 | 1079771.8455 | 2721812.2441 | 1079758.8207
61 | 2721713.443 | 1079683.0715 | 2721718.4382 | 1079692.8116 | 2721721.7761 | 1079700.7284 | 2721723.1184 | 1079703.9242 | 2721729.038 | 1079710.1691 | 2721739.1928 | 1079712.8627 | 2721794.2573 | 1079726.2167
62 | 2721794.2573 | 1079726.2167 | 2721786.9933 | 1079728.5635
63 | 2721712.5486 | 1079584.8816 | 2721712.3009 | 1079585.0324
64 | 2721712.3009 | 1079585.0324 | 2721697.3625 | 1079594.1225
65 | 2721697.3625 | 1079594.1225 | 2721691.0511 | 1079597.963 | 2721683.9577 | 1079600.9971
66 | 2721683.9577 | 1079600.9971 | 2721671.108 | 1079606.4933 | 2721668.8713 | 1079607.4508
67 | 2721668.8713 | 1079607.4508 | 2721614.7971 | 1079630.5982 | 2721598.9841 | 1079637.7767
68 | 2721676.5397 | 1079767.5575 | 2721745.7227 | 1079742.9927 | 2721759.4992 | 1079737.4527 | 2721775.9126 | 1079732.1434 | 2721786.9933 | 1079728.5635
69 | 2721618.1203 | 1079788.3005 | 2721676.5397 | 1079767.5575
70 | 2721618.1203 | 1079788.3005 | 2721591.4502 | 1079793.4401
71 | 2721618.1203 | 1079788.3005 | 2721602.4964 | 1079810.894 | 2721593.7394 | 1079828.8656 | 2721583.1362 | 1079843.1978 | 2721577.8172 | 1079846.1716 | 2721572.7968 | 1079848.9847 | 2721568.8056 | 1079851.2178 | 2721553.5892 | 1079857.0578
72 | 2721553.5892 | 1079857.0578 | 2721551.3005 | 1079857.9362
73 | 2721699.6671 | 1079691.3024 | 2721713.443 | 1079683.0715
74 | 2721533.5439 | 1079866.3906 | 2721545.3973 | 1079860.2019 | 2721551.3005 | 1079857.9362
75 | 2721512.4688 | 1079881.2853 | 2721529.4996 | 1079868.5021 | 2721533.5439 | 1079866.3906
76 | 2721892.9678 | 1079794.3389 | 2721885.6912 | 1079780.923
77 | 2721815.2165 | 1079771.8455 | 2721817.0597 | 1079779.9224
78 | 2721892.9678 | 1079794.3389 | 2721916.5948 | 1079782.236 | 2721904.4457 | 1079739.0618
79 | 2721892.9678 | 1079794.3389 | 2721894.4552 | 1079797.2708
80 | 2721894.4552 | 1079797.2708 | 2721913.5272 | 1079830.6985 | 2721914.9092 | 1079833.4615 | 2721915.1212 | 1079836.0676 | 2721914.5408 | 1079838.669 | 2721921.1938 | 1079840.0809 | 2721923.3869 | 1079840.3583 | 2721929.5556 | 1079841.1267 | 2721939.9323 | 1079842.424 | 2721961.7861 | 1079845.1521 | 2721996.6756 | 1079851.3992
81 | 2721894.4552 | 1079797.2708 | 2721872.5525 | 1079807.8516
82 | 2721980.8614 | 1079751.9108 | 2721978.7819 | 1079759.5414 | 2721980.2881 | 1079808.0844 | 2721996.6756 | 1079851.3992
83 | 2721826.6367 | 1079821.8884 | 2721839.381 | 1079820.1752 | 2721856.7505 | 1079816.7755 | 2721872.5525 | 1079807.8516
84 | 2721826.6367 | 1079821.8884 | 2721816.3567 | 1079822.7502 | 2721810.6779 | 1079823.2227
85 | 2721826.6367 | 1079821.8884 | 2721822.8795 | 1079805.4246
86 | 2721817.0597 | 1079779.9224 | 2721822.8795 | 1079805.4246
87 | 2721809.8973 | 1079823.2877 | 2721810.6779 | 1079823.2227
88 | 2721755.0085 | 1079832.4167 | 2721757.1273 | 1079831.6289 | 2721772.8728 | 1079827.4626 | 2721780.7973 | 1079826.2867 | 2721790.9422 | 1079825.1886 | 2721803.8589 | 1079823.7901 | 2721809.8973 | 1079823.2877
89 | 2721612.2296 | 1079873.222 | 2721728.2372 | 1079842.3819 | 2721745.7467 | 1079835.8602 | 2721755.0085 | 1079832.4167

## bus_geodata
| x | y | coords
0 | 2721955.5219 | 1079130.679
1 | 2722004.6542 | 1079248.5674
2 | 2721929.4625 | 1079334.5698
3 | 2721994.8076 | 1079420.2733
4 | 2722016.7131 | 1079420.8259
5 | 2721961.7337 | 1079423.5573
6 | 2721889.9439 | 1079203.4402
7 | 2721969.4303 | 1079384.3784
8 | 2721887.7124 | 1079199.1039
9 | 2721927.836 | 1079435.634
10 | 2721885.2609 | 1079194.3401
11 | 2721939.1286 | 1079157.5554
12 | 2721914.277 | 1079167.4501
13 | 2721878.7104 | 1079181.611
14 | 2721874.5326 | 1079171.3591
15 | 2721694.7677 | 1079466.7658
16 | 2721606.1068 | 1079484.8641
17 | 2721709.2723 | 1079464.4637
18 | 2721616.2638 | 1079502.257
19 | 2721723.6903 | 1079463.2371
20 | 2721608.8863 | 1079513.7626
21 | 2721753.8836 | 1079458.1277
22 | 2721683.1925 | 1079531.7507
23 | 2721703.2013 | 1079507.7282
24 | 2721740.0467 | 1079508.6548
25 | 2721787.1501 | 1079449.3604
26 | 2721838.0949 | 1079446.3083
27 | 2721843.1996 | 1079458.7348
28 | 2721791.5931 | 1079508.2773
29 | 2721855.3964 | 1079489.2685
30 | 2721886.5661 | 1079479.5422
31 | 2721899.4156 | 1079482.9873
32 | 2721854.4602 | 1079452.4909
33 | 2721821.9619 | 1079470.5519
34 | 2721900.2691 | 1079486.4605
35 | 2721867.0443 | 1079445.513
36 | 2721820.9401 | 1079471.1205
37 | 2721891.6618 | 1079506.6716
38 | 2721878.5142 | 1079520.7411
39 | 2721932.2704 | 1079513.3663
40 | 2721876.1395 | 1079523.2814
41 | 2721951.1443 | 1079506.3172
42 | 2721860.2971 | 1079540.2283
43 | 2721831.4644 | 1079579.3319
44 | 2721843.0049 | 1079619.8035
45 | 2721814.9729 | 1079563.6577
46 | 2721862.5803 | 1079667.2827
47 | 2721869.845 | 1079731.5423
48 | 2721872.6483 | 1079751.4127
49 | 2721773.8033 | 1079556.3654
50 | 2721808.4755 | 1079556.0001
51 | 2721777.6963 | 1079539.3929
52 | 2721754.4242 | 1079535.9186
53 | 2721718.9336 | 1079534.7346
54 | 2721739.8848 | 1079568.2474
55 | 2721727.733 | 1079575.6418
56 | 2721878.4996 | 1079767.6637
57 | 2721804.9717 | 1079726.9536
58 | 2721812.2441 | 1079758.8207
59 | 2721794.2573 | 1079726.2167
60 | 2721712.5486 | 1079584.8816
61 | 2721712.3009 | 1079585.0324
62 | 2721697.3625 | 1079594.1225
63 | 2721683.9577 | 1079600.9971
64 | 2721668.8713 | 1079607.4508
65 | 2721598.9841 | 1079637.7767
66 | 2721676.5397 | 1079767.5575
67 | 2721786.9933 | 1079728.5635
68 | 2721618.1203 | 1079788.3005
69 | 2721591.4502 | 1079793.4401
70 | 2721553.5892 | 1079857.0578
71 | 2721713.443 | 1079683.0715
72 | 2721551.3005 | 1079857.9362
73 | 2721699.6671 | 1079691.3024
74 | 2721533.5439 | 1079866.3906
75 | 2721885.6912 | 1079780.923
76 | 2721815.2165 | 1079771.8455
77 | 2721892.9678 | 1079794.3389
78 | 2721904.4457 | 1079739.0618
79 | 2721894.4552 | 1079797.2708
80 | 2721996.6756 | 1079851.3992
81 | 2721872.5525 | 1079807.8516
82 | 2721980.8614 | 1079751.9108
83 | 2721826.6367 | 1079821.8884
84 | 2721817.0597 | 1079779.9224
85 | 2721822.8795 | 1079805.4246
86 | 2721810.6779 | 1079823.2227
87 | 2721809.8973 | 1079823.2877
88 | 2721755.0085 | 1079832.4166
89 | 2721612.2296 | 1079873.222
90 | 2721512.4688 | 1079881.2853
91 | 2721831.4644 | 1079579.3319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1