## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5249-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5249-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5249-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5249-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5249-9_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5249-9_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5249-9_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5249-9_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5249-9_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5249-9_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_5249-9_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5249-9_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5249-9_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5249-9_0_4_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_5249-9_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5249-9_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5249-9_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5249-9_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5249-9_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5249-9_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5249-9_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_5249-9_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_5249-9_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5249-9_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5249-9_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_5249-9_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5249-9_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5249-9_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5249-9_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5249-9_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5249-9_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5249-9_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5249-9_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5249-9_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5249-9_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5249-9_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5249-9_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5249-9_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_5249-9_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5249-9_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5249-9_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5249-9_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5249-9_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5249-9_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5249-9_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5249-9_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5249-9_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5249-9_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5249-9_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5249-9_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5249-9_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5249-9_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5249-9_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5249-9_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5249-9_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5249-9_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5249-9_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5249-9_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_5249-9_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5249-9_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5249-9_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5249-9_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5249-9_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5249-9_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_5249-9_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_MV_76_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5249-9_0_4_load_0 | 0 | 0.001379 | 0.00034561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5249-9_0_4_load_1 | 1 | 0.0007985 | 0.00020012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5249-9_0_4_load_4 | 5 | 0.0010978 | 0.00027512 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5249-9_0_4_load_7 | 7 | 0.00082687 | 0.00020723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5249-9_0_4_load_5 | 8 | 0.00046901 | 0.00011754 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5249-9_0_4_load_10 | 10 | 0.0013649 | 0.00034208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5249-9_0_4_load_8 | 11 | 0.00091748 | 0.00022994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5249-9_0_4_load_68 | 13 | 0.029678 | 0.0074381 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5249-9_0_4_load_12 | 15 | 0.0036777 | 0.00092173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5249-9_0_4_load_13 | 16 | 0.0019433 | 0.00048705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5249-9_0_4_load_15 | 17 | 0.0024973 | 0.00062589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5249-9_0_4_load_17 | 18 | 0.002731 | 0.00068445 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5249-9_0_4_load_18 | 19 | 0.0014982 | 0.00037549 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5249-9_0_4_load_24 | 20 | 0.0010008 | 0.00025081 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5249-9_0_4_load_64 | 21 | 0.0033383 | 0.00083667 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5249-9_0_4_load_19 | 22 | 0.0009668 | 0.0002423 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5249-9_0_4_load_25 | 23 | 0.01907 | 0.0047795 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5249-9_0_4_load_65 | 24 | 0.00028722 | 7.1985e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5249-9_0_4_load_21 | 28 | 0.070002 | 0.017544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5249-9_0_4_load_26 | 29 | 0.0010011 | 0.00025091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5249-9_0_4_load_27 | 30 | 0.042027 | 0.010533 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5249-9_0_4_load_29 | 31 | 0.031504 | 0.0078956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5249-9_0_4_load_28 | 33 | 0.10645 | 0.026678 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5249-9_0_4_load_31 | 34 | 0.044324 | 0.011109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5249-9_0_4_load_32 | 35 | 0.0032653 | 0.00081836 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5249-9_0_4_load_33 | 38 | 0.0031349 | 0.00078567 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5249-9_0_4_load_34 | 39 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5249-9_0_4_load_35 | 40 | 0.01037 | 0.002599 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5249-9_0_4_load_46 | 42 | 0.0029826 | 0.0007475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5249-9_0_4_load_45 | 43 | 0.0025888 | 0.00064882 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5249-9_0_4_load_47 | 44 | 0.0048126 | 0.0012062 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5249-9_0_4_load_44 | 45 | 0.0040153 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5249-9_0_4_load_43 | 46 | 0.0013028 | 0.00032652 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5249-9_0_4_load_42 | 47 | 0.0022936 | 0.00057484 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5249-9_0_4_load_41 | 48 | 0.0078814 | 0.0019753 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5249-9_0_4_load_40 | 49 | 0.0025103 | 0.00062914 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5249-9_0_4_load_48 | 50 | 0.0029145 | 0.00073044 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5249-9_0_4_load_49 | 51 | 0.0013472 | 0.00033763 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5249-9_0_4_load_50 | 52 | 0.005721 | 0.0014338 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5249-9_0_4_load_51 | 53 | 0.0010498 | 0.00026311 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5249-9_0_4_load_52 | 54 | 0.0037949 | 0.00095109 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5249-9_0_4_load_53 | 55 | 0.0045797 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5249-9_0_4_load_54 | 56 | 0.0029814 | 0.00074722 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5249-9_0_4_load_67 | 57 | 0.0021828 | 0.00054706 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5249-9_0_4_load_55 | 58 | 0.0038894 | 0.00097478 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5249-9_0_4_load_57 | 59 | 0.0007265 | 0.00018208 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5249-9_0_4_load_56 | 60 | 0.00061118 | 0.00015318 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5249-9_0_4_load_58 | 61 | 0.0093351 | 0.0023396 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5249-9_0_4_load_62 | 62 | 0.0013772 | 0.00034517 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5249-9_0_4_load_59 | 63 | 0.0056498 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5249-9_0_4_load_61 | 64 | 0.0066556 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5249-9_0_4_line_0 |  | 0 | 1 | 0.0028354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5249-9_0_4_line_1 |  | 0 | 2 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5249-9_0_4_line_2 |  | 2 | 3 | 0.005656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5249-9_0_4_line_3 |  | 3 | 4 | 0.039711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5249-9_0_4_line_4 |  | 3 | 5 | 0.033532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5249-9_0_4_line_5 |  | 4 | 6 | 0.020562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5249-9_0_4_line_6 |  | 4 | 7 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5249-9_0_4_line_7 |  | 5 | 8 | 0.026543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5249-9_0_4_line_8 |  | 6 | 9 | 0.058946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5249-9_0_4_line_9 |  | 6 | 10 | 0.031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5249-9_0_4_line_10 |  | 7 | 11 | 0.025095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5249-9_0_4_line_11 |  | 9 | 12 | 0.074469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5249-9_0_4_line_12 |  | 9 | 13 | 0.15405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5249-9_0_4_line_13 |  | 12 | 14 | 0.059825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5249-9_0_4_line_14 |  | 14 | 18 | 0.022917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5249-9_0_4_line_15 |  | 14 | 15 | 0.028007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5249-9_0_4_line_16 |  | 15 | 16 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5249-9_0_4_line_17 |  | 16 | 17 | 0.022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5249-9_0_4_line_18 |  | 17 | 19 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5249-9_0_4_line_19 |  | 18 | 20 | 0.03456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5249-9_0_4_line_20 |  | 18 | 21 | 0.085641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5249-9_0_4_line_21 |  | 19 | 22 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5249-9_0_4_line_22 |  | 20 | 23 | 0.036812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5249-9_0_4_line_23 |  | 21 | 24 | 0.027618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5249-9_0_4_line_24 |  | 22 | 25 | 0.0091036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5249-9_0_4_line_25 |  | 23 | 31 | 0.026321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5249-9_0_4_line_26 |  | 25 | 26 | 0.005745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5249-9_0_4_line_27 |  | 26 | 27 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5249-9_0_4_line_28 |  | 26 | 28 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5249-9_0_4_line_29 |  | 27 | 29 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5249-9_0_4_line_30 |  | 29 | 30 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5249-9_0_4_line_31 |  | 30 | 33 | 0.073171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5249-9_0_4_line_32 |  | 31 | 32 | 0.03255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5249-9_0_4_line_33 |  | 32 | 34 | 0.0078642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5249-9_0_4_line_34 |  | 32 | 35 | 0.065906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5249-9_0_4_line_35 |  | 34 | 36 | 0.004513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5249-9_0_4_line_36 |  | 36 | 37 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5249-9_0_4_line_37 |  | 37 | 46 | 0.003516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5249-9_0_4_line_38 |  | 37 | 47 | 0.015644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5249-9_0_4_line_39 |  | 38 | 39 | 0.0081614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5249-9_0_4_line_40 |  | 38 | 40 | 0.0042093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5249-9_0_4_line_41 |  | 39 | 41 | 0.0083213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5249-9_0_4_line_42 |  | 41 | 42 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5249-9_0_4_line_43 |  | 41 | 43 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5249-9_0_4_line_44 |  | 42 | 44 | 0.004539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5249-9_0_4_line_45 |  | 43 | 45 | 0.00010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5249-9_0_4_line_46 |  | 44 | 50 | 0.0074819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5249-9_0_4_line_47 |  | 45 | 46 | 0.030504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5249-9_0_4_line_48 |  | 47 | 48 | 7.7183e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5249-9_0_4_line_49 |  | 48 | 49 | 0.034476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5249-9_0_4_line_50 |  | 50 | 51 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5249-9_0_4_line_51 |  | 51 | 52 | 0.0044107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5249-9_0_4_line_52 |  | 52 | 53 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5249-9_0_4_line_53 |  | 53 | 54 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5249-9_0_4_line_54 |  | 54 | 55 | 0.02615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5249-9_0_4_line_55 |  | 55 | 56 | 0.0035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5249-9_0_4_line_56 |  | 55 | 57 | 0.10667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5249-9_0_4_line_57 |  | 56 | 58 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5249-9_0_4_line_58 |  | 58 | 59 | 0.14106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5249-9_0_4_line_59 |  | 59 | 60 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5249-9_0_4_line_60 |  | 60 | 61 | 0.0019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5249-9_0_4_line_61 |  | 60 | 62 | 0.18646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5249-9_0_4_line_62 |  | 61 | 63 | 0.095647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5249-9_0_4_line_63 |  | 62 | 64 | 0.0063006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5249-9_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 65 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2721680.1849 | 1079168.0485 | 2721681.0726 | 1079170.7413
1 | 2721669.5758 | 1079135.8673 | 2721680.1849 | 1079168.0485
2 | 2721669.5758 | 1079135.8673 | 2721664.6181 | 1079138.6148
3 | 2721635.0892 | 1079165.2559 | 2721664.6181 | 1079138.6148
4 | 2721664.6181 | 1079138.6148 | 2721673.3618 | 1079162.6066 | 2721667.0599 | 1079167.5296
5 | 2721620.617 | 1079179.9 | 2721635.0892 | 1079165.2559
6 | 2721635.0892 | 1079165.2559 | 2721644.5898 | 1079194.1434
7 | 2721667.0599 | 1079167.5296 | 2721662.9668 | 1079170.7272 | 2721665.8914 | 1079183.4059 | 2721674.0686 | 1079181.7788
8 | 2721567.2479 | 1079200.0723 | 2721594.7583 | 1079196.6852 | 2721608.8732 | 1079190.9848 | 2721620.617 | 1079179.9
9 | 2721620.617 | 1079179.9 | 2721630.029 | 1079209.8299
10 | 2721644.5898 | 1079194.1434 | 2721652.43 | 1079217.9824
11 | 2721567.2479 | 1079200.0723 | 2721569.3322 | 1079215.1581 | 2721576.8284 | 1079272.4712 | 2721577.0099 | 1079273.887
12 | 2721567.2479 | 1079200.0723 | 2721413.2507 | 1079204.0175
13 | 2721584.7768 | 1079333.1958 | 2721577.0099 | 1079273.887
14 | 2721584.7768 | 1079333.1958 | 2721587.9494 | 1079355.8924
15 | 2721584.7768 | 1079333.1958 | 2721557.0866 | 1079337.3967
16 | 2721543.7219 | 1079339.4243 | 2721557.0866 | 1079337.3967
17 | 2721543.7219 | 1079339.4243 | 2721521.5824 | 1079342.7831
18 | 2721521.5824 | 1079342.7831 | 2721509.6027 | 1079344.6006
19 | 2721587.9494 | 1079355.8924 | 2721590.5966 | 1079374.8308 | 2721592.7416 | 1079390.1189
20 | 2721587.9494 | 1079355.8924 | 2721673.5324 | 1079359.0381
21 | 2721497.5242 | 1079346.4331 | 2721509.6027 | 1079344.6006
22 | 2721592.7416 | 1079390.1189 | 2721597.8566 | 1079426.5741
23 | 2721673.5324 | 1079359.0381 | 2721700.9762 | 1079355.938
24 | 2721488.5236 | 1079347.7986 | 2721497.5242 | 1079346.4331
25 | 2721597.8566 | 1079426.5741 | 2721601.5139 | 1079452.6401
26 | 2721482.8268 | 1079348.6634 | 2721488.5236 | 1079347.7986
27 | 2721482.8268 | 1079348.6634 | 2721483.8385 | 1079352.0861 | 2721486.1242 | 1079359.8038
28 | 2721482.8268 | 1079348.6634 | 2721466.6076 | 1079350.4304 | 2721463.7091 | 1079352.0011
29 | 2721486.1242 | 1079359.8038 | 2721494.2199 | 1079387.1457
30 | 2721494.2199 | 1079387.1457 | 2721497.5235 | 1079398.3032 | 2721501.0695 | 1079410.2782
31 | 2721533.5659 | 1079471.1409 | 2721516.1582 | 1079461.2312 | 2721514.1273 | 1079454.3746 | 2721501.0695 | 1079410.2782
32 | 2721606.1068 | 1079484.8641 | 2721605.0572 | 1079477.8937 | 2721601.5139 | 1079452.6401
33 | 2721606.1068 | 1079484.8641 | 2721607.4322 | 1079491.2507 | 2721608.0134 | 1079492.4598
34 | 2721606.1068 | 1079484.8641 | 2721663.9105 | 1079471.6634 | 2721670.4429 | 1079470.6266
35 | 2721609.9685 | 1079496.5273 | 2721608.0134 | 1079492.4598
36 | 2721608.8863 | 1079513.7626 | 2721616.2638 | 1079502.257 | 2721612.8018 | 1079499.7639 | 2721609.9685 | 1079496.5273
37 | 2721608.8863 | 1079513.7626 | 2721606.6234 | 1079516.4537
38 | 2721608.8863 | 1079513.7626 | 2721624.4324 | 1079515.5081
39 | 2721555.5632 | 1079532.7577 | 2721563.7114 | 1079533.2229
40 | 2721551.3608 | 1079532.5178 | 2721555.5632 | 1079532.7577
41 | 2721572.0192 | 1079533.6972 | 2721563.7114 | 1079533.2229
42 | 2721572.0192 | 1079533.6972 | 2721572.1199 | 1079537.2129 | 2721572.3607 | 1079545.6925
43 | 2721572.0192 | 1079533.6972 | 2721582.5529 | 1079532.3422
44 | 2721572.4895 | 1079550.2296 | 2721572.4895 | 1079550.2296 | 2721572.3607 | 1079545.6925
45 | 2721582.66 | 1079532.3284 | 2721582.5529 | 1079532.3422
46 | 2721572.4895 | 1079550.2296 | 2721568.8507 | 1079556.7671
47 | 2721582.66 | 1079532.3284 | 2721588.182 | 1079531.6181 | 2721595.222 | 1079530.0129 | 2721606.6234 | 1079516.4537
48 | 2721624.4401 | 1079515.5089 | 2721624.4324 | 1079515.5081
49 | 2721657.7991 | 1079522.928 | 2721645.1423 | 1079517.8333 | 2721624.4401 | 1079515.5089
50 | 2721568.8507 | 1079556.7671 | 2721567.856 | 1079558.5544 | 2721560.4515 | 1079565.9676 | 2721559.2296 | 1079566.701
51 | 2721559.2296 | 1079566.701 | 2721555.4478 | 1079568.9707
52 | 2721555.4478 | 1079568.9707 | 2721550.6615 | 1079571.8433 | 2721541.4888 | 1079577.3411
53 | 2721531.5492 | 1079583.6642 | 2721540.2663 | 1079578.0739 | 2721541.4888 | 1079577.3411
54 | 2721531.5492 | 1079583.6642 | 2721509.5365 | 1079597.781
55 | 2721509.5365 | 1079597.781 | 2721506.5746 | 1079599.6805
56 | 2721509.5365 | 1079597.781 | 2721567.7522 | 1079687.1673
57 | 2721489.5916 | 1079611.8893 | 2721491.9056 | 1079609.0878 | 2721506.5746 | 1079599.6805
58 | 2721489.5916 | 1079611.8893 | 2721385.771 | 1079707.3846
59 | 2721361.6014 | 1079710.2213 | 2721376.9956 | 1079708.6817 | 2721385.771 | 1079707.3846
60 | 2721359.6593 | 1079710.4156 | 2721361.6014 | 1079710.2213
61 | 2721361.6014 | 1079710.2213 | 2721391.4106 | 1079894.281
62 | 2721359.6593 | 1079710.4156 | 2721276.7701 | 1079662.6903
63 | 2721395.3508 | 1079899.1976 | 2721391.4106 | 1079894.281

## bus_geodata
| x | y | coords
0 | 2721680.1849 | 1079168.0485
1 | 2721681.0726 | 1079170.7413
2 | 2721669.5758 | 1079135.8673
3 | 2721664.6181 | 1079138.6148
4 | 2721635.0892 | 1079165.2559
5 | 2721667.0599 | 1079167.5296
6 | 2721620.617 | 1079179.9
7 | 2721644.5898 | 1079194.1434
8 | 2721674.0686 | 1079181.7788
9 | 2721567.2479 | 1079200.0723
10 | 2721630.029 | 1079209.8299
11 | 2721652.43 | 1079217.9824
12 | 2721577.0099 | 1079273.887
13 | 2721413.2507 | 1079204.0175
14 | 2721584.7768 | 1079333.1958
15 | 2721557.0866 | 1079337.3967
16 | 2721543.7219 | 1079339.4243
17 | 2721521.5824 | 1079342.7831
18 | 2721587.9494 | 1079355.8924
19 | 2721509.6027 | 1079344.6006
20 | 2721592.7416 | 1079390.1189
21 | 2721673.5324 | 1079359.0381
22 | 2721497.5242 | 1079346.4331
23 | 2721597.8566 | 1079426.5741
24 | 2721700.9762 | 1079355.938
25 | 2721488.5236 | 1079347.7986
26 | 2721482.8268 | 1079348.6634
27 | 2721486.1242 | 1079359.8038
28 | 2721463.7091 | 1079352.0011
29 | 2721494.2199 | 1079387.1457
30 | 2721501.0695 | 1079410.2782
31 | 2721601.5139 | 1079452.6401
32 | 2721606.1068 | 1079484.8641
33 | 2721533.5659 | 1079471.1409
34 | 2721608.0134 | 1079492.4598
35 | 2721670.4429 | 1079470.6266
36 | 2721609.9685 | 1079496.5273
37 | 2721608.8863 | 1079513.7626
38 | 2721555.5632 | 1079532.7577
39 | 2721563.7114 | 1079533.2229
40 | 2721551.3608 | 1079532.5178
41 | 2721572.0192 | 1079533.6972
42 | 2721572.3606 | 1079545.6925
43 | 2721582.5529 | 1079532.3422
44 | 2721572.4895 | 1079550.2296
45 | 2721582.66 | 1079532.3284
46 | 2721606.6234 | 1079516.4537
47 | 2721624.4324 | 1079515.5081
48 | 2721624.4401 | 1079515.5089
49 | 2721657.7991 | 1079522.928
50 | 2721568.8507 | 1079556.7671
51 | 2721559.2296 | 1079566.701
52 | 2721555.4478 | 1079568.9707
53 | 2721541.4888 | 1079577.3411
54 | 2721531.5492 | 1079583.6642
55 | 2721509.5365 | 1079597.781
56 | 2721506.5746 | 1079599.6805
57 | 2721567.7522 | 1079687.1673
58 | 2721489.5916 | 1079611.8893
59 | 2721385.771 | 1079707.3846
60 | 2721361.6014 | 1079710.2213
61 | 2721359.6593 | 1079710.4156
62 | 2721391.4106 | 1079894.281
63 | 2721276.7701 | 1079662.6903
64 | 2721395.3508 | 1079899.1976
65 | 2721486.1242 | 1079359.8038

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1