## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5250-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5250-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5250-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5250-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5250-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5250-14_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5250-14_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_5250-14_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5250-14_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5250-14_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5250-14_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5250-14_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5250-14_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5250-14_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5250-14_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5250-14_0_5_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5250-14_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5250-14_0_5_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_5250-14_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5250-14_0_5_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_5250-14_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5250-14_0_5_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_5250-14_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5250-14_0_5_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_5250-14_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5250-14_0_5_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_5250-14_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5250-14_0_5_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_5250-14_0_5_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_5250-14_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5250-14_0_5_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_5250-14_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5250-14_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5250-14_0_5_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_5250-14_0_5_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_5250-14_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_5250-14_0_5_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_5250-14_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_5250-14_0_5_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_5250-14_0_5_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_5250-14_0_5_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_5250-14_0_5_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_5250-14_0_5_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_5250-14_0_5_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_5250-14_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_5250-14_0_5_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_5250-14_0_5_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_5250-14_0_5_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_5250-14_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5250-14_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5250-14_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_5250-14_0_5_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_5250-14_0_5_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_5250-14_0_5_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_5250-14_0_5_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_5250-14_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5250-14_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_5250-14_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5250-14_0_5_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_5250-14_0_5_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_5250-14_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5250-14_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_5250-14_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_5250-14_0_5_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_5250-14_0_5_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_5250-14_0_5_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_5250-14_0_5_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_5250-14_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5250-14_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5250-14_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5250-14_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_5250-14_0_5_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_5250-14_0_5_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_5250-14_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5250-14_0_5_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_5250-14_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_5250-14_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_5250-14_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5250-14_0_5_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_5250-14_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5250-14_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5250-14_0_5_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_5250-14_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5250-14_0_5_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_5250-14_0_5_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_5250-14_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_5250-14_0_5_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_5250-14_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_5250-14_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_5250-14_0_5_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5250-14_0_5_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_5250-14_0_5_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_5250-14_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5250-14_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_5250-14_0_5_node_99 | 0.4 | n |  | TRUE
95 | bus_MV_258_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5250-14_0_5_load_0 | 0 | 0.0035662 | 0.00089377 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5250-14_0_5_load_1 | 1 | 0.0026132 | 0.00065493 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5250-14_0_5_load_3 | 3 | 0.0017733 | 0.00044444 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5250-14_0_5_load_5 | 5 | 0.0018115 | 0.00045401 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5250-14_0_5_load_24 | 6 | 0.0064319 | 0.001612 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5250-14_0_5_load_26 | 7 | 0.0071742 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5250-14_0_5_load_6 | 8 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5250-14_0_5_load_22 | 9 | 0.0047904 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5250-14_0_5_load_27 | 10 | 0.0060346 | 0.0015124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5250-14_0_5_load_7 | 11 | 0.020677 | 0.0051821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5250-14_0_5_load_69 | 15 | 0.026155 | 0.006555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5250-14_0_5_load_82 | 19 | 0.0003049 | 7.6416e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5250-14_0_5_load_97 | 23 | 0.023453 | 0.005878 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5250-14_0_5_load_87 | 25 | 0.014619 | 0.0036639 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5250-14_0_5_load_77 | 27 | 0.0057286 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5250-14_0_5_load_76 | 28 | 0.0057313 | 0.0014364 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5250-14_0_5_load_85 | 30 | 0.0031032 | 0.00077773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5250-14_0_5_load_84 | 33 | 0.0023743 | 0.00059505 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5250-14_0_5_load_48 | 34 | 0.01999 | 0.0050099 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5250-14_0_5_load_46 | 35 | 0.016642 | 0.0041708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5250-14_0_5_load_54 | 36 | 0.015607 | 0.0039115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5250-14_0_5_load_61 | 37 | 0.0065499 | 0.0016415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5250-14_0_5_load_60 | 38 | 0.044241 | 0.011088 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5250-14_0_5_load_75 | 39 | 0.0012472 | 0.00031258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5250-14_0_5_load_74 | 40 | 0.0040435 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5250-14_0_5_load_67 | 41 | 0.013926 | 0.0034901 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5250-14_0_5_load_92 | 43 | 0.023461 | 0.0058798 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5250-14_0_5_load_80 | 44 | 0.00023943 | 6.0006e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5250-14_0_5_load_98 | 45 | 0.0044782 | 0.0011223 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5250-14_0_5_load_86 | 46 | 0.018038 | 0.0045208 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5250-14_0_5_load_81 | 47 | 0.00042386 | 0.00010623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5250-14_0_5_load_49 | 48 | 0.0068892 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5250-14_0_5_load_55 | 50 | 0.0098426 | 0.0024668 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5250-14_0_5_load_101 | 52 | 0.0029608 | 0.00074205 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5250-14_0_5_load_23 | 53 | 0.0049574 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5250-14_0_5_load_32 | 55 | 0.0053328 | 0.0013365 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5250-14_0_5_load_29 | 56 | 0.0045586 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5250-14_0_5_load_38 | 57 | 0.0055025 | 0.0013791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5250-14_0_5_load_30 | 58 | 0.0036796 | 0.00092218 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5250-14_0_5_load_28 | 59 | 0.0056816 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5250-14_0_5_load_33 | 60 | 0.0057286 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5250-14_0_5_load_31 | 61 | 0.0039411 | 0.00098773 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5250-14_0_5_load_34 | 62 | 0.0048665 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5250-14_0_5_load_39 | 64 | 0.0010633 | 0.0002665 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5250-14_0_5_load_103 | 66 | 0.0062513 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5250-14_0_5_load_57 | 69 | 0.0029642 | 0.00074289 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5250-14_0_5_load_40 | 70 | 0.0056271 | 0.0014103 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5250-14_0_5_load_41 | 71 | 0.0020167 | 0.00050544 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5250-14_0_5_load_42 | 72 | 0.0043766 | 0.0010969 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5250-14_0_5_load_47 | 73 | 0.00033154 | 8.3091e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5250-14_0_5_load_43 | 74 | 0.0047399 | 0.0011879 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5250-14_0_5_load_44 | 75 | 0.011616 | 0.0029113 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5250-14_0_5_load_50 | 76 | 0.022728 | 0.0056963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5250-14_0_5_load_63 | 77 | 0.0052162 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5250-14_0_5_load_58 | 78 | 0.02098 | 0.0052581 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5250-14_0_5_load_73 | 79 | 0.0048281 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5250-14_0_5_load_70 | 80 | 0.0061858 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5250-14_0_5_load_56 | 81 | 0.03116 | 0.0078095 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5250-14_0_5_load_72 | 82 | 0.011635 | 0.002916 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5250-14_0_5_load_62 | 83 | 0.0077426 | 0.0019405 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5250-14_0_5_load_64 | 84 | 0.0063529 | 0.0015922 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5250-14_0_5_load_71 | 85 | 0.014601 | 0.0036593 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5250-14_0_5_load_66 | 86 | 0.0093083 | 0.0023329 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5250-14_0_5_load_68 | 87 | 0.0062073 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5250-14_0_5_load_78 | 88 | 0.00052353 | 0.00013121 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5250-14_0_5_load_79 | 89 | 0.00025802 | 6.4666e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5250-14_0_5_load_100 | 90 | 0.0045729 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5250-14_0_5_load_88 | 92 | 0.0079377 | 0.0019894 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5250-14_0_5_load_89 | 93 | 0.00092616 | 0.00023212 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5250-14_0_5_load_99 | 94 | 0.037159 | 0.009313 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5250-14_0_5_line_0 |  | 0 | 1 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5250-14_0_5_line_1 |  | 0 | 2 | 0.038244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5250-14_0_5_line_2 |  | 1 | 3 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5250-14_0_5_line_3 |  | 2 | 4 | 0.13698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5250-14_0_5_line_4 |  | 3 | 5 | 0.01369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5250-14_0_5_line_5 |  | 4 | 6 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5250-14_0_5_line_6 |  | 4 | 7 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5250-14_0_5_line_7 |  | 5 | 8 | 0.06646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5250-14_0_5_line_8 |  | 6 | 9 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5250-14_0_5_line_9 |  | 7 | 10 | 0.030596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5250-14_0_5_line_10 |  | 9 | 53 | 0.0078957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5250-14_0_5_line_11 |  | 10 | 59 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5250-14_0_5_line_12 |  | 11 | 12 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5250-14_0_5_line_13 |  | 12 | 13 | 0.023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5250-14_0_5_line_14 |  | 13 | 14 | 0.027557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5250-14_0_5_line_15 |  | 13 | 15 | 0.019444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5250-14_0_5_line_16 |  | 14 | 26 | 0.030302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5250-14_0_5_line_17 |  | 14 | 27 | 0.019407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5250-14_0_5_line_18 |  | 15 | 41 | 0.019532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5250-14_0_5_line_19 |  | 16 | 17 | 0.025582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5250-14_0_5_line_20 |  | 16 | 18 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5250-14_0_5_line_21 |  | 16 | 19 | 0.03023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5250-14_0_5_line_22 |  | 17 | 42 | 0.008884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5250-14_0_5_line_23 |  | 17 | 43 | 0.0027329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5250-14_0_5_line_24 |  | 18 | 24 | 0.035947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5250-14_0_5_line_25 |  | 18 | 25 | 0.016756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5250-14_0_5_line_26 |  | 19 | 44 | 0.0086161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5250-14_0_5_line_27 |  | 20 | 21 | 0.005931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5250-14_0_5_line_28 |  | 20 | 22 | 0.03344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5250-14_0_5_line_29 |  | 20 | 23 | 0.0057668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5250-14_0_5_line_30 |  | 21 | 45 | 0.003026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5250-14_0_5_line_31 |  | 22 | 27 | 0.0046085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5250-14_0_5_line_32 |  | 22 | 28 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5250-14_0_5_line_33 |  | 24 | 37 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5250-14_0_5_line_34 |  | 24 | 38 | 0.01831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5250-14_0_5_line_35 |  | 25 | 46 | 0.0066501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5250-14_0_5_line_36 |  | 26 | 39 | 0.0096106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5250-14_0_5_line_37 |  | 26 | 40 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5250-14_0_5_line_38 |  | 29 | 30 | 0.007926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5250-14_0_5_line_39 |  | 29 | 31 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5250-14_0_5_line_40 |  | 29 | 32 | 0.0774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5250-14_0_5_line_41 |  | 29 | 33 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5250-14_0_5_line_42 |  | 31 | 34 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5250-14_0_5_line_43 |  | 31 | 35 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5250-14_0_5_line_44 |  | 32 | 36 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5250-14_0_5_line_45 |  | 33 | 47 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5250-14_0_5_line_46 |  | 34 | 48 | 0.0044074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5250-14_0_5_line_47 |  | 35 | 49 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5250-14_0_5_line_48 |  | 36 | 50 | 0.019443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5250-14_0_5_line_49 |  | 37 | 51 | 0.011605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5250-14_0_5_line_50 |  | 39 | 52 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5250-14_0_5_line_51 |  | 41 | 86 | 0.0031289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5250-14_0_5_line_52 |  | 42 | 90 | 0.0026156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5250-14_0_5_line_53 |  | 43 | 91 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5250-14_0_5_line_54 |  | 44 | 88 | 0.0090948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5250-14_0_5_line_55 |  | 45 | 94 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5250-14_0_5_line_56 |  | 46 | 92 | 0.0026419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5250-14_0_5_line_57 |  | 47 | 89 | 0.0057182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5250-14_0_5_line_58 |  | 48 | 76 | 0.028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5250-14_0_5_line_59 |  | 49 | 73 | 0.0059445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5250-14_0_5_line_60 |  | 49 | 75 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5250-14_0_5_line_61 |  | 50 | 81 | 0.004161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5250-14_0_5_line_62 |  | 51 | 82 | 0.012711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5250-14_0_5_line_63 |  | 51 | 68 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5250-14_0_5_line_64 |  | 53 | 54 | 0.0050575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5250-14_0_5_line_65 |  | 54 | 55 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5250-14_0_5_line_66 |  | 54 | 56 | 0.035894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5250-14_0_5_line_67 |  | 55 | 57 | 0.00028823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5250-14_0_5_line_68 |  | 56 | 58 | 0.021828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5250-14_0_5_line_69 |  | 57 | 64 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5250-14_0_5_line_70 |  | 58 | 61 | 0.0040513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5250-14_0_5_line_71 |  | 59 | 60 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5250-14_0_5_line_72 |  | 61 | 62 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5250-14_0_5_line_73 |  | 62 | 63 | 0.058357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5250-14_0_5_line_74 |  | 63 | 65 | 0.029323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5250-14_0_5_line_75 |  | 64 | 70 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5250-14_0_5_line_76 |  | 64 | 71 | 0.0065785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5250-14_0_5_line_77 |  | 65 | 66 | 0.053367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5250-14_0_5_line_78 |  | 67 | 68 | 0.000858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5250-14_0_5_line_79 |  | 67 | 69 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5250-14_0_5_line_80 |  | 68 | 77 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5250-14_0_5_line_81 |  | 69 | 78 | 0.0061434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5250-14_0_5_line_82 |  | 70 | 72 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5250-14_0_5_line_83 |  | 71 | 73 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5250-14_0_5_line_84 |  | 72 | 74 | 0.0053932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5250-14_0_5_line_85 |  | 77 | 83 | 0.0090287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5250-14_0_5_line_86 |  | 79 | 80 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5250-14_0_5_line_87 |  | 80 | 87 | 0.0040012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5250-14_0_5_line_88 |  | 82 | 85 | 0.006291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5250-14_0_5_line_89 |  | 83 | 84 | 0.0024359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5250-14_0_5_line_90 |  | 86 | 87 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5250-14_0_5_line_91 |  | 88 | 89 | 0.0016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_5250-14_0_5_line_92 |  | 90 | 94 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_5250-14_0_5_line_93 |  | 91 | 93 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5250-14_0_5_trafo_60 | 0.63 MVA 20/0.4 kV | 95 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2723100.2416 | 1077140.0147 | 2723078.2201 | 1077148.9807
1 | 2723135.6626 | 1077125.593 | 2723100.2416 | 1077140.0147
2 | 2723078.2201 | 1077148.9807 | 2723076.2353 | 1077149.7889 | 2723069.1676 | 1077153.7411
3 | 2723115.9201 | 1077069.4423 | 2723126.4738 | 1077066.8202 | 2723131.1834 | 1077066.0814 | 2723134.6317 | 1077065.8286 | 2723137.2593 | 1077065.8038 | 2723142.4937 | 1077066.0208 | 2723161.6696 | 1077067.1199 | 2723163.8001 | 1077067.4632 | 2723166.0846 | 1077068.2655 | 2723167.8693 | 1077069.18 | 2723170.0569 | 1077070.5474 | 2723171.749 | 1077071.8158 | 2723173.6133 | 1077073.4102 | 2723175.2837 | 1077075.3676 | 2723176.2111 | 1077077.1654 | 2723176.9492 | 1077079.1039 | 2723177.2193 | 1077081.122 | 2723177.2622 | 1077082.8463 | 2723176.8502 | 1077085.54 | 2723175.3811 | 1077089.3909 | 2723166.8112 | 1077105.3851 | 2723165.0294 | 1077110.475 | 2723162.5212 | 1077118.0521 | 2723159.9436 | 1077117.9111 | 2723157.6279 | 1077117.8865 | 2723155.3237 | 1077118.0623 | 2723152.8545 | 1077118.7129 | 2723147.8335 | 1077120.6352 | 2723135.6626 | 1077125.593
4 | 2723069.1676 | 1077153.7411 | 2723057.2192 | 1077160.4226
5 | 2723115.9201 | 1077069.4423 | 2723107.7569 | 1077071.4679 | 2723089.3278 | 1077075.4269
6 | 2723115.9201 | 1077069.4423 | 2723110.4083 | 1077051.059
7 | 2723057.2192 | 1077160.4226 | 2722999.2124 | 1077192.8598
8 | 2723077.7931 | 1077077.9047 | 2723089.3278 | 1077075.4269
9 | 2723110.4083 | 1077051.059 | 2723101.6211 | 1077021.7521
10 | 2723077.7931 | 1077077.9047 | 2723073.4556 | 1077078.8365 | 2723070.0725 | 1077079.5586
11 | 2723096.4918 | 1077004.6446 | 2723101.6211 | 1077021.7521
12 | 2722804.2108 | 1077134.9943 | 2722800.4192 | 1077123.6609
13 | 2722804.2108 | 1077134.9943 | 2722813.9732 | 1077133.0562 | 2722823.8761 | 1077131.0875 | 2722827.3722 | 1077130.3908
14 | 2722827.3722 | 1077130.3908 | 2722823.8761 | 1077131.0875 | 2722825.2193 | 1077135.0174 | 2722819.7244 | 1077136.1632 | 2722805.7926 | 1077139.0402
15 | 2722827.3722 | 1077130.3908 | 2722821.1189 | 1077111.9799
16 | 2722776.0324 | 1077145.19 | 2722805.7926 | 1077139.0402
17 | 2722805.7926 | 1077139.0402 | 2722812.0837 | 1077157.3992
18 | 2722821.1189 | 1077111.9799 | 2722814.8372 | 1077093.4853
19 | 2722878.214 | 1077149.9403 | 2722877.4418 | 1077147.7676 | 2722870.0522 | 1077125.6915
20 | 2722860.2294 | 1077119.4446 | 2722861.8452 | 1077123.3467 | 2722868.7917 | 1077121.9078 | 2722870.0522 | 1077125.6915
21 | 2722870.0522 | 1077125.6915 | 2722899.6481 | 1077119.5339
22 | 2722869.7998 | 1077152.8618 | 2722878.214 | 1077149.9403
23 | 2722878.214 | 1077149.9403 | 2722880.797 | 1077149.0473
24 | 2722895.5316 | 1077112.1395 | 2722860.2294 | 1077119.4446
25 | 2722860.2294 | 1077119.4446 | 2722853.7965 | 1077103.9723
26 | 2722899.6481 | 1077119.5339 | 2722908.0835 | 1077117.7788
27 | 2722844.5573 | 1077161.6152 | 2722838.9375 | 1077163.559
28 | 2722838.9375 | 1077163.559 | 2722834.531 | 1077150.4273 | 2722816.0054 | 1077156.7922
29 | 2722838.9375 | 1077163.559 | 2722833.4898 | 1077165.4506
30 | 2722844.5573 | 1077161.6152 | 2722847.4163 | 1077160.6239
31 | 2722816.0054 | 1077156.7922 | 2722812.3112 | 1077158.0632 | 2722812.0837 | 1077157.3992
32 | 2722816.0054 | 1077156.7922 | 2722819.6141 | 1077167.0136
33 | 2722895.5316 | 1077112.1395 | 2722888.1822 | 1077089.3089
34 | 2722895.5316 | 1077112.1395 | 2722913.4604 | 1077108.4249
35 | 2722851.2435 | 1077097.8317 | 2722853.7965 | 1077103.9723
36 | 2722776.0324 | 1077145.19 | 2722779.1 | 1077154.2978
37 | 2722776.0324 | 1077145.19 | 2722772.0988 | 1077146.0003 | 2722750.4846 | 1077151.4712
38 | 2722967.6254 | 1077105.3878 | 2722959.8435 | 1077107.0098
39 | 2722970.9583 | 1077100.8405 | 2722958.9786 | 1077103.2674 | 2722959.5572 | 1077105.7921 | 2722959.8435 | 1077107.0098
40 | 2722920.7978 | 1077059.4547 | 2722935.5405 | 1077103.8509 | 2722936.867 | 1077107.8361 | 2722958.9786 | 1077103.2674 | 2722959.5572 | 1077105.7921 | 2722959.8435 | 1077107.0098
41 | 2722959.8435 | 1077107.0098 | 2722943.0461 | 1077110.5046
42 | 2722970.9583 | 1077100.8405 | 2722962.9331 | 1077074.8854
43 | 2722970.9583 | 1077100.8405 | 2722985.0272 | 1077097.8216
44 | 2722920.7978 | 1077059.4547 | 2722919.0171 | 1077057.951 | 2722915.5206 | 1077048.0942
45 | 2722943.0461 | 1077110.5046 | 2722924.2081 | 1077114.424
46 | 2722961.6312 | 1077070.6747 | 2722962.9331 | 1077074.8854
47 | 2723004.018 | 1077093.7465 | 2722985.0272 | 1077097.8216
48 | 2722915.5206 | 1077048.0942 | 2722909.0204 | 1077029.7697
49 | 2722884.626 | 1077078.2617 | 2722888.1822 | 1077089.3089
50 | 2722782.5865 | 1077164.6494 | 2722779.1 | 1077154.2978
51 | 2722813.8309 | 1077090.5226 | 2722814.8372 | 1077093.4853
52 | 2722869.7998 | 1077152.8618 | 2722867.3286 | 1077153.7188
53 | 2722881.3904 | 1077164.7151 | 2722880.4504 | 1077161.9942 | 2722884.7868 | 1077160.4804 | 2722880.797 | 1077149.0473
54 | 2722916.9876 | 1077115.9263 | 2722908.0835 | 1077117.7788
55 | 2722857.1042 | 1077157.2648 | 2722847.4163 | 1077160.6239
56 | 2722850.2292 | 1077095.3923 | 2722851.2435 | 1077097.8317
57 | 2722924.2081 | 1077114.424 | 2722918.6098 | 1077115.5888
58 | 2722961.6312 | 1077070.6747 | 2722953.2374 | 1077043.5278
59 | 2723004.018 | 1077093.7465 | 2723009.8299 | 1077092.4975
60 | 2723004.018 | 1077093.7465 | 2723003.2693 | 1077087.3267 | 2723002.4972 | 1077080.7514
61 | 2722909.0204 | 1077029.7697 | 2722907.6293 | 1077025.8481
62 | 2722884.626 | 1077078.2617 | 2722872.4591 | 1077081.9419
63 | 2722877.2601 | 1077055.3966 | 2722884.626 | 1077078.2617
64 | 2723065.1264 | 1077080.6142 | 2723070.0725 | 1077079.5586
65 | 2723065.1264 | 1077080.6142 | 2723047.5526 | 1077084.3907
66 | 2723065.1264 | 1077080.6142 | 2723051.5662 | 1077047.3803
67 | 2723047.2708 | 1077084.4513 | 2723047.5526 | 1077084.3907
68 | 2723051.5662 | 1077047.3803 | 2723043.3199 | 1077027.1698
69 | 2723027.4293 | 1077088.7151 | 2723047.2708 | 1077084.4513
70 | 2723041.7894 | 1077023.4187 | 2723043.3199 | 1077027.1698
71 | 2723096.4918 | 1077004.6446 | 2723091.2828 | 1076987.2716
72 | 2723035.055 | 1077006.9138 | 2723041.7894 | 1077023.4187
73 | 2723013.0095 | 1076952.8806 | 2723031.0732 | 1076997.1551 | 2723035.055 | 1077006.9138
74 | 2722983.9217 | 1076956.8524 | 2723002.8059 | 1076953.5531 | 2723005.8461 | 1076953.1141 | 2723008.9817 | 1076952.955 | 2723013.0095 | 1076952.8806
75 | 2723027.4293 | 1077088.7151 | 2723026.7389 | 1077084.0311 | 2723025.9098 | 1077078.4246
76 | 2723027.4293 | 1077088.7151 | 2723020.9977 | 1077090.0973
77 | 2722983.9217 | 1076956.8524 | 2723002.859 | 1077006.7597
78 | 2722876.9967 | 1077054.5796 | 2722877.2601 | 1077055.3966
79 | 2722876.9967 | 1077054.5796 | 2722891.5529 | 1077050.4443
80 | 2722877.2601 | 1077055.3966 | 2722852.0543 | 1077066.1633 | 2722847.4357 | 1077067.4045 | 2722845.9036 | 1077067.4515 | 2722844.8763 | 1077067.1305 | 2722844.0022 | 1077066.5347 | 2722844.0022 | 1077066.5347
81 | 2722897.4625 | 1077048.7655 | 2722891.5529 | 1077050.4443
82 | 2723020.0292 | 1077055.7795 | 2723024.0865 | 1077066.0311 | 2723025.0634 | 1077072.7001 | 2723025.9098 | 1077078.4246
83 | 2723020.9977 | 1077090.0973 | 2723009.8299 | 1077092.4975
84 | 2723018.0445 | 1077050.7647 | 2723020.0292 | 1077055.7795
85 | 2722840.3167 | 1077058.3723 | 2722843.1655 | 1077065.6283 | 2722844.0022 | 1077066.5347
86 | 2722800.0453 | 1077050.5355 | 2722804.7005 | 1077063.6411 | 2722805.6964 | 1077066.5733
87 | 2722806.9832 | 1077070.3619 | 2722805.6964 | 1077066.5733
88 | 2722866.4376 | 1077083.7633 | 2722872.4591 | 1077081.9419
89 | 2722840.3167 | 1077058.3723 | 2722839.4265 | 1077056.105
90 | 2722813.8309 | 1077090.5226 | 2722806.9832 | 1077070.3619
91 | 2722916.9876 | 1077115.9263 | 2722918.6098 | 1077115.5888
92 | 2722857.1042 | 1077157.2648 | 2722867.3286 | 1077153.7188
93 | 2722881.3904 | 1077164.7151 | 2722886.0294 | 1077178.2629

## bus_geodata
| x | y | coords
0 | 2723100.2416 | 1077140.0147
1 | 2723078.2201 | 1077148.9807
2 | 2723135.6626 | 1077125.593
3 | 2723069.1676 | 1077153.7411
4 | 2723115.9201 | 1077069.4423
5 | 2723057.2192 | 1077160.4226
6 | 2723089.3278 | 1077075.4269
7 | 2723110.4083 | 1077051.059
8 | 2722999.2124 | 1077192.8598
9 | 2723077.7931 | 1077077.9047
10 | 2723101.6211 | 1077021.7521
11 | 2722800.4192 | 1077123.6609
12 | 2722804.2108 | 1077134.9943
13 | 2722827.3722 | 1077130.3908
14 | 2722805.7926 | 1077139.0402
15 | 2722821.1189 | 1077111.9799
16 | 2722870.0522 | 1077125.6915
17 | 2722878.214 | 1077149.9403
18 | 2722860.2294 | 1077119.4446
19 | 2722899.6481 | 1077119.5339
20 | 2722838.9375 | 1077163.559
21 | 2722844.5573 | 1077161.6152
22 | 2722816.0054 | 1077156.7922
23 | 2722833.4898 | 1077165.4506
24 | 2722895.5316 | 1077112.1395
25 | 2722853.7965 | 1077103.9723
26 | 2722776.0324 | 1077145.19
27 | 2722812.0837 | 1077157.3992
28 | 2722819.6141 | 1077167.0136
29 | 2722959.8435 | 1077107.0098
30 | 2722967.6254 | 1077105.3878
31 | 2722970.9583 | 1077100.8405
32 | 2722920.7978 | 1077059.4547
33 | 2722943.0461 | 1077110.5046
34 | 2722962.9331 | 1077074.8854
35 | 2722985.0272 | 1077097.8216
36 | 2722915.5206 | 1077048.0942
37 | 2722888.1822 | 1077089.3089
38 | 2722913.4604 | 1077108.4249
39 | 2722779.1 | 1077154.2978
40 | 2722750.4846 | 1077151.4712
41 | 2722814.8372 | 1077093.4853
42 | 2722869.7998 | 1077152.8618
43 | 2722880.797 | 1077149.0473
44 | 2722908.0835 | 1077117.7788
45 | 2722847.4163 | 1077160.6239
46 | 2722851.2435 | 1077097.8317
47 | 2722924.2081 | 1077114.424
48 | 2722961.6312 | 1077070.6747
49 | 2723004.018 | 1077093.7465
50 | 2722909.0204 | 1077029.7697
51 | 2722884.626 | 1077078.2617
52 | 2722782.5865 | 1077164.6494
53 | 2723070.0725 | 1077079.5586
54 | 2723065.1264 | 1077080.6142
55 | 2723047.5526 | 1077084.3907
56 | 2723051.5662 | 1077047.3803
57 | 2723047.2708 | 1077084.4513
58 | 2723043.3199 | 1077027.1698
59 | 2723096.4918 | 1077004.6446
60 | 2723091.2828 | 1076987.2716
61 | 2723041.7894 | 1077023.4187
62 | 2723035.055 | 1077006.9138
63 | 2723013.0095 | 1076952.8806
64 | 2723027.4293 | 1077088.7151
65 | 2722983.9217 | 1076956.8524
66 | 2723002.859 | 1077006.7597
67 | 2722876.9967 | 1077054.5796
68 | 2722877.2601 | 1077055.3966
69 | 2722891.5529 | 1077050.4443
70 | 2723025.9098 | 1077078.4246
71 | 2723020.9977 | 1077090.0973
72 | 2723020.0292 | 1077055.7795
73 | 2723009.8299 | 1077092.4975
74 | 2723018.0445 | 1077050.7647
75 | 2723002.4972 | 1077080.7514
76 | 2722953.2374 | 1077043.5278
77 | 2722844.0022 | 1077066.5347
78 | 2722897.4625 | 1077048.7655
79 | 2722800.0453 | 1077050.5355
80 | 2722805.6964 | 1077066.5733
81 | 2722907.6293 | 1077025.8481
82 | 2722872.4591 | 1077081.9419
83 | 2722840.3167 | 1077058.3723
84 | 2722839.4265 | 1077056.105
85 | 2722866.4376 | 1077083.7633
86 | 2722813.8309 | 1077090.5226
87 | 2722806.9832 | 1077070.3619
88 | 2722916.9876 | 1077115.9263
89 | 2722918.6098 | 1077115.5888
90 | 2722867.3286 | 1077153.7188
91 | 2722881.3904 | 1077164.7151
92 | 2722850.2292 | 1077095.3923
93 | 2722886.0294 | 1077178.2629
94 | 2722857.1042 | 1077157.2648
95 | 2722895.5316 | 1077112.1395

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1