## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5250-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5250-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5250-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5250-34_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5250-34_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5250-34_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5250-34_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5250-34_0_5_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5250-34_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5250-34_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5250-34_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5250-34_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5250-34_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5250-34_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5250-34_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5250-34_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5250-34_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5250-34_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5250-34_0_5_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_5250-34_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_5250-34_0_5_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_5250-34_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5250-34_0_5_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_5250-34_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5250-34_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5250-34_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5250-34_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_5250-34_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5250-34_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5250-34_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5250-34_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_5250-34_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5250-34_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5250-34_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5250-34_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5250-34_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5250-34_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5250-34_0_5_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_5250-34_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5250-34_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5250-34_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5250-34_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5250-34_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5250-34_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5250-34_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5250-34_0_5_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_5250-34_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_5250-34_0_5_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_5250-34_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5250-34_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5250-34_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5250-34_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5250-34_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5250-34_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_5250-34_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5250-34_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5250-34_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5250-34_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5250-34_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_5250-34_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_5250-34_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5250-34_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5250-34_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5250-34_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5250-34_0_5_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5250-34_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5250-34_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5250-34_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5250-34_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5250-34_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5250-34_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5250-34_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5250-34_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5250-34_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5250-34_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_MV_258_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5250-34_0_5_load_0 | 0 | 0.013119 | 0.0032879 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5250-34_0_5_load_1 | 1 | 0.014456 | 0.003623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5250-34_0_5_load_2 | 2 | 0.0059156 | 0.0014826 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5250-34_0_5_load_4 | 4 | 0.0092065 | 0.0023074 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5250-34_0_5_load_5 | 6 | 0.007024 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5250-34_0_5_load_11 | 8 | 0.0064034 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5250-34_0_5_load_6 | 9 | 0.008748 | 0.0021924 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5250-34_0_5_load_7 | 10 | 0.0060002 | 0.0015038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5250-34_0_5_load_8 | 11 | 0.0072294 | 0.0018119 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5250-34_0_5_load_9 | 12 | 0.014036 | 0.0035178 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5250-34_0_5_load_10 | 13 | 0.038584 | 0.0096702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5250-34_0_5_load_18 | 14 | 0.015252 | 0.0038226 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5250-34_0_5_load_14 | 15 | 0.01763 | 0.0044185 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5250-34_0_5_load_15 | 16 | 0.010742 | 0.0026923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5250-34_0_5_load_70 | 18 | 0.013031 | 0.0032658 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5250-34_0_5_load_20 | 19 | 0.0089014 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5250-34_0_5_load_74 | 20 | 0.013286 | 0.0033297 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5250-34_0_5_load_19 | 21 | 0.010414 | 0.00261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5250-34_0_5_load_71 | 22 | 0.0059526 | 0.0014919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5250-34_0_5_load_22 | 24 | 0.0070305 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5250-34_0_5_load_23 | 25 | 0.0032308 | 0.00080972 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5250-34_0_5_load_33 | 26 | 0.010973 | 0.0027501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5250-34_0_5_load_32 | 27 | 0.0086852 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5250-34_0_5_load_25 | 28 | 0.014797 | 0.0037086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5250-34_0_5_load_26 | 31 | 0.0056676 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5250-34_0_5_load_27 | 32 | 0.0093103 | 0.0023334 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5250-34_0_5_load_29 | 34 | 0.0039679 | 0.00099445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5250-34_0_5_load_30 | 35 | 0.0058556 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5250-34_0_5_load_31 | 36 | 0.015141 | 0.0037947 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5250-34_0_5_load_73 | 37 | 0.004554 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5250-34_0_5_load_37 | 38 | 0.010323 | 0.0025872 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5250-34_0_5_load_34 | 39 | 0.016483 | 0.0041311 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5250-34_0_5_load_46 | 42 | 0.011656 | 0.0029214 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5250-34_0_5_load_42 | 43 | 0.009534 | 0.0023895 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5250-34_0_5_load_77 | 45 | 0.0027177 | 0.00068112 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5250-34_0_5_load_76 | 46 | 0.01319 | 0.0033058 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5250-34_0_5_load_41 | 48 | 0.020721 | 0.0051932 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5250-34_0_5_load_45 | 49 | 0.013964 | 0.0034996 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5250-34_0_5_load_58 | 52 | 0.0082193 | 0.0020599 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5250-34_0_5_load_55 | 53 | 0.012649 | 0.0031702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5250-34_0_5_load_54 | 54 | 0.0095312 | 0.0023888 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5250-34_0_5_load_47 | 56 | 0.0042519 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5250-34_0_5_load_48 | 57 | 0.0041413 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5250-34_0_5_load_51 | 58 | 0.0078003 | 0.0019549 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5250-34_0_5_load_52 | 59 | 0.022766 | 0.0057057 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5250-34_0_5_load_72 | 61 | 0.0032312 | 0.00080982 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5250-34_0_5_load_63 | 63 | 0.021439 | 0.0053732 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5250-34_0_5_load_61 | 64 | 0.0048439 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5250-34_0_5_load_56 | 65 | 0.012338 | 0.0030921 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5250-34_0_5_load_57 | 66 | 0.013421 | 0.0033637 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5250-34_0_5_load_60 | 68 | 0.0051812 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5250-34_0_5_load_67 | 69 | 0.012431 | 0.0031155 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5250-34_0_5_load_68 | 70 | 0.0077346 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5250-34_0_5_load_64 | 71 | 0.014041 | 0.0035189 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5250-34_0_5_load_65 | 72 | 0.00389 | 0.00097493 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5250-34_0_5_load_69 | 74 | 0.0059561 | 0.0014927 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5250-34_0_5_line_0 |  | 0 | 1 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5250-34_0_5_line_1 |  | 0 | 2 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5250-34_0_5_line_2 |  | 1 | 3 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5250-34_0_5_line_3 |  | 2 | 4 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5250-34_0_5_line_4 |  | 3 | 5 | 0.037045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5250-34_0_5_line_5 |  | 4 | 6 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5250-34_0_5_line_6 |  | 5 | 7 | 0.007167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5250-34_0_5_line_7 |  | 5 | 8 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5250-34_0_5_line_8 |  | 6 | 9 | 0.0087877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5250-34_0_5_line_9 |  | 7 | 14 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5250-34_0_5_line_10 |  | 7 | 15 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5250-34_0_5_line_11 |  | 8 | 12 | 0.0095584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5250-34_0_5_line_12 |  | 9 | 10 | 0.0038003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5250-34_0_5_line_13 |  | 10 | 11 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5250-34_0_5_line_14 |  | 12 | 13 | 0.021005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5250-34_0_5_line_15 |  | 14 | 20 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5250-34_0_5_line_16 |  | 15 | 16 | 0.009407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5250-34_0_5_line_17 |  | 16 | 17 | 0.011348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5250-34_0_5_line_18 |  | 17 | 18 | 0.009643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5250-34_0_5_line_19 |  | 17 | 19 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5250-34_0_5_line_20 |  | 19 | 21 | 0.0064774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5250-34_0_5_line_21 |  | 20 | 22 | 0.00035391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5250-34_0_5_line_22 |  | 21 | 23 | 0.0060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5250-34_0_5_line_23 |  | 22 | 73 | 0.0074343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5250-34_0_5_line_24 |  | 23 | 24 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5250-34_0_5_line_25 |  | 23 | 25 | 0.007861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5250-34_0_5_line_26 |  | 24 | 26 | 0.0074363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5250-34_0_5_line_27 |  | 26 | 27 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5250-34_0_5_line_28 |  | 27 | 36 | 0.00077375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5250-34_0_5_line_29 |  | 28 | 29 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5250-34_0_5_line_30 |  | 29 | 30 | 0.012682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5250-34_0_5_line_31 |  | 30 | 39 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5250-34_0_5_line_32 |  | 31 | 32 | 0.0031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5250-34_0_5_line_33 |  | 31 | 33 | 0.011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5250-34_0_5_line_34 |  | 33 | 34 | 0.0088932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5250-34_0_5_line_35 |  | 33 | 35 | 0.0026923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5250-34_0_5_line_36 |  | 34 | 36 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5250-34_0_5_line_37 |  | 35 | 37 | 0.0083082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5250-34_0_5_line_38 |  | 37 | 38 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5250-34_0_5_line_39 |  | 38 | 40 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5250-34_0_5_line_40 |  | 39 | 40 | 0.012359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5250-34_0_5_line_41 |  | 41 | 42 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5250-34_0_5_line_42 |  | 41 | 43 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5250-34_0_5_line_43 |  | 42 | 47 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5250-34_0_5_line_44 |  | 43 | 48 | 0.024667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5250-34_0_5_line_45 |  | 44 | 45 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5250-34_0_5_line_46 |  | 44 | 46 | 0.030497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5250-34_0_5_line_47 |  | 46 | 49 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5250-34_0_5_line_48 |  | 47 | 55 | 0.013975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5250-34_0_5_line_49 |  | 48 | 50 | 0.0049423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5250-34_0_5_line_50 |  | 49 | 50 | 0.0057909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5250-34_0_5_line_51 |  | 50 | 51 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5250-34_0_5_line_52 |  | 51 | 52 | 0.0059645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5250-34_0_5_line_53 |  | 53 | 54 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5250-34_0_5_line_54 |  | 54 | 65 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5250-34_0_5_line_55 |  | 55 | 58 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5250-34_0_5_line_56 |  | 55 | 57 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5250-34_0_5_line_57 |  | 56 | 57 | 6.4291e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5250-34_0_5_line_58 |  | 58 | 59 | 0.0029207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5250-34_0_5_line_59 |  | 59 | 60 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5250-34_0_5_line_60 |  | 60 | 61 | 0.00984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5250-34_0_5_line_61 |  | 60 | 62 | 0.003795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5250-34_0_5_line_62 |  | 62 | 63 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5250-34_0_5_line_63 |  | 62 | 64 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5250-34_0_5_line_64 |  | 63 | 71 | 0.00042275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5250-34_0_5_line_65 |  | 65 | 66 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5250-34_0_5_line_66 |  | 66 | 67 | 0.032181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5250-34_0_5_line_67 |  | 67 | 68 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5250-34_0_5_line_68 |  | 68 | 69 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5250-34_0_5_line_69 |  | 69 | 70 | 0.0044123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5250-34_0_5_line_70 |  | 70 | 74 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5250-34_0_5_line_71 |  | 71 | 72 | 0.031829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5250-34_0_5_line_72 |  | 72 | 73 | 0.0094831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5250-34_0_5_line_73 |  | 73 | 74 | 0.00046572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5250-34_0_5_trafo_72 | 0.63 MVA 20/0.4 kV | 75 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2723206.946 | 1076923.7163 | 2723203.2966 | 1076912.6246
1 | 2723206.946 | 1076923.7163 | 2723212.7143 | 1076941.2484
2 | 2723196.5757 | 1076892.1972 | 2723203.2966 | 1076912.6246
3 | 2723216.2119 | 1076951.88 | 2723215.3806 | 1076949.3522 | 2723212.7143 | 1076941.2484
4 | 2723161.5138 | 1076904.4535 | 2723196.5757 | 1076892.1972
5 | 2723216.2119 | 1076951.88 | 2723219.4605 | 1076961.7587
6 | 2723154.7638 | 1076906.919 | 2723161.5138 | 1076904.4535
7 | 2723161.5138 | 1076904.4535 | 2723156.079 | 1076890.0848
8 | 2723222.2058 | 1076970.1065 | 2723219.4605 | 1076961.7587
9 | 2723154.7638 | 1076906.919 | 2723141.1446 | 1076911.7466
10 | 2723154.7638 | 1076906.919 | 2723159.1362 | 1076920.7665
11 | 2723152.6974 | 1076881.1446 | 2723156.079 | 1076890.0848
12 | 2723222.2058 | 1076970.1065 | 2723223.393 | 1076973.7166
13 | 2723223.393 | 1076973.7166 | 2723228.6828 | 1076989.8021
14 | 2723152.6974 | 1076881.1446 | 2723145.2663 | 1076861.4978
15 | 2723130.4683 | 1076915.5309 | 2723141.1446 | 1076911.7466
16 | 2723161.9687 | 1076929.7369 | 2723159.1362 | 1076920.7665
17 | 2723165.3856 | 1076940.5581 | 2723161.9687 | 1076929.7369
18 | 2723165.3856 | 1076940.5581 | 2723174.601 | 1076937.631
19 | 2723165.3856 | 1076940.5581 | 2723169.3831 | 1076953.226
20 | 2723169.3831 | 1076953.226 | 2723171.3324 | 1076959.4031
21 | 2723130.4683 | 1076915.5309 | 2723130.1347 | 1076915.6492
22 | 2723173.1652 | 1076965.211 | 2723171.3324 | 1076959.4031
23 | 2723123.1276 | 1076918.1329 | 2723130.1347 | 1076915.6492
24 | 2723173.1652 | 1076965.211 | 2723173.8302 | 1076967.3037 | 2723176.5366 | 1076975.8801
25 | 2723165.677 | 1076967.6727 | 2723173.1652 | 1076965.211
26 | 2723178.7744 | 1076982.9717 | 2723176.5366 | 1076975.8801
27 | 2723178.7744 | 1076982.9717 | 2723182.5792 | 1076995.029
28 | 2723182.5792 | 1076995.029 | 2723182.812 | 1076995.7668
29 | 2723239.9285 | 1077023.4468 | 2723243.6736 | 1077037.7329
30 | 2723243.6736 | 1077037.7329 | 2723231.331 | 1077040.7968
31 | 2723231.331 | 1077040.7968 | 2723211.5167 | 1077045.7155
32 | 2723202.5083 | 1077010.9038 | 2723199.4696 | 1077011.8772
33 | 2723188.9584 | 1077015.2443 | 2723199.4696 | 1077011.8772
34 | 2723188.9584 | 1077015.2443 | 2723186.2821 | 1077006.7634
35 | 2723188.9584 | 1077015.2443 | 2723189.7691 | 1077017.8116
36 | 2723182.812 | 1076995.7668 | 2723186.2821 | 1077006.7634
37 | 2723189.7691 | 1077017.8116 | 2723192.271 | 1077025.7342
38 | 2723195.4722 | 1077035.8711 | 2723192.271 | 1077025.7342
39 | 2723199.5214 | 1077048.6932 | 2723195.4722 | 1077035.8711
40 | 2723199.5214 | 1077048.6932 | 2723211.5167 | 1077045.7155
41 | 2723167.2823 | 1077056.6923 | 2723163.0261 | 1077044.0633
42 | 2723167.2823 | 1077056.6923 | 2723155.2108 | 1077059.6882
43 | 2723158.8495 | 1077031.6704 | 2723163.0261 | 1077044.0633
44 | 2723131.2706 | 1077065.6297 | 2723155.2108 | 1077059.6882
45 | 2723176.8502 | 1077085.54 | 2723175.3811 | 1077089.3909 | 2723168.4328 | 1077102.3586
46 | 2723176.8502 | 1077085.54 | 2723177.2622 | 1077082.8463 | 2723177.2193 | 1077081.122 | 2723176.9492 | 1077079.1039 | 2723176.2111 | 1077077.1654 | 2723175.2837 | 1077075.3676 | 2723173.6133 | 1077073.4102 | 2723171.749 | 1077071.8158 | 2723170.0569 | 1077070.5474 | 2723167.8693 | 1077069.18 | 2723166.0846 | 1077068.2655 | 2723163.8001 | 1077067.4632 | 2723161.6696 | 1077067.1199 | 2723158.0671 | 1077066.9134
47 | 2723132.2044 | 1077066.0065 | 2723134.6317 | 1077065.8286 | 2723137.2593 | 1077065.8038 | 2723142.4937 | 1077066.0208 | 2723158.0671 | 1077066.9134
48 | 2723154.3837 | 1077018.4261 | 2723158.8495 | 1077031.6704
49 | 2723126.4738 | 1077066.8202 | 2723131.2706 | 1077065.6297
50 | 2723126.4738 | 1077066.8202 | 2723131.1834 | 1077066.0814 | 2723132.2044 | 1077066.0065
51 | 2723126.4738 | 1077066.8202 | 2723115.9201 | 1077069.4423
52 | 2723115.9201 | 1077069.4423 | 2723110.1312 | 1077070.8788
53 | 2723097.6205 | 1077008.4093 | 2723104.6168 | 1077031.7434
54 | 2723097.6205 | 1077008.4093 | 2723091.1625 | 1076986.8704
55 | 2723154.3837 | 1077018.4261 | 2723147.9732 | 1076997.8567
56 | 2723154.3837 | 1077018.4261 | 2723139.6693 | 1077022.9888
57 | 2723139.6079 | 1077023.0078 | 2723139.6693 | 1077022.9888
58 | 2723147.9732 | 1076997.8567 | 2723147.1042 | 1076995.0682
59 | 2723141.0624 | 1076975.6815 | 2723147.1042 | 1076995.0682
60 | 2723150.4582 | 1076972.669 | 2723141.0624 | 1076975.6815
61 | 2723139.9386 | 1076972.0561 | 2723141.0624 | 1076975.6815
62 | 2723139.9386 | 1076972.0561 | 2723135.5492 | 1076957.9767
63 | 2723139.9386 | 1076972.0561 | 2723125.324 | 1076976.7173
64 | 2723135.5492 | 1076957.9767 | 2723135.4234 | 1076957.5731
65 | 2723091.1625 | 1076986.8704 | 2723084.7774 | 1076965.5749
66 | 2723073.2992 | 1076935.7067 | 2723077.8663 | 1076950.1094 | 2723082.4083 | 1076957.6732 | 2723084.7774 | 1076965.5749
67 | 2723073.2992 | 1076935.7067 | 2723094.9581 | 1076928.0679
68 | 2723108.5002 | 1076923.2918 | 2723094.9581 | 1076928.0679
69 | 2723108.5002 | 1076923.2918 | 2723112.6613 | 1076921.8242
70 | 2723112.6613 | 1076921.8242 | 2723122.6884 | 1076918.2878
71 | 2723135.4234 | 1076957.5731 | 2723125.9501 | 1076927.1863
72 | 2723123.1276 | 1076918.1329 | 2723125.9501 | 1076927.1863
73 | 2723123.1276 | 1076918.1329 | 2723122.6884 | 1076918.2878

## bus_geodata
| x | y | coords
0 | 2723206.946 | 1076923.7163
1 | 2723203.2966 | 1076912.6246
2 | 2723212.7143 | 1076941.2484
3 | 2723196.5757 | 1076892.1972
4 | 2723216.2119 | 1076951.88
5 | 2723161.5138 | 1076904.4535
6 | 2723219.4605 | 1076961.7587
7 | 2723154.7638 | 1076906.919
8 | 2723156.079 | 1076890.0848
9 | 2723222.2058 | 1076970.1065
10 | 2723223.393 | 1076973.7166
11 | 2723228.6828 | 1076989.8021
12 | 2723152.6974 | 1076881.1446
13 | 2723145.2663 | 1076861.4978
14 | 2723141.1446 | 1076911.7466
15 | 2723159.1362 | 1076920.7665
16 | 2723161.9687 | 1076929.7369
17 | 2723165.3856 | 1076940.5581
18 | 2723174.601 | 1076937.631
19 | 2723169.3831 | 1076953.226
20 | 2723130.4683 | 1076915.5309
21 | 2723171.3324 | 1076959.4031
22 | 2723130.1347 | 1076915.6492
23 | 2723173.1652 | 1076965.211
24 | 2723176.5366 | 1076975.8801
25 | 2723165.677 | 1076967.6727
26 | 2723178.7744 | 1076982.9717
27 | 2723182.5792 | 1076995.029
28 | 2723239.9285 | 1077023.4468
29 | 2723243.6736 | 1077037.7329
30 | 2723231.331 | 1077040.7968
31 | 2723199.4696 | 1077011.8772
32 | 2723202.5083 | 1077010.9038
33 | 2723188.9584 | 1077015.2443
34 | 2723186.2821 | 1077006.7634
35 | 2723189.7691 | 1077017.8116
36 | 2723182.812 | 1076995.7668
37 | 2723192.271 | 1077025.7342
38 | 2723195.4722 | 1077035.8711
39 | 2723211.5167 | 1077045.7155
40 | 2723199.5214 | 1077048.6932
41 | 2723167.2823 | 1077056.6923
42 | 2723163.0261 | 1077044.0633
43 | 2723155.2108 | 1077059.6882
44 | 2723176.8502 | 1077085.54
45 | 2723168.4328 | 1077102.3586
46 | 2723158.0671 | 1077066.9134
47 | 2723158.8495 | 1077031.6704
48 | 2723131.2706 | 1077065.6297
49 | 2723132.2044 | 1077066.0065
50 | 2723126.4738 | 1077066.8202
51 | 2723115.9201 | 1077069.4423
52 | 2723110.1312 | 1077070.8788
53 | 2723104.6168 | 1077031.7434
54 | 2723097.6205 | 1077008.4093
55 | 2723154.3837 | 1077018.4261
56 | 2723139.6079 | 1077023.0078
57 | 2723139.6693 | 1077022.9888
58 | 2723147.9732 | 1076997.8567
59 | 2723147.1042 | 1076995.0682
60 | 2723141.0624 | 1076975.6815
61 | 2723150.4582 | 1076972.669
62 | 2723139.9386 | 1076972.0561
63 | 2723135.5492 | 1076957.9767
64 | 2723125.324 | 1076976.7173
65 | 2723091.1625 | 1076986.8704
66 | 2723084.7774 | 1076965.5749
67 | 2723073.2992 | 1076935.7067
68 | 2723094.9581 | 1076928.0679
69 | 2723108.5002 | 1076923.2918
70 | 2723112.6613 | 1076921.8242
71 | 2723135.4234 | 1076957.5731
72 | 2723125.9501 | 1076927.1863
73 | 2723123.1276 | 1076918.1329
74 | 2723122.6884 | 1076918.2878
75 | 2723141.0624 | 1076975.6815

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1