## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5251-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5251-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5251-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5251-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5251-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5251-5_0_6_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_5251-5_0_6_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_5251-5_0_6_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_5251-5_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5251-5_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5251-5_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5251-5_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5251-5_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5251-5_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5251-5_0_6_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_5251-5_0_6_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_5251-5_0_6_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_5251-5_0_6_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_5251-5_0_6_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_5251-5_0_6_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_5251-5_0_6_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_5251-5_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5251-5_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5251-5_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5251-5_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5251-5_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5251-5_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5251-5_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5251-5_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5251-5_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5251-5_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5251-5_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5251-5_0_6_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5251-5_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5251-5_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_5251-5_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5251-5_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5251-5_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5251-5_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5251-5_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5251-5_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5251-5_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5251-5_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5251-5_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5251-5_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5251-5_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5251-5_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5251-5_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5251-5_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5251-5_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5251-5_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_5251-5_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5251-5_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5251-5_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5251-5_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5251-5_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5251-5_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_5251-5_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5251-5_0_6_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_5251-5_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_5251-5_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5251-5_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5251-5_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5251-5_0_6_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5251-5_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_5251-5_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5251-5_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5251-5_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5251-5_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5251-5_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5251-5_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_5251-5_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5251-5_0_6_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_5251-5_0_6_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_5251-5_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5251-5_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5251-5_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5251-5_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5251-5_0_6_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_5251-5_0_6_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_5251-5_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_5251-5_0_6_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_5251-5_0_6_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_5251-5_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5251-5_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5251-5_0_6_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_5251-5_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5251-5_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_5251-5_0_6_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_5251-5_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5251-5_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5251-5_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5251-5_0_6_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_5251-5_0_6_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_5251-5_0_6_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_5251-5_0_6_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_5251-5_0_6_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_5251-5_0_6_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_5251-5_0_6_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_5251-5_0_6_node_106 | 0.4 | n |  | TRUE
100 | bus_LV_5251-5_0_6_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_5251-5_0_6_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_5251-5_0_6_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_5251-5_0_6_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_5251-5_0_6_node_107 | 0.4 | n |  | TRUE
105 | bus_MV_76_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5251-5_0_6_load_0 | 0 | 0.018505 | 0.0046379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5251-5_0_6_load_3 | 3 | 0.0037795 | 0.00094724 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5251-5_0_6_load_4 | 4 | 0.0064484 | 0.0016161 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5251-5_0_6_load_50 | 5 | 0.010502 | 0.0026321 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5251-5_0_6_load_5 | 8 | 0.0096073 | 0.0024078 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5251-5_0_6_load_6 | 9 | 0.016922 | 0.0042411 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5251-5_0_6_load_8 | 11 | 0.0045237 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5251-5_0_6_load_9 | 12 | 0.0034959 | 0.00087616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5251-5_0_6_load_52 | 14 | 0.0063459 | 0.0015904 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5251-5_0_6_load_49 | 15 | 0.0055311 | 0.0013862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5251-5_0_6_load_82 | 16 | 0.0023313 | 0.00058428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5251-5_0_6_load_83 | 17 | 0.0040498 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5251-5_0_6_load_54 | 18 | 0.012591 | 0.0031555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5251-5_0_6_load_47 | 19 | 0.0042079 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5251-5_0_6_load_81 | 20 | 0.0016163 | 0.00040507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5251-5_0_6_load_11 | 21 | 0.0068869 | 0.001726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5251-5_0_6_load_13 | 23 | 0.004263 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5251-5_0_6_load_14 | 24 | 0.0070324 | 0.0017625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5251-5_0_6_load_15 | 25 | 0.0054523 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5251-5_0_6_load_18 | 26 | 0.006204 | 0.0015549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5251-5_0_6_load_19 | 28 | 0.0070904 | 0.001777 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5251-5_0_6_load_17 | 29 | 0.004366 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5251-5_0_6_load_20 | 30 | 0.0032483 | 0.00081409 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5251-5_0_6_load_21 | 31 | 0.0048416 | 0.0012134 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5251-5_0_6_load_41 | 32 | 0.0039804 | 0.00099757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5251-5_0_6_load_37 | 33 | 0.020159 | 0.0050522 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5251-5_0_6_load_36 | 34 | 0.010282 | 0.0025768 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5251-5_0_6_load_22 | 35 | 0.013338 | 0.0033429 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5251-5_0_6_load_25 | 37 | 0.0046531 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5251-5_0_6_load_28 | 38 | 0.007745 | 0.0019411 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5251-5_0_6_load_26 | 39 | 0.00866 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5251-5_0_6_load_29 | 41 | 0.007444 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5251-5_0_6_load_30 | 42 | 0.011186 | 0.0028036 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5251-5_0_6_load_31 | 43 | 0.025684 | 0.0064371 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5251-5_0_6_load_32 | 45 | 0.034611 | 0.0086745 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5251-5_0_6_load_39 | 48 | 0.018305 | 0.0045877 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5251-5_0_6_load_40 | 49 | 0.0081771 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5251-5_0_6_load_42 | 51 | 0.0046178 | 0.0011573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5251-5_0_6_load_43 | 52 | 0.0022538 | 0.00056485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5251-5_0_6_load_48 | 54 | 0.0071944 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5251-5_0_6_load_61 | 56 | 0.0064843 | 0.0016251 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5251-5_0_6_load_56 | 57 | 0.0057876 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5251-5_0_6_load_59 | 58 | 0.012541 | 0.003143 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5251-5_0_6_load_63 | 59 | 0.0053503 | 0.0013409 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5251-5_0_6_load_55 | 60 | 0.038846 | 0.0097357 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5251-5_0_6_load_57 | 62 | 0.0039913 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5251-5_0_6_load_60 | 63 | 0.0031699 | 0.00079445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5251-5_0_6_load_62 | 64 | 0.0043039 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5251-5_0_6_load_64 | 65 | 0.0085122 | 0.0021334 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5251-5_0_6_load_65 | 66 | 0.023755 | 0.0059537 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5251-5_0_6_load_66 | 67 | 0.0027332 | 0.00068501 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5251-5_0_6_load_67 | 68 | 0.010773 | 0.0027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5251-5_0_6_load_70 | 71 | 0.0040149 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5251-5_0_6_load_87 | 72 | 0.007357 | 0.0018438 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5251-5_0_6_load_85 | 73 | 0.0012706 | 0.00031845 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5251-5_0_6_load_69 | 74 | 0.0029776 | 0.00074625 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5251-5_0_6_load_73 | 77 | 0.0046034 | 0.0011537 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5251-5_0_6_load_93 | 78 | 0.006132 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5251-5_0_6_load_90 | 79 | 0.0039809 | 0.00099771 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5251-5_0_6_load_74 | 80 | 0.0086512 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5251-5_0_6_load_94 | 81 | 0.0032707 | 0.0008197 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5251-5_0_6_load_91 | 82 | 0.0035131 | 0.00088046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5251-5_0_6_load_75 | 83 | 0.0023828 | 0.0005972 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5251-5_0_6_load_76 | 84 | 0.0041845 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5251-5_0_6_load_77 | 85 | 0.0026936 | 0.00067509 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5251-5_0_6_load_79 | 86 | 0.0089923 | 0.0022537 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5251-5_0_6_load_80 | 87 | 0.0023419 | 0.00058694 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5251-5_0_6_load_95 | 88 | 0.0046028 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5251-5_0_6_load_88 | 90 | 0.004561 | 0.0011431 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5251-5_0_6_load_89 | 91 | 0.0015424 | 0.00038656 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5251-5_0_6_load_97 | 92 | 0.0040417 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5251-5_0_6_load_103 | 93 | 0.0013426 | 0.00033648 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5251-5_0_6_load_96 | 94 | 0.0090986 | 0.0022803 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5251-5_0_6_load_98 | 95 | 0.0044305 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5251-5_0_6_load_104 | 96 | 0.001263 | 0.00031654 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5251-5_0_6_load_92 | 97 | 0.0016638 | 0.00041699 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5251-5_0_6_load_105 | 98 | 0.0083442 | 0.0020913 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5251-5_0_6_load_106 | 99 | 0.0018438 | 0.0004621 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5251-5_0_6_load_99 | 100 | 0.0025253 | 0.00063289 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5251-5_0_6_load_100 | 101 | 0.0045382 | 0.0011374 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5251-5_0_6_load_107 | 104 | 0.0057281 | 0.0014356 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5251-5_0_6_line_0 |  | 0 | 1 | 0.036861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5251-5_0_6_line_1 |  | 0 | 2 | 0.047754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5251-5_0_6_line_2 |  | 1 | 3 | 0.04058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5251-5_0_6_line_3 |  | 2 | 4 | 0.0017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5251-5_0_6_line_4 |  | 4 | 5 | 0.030926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5251-5_0_6_line_5 |  | 5 | 6 | 0.059006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5251-5_0_6_line_6 |  | 5 | 7 | 0.11534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5251-5_0_6_line_7 |  | 6 | 50 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5251-5_0_6_line_8 |  | 7 | 48 | 0.020715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5251-5_0_6_line_9 |  | 7 | 47 | 0.038268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5251-5_0_6_line_10 |  | 8 | 9 | 0.002687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5251-5_0_6_line_11 |  | 8 | 10 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5251-5_0_6_line_12 |  | 9 | 11 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5251-5_0_6_line_13 |  | 10 | 12 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5251-5_0_6_line_14 |  | 10 | 13 | 0.032872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5251-5_0_6_line_15 |  | 11 | 14 | 0.018007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5251-5_0_6_line_16 |  | 12 | 15 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5251-5_0_6_line_17 |  | 13 | 16 | 0.0067472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5251-5_0_6_line_18 |  | 13 | 17 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5251-5_0_6_line_19 |  | 14 | 18 | 0.0035526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5251-5_0_6_line_20 |  | 15 | 19 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5251-5_0_6_line_21 |  | 16 | 20 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5251-5_0_6_line_22 |  | 18 | 50 | 0.041584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5251-5_0_6_line_23 |  | 19 | 53 | 0.0073254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5251-5_0_6_line_24 |  | 20 | 87 | 0.0026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5251-5_0_6_line_25 |  | 21 | 22 | 0.029846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5251-5_0_6_line_26 |  | 22 | 23 | 0.0042475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5251-5_0_6_line_27 |  | 22 | 24 | 0.025961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5251-5_0_6_line_28 |  | 23 | 25 | 0.0099586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5251-5_0_6_line_29 |  | 24 | 26 | 0.0074195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5251-5_0_6_line_30 |  | 25 | 27 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5251-5_0_6_line_31 |  | 26 | 28 | 0.01499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5251-5_0_6_line_32 |  | 27 | 29 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5251-5_0_6_line_33 |  | 28 | 30 | 0.019067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5251-5_0_6_line_34 |  | 30 | 31 | 0.0010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5251-5_0_6_line_35 |  | 31 | 32 | 0.11407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5251-5_0_6_line_36 |  | 32 | 33 | 0.070819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5251-5_0_6_line_37 |  | 33 | 34 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5251-5_0_6_line_38 |  | 34 | 47 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5251-5_0_6_line_39 |  | 35 | 36 | 0.030236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5251-5_0_6_line_40 |  | 36 | 37 | 0.056411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5251-5_0_6_line_41 |  | 37 | 38 | 0.065775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5251-5_0_6_line_42 |  | 38 | 39 | 0.0086953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5251-5_0_6_line_43 |  | 39 | 40 | 0.034078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5251-5_0_6_line_44 |  | 40 | 41 | 0.0093071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5251-5_0_6_line_45 |  | 41 | 42 | 0.0064058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5251-5_0_6_line_46 |  | 42 | 43 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5251-5_0_6_line_47 |  | 43 | 44 | 0.10126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5251-5_0_6_line_48 |  | 44 | 45 | 0.0052667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5251-5_0_6_line_49 |  | 45 | 46 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5251-5_0_6_line_50 |  | 46 | 47 | 0.038544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5251-5_0_6_line_51 |  | 48 | 49 | 0.00061208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5251-5_0_6_line_52 |  | 51 | 52 | 0.015068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5251-5_0_6_line_53 |  | 52 | 53 | 0.023521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5251-5_0_6_line_54 |  | 53 | 54 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5251-5_0_6_line_55 |  | 54 | 58 | 0.0050776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5251-5_0_6_line_56 |  | 55 | 56 | 0.00014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5251-5_0_6_line_57 |  | 55 | 57 | 0.0071704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5251-5_0_6_line_58 |  | 56 | 59 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5251-5_0_6_line_59 |  | 57 | 60 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5251-5_0_6_line_60 |  | 58 | 61 | 0.0080535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5251-5_0_6_line_61 |  | 59 | 65 | 0.0096538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5251-5_0_6_line_62 |  | 60 | 62 | 0.0040865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5251-5_0_6_line_63 |  | 61 | 63 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5251-5_0_6_line_64 |  | 61 | 62 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5251-5_0_6_line_65 |  | 63 | 64 | 0.00086681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5251-5_0_6_line_66 |  | 65 | 66 | 0.0015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5251-5_0_6_line_67 |  | 66 | 67 | 0.0076866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5251-5_0_6_line_68 |  | 67 | 68 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5251-5_0_6_line_69 |  | 68 | 69 | 0.025788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5251-5_0_6_line_70 |  | 69 | 70 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5251-5_0_6_line_71 |  | 69 | 71 | 0.0083959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5251-5_0_6_line_72 |  | 70 | 72 | 0.035544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5251-5_0_6_line_73 |  | 70 | 73 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5251-5_0_6_line_74 |  | 71 | 74 | 0.0043395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_5251-5_0_6_line_75 |  | 72 | 88 | 0.045398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5251-5_0_6_line_76 |  | 73 | 89 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_5251-5_0_6_line_77 |  | 74 | 75 | 0.016851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_5251-5_0_6_line_78 |  | 75 | 76 | 0.0308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5251-5_0_6_line_79 |  | 75 | 77 | 0.0024456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5251-5_0_6_line_80 |  | 76 | 78 | 0.0021889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5251-5_0_6_line_81 |  | 76 | 79 | 0.036173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5251-5_0_6_line_82 |  | 77 | 80 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5251-5_0_6_line_83 |  | 78 | 81 | 0.03571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5251-5_0_6_line_84 |  | 79 | 82 | 0.0045952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5251-5_0_6_line_85 |  | 80 | 83 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5251-5_0_6_line_86 |  | 82 | 97 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5251-5_0_6_line_87 |  | 83 | 84 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5251-5_0_6_line_88 |  | 84 | 85 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5251-5_0_6_line_89 |  | 86 | 87 | 0.0027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5251-5_0_6_line_90 |  | 88 | 94 | 0.0084899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5251-5_0_6_line_91 |  | 89 | 90 | 0.03618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_5251-5_0_6_line_92 |  | 89 | 91 | 0.03439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_5251-5_0_6_line_93 |  | 90 | 92 | 0.028857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5251-5_0_6_line_94 |  | 91 | 93 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_5251-5_0_6_line_95 |  | 92 | 95 | 0.028617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5251-5_0_6_line_96 |  | 93 | 96 | 0.0011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5251-5_0_6_line_97 |  | 95 | 98 | 0.02282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_5251-5_0_6_line_98 |  | 96 | 103 | 0.044539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5251-5_0_6_line_99 |  | 98 | 99 | 0.03559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5251-5_0_6_line_100 |  | 99 | 104 | 0.037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5251-5_0_6_line_101 |  | 100 | 101 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5251-5_0_6_line_102 |  | 100 | 102 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5251-5_0_6_line_103 |  | 102 | 103 | 0.043583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5251-5_0_6_trafo_0 | 0.63 MVA 20/0.4 kV | 105 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720778.4429 | 1079401.0722 | 2720747.4461 | 1079421.0207
1 | 2720704.9987 | 1079442.2249 | 2720716.3634 | 1079438.7919 | 2720728.981 | 1079432.9042 | 2720747.4461 | 1079421.0207
2 | 2720778.4429 | 1079401.0722 | 2720793.4765 | 1079431.6476 | 2720799.3895 | 1079434.3667
3 | 2720704.9987 | 1079442.2249 | 2720703.2779 | 1079442.6413
4 | 2720703.2779 | 1079442.6413 | 2720675.3093 | 1079449.409 | 2720673.2153 | 1079449.8974
5 | 2720615.6894 | 1079463.0278 | 2720644.111 | 1079456.6856 | 2720673.2153 | 1079449.8974
6 | 2720673.2153 | 1079449.8974 | 2720621.4083 | 1079346.8463
7 | 2720615.6894 | 1079463.0278 | 2720617.3835 | 1079474.7808
8 | 2720621.4083 | 1079346.8463 | 2720602.506 | 1079338.3721
9 | 2720621.4083 | 1079346.8463 | 2720634.954 | 1079328.2343 | 2720643.9234 | 1079315.9029
10 | 2720693.7327 | 1079476.7407 | 2720691.0988 | 1079476.2096
11 | 2720713.2164 | 1079478.4136 | 2720695.5514 | 1079477.1074 | 2720693.7327 | 1079476.7407
12 | 2720691.0988 | 1079476.2096 | 2720679.5875 | 1079473.8888
13 | 2720713.2164 | 1079478.4136 | 2720722.7788 | 1079479.6706 | 2720723.335 | 1079479.7779
14 | 2720718.8978 | 1079510.4603 | 2720715.8618 | 1079504.0956 | 2720713.2164 | 1079478.4136
15 | 2720679.5875 | 1079473.8888 | 2720661.936 | 1079470.3299
16 | 2720723.335 | 1079479.7779 | 2720745.5646 | 1079484.0694 | 2720749.0786 | 1079484.2093
17 | 2720718.8978 | 1079510.4603 | 2720718.7304 | 1079517.2054
18 | 2720718.8978 | 1079510.4603 | 2720733.9864 | 1079514.1771
19 | 2720658.4535 | 1079469.6278 | 2720661.936 | 1079470.3299
20 | 2720768.8554 | 1079484.9965 | 2720749.0786 | 1079484.2093
21 | 2720718.7304 | 1079517.2054 | 2720718.3494 | 1079532.5515
22 | 2720617.3835 | 1079474.7808 | 2720655.1258 | 1079468.9569 | 2720658.4535 | 1079469.6278
23 | 2720776.175 | 1079485.2878 | 2720768.8554 | 1079484.9965
24 | 2720718.2838 | 1079535.1978 | 2720718.3494 | 1079532.5515
25 | 2720643.7509 | 1079119.0246 | 2720673.5689 | 1079120.3263
26 | 2720643.7509 | 1079119.0246 | 2720643.3169 | 1079114.7992
27 | 2720643.7509 | 1079119.0246 | 2720646.7697 | 1079144.8096
28 | 2720642.2993 | 1079104.8928 | 2720643.3169 | 1079114.7992
29 | 2720646.7697 | 1079144.8096 | 2720647.5987 | 1079151.891 | 2720647.3128 | 1079151.9375
30 | 2720640.7284 | 1079089.5991 | 2720642.2993 | 1079104.8928
31 | 2720647.3128 | 1079151.9375 | 2720632.5162 | 1079154.3403
32 | 2720640.7284 | 1079089.5991 | 2720647.1478 | 1079083.2438 | 2720649.4075 | 1079073.9687
33 | 2720632.5162 | 1079154.3403 | 2720613.696 | 1079157.3966
34 | 2720613.696 | 1079157.3966 | 2720612.7071 | 1079157.5572
35 | 2720612.7071 | 1079157.5572 | 2720561.2266 | 1079259.3481
36 | 2720617.8944 | 1079301.8222 | 2720561.2266 | 1079259.3481
37 | 2720617.8944 | 1079301.8222 | 2720630.9438 | 1079308.8814
38 | 2720643.9234 | 1079315.9029 | 2720630.9438 | 1079308.8814
39 | 2720902.6627 | 1079146.1176 | 2720885.5471 | 1079153.1054 | 2720883.142 | 1079158.406 | 2720883.288 | 1079161.6223 | 2720883.4461 | 1079164.2273 | 2720883.5129 | 1079164.3004
40 | 2720902.6627 | 1079146.1176 | 2720900.5069 | 1079144.7294 | 2720889.4607 | 1079144.6102 | 2720881.7353 | 1079145.5021 | 2720875.1107 | 1079148.484 | 2720865.6128 | 1079154.5223 | 2720853.4001 | 1079165.8105
41 | 2720816.7087 | 1079220.4004 | 2720853.4001 | 1079165.8105
42 | 2720816.7087 | 1079220.4004 | 2720809.6996 | 1079225.5462
43 | 2720782.23 | 1079245.7132 | 2720809.6996 | 1079225.5462
44 | 2720782.23 | 1079245.7132 | 2720776.4009 | 1079238.4576
45 | 2720772.3889 | 1079233.4638 | 2720776.4009 | 1079238.4576
46 | 2720765.4726 | 1079224.8551 | 2720772.3889 | 1079233.4638
47 | 2720765.4726 | 1079224.8551 | 2720687.5059 | 1079289.4687
48 | 2720687.5059 | 1079289.4687 | 2720682.3691 | 1079288.3066
49 | 2720666.6061 | 1079284.7405 | 2720682.3691 | 1079288.3066
50 | 2720643.9234 | 1079315.9029 | 2720647.5892 | 1079310.8718 | 2720666.6061 | 1079284.7405
51 | 2720601.9475 | 1079338.1217 | 2720602.506 | 1079338.3721
52 | 2720814.7082 | 1079486.4693 | 2720813.9442 | 1079486.3369 | 2720806.7106 | 1079485.5708 | 2720799.6963 | 1079485.3323
53 | 2720776.175 | 1079485.2878 | 2720799.6531 | 1079485.3308 | 2720799.6963 | 1079485.3323
54 | 2720776.175 | 1079485.2878 | 2720776.8812 | 1079496.5304
55 | 2720776.8812 | 1079496.5304 | 2720777.1996 | 1079501.598
56 | 2720819.0027 | 1079539.9758 | 2720818.8916 | 1079540.0677
57 | 2720819.0027 | 1079539.9758 | 2720813.8061 | 1079535.035
58 | 2720804.9737 | 1079555.1754 | 2720805.9607 | 1079552.771 | 2720818.1891 | 1079540.649 | 2720818.8916 | 1079540.0677
59 | 2720804.0111 | 1079526.0001 | 2720809.0056 | 1079530.4708 | 2720813.8061 | 1079535.035
60 | 2720777.7045 | 1079509.6356 | 2720777.1996 | 1079501.598
61 | 2720804.9737 | 1079555.1754 | 2720801.6911 | 1079563.1716 | 2720801.3844 | 1079564.134
62 | 2720804.0111 | 1079526.0001 | 2720800.9663 | 1079523.2746
63 | 2720777.7045 | 1079509.6356 | 2720771.8134 | 1079518.3585 | 2720767.6752 | 1079528.1567
64 | 2720777.7045 | 1079509.6356 | 2720795.8832 | 1079518.7245 | 2720800.9663 | 1079523.2746
65 | 2720767.3379 | 1079528.9552 | 2720767.6752 | 1079528.1567
66 | 2720801.3844 | 1079564.134 | 2720800.902 | 1079565.6478
67 | 2720798.5681 | 1079572.9715 | 2720800.902 | 1079565.6478
68 | 2720798.5681 | 1079572.9715 | 2720797.5819 | 1079576.0661 | 2720786.5785 | 1079590.6417
69 | 2720770.7307 | 1079610.9814 | 2720778.3371 | 1079601.5587 | 2720786.5785 | 1079590.6417
70 | 2720777.7917 | 1079627.889 | 2720770.7307 | 1079610.9814
71 | 2720770.7307 | 1079610.9814 | 2720762.5332 | 1079609.1669
72 | 2720777.7917 | 1079627.889 | 2720761.3156 | 1079659.3839
73 | 2720777.7917 | 1079627.889 | 2720783.2596 | 1079640.1173 | 2720792.786 | 1079654.2331
74 | 2720758.2771 | 1079608.3385 | 2720759.5301 | 1079608.5022 | 2720762.5332 | 1079609.1669
75 | 2720761.3156 | 1079659.3839 | 2720754.5676 | 1079672.2831 | 2720746.5628 | 1079687.7023 | 2720734.9366 | 1079680.9052
76 | 2720805.8715 | 1079673.6228 | 2720792.786 | 1079654.2331
77 | 2720741.5676 | 1079606.1558 | 2720758.2771 | 1079608.3385
78 | 2720741.5676 | 1079606.1558 | 2720725.1319 | 1079632.2268
79 | 2720741.5676 | 1079606.1558 | 2720739.1669 | 1079605.689
80 | 2720725.1319 | 1079632.2268 | 2720724.1303 | 1079634.1732
81 | 2720725.1319 | 1079632.2268 | 2720690.7065 | 1079643.3343
82 | 2720739.1669 | 1079605.689 | 2720713.0888 | 1079600.6176
83 | 2720724.1303 | 1079634.1732 | 2720707.7914 | 1079665.9259
84 | 2720690.7065 | 1079643.3343 | 2720686.3333 | 1079644.7454 | 2720686.3333 | 1079644.7454
85 | 2720699.6096 | 1079597.6254 | 2720702.9869 | 1079598.6531 | 2720713.0888 | 1079600.6176
86 | 2720665.3098 | 1079644.7251 | 2720676.1291 | 1079644.1318 | 2720686.3333 | 1079644.7454
87 | 2720699.6096 | 1079597.6254 | 2720681.9482 | 1079592.2513
88 | 2720667.1065 | 1079587.7352 | 2720681.9482 | 1079592.2513
89 | 2720718.2165 | 1079537.9079 | 2720718.2838 | 1079535.1978
90 | 2720734.9366 | 1079680.9052 | 2720727.6074 | 1079676.6203
91 | 2720805.8715 | 1079673.6228 | 2720791.7997 | 1079690.178 | 2720784.0481 | 1079702.3762
92 | 2720805.8715 | 1079673.6228 | 2720820.0859 | 1079691.4061 | 2720824.4225 | 1079695.6396 | 2720829.0466 | 1079698.7336
93 | 2720784.0481 | 1079702.3762 | 2720782.4492 | 1079704.8922 | 2720771.5732 | 1079728.3714 | 2720771.5732 | 1079728.3714
94 | 2720843.132 | 1079708.158 | 2720829.0466 | 1079698.7336
95 | 2720771.5732 | 1079728.3714 | 2720765.503 | 1079737.5133 | 2720759.8594 | 1079736.5008 | 2720748.3453 | 1079733.4585
96 | 2720843.132 | 1079708.158 | 2720844.0611 | 1079708.7797
97 | 2720748.3453 | 1079733.4585 | 2720732.1526 | 1079729.18 | 2720726.6629 | 1079731.7732
98 | 2720880.2407 | 1079734.5297 | 2720876.468 | 1079730.4631 | 2720844.0611 | 1079708.7797
99 | 2720739.6151 | 1079763.8527 | 2720739.7984 | 1079754.6053 | 2720726.6629 | 1079731.7732
100 | 2720739.6151 | 1079763.8527 | 2720776.4364 | 1079770.309
101 | 2720823.2403 | 1079730.8012 | 2720809.4161 | 1079727.1188
102 | 2720842.3011 | 1079735.8785 | 2720823.2403 | 1079730.8012
103 | 2720842.3011 | 1079735.8785 | 2720844.6279 | 1079730.9877 | 2720847.7771 | 1079727.3253 | 2720851.6434 | 1079727.0684 | 2720856.0315 | 1079727.9227 | 2720865.3436 | 1079730.4202 | 2720880.2407 | 1079734.5297

## bus_geodata
| x | y | coords
0 | 2720747.4461 | 1079421.0207
1 | 2720778.4429 | 1079401.0722
2 | 2720704.9987 | 1079442.2249
3 | 2720799.3895 | 1079434.3667
4 | 2720703.2779 | 1079442.6413
5 | 2720673.2153 | 1079449.8974
6 | 2720615.6894 | 1079463.0278
7 | 2720621.4083 | 1079346.8463
8 | 2720693.7327 | 1079476.7407
9 | 2720691.0988 | 1079476.2096
10 | 2720713.2164 | 1079478.4136
11 | 2720679.5875 | 1079473.8888
12 | 2720723.335 | 1079479.7779
13 | 2720718.8978 | 1079510.4603
14 | 2720661.936 | 1079470.3299
15 | 2720749.0786 | 1079484.2093
16 | 2720718.7304 | 1079517.2054
17 | 2720733.9864 | 1079514.1771
18 | 2720658.4535 | 1079469.6278
19 | 2720768.8554 | 1079484.9965
20 | 2720718.3494 | 1079532.5515
21 | 2720673.5689 | 1079120.3263
22 | 2720643.7509 | 1079119.0246
23 | 2720643.3169 | 1079114.7992
24 | 2720646.7697 | 1079144.8096
25 | 2720642.2993 | 1079104.8928
26 | 2720647.3128 | 1079151.9375
27 | 2720640.7284 | 1079089.5991
28 | 2720632.5162 | 1079154.3403
29 | 2720649.4075 | 1079073.9687
30 | 2720613.696 | 1079157.3966
31 | 2720612.7071 | 1079157.5572
32 | 2720561.2266 | 1079259.3481
33 | 2720617.8944 | 1079301.8222
34 | 2720630.9438 | 1079308.8814
35 | 2720883.5129 | 1079164.3004
36 | 2720902.6627 | 1079146.1176
37 | 2720853.4001 | 1079165.8105
38 | 2720816.7087 | 1079220.4004
39 | 2720809.6996 | 1079225.5462
40 | 2720782.2301 | 1079245.7132
41 | 2720776.4009 | 1079238.4577
42 | 2720772.3889 | 1079233.4638
43 | 2720765.4726 | 1079224.8551
44 | 2720687.5059 | 1079289.4687
45 | 2720682.3691 | 1079288.3066
46 | 2720666.6061 | 1079284.7405
47 | 2720643.9234 | 1079315.9029
48 | 2720602.506 | 1079338.3721
49 | 2720601.9475 | 1079338.1217
50 | 2720617.3835 | 1079474.7808
51 | 2720814.7082 | 1079486.4693
52 | 2720799.6963 | 1079485.3323
53 | 2720776.175 | 1079485.2878
54 | 2720776.8812 | 1079496.5304
55 | 2720819.0027 | 1079539.9758
56 | 2720818.8916 | 1079540.0677
57 | 2720813.8061 | 1079535.035
58 | 2720777.1996 | 1079501.598
59 | 2720804.9737 | 1079555.1754
60 | 2720804.0111 | 1079526.0001
61 | 2720777.7045 | 1079509.6356
62 | 2720800.9663 | 1079523.2746
63 | 2720767.6752 | 1079528.1567
64 | 2720767.3379 | 1079528.9552
65 | 2720801.3844 | 1079564.134
66 | 2720800.902 | 1079565.6478
67 | 2720798.5681 | 1079572.9715
68 | 2720786.5785 | 1079590.6417
69 | 2720770.7307 | 1079610.9814
70 | 2720777.7917 | 1079627.889
71 | 2720762.5332 | 1079609.1669
72 | 2720761.3156 | 1079659.3839
73 | 2720792.786 | 1079654.2331
74 | 2720758.2771 | 1079608.3385
75 | 2720741.5676 | 1079606.1558
76 | 2720725.1319 | 1079632.2268
77 | 2720739.1669 | 1079605.689
78 | 2720724.1303 | 1079634.1732
79 | 2720690.7065 | 1079643.3343
80 | 2720713.0888 | 1079600.6176
81 | 2720707.7914 | 1079665.9259
82 | 2720686.3333 | 1079644.7454
83 | 2720699.6096 | 1079597.6254
84 | 2720681.9482 | 1079592.2513
85 | 2720667.1065 | 1079587.7352
86 | 2720718.2165 | 1079537.9079
87 | 2720718.2838 | 1079535.1978
88 | 2720734.9366 | 1079680.9052
89 | 2720805.8715 | 1079673.6228
90 | 2720784.0481 | 1079702.3762
91 | 2720829.0466 | 1079698.7336
92 | 2720771.5732 | 1079728.3714
93 | 2720843.132 | 1079708.158
94 | 2720727.6074 | 1079676.6203
95 | 2720748.3453 | 1079733.4585
96 | 2720844.0611 | 1079708.7797
97 | 2720665.3098 | 1079644.7251
98 | 2720726.6629 | 1079731.7732
99 | 2720739.6151 | 1079763.8527
100 | 2720823.2403 | 1079730.8012
101 | 2720809.4161 | 1079727.1188
102 | 2720842.3011 | 1079735.8785
103 | 2720880.2407 | 1079734.5297
104 | 2720776.4364 | 1079770.309
105 | 2720778.4429 | 1079401.0722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1