## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-20_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5254-20_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5254-20_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5254-20_0_3_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_5254-20_0_3_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_5254-20_0_3_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_5254-20_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_5254-20_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5254-20_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5254-20_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5254-20_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5254-20_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5254-20_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5254-20_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5254-20_0_3_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_5254-20_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5254-20_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5254-20_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5254-20_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5254-20_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5254-20_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5254-20_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_5254-20_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5254-20_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5254-20_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_5254-20_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5254-20_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5254-20_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5254-20_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5254-20_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5254-20_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5254-20_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5254-20_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5254-20_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_5254-20_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5254-20_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5254-20_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5254-20_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5254-20_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5254-20_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5254-20_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5254-20_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5254-20_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5254-20_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5254-20_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5254-20_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5254-20_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5254-20_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5254-20_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_5254-20_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_5254-20_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_5254-20_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_5254-20_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_5254-20_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5254-20_0_3_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_5254-20_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5254-20_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5254-20_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5254-20_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5254-20_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5254-20_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5254-20_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5254-20_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5254-20_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5254-20_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5254-20_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5254-20_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5254-20_0_3_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_5254-20_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5254-20_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5254-20_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_5254-20_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_5254-20_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5254-20_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5254-20_0_3_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_5254-20_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5254-20_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5254-20_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_5254-20_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5254-20_0_3_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_5254-20_0_3_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_5254-20_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5254-20_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_5254-20_0_3_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_5254-20_0_3_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_5254-20_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_5254-20_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5254-20_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_5254-20_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5254-20_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5254-20_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_5254-20_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_5254-20_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_5254-20_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_5254-20_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_5254-20_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_5254-20_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_5254-20_0_3_node_98 | 0.4 | n |  | TRUE
100 | bus_MV_70_1_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-20_0_3_load_0 | 0 | 0.0039745 | 0.0009961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-20_0_3_load_1 | 1 | 0.0029402 | 0.00073688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-20_0_3_load_2 | 2 | 0.0065094 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-20_0_3_load_3 | 3 | 0.0041532 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-20_0_3_load_75 | 5 | 0.0027918 | 0.0006997 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-20_0_3_load_37 | 6 | 0.0059256 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-20_0_3_load_36 | 8 | 0.0031141 | 0.00078047 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-20_0_3_load_5 | 9 | 0.0034765 | 0.0008713 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-20_0_3_load_6 | 10 | 0.0012815 | 0.00032119 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-20_0_3_load_8 | 12 | 0.0033763 | 0.00084618 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-20_0_3_load_11 | 14 | 0.0010673 | 0.00026749 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-20_0_3_load_10 | 15 | 0.0040789 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-20_0_3_load_47 | 16 | 0.0034217 | 0.00085755 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-20_0_3_load_12 | 17 | 0.0019627 | 0.00049189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-20_0_3_load_13 | 18 | 0.006147 | 0.0015406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-20_0_3_load_14 | 19 | 0.0020516 | 0.00051419 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-20_0_3_load_20 | 21 | 0.0028129 | 0.00070499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-20_0_3_load_21 | 22 | 0.0061402 | 0.0015389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-20_0_3_load_22 | 23 | 0.0024265 | 0.00060814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-20_0_3_load_23 | 24 | 0.0015755 | 0.00039486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-20_0_3_load_26 | 25 | 0.00221 | 0.00055388 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-20_0_3_load_38 | 26 | 0.0068912 | 0.0017271 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-20_0_3_load_16 | 27 | 0.0013052 | 0.00032711 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-20_0_3_load_17 | 28 | 0.0016257 | 0.00040744 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-20_0_3_load_18 | 29 | 0.0052896 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-20_0_3_load_19 | 30 | 0.0030296 | 0.00075928 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-20_0_3_load_42 | 31 | 0.0025679 | 0.00064358 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-20_0_3_load_24 | 33 | 0.011956 | 0.0029966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-20_0_3_load_27 | 34 | 0.0024332 | 0.00060983 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-20_0_3_load_39 | 35 | 0.0050025 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-20_0_3_load_25 | 36 | 0.0012033 | 0.00030157 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-20_0_3_load_28 | 37 | 0.004686 | 0.0011744 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-20_0_3_load_29 | 38 | 0.0053031 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-20_0_3_load_30 | 39 | 0.0022873 | 0.00057324 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-20_0_3_load_31 | 40 | 0.0018576 | 0.00046557 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-20_0_3_load_32 | 41 | 0.0028317 | 0.0007097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-20_0_3_load_35 | 42 | 0.0029721 | 0.00074488 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-20_0_3_load_33 | 43 | 0.0021822 | 0.00054692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-20_0_3_load_34 | 44 | 0.0017601 | 0.00044113 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-20_0_3_load_40 | 45 | 0.004318 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-20_0_3_load_41 | 46 | 0.0035567 | 0.0008914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-20_0_3_load_43 | 47 | 0.0028468 | 0.00071349 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-20_0_3_load_44 | 48 | 0.0042169 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-20_0_3_load_64 | 51 | 0.0015033 | 0.00037675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-20_0_3_load_80 | 52 | 0.0019883 | 0.00049832 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-20_0_3_load_78 | 53 | 0.0020789 | 0.00052101 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-20_0_3_load_63 | 54 | 0.0067867 | 0.0017009 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-20_0_3_load_48 | 55 | 0.0014683 | 0.00036799 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-20_0_3_load_101 | 56 | 0.0032337 | 0.00081045 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-20_0_3_load_49 | 57 | 0.0044071 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-20_0_3_load_50 | 58 | 0.005008 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-20_0_3_load_51 | 59 | 0.027305 | 0.0068432 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-20_0_3_load_66 | 61 | 0.0098587 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-20_0_3_load_67 | 62 | 0.017443 | 0.0043716 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-20_0_3_load_68 | 63 | 0.0048938 | 0.0012265 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-20_0_3_load_53 | 64 | 0.0027189 | 0.00068143 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-20_0_3_load_54 | 65 | 0.002593 | 0.00064987 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-20_0_3_load_55 | 66 | 0.0026541 | 0.00066519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-20_0_3_load_56 | 67 | 0.0023018 | 0.00057687 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-20_0_3_load_57 | 68 | 0.0026383 | 0.00066123 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-20_0_3_load_76 | 69 | 0.0021416 | 0.00053674 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-20_0_3_load_58 | 70 | 0.0026428 | 0.00066234 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-20_0_3_load_59 | 72 | 0.0029405 | 0.00073696 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-20_0_3_load_60 | 73 | 0.0026772 | 0.00067096 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-20_0_3_load_61 | 74 | 0.0016206 | 0.00040616 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-20_0_3_load_62 | 75 | 0.0037951 | 0.00095114 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-20_0_3_load_79 | 77 | 0.0021575 | 0.00054073 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-20_0_3_load_69 | 78 | 0.0058071 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5254-20_0_3_load_71 | 79 | 0.0028658 | 0.00071824 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5254-20_0_3_load_92 | 82 | 0.0034904 | 0.00087477 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5254-20_0_3_load_72 | 83 | 0.002551 | 0.00063933 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5254-20_0_3_load_74 | 84 | 0.0024196 | 0.0006064 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5254-20_0_3_load_100 | 85 | 0.0076229 | 0.0019105 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5254-20_0_3_load_99 | 86 | 0.017999 | 0.004511 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5254-20_0_3_load_82 | 88 | 0.0026327 | 0.00065982 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5254-20_0_3_load_84 | 89 | 0.0020702 | 0.00051884 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5254-20_0_3_load_85 | 90 | 0.0045543 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5254-20_0_3_load_86 | 91 | 0.0038349 | 0.00096111 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5254-20_0_3_load_96 | 92 | 0.0016239 | 0.000407 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5254-20_0_3_load_95 | 93 | 0.0031728 | 0.00079517 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5254-20_0_3_load_94 | 94 | 0.0026943 | 0.00067526 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5254-20_0_3_load_89 | 95 | 0.0026565 | 0.00066577 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5254-20_0_3_load_90 | 96 | 0.0026237 | 0.00065756 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5254-20_0_3_load_91 | 97 | 0.0034143 | 0.00085569 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5254-20_0_3_load_93 | 98 | 0.0034543 | 0.00086573 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5254-20_0_3_load_98 | 99 | 0.0081744 | 0.0020487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-20_0_3_line_0 |  | 0 | 1 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-20_0_3_line_1 |  | 0 | 2 | 0.0047062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-20_0_3_line_2 |  | 1 | 3 | 0.0091876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-20_0_3_line_3 |  | 2 | 4 | 0.021481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-20_0_3_line_4 |  | 3 | 5 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-20_0_3_line_5 |  | 4 | 6 | 0.018032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-20_0_3_line_6 |  | 5 | 7 | 0.0010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-20_0_3_line_7 |  | 6 | 8 | 0.0034201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-20_0_3_line_8 |  | 7 | 79 | 0.019185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-20_0_3_line_9 |  | 7 | 62 | 0.0061579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-20_0_3_line_10 |  | 9 | 10 | 0.021963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-20_0_3_line_11 |  | 9 | 11 | 0.016542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-20_0_3_line_12 |  | 10 | 12 | 0.035593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-20_0_3_line_13 |  | 11 | 13 | 0.047319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-20_0_3_line_14 |  | 11 | 14 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-20_0_3_line_15 |  | 12 | 15 | 0.0082186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-20_0_3_line_16 |  | 13 | 16 | 0.0076219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-20_0_3_line_17 |  | 15 | 17 | 0.045879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-20_0_3_line_18 |  | 17 | 18 | 0.00017368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-20_0_3_line_19 |  | 18 | 19 | 0.034883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-20_0_3_line_20 |  | 19 | 20 | 0.048396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-20_0_3_line_21 |  | 20 | 21 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-20_0_3_line_22 |  | 20 | 22 | 0.013774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-20_0_3_line_23 |  | 20 | 23 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-20_0_3_line_24 |  | 21 | 24 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-20_0_3_line_25 |  | 22 | 25 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-20_0_3_line_26 |  | 23 | 26 | 0.0069041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-20_0_3_line_27 |  | 24 | 33 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-20_0_3_line_28 |  | 25 | 34 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-20_0_3_line_29 |  | 26 | 35 | 0.014409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-20_0_3_line_30 |  | 27 | 28 | 0.016356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-20_0_3_line_31 |  | 27 | 29 | 0.0084796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-20_0_3_line_32 |  | 29 | 30 | 0.033729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-20_0_3_line_33 |  | 30 | 31 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-20_0_3_line_34 |  | 31 | 32 | 0.041253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-20_0_3_line_35 |  | 32 | 49 | 0.026692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5254-20_0_3_line_36 |  | 32 | 48 | 0.0048679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5254-20_0_3_line_37 |  | 33 | 36 | 0.071304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-20_0_3_line_38 |  | 34 | 37 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-20_0_3_line_39 |  | 35 | 45 | 0.011161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-20_0_3_line_40 |  | 37 | 38 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-20_0_3_line_41 |  | 38 | 39 | 0.0061231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-20_0_3_line_42 |  | 39 | 40 | 0.0020016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-20_0_3_line_43 |  | 40 | 41 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-20_0_3_line_44 |  | 41 | 42 | 0.0025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-20_0_3_line_45 |  | 42 | 43 | 0.0030074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-20_0_3_line_46 |  | 43 | 44 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-20_0_3_line_47 |  | 45 | 46 | 0.0053283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5254-20_0_3_line_48 |  | 46 | 47 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5254-20_0_3_line_49 |  | 47 | 48 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5254-20_0_3_line_50 |  | 49 | 50 | 0.026923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-20_0_3_line_51 |  | 49 | 51 | 0.018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5254-20_0_3_line_52 |  | 50 | 52 | 0.033371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-20_0_3_line_53 |  | 50 | 53 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-20_0_3_line_54 |  | 51 | 54 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5254-20_0_3_line_55 |  | 52 | 76 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-20_0_3_line_56 |  | 52 | 56 | 0.066535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-20_0_3_line_57 |  | 53 | 77 | 0.014941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-20_0_3_line_58 |  | 54 | 75 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5254-20_0_3_line_59 |  | 55 | 56 | 0.090454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-20_0_3_line_60 |  | 57 | 58 | 0.024358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5254-20_0_3_line_61 |  | 57 | 59 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5254-20_0_3_line_62 |  | 58 | 60 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5254-20_0_3_line_63 |  | 60 | 61 | 0.0029343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5254-20_0_3_line_64 |  | 60 | 62 | 0.028909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-20_0_3_line_65 |  | 61 | 63 | 0.0091768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5254-20_0_3_line_66 |  | 63 | 78 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5254-20_0_3_line_67 |  | 64 | 65 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5254-20_0_3_line_68 |  | 64 | 66 | 0.0034924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5254-20_0_3_line_69 |  | 65 | 67 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5254-20_0_3_line_70 |  | 66 | 68 | 0.02117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5254-20_0_3_line_71 |  | 67 | 69 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5254-20_0_3_line_72 |  | 68 | 70 | 0.0035092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5254-20_0_3_line_73 |  | 69 | 71 | 0.013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5254-20_0_3_line_74 |  | 70 | 72 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5254-20_0_3_line_75 |  | 71 | 80 | 0.006706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-20_0_3_line_76 |  | 71 | 78 | 0.0083986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5254-20_0_3_line_77 |  | 72 | 73 | 0.0060439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5254-20_0_3_line_78 |  | 73 | 74 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5254-20_0_3_line_79 |  | 74 | 75 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5254-20_0_3_line_80 |  | 76 | 88 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5254-20_0_3_line_81 |  | 79 | 83 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5254-20_0_3_line_82 |  | 80 | 81 | 0.033191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5254-20_0_3_line_83 |  | 80 | 82 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5254-20_0_3_line_84 |  | 81 | 86 | 0.012622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5254-20_0_3_line_85 |  | 82 | 87 | 0.0068844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5254-20_0_3_line_86 |  | 83 | 84 | 0.003407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5254-20_0_3_line_87 |  | 84 | 85 | 0.0049983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5254-20_0_3_line_88 |  | 86 | 99 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5254-20_0_3_line_89 |  | 87 | 95 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5254-20_0_3_line_90 |  | 88 | 89 | 0.0027027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5254-20_0_3_line_91 |  | 90 | 91 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5254-20_0_3_line_92 |  | 91 | 92 | 0.023722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5254-20_0_3_line_93 |  | 92 | 93 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5254-20_0_3_line_94 |  | 93 | 94 | 0.01552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5254-20_0_3_line_95 |  | 94 | 98 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5254-20_0_3_line_96 |  | 95 | 96 | 0.015522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5254-20_0_3_line_97 |  | 96 | 97 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5254-20_0_3_line_98 |  | 97 | 98 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-20_0_3_trafo_51 | 0.63 MVA 20/0.4 kV | 100 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2717747.5371 | 1079980.8669 | 2717731.7949 | 1079966.8999
1 | 2717747.5371 | 1079980.8669 | 2717751.0575 | 1079983.9903
2 | 2717731.7949 | 1079966.8999 | 2717724.9224 | 1079960.8024
3 | 2717767.1261 | 1079998.2468 | 2717751.0575 | 1079983.9903
4 | 2717712.6107 | 1079949.8791 | 2717724.9224 | 1079960.8024
5 | 2717767.1261 | 1079998.2468 | 2717779.2884 | 1079984.9345
6 | 2717711.8452 | 1079949.1999 | 2717712.6107 | 1079949.8791
7 | 2717779.2884 | 1079984.9345 | 2717781.5953 | 1079982.4095
8 | 2717711.8452 | 1079949.1999 | 2717725.4753 | 1079935.6979
9 | 2717711.8452 | 1079949.1999 | 2717707.2144 | 1079945.1409
10 | 2717993.6171 | 1079718.2077 | 2717983.938 | 1079737.923
11 | 2718000.9072 | 1079703.3585 | 2717993.6171 | 1079718.2077
12 | 2717983.938 | 1079737.923 | 2717977.2499 | 1079751.546 | 2717968.9008 | 1079770.1777
13 | 2717976.035 | 1079670.2647 | 2717986.479 | 1079675.3483 | 2717992.9034 | 1079677.7854 | 2717997.0393 | 1079679.2443 | 2717997.7578 | 1079682.6606 | 2717999.351 | 1079690.2524 | 2718000.3794 | 1079698.9229 | 2718000.9072 | 1079703.3585
14 | 2718000.9072 | 1079703.3585 | 2718019.4644 | 1079705.1079
15 | 2717968.9008 | 1079770.1777 | 2717965.54 | 1079777.6777
16 | 2717976.035 | 1079670.2647 | 2717969.181 | 1079666.9306
17 | 2717965.54 | 1079777.6777 | 2717964.8267 | 1079779.2697 | 2717953.059 | 1079795.6091 | 2717934.8887 | 1079811.2855
18 | 2717934.8887 | 1079811.2855 | 2717934.7572 | 1079811.399
19 | 2717934.7572 | 1079811.399 | 2717932.7145 | 1079813.1613 | 2717911.7805 | 1079837.6084
20 | 2717880.3027 | 1079874.3687 | 2717911.7805 | 1079837.6084
21 | 2717880.3027 | 1079874.3687 | 2717891.9788 | 1079886.3729
22 | 2717880.3027 | 1079874.3687 | 2717871.0122 | 1079884.5378
23 | 2717880.3027 | 1079874.3687 | 2717860.805 | 1079852.686
24 | 2717891.9788 | 1079886.3729 | 2717900.7121 | 1079895.3517
25 | 2717859.9281 | 1079896.6699 | 2717871.0122 | 1079884.5378
26 | 2717860.805 | 1079852.686 | 2717856.2783 | 1079847.6519 | 2717856.2045 | 1079847.5399
27 | 2717914.0314 | 1079909.0453 | 2717900.7121 | 1079895.3517
28 | 2717859.9281 | 1079896.6699 | 2717849.4579 | 1079908.1301
29 | 2717848.2805 | 1079835.5056 | 2717856.2045 | 1079847.5399
30 | 2717902.2196 | 1079819.3094 | 2717890.8147 | 1079807.5854
31 | 2717884.902 | 1079801.5074 | 2717890.8147 | 1079807.5854
32 | 2717884.902 | 1079801.5074 | 2717861.3833 | 1079777.3307
33 | 2717861.3833 | 1079777.3307 | 2717853.9565 | 1079769.6962
34 | 2717822.5958 | 1079796.4979 | 2717853.9565 | 1079769.6962 | 2717853.9565 | 1079769.6962
35 | 2717822.5958 | 1079796.4979 | 2717803.3699 | 1079777.9242
36 | 2717822.5958 | 1079796.4979 | 2717825.2729 | 1079800.5636
37 | 2717914.0314 | 1079909.0453 | 2717963.7477 | 1079960.1589
38 | 2717849.4579 | 1079908.1301 | 2717838.1269 | 1079920.5325
39 | 2717848.2805 | 1079835.5056 | 2717842.1428 | 1079826.1841
40 | 2717838.1269 | 1079920.5325 | 2717829.9049 | 1079929.5319
41 | 2717825.7749 | 1079934.0525 | 2717829.9049 | 1079929.5319
42 | 2717825.7749 | 1079934.0525 | 2717824.4248 | 1079935.5302
43 | 2717824.4248 | 1079935.5302 | 2717817.3443 | 1079943.2803
44 | 2717817.3443 | 1079943.2803 | 2717815.6463 | 1079945.1387
45 | 2717813.6179 | 1079947.359 | 2717815.6463 | 1079945.1387
46 | 2717813.6179 | 1079947.359 | 2717803.4933 | 1079958.4409
47 | 2717839.2125 | 1079821.7339 | 2717842.1428 | 1079826.1841
48 | 2717833.4877 | 1079813.0395 | 2717839.2125 | 1079821.7339
49 | 2717833.4877 | 1079813.0395 | 2717825.2729 | 1079800.5636
50 | 2717783.976 | 1079759.1917 | 2717803.3699 | 1079777.9242
51 | 2717803.3699 | 1079777.9242 | 2717790.5105 | 1079790.5494
52 | 2717783.976 | 1079759.1917 | 2717761.7426 | 1079734.3059
53 | 2717783.976 | 1079759.1917 | 2717773.7163 | 1079768.6617
54 | 2717790.5105 | 1079790.5494 | 2717783.065 | 1079797.8593
55 | 2717743.1312 | 1079714.382 | 2717751.3458 | 1079722.6688 | 2717761.7426 | 1079734.3059
56 | 2717761.7426 | 1079734.3059 | 2717810.5418 | 1079689.0776
57 | 2717762.7377 | 1079778.7953 | 2717773.7163 | 1079768.6617
58 | 2717783.065 | 1079797.8593 | 2717773.0834 | 1079807.6592
59 | 2717810.5418 | 1079689.0776 | 2717854.3207 | 1079609.9232
60 | 2717715.4133 | 1079895.3115 | 2717698.4279 | 1079912.7707
61 | 2717726.8091 | 1079883.5979 | 2717715.4133 | 1079895.3115
62 | 2717685.4746 | 1079926.0854 | 2717698.4279 | 1079912.7707
63 | 2717685.4746 | 1079926.0854 | 2717683.2675 | 1079924.1517
64 | 2717685.4746 | 1079926.0854 | 2717707.2144 | 1079945.1409
65 | 2717676.3651 | 1079918.1043 | 2717683.2675 | 1079924.1517
66 | 2717676.3651 | 1079918.1043 | 2717661.555 | 1079905.1286
67 | 2717706.5484 | 1079848.1871 | 2717693.3123 | 1079861.4481
68 | 2717706.5484 | 1079848.1871 | 2717709.0156 | 1079845.7153
69 | 2717677.7493 | 1079877.0404 | 2717693.3123 | 1079861.4481
70 | 2717723.9708 | 1079830.7319 | 2717709.0156 | 1079845.7153
71 | 2717665.0233 | 1079889.7903 | 2717677.7493 | 1079877.0404
72 | 2717723.9708 | 1079830.7319 | 2717726.4498 | 1079828.2482
73 | 2717655.238 | 1079899.5941 | 2717665.0233 | 1079889.7903
74 | 2717741.7018 | 1079812.9676 | 2717726.4498 | 1079828.2482
75 | 2717650.1249 | 1079895.2368 | 2717655.238 | 1079899.5941
76 | 2717655.238 | 1079899.5941 | 2717661.555 | 1079905.1286
77 | 2717741.7018 | 1079812.9676 | 2717745.9715 | 1079808.6899
78 | 2717758.2326 | 1079806.2585 | 2717753.8554 | 1079801.4287 | 2717746.3498 | 1079808.3108 | 2717745.9715 | 1079808.6899
79 | 2717758.2326 | 1079806.2585 | 2717765.8966 | 1079814.7152 | 2717773.0834 | 1079807.6592
80 | 2717743.1312 | 1079714.382 | 2717723.1421 | 1079731.9633
81 | 2717725.4753 | 1079935.6979 | 2717739.3364 | 1079921.967
82 | 2717650.1249 | 1079895.2368 | 2717623.3691 | 1079914.9789
83 | 2717650.1249 | 1079895.2368 | 2717641.0041 | 1079878.093
84 | 2717623.3691 | 1079914.9789 | 2717613.2143 | 1079922.4744
85 | 2717637.7706 | 1079872.0152 | 2717641.0041 | 1079878.093
86 | 2717739.3364 | 1079921.967 | 2717739.3364 | 1079921.967 | 2717740.3033 | 1079918.7001
87 | 2717741.7218 | 1079913.9074 | 2717740.3033 | 1079918.7001
88 | 2717598.2317 | 1079936.008 | 2717601.0266 | 1079931.4706 | 2717613.2143 | 1079922.4744
89 | 2717637.7706 | 1079872.0152 | 2717648.5549 | 1079862.8171
90 | 2717721.1127 | 1079733.7483 | 2717723.1421 | 1079731.9633
91 | 2717710.2546 | 1079779.0374 | 2717699.5591 | 1079787.1911
92 | 2717724.9388 | 1079797.6679 | 2717710.2546 | 1079779.0374
93 | 2717710.2661 | 1079810.1824 | 2717724.9388 | 1079797.6679
94 | 2717698.4577 | 1079820.254 | 2717710.2661 | 1079810.1824
95 | 2717685.7567 | 1079831.087 | 2717698.4577 | 1079820.254
96 | 2717648.5549 | 1079862.8171 | 2717660.3646 | 1079852.7444
97 | 2717660.3646 | 1079852.7444 | 2717673.5215 | 1079841.5226
98 | 2717673.5215 | 1079841.5226 | 2717685.7567 | 1079831.087

## bus_geodata
| x | y | coords
0 | 2717747.5371 | 1079980.8669
1 | 2717731.7949 | 1079966.8999
2 | 2717751.0575 | 1079983.9903
3 | 2717724.9224 | 1079960.8024
4 | 2717767.1261 | 1079998.2468
5 | 2717712.6107 | 1079949.8791
6 | 2717779.2884 | 1079984.9345
7 | 2717711.8452 | 1079949.1999
8 | 2717781.5953 | 1079982.4095
9 | 2717993.6171 | 1079718.2077
10 | 2717983.938 | 1079737.923
11 | 2718000.9072 | 1079703.3585
12 | 2717968.9008 | 1079770.1777
13 | 2717976.035 | 1079670.2647
14 | 2718019.4644 | 1079705.1079
15 | 2717965.54 | 1079777.6777
16 | 2717969.181 | 1079666.9306
17 | 2717934.8887 | 1079811.2855
18 | 2717934.7572 | 1079811.399
19 | 2717911.7805 | 1079837.6084
20 | 2717880.3027 | 1079874.3687
21 | 2717891.9788 | 1079886.3729
22 | 2717871.0122 | 1079884.5378
23 | 2717860.805 | 1079852.686
24 | 2717900.7121 | 1079895.3517
25 | 2717859.9281 | 1079896.6699
26 | 2717856.2045 | 1079847.5399
27 | 2717890.8147 | 1079807.5854
28 | 2717902.2196 | 1079819.3094
29 | 2717884.902 | 1079801.5074
30 | 2717861.3833 | 1079777.3307
31 | 2717853.9565 | 1079769.6962
32 | 2717822.5958 | 1079796.4979
33 | 2717914.0314 | 1079909.0453
34 | 2717849.4579 | 1079908.1301
35 | 2717848.2805 | 1079835.5056
36 | 2717963.7477 | 1079960.1589
37 | 2717838.1269 | 1079920.5325
38 | 2717829.9049 | 1079929.5319
39 | 2717825.7749 | 1079934.0525
40 | 2717824.4248 | 1079935.5302
41 | 2717817.3443 | 1079943.2803
42 | 2717815.6463 | 1079945.1387
43 | 2717813.6179 | 1079947.359
44 | 2717803.4933 | 1079958.4409
45 | 2717842.1428 | 1079826.1841
46 | 2717839.2125 | 1079821.7339
47 | 2717833.4877 | 1079813.0395
48 | 2717825.2729 | 1079800.5636
49 | 2717803.3699 | 1079777.9242
50 | 2717783.976 | 1079759.1917
51 | 2717790.5105 | 1079790.5494
52 | 2717761.7426 | 1079734.3059
53 | 2717773.7163 | 1079768.6617
54 | 2717783.065 | 1079797.8593
55 | 2717854.3207 | 1079609.9232
56 | 2717810.5418 | 1079689.0776
57 | 2717715.4133 | 1079895.3115
58 | 2717698.4279 | 1079912.7707
59 | 2717726.8091 | 1079883.5979
60 | 2717685.4746 | 1079926.0854
61 | 2717683.2675 | 1079924.1517
62 | 2717707.2144 | 1079945.1409
63 | 2717676.3651 | 1079918.1043
64 | 2717706.5484 | 1079848.1871
65 | 2717693.3123 | 1079861.4481
66 | 2717709.0156 | 1079845.7153
67 | 2717677.7493 | 1079877.0404
68 | 2717723.9708 | 1079830.7319
69 | 2717665.0233 | 1079889.7903
70 | 2717726.4498 | 1079828.2482
71 | 2717655.238 | 1079899.5941
72 | 2717741.7018 | 1079812.9676
73 | 2717745.9715 | 1079808.6899
74 | 2717758.2326 | 1079806.2585
75 | 2717773.0834 | 1079807.6592
76 | 2717743.1312 | 1079714.382
77 | 2717762.7376 | 1079778.7953
78 | 2717661.555 | 1079905.1286
79 | 2717725.4753 | 1079935.6979
80 | 2717650.1249 | 1079895.2368
81 | 2717623.3691 | 1079914.9789
82 | 2717641.0041 | 1079878.093
83 | 2717739.3364 | 1079921.967
84 | 2717740.3033 | 1079918.7001
85 | 2717741.7218 | 1079913.9074
86 | 2717613.2143 | 1079922.4744
87 | 2717637.7706 | 1079872.0152
88 | 2717723.1421 | 1079731.9633
89 | 2717721.1127 | 1079733.7483
90 | 2717699.5591 | 1079787.1911
91 | 2717710.2546 | 1079779.0374
92 | 2717724.9388 | 1079797.6679
93 | 2717710.2661 | 1079810.1824
94 | 2717698.4577 | 1079820.254
95 | 2717648.5549 | 1079862.8171
96 | 2717660.3646 | 1079852.7444
97 | 2717673.5215 | 1079841.5226
98 | 2717685.7567 | 1079831.087
99 | 2717598.2317 | 1079936.008
100 | 2717685.4746 | 1079926.0854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1