## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-37_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-37_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-37_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5254-37_0_6_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_5254-37_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5254-37_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5254-37_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5254-37_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_5254-37_0_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5254-37_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5254-37_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5254-37_0_6_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_5254-37_0_6_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_5254-37_0_6_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_5254-37_0_6_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_5254-37_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5254-37_0_6_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_5254-37_0_6_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_5254-37_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5254-37_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5254-37_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5254-37_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5254-37_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5254-37_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5254-37_0_6_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_5254-37_0_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_5254-37_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5254-37_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5254-37_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5254-37_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5254-37_0_6_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_5254-37_0_6_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_5254-37_0_6_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_5254-37_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5254-37_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5254-37_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_5254-37_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5254-37_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5254-37_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5254-37_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5254-37_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5254-37_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5254-37_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5254-37_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_5254-37_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5254-37_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_5254-37_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5254-37_0_6_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_5254-37_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5254-37_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5254-37_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5254-37_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5254-37_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5254-37_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5254-37_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5254-37_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5254-37_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5254-37_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_5254-37_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5254-37_0_6_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_5254-37_0_6_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_5254-37_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5254-37_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_5254-37_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_5254-37_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5254-37_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5254-37_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5254-37_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5254-37_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5254-37_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5254-37_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5254-37_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5254-37_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5254-37_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5254-37_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5254-37_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5254-37_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5254-37_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_5254-37_0_6_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5254-37_0_6_node_78 | 0.4 | n |  | TRUE
80 | bus_MV_76_1_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-37_0_6_load_0 | 0 | 0.027369 | 0.0068593 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-37_0_6_load_1 | 1 | 0.085591 | 0.021451 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-37_0_6_load_7 | 3 | 0.013879 | 0.0034784 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-37_0_6_load_13 | 5 | 0.0097586 | 0.0024457 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-37_0_6_load_10 | 6 | 0.0075618 | 0.0018952 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-37_0_6_load_20 | 7 | 0.0076597 | 0.0019197 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-37_0_6_load_11 | 8 | 0.0077616 | 0.0019452 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-37_0_6_load_80 | 11 | 0.003042 | 0.00076239 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-37_0_6_load_82 | 12 | 0.0072721 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-37_0_6_load_79 | 13 | 0.0021005 | 0.00052644 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-37_0_6_load_83 | 14 | 0.0047105 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-37_0_6_load_12 | 15 | 0.0054071 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-37_0_6_load_27 | 17 | 0.0056918 | 0.0014265 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-37_0_6_load_17 | 18 | 0.010095 | 0.0025302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-37_0_6_load_19 | 19 | 0.0027522 | 0.00068976 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-37_0_6_load_14 | 20 | 0.011856 | 0.0029714 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-37_0_6_load_15 | 21 | 0.018134 | 0.0045449 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-37_0_6_load_16 | 22 | 0.010767 | 0.0026985 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-37_0_6_load_18 | 23 | 0.010212 | 0.0025593 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-37_0_6_load_28 | 24 | 0.0029809 | 0.00074708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-37_0_6_load_32 | 25 | 0.0024309 | 0.00060924 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-37_0_6_load_72 | 30 | 0.0033281 | 0.0008341 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-37_0_6_load_71 | 31 | 0.0029897 | 0.00074928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-37_0_6_load_70 | 32 | 0.0045537 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-37_0_6_load_31 | 34 | 0.0068509 | 0.001717 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-37_0_6_load_30 | 36 | 0.026102 | 0.0065419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-37_0_6_load_33 | 37 | 0.010124 | 0.0025372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-37_0_6_load_29 | 38 | 0.051005 | 0.012783 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-37_0_6_load_34 | 39 | 0.015302 | 0.003835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-37_0_6_load_35 | 40 | 0.01065 | 0.0026692 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-37_0_6_load_36 | 41 | 0.0033537 | 0.00084051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-37_0_6_load_41 | 44 | 0.0032111 | 0.00080477 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-37_0_6_load_42 | 46 | 0.0082405 | 0.0020653 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-37_0_6_load_38 | 48 | 0.0031752 | 0.00079579 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-37_0_6_load_39 | 49 | 0.0034171 | 0.00085639 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-37_0_6_load_56 | 50 | 0.0023122 | 0.0005795 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-37_0_6_load_50 | 51 | 0.0095203 | 0.002386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-37_0_6_load_47 | 52 | 0.0043589 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-37_0_6_load_51 | 54 | 0.0043115 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-37_0_6_load_45 | 55 | 0.0015238 | 0.0003819 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-37_0_6_load_44 | 56 | 0.0054006 | 0.0013535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-37_0_6_load_49 | 58 | 0.010027 | 0.0025131 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-37_0_6_load_84 | 60 | 0.014134 | 0.0035423 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-37_0_6_load_52 | 61 | 0.010061 | 0.0025215 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-37_0_6_load_53 | 62 | 0.0030958 | 0.00077588 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-37_0_6_load_54 | 63 | 0.0078667 | 0.0019716 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-37_0_6_load_55 | 64 | 0.0014231 | 0.00035666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-37_0_6_load_59 | 65 | 0.002546 | 0.00063808 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-37_0_6_load_60 | 66 | 0.00201 | 0.00050375 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-37_0_6_load_65 | 69 | 0.0064874 | 0.0016259 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-37_0_6_load_69 | 70 | 0.0042432 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-37_0_6_load_67 | 71 | 0.0031582 | 0.00079152 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-37_0_6_load_64 | 72 | 0.002007 | 0.00050301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-37_0_6_load_62 | 73 | 0.003042 | 0.0007624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-37_0_6_load_63 | 74 | 0.0034735 | 0.00087055 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-37_0_6_load_68 | 75 | 0.0022075 | 0.00055324 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-37_0_6_load_75 | 76 | 0.0045164 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-37_0_6_load_76 | 77 | 0.003566 | 0.00089371 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-37_0_6_load_77 | 78 | 0.0025086 | 0.00062872 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-37_0_6_load_78 | 79 | 0.0032281 | 0.00080903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-37_0_6_line_0 |  | 0 | 1 | 0.062906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-37_0_6_line_1 |  | 0 | 2 | 0.0036619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-37_0_6_line_2 |  | 1 | 3 | 0.13339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-37_0_6_line_3 |  | 2 | 4 | 0.001142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-37_0_6_line_4 |  | 4 | 5 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5254-37_0_6_line_5 |  | 4 | 6 | 0.0050854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5254-37_0_6_line_6 |  | 5 | 7 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5254-37_0_6_line_7 |  | 6 | 8 | 0.022971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5254-37_0_6_line_8 |  | 7 | 19 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5254-37_0_6_line_9 |  | 8 | 15 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-37_0_6_line_10 |  | 9 | 10 | 0.013692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-37_0_6_line_11 |  | 9 | 11 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-37_0_6_line_12 |  | 10 | 12 | 0.023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-37_0_6_line_13 |  | 11 | 13 | 0.031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-37_0_6_line_14 |  | 12 | 14 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-37_0_6_line_15 |  | 13 | 79 | 0.0073982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-37_0_6_line_16 |  | 14 | 17 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-37_0_6_line_17 |  | 15 | 16 | 0.029524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-37_0_6_line_18 |  | 16 | 17 | 0.024939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-37_0_6_line_19 |  | 16 | 18 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-37_0_6_line_20 |  | 18 | 21 | 0.010988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-37_0_6_line_21 |  | 19 | 26 | 0.027891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5254-37_0_6_line_22 |  | 20 | 21 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-37_0_6_line_23 |  | 20 | 22 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-37_0_6_line_24 |  | 22 | 23 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-37_0_6_line_25 |  | 23 | 24 | 0.0043204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-37_0_6_line_26 |  | 24 | 25 | 0.013477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-37_0_6_line_27 |  | 25 | 37 | 0.0023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-37_0_6_line_28 |  | 26 | 27 | 0.021716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5254-37_0_6_line_29 |  | 27 | 33 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-37_0_6_line_30 |  | 27 | 32 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5254-37_0_6_line_31 |  | 28 | 29 | 0.022225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5254-37_0_6_line_32 |  | 28 | 30 | 0.033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5254-37_0_6_line_33 |  | 29 | 31 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-37_0_6_line_34 |  | 29 | 32 | 0.0033912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5254-37_0_6_line_35 |  | 30 | 35 | 0.02476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5254-37_0_6_line_36 |  | 33 | 34 | 0.030025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5254-37_0_6_line_37 |  | 34 | 36 | 0.00030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-37_0_6_line_38 |  | 35 | 57 | 0.017298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-37_0_6_line_39 |  | 36 | 38 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-37_0_6_line_40 |  | 37 | 39 | 0.0046493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-37_0_6_line_41 |  | 40 | 41 | 0.025753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-37_0_6_line_42 |  | 41 | 42 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-37_0_6_line_43 |  | 42 | 43 | 0.026667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-37_0_6_line_44 |  | 42 | 44 | 0.034208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-37_0_6_line_45 |  | 43 | 45 | 0.006308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-37_0_6_line_46 |  | 43 | 46 | 0.039643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-37_0_6_line_47 |  | 44 | 47 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-37_0_6_line_48 |  | 45 | 51 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-37_0_6_line_49 |  | 45 | 52 | 0.028034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-37_0_6_line_50 |  | 47 | 53 | 0.005632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-37_0_6_line_51 |  | 47 | 50 | 0.00028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-37_0_6_line_52 |  | 48 | 49 | 0.020057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-37_0_6_line_53 |  | 49 | 50 | 0.036339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-37_0_6_line_54 |  | 51 | 54 | 0.015609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-37_0_6_line_55 |  | 52 | 55 | 0.0051369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-37_0_6_line_56 |  | 53 | 65 | 0.029471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-37_0_6_line_57 |  | 54 | 61 | 0.0071169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-37_0_6_line_58 |  | 55 | 56 | 0.03969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5254-37_0_6_line_59 |  | 56 | 57 | 0.023615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-37_0_6_line_60 |  | 57 | 58 | 0.030239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-37_0_6_line_61 |  | 58 | 59 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-37_0_6_line_62 |  | 59 | 60 | 0.016309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-37_0_6_line_63 |  | 61 | 62 | 0.0060264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-37_0_6_line_64 |  | 62 | 63 | 0.007589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-37_0_6_line_65 |  | 63 | 64 | 0.0069719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-37_0_6_line_66 |  | 65 | 66 | 0.015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-37_0_6_line_67 |  | 66 | 67 | 0.032622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-37_0_6_line_68 |  | 67 | 68 | 0.033403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-37_0_6_line_69 |  | 67 | 69 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-37_0_6_line_70 |  | 68 | 70 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-37_0_6_line_71 |  | 68 | 71 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-37_0_6_line_72 |  | 69 | 72 | 0.0087377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-37_0_6_line_73 |  | 71 | 75 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-37_0_6_line_74 |  | 72 | 73 | 0.0069879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-37_0_6_line_75 |  | 73 | 74 | 0.064763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-37_0_6_line_76 |  | 76 | 77 | 0.024168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5254-37_0_6_line_77 |  | 77 | 78 | 0.03676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5254-37_0_6_line_78 |  | 78 | 79 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-37_0_6_trafo_20 | 0.63 MVA 20/0.4 kV | 80 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2719758.0721 | 1080299.107 | 2719734.2668 | 1080291.3782 | 2719703.2998 | 1080269.5665
1 | 2719757.3413 | 1080302.6952 | 2719758.0721 | 1080299.107
2 | 2719703.2998 | 1080269.5665 | 2719761.1326 | 1080149.3712
3 | 2719757.3413 | 1080302.6952 | 2719757.1095 | 1080303.8136
4 | 2719757.1095 | 1080303.8136 | 2719774.0437 | 1080309.5221
5 | 2719757.1095 | 1080303.8136 | 2719752.1942 | 1080302.5097
6 | 2719792.7961 | 1080315.8434 | 2719774.0437 | 1080309.5221
7 | 2719752.1942 | 1080302.5097 | 2719729.9915 | 1080296.6199
8 | 2719805.0278 | 1080319.9667 | 2719792.7961 | 1080315.8434
9 | 2719729.9915 | 1080296.6199 | 2719711.4505 | 1080291.7014
10 | 2719585.6525 | 1080260.8946 | 2719599.1163 | 1080263.594
11 | 2719585.6525 | 1080260.8946 | 2719579.9968 | 1080275.0392
12 | 2719599.1163 | 1080263.594 | 2719621.6663 | 1080269.1206
13 | 2719568.1286 | 1080304.721 | 2719579.9968 | 1080275.0392
14 | 2719621.6663 | 1080269.1206 | 2719645.236 | 1080274.8971
15 | 2719568.1286 | 1080304.721 | 2719565.3818 | 1080311.5904
16 | 2719645.236 | 1080274.8971 | 2719658.691 | 1080278.1947
17 | 2719682.9133 | 1080284.1312 | 2719711.4505 | 1080291.7014
18 | 2719682.9133 | 1080284.1312 | 2719658.691 | 1080278.1947
19 | 2719682.9133 | 1080284.1312 | 2719678.1055 | 1080300.6843
20 | 2719678.1055 | 1080300.6843 | 2719675.0407 | 1080311.2362
21 | 2719830.6797 | 1080330.8122 | 2719814.0307 | 1080323.0015 | 2719805.0278 | 1080319.9667
22 | 2719675.0407 | 1080311.2362 | 2719670.9804 | 1080325.2153
23 | 2719665.9492 | 1080337.0248 | 2719668.6909 | 1080333.098 | 2719670.9804 | 1080325.2153
24 | 2719665.9492 | 1080337.0248 | 2719665.9492 | 1080337.0248 | 2719659.9336 | 1080337.5738 | 2719655.8923 | 1080336.915
25 | 2719655.8923 | 1080336.915 | 2719651.6282 | 1080336.22
26 | 2719639.1736 | 1080331.1443 | 2719650.6261 | 1080336.0566 | 2719651.6282 | 1080336.22
27 | 2719637.0504 | 1080330.2336 | 2719639.1736 | 1080331.1443
28 | 2719829.1818 | 1080352.0646 | 2719830.2239 | 1080349.6389 | 2719831.1631 | 1080346.911 | 2719830.0634 | 1080336.0816 | 2719830.6797 | 1080330.8122
29 | 2719818.0333 | 1080361.2075 | 2719824.4718 | 1080358.5099 | 2719829.1818 | 1080352.0646
30 | 2719829.1818 | 1080352.0646 | 2719833.304 | 1080356.5488 | 2719837.0857 | 1080354.644 | 2719843.2978 | 1080356.7455 | 2719846.1237 | 1080361.5711
31 | 2719849.2342 | 1080360.2202 | 2719852.8066 | 1080358.6894 | 2719854.6321 | 1080357.9025 | 2719854.1997 | 1080353.4241 | 2719857.0222 | 1080347.7644 | 2719856.6262 | 1080346.9672 | 2719854.5486 | 1080342.8011
32 | 2719854.5486 | 1080342.8011 | 2719885.4944 | 1080329.3093
33 | 2719849.2342 | 1080360.2202 | 2719859.315 | 1080381.7491
34 | 2719849.2342 | 1080360.2202 | 2719846.4449 | 1080361.4329 | 2719846.1237 | 1080361.5711
35 | 2719902.2622 | 1080313.93 | 2719901.4766 | 1080319.8966 | 2719895.5437 | 1080324.9279 | 2719885.4944 | 1080329.3093
36 | 2719818.0333 | 1080361.2075 | 2719814.8715 | 1080363.1912 | 2719796.582 | 1080382.0803
37 | 2719796.582 | 1080382.0803 | 2719796.3672 | 1080382.3022
38 | 2719918.4804 | 1080315.2055 | 2719912.5365 | 1080317.6348 | 2719902.2622 | 1080313.93
39 | 2719777.3288 | 1080404.5481 | 2719780.8631 | 1080398.3146 | 2719796.3672 | 1080382.3022
40 | 2719632.7775 | 1080328.4008 | 2719637.0504 | 1080330.2336
41 | 2719972.2684 | 1080182.3215 | 2719973.4792 | 1080185.0724 | 2719979.2283 | 1080198.0616 | 2719980.8286 | 1080206.4529
42 | 2719981.1007 | 1080220.1364 | 2719981.8336 | 1080211.7226 | 2719980.8286 | 1080206.4529
43 | 2719968.0969 | 1080242.5966 | 2719972.4644 | 1080239.358 | 2719976.3675 | 1080233.6641 | 2719979.0496 | 1080226.8564 | 2719981.1007 | 1080220.1364
44 | 2719981.1007 | 1080220.1364 | 2719987.0968 | 1080221.3776 | 2719993.15 | 1080211.4341 | 2720006.5678 | 1080201.928
45 | 2719971.3462 | 1080248.0088 | 2719968.0969 | 1080242.5966
46 | 2719968.0969 | 1080242.5966 | 2719955.585 | 1080247.1869 | 2719942.9326 | 1080246.2818 | 2719930.7238 | 1080240.2208
47 | 2720022.8041 | 1080190.4251 | 2720006.5678 | 1080201.928
48 | 2719971.3462 | 1080248.0088 | 2719977.3276 | 1080260.2464 | 2719978.1986 | 1080262.9013
49 | 2719971.3462 | 1080248.0088 | 2719963.4116 | 1080248.5642 | 2719958.9567 | 1080249.933 | 2719962.2143 | 1080257.2913 | 2719956.7734 | 1080259.4191 | 2719955.4386 | 1080260.1679
50 | 2720022.8041 | 1080190.4251 | 2720026.4166 | 1080194.7548
51 | 2720022.6221 | 1080190.2047 | 2720022.8041 | 1080190.4251
52 | 2719987.4665 | 1080146.1241 | 2719999.5155 | 1080162.1589
53 | 2719999.5155 | 1080162.1589 | 2720000.0571 | 1080162.8797 | 2720022.6221 | 1080190.2047
54 | 2719983.0642 | 1080277.733 | 2719978.1986 | 1080262.9013
55 | 2719950.9585 | 1080262.681 | 2719955.4386 | 1080260.1679
56 | 2720026.4166 | 1080194.7548 | 2720042.3612 | 1080208.3564 | 2720049.6039 | 1080212.8312
57 | 2719983.0642 | 1080277.733 | 2719985.2827 | 1080284.4953
58 | 2719933.0936 | 1080297.0105 | 2719936.6389 | 1080288.5659 | 2719938.2215 | 1080283.1488 | 2719939.9458 | 1080278.0346 | 2719946.7582 | 1080265.0371 | 2719950.9585 | 1080262.681
59 | 2719918.4804 | 1080315.2055 | 2719924.7521 | 1080307.1787 | 2719931.3655 | 1080301.1267 | 2719933.0936 | 1080297.0105
60 | 2719918.4804 | 1080315.2055 | 2719921.1875 | 1080319.7509 | 2719926.8038 | 1080329.624 | 2719933.3626 | 1080341.5265
61 | 2719943.3102 | 1080358.0803 | 2719942.2092 | 1080357.5805 | 2719933.3626 | 1080341.5265
62 | 2719943.3102 | 1080358.0803 | 2719949.7197 | 1080373.0768
63 | 2719987.1612 | 1080290.2215 | 2719985.2827 | 1080284.4953
64 | 2719989.5267 | 1080297.4324 | 2719987.1612 | 1080290.2215
65 | 2719989.5267 | 1080297.4324 | 2719991.7 | 1080304.057
66 | 2720049.6039 | 1080212.8312 | 2720060.1517 | 1080219.3479 | 2720062.8636 | 1080220.3538
67 | 2720092.229 | 1080215.3214 | 2720082.7586 | 1080222.451 | 2720073.3854 | 1080224.2566 | 2720062.8636 | 1080220.3538
68 | 2720117.3988 | 1080237.3665 | 2720092.229 | 1080215.3214
69 | 2720092.229 | 1080215.3214 | 2720095.005 | 1080210.0612 | 2720096.4744 | 1080206.4542 | 2720096.3253 | 1080199.3611
70 | 2720117.3988 | 1080237.3665 | 2720130.7673 | 1080247.9684
71 | 2720117.3988 | 1080237.3665 | 2720102.5207 | 1080254.6956
72 | 2720096.1417 | 1080190.6252 | 2720096.1417 | 1080190.6252 | 2720096.3253 | 1080199.3611
73 | 2720088.3541 | 1080271.1962 | 2720102.5207 | 1080254.6956
74 | 2720093.3134 | 1080184.2353 | 2720096.1417 | 1080190.6252
75 | 2720093.3134 | 1080184.2353 | 2720081.8326 | 1080158.298 | 2720062.5438 | 1080127.4306
76 | 2719536.813 | 1080383.0395 | 2719545.7857 | 1080360.5993
77 | 2719545.7857 | 1080360.5993 | 2719559.4336 | 1080326.4667
78 | 2719559.4336 | 1080326.4667 | 2719565.3818 | 1080311.5904

## bus_geodata
| x | y | coords
0 | 2719758.0721 | 1080299.107
1 | 2719703.2998 | 1080269.5665
2 | 2719757.3413 | 1080302.6952
3 | 2719761.1326 | 1080149.3712
4 | 2719757.1095 | 1080303.8136
5 | 2719774.0437 | 1080309.5221
6 | 2719752.1942 | 1080302.5097
7 | 2719792.7961 | 1080315.8434
8 | 2719729.9915 | 1080296.6199
9 | 2719585.6525 | 1080260.8946
10 | 2719599.1163 | 1080263.594
11 | 2719579.9968 | 1080275.0392
12 | 2719621.6663 | 1080269.1206
13 | 2719568.1286 | 1080304.721
14 | 2719645.236 | 1080274.8971
15 | 2719711.4505 | 1080291.7014
16 | 2719682.9133 | 1080284.1312
17 | 2719658.691 | 1080278.1947
18 | 2719678.1055 | 1080300.6843
19 | 2719805.0278 | 1080319.9667
20 | 2719670.9804 | 1080325.2153
21 | 2719675.0407 | 1080311.2362
22 | 2719665.9492 | 1080337.0248
23 | 2719655.8923 | 1080336.915
24 | 2719651.6282 | 1080336.22
25 | 2719639.1736 | 1080331.1443
26 | 2719830.6797 | 1080330.8122
27 | 2719829.1818 | 1080352.0646
28 | 2719854.5486 | 1080342.8011
29 | 2719849.2342 | 1080360.2202
30 | 2719885.4944 | 1080329.3093
31 | 2719859.315 | 1080381.7491
32 | 2719846.1237 | 1080361.5711
33 | 2719818.0333 | 1080361.2075
34 | 2719796.582 | 1080382.0803
35 | 2719902.2622 | 1080313.93
36 | 2719796.3672 | 1080382.3022
37 | 2719637.0504 | 1080330.2336
38 | 2719777.3288 | 1080404.5481
39 | 2719632.7775 | 1080328.4008
40 | 2719972.2684 | 1080182.3215
41 | 2719980.8286 | 1080206.4529
42 | 2719981.1007 | 1080220.1364
43 | 2719968.0969 | 1080242.5966
44 | 2720006.5678 | 1080201.928
45 | 2719971.3462 | 1080248.0088
46 | 2719930.7238 | 1080240.2208
47 | 2720022.8041 | 1080190.4251
48 | 2719987.4665 | 1080146.1241
49 | 2719999.5155 | 1080162.1589
50 | 2720022.6221 | 1080190.2047
51 | 2719978.1986 | 1080262.9013
52 | 2719955.4386 | 1080260.1679
53 | 2720026.4166 | 1080194.7549
54 | 2719983.0642 | 1080277.733
55 | 2719950.9585 | 1080262.681
56 | 2719933.0936 | 1080297.0105
57 | 2719918.4804 | 1080315.2055
58 | 2719933.3626 | 1080341.5265
59 | 2719943.3102 | 1080358.0803
60 | 2719949.7197 | 1080373.0768
61 | 2719985.2827 | 1080284.4953
62 | 2719987.1612 | 1080290.2215
63 | 2719989.5267 | 1080297.4324
64 | 2719991.7 | 1080304.057
65 | 2720049.6039 | 1080212.8312
66 | 2720062.8636 | 1080220.3538
67 | 2720092.229 | 1080215.3214
68 | 2720117.3988 | 1080237.3665
69 | 2720096.3253 | 1080199.3611
70 | 2720130.7673 | 1080247.9684
71 | 2720102.5207 | 1080254.6956
72 | 2720096.1417 | 1080190.6252
73 | 2720093.3134 | 1080184.2353
74 | 2720062.5438 | 1080127.4306
75 | 2720088.3541 | 1080271.1962
76 | 2719536.813 | 1080383.0395
77 | 2719545.7857 | 1080360.5993
78 | 2719559.4336 | 1080326.4667
79 | 2719565.3818 | 1080311.5904
80 | 2719757.1095 | 1080303.8136

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1