## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-3_1_4_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_5254-3_1_4_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_5254-3_1_4_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_5254-3_1_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_5254-3_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5254-3_1_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5254-3_1_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5254-3_1_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5254-3_1_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_5254-3_1_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_5254-3_1_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5254-3_1_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5254-3_1_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5254-3_1_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5254-3_1_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5254-3_1_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_5254-3_1_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_5254-3_1_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5254-3_1_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_5254-3_1_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5254-3_1_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5254-3_1_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5254-3_1_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5254-3_1_4_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_5254-3_1_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_5254-3_1_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5254-3_1_4_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_5254-3_1_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5254-3_1_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_5254-3_1_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_5254-3_1_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_5254-3_1_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5254-3_1_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5254-3_1_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_5254-3_1_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5254-3_1_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_5254-3_1_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5254-3_1_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_5254-3_1_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5254-3_1_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_5254-3_1_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_5254-3_1_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_5254-3_1_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_5254-3_1_4_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_5254-3_1_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_5254-3_1_4_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_5254-3_1_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5254-3_1_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_5254-3_1_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5254-3_1_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5254-3_1_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5254-3_1_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_5254-3_1_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5254-3_1_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5254-3_1_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5254-3_1_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_5254-3_1_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_5254-3_1_4_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_5254-3_1_4_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_5254-3_1_4_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_5254-3_1_4_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_5254-3_1_4_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_5254-3_1_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_5254-3_1_4_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_5254-3_1_4_node_110 | 0.4 | n |  | TRUE
65 | bus_LV_5254-3_1_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_5254-3_1_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5254-3_1_4_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_5254-3_1_4_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_5254-3_1_4_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_5254-3_1_4_node_111 | 0.4 | n |  | TRUE
71 | bus_LV_5254-3_1_4_node_116 | 0.4 | n |  | TRUE
72 | bus_LV_5254-3_1_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_5254-3_1_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_5254-3_1_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5254-3_1_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_5254-3_1_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_5254-3_1_4_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_5254-3_1_4_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_5254-3_1_4_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_5254-3_1_4_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_5254-3_1_4_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_5254-3_1_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_5254-3_1_4_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_5254-3_1_4_node_117 | 0.4 | n |  | TRUE
85 | bus_LV_5254-3_1_4_node_118 | 0.4 | n |  | TRUE
86 | bus_LV_5254-3_1_4_node_120 | 0.4 | n |  | TRUE
87 | bus_LV_5254-3_1_4_node_125 | 0.4 | n |  | TRUE
88 | bus_LV_5254-3_1_4_node_123 | 0.4 | n |  | TRUE
89 | bus_LV_5254-3_1_4_node_136 | 0.4 | n |  | TRUE
90 | bus_LV_5254-3_1_4_node_121 | 0.4 | n |  | TRUE
91 | bus_LV_5254-3_1_4_node_122 | 0.4 | n |  | TRUE
92 | bus_LV_5254-3_1_4_node_124 | 0.4 | n |  | TRUE
93 | bus_LV_5254-3_1_4_node_128 | 0.4 | n |  | TRUE
94 | bus_LV_5254-3_1_4_node_126 | 0.4 | n |  | TRUE
95 | bus_LV_5254-3_1_4_node_127 | 0.4 | n |  | TRUE
96 | bus_LV_5254-3_1_4_node_129 | 0.4 | n |  | TRUE
97 | bus_LV_5254-3_1_4_node_131 | 0.4 | n |  | TRUE
98 | bus_LV_5254-3_1_4_node_130 | 0.4 | n |  | TRUE
99 | bus_LV_5254-3_1_4_node_132 | 0.4 | n |  | TRUE
100 | bus_LV_5254-3_1_4_node_133 | 0.4 | n |  | TRUE
101 | bus_LV_5254-3_1_4_node_134 | 0.4 | n |  | TRUE
102 | bus_LV_5254-3_1_4_node_137 | 0.4 | n |  | TRUE
103 | bus_LV_5254-3_1_4_node_135 | 0.4 | n |  | TRUE
104 | bus_LV_5254-3_1_4_node_147 | 0.4 | n |  | TRUE
105 | bus_LV_5254-3_1_4_node_138 | 0.4 | n |  | TRUE
106 | bus_MV_76_1_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-3_1_4_load_16 | 1 | 0.0066886 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-3_1_4_load_6 | 3 | 0.0041314 | 0.0010354 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-3_1_4_load_7 | 4 | 0.0031496 | 0.00078936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-3_1_4_load_9 | 5 | 0.0020056 | 0.00050265 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-3_1_4_load_12 | 7 | 0.0038562 | 0.00096646 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-3_1_4_load_20 | 9 | 0.0040674 | 0.0010194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-3_1_4_load_13 | 10 | 0.0038048 | 0.00095357 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-3_1_4_load_24 | 11 | 0.0057909 | 0.0014513 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-3_1_4_load_21 | 12 | 0.0033993 | 0.00085195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-3_1_4_load_15 | 13 | 0.003631 | 0.00091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-3_1_4_load_14 | 14 | 0.0038974 | 0.00097678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-3_1_4_load_43 | 15 | 0.0046791 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-3_1_4_load_44 | 16 | 0.0017204 | 0.00043116 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-3_1_4_load_22 | 17 | 0.0033396 | 0.00083699 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-3_1_4_load_28 | 18 | 0.0043267 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-3_1_4_load_29 | 19 | 0.0065585 | 0.0016437 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-3_1_4_load_25 | 20 | 0.0037392 | 0.00093714 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-3_1_4_load_26 | 21 | 0.010279 | 0.0025761 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-3_1_4_load_66 | 23 | 0.013457 | 0.0033725 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-3_1_4_load_71 | 26 | 0.003377 | 0.00084635 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-3_1_4_load_34 | 27 | 0.001529 | 0.00038321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-3_1_4_load_30 | 28 | 0.0054037 | 0.0013543 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-3_1_4_load_31 | 29 | 0.0029805 | 0.000747 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-3_1_4_load_32 | 30 | 0.002424 | 0.00060752 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-3_1_4_load_33 | 31 | 0.0029187 | 0.0007315 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-3_1_4_load_75 | 32 | 0.0044667 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-3_1_4_load_50 | 35 | 0.003143 | 0.00078772 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-3_1_4_load_49 | 36 | 0.0091824 | 0.0023013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-3_1_4_load_67 | 37 | 0.0030492 | 0.00076421 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-3_1_4_load_70 | 40 | 0.0044647 | 0.001119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-3_1_4_load_73 | 42 | 0.0037326 | 0.00093548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-3_1_4_load_107 | 43 | 0.0051286 | 0.0012854 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-3_1_4_load_74 | 44 | 0.0042016 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-3_1_4_load_86 | 45 | 0.001794 | 0.00044963 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-3_1_4_load_84 | 46 | 0.002857 | 0.00071603 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-3_1_4_load_54 | 47 | 0.0040602 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-3_1_4_load_45 | 48 | 0.0084422 | 0.0021158 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-3_1_4_load_52 | 49 | 0.0037851 | 0.00094864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-3_1_4_load_51 | 50 | 0.0030259 | 0.00075835 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-3_1_4_load_53 | 51 | 0.0039338 | 0.00098591 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-3_1_4_load_55 | 52 | 0.0030338 | 0.00076033 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-3_1_4_load_56 | 53 | 0.0044329 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-3_1_4_load_57 | 54 | 0.0019039 | 0.00047716 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-3_1_4_load_61 | 56 | 0.0035432 | 0.000888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-3_1_4_load_93 | 57 | 0.0028339 | 0.00071024 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-3_1_4_load_115 | 59 | 0.0020745 | 0.00051992 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-3_1_4_load_109 | 60 | 0.0045905 | 0.0011505 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-3_1_4_load_113 | 61 | 0.0018036 | 0.00045204 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-3_1_4_load_76 | 62 | 0.0032984 | 0.00082665 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-3_1_4_load_108 | 63 | 0.0026702 | 0.00066921 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-3_1_4_load_110 | 64 | 0.0039635 | 0.00099335 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-3_1_4_load_77 | 65 | 0.0023754 | 0.00059534 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-3_1_4_load_78 | 66 | 0.0043059 | 0.0010792 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-3_1_4_load_79 | 67 | 0.0039043 | 0.0009785 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-3_1_4_load_112 | 68 | 0.0048354 | 0.0012119 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-3_1_4_load_114 | 69 | 0.0031533 | 0.00079029 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-3_1_4_load_111 | 70 | 0.003628 | 0.00090925 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-3_1_4_load_116 | 71 | 0.0026666 | 0.00066833 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-3_1_4_load_80 | 72 | 0.0028029 | 0.00070248 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-3_1_4_load_81 | 73 | 0.002147 | 0.00053808 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-3_1_4_load_82 | 74 | 0.0041801 | 0.0010476 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-3_1_4_load_83 | 75 | 0.0037678 | 0.00094431 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-3_1_4_load_87 | 76 | 0.003895 | 0.00097619 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-3_1_4_load_88 | 77 | 0.0028962 | 0.00072585 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-3_1_4_load_91 | 78 | 0.0026088 | 0.00065382 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-3_1_4_load_89 | 79 | 0.0029913 | 0.00074969 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-3_1_4_load_90 | 80 | 0.0022304 | 0.000559 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-3_1_4_load_95 | 82 | 0.0034459 | 0.00086362 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5254-3_1_4_load_117 | 84 | 0.004267 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5254-3_1_4_load_118 | 85 | 0.00028979 | 7.2627e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5254-3_1_4_load_125 | 87 | 0.00067247 | 0.00016854 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5254-3_1_4_load_136 | 89 | 0.0006866 | 0.00017208 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5254-3_1_4_load_121 | 90 | 0.0002723 | 6.8245e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5254-3_1_4_load_122 | 91 | 0.00068962 | 0.00017283 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5254-3_1_4_load_124 | 92 | 0.00074777 | 0.00018741 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5254-3_1_4_load_128 | 93 | 0.00118 | 0.00029572 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5254-3_1_4_load_126 | 94 | 0.00082454 | 0.00020665 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5254-3_1_4_load_127 | 95 | 0.0019053 | 0.00047751 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5254-3_1_4_load_129 | 96 | 0.001749 | 0.00043835 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5254-3_1_4_load_130 | 98 | 0.00051248 | 0.00012844 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5254-3_1_4_load_133 | 100 | 0.00067546 | 0.00016928 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5254-3_1_4_load_137 | 102 | 0.00089283 | 0.00022377 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5254-3_1_4_load_147 | 104 | 0.0011504 | 0.00028831 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5254-3_1_4_load_138 | 105 | 0.0068649 | 0.0017205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-3_1_4_line_0 |  | 0 | 1 | 0.045008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-3_1_4_line_1 |  | 0 | 2 | 0.12484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-3_1_4_line_2 |  | 1 | 13 | 0.0076052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-3_1_4_line_3 |  | 2 | 6 | 0.061142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-3_1_4_line_4 |  | 2 | 3 | 0.079454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-3_1_4_line_5 |  | 3 | 4 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-3_1_4_line_6 |  | 4 | 5 | 0.004056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-3_1_4_line_7 |  | 5 | 7 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-3_1_4_line_8 |  | 6 | 8 | 0.044657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-3_1_4_line_9 |  | 6 | 9 | 0.081639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-3_1_4_line_10 |  | 7 | 10 | 0.0074192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-3_1_4_line_11 |  | 8 | 11 | 0.12781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-3_1_4_line_12 |  | 9 | 12 | 0.057094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-3_1_4_line_13 |  | 10 | 14 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-3_1_4_line_14 |  | 11 | 20 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-3_1_4_line_15 |  | 12 | 17 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-3_1_4_line_16 |  | 15 | 16 | 0.030337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-3_1_4_line_17 |  | 16 | 48 | 0.0085533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-3_1_4_line_18 |  | 16 | 19 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-3_1_4_line_19 |  | 17 | 18 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-3_1_4_line_20 |  | 18 | 19 | 0.043954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-3_1_4_line_21 |  | 20 | 21 | 0.0049913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-3_1_4_line_22 |  | 21 | 22 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-3_1_4_line_23 |  | 22 | 23 | 0.030804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-3_1_4_line_24 |  | 22 | 24 | 0.044981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5254-3_1_4_line_25 |  | 24 | 25 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5254-3_1_4_line_26 |  | 24 | 26 | 0.032656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-3_1_4_line_27 |  | 24 | 27 | 0.022013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-3_1_4_line_28 |  | 25 | 32 | 0.017947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-3_1_4_line_29 |  | 25 | 33 | 0.038263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5254-3_1_4_line_30 |  | 26 | 38 | 0.009004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-3_1_4_line_31 |  | 27 | 31 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-3_1_4_line_32 |  | 28 | 29 | 0.032943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-3_1_4_line_33 |  | 29 | 30 | 0.0226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-3_1_4_line_34 |  | 30 | 31 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-3_1_4_line_35 |  | 32 | 44 | 0.018241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-3_1_4_line_36 |  | 33 | 45 | 0.065881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5254-3_1_4_line_37 |  | 33 | 46 | 0.053948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-3_1_4_line_38 |  | 34 | 35 | 0.013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-3_1_4_line_39 |  | 34 | 36 | 0.031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-3_1_4_line_40 |  | 35 | 47 | 0.013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-3_1_4_line_41 |  | 37 | 38 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-3_1_4_line_42 |  | 37 | 39 | 0.027217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-3_1_4_line_43 |  | 38 | 40 | 0.018784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-3_1_4_line_44 |  | 39 | 41 | 0.058876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-3_1_4_line_45 |  | 39 | 42 | 0.029435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-3_1_4_line_46 |  | 40 | 59 | 0.0061493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-3_1_4_line_47 |  | 41 | 43 | 0.056545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-3_1_4_line_48 |  | 42 | 60 | 0.021577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-3_1_4_line_49 |  | 43 | 63 | 0.038591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-3_1_4_line_50 |  | 44 | 62 | 0.0033823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-3_1_4_line_51 |  | 45 | 76 | 0.040587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-3_1_4_line_52 |  | 46 | 74 | 0.022939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-3_1_4_line_53 |  | 47 | 49 | 0.018032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-3_1_4_line_54 |  | 49 | 50 | 0.0043925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-3_1_4_line_55 |  | 50 | 51 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-3_1_4_line_56 |  | 51 | 52 | 0.0016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-3_1_4_line_57 |  | 52 | 53 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-3_1_4_line_58 |  | 53 | 54 | 0.037578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5254-3_1_4_line_59 |  | 54 | 55 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-3_1_4_line_60 |  | 55 | 56 | 0.021625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-3_1_4_line_61 |  | 56 | 57 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-3_1_4_line_62 |  | 57 | 58 | 0.0042875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-3_1_4_line_63 |  | 58 | 81 | 0.066633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-3_1_4_line_64 |  | 58 | 80 | 0.040854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-3_1_4_line_65 |  | 59 | 61 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-3_1_4_line_66 |  | 60 | 64 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-3_1_4_line_67 |  | 61 | 68 | 0.0018469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-3_1_4_line_68 |  | 62 | 65 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-3_1_4_line_69 |  | 63 | 83 | 0.067853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-3_1_4_line_70 |  | 64 | 70 | 0.0086743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-3_1_4_line_71 |  | 65 | 66 | 0.0094042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-3_1_4_line_72 |  | 66 | 67 | 0.0084493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-3_1_4_line_73 |  | 68 | 69 | 0.032366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-3_1_4_line_74 |  | 69 | 71 | 0.02072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-3_1_4_line_75 |  | 72 | 73 | 0.032978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-3_1_4_line_76 |  | 72 | 74 | 0.0018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5254-3_1_4_line_77 |  | 73 | 75 | 0.0096009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5254-3_1_4_line_78 |  | 76 | 77 | 0.016311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5254-3_1_4_line_79 |  | 76 | 78 | 0.035813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5254-3_1_4_line_80 |  | 78 | 79 | 0.01779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5254-3_1_4_line_81 |  | 79 | 80 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5254-3_1_4_line_82 |  | 81 | 82 | 0.045158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5254-3_1_4_line_83 |  | 83 | 84 | 0.021256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5254-3_1_4_line_84 |  | 84 | 85 | 0.037289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5254-3_1_4_line_85 |  | 85 | 86 | 0.077246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5254-3_1_4_line_86 |  | 86 | 87 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5254-3_1_4_line_87 |  | 86 | 88 | 0.023085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5254-3_1_4_line_88 |  | 87 | 89 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5254-3_1_4_line_89 |  | 88 | 90 | 0.048752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5254-3_1_4_line_90 |  | 89 | 102 | 0.011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5254-3_1_4_line_91 |  | 90 | 91 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5254-3_1_4_line_92 |  | 91 | 92 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5254-3_1_4_line_93 |  | 92 | 93 | 0.11822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5254-3_1_4_line_94 |  | 93 | 94 | 0.024578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5254-3_1_4_line_95 |  | 94 | 95 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5254-3_1_4_line_96 |  | 95 | 96 | 0.0012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5254-3_1_4_line_97 |  | 96 | 97 | 0.0017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5254-3_1_4_line_98 |  | 97 | 99 | 0.03186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5254-3_1_4_line_99 |  | 97 | 98 | 0.045616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5254-3_1_4_line_100 |  | 99 | 100 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5254-3_1_4_line_101 |  | 100 | 101 | 0.038955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5254-3_1_4_line_102 |  | 101 | 103 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5254-3_1_4_line_103 |  | 102 | 105 | 0.13767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5254-3_1_4_line_104 |  | 103 | 104 | 0.004436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-3_1_4_trafo_85 | 0.63 MVA 20/0.4 kV | 106 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2718882.5391 | 1080793.3421 | 2718861.1247 | 1080753.7546
1 | 2718856.565 | 1080895.5971 | 2718867.7339 | 1080889.266 | 2718873.6912 | 1080883.7116 | 2718881.4384 | 1080879.1817 | 2718893.7194 | 1080873.9731 | 2718892.5351 | 1080849.8884 | 2718884.1854 | 1080804.9046 | 2718882.5391 | 1080793.3421
2 | 2718857.5062 | 1080747.0654 | 2718861.1247 | 1080753.7546
3 | 2718856.565 | 1080895.5971 | 2718804.2355 | 1080927.4662
4 | 2718856.565 | 1080895.5971 | 2718839.2657 | 1080818.0494
5 | 2718839.2657 | 1080818.0494 | 2718836.3583 | 1080805.0165 | 2718835.6398 | 1080801.1743
6 | 2718834.8943 | 1080797.1874 | 2718835.6398 | 1080801.1743
7 | 2718831.0122 | 1080776.4277 | 2718834.8943 | 1080797.1874
8 | 2718766.0951 | 1080950.6949 | 2718782.8621 | 1080940.4811 | 2718787.6809 | 1080937.5396 | 2718804.2355 | 1080927.4662
9 | 2718804.2355 | 1080927.4662 | 2718798.1255 | 1080890.6765 | 2718791.195 | 1080846.8763
10 | 2718831.0122 | 1080776.4277 | 2718829.6484 | 1080769.1349
11 | 2718766.0951 | 1080950.6949 | 2718712.3089 | 1080838.9676 | 2718713.1115 | 1080835.2473 | 2718713.1115 | 1080835.2473
12 | 2718791.195 | 1080846.8763 | 2718782.9676 | 1080794.8796 | 2718783.0645 | 1080790.4305
13 | 2718825.1184 | 1080744.9101 | 2718829.6484 | 1080769.1349
14 | 2718713.1115 | 1080835.2473 | 2718709.9714 | 1080830.1714 | 2718705.0171 | 1080822.1805
15 | 2718783.0645 | 1080790.4305 | 2718783.5551 | 1080767.9161
16 | 2718815.6278 | 1080692.451 | 2718795.6566 | 1080691.4978 | 2718795.5395 | 1080681.1552
17 | 2718795.4426 | 1080672.6024 | 2718795.5395 | 1080681.1552
18 | 2718784.9698 | 1080702.9841 | 2718795.5395 | 1080681.1552
19 | 2718783.5551 | 1080767.9161 | 2718784.0123 | 1080746.9273
20 | 2718784.0123 | 1080746.9273 | 2718784.9698 | 1080702.9841
21 | 2718705.0171 | 1080822.1805 | 2718702.3871 | 1080817.9384
22 | 2718692.3869 | 1080801.8088 | 2718702.3871 | 1080817.9384
23 | 2718718.0512 | 1080784.6631 | 2718692.3869 | 1080801.8088
24 | 2718674.4296 | 1080792.9751 | 2718671.7649 | 1080813.7268 | 2718675.3669 | 1080813.0409 | 2718692.3869 | 1080801.8088
25 | 2718673.9344 | 1080774.1409 | 2718676.3165 | 1080778.2569 | 2718674.4296 | 1080792.9751
26 | 2718674.4296 | 1080792.9751 | 2718641.7791 | 1080792.3501
27 | 2718674.4296 | 1080792.9751 | 2718677.9597 | 1080789.9972 | 2718680.3839 | 1080783.184 | 2718682.7723 | 1080773.3052
28 | 2718673.9344 | 1080774.1409 | 2718661.3329 | 1080761.3615
29 | 2718673.9344 | 1080774.1409 | 2718680.928 | 1080736.5281
30 | 2718641.7791 | 1080792.3501 | 2718634.2941 | 1080797.3857
31 | 2718682.7723 | 1080773.3052 | 2718683.3324 | 1080770.9883 | 2718686.8413 | 1080761.928 | 2718689.1716 | 1080758.727
32 | 2718745.0846 | 1080711.7458 | 2718719.5398 | 1080732.547
33 | 2718719.5398 | 1080732.547 | 2718702.0151 | 1080746.8175
34 | 2718689.1716 | 1080758.727 | 2718691.7657 | 1080755.1635 | 2718702.0151 | 1080746.8175
35 | 2718648.5256 | 1080748.3732 | 2718661.3329 | 1080761.3615
36 | 2718680.928 | 1080736.5281 | 2718689.0014 | 1080695.723 | 2718672.7128 | 1080677.7106
37 | 2718680.928 | 1080736.5281 | 2718643.3396 | 1080697.8305
38 | 2718726.4685 | 1080696.342 | 2718729.1192 | 1080682.8976
39 | 2718726.4685 | 1080696.342 | 2718753.9067 | 1080681.1126
40 | 2718731.6942 | 1080669.837 | 2718729.1192 | 1080682.8976
41 | 2718634.2941 | 1080797.3857 | 2718622.2173 | 1080805.5068
42 | 2718599.6319 | 1080820.6944 | 2718622.2173 | 1080805.5068
43 | 2718634.2941 | 1080797.3857 | 2718622.198 | 1080783.015
44 | 2718599.6319 | 1080820.6944 | 2718550.6771 | 1080853.6098
45 | 2718599.6319 | 1080820.6944 | 2718582.8232 | 1080796.5311
46 | 2718622.198 | 1080783.015 | 2718618.2381 | 1080778.3105
47 | 2718550.6771 | 1080853.6098 | 2718519.0831 | 1080806.7141
48 | 2718582.8232 | 1080796.5311 | 2718570.5018 | 1080778.8185
49 | 2718519.0831 | 1080806.7141 | 2718497.5207 | 1080774.7087
50 | 2718648.5256 | 1080748.3732 | 2718646.1508 | 1080745.9649
51 | 2718672.7128 | 1080677.7106 | 2718645.4899 | 1080647.6069
52 | 2718627.357 | 1080681.3763 | 2718643.3396 | 1080697.8305
53 | 2718735.1823 | 1080652.1452 | 2718731.6942 | 1080669.837
54 | 2718736.032 | 1080647.8356 | 2718735.1823 | 1080652.1452
55 | 2718736.032 | 1080647.8356 | 2718738.6902 | 1080634.3529
56 | 2718738.6902 | 1080634.3529 | 2718739.0036 | 1080632.7634
57 | 2718742.2038 | 1080616.5318 | 2718739.0036 | 1080632.7634
58 | 2718742.2038 | 1080616.5318 | 2718714.0788 | 1080591.6094
59 | 2718705.0307 | 1080602.2242 | 2718708.7578 | 1080600.7069 | 2718712.9536 | 1080595.8629 | 2718714.0788 | 1080591.6094
60 | 2718705.0307 | 1080602.2242 | 2718699.8675 | 1080602.9019 | 2718694.3563 | 1080601.1044 | 2718685.7849 | 1080594.834
61 | 2718685.7849 | 1080594.834 | 2718668.0857 | 1080581.886
62 | 2718664.6254 | 1080579.3545 | 2718668.0857 | 1080581.886
63 | 2718611.1371 | 1080539.4072 | 2718640.0333 | 1080561.363 | 2718664.6254 | 1080579.3545
64 | 2718664.6254 | 1080579.3545 | 2718650.952 | 1080596.2003 | 2718651.2441 | 1080598.7523 | 2718652.3866 | 1080601.9101 | 2718662.975 | 1080609.8436
65 | 2718618.2381 | 1080778.3105 | 2718607.6499 | 1080765.7311
66 | 2718570.5018 | 1080778.8185 | 2718557.9869 | 1080760.8278
67 | 2718606.4605 | 1080764.3181 | 2718607.6499 | 1080765.7311
68 | 2718646.1508 | 1080745.9649 | 2718635.6716 | 1080735.3376
69 | 2718430.3405 | 1080784.2433 | 2718497.5207 | 1080774.7087
70 | 2718553.0334 | 1080753.7069 | 2718557.9869 | 1080760.8278
71 | 2718629.0686 | 1080728.6413 | 2718635.6716 | 1080735.3376
72 | 2718629.0686 | 1080728.6413 | 2718623.1361 | 1080722.6251
73 | 2718606.4605 | 1080764.3181 | 2718585.6183 | 1080739.5565
74 | 2718572.2753 | 1080723.7043 | 2718585.6183 | 1080739.5565
75 | 2718626.0378 | 1080680.0181 | 2718603.0606 | 1080656.3628
76 | 2718626.0378 | 1080680.0181 | 2718627.357 | 1080681.3763
77 | 2718596.3711 | 1080649.4759 | 2718603.0606 | 1080656.3628
78 | 2718634.5498 | 1080635.509 | 2718645.4899 | 1080647.6069
79 | 2718645.4899 | 1080647.6069 | 2718680.1776 | 1080638.6995
80 | 2718680.1776 | 1080638.6995 | 2718682.2331 | 1080636.4602 | 2718681.4237 | 1080630.1622 | 2718678.2933 | 1080622.3665
81 | 2718678.2933 | 1080622.3665 | 2718678.2826 | 1080622.3399 | 2718675.393 | 1080619.148 | 2718662.975 | 1080609.8436
82 | 2718611.1371 | 1080539.4072 | 2718626.2403 | 1080540.4797 | 2718635.322 | 1080544.8151 | 2718643.5568 | 1080549.9568 | 2718652.7032 | 1080550.9689 | 2718653.4805 | 1080550.2738
83 | 2718430.3405 | 1080784.2433 | 2718426.3894 | 1080763.3579
84 | 2718426.3894 | 1080763.3579 | 2718419.458 | 1080726.7191
85 | 2718396.7564 | 1080653.031 | 2718409.4388 | 1080686.7124 | 2718418.1691 | 1080719.9056 | 2718419.458 | 1080726.7191
86 | 2718396.7564 | 1080653.031 | 2718405.9193 | 1080645.9929 | 2718418.0083 | 1080635.1586
87 | 2718385.0962 | 1080633.0904 | 2718396.7564 | 1080653.031
88 | 2718418.0083 | 1080635.1586 | 2718427.4856 | 1080626.6648 | 2718432.056 | 1080621.8538
89 | 2718385.0962 | 1080633.0904 | 2718373.9421 | 1080639.8674 | 2718364.5706 | 1080647.6465 | 2718353.3763 | 1080662.8844 | 2718349.3554 | 1080664.3407 | 2718349.0881 | 1080664.136
90 | 2718432.056 | 1080621.8538 | 2718439.7752 | 1080613.7285
91 | 2718349.0881 | 1080664.136 | 2718340.1172 | 1080657.2674 | 2718335.5298 | 1080653.502
92 | 2718313.3536 | 1080645.8193 | 2718316.5666 | 1080644.4122 | 2718323.4952 | 1080643.6239 | 2718335.5298 | 1080653.502
93 | 2718313.3536 | 1080645.8193 | 2718298.0621 | 1080528.5965
94 | 2718279.7495 | 1080512.204 | 2718298.0621 | 1080528.5965
95 | 2718279.7495 | 1080512.204 | 2718268.5888 | 1080502.2134 | 2718263.6127 | 1080497.4301
96 | 2718262.7441 | 1080496.5952 | 2718263.6127 | 1080497.4301
97 | 2718261.4818 | 1080495.3818 | 2718262.7441 | 1080496.5952
98 | 2718238.4831 | 1080473.2644 | 2718261.4818 | 1080495.3818
99 | 2718261.4818 | 1080495.3818 | 2718238.1967 | 1080534.6074
100 | 2718238.4831 | 1080473.2644 | 2718228.4796 | 1080463.645
101 | 2718200.4005 | 1080436.6442 | 2718228.4796 | 1080463.645
102 | 2718205.6614 | 1080414.1302 | 2718205.4342 | 1080428.6361 | 2718208.1412 | 1080430.8457 | 2718200.4005 | 1080436.6442
103 | 2718439.7752 | 1080613.7285 | 2718431.0216 | 1080476.3413
104 | 2718205.6614 | 1080414.1302 | 2718208.9197 | 1080417.1511

## bus_geodata
| x | y | coords
0 | 2718882.5391 | 1080793.3421
1 | 2718861.1247 | 1080753.7546
2 | 2718856.565 | 1080895.5971
3 | 2718839.2657 | 1080818.0494
4 | 2718835.6398 | 1080801.1743
5 | 2718834.8943 | 1080797.1874
6 | 2718804.2355 | 1080927.4662
7 | 2718831.0122 | 1080776.4277
8 | 2718766.0951 | 1080950.6949
9 | 2718791.195 | 1080846.8763
10 | 2718829.6484 | 1080769.1349
11 | 2718713.1115 | 1080835.2473
12 | 2718783.0645 | 1080790.4305
13 | 2718857.5062 | 1080747.0654
14 | 2718825.1184 | 1080744.9101
15 | 2718815.6278 | 1080692.451
16 | 2718795.5395 | 1080681.1552
17 | 2718783.5551 | 1080767.9161
18 | 2718784.0123 | 1080746.9273
19 | 2718784.9698 | 1080702.9841
20 | 2718705.0171 | 1080822.1805
21 | 2718702.3871 | 1080817.9384
22 | 2718692.3869 | 1080801.8088
23 | 2718718.0512 | 1080784.6631
24 | 2718674.4296 | 1080792.9751
25 | 2718673.9344 | 1080774.1409
26 | 2718641.7791 | 1080792.3501
27 | 2718682.7723 | 1080773.3052
28 | 2718745.0846 | 1080711.7458
29 | 2718719.5398 | 1080732.547
30 | 2718702.0151 | 1080746.8175
31 | 2718689.1716 | 1080758.727
32 | 2718661.3329 | 1080761.3615
33 | 2718680.928 | 1080736.5281
34 | 2718726.4685 | 1080696.342
35 | 2718729.1192 | 1080682.8976
36 | 2718753.9067 | 1080681.1126
37 | 2718622.2173 | 1080805.5068
38 | 2718634.2941 | 1080797.3857
39 | 2718599.6319 | 1080820.6944
40 | 2718622.198 | 1080783.015
41 | 2718550.6771 | 1080853.6098
42 | 2718582.8232 | 1080796.5311
43 | 2718519.0831 | 1080806.7141
44 | 2718648.5256 | 1080748.3732
45 | 2718672.7128 | 1080677.7106
46 | 2718643.3396 | 1080697.8305
47 | 2718731.6942 | 1080669.837
48 | 2718795.4426 | 1080672.6024
49 | 2718735.1823 | 1080652.1452
50 | 2718736.032 | 1080647.8356
51 | 2718738.6902 | 1080634.3529
52 | 2718739.0036 | 1080632.7634
53 | 2718742.2038 | 1080616.5318
54 | 2718714.0788 | 1080591.6094
55 | 2718705.0307 | 1080602.2242
56 | 2718685.7849 | 1080594.834
57 | 2718668.0857 | 1080581.886
58 | 2718664.6254 | 1080579.3545
59 | 2718618.2381 | 1080778.3105
60 | 2718570.5018 | 1080778.8185
61 | 2718607.6499 | 1080765.7311
62 | 2718646.1508 | 1080745.9649
63 | 2718497.5207 | 1080774.7087
64 | 2718557.9869 | 1080760.8278
65 | 2718635.6716 | 1080735.3376
66 | 2718629.0686 | 1080728.6413
67 | 2718623.1361 | 1080722.6251
68 | 2718606.4605 | 1080764.3181
69 | 2718585.6183 | 1080739.5565
70 | 2718553.0334 | 1080753.7069
71 | 2718572.2753 | 1080723.7043
72 | 2718626.0378 | 1080680.0181
73 | 2718603.0606 | 1080656.3628
74 | 2718627.357 | 1080681.3763
75 | 2718596.3711 | 1080649.4759
76 | 2718645.4899 | 1080647.6069
77 | 2718634.5498 | 1080635.509
78 | 2718680.1776 | 1080638.6995
79 | 2718678.2933 | 1080622.3665
80 | 2718662.975 | 1080609.8436
81 | 2718611.1371 | 1080539.4072
82 | 2718653.4805 | 1080550.2738
83 | 2718430.3405 | 1080784.2433
84 | 2718426.3894 | 1080763.3579
85 | 2718419.458 | 1080726.7191
86 | 2718396.7564 | 1080653.031
87 | 2718418.0083 | 1080635.1586
88 | 2718385.0962 | 1080633.0904
89 | 2718432.056 | 1080621.8538
90 | 2718349.0881 | 1080664.136
91 | 2718335.5298 | 1080653.502
92 | 2718313.3536 | 1080645.8193
93 | 2718298.0621 | 1080528.5965
94 | 2718279.7495 | 1080512.204
95 | 2718263.6127 | 1080497.4301
96 | 2718262.7441 | 1080496.5952
97 | 2718261.4818 | 1080495.3818
98 | 2718238.1967 | 1080534.6074
99 | 2718238.4831 | 1080473.2644
100 | 2718228.4796 | 1080463.645
101 | 2718200.4005 | 1080436.6442
102 | 2718439.7752 | 1080613.7285
103 | 2718205.6614 | 1080414.1302
104 | 2718208.9197 | 1080417.1511
105 | 2718431.0216 | 1080476.3413
106 | 2718673.9344 | 1080774.1409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1