## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-49_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-49_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-49_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5254-49_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5254-49_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5254-49_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5254-49_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5254-49_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5254-49_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5254-49_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5254-49_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5254-49_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5254-49_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5254-49_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_5254-49_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5254-49_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5254-49_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5254-49_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5254-49_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5254-49_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5254-49_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5254-49_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5254-49_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5254-49_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_5254-49_0_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_5254-49_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_5254-49_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_5254-49_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_5254-49_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_5254-49_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_5254-49_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5254-49_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5254-49_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5254-49_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5254-49_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_5254-49_0_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5254-49_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_5254-49_0_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_5254-49_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5254-49_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5254-49_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_5254-49_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5254-49_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5254-49_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_5254-49_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_5254-49_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_5254-49_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_5254-49_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5254-49_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_5254-49_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5254-49_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_5254-49_0_3_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5254-49_0_3_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_5254-49_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_5254-49_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_5254-49_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_5254-49_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5254-49_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_5254-49_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_5254-49_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5254-49_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_5254-49_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5254-49_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5254-49_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_MV_68_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-49_0_3_load_0 | 0 | 0.0012847 | 0.00032197 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-49_0_3_load_1 | 1 | 0.0029722 | 0.0007449 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-49_0_3_load_3 | 3 | 0.0098232 | 0.0024619 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-49_0_3_load_5 | 5 | 0.0043485 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-49_0_3_load_6 | 6 | 0.007725 | 0.0019361 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-49_0_3_load_11 | 7 | 0.0038919 | 0.0009754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-49_0_3_load_16 | 8 | 0.0019661 | 0.00049275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-49_0_3_load_18 | 9 | 0.0026424 | 0.00066225 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-49_0_3_load_23 | 10 | 0.0050784 | 0.0012728 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-49_0_3_load_14 | 11 | 0.0096033 | 0.0024068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-49_0_3_load_17 | 12 | 0.0075318 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-49_0_3_load_34 | 13 | 0.0031791 | 0.00079675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-49_0_3_load_19 | 14 | 0.0039332 | 0.00098576 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-49_0_3_load_22 | 15 | 0.0076177 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-49_0_3_load_7 | 16 | 0.020338 | 0.0050971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-49_0_3_load_8 | 17 | 0.020515 | 0.0051416 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-49_0_3_load_12 | 19 | 0.01223 | 0.0030652 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-49_0_3_load_13 | 20 | 0.050368 | 0.012623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-49_0_3_load_15 | 21 | 0.012363 | 0.0030985 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-49_0_3_load_26 | 22 | 0.0089978 | 0.0022551 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-49_0_3_load_66 | 23 | 0.0016507 | 0.0004137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-49_0_3_load_40 | 25 | 0.0013667 | 0.00034254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-49_0_3_load_37 | 28 | 0.0022445 | 0.00056252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-49_0_3_load_39 | 29 | 0.0040657 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-49_0_3_load_41 | 30 | 0.0023289 | 0.00058367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-49_0_3_load_42 | 31 | 0.0026663 | 0.00066823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-49_0_3_load_45 | 32 | 0.0022525 | 0.00056453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-49_0_3_load_64 | 34 | 0.0032978 | 0.0008265 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-49_0_3_load_53 | 35 | 0.00068549 | 0.0001718 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-49_0_3_load_52 | 36 | 0.0031335 | 0.00078532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-49_0_3_load_20 | 38 | 0.0031739 | 0.00079546 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-49_0_3_load_21 | 39 | 0.0071422 | 0.00179 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-49_0_3_load_48 | 41 | 0.0030446 | 0.00076305 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-49_0_3_load_49 | 42 | 0.0038356 | 0.00096128 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-49_0_3_load_50 | 43 | 0.0031788 | 0.00079669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-49_0_3_load_51 | 44 | 0.0040493 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-49_0_3_load_56 | 45 | 0.0081856 | 0.0020515 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-49_0_3_load_58 | 48 | 0.003504 | 0.00087818 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-49_0_3_load_57 | 49 | 0.0027314 | 0.00068455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-49_0_3_load_59 | 50 | 0.0018842 | 0.00047223 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-49_0_3_load_24 | 51 | 0.0072832 | 0.0018254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-49_0_3_load_25 | 52 | 0.01241 | 0.0031102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-49_0_3_load_29 | 53 | 0.0059827 | 0.0014994 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-49_0_3_load_30 | 54 | 0.0099263 | 0.0024878 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-49_0_3_load_67 | 56 | 0.0099126 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-49_0_3_load_33 | 58 | 0.0058378 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-49_0_3_load_31 | 59 | 0.0076418 | 0.0019152 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-49_0_3_load_62 | 60 | 0.0035128 | 0.0008804 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-49_0_3_load_60 | 61 | 0.0059593 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-49_0_3_load_63 | 62 | 0.0017312 | 0.00043388 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-49_0_3_load_65 | 63 | 0.0032715 | 0.00081991 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-49_0_3_line_0 |  | 0 | 1 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5254-49_0_3_line_1 |  | 0 | 2 | 0.036767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5254-49_0_3_line_2 |  | 1 | 3 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5254-49_0_3_line_3 |  | 2 | 4 | 0.085255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5254-49_0_3_line_4 |  | 2 | 5 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5254-49_0_3_line_5 |  | 2 | 6 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-49_0_3_line_6 |  | 3 | 7 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-49_0_3_line_7 |  | 4 | 8 | 0.035649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5254-49_0_3_line_8 |  | 5 | 9 | 0.006507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5254-49_0_3_line_9 |  | 6 | 10 | 0.053497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-49_0_3_line_10 |  | 7 | 11 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-49_0_3_line_11 |  | 8 | 12 | 0.033364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-49_0_3_line_12 |  | 8 | 13 | 0.10558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5254-49_0_3_line_13 |  | 9 | 14 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5254-49_0_3_line_14 |  | 10 | 15 | 0.0068634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-49_0_3_line_15 |  | 11 | 21 | 0.0062632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-49_0_3_line_16 |  | 13 | 23 | 0.10426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5254-49_0_3_line_17 |  | 14 | 38 | 0.0030372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5254-49_0_3_line_18 |  | 15 | 51 | 0.02402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-49_0_3_line_19 |  | 16 | 17 | 0.029353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-49_0_3_line_20 |  | 17 | 18 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-49_0_3_line_21 |  | 18 | 19 | 0.011028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-49_0_3_line_22 |  | 18 | 20 | 0.0025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-49_0_3_line_23 |  | 19 | 21 | 0.022669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-49_0_3_line_24 |  | 20 | 22 | 0.023017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-49_0_3_line_25 |  | 23 | 24 | 0.03593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-49_0_3_line_26 |  | 23 | 26 | 0.084119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5254-49_0_3_line_27 |  | 24 | 25 | 0.0099563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-49_0_3_line_28 |  | 26 | 27 | 0.076149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5254-49_0_3_line_29 |  | 27 | 32 | 0.03659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-49_0_3_line_30 |  | 27 | 30 | 0.065087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5254-49_0_3_line_31 |  | 28 | 29 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-49_0_3_line_32 |  | 28 | 30 | 0.067074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-49_0_3_line_33 |  | 30 | 31 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-49_0_3_line_34 |  | 31 | 40 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-49_0_3_line_35 |  | 33 | 34 | 0.008676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-49_0_3_line_36 |  | 33 | 35 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5254-49_0_3_line_37 |  | 35 | 36 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-49_0_3_line_38 |  | 36 | 37 | 0.071543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-49_0_3_line_39 |  | 37 | 46 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-49_0_3_line_40 |  | 38 | 39 | 0.0067439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5254-49_0_3_line_41 |  | 40 | 41 | 0.0050901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-49_0_3_line_42 |  | 40 | 42 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-49_0_3_line_43 |  | 41 | 43 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-49_0_3_line_44 |  | 43 | 44 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-49_0_3_line_45 |  | 44 | 45 | 0.022931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-49_0_3_line_46 |  | 45 | 60 | 0.048764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-49_0_3_line_47 |  | 46 | 47 | 0.15591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-49_0_3_line_48 |  | 46 | 48 | 0.051619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-49_0_3_line_49 |  | 47 | 63 | 0.067564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-49_0_3_line_50 |  | 48 | 49 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-49_0_3_line_51 |  | 49 | 50 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-49_0_3_line_52 |  | 50 | 61 | 0.022328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-49_0_3_line_53 |  | 51 | 52 | 0.00066404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-49_0_3_line_54 |  | 52 | 53 | 0.024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-49_0_3_line_55 |  | 53 | 54 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-49_0_3_line_56 |  | 54 | 59 | 0.0062249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-49_0_3_line_57 |  | 55 | 56 | 0.049365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-49_0_3_line_58 |  | 55 | 57 | 0.024277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5254-49_0_3_line_59 |  | 57 | 58 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-49_0_3_line_60 |  | 57 | 59 | 0.012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-49_0_3_line_61 |  | 60 | 62 | 0.0044753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-49_0_3_line_62 |  | 61 | 62 | 0.054582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-49_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 64 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720323.5306 | 1081426.0275 | 2720319.1341 | 1081430.3771 | 2720317.2172 | 1081438.6116
1 | 2720352.7696 | 1081440.3373 | 2720349.4401 | 1081430.3867 | 2720323.5306 | 1081426.0275
2 | 2720317.2172 | 1081438.6116 | 2720312.3405 | 1081459.5607
3 | 2720352.7696 | 1081440.3373 | 2720358.6439 | 1081437.0621 | 2720379.4932 | 1081375.6077 | 2720383.3791 | 1081362.5195
4 | 2720352.7696 | 1081440.3373 | 2720354.7455 | 1081449.216 | 2720358.0455 | 1081464.9814 | 2720357.9525 | 1081465.4013
5 | 2720352.7696 | 1081440.3373 | 2720343.6468 | 1081442.9257 | 2720342.4359 | 1081448.0156
6 | 2720308.0212 | 1081478.1153 | 2720312.3405 | 1081459.5607
7 | 2720383.3791 | 1081362.5195 | 2720388.3097 | 1081373.5915 | 2720392.2934 | 1081386.5906 | 2720389.5027 | 1081396.1237
8 | 2720356.5453 | 1081471.7543 | 2720357.9525 | 1081465.4013
9 | 2720330.0783 | 1081500.0655 | 2720340.4111 | 1081456.5271 | 2720342.4359 | 1081448.0156
10 | 2720308.0212 | 1081478.1153 | 2720307.1248 | 1081481.9658 | 2720303.592 | 1081487.8114 | 2720291.016 | 1081485.7838
11 | 2720389.5027 | 1081396.1237 | 2720380.129 | 1081428.1441
12 | 2720389.5027 | 1081396.1237 | 2720494.7471 | 1081404.59
13 | 2720352.7332 | 1081488.9646 | 2720356.5453 | 1081471.7543
14 | 2720328.4934 | 1081506.7434 | 2720330.0783 | 1081500.0655
15 | 2720284.8327 | 1081484.7868 | 2720291.016 | 1081485.7838
16 | 2720569.0502 | 1081477.728 | 2720494.7471 | 1081404.59
17 | 2720352.7332 | 1081488.9646 | 2720352.0764 | 1081491.9299
18 | 2720328.4934 | 1081506.7434 | 2720322.9468 | 1081530.1145
19 | 2720259.4284 | 1081429.5589 | 2720254.8559 | 1081458.5539
20 | 2720251.565 | 1081479.423 | 2720254.8559 | 1081458.5539
21 | 2720251.565 | 1081479.423 | 2720262.4523 | 1081481.1784
22 | 2720251.565 | 1081479.423 | 2720251.1789 | 1081481.9935
23 | 2720284.8327 | 1081484.7868 | 2720262.4523 | 1081481.1784
24 | 2720247.7603 | 1081504.755 | 2720251.1789 | 1081481.9935
25 | 2720569.0502 | 1081477.728 | 2720554.4852 | 1081444.883
26 | 2720630.3734 | 1081421.4346 | 2720597.3005 | 1081448.1881 | 2720589.2136 | 1081451.7973 | 2720569.0502 | 1081477.728
27 | 2720554.4852 | 1081444.883 | 2720556.7351 | 1081435.1843
28 | 2720610.2425 | 1081489.2402 | 2720625.8681 | 1081452.0451 | 2720630.9062 | 1081452.1782 | 2720631.2127 | 1081444.1563 | 2720630.3734 | 1081421.4346
29 | 2720610.2425 | 1081489.2402 | 2720597.3934 | 1081489.3861 | 2720579.9923 | 1081505.6423
30 | 2720610.2425 | 1081489.2402 | 2720584.9833 | 1081518.7393 | 2720570.2256 | 1081540.4493
31 | 2720493.5842 | 1081542.6931 | 2720501.1681 | 1081526.8094 | 2720507.1983 | 1081517.505
32 | 2720570.2256 | 1081540.4493 | 2720507.1983 | 1081517.505
33 | 2720570.2256 | 1081540.4493 | 2720569.8958 | 1081540.9344 | 2720561.5231 | 1081557.4905
34 | 2720555.2815 | 1081569.8327 | 2720561.5231 | 1081557.4905
35 | 2720603.4975 | 1081525.8886 | 2720595.6936 | 1081529.7258
36 | 2720603.4975 | 1081525.8886 | 2720605.2132 | 1081531.4154 | 2720608.7642 | 1081539.4068
37 | 2720617.5711 | 1081555.7376 | 2720614.5594 | 1081552.4487 | 2720608.7642 | 1081539.4068
38 | 2720662.4445 | 1081610.6828 | 2720658.0516 | 1081599.9437 | 2720617.5711 | 1081555.7376
39 | 2720649.2819 | 1081612.1566 | 2720656.0959 | 1081616.7281 | 2720661.0909 | 1081611.968 | 2720662.4445 | 1081610.6828
40 | 2720350.6179 | 1081498.5142 | 2720352.0764 | 1081491.9299
41 | 2720555.2815 | 1081569.8327 | 2720553.3822 | 1081574.5552
42 | 2720555.2815 | 1081569.8327 | 2720560.9531 | 1081568.1659 | 2720568.2408 | 1081555.1106
43 | 2720553.3822 | 1081574.5552 | 2720547.4943 | 1081589.1953
44 | 2720547.4943 | 1081589.1953 | 2720542.0074 | 1081602.8382 | 2720535.0492 | 1081617.322 | 2720535.0492 | 1081617.322
45 | 2720518.7506 | 1081633.444 | 2720526.2089 | 1081626.4426 | 2720535.0492 | 1081617.322
46 | 2720518.7506 | 1081633.444 | 2720492.2438 | 1081658.3271 | 2720486.6968 | 1081664.6886 | 2720487.0302 | 1081668.6425 | 2720487.0302 | 1081668.6425
47 | 2720570.5104 | 1081742.9023 | 2720626.0779 | 1081632.4117 | 2720637.4277 | 1081621.6843 | 2720645.5051 | 1081618.9311 | 2720648.5826 | 1081616.09 | 2720649.2819 | 1081612.1566
48 | 2720649.2819 | 1081612.1566 | 2720646.6213 | 1081610.0246 | 2720643.1984 | 1081609.134 | 2720637.0204 | 1081610.8796 | 2720601.2634 | 1081624.4711
49 | 2720570.5104 | 1081742.9023 | 2720534.7592 | 1081759.4958 | 2720531.4001 | 1081760.8748 | 2720527.4608 | 1081760.1742 | 2720509.9717 | 1081749.1426
50 | 2720579.8645 | 1081632.605 | 2720601.2634 | 1081624.4711
51 | 2720579.8645 | 1081632.605 | 2720559.4744 | 1081640.3554
52 | 2720538.6036 | 1081648.2885 | 2720559.4744 | 1081640.3554
53 | 2720322.9468 | 1081530.1145 | 2720322.7935 | 1081530.7606
54 | 2720322.7935 | 1081530.7606 | 2720319.1546 | 1081546.0936 | 2720317.076 | 1081554.1884
55 | 2720317.076 | 1081554.1884 | 2720312.6632 | 1081571.3736
56 | 2720312.6632 | 1081571.3736 | 2720311.1149 | 1081577.4029
57 | 2720282.7612 | 1081586.5263 | 2720290.3185 | 1081537.7518
58 | 2720306.6093 | 1081588.6542 | 2720302.6149 | 1081589.954 | 2720282.7612 | 1081586.5263
59 | 2720306.6093 | 1081588.6542 | 2720312.0621 | 1081595.7002 | 2720311.1268 | 1081603.513
60 | 2720306.6093 | 1081588.6542 | 2720308.7716 | 1081586.5287 | 2720311.1149 | 1081577.4029
61 | 2720490.6278 | 1081671.3044 | 2720487.0302 | 1081668.6425
62 | 2720490.6278 | 1081671.3044 | 2720490.6278 | 1081671.3044 | 2720494.0551 | 1081671.5835 | 2720497.9551 | 1081669.17 | 2720501.6778 | 1081665.5076 | 2720506.2018 | 1081660.6047 | 2720538.6036 | 1081648.2885

## bus_geodata
| x | y | coords
0 | 2720323.5306 | 1081426.0275
1 | 2720317.2172 | 1081438.6116
2 | 2720352.7696 | 1081440.3373
3 | 2720312.3405 | 1081459.5607
4 | 2720383.3791 | 1081362.5195
5 | 2720357.9525 | 1081465.4013
6 | 2720342.4359 | 1081448.0156
7 | 2720308.0212 | 1081478.1153
8 | 2720389.5027 | 1081396.1237
9 | 2720356.5453 | 1081471.7543
10 | 2720330.0783 | 1081500.0655
11 | 2720291.016 | 1081485.7838
12 | 2720380.129 | 1081428.1441
13 | 2720494.7471 | 1081404.59
14 | 2720352.7332 | 1081488.9646
15 | 2720328.4934 | 1081506.7434
16 | 2720259.4284 | 1081429.5589
17 | 2720254.8559 | 1081458.5539
18 | 2720251.565 | 1081479.423
19 | 2720262.4523 | 1081481.1784
20 | 2720251.1789 | 1081481.9935
21 | 2720284.8327 | 1081484.7868
22 | 2720247.7603 | 1081504.755
23 | 2720569.0502 | 1081477.728
24 | 2720554.4852 | 1081444.883
25 | 2720556.7351 | 1081435.1843
26 | 2720630.3734 | 1081421.4346
27 | 2720610.2425 | 1081489.2402
28 | 2720507.1983 | 1081517.505
29 | 2720493.5842 | 1081542.6931
30 | 2720570.2256 | 1081540.4493
31 | 2720561.5231 | 1081557.4905
32 | 2720579.9923 | 1081505.6423
33 | 2720603.4975 | 1081525.8886
34 | 2720595.6936 | 1081529.7258
35 | 2720608.7642 | 1081539.4068
36 | 2720617.5711 | 1081555.7376
37 | 2720662.4445 | 1081610.6828
38 | 2720352.0764 | 1081491.9299
39 | 2720350.6179 | 1081498.5142
40 | 2720555.2815 | 1081569.8327
41 | 2720553.3822 | 1081574.5552
42 | 2720568.2408 | 1081555.1106
43 | 2720547.4943 | 1081589.1953
44 | 2720535.0492 | 1081617.322
45 | 2720518.7506 | 1081633.444
46 | 2720649.2819 | 1081612.1566
47 | 2720570.5104 | 1081742.9023
48 | 2720601.2634 | 1081624.4711
49 | 2720579.8645 | 1081632.605
50 | 2720559.4744 | 1081640.3554
51 | 2720322.9468 | 1081530.1145
52 | 2720322.7935 | 1081530.7606
53 | 2720317.076 | 1081554.1884
54 | 2720312.6632 | 1081571.3736
55 | 2720282.7612 | 1081586.5263
56 | 2720290.3185 | 1081537.7518
57 | 2720306.6093 | 1081588.6542
58 | 2720311.1268 | 1081603.513
59 | 2720311.1149 | 1081577.4029
60 | 2720487.0302 | 1081668.6425
61 | 2720538.6036 | 1081648.2885
62 | 2720490.6278 | 1081671.3044
63 | 2720509.9717 | 1081749.1426
64 | 2720352.7696 | 1081440.3373

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1