## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-51_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-51_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-51_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5254-51_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5254-51_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5254-51_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_5254-51_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_5254-51_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_5254-51_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5254-51_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5254-51_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_5254-51_0_3_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_5254-51_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5254-51_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5254-51_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5254-51_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5254-51_0_3_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_5254-51_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_5254-51_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_5254-51_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_5254-51_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5254-51_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5254-51_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_5254-51_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5254-51_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_5254-51_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5254-51_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5254-51_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5254-51_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5254-51_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5254-51_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5254-51_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5254-51_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5254-51_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5254-51_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5254-51_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5254-51_0_3_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_5254-51_0_3_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_5254-51_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5254-51_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_5254-51_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5254-51_0_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_5254-51_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5254-51_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5254-51_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5254-51_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_5254-51_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_5254-51_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5254-51_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5254-51_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5254-51_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5254-51_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5254-51_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5254-51_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5254-51_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_5254-51_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5254-51_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_5254-51_0_3_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5254-51_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_5254-51_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5254-51_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5254-51_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5254-51_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5254-51_0_3_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_5254-51_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5254-51_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5254-51_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5254-51_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5254-51_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5254-51_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5254-51_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5254-51_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5254-51_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5254-51_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5254-51_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5254-51_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5254-51_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5254-51_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_MV_68_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-51_0_3_load_0 | 0 | 0.00096997 | 0.0002431 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-51_0_3_load_1 | 1 | 0.0021113 | 0.00052913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-51_0_3_load_2 | 2 | 0.00081146 | 0.00020337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-51_0_3_load_3 | 3 | 0.023162 | 0.0058049 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-51_0_3_load_4 | 4 | 0.00071912 | 0.00018023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-51_0_3_load_25 | 5 | 0.0031424 | 0.00078755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-51_0_3_load_26 | 6 | 0.0031643 | 0.00079306 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-51_0_3_load_23 | 7 | 0.0012068 | 0.00030246 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-51_0_3_load_5 | 8 | 0.0077491 | 0.0019421 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-51_0_3_load_27 | 9 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-51_0_3_load_78 | 11 | 0.00078489 | 0.00019671 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-51_0_3_load_21 | 12 | 0.00096805 | 0.00024262 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-51_0_3_load_6 | 13 | 0.015817 | 0.003964 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-51_0_3_load_32 | 14 | 0.0052943 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-51_0_3_load_29 | 15 | 0.0049136 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-51_0_3_load_77 | 16 | 0.00061902 | 0.00015514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-51_0_3_load_20 | 17 | 0.00054016 | 0.00013538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-51_0_3_load_7 | 18 | 0.0078093 | 0.0019572 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-51_0_3_load_8 | 19 | 0.010979 | 0.0027516 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-51_0_3_load_30 | 20 | 0.0030439 | 0.00076288 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-51_0_3_load_9 | 21 | 0.007373 | 0.0018478 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-51_0_3_load_10 | 23 | 0.010167 | 0.0025482 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-51_0_3_load_34 | 24 | 0.0041009 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-51_0_3_load_12 | 26 | 0.0099601 | 0.0024962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-51_0_3_load_13 | 27 | 0.0038061 | 0.00095389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-51_0_3_load_14 | 28 | 0.013185 | 0.0033046 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-51_0_3_load_18 | 29 | 0.0013143 | 0.00032939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-51_0_3_load_15 | 30 | 0.0038809 | 0.00097264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-51_0_3_load_19 | 31 | 0.0034779 | 0.00087164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-51_0_3_load_35 | 32 | 0.0063633 | 0.0015948 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-51_0_3_load_36 | 33 | 0.003198 | 0.0008015 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-51_0_3_load_16 | 34 | 0.010796 | 0.0027058 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-51_0_3_load_17 | 35 | 0.005458 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-51_0_3_load_58 | 36 | 0.0020975 | 0.00052569 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-51_0_3_load_59 | 37 | 0.00093985 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-51_0_3_load_42 | 38 | 0.003765 | 0.0009436 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-51_0_3_load_57 | 39 | 0.0016938 | 0.00042452 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-51_0_3_load_76 | 41 | 0.00055799 | 0.00013985 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-51_0_3_load_43 | 43 | 0.005722 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-51_0_3_load_44 | 44 | 0.0092275 | 0.0023126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-51_0_3_load_82 | 45 | 0.0046647 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-51_0_3_load_50 | 46 | 0.0036148 | 0.00090596 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-51_0_3_load_52 | 49 | 0.0038974 | 0.00097678 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-51_0_3_load_49 | 50 | 0.0076292 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-51_0_3_load_37 | 51 | 0.0063829 | 0.0015997 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-51_0_3_load_51 | 52 | 0.0071881 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-51_0_3_load_41 | 53 | 0.0024225 | 0.00060713 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-51_0_3_load_56 | 54 | 0.0042666 | 0.0010693 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-51_0_3_load_69 | 55 | 0.0028629 | 0.00071752 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-51_0_3_load_38 | 56 | 0.0060989 | 0.0015285 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-51_0_3_load_60 | 57 | 0.0039086 | 0.0009796 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-51_0_3_load_67 | 58 | 0.0040292 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-51_0_3_load_45 | 59 | 0.0046703 | 0.0011705 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-51_0_3_load_46 | 60 | 0.0047508 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-51_0_3_load_47 | 61 | 0.0048236 | 0.0012089 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-51_0_3_load_48 | 62 | 0.0061435 | 0.0015397 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-51_0_3_load_79 | 63 | 0.010309 | 0.0025837 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-51_0_3_load_53 | 64 | 0.0019332 | 0.00048451 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-51_0_3_load_54 | 65 | 0.0024813 | 0.00062187 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-51_0_3_load_55 | 66 | 0.0050559 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-51_0_3_load_61 | 67 | 0.0040686 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-51_0_3_load_65 | 68 | 0.002607 | 0.00065339 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-51_0_3_load_64 | 69 | 0.0029012 | 0.0007271 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-51_0_3_load_62 | 71 | 0.0017545 | 0.00043972 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-51_0_3_load_73 | 72 | 0.00085034 | 0.00021311 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-51_0_3_load_70 | 73 | 0.0014859 | 0.00037239 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-51_0_3_load_68 | 74 | 0.00064718 | 0.0001622 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-51_0_3_load_71 | 75 | 0.00072631 | 0.00018203 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5254-51_0_3_load_72 | 76 | 0.00075517 | 0.00018926 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5254-51_0_3_load_74 | 77 | 0.0004519 | 0.00011326 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-51_0_3_line_0 |  | 0 | 1 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5254-51_0_3_line_1 |  | 0 | 2 | 0.0089129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5254-51_0_3_line_2 |  | 1 | 3 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5254-51_0_3_line_3 |  | 2 | 4 | 0.0067056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5254-51_0_3_line_4 |  | 3 | 8 | 0.0093438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5254-51_0_3_line_5 |  | 4 | 11 | 0.0077426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5254-51_0_3_line_6 |  | 5 | 6 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5254-51_0_3_line_7 |  | 5 | 7 | 0.0064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5254-51_0_3_line_8 |  | 6 | 9 | 0.0014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5254-51_0_3_line_9 |  | 7 | 12 | 0.0097788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5254-51_0_3_line_10 |  | 8 | 13 | 0.014228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5254-51_0_3_line_11 |  | 9 | 10 | 0.034482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5254-51_0_3_line_12 |  | 10 | 14 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-51_0_3_line_13 |  | 10 | 15 | 0.006678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5254-51_0_3_line_14 |  | 11 | 16 | 0.0084825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5254-51_0_3_line_15 |  | 12 | 17 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5254-51_0_3_line_16 |  | 13 | 18 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5254-51_0_3_line_17 |  | 14 | 46 | 0.032551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-51_0_3_line_18 |  | 15 | 20 | 0.023933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5254-51_0_3_line_19 |  | 16 | 41 | 0.0071228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5254-51_0_3_line_20 |  | 17 | 40 | 0.074943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-51_0_3_line_21 |  | 17 | 41 | 0.047496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5254-51_0_3_line_22 |  | 18 | 19 | 0.0076464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5254-51_0_3_line_23 |  | 19 | 21 | 0.0094029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5254-51_0_3_line_24 |  | 20 | 22 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5254-51_0_3_line_25 |  | 21 | 23 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-51_0_3_line_26 |  | 22 | 47 | 0.045686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-51_0_3_line_27 |  | 22 | 24 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5254-51_0_3_line_28 |  | 23 | 25 | 0.015455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-51_0_3_line_29 |  | 25 | 26 | 0.013407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-51_0_3_line_30 |  | 25 | 27 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-51_0_3_line_31 |  | 26 | 28 | 0.00086906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-51_0_3_line_32 |  | 27 | 29 | 0.0087065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-51_0_3_line_33 |  | 28 | 30 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-51_0_3_line_34 |  | 29 | 31 | 0.004066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-51_0_3_line_35 |  | 30 | 34 | 0.026918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-51_0_3_line_36 |  | 31 | 38 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5254-51_0_3_line_37 |  | 32 | 33 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-51_0_3_line_38 |  | 33 | 53 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-51_0_3_line_39 |  | 34 | 35 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-51_0_3_line_40 |  | 36 | 37 | 0.021561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-51_0_3_line_41 |  | 37 | 70 | 0.016119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-51_0_3_line_42 |  | 37 | 71 | 0.046233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-51_0_3_line_43 |  | 38 | 39 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-51_0_3_line_44 |  | 39 | 55 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-51_0_3_line_45 |  | 40 | 42 | 0.035837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-51_0_3_line_46 |  | 42 | 43 | 0.026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-51_0_3_line_47 |  | 43 | 44 | 0.036361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-51_0_3_line_48 |  | 43 | 45 | 0.039618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-51_0_3_line_49 |  | 44 | 59 | 0.00838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-51_0_3_line_50 |  | 46 | 50 | 0.0043454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-51_0_3_line_51 |  | 47 | 48 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-51_0_3_line_52 |  | 47 | 49 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-51_0_3_line_53 |  | 48 | 51 | 0.0026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-51_0_3_line_54 |  | 49 | 52 | 0.012337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-51_0_3_line_55 |  | 50 | 62 | 0.049144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-51_0_3_line_56 |  | 51 | 56 | 0.037568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-51_0_3_line_57 |  | 52 | 64 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-51_0_3_line_58 |  | 53 | 54 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5254-51_0_3_line_59 |  | 53 | 55 | 0.028139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-51_0_3_line_60 |  | 54 | 57 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-51_0_3_line_61 |  | 55 | 58 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-51_0_3_line_62 |  | 57 | 67 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-51_0_3_line_63 |  | 58 | 68 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-51_0_3_line_64 |  | 59 | 60 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-51_0_3_line_65 |  | 60 | 61 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-51_0_3_line_66 |  | 62 | 63 | 0.10915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-51_0_3_line_67 |  | 64 | 65 | 0.0049929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-51_0_3_line_68 |  | 65 | 66 | 0.027297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-51_0_3_line_69 |  | 67 | 71 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-51_0_3_line_70 |  | 68 | 69 | 0.0087635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-51_0_3_line_71 |  | 70 | 72 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-51_0_3_line_72 |  | 70 | 73 | 0.0019257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-51_0_3_line_73 |  | 71 | 74 | 0.030995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-51_0_3_line_74 |  | 73 | 75 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-51_0_3_line_75 |  | 75 | 76 | 0.0069939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-51_0_3_line_76 |  | 76 | 77 | 0.0045544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-51_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 78 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2720233.7745 | 1081866.8337 | 2720229.2725 | 1081884.0936
1 | 2720233.7745 | 1081866.8337 | 2720236.024 | 1081858.2093 | 2720236.024 | 1081858.2093
2 | 2720229.2725 | 1081884.0936 | 2720227.2352 | 1081891.9044 | 2720223.3054 | 1081902.8366
3 | 2720237.4614 | 1081851.6596 | 2720236.024 | 1081858.2093
4 | 2720223.3054 | 1081902.8366 | 2720220.1446 | 1081911.6295
5 | 2720239.1211 | 1081844.097 | 2720237.4614 | 1081851.6596
6 | 2720181.4054 | 1081861.5474 | 2720186.5747 | 1081847.8217
7 | 2720188.8453 | 1081841.7926 | 2720186.5747 | 1081847.8217
8 | 2720181.4054 | 1081861.5474 | 2720180.8936 | 1081862.9065
9 | 2720191.8828 | 1081832.5042 | 2720190.2183 | 1081838.1469 | 2720188.8453 | 1081841.7926
10 | 2720220.1446 | 1081911.6295 | 2720215.3314 | 1081925.019
11 | 2720168.0285 | 1081894.8943 | 2720177.1788 | 1081872.7701 | 2720180.8936 | 1081862.9065
12 | 2720168.0285 | 1081894.8943 | 2720156.6803 | 1081890.7388
13 | 2720168.0285 | 1081894.8943 | 2720165.4758 | 1081901.0651
14 | 2720240.9394 | 1081835.8117 | 2720239.1211 | 1081844.097
15 | 2720196.6215 | 1081816.4398 | 2720191.8828 | 1081832.5042
16 | 2720215.3314 | 1081925.019 | 2720210.7977 | 1081937.6309
17 | 2720156.6803 | 1081890.7388 | 2720126.114 | 1081879.5458
18 | 2720165.4758 | 1081901.0651 | 2720156.3273 | 1081923.1805
19 | 2720242.4663 | 1081828.8544 | 2720240.9394 | 1081835.8117
20 | 2720210.947 | 1081742.9211 | 2720202.4966 | 1081790.5551 | 2720198.7913 | 1081809.0842 | 2720196.6215 | 1081816.4398
21 | 2720196.6215 | 1081816.4398 | 2720242.4663 | 1081828.8544
22 | 2720210.7977 | 1081937.6309 | 2720210.1017 | 1081939.5671 | 2720208.3376 | 1081944.8703
23 | 2720208.3376 | 1081944.8703 | 2720205.3696 | 1081953.7924
24 | 2720151.3347 | 1081935.2495 | 2720156.3273 | 1081923.1805
25 | 2720205.3696 | 1081953.7924 | 2720201.696 | 1081964.8354
26 | 2720151.3347 | 1081935.2495 | 2720135.4773 | 1081978.1008
27 | 2720151.3347 | 1081935.2495 | 2720153.585 | 1081941.6429 | 2720154.7985 | 1081946.2701 | 2720154.6088 | 1081946.8387
28 | 2720196.8177 | 1081979.5003 | 2720201.696 | 1081964.8354
29 | 2720196.8177 | 1081979.5003 | 2720209.0441 | 1081985.0009
30 | 2720196.8177 | 1081979.5003 | 2720187.7765 | 1082006.6835
31 | 2720209.0441 | 1081985.0009 | 2720209.8366 | 1081985.3575
32 | 2720187.7765 | 1082006.6835 | 2720186.1591 | 1082011.5463 | 2720184.8345 | 1082014.8741
33 | 2720209.8366 | 1081985.3575 | 2720215.0152 | 1081987.6873 | 2720216.9638 | 1081992.4403 | 2720213.4492 | 1082004.3
34 | 2720184.8345 | 1082014.8741 | 2720183.3308 | 1082018.6518
35 | 2720213.4492 | 1082004.3 | 2720209.2259 | 1082018.5507 | 2720205.8098 | 1082030.1115
36 | 2720183.3308 | 1082018.6518 | 2720177.6088 | 1082033.0273
37 | 2720151.7843 | 1082021.4215 | 2720151.2432 | 1082023.3328 | 2720146.4917 | 1082036.6486 | 2720145.9798 | 1082038.2785
38 | 2720145.9798 | 1082038.2785 | 2720142.8731 | 1082048.1702
39 | 2720205.8098 | 1082030.1115 | 2720201.6963 | 1082044.0322
40 | 2720177.3208 | 1082104.8715 | 2720172.5829 | 1082114.3074 | 2720168.1275 | 1082124.3677
41 | 2720161.6864 | 1082139.1436 | 2720165.9829 | 1082129.2101 | 2720168.1275 | 1082124.3677
42 | 2720125.6744 | 1082106.0577 | 2720168.1275 | 1082124.3677
43 | 2720177.6088 | 1082033.0273 | 2720173.8963 | 1082042.3543
44 | 2720170.6372 | 1082052.7455 | 2720171.9575 | 1082047.225 | 2720173.8963 | 1082042.3543
45 | 2720210.947 | 1081742.9211 | 2720180.0481 | 1081761.2247
46 | 2720180.0481 | 1081761.2247 | 2720171.3097 | 1081766.4006 | 2720160.1468 | 1081770.0719 | 2720155.2654 | 1081770.6551
47 | 2720155.2654 | 1081770.6551 | 2720148.244 | 1081771.4938 | 2720144.4655 | 1081772.8759 | 2720142.9611 | 1081775.1256 | 2720138.5102 | 1081797.2425
48 | 2720155.2654 | 1081770.6551 | 2720119.86 | 1081752.8765
49 | 2720136.8569 | 1081805.4577 | 2720138.5102 | 1081797.2425
50 | 2720122.2369 | 1081877.5835 | 2720126.114 | 1081879.5458 | 2720126.114 | 1081879.5458
51 | 2720126.7993 | 1082001.4908 | 2720135.4773 | 1081978.1008
52 | 2720135.4773 | 1081978.1008 | 2720126.1594 | 1081979.9962 | 2720121.9685 | 1081984.1833 | 2720116.1585 | 1081982.1248
53 | 2720126.7993 | 1082001.4908 | 2720125.7792 | 1082003.9848
54 | 2720104.6815 | 1081977.6314 | 2720108.6418 | 1081979.4617 | 2720116.1585 | 1081982.1248
55 | 2720080.5005 | 1081851.7959 | 2720085.8764 | 1081854.7684 | 2720110.958 | 1081871.8749 | 2720122.2369 | 1081877.5835
56 | 2720125.7792 | 1082003.9848 | 2720120.3614 | 1082017.2307 | 2720111.5097 | 1082038.7375
57 | 2720104.6815 | 1081977.6314 | 2720092.4718 | 1081971.9885
58 | 2720142.8731 | 1082048.1702 | 2720139.4373 | 1082059.1101
59 | 2720142.8731 | 1082048.1702 | 2720170.6372 | 1082052.7455
60 | 2720139.4373 | 1082059.1101 | 2720135.3545 | 1082072.1099 | 2720135.0904 | 1082073.1773
61 | 2720168.2691 | 1082062.6474 | 2720170.6372 | 1082052.7455
62 | 2720135.0904 | 1082073.1773 | 2720131.4098 | 1082088.0564
63 | 2720165.5666 | 1082073.9476 | 2720168.2691 | 1082062.6474
64 | 2720136.8569 | 1081805.4577 | 2720131.5135 | 1081832.0101
65 | 2720131.5135 | 1081832.0101 | 2720131.182 | 1081833.6574 | 2720135.9022 | 1081842.4012 | 2720144.1068 | 1081844.0361
66 | 2720080.5005 | 1081851.7959 | 2719994.0365 | 1081785.1874
67 | 2720092.4718 | 1081971.9885 | 2720087.9395 | 1081969.8939
68 | 2720063.5792 | 1081957.5802 | 2720085.5461 | 1081968.7877 | 2720087.9395 | 1081969.8939
69 | 2720131.4098 | 1082088.0564 | 2720130.6877 | 1082090.9758 | 2720125.6744 | 1082106.0577
70 | 2720163.5282 | 1082082.4707 | 2720165.5666 | 1082073.9476
71 | 2720161.6864 | 1082139.1436 | 2720156.8892 | 1082143.3631 | 2720153.5308 | 1082155.1129
72 | 2720161.6864 | 1082139.1436 | 2720161.2753 | 1082141.0249
73 | 2720125.6744 | 1082106.0577 | 2720153.5852 | 1082119.5365
74 | 2720161.2753 | 1082141.0249 | 2720155.6974 | 1082166.5474
75 | 2720155.6974 | 1082166.5474 | 2720154.2042 | 1082173.3801
76 | 2720154.2042 | 1082173.3801 | 2720153.7985 | 1082175.2361 | 2720152.327 | 1082177.4454

## bus_geodata
| x | y | coords
0 | 2720233.7745 | 1081866.8337
1 | 2720229.2725 | 1081884.0936
2 | 2720236.024 | 1081858.2093
3 | 2720223.3054 | 1081902.8366
4 | 2720237.4614 | 1081851.6596
5 | 2720186.5747 | 1081847.8217
6 | 2720181.4054 | 1081861.5474
7 | 2720188.8453 | 1081841.7926
8 | 2720220.1446 | 1081911.6295
9 | 2720180.8936 | 1081862.9065
10 | 2720168.0285 | 1081894.8943
11 | 2720239.1211 | 1081844.097
12 | 2720191.8828 | 1081832.5042
13 | 2720215.3314 | 1081925.019
14 | 2720156.6803 | 1081890.7388
15 | 2720165.4758 | 1081901.0651
16 | 2720240.9394 | 1081835.8117
17 | 2720196.6215 | 1081816.4398
18 | 2720210.7977 | 1081937.6309
19 | 2720208.3376 | 1081944.8703
20 | 2720156.3273 | 1081923.1805
21 | 2720205.3696 | 1081953.7924
22 | 2720151.3347 | 1081935.2495
23 | 2720201.696 | 1081964.8354
24 | 2720154.6088 | 1081946.8387
25 | 2720196.8177 | 1081979.5003
26 | 2720209.0441 | 1081985.0009
27 | 2720187.7765 | 1082006.6835
28 | 2720209.8366 | 1081985.3575
29 | 2720184.8345 | 1082014.8741
30 | 2720213.4492 | 1082004.3
31 | 2720183.3308 | 1082018.6518
32 | 2720151.7843 | 1082021.4215
33 | 2720145.9798 | 1082038.2784
34 | 2720205.8098 | 1082030.1115
35 | 2720201.6963 | 1082044.0322
36 | 2720177.3208 | 1082104.8715
37 | 2720168.1275 | 1082124.3677
38 | 2720177.6088 | 1082033.0273
39 | 2720173.8963 | 1082042.3543
40 | 2720210.947 | 1081742.9211
41 | 2720242.4663 | 1081828.8544
42 | 2720180.0481 | 1081761.2247
43 | 2720155.2654 | 1081770.6551
44 | 2720138.5102 | 1081797.2425
45 | 2720119.86 | 1081752.8765
46 | 2720126.114 | 1081879.5458
47 | 2720135.4773 | 1081978.1008
48 | 2720126.7993 | 1082001.4908
49 | 2720116.1585 | 1081982.1248
50 | 2720122.2369 | 1081877.5835
51 | 2720125.7792 | 1082003.9848
52 | 2720104.6815 | 1081977.6314
53 | 2720142.8731 | 1082048.1702
54 | 2720139.4373 | 1082059.1101
55 | 2720170.6372 | 1082052.7455
56 | 2720111.5097 | 1082038.7375
57 | 2720135.0904 | 1082073.1773
58 | 2720168.2691 | 1082062.6474
59 | 2720136.8569 | 1081805.4577
60 | 2720131.5135 | 1081832.0101
61 | 2720144.1068 | 1081844.0361
62 | 2720080.5005 | 1081851.7959
63 | 2719994.0365 | 1081785.1874
64 | 2720092.4718 | 1081971.9885
65 | 2720087.9395 | 1081969.8939
66 | 2720063.5792 | 1081957.5802
67 | 2720131.4098 | 1082088.0564
68 | 2720165.5666 | 1082073.9476
69 | 2720163.5282 | 1082082.4707
70 | 2720161.6864 | 1082139.1436
71 | 2720125.6744 | 1082106.0577
72 | 2720153.5308 | 1082155.1129
73 | 2720161.2753 | 1082141.0249
74 | 2720153.5852 | 1082119.5365
75 | 2720155.6974 | 1082166.5474
76 | 2720154.2042 | 1082173.3801
77 | 2720152.327 | 1082177.4454
78 | 2720151.3347 | 1081935.2495

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1