## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-57_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-57_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-57_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5254-57_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5254-57_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5254-57_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5254-57_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5254-57_0_7_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5254-57_0_7_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_5254-57_0_7_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_5254-57_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5254-57_0_7_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_5254-57_0_7_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_5254-57_0_7_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_5254-57_0_7_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_5254-57_0_7_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5254-57_0_7_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5254-57_0_7_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_5254-57_0_7_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_5254-57_0_7_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5254-57_0_7_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5254-57_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5254-57_0_7_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5254-57_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5254-57_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5254-57_0_7_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5254-57_0_7_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5254-57_0_7_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5254-57_0_7_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5254-57_0_7_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5254-57_0_7_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5254-57_0_7_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5254-57_0_7_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5254-57_0_7_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5254-57_0_7_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5254-57_0_7_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_5254-57_0_7_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5254-57_0_7_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_5254-57_0_7_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5254-57_0_7_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5254-57_0_7_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5254-57_0_7_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5254-57_0_7_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5254-57_0_7_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5254-57_0_7_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5254-57_0_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5254-57_0_7_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5254-57_0_7_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5254-57_0_7_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5254-57_0_7_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5254-57_0_7_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5254-57_0_7_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5254-57_0_7_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_5254-57_0_7_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5254-57_0_7_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5254-57_0_7_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5254-57_0_7_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5254-57_0_7_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_5254-57_0_7_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5254-57_0_7_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5254-57_0_7_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5254-57_0_7_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5254-57_0_7_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5254-57_0_7_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_5254-57_0_7_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_5254-57_0_7_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_5254-57_0_7_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5254-57_0_7_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_5254-57_0_7_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5254-57_0_7_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5254-57_0_7_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5254-57_0_7_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_5254-57_0_7_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5254-57_0_7_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5254-57_0_7_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_5254-57_0_7_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_5254-57_0_7_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_5254-57_0_7_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_5254-57_0_7_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_5254-57_0_7_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_5254-57_0_7_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_5254-57_0_7_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_5254-57_0_7_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5254-57_0_7_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5254-57_0_7_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_5254-57_0_7_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_5254-57_0_7_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_5254-57_0_7_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5254-57_0_7_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_5254-57_0_7_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5254-57_0_7_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_5254-57_0_7_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_5254-57_0_7_node_81 | 0.4 | n |  | TRUE
93 | bus_MV_259_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-57_0_7_load_0 | 0 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-57_0_7_load_1 | 1 | 0.0029229 | 0.00073255 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-57_0_7_load_3 | 3 | 0.0081623 | 0.0020457 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-57_0_7_load_6 | 5 | 0.025118 | 0.0062951 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-57_0_7_load_58 | 8 | 0.0048631 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-57_0_7_load_94 | 9 | 0.0043981 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-57_0_7_load_84 | 12 | 0.0045351 | 0.0011366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-57_0_7_load_52 | 13 | 0.0048159 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-57_0_7_load_56 | 14 | 0.0037766 | 0.0009465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-57_0_7_load_8 | 15 | 0.022148 | 0.0055509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-57_0_7_load_9 | 16 | 0.0067587 | 0.0016939 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-57_0_7_load_35 | 17 | 0.0023381 | 0.00058597 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-57_0_7_load_33 | 18 | 0.0072732 | 0.0018228 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-57_0_7_load_10 | 19 | 0.0027327 | 0.00068488 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-57_0_7_load_11 | 20 | 0.02015 | 0.00505 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-57_0_7_load_12 | 21 | 0.013213 | 0.0033115 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-57_0_7_load_13 | 22 | 0.0058624 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-57_0_7_load_16 | 24 | 0.016938 | 0.004245 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-57_0_7_load_37 | 26 | 0.0078384 | 0.0019645 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-57_0_7_load_19 | 27 | 0.016402 | 0.0041108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-57_0_7_load_41 | 28 | 0.0041514 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-57_0_7_load_18 | 29 | 0.0065326 | 0.0016372 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-57_0_7_load_39 | 30 | 0.0057647 | 0.0014448 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-57_0_7_load_20 | 31 | 0.016975 | 0.0042543 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-57_0_7_load_21 | 32 | 0.0095242 | 0.002387 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-57_0_7_load_22 | 33 | 0.0053896 | 0.0013508 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-57_0_7_load_69 | 35 | 0.0091519 | 0.0022937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-57_0_7_load_67 | 37 | 0.0016954 | 0.0004249 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-57_0_7_load_28 | 38 | 0.0046975 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-57_0_7_load_24 | 39 | 0.0032986 | 0.00082671 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-57_0_7_load_25 | 40 | 0.0038509 | 0.00096512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-57_0_7_load_27 | 41 | 0.0043249 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-57_0_7_load_29 | 42 | 0.00939 | 0.0023533 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-57_0_7_load_43 | 43 | 0.007074 | 0.0017729 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-57_0_7_load_30 | 44 | 0.010398 | 0.002606 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-57_0_7_load_44 | 45 | 0.0035706 | 0.00089488 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-57_0_7_load_31 | 46 | 0.0022612 | 0.0005667 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-57_0_7_load_32 | 47 | 0.0030766 | 0.00077108 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-57_0_7_load_34 | 48 | 0.0019973 | 0.00050057 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-57_0_7_load_38 | 49 | 0.0050892 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-57_0_7_load_95 | 52 | 0.014912 | 0.0037374 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-57_0_7_load_47 | 55 | 0.0048159 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-57_0_7_load_79 | 56 | 0.0052027 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-57_0_7_load_78 | 57 | 0.0073808 | 0.0018498 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-57_0_7_load_48 | 58 | 0.0029031 | 0.00072759 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-57_0_7_load_77 | 59 | 0.0036043 | 0.00090332 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-57_0_7_load_49 | 60 | 0.0049085 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-57_0_7_load_50 | 61 | 0.003711 | 0.00093005 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-57_0_7_load_51 | 62 | 0.0057098 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-57_0_7_load_83 | 64 | 0.0033237 | 0.00083299 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-57_0_7_load_80 | 65 | 0.0048394 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-57_0_7_load_55 | 66 | 0.0080871 | 0.0020268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-57_0_7_load_57 | 67 | 0.0076357 | 0.0019137 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-57_0_7_load_59 | 68 | 0.0032743 | 0.00082062 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-57_0_7_load_60 | 69 | 0.004621 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-57_0_7_load_61 | 70 | 0.0020323 | 0.00050935 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-57_0_7_load_92 | 71 | 0.00072466 | 0.00018162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-57_0_7_load_62 | 72 | 0.0045441 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-57_0_7_load_86 | 74 | 0.00068136 | 0.00017077 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-57_0_7_load_89 | 75 | 0.0013062 | 0.00032736 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-57_0_7_load_85 | 76 | 0.0079129 | 0.0019832 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-57_0_7_load_87 | 77 | 0.00071113 | 0.00017823 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-57_0_7_load_88 | 78 | 0.0016773 | 0.00042038 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-57_0_7_load_91 | 79 | 0.00057821 | 0.00014491 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-57_0_7_load_90 | 80 | 0.0039188 | 0.00098216 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-57_0_7_load_93 | 81 | 0.0016889 | 0.00042328 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-57_0_7_load_71 | 82 | 0.0032357 | 0.00081094 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-57_0_7_load_72 | 83 | 0.0046019 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5254-57_0_7_load_65 | 84 | 0.004453 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5254-57_0_7_load_66 | 85 | 0.0026987 | 0.00067637 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5254-57_0_7_load_68 | 86 | 0.024685 | 0.0061867 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5254-57_0_7_load_70 | 87 | 0.0053235 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5254-57_0_7_load_76 | 89 | 0.010183 | 0.0025521 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5254-57_0_7_load_73 | 90 | 0.0084323 | 0.0021133 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5254-57_0_7_load_75 | 91 | 0.010096 | 0.0025302 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5254-57_0_7_load_81 | 92 | 0.006686 | 0.0016757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-57_0_7_line_0 |  | 0 | 1 | 0.0044305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-57_0_7_line_1 |  | 0 | 2 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-57_0_7_line_2 |  | 1 | 3 | 0.024641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-57_0_7_line_3 |  | 2 | 4 | 0.06257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-57_0_7_line_4 |  | 3 | 5 | 0.0089389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-57_0_7_line_5 |  | 4 | 9 | 0.031446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-57_0_7_line_6 |  | 5 | 10 | 0.027841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-57_0_7_line_7 |  | 6 | 7 | 0.041091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-57_0_7_line_8 |  | 6 | 8 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-57_0_7_line_9 |  | 7 | 13 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-57_0_7_line_10 |  | 7 | 11 | 0.008347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-57_0_7_line_11 |  | 8 | 14 | 0.0021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-57_0_7_line_12 |  | 10 | 15 | 0.0062965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-57_0_7_line_13 |  | 10 | 16 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-57_0_7_line_14 |  | 11 | 12 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-57_0_7_line_15 |  | 12 | 64 | 0.013509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-57_0_7_line_16 |  | 13 | 62 | 0.00016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-57_0_7_line_17 |  | 14 | 66 | 0.013629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-57_0_7_line_18 |  | 16 | 17 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-57_0_7_line_19 |  | 17 | 18 | 0.0058721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-57_0_7_line_20 |  | 18 | 48 | 0.0025233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-57_0_7_line_21 |  | 19 | 20 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-57_0_7_line_22 |  | 19 | 21 | 0.020608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-57_0_7_line_23 |  | 20 | 22 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-57_0_7_line_24 |  | 22 | 23 | 0.0014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-57_0_7_line_25 |  | 23 | 24 | 0.049335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-57_0_7_line_26 |  | 23 | 25 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-57_0_7_line_27 |  | 24 | 26 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-57_0_7_line_28 |  | 25 | 27 | 0.006749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-57_0_7_line_29 |  | 25 | 28 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-57_0_7_line_30 |  | 27 | 29 | 0.0055694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-57_0_7_line_31 |  | 28 | 30 | 0.0053453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-57_0_7_line_32 |  | 29 | 31 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-57_0_7_line_33 |  | 30 | 49 | 0.019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-57_0_7_line_34 |  | 31 | 32 | 0.010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-57_0_7_line_35 |  | 32 | 33 | 0.0077363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5254-57_0_7_line_36 |  | 33 | 34 | 0.0099061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5254-57_0_7_line_37 |  | 34 | 35 | 0.011744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-57_0_7_line_38 |  | 34 | 36 | 0.006205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5254-57_0_7_line_39 |  | 35 | 37 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-57_0_7_line_40 |  | 36 | 38 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5254-57_0_7_line_41 |  | 36 | 39 | 0.0061044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-57_0_7_line_42 |  | 37 | 84 | 0.003835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-57_0_7_line_43 |  | 38 | 43 | 0.00010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5254-57_0_7_line_44 |  | 39 | 40 | 0.0026654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-57_0_7_line_45 |  | 40 | 41 | 0.0084603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-57_0_7_line_46 |  | 41 | 42 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-57_0_7_line_47 |  | 42 | 44 | 0.0072691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-57_0_7_line_48 |  | 43 | 45 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5254-57_0_7_line_49 |  | 44 | 46 | 0.0069754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-57_0_7_line_50 |  | 45 | 53 | 0.006969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5254-57_0_7_line_51 |  | 46 | 47 | 0.0093437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-57_0_7_line_52 |  | 47 | 48 | 0.0081653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-57_0_7_line_53 |  | 49 | 50 | 0.096644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-57_0_7_line_54 |  | 50 | 51 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-57_0_7_line_55 |  | 51 | 52 | 0.034332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-57_0_7_line_56 |  | 53 | 54 | 0.004073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-57_0_7_line_57 |  | 53 | 55 | 0.010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-57_0_7_line_58 |  | 54 | 56 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5254-57_0_7_line_59 |  | 54 | 57 | 0.0098306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-57_0_7_line_60 |  | 55 | 58 | 0.0088426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-57_0_7_line_61 |  | 57 | 59 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-57_0_7_line_62 |  | 58 | 60 | 0.0063989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-57_0_7_line_63 |  | 59 | 89 | 0.00060438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-57_0_7_line_64 |  | 60 | 61 | 0.0034383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-57_0_7_line_65 |  | 61 | 62 | 0.011511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-57_0_7_line_66 |  | 63 | 64 | 0.087407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-57_0_7_line_67 |  | 63 | 65 | 0.091398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-57_0_7_line_68 |  | 65 | 92 | 0.052824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-57_0_7_line_69 |  | 66 | 67 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-57_0_7_line_70 |  | 67 | 68 | 0.00030066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-57_0_7_line_71 |  | 69 | 70 | 0.11007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-57_0_7_line_72 |  | 69 | 71 | 0.15371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-57_0_7_line_73 |  | 70 | 72 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-57_0_7_line_74 |  | 71 | 81 | 0.061238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-57_0_7_line_75 |  | 71 | 79 | 0.0092542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-57_0_7_line_76 |  | 72 | 82 | 0.010942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5254-57_0_7_line_77 |  | 73 | 74 | 0.025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5254-57_0_7_line_78 |  | 73 | 75 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5254-57_0_7_line_79 |  | 74 | 76 | 0.0021088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5254-57_0_7_line_80 |  | 75 | 80 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5254-57_0_7_line_81 |  | 76 | 77 | 0.034475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5254-57_0_7_line_82 |  | 77 | 78 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5254-57_0_7_line_83 |  | 78 | 79 | 0.00081158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5254-57_0_7_line_84 |  | 82 | 83 | 0.0093152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5254-57_0_7_line_85 |  | 83 | 88 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5254-57_0_7_line_86 |  | 84 | 85 | 0.0009572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5254-57_0_7_line_87 |  | 85 | 86 | 0.019197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5254-57_0_7_line_88 |  | 86 | 87 | 0.0060703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5254-57_0_7_line_89 |  | 88 | 89 | 0.0025912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5254-57_0_7_line_90 |  | 88 | 90 | 0.0055052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5254-57_0_7_line_91 |  | 90 | 91 | 0.0032335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-57_0_7_trafo_23 | 0.63 MVA 20/0.4 kV | 93 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2718737.8599 | 1080986.5104 | 2718740.21 | 1080990.2663
1 | 2718729.4249 | 1080973.0297 | 2718737.8599 | 1080986.5104
2 | 2718740.21 | 1080990.2663 | 2718753.2805 | 1081011.1553
3 | 2718729.4249 | 1080973.0297 | 2718750.9003 | 1080959.9499 | 2718766.0951 | 1080950.6949 | 2718782.8621 | 1080940.4811
4 | 2718758.022 | 1081018.7331 | 2718753.2805 | 1081011.1553
5 | 2718782.8621 | 1080940.4811 | 2718788.3617 | 1080951.2181 | 2718791.6918 | 1080962.0796 | 2718790.0781 | 1080969.9427
6 | 2718772.7899 | 1081042.335 | 2718758.022 | 1081018.7331
7 | 2718650.4341 | 1081023.1048 | 2718656.2251 | 1081017.3023 | 2718658.8366 | 1081013.228 | 2718683.2167 | 1080999.3484
8 | 2718683.2167 | 1080999.3484 | 2718694.9894 | 1081012.6174
9 | 2718650.4341 | 1081023.1048 | 2718658.0213 | 1081032.7471
10 | 2718642.1331 | 1081024.1884 | 2718650.4341 | 1081023.1048
11 | 2718696.4254 | 1081014.236 | 2718694.9894 | 1081012.6174
12 | 2718772.7899 | 1081042.335 | 2718778.5004 | 1081039.6823
13 | 2718772.7899 | 1081042.335 | 2718755.8164 | 1081051.5997
14 | 2718642.1331 | 1081024.1884 | 2718639.651 | 1081026.008 | 2718636.2846 | 1081027.766 | 2718624.8751 | 1081031.5679
15 | 2718611.734 | 1081034.6098 | 2718621.6571 | 1081032.6403 | 2718624.8751 | 1081031.5679
16 | 2718658.1203 | 1081032.873 | 2718658.0213 | 1081032.7471
17 | 2718705.4707 | 1081024.431 | 2718696.4254 | 1081014.236
18 | 2718749.2761 | 1081066.2961 | 2718756.357 | 1081062.518 | 2718753.6335 | 1081057.1945 | 2718755.8164 | 1081051.5997 | 2718755.8164 | 1081051.5997
19 | 2718744.0953 | 1081069.0604 | 2718749.2761 | 1081066.2961
20 | 2718744.0953 | 1081069.0604 | 2718741.869 | 1081070.2482
21 | 2718780.2896 | 1081135.0724 | 2718763.6207 | 1081143.5994
22 | 2718798.6368 | 1081125.6869 | 2718780.2896 | 1081135.0724
23 | 2718750.3969 | 1081150.364 | 2718763.6207 | 1081143.5994
24 | 2718749.1402 | 1081151.0069 | 2718750.3969 | 1081150.364
25 | 2718749.1402 | 1081151.0069 | 2718770.7455 | 1081195.3594
26 | 2718726.4435 | 1081162.6174 | 2718749.1402 | 1081151.0069
27 | 2718786.4592 | 1081188.5386 | 2718770.7455 | 1081195.3594
28 | 2718726.4435 | 1081162.6174 | 2718722.8614 | 1081156.8975
29 | 2718726.4435 | 1081162.6174 | 2718732.4997 | 1081179.6311
30 | 2718719.9053 | 1081152.1774 | 2718722.8614 | 1081156.8975
31 | 2718732.4997 | 1081179.6311 | 2718734.2923 | 1081184.6669
32 | 2718719.9053 | 1081152.1774 | 2718712.388 | 1081140.1739
33 | 2718740.9275 | 1081203.3071 | 2718734.2923 | 1081184.6669
34 | 2718708.6551 | 1081130.6264 | 2718712.2671 | 1081139.9808 | 2718712.388 | 1081140.1739
35 | 2718705.8684 | 1081123.4094 | 2718708.6551 | 1081130.6264
36 | 2718702.3001 | 1081114.1683 | 2718705.8684 | 1081123.4094
37 | 2718702.3001 | 1081114.1683 | 2718692.1889 | 1081120.1425
38 | 2718702.3001 | 1081114.1683 | 2718700.0986 | 1081108.3657
39 | 2718692.1889 | 1081120.1425 | 2718679.6439 | 1081127.5547
40 | 2718700.0986 | 1081108.3657 | 2718699.4139 | 1081105.2391 | 2718691.7715 | 1081089.2807
41 | 2718700.0986 | 1081108.3657 | 2718705.3359 | 1081105.2297
42 | 2718676.3421 | 1081129.5055 | 2718679.6439 | 1081127.5547
43 | 2718691.7715 | 1081089.2807 | 2718691.7248 | 1081089.1831
44 | 2718707.6227 | 1081103.8604 | 2718705.3359 | 1081105.2297
45 | 2718707.6227 | 1081103.8604 | 2718714.8812 | 1081099.514
46 | 2718716.231 | 1081088.4436 | 2718716.2308 | 1081092.4353 | 2718714.8812 | 1081099.514 | 2718714.8812 | 1081099.514
47 | 2718721.4312 | 1081083.3645 | 2718716.231 | 1081088.4436
48 | 2718683.907 | 1081072.8586 | 2718691.7248 | 1081089.1831
49 | 2718721.4312 | 1081083.3645 | 2718726.4214 | 1081078.4906
50 | 2718680.897 | 1081066.5732 | 2718683.907 | 1081072.8586
51 | 2718726.4214 | 1081078.4906 | 2718726.4214 | 1081078.4906 | 2718734.665 | 1081074.092
52 | 2718734.665 | 1081074.092 | 2718741.869 | 1081070.2482
53 | 2718780.5681 | 1081291.0744 | 2718757.4595 | 1081249.7503 | 2718740.9275 | 1081203.3071
54 | 2718792.7205 | 1081284.8513 | 2718785.5004 | 1081288.6689 | 2718780.5681 | 1081291.0744
55 | 2718777.9545 | 1081253.8415 | 2718792.7205 | 1081284.8513
56 | 2718680.897 | 1081066.5732 | 2718677.2196 | 1081068.3473
57 | 2718680.897 | 1081066.5732 | 2718675.4129 | 1081057.5539
58 | 2718677.2196 | 1081068.3473 | 2718674.739 | 1081078.0615 | 2718669.8176 | 1081081.8906
59 | 2718677.2196 | 1081068.3473 | 2718668.3726 | 1081072.6335
60 | 2718675.4129 | 1081057.5539 | 2718670.8189 | 1081049.9984
61 | 2718649.3407 | 1081082.7985 | 2718657.2088 | 1081078.0423 | 2718668.3726 | 1081072.6335
62 | 2718670.8189 | 1081049.9984 | 2718668.178 | 1081045.6551 | 2718667.3643 | 1081044.6211
63 | 2718649.3407 | 1081082.7985 | 2718648.8235 | 1081083.1111
64 | 2718665.2381 | 1081041.919 | 2718667.3643 | 1081044.6211
65 | 2718665.2381 | 1081041.919 | 2718658.1203 | 1081032.873
66 | 2718527.8666 | 1081017.9162 | 2718550.5859 | 1081029.0882 | 2718573.8833 | 1081034.1005 | 2718599.4657 | 1081037.0448 | 2718611.734 | 1081034.6098
67 | 2718527.8666 | 1081017.9162 | 2718528.099 | 1081023.9361 | 2718535.2427 | 1081028.4338 | 2718554.6579 | 1081042.5548 | 2718579.6262 | 1081084.6148 | 2718582.0555 | 1081087.8074
68 | 2718582.0555 | 1081087.8074 | 2718611.7448 | 1081126.8253 | 2718609.0062 | 1081129.4517
69 | 2718705.4707 | 1081024.431 | 2718714.8863 | 1081035.0434
70 | 2718715.0858 | 1081035.2683 | 2718714.8863 | 1081035.0434
71 | 2718674.4841 | 1081215.8982 | 2718663.7198 | 1081206.2935 | 2718646.6355 | 1081185.0014 | 2718636.7854 | 1081170.3214 | 2718632.2286 | 1081148.6618 | 2718629.7116 | 1081120.2427
72 | 2718674.4841 | 1081215.8982 | 2718536.4821 | 1081283.5989
73 | 2718629.7116 | 1081120.2427 | 2718629.5927 | 1081118.9004 | 2718630.361 | 1081107.343
74 | 2718536.4821 | 1081283.5989 | 2718535.2438 | 1081280.1903 | 2718518.6928 | 1081259.8206 | 2718495.9285 | 1081238.2432
75 | 2718536.4821 | 1081283.5989 | 2718539.642 | 1081292.2969
76 | 2718630.361 | 1081107.343 | 2718631.0869 | 1081096.4247 | 2718631.0869 | 1081096.4247
77 | 2718558.5633 | 1081367.4058 | 2718559.8474 | 1081365.674 | 2718560.3375 | 1081362.0476 | 2718560.0749 | 1081355.9826 | 2718555.9728 | 1081342.8778
78 | 2718558.5633 | 1081367.4058 | 2718554.777 | 1081369.2001 | 2718549.3169 | 1081371.5956 | 2718538.5385 | 1081374.2878 | 2718535.9345 | 1081375.9883
79 | 2718555.3428 | 1081340.8653 | 2718555.9728 | 1081342.8778
80 | 2718535.9345 | 1081375.9883 | 2718532.8508 | 1081378.0021 | 2718529.1997 | 1081382.8233 | 2718527.536 | 1081388.0947 | 2718526.5822 | 1081394.4029
81 | 2718555.3428 | 1081340.8653 | 2718554.2618 | 1081337.4119 | 2718545.0877 | 1081307.9509
82 | 2718539.9191 | 1081293.0597 | 2718543.6405 | 1081303.3033 | 2718545.0877 | 1081307.9509
83 | 2718539.642 | 1081292.2969 | 2718539.9191 | 1081293.0597
84 | 2718631.0869 | 1081096.4247 | 2718637.7681 | 1081089.9337
85 | 2718646.6059 | 1081084.4516 | 2718638.133 | 1081089.5792 | 2718637.7681 | 1081089.9337
86 | 2718675.518 | 1081129.9925 | 2718676.3421 | 1081129.5055
87 | 2718675.518 | 1081129.9925 | 2718672.4411 | 1081131.8104 | 2718669.464 | 1081131.1298 | 2718659.5634 | 1081131.0036 | 2718656.9907 | 1081130.2974
88 | 2718653.2862 | 1081125.4886 | 2718656.9907 | 1081130.2974
89 | 2718646.6059 | 1081084.4516 | 2718648.8235 | 1081083.1111
90 | 2718646.6059 | 1081084.4516 | 2718647.0439 | 1081085.0939 | 2718649.4741 | 1081089.1492
91 | 2718651.1362 | 1081091.9229 | 2718649.4741 | 1081089.1492

## bus_geodata
| x | y | coords
0 | 2718737.8599 | 1080986.5104
1 | 2718740.21 | 1080990.2663
2 | 2718729.4249 | 1080973.0297
3 | 2718753.2805 | 1081011.1553
4 | 2718782.8621 | 1080940.4811
5 | 2718758.022 | 1081018.7331
6 | 2718683.2167 | 1080999.3484
7 | 2718650.4341 | 1081023.1048
8 | 2718694.9894 | 1081012.6174
9 | 2718790.0781 | 1080969.9427
10 | 2718772.7899 | 1081042.335
11 | 2718642.1331 | 1081024.1884
12 | 2718624.8751 | 1081031.5679
13 | 2718658.0213 | 1081032.7471
14 | 2718696.4254 | 1081014.236
15 | 2718778.5004 | 1081039.6823
16 | 2718755.8164 | 1081051.5997
17 | 2718749.2761 | 1081066.2961
18 | 2718744.0953 | 1081069.0604
19 | 2718780.2896 | 1081135.0724
20 | 2718763.6207 | 1081143.5994
21 | 2718798.6368 | 1081125.6869
22 | 2718750.3969 | 1081150.364
23 | 2718749.1402 | 1081151.0069
24 | 2718770.7455 | 1081195.3594
25 | 2718726.4435 | 1081162.6174
26 | 2718786.4592 | 1081188.5386
27 | 2718722.8614 | 1081156.8975
28 | 2718732.4998 | 1081179.6311
29 | 2718719.9053 | 1081152.1774
30 | 2718734.2923 | 1081184.6669
31 | 2718712.388 | 1081140.1739
32 | 2718708.6551 | 1081130.6264
33 | 2718705.8684 | 1081123.4094
34 | 2718702.3001 | 1081114.1683
35 | 2718692.1889 | 1081120.1425
36 | 2718700.0986 | 1081108.3657
37 | 2718679.6439 | 1081127.5547
38 | 2718691.7715 | 1081089.2807
39 | 2718705.3359 | 1081105.2297
40 | 2718707.6227 | 1081103.8604
41 | 2718714.8812 | 1081099.514
42 | 2718716.231 | 1081088.4436
43 | 2718691.7248 | 1081089.1831
44 | 2718721.4312 | 1081083.3645
45 | 2718683.907 | 1081072.8586
46 | 2718726.4214 | 1081078.4906
47 | 2718734.665 | 1081074.092
48 | 2718741.869 | 1081070.2482
49 | 2718740.9275 | 1081203.3071
50 | 2718780.5681 | 1081291.0744
51 | 2718792.7205 | 1081284.8513
52 | 2718777.9545 | 1081253.8415
53 | 2718680.897 | 1081066.5732
54 | 2718677.2196 | 1081068.3473
55 | 2718675.4129 | 1081057.5539
56 | 2718669.8176 | 1081081.8906
57 | 2718668.3726 | 1081072.6335
58 | 2718670.8189 | 1081049.9984
59 | 2718649.3407 | 1081082.7985
60 | 2718667.3643 | 1081044.6211
61 | 2718665.2381 | 1081041.919
62 | 2718658.1203 | 1081032.873
63 | 2718527.8666 | 1081017.9162
64 | 2718611.734 | 1081034.6098
65 | 2718582.0555 | 1081087.8074
66 | 2718705.4707 | 1081024.431
67 | 2718714.8863 | 1081035.0434
68 | 2718715.0858 | 1081035.2683
69 | 2718674.4841 | 1081215.8982
70 | 2718629.7116 | 1081120.2427
71 | 2718536.4821 | 1081283.5989
72 | 2718630.361 | 1081107.343
73 | 2718558.5633 | 1081367.4058
74 | 2718555.9728 | 1081342.8778
75 | 2718535.9345 | 1081375.9883
76 | 2718555.3428 | 1081340.8653
77 | 2718545.0877 | 1081307.9509
78 | 2718539.9191 | 1081293.0597
79 | 2718539.642 | 1081292.2969
80 | 2718526.5822 | 1081394.4029
81 | 2718495.9285 | 1081238.2432
82 | 2718631.0869 | 1081096.4247
83 | 2718637.7681 | 1081089.9337
84 | 2718676.3421 | 1081129.5055
85 | 2718675.518 | 1081129.9925
86 | 2718656.9907 | 1081130.2974
87 | 2718653.2862 | 1081125.4886
88 | 2718646.6059 | 1081084.4516
89 | 2718648.8235 | 1081083.1111
90 | 2718649.4741 | 1081089.1492
91 | 2718651.1362 | 1081091.9229
92 | 2718609.0062 | 1081129.4517
93 | 2718700.0986 | 1081108.3657

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1