## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-65_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-65_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-65_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5254-65_0_7_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5254-65_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5254-65_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5254-65_0_7_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_5254-65_0_7_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_5254-65_0_7_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5254-65_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5254-65_0_7_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5254-65_0_7_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_5254-65_0_7_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5254-65_0_7_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_5254-65_0_7_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5254-65_0_7_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5254-65_0_7_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5254-65_0_7_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_5254-65_0_7_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_5254-65_0_7_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_5254-65_0_7_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5254-65_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5254-65_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5254-65_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5254-65_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5254-65_0_7_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5254-65_0_7_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5254-65_0_7_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5254-65_0_7_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5254-65_0_7_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_5254-65_0_7_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5254-65_0_7_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5254-65_0_7_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5254-65_0_7_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5254-65_0_7_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5254-65_0_7_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5254-65_0_7_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5254-65_0_7_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5254-65_0_7_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5254-65_0_7_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5254-65_0_7_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5254-65_0_7_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5254-65_0_7_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5254-65_0_7_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5254-65_0_7_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5254-65_0_7_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5254-65_0_7_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5254-65_0_7_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_5254-65_0_7_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5254-65_0_7_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5254-65_0_7_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5254-65_0_7_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5254-65_0_7_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5254-65_0_7_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5254-65_0_7_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5254-65_0_7_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5254-65_0_7_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5254-65_0_7_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_5254-65_0_7_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_5254-65_0_7_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_5254-65_0_7_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_5254-65_0_7_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5254-65_0_7_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5254-65_0_7_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5254-65_0_7_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5254-65_0_7_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5254-65_0_7_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5254-65_0_7_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_5254-65_0_7_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5254-65_0_7_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5254-65_0_7_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5254-65_0_7_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5254-65_0_7_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5254-65_0_7_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5254-65_0_7_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_5254-65_0_7_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5254-65_0_7_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_5254-65_0_7_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_5254-65_0_7_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5254-65_0_7_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5254-65_0_7_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_5254-65_0_7_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5254-65_0_7_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5254-65_0_7_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5254-65_0_7_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5254-65_0_7_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_5254-65_0_7_node_80 | 0.4 | n |  | TRUE
87 | bus_MV_70_1_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-65_0_7_load_0 | 0 | 0.011634 | 0.0029158 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-65_0_7_load_1 | 1 | 0.0095718 | 0.0023989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-65_0_7_load_2 | 3 | 0.01502 | 0.0037643 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-65_0_7_load_5 | 5 | 0.0025371 | 0.00063585 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-65_0_7_load_28 | 6 | 0.0044764 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-65_0_7_load_37 | 7 | 0.0014748 | 0.00036963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-65_0_7_load_9 | 8 | 0.003936 | 0.00098647 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-65_0_7_load_7 | 9 | 0.0047496 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-65_0_7_load_56 | 10 | 0.0092667 | 0.0023225 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-65_0_7_load_57 | 11 | 0.015099 | 0.0037842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-65_0_7_load_55 | 13 | 0.012983 | 0.0032538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-65_0_7_load_6 | 15 | 0.0026757 | 0.0006706 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-65_0_7_load_34 | 17 | 0.0050264 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-65_0_7_load_32 | 18 | 0.0027757 | 0.00069565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-65_0_7_load_36 | 19 | 0.0047941 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-65_0_7_load_12 | 20 | 0.0061314 | 0.0015367 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-65_0_7_load_13 | 21 | 0.0024161 | 0.00060554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-65_0_7_load_15 | 23 | 0.0060851 | 0.0015251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-65_0_7_load_16 | 24 | 0.013539 | 0.0033931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-65_0_7_load_18 | 26 | 0.0015336 | 0.00038434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-65_0_7_load_40 | 27 | 0.00070686 | 0.00017716 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-65_0_7_load_29 | 28 | 0.0038953 | 0.00097626 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-65_0_7_load_43 | 29 | 0.0031999 | 0.00080196 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-65_0_7_load_19 | 30 | 0.0057473 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-65_0_7_load_39 | 31 | 0.00085199 | 0.00021353 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-65_0_7_load_44 | 33 | 0.0036933 | 0.00092563 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-65_0_7_load_20 | 34 | 0.00090962 | 0.00022797 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-65_0_7_load_23 | 36 | 0.0023993 | 0.00060133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-65_0_7_load_22 | 37 | 0.0058155 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-65_0_7_load_38 | 38 | 0.0028774 | 0.00072114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-65_0_7_load_24 | 39 | 0.0061808 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-65_0_7_load_25 | 40 | 0.006024 | 0.0015098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-65_0_7_load_27 | 41 | 0.005669 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-65_0_7_load_30 | 42 | 0.020518 | 0.0051423 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-65_0_7_load_31 | 43 | 0.005869 | 0.0014709 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-65_0_7_load_52 | 44 | 0.017604 | 0.004412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-65_0_7_load_35 | 45 | 0.015737 | 0.0039442 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-65_0_7_load_54 | 46 | 0.017862 | 0.0044767 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-65_0_7_load_51 | 47 | 0.029539 | 0.0074032 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-65_0_7_load_53 | 48 | 0.018919 | 0.0047415 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-65_0_7_load_41 | 49 | 0.00063983 | 0.00016036 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-65_0_7_load_42 | 50 | 0.002762 | 0.00069222 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-65_0_7_load_45 | 51 | 0.0033911 | 0.00084989 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-65_0_7_load_46 | 52 | 0.0040912 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-65_0_7_load_47 | 53 | 0.0040512 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-65_0_7_load_48 | 54 | 0.0041528 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-65_0_7_load_50 | 56 | 0.0031385 | 0.00078659 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-65_0_7_load_81 | 57 | 0.012951 | 0.0032459 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-65_0_7_load_87 | 58 | 0.0054026 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-65_0_7_load_86 | 59 | 0.0054344 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-65_0_7_load_79 | 60 | 0.00080504 | 0.00020176 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-65_0_7_load_58 | 61 | 0.0005252 | 0.00013163 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-65_0_7_load_59 | 62 | 0.00047025 | 0.00011786 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-65_0_7_load_61 | 64 | 0.0020826 | 0.00052194 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-65_0_7_load_62 | 65 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-65_0_7_load_64 | 66 | 0.0043416 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-65_0_7_load_67 | 67 | 0.0045007 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-65_0_7_load_63 | 68 | 0.00052618 | 0.00013187 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-65_0_7_load_68 | 69 | 0.0045006 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-65_0_7_load_65 | 70 | 0.0004643 | 0.00011637 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-65_0_7_load_66 | 71 | 0.001079 | 0.00027043 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-65_0_7_load_73 | 72 | 0.00032173 | 8.0634e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-65_0_7_load_84 | 74 | 0.014379 | 0.0036037 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-65_0_7_load_69 | 75 | 0.00028677 | 7.1872e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-65_0_7_load_83 | 76 | 0.0043938 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-65_0_7_load_82 | 77 | 0.0072447 | 0.0018157 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-65_0_7_load_70 | 78 | 0.00013331 | 3.3411e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-65_0_7_load_74 | 80 | 0.00033621 | 8.4262e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5254-65_0_7_load_75 | 81 | 0.00086047 | 0.00021565 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5254-65_0_7_load_76 | 82 | 0.0031901 | 0.00079952 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5254-65_0_7_load_78 | 83 | 0.00030849 | 7.7314e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5254-65_0_7_load_77 | 84 | 0.0037367 | 0.0009365 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5254-65_0_7_load_85 | 85 | 0.003806 | 0.00095389 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5254-65_0_7_load_80 | 86 | 0.0045841 | 0.0011489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-65_0_7_line_0 |  | 0 | 1 | 0.060937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-65_0_7_line_1 |  | 0 | 2 | 0.072039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-65_0_7_line_2 |  | 1 | 3 | 0.042656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-65_0_7_line_3 |  | 2 | 4 | 0.002631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-65_0_7_line_4 |  | 2 | 5 | 0.054046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-65_0_7_line_5 |  | 4 | 10 | 0.038747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-65_0_7_line_6 |  | 4 | 11 | 0.028992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-65_0_7_line_7 |  | 5 | 12 | 0.00089232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-65_0_7_line_8 |  | 6 | 7 | 0.03156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-65_0_7_line_9 |  | 7 | 45 | 0.039198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-65_0_7_line_10 |  | 8 | 9 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-65_0_7_line_11 |  | 9 | 15 | 0.01357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-65_0_7_line_12 |  | 10 | 13 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-65_0_7_line_13 |  | 12 | 14 | 0.022306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-65_0_7_line_14 |  | 13 | 46 | 0.038973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-65_0_7_line_15 |  | 14 | 16 | 0.006254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-65_0_7_line_16 |  | 14 | 15 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-65_0_7_line_17 |  | 16 | 17 | 0.029817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-65_0_7_line_18 |  | 16 | 18 | 0.039325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-65_0_7_line_19 |  | 17 | 19 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-65_0_7_line_20 |  | 19 | 45 | 0.00010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-65_0_7_line_21 |  | 20 | 21 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-65_0_7_line_22 |  | 20 | 22 | 0.00045218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-65_0_7_line_23 |  | 21 | 23 | 0.0023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-65_0_7_line_24 |  | 22 | 24 | 0.026146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-65_0_7_line_25 |  | 22 | 25 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-65_0_7_line_26 |  | 23 | 26 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-65_0_7_line_27 |  | 24 | 27 | 0.00021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-65_0_7_line_28 |  | 25 | 28 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5254-65_0_7_line_29 |  | 25 | 29 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5254-65_0_7_line_30 |  | 26 | 30 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-65_0_7_line_31 |  | 27 | 31 | 0.006108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-65_0_7_line_32 |  | 28 | 32 | 0.049534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5254-65_0_7_line_33 |  | 29 | 33 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5254-65_0_7_line_34 |  | 30 | 34 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-65_0_7_line_35 |  | 31 | 49 | 0.0098117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-65_0_7_line_36 |  | 32 | 42 | 0.056592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5254-65_0_7_line_37 |  | 32 | 39 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-65_0_7_line_38 |  | 33 | 51 | 0.010127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5254-65_0_7_line_39 |  | 34 | 35 | 0.0095117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-65_0_7_line_40 |  | 35 | 36 | 0.032976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-65_0_7_line_41 |  | 35 | 37 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-65_0_7_line_42 |  | 36 | 38 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-65_0_7_line_43 |  | 39 | 40 | 0.026659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-65_0_7_line_44 |  | 40 | 41 | 0.029096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-65_0_7_line_45 |  | 41 | 43 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-65_0_7_line_46 |  | 42 | 44 | 0.042881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5254-65_0_7_line_47 |  | 44 | 48 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5254-65_0_7_line_48 |  | 44 | 47 | 0.038959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-65_0_7_line_49 |  | 46 | 48 | 0.03227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5254-65_0_7_line_50 |  | 49 | 50 | 0.0097186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-65_0_7_line_51 |  | 51 | 52 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5254-65_0_7_line_52 |  | 52 | 53 | 0.00076377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5254-65_0_7_line_53 |  | 53 | 54 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5254-65_0_7_line_54 |  | 54 | 55 | 0.028971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5254-65_0_7_line_55 |  | 55 | 56 | 0.060688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5254-65_0_7_line_56 |  | 56 | 57 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-65_0_7_line_57 |  | 56 | 58 | 0.072298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5254-65_0_7_line_58 |  | 58 | 59 | 0.0071442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5254-65_0_7_line_59 |  | 59 | 60 | 0.17414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5254-65_0_7_line_60 |  | 60 | 86 | 0.032898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-65_0_7_line_61 |  | 60 | 83 | 0.13263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5254-65_0_7_line_62 |  | 61 | 62 | 0.0080639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-65_0_7_line_63 |  | 61 | 63 | 0.042733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-65_0_7_line_64 |  | 62 | 64 | 0.0075409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-65_0_7_line_65 |  | 63 | 65 | 0.03482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-65_0_7_line_66 |  | 64 | 66 | 0.0018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-65_0_7_line_67 |  | 65 | 67 | 0.026089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-65_0_7_line_68 |  | 66 | 68 | 0.0019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-65_0_7_line_69 |  | 67 | 69 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-65_0_7_line_70 |  | 68 | 70 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-65_0_7_line_71 |  | 69 | 76 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-65_0_7_line_72 |  | 70 | 71 | 0.00059135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-65_0_7_line_73 |  | 71 | 74 | 0.031817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-65_0_7_line_74 |  | 71 | 73 | 0.09132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-65_0_7_line_75 |  | 72 | 73 | 0.026713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-65_0_7_line_76 |  | 73 | 75 | 0.03774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5254-65_0_7_line_77 |  | 75 | 78 | 0.0041274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5254-65_0_7_line_78 |  | 76 | 77 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5254-65_0_7_line_79 |  | 78 | 79 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5254-65_0_7_line_80 |  | 79 | 80 | 0.063248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5254-65_0_7_line_81 |  | 79 | 81 | 0.029069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5254-65_0_7_line_82 |  | 80 | 82 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5254-65_0_7_line_83 |  | 81 | 83 | 0.04649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5254-65_0_7_line_84 |  | 82 | 84 | 0.00037415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5254-65_0_7_line_85 |  | 84 | 85 | 0.00066518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-65_0_7_trafo_26 | 0.63 MVA 20/0.4 kV | 87 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2717142.0391 | 1079827.1772 | 2717156.8321 | 1079816.814 | 2717193.1529 | 1079794.0306
1 | 2717083.0376 | 1079868.5105 | 2717142.0391 | 1079827.1772
2 | 2717229.288 | 1079771.3637 | 2717193.1529 | 1079794.0306
3 | 2717080.8679 | 1079867.0122 | 2717083.0376 | 1079868.5105
4 | 2717083.0376 | 1079868.5105 | 2717127.4915 | 1079899.2488
5 | 2717080.8679 | 1079867.0122 | 2717049.8805 | 1079890.2736
6 | 2717080.8679 | 1079867.0122 | 2717057.0208 | 1079850.5242
7 | 2717127.4915 | 1079899.2488 | 2717128.2254 | 1079899.7563
8 | 2717079.3731 | 1079979.1406 | 2717109.6881 | 1079987.918
9 | 2717109.6881 | 1079987.918 | 2717129.4935 | 1079954.0913
10 | 2717194.2804 | 1079885.7301 | 2717176.1174 | 1079895.8934
11 | 2717164.275 | 1079902.52 | 2717176.1174 | 1079895.8934
12 | 2717035.125 | 1079901.3501 | 2717049.8805 | 1079890.2736
13 | 2717146.682 | 1079912.3643 | 2717128.2254 | 1079899.7563
14 | 2717006.1717 | 1079927.2675 | 2717021.3799 | 1079911.6682 | 2717035.125 | 1079901.3501
15 | 2717146.682 | 1079912.3643 | 2717151.8419 | 1079915.9215
16 | 2717146.682 | 1079912.3643 | 2717164.275 | 1079902.52
17 | 2717151.8419 | 1079915.9215 | 2717136.7762 | 1079941.6529
18 | 2717151.8419 | 1079915.9215 | 2717184.2319 | 1079938.2227
19 | 2717136.7762 | 1079941.6529 | 2717129.5476 | 1079953.999
20 | 2717129.4935 | 1079954.0913 | 2717129.5476 | 1079953.999
21 | 2717054.581 | 1080087.1265 | 2717030.6231 | 1080079.4603
22 | 2717030.1924 | 1080079.3225 | 2717030.6231 | 1080079.4603
23 | 2717054.581 | 1080087.1265 | 2717056.8398 | 1080087.8493
24 | 2717030.1924 | 1080079.3225 | 2717018.8654 | 1080102.8877
25 | 2717009.1297 | 1080072.5801 | 2717030.1924 | 1080079.3225
26 | 2717073.0725 | 1080093.0435 | 2717056.8398 | 1080087.8493
27 | 2717018.7719 | 1080103.0823 | 2717018.8654 | 1080102.8877
28 | 2717009.1297 | 1080072.5801 | 2717014.5793 | 1080063.229
29 | 2717009.1297 | 1080072.5801 | 2716994.494 | 1080070.9647 | 2716994.0533 | 1080070.7593
30 | 2717073.0725 | 1080093.0435 | 2717083.1193 | 1080096.2583
31 | 2717016.1258 | 1080108.5874 | 2717018.7719 | 1080103.0823
32 | 2717044.8633 | 1080026.1444 | 2717041.2034 | 1080026.5967 | 2717038.0417 | 1080028.6152 | 2717034.1223 | 1080032.0646 | 2717029.8153 | 1080037.0854 | 2717014.5793 | 1080063.229
33 | 2716994.0533 | 1080070.7593 | 2716980.6392 | 1080064.5071
34 | 2717092.8527 | 1080099.3728 | 2717083.1193 | 1080096.2583
35 | 2717016.1258 | 1080108.5874 | 2717011.8752 | 1080117.4306
36 | 2716998.3721 | 1079994.0292 | 2717004.42 | 1080000.2941 | 2717044.8633 | 1080026.1444
37 | 2717044.8633 | 1080026.1444 | 2717051.4922 | 1080028.0397 | 2717057.2886 | 1080030.4716
38 | 2716980.6392 | 1080064.5071 | 2716976.6543 | 1080062.6498 | 2716971.4282 | 1080060.2981
39 | 2717101.9119 | 1080102.2716 | 2717092.8527 | 1080099.3728
40 | 2717101.9119 | 1080102.2716 | 2717095.226 | 1080123.1468 | 2717104.9056 | 1080128.489
41 | 2717101.9119 | 1080102.2716 | 2717109.6637 | 1080103.1323 | 2717122.0365 | 1080098.9015
42 | 2717127.8065 | 1080141.128 | 2717104.9056 | 1080128.489
43 | 2717057.2886 | 1080030.4716 | 2717061.102 | 1080032.0715 | 2717071.4838 | 1080033.9278 | 2717083.4536 | 1080034.3529
44 | 2717083.4536 | 1080034.3529 | 2717103.5534 | 1080035.0668 | 2717112.4894 | 1080035.9936
45 | 2717112.4894 | 1080035.9936 | 2717139.2172 | 1080038.7658 | 2717142.2969 | 1080039.2764
46 | 2716998.3721 | 1079994.0292 | 2716965.3029 | 1079966.7305
47 | 2716965.3029 | 1079966.7305 | 2716976.6041 | 1079953.2048 | 2716982.2531 | 1079948.8165
48 | 2716940.1932 | 1079996.4689 | 2716950.5048 | 1079985.4157 | 2716958.189 | 1079975.2448 | 2716965.3029 | 1079966.7305
49 | 2716982.2531 | 1079948.8165 | 2716994.2456 | 1079939.5004 | 2717006.1717 | 1079927.2675
50 | 2717007.6649 | 1080126.1898 | 2717011.8752 | 1080117.4306
51 | 2716971.4282 | 1080060.2981 | 2716962.7678 | 1080056.4011 | 2716959.0558 | 1080056.3298
52 | 2716959.0558 | 1080056.3298 | 2716958.2922 | 1080056.3152
53 | 2716958.2922 | 1080056.3152 | 2716954.1014 | 1080056.2347 | 2716940.6481 | 1080062.6255 | 2716930.8556 | 1080060.9444
54 | 2716902.4343 | 1080055.3875 | 2716913.5944 | 1080057.9811 | 2716930.8556 | 1080060.9444
55 | 2716902.4343 | 1080055.3875 | 2716903.12 | 1080102.2337 | 2716911.2041 | 1080113.4635
56 | 2716936.014 | 1080134.4652 | 2716911.6098 | 1080114.0271 | 2716911.2041 | 1080113.4635
57 | 2716911.2041 | 1080113.4635 | 2716839.018 | 1080117.4932
58 | 2716834.1785 | 1080122.7486 | 2716834.1785 | 1080122.7486 | 2716839.018 | 1080117.4932
59 | 2716834.1785 | 1080122.7486 | 2716731.2308 | 1080263.2022
60 | 2716698.8519 | 1080257.3812 | 2716706.487 | 1080258.754 | 2716731.2308 | 1080263.2022
61 | 2716860.8919 | 1080291.0862 | 2716731.2308 | 1080263.2022
62 | 2717064.7256 | 1080303.8752 | 2717061.2748 | 1080300.3755 | 2717058.7658 | 1080298.4725
63 | 2717096.9007 | 1080331.8265 | 2717093.5205 | 1080329.8601 | 2717074.35 | 1080313.636 | 2717064.7256 | 1080303.8752
64 | 2717052.7576 | 1080293.9154 | 2717058.7658 | 1080298.4725
65 | 2717096.9007 | 1080331.8265 | 2717097.8206 | 1080318.3235 | 2717098.9046 | 1080301.5325 | 2717101.2536 | 1080297.7409
66 | 2717052.7576 | 1080293.9154 | 2717051.2464 | 1080292.7692
67 | 2717101.2536 | 1080297.7409 | 2717105.0857 | 1080291.5553 | 2717116.156 | 1080276.3449
68 | 2717049.7032 | 1080291.5986 | 2717051.2464 | 1080292.7692
69 | 2717123.0035 | 1080266.9367 | 2717116.156 | 1080276.3449
70 | 2717049.7032 | 1080291.5986 | 2717033.3897 | 1080279.2251 | 2717031.2763 | 1080278.0613
71 | 2717129.3724 | 1080258.186 | 2717123.0035 | 1080266.9367
72 | 2717031.2763 | 1080278.0613 | 2717030.7583 | 1080277.776
73 | 2717005.1536 | 1080258.9465 | 2717027.6784 | 1080276.0799 | 2717030.7583 | 1080277.776
74 | 2717030.7583 | 1080277.776 | 2716974.1837 | 1080349.4605
75 | 2716974.1837 | 1080349.4605 | 2716977.6229 | 1080359.2778 | 2716988.5793 | 1080371.36
76 | 2716974.1837 | 1080349.4605 | 2716961.7199 | 1080342.3829 | 2716941.3702 | 1080330.8178
77 | 2716941.3702 | 1080330.8178 | 2716937.7818 | 1080328.7784
78 | 2717136.394 | 1080248.5385 | 2717129.3724 | 1080258.186
79 | 2716928.816 | 1080323.6829 | 2716937.7818 | 1080328.7784
80 | 2716928.816 | 1080323.6829 | 2716917.772 | 1080310.6174 | 2716897.7165 | 1080291.0967 | 2716884.7818 | 1080278.3598
81 | 2716928.816 | 1080323.6829 | 2716903.3791 | 1080309.6124
82 | 2716884.7818 | 1080278.3598 | 2716876.3081 | 1080270.0158 | 2716873.31 | 1080267.4829
83 | 2716860.8919 | 1080291.0862 | 2716870.68 | 1080294.1138 | 2716889.0845 | 1080301.7053 | 2716903.3791 | 1080309.6124
84 | 2716873.0242 | 1080267.2414 | 2716873.31 | 1080267.4829
85 | 2716872.5161 | 1080266.8122 | 2716873.0242 | 1080267.2414

## bus_geodata
| x | y | coords
0 | 2717142.0391 | 1079827.1772
1 | 2717193.1529 | 1079794.0306
2 | 2717083.0376 | 1079868.5105
3 | 2717229.288 | 1079771.3637
4 | 2717080.8679 | 1079867.0122
5 | 2717127.4915 | 1079899.2488
6 | 2717079.3731 | 1079979.1406
7 | 2717109.6881 | 1079987.918
8 | 2717194.2804 | 1079885.7301
9 | 2717176.1174 | 1079895.8934
10 | 2717049.8805 | 1079890.2736
11 | 2717057.0208 | 1079850.5242
12 | 2717128.2254 | 1079899.7563
13 | 2717035.125 | 1079901.3501
14 | 2717146.682 | 1079912.3643
15 | 2717164.275 | 1079902.52
16 | 2717151.8419 | 1079915.9215
17 | 2717136.7762 | 1079941.6529
18 | 2717184.2319 | 1079938.2227
19 | 2717129.5476 | 1079953.999
20 | 2717030.6231 | 1080079.4603
21 | 2717054.581 | 1080087.1265
22 | 2717030.1924 | 1080079.3225
23 | 2717056.8398 | 1080087.8493
24 | 2717018.8654 | 1080102.8877
25 | 2717009.1297 | 1080072.5801
26 | 2717073.0725 | 1080093.0435
27 | 2717018.7719 | 1080103.0823
28 | 2717014.5793 | 1080063.229
29 | 2716994.0533 | 1080070.7593
30 | 2717083.1193 | 1080096.2583
31 | 2717016.1258 | 1080108.5874
32 | 2717044.8633 | 1080026.1444
33 | 2716980.6392 | 1080064.5071
34 | 2717092.8527 | 1080099.3728
35 | 2717101.9119 | 1080102.2716
36 | 2717104.9056 | 1080128.489
37 | 2717122.0365 | 1080098.9015
38 | 2717127.8065 | 1080141.128
39 | 2717057.2886 | 1080030.4716
40 | 2717083.4536 | 1080034.3529
41 | 2717112.4894 | 1080035.9936
42 | 2716998.3721 | 1079994.0292
43 | 2717142.2969 | 1080039.2764
44 | 2716965.3029 | 1079966.7305
45 | 2717129.4935 | 1079954.0913
46 | 2717006.1717 | 1079927.2675
47 | 2716940.1932 | 1079996.4689
48 | 2716982.2531 | 1079948.8165
49 | 2717011.8752 | 1080117.4306
50 | 2717007.6649 | 1080126.1898
51 | 2716971.4282 | 1080060.2981
52 | 2716959.0558 | 1080056.3298
53 | 2716958.2922 | 1080056.3152
54 | 2716930.8556 | 1080060.9444
55 | 2716902.4343 | 1080055.3875
56 | 2716911.2041 | 1080113.4635
57 | 2716936.014 | 1080134.4652
58 | 2716839.018 | 1080117.4932
59 | 2716834.1785 | 1080122.7486
60 | 2716731.2308 | 1080263.2022
61 | 2717064.7256 | 1080303.8752
62 | 2717058.7658 | 1080298.4725
63 | 2717096.9007 | 1080331.8265
64 | 2717052.7576 | 1080293.9154
65 | 2717101.2536 | 1080297.7409
66 | 2717051.2464 | 1080292.7692
67 | 2717116.156 | 1080276.3449
68 | 2717049.7032 | 1080291.5986
69 | 2717123.0035 | 1080266.9367
70 | 2717031.2763 | 1080278.0613
71 | 2717030.7583 | 1080277.776
72 | 2716988.5793 | 1080371.36
73 | 2716974.1837 | 1080349.4605
74 | 2717005.1536 | 1080258.9465
75 | 2716941.3702 | 1080330.8178
76 | 2717129.3724 | 1080258.186
77 | 2717136.394 | 1080248.5385
78 | 2716937.7818 | 1080328.7784
79 | 2716928.816 | 1080323.6829
80 | 2716884.7818 | 1080278.3598
81 | 2716903.3791 | 1080309.6124
82 | 2716873.31 | 1080267.4829
83 | 2716860.8919 | 1080291.0862
84 | 2716873.0242 | 1080267.2414
85 | 2716872.5161 | 1080266.8122
86 | 2716698.8519 | 1080257.3812
87 | 2716998.3721 | 1079994.0292

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1