## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-69_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_5254-69_1_3_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_5254-69_1_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_5254-69_1_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_5254-69_1_3_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_5254-69_1_3_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_5254-69_1_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_5254-69_1_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5254-69_1_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_5254-69_1_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5254-69_1_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_5254-69_1_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5254-69_1_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5254-69_1_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_5254-69_1_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_5254-69_1_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_5254-69_1_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_5254-69_1_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_5254-69_1_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5254-69_1_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5254-69_1_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_5254-69_1_3_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5254-69_1_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5254-69_1_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5254-69_1_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_5254-69_1_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_5254-69_1_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5254-69_1_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5254-69_1_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5254-69_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5254-69_1_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5254-69_1_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_5254-69_1_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5254-69_1_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_5254-69_1_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_5254-69_1_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_5254-69_1_3_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_5254-69_1_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_5254-69_1_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_5254-69_1_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5254-69_1_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_5254-69_1_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_5254-69_1_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_5254-69_1_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5254-69_1_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_5254-69_1_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5254-69_1_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5254-69_1_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5254-69_1_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_5254-69_1_3_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_5254-69_1_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_5254-69_1_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_5254-69_1_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5254-69_1_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5254-69_1_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5254-69_1_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5254-69_1_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5254-69_1_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_5254-69_1_3_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_5254-69_1_3_node_105 | 0.4 | n |  | TRUE
60 | bus_MV_70_1_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-69_1_3_load_15 | 0 | 0.0045845 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-69_1_3_load_12 | 1 | 0.010378 | 0.0026009 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-69_1_3_load_14 | 3 | 0.0041977 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-69_1_3_load_45 | 5 | 0.0061401 | 0.0015388 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-69_1_3_load_16 | 7 | 0.0021158 | 0.00053026 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-69_1_3_load_17 | 8 | 0.0036593 | 0.0009171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-69_1_3_load_18 | 9 | 0.0020312 | 0.00050906 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-69_1_3_load_19 | 10 | 0.0019976 | 0.00050066 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-69_1_3_load_21 | 12 | 0.0014727 | 0.0003691 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-69_1_3_load_23 | 14 | 0.0045712 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-69_1_3_load_27 | 15 | 0.0020418 | 0.00051172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-69_1_3_load_25 | 16 | 0.0019535 | 0.00048959 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-69_1_3_load_24 | 17 | 0.0040756 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-69_1_3_load_31 | 18 | 0.0055076 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-69_1_3_load_28 | 19 | 0.0031453 | 0.00078828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-69_1_3_load_26 | 20 | 0.0019896 | 0.00049864 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-69_1_3_load_37 | 21 | 0.0072345 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-69_1_3_load_29 | 22 | 0.0027006 | 0.00067682 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-69_1_3_load_63 | 25 | 0.0066082 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-69_1_3_load_34 | 26 | 0.0017068 | 0.00042776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-69_1_3_load_35 | 27 | 0.0026224 | 0.00065723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-69_1_3_load_36 | 28 | 0.0044682 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-69_1_3_load_38 | 29 | 0.0038849 | 0.00097365 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-69_1_3_load_39 | 30 | 0.0095713 | 0.0023988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-69_1_3_load_40 | 31 | 0.010116 | 0.0025353 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-69_1_3_load_42 | 33 | 0.0043037 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-69_1_3_load_43 | 34 | 0.0044345 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-69_1_3_load_49 | 35 | 0.0063995 | 0.0016039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-69_1_3_load_108 | 36 | 0.0077702 | 0.0019474 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-69_1_3_load_50 | 37 | 0.0022747 | 0.00057009 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-69_1_3_load_47 | 39 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-69_1_3_load_52 | 41 | 0.003579 | 0.00089698 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-69_1_3_load_68 | 42 | 0.0053563 | 0.0013424 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-69_1_3_load_51 | 43 | 0.0053957 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-69_1_3_load_53 | 45 | 0.015497 | 0.003884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-69_1_3_load_54 | 46 | 0.006021 | 0.001509 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-69_1_3_load_55 | 47 | 0.0056718 | 0.0014215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-69_1_3_load_56 | 48 | 0.0027238 | 0.00068264 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-69_1_3_load_102 | 49 | 0.0063443 | 0.00159 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-69_1_3_load_103 | 50 | 0.0021027 | 0.00052699 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-69_1_3_load_57 | 51 | 0.018318 | 0.0045908 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-69_1_3_load_62 | 55 | 0.0076199 | 0.0019097 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-69_1_3_load_67 | 56 | 0.0054136 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-69_1_3_load_64 | 57 | 0.0078135 | 0.0019582 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-69_1_3_load_104 | 58 | 0.0059046 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-69_1_3_load_105 | 59 | 0.0019037 | 0.00047712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-69_1_3_line_0 |  | 0 | 1 | 0.025744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-69_1_3_line_1 |  | 1 | 2 | 0.028058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-69_1_3_line_2 |  | 2 | 3 | 0.048272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-69_1_3_line_3 |  | 3 | 4 | 0.020745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-69_1_3_line_4 |  | 4 | 5 | 0.037433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-69_1_3_line_5 |  | 4 | 6 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-69_1_3_line_6 |  | 5 | 38 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-69_1_3_line_7 |  | 6 | 25 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-69_1_3_line_8 |  | 6 | 23 | 0.040537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-69_1_3_line_9 |  | 7 | 8 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-69_1_3_line_10 |  | 8 | 9 | 0.0049588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-69_1_3_line_11 |  | 9 | 10 | 0.015526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-69_1_3_line_12 |  | 10 | 11 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-69_1_3_line_13 |  | 11 | 12 | 0.0050253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-69_1_3_line_14 |  | 11 | 13 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-69_1_3_line_15 |  | 12 | 14 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-69_1_3_line_16 |  | 13 | 15 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-69_1_3_line_17 |  | 13 | 16 | 0.037522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-69_1_3_line_18 |  | 14 | 17 | 0.00019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-69_1_3_line_19 |  | 15 | 18 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-69_1_3_line_20 |  | 15 | 19 | 0.05381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-69_1_3_line_21 |  | 16 | 20 | 0.0041835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-69_1_3_line_22 |  | 18 | 21 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-69_1_3_line_23 |  | 19 | 22 | 0.013643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-69_1_3_line_24 |  | 22 | 23 | 0.038292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-69_1_3_line_25 |  | 23 | 24 | 0.014797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-69_1_3_line_26 |  | 24 | 26 | 0.049403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-69_1_3_line_27 |  | 26 | 27 | 0.0060156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-69_1_3_line_28 |  | 27 | 28 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-69_1_3_line_29 |  | 28 | 29 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-69_1_3_line_30 |  | 30 | 31 | 6.9546e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-69_1_3_line_31 |  | 30 | 32 | 0.04097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-69_1_3_line_32 |  | 32 | 33 | 0.028837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-69_1_3_line_33 |  | 32 | 34 | 0.033887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-69_1_3_line_34 |  | 33 | 35 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-69_1_3_line_35 |  | 34 | 36 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-69_1_3_line_36 |  | 35 | 37 | 0.0030009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5254-69_1_3_line_37 |  | 37 | 39 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5254-69_1_3_line_38 |  | 38 | 39 | 0.025797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5254-69_1_3_line_39 |  | 38 | 40 | 0.069078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-69_1_3_line_40 |  | 40 | 41 | 0.015517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-69_1_3_line_41 |  | 40 | 42 | 0.0031974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-69_1_3_line_42 |  | 41 | 43 | 0.0052003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-69_1_3_line_43 |  | 42 | 44 | 0.0065213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-69_1_3_line_44 |  | 43 | 45 | 0.025759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-69_1_3_line_45 |  | 44 | 56 | 0.0049427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-69_1_3_line_46 |  | 44 | 57 | 0.036442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-69_1_3_line_47 |  | 45 | 46 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-69_1_3_line_48 |  | 46 | 47 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-69_1_3_line_49 |  | 47 | 48 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-69_1_3_line_50 |  | 48 | 49 | 0.0024454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-69_1_3_line_51 |  | 49 | 50 | 0.0070211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5254-69_1_3_line_52 |  | 50 | 58 | 0.01372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5254-69_1_3_line_53 |  | 51 | 52 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5254-69_1_3_line_54 |  | 51 | 53 | 0.0063739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-69_1_3_line_55 |  | 52 | 54 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5254-69_1_3_line_56 |  | 53 | 55 | 0.036066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5254-69_1_3_line_57 |  | 54 | 56 | 0.029289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-69_1_3_line_58 |  | 58 | 59 | 0.0039421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-69_1_3_trafo_49 | 0.63 MVA 20/0.4 kV | 60 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2716629.0001 | 1081432.0462 | 2716622.5448 | 1081407.1247
1 | 2716601.278 | 1081427.9083 | 2716608.7174 | 1081429.5852 | 2716629.0001 | 1081432.0462
2 | 2716601.278 | 1081427.9083 | 2716567.9394 | 1081420.4097 | 2716554.4703 | 1081416.2375
3 | 2716534.6546 | 1081410.0993 | 2716554.4703 | 1081416.2375
4 | 2716534.6546 | 1081410.0993 | 2716529.6977 | 1081415.8752 | 2716523.4118 | 1081422.9155 | 2716518.0074 | 1081430.1617 | 2716514.3616 | 1081436.4186 | 2716512.9497 | 1081440.2698
5 | 2716534.6546 | 1081410.0993 | 2716517.8852 | 1081404.4747
6 | 2716507.3568 | 1081455.0534 | 2716508.6192 | 1081450.7745 | 2716511.6657 | 1081443.7723 | 2716512.9497 | 1081440.2698
7 | 2716517.8852 | 1081404.4747 | 2716508.3242 | 1081401.5361
8 | 2716487.8481 | 1081382.3182 | 2716498.1958 | 1081385.4404 | 2716509.91 | 1081388.9891 | 2716512.3304 | 1081393.1939 | 2716514.7069 | 1081400.0997 | 2716517.8852 | 1081404.4747
9 | 2716594.1868 | 1081361.1662 | 2716610.7835 | 1081371.5703
10 | 2716589.9853 | 1081358.5324 | 2716594.1868 | 1081361.1662
11 | 2716589.9853 | 1081358.5324 | 2716589.9853 | 1081358.5324 | 2716586.5584 | 1081352.5404 | 2716584.5313 | 1081349.6996 | 2716580.05 | 1081347.1964
12 | 2716566.3726 | 1081339.5562 | 2716580.05 | 1081347.1964
13 | 2716566.3726 | 1081339.5562 | 2716568.1681 | 1081334.8626
14 | 2716566.3726 | 1081339.5562 | 2716562.0967 | 1081350.7267
15 | 2716577.8297 | 1081314.7577 | 2716570.2152 | 1081329.5115 | 2716568.1681 | 1081334.8626
16 | 2716555.5723 | 1081367.7917 | 2716562.0967 | 1081350.7267
17 | 2716562.0967 | 1081350.7267 | 2716534.9339 | 1081334.2179 | 2716532.6833 | 1081332.0956 | 2716531.2739 | 1081329.8606
18 | 2716577.9187 | 1081314.5853 | 2716577.8297 | 1081314.7577
19 | 2716555.5723 | 1081367.7917 | 2716575.1696 | 1081379.4181
20 | 2716555.5723 | 1081367.7917 | 2716549.1425 | 1081385.5924 | 2716545.1817 | 1081396.5355 | 2716543.2276 | 1081398.8108 | 2716539.711 | 1081399.533 | 2716535.1306 | 1081399.0228 | 2716532.2588 | 1081396.8997 | 2716525.6664 | 1081391.5719
21 | 2716529.0424 | 1081326.3219 | 2716531.2739 | 1081329.8606
22 | 2716599.8062 | 1081394.0341 | 2716575.1696 | 1081379.4181
23 | 2716525.6664 | 1081391.5719 | 2716515.0554 | 1081382.9964
24 | 2716487.8481 | 1081382.3182 | 2716489.7527 | 1081375.7278 | 2716492.7514 | 1081371.2264 | 2716497.7513 | 1081371.322 | 2716504.3572 | 1081374.3504 | 2716515.0554 | 1081382.9964
25 | 2716473.6473 | 1081378.0215 | 2716478.0198 | 1081379.2504 | 2716487.8481 | 1081382.3182
26 | 2716473.6473 | 1081378.0215 | 2716500.7668 | 1081336.7277
27 | 2716500.7668 | 1081336.7277 | 2716504.069 | 1081331.6995
28 | 2716504.069 | 1081331.6995 | 2716514.0241 | 1081316.5412
29 | 2716524.0859 | 1081301.2206 | 2716514.0241 | 1081316.5412
30 | 2716610.1114 | 1081481.6152 | 2716610.0471 | 1081481.5889
31 | 2716581.0465 | 1081488.7307 | 2716588.4358 | 1081472.7386 | 2716610.0471 | 1081481.5889
32 | 2716581.0465 | 1081488.7307 | 2716554.819 | 1081476.7444
33 | 2716581.0465 | 1081488.7307 | 2716579.7247 | 1081492.0522 | 2716579.9086 | 1081493.4011 | 2716580.923 | 1081494.7771 | 2716606.0122 | 1081505.3886
34 | 2716554.819 | 1081476.7444 | 2716544.4739 | 1081472.0165
35 | 2716622.5563 | 1081512.386 | 2716606.0122 | 1081505.3886
36 | 2716541.7446 | 1081470.7691 | 2716544.4739 | 1081472.0165
37 | 2716530.8194 | 1081465.7761 | 2716541.7446 | 1081470.7691
38 | 2716507.3568 | 1081455.0534 | 2716530.8194 | 1081465.7761
39 | 2716492.9888 | 1081522.0369 | 2716493.6703 | 1081513.6107 | 2716493.7815 | 1081507.7976 | 2716494.128 | 1081499.832 | 2716495.2463 | 1081491.314 | 2716498.4792 | 1081482.6809 | 2716502.3586 | 1081470.3019 | 2716505.9447 | 1081459.852 | 2716507.3568 | 1081455.0534
40 | 2716492.9888 | 1081522.0369 | 2716507.3067 | 1081528.018
41 | 2716492.9888 | 1081522.0369 | 2716490.0515 | 1081520.7736
42 | 2716512.1052 | 1081530.0224 | 2716507.3067 | 1081528.018
43 | 2716484.0608 | 1081518.1969 | 2716490.0515 | 1081520.7736
44 | 2716512.1052 | 1081530.0224 | 2716535.8734 | 1081539.9511
45 | 2716484.0608 | 1081518.1969 | 2716479.5191 | 1081516.2468
46 | 2716484.0608 | 1081518.1969 | 2716469.4303 | 1081551.5731
47 | 2716553.281 | 1081547.6427 | 2716550.3135 | 1081545.9831 | 2716535.8734 | 1081539.9511
48 | 2716553.281 | 1081547.6427 | 2716570.5337 | 1081557.2912
49 | 2716570.5337 | 1081557.2912 | 2716575.7791 | 1081560.2247 | 2716580.0511 | 1081563.8594
50 | 2716580.0511 | 1081563.8594 | 2716581.9136 | 1081565.444
51 | 2716587.2611 | 1081569.9938 | 2716581.9136 | 1081565.444
52 | 2716587.2611 | 1081569.9938 | 2716597.7107 | 1081578.8845
53 | 2716464.1116 | 1081492.4531 | 2716462.4709 | 1081470.2172 | 2716462.4048 | 1081469.6408
54 | 2716461.6788 | 1081463.3083 | 2716462.4048 | 1081469.6408
55 | 2716452.5433 | 1081504.8407 | 2716464.1116 | 1081492.4531
56 | 2716461.6788 | 1081463.3083 | 2716471.8979 | 1081442.6891 | 2716472.2522 | 1081432.2886 | 2716471.1367 | 1081429.8884
57 | 2716452.5433 | 1081504.8407 | 2716460.3193 | 1081508.0027 | 2716479.5191 | 1081516.2468
58 | 2716597.7107 | 1081578.8845 | 2716600.7131 | 1081581.439

## bus_geodata
| x | y | coords
0 | 2716622.5448 | 1081407.1247
1 | 2716629.0001 | 1081432.0462
2 | 2716601.278 | 1081427.9083
3 | 2716554.4703 | 1081416.2375
4 | 2716534.6546 | 1081410.0993
5 | 2716512.9497 | 1081440.2698
6 | 2716517.8852 | 1081404.4747
7 | 2716610.7835 | 1081371.5703
8 | 2716594.1868 | 1081361.1662
9 | 2716589.9853 | 1081358.5324
10 | 2716580.05 | 1081347.1964
11 | 2716566.3726 | 1081339.5562
12 | 2716568.1681 | 1081334.8626
13 | 2716562.0967 | 1081350.7267
14 | 2716577.8297 | 1081314.7577
15 | 2716555.5723 | 1081367.7917
16 | 2716531.2739 | 1081329.8606
17 | 2716577.9187 | 1081314.5853
18 | 2716575.1696 | 1081379.4181
19 | 2716525.6664 | 1081391.5719
20 | 2716529.0424 | 1081326.3219
21 | 2716599.8062 | 1081394.0341
22 | 2716515.0554 | 1081382.9964
23 | 2716487.8481 | 1081382.3182
24 | 2716473.6473 | 1081378.0215
25 | 2716508.3242 | 1081401.5361
26 | 2716500.7668 | 1081336.7276
27 | 2716504.069 | 1081331.6995
28 | 2716514.0241 | 1081316.5412
29 | 2716524.0859 | 1081301.2206
30 | 2716610.0471 | 1081481.5889
31 | 2716610.1114 | 1081481.6152
32 | 2716581.0465 | 1081488.7307
33 | 2716554.819 | 1081476.7444
34 | 2716606.0122 | 1081505.3886
35 | 2716544.4739 | 1081472.0165
36 | 2716622.5563 | 1081512.386
37 | 2716541.7446 | 1081470.7691
38 | 2716507.3568 | 1081455.0534
39 | 2716530.8194 | 1081465.7761
40 | 2716492.9888 | 1081522.0369
41 | 2716507.3067 | 1081528.018
42 | 2716490.0515 | 1081520.7736
43 | 2716512.1052 | 1081530.0224
44 | 2716484.0608 | 1081518.1969
45 | 2716535.8734 | 1081539.9511
46 | 2716553.281 | 1081547.6427
47 | 2716570.5337 | 1081557.2912
48 | 2716580.0511 | 1081563.8594
49 | 2716581.9136 | 1081565.444
50 | 2716587.2611 | 1081569.9938
51 | 2716462.4048 | 1081469.6408
52 | 2716464.1116 | 1081492.4531
53 | 2716461.6788 | 1081463.3083
54 | 2716452.5433 | 1081504.8407
55 | 2716471.1367 | 1081429.8884
56 | 2716479.5191 | 1081516.2468
57 | 2716469.4303 | 1081551.5731
58 | 2716597.7107 | 1081578.8845
59 | 2716600.7131 | 1081581.439
60 | 2716544.4739 | 1081472.0165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1