## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5254-70_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5254-70_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5254-70_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5254-70_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5254-70_0_3_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_5254-70_0_3_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_5254-70_0_3_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_5254-70_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5254-70_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5254-70_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5254-70_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5254-70_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5254-70_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5254-70_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5254-70_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_5254-70_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5254-70_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5254-70_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_5254-70_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5254-70_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5254-70_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5254-70_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5254-70_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5254-70_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5254-70_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5254-70_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5254-70_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5254-70_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5254-70_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_5254-70_0_3_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_5254-70_0_3_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_5254-70_0_3_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_5254-70_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_5254-70_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5254-70_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5254-70_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5254-70_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5254-70_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5254-70_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5254-70_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5254-70_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5254-70_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5254-70_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5254-70_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5254-70_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5254-70_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_5254-70_0_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_5254-70_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5254-70_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_5254-70_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5254-70_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5254-70_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5254-70_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5254-70_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5254-70_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5254-70_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5254-70_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5254-70_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5254-70_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_5254-70_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5254-70_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5254-70_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5254-70_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5254-70_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5254-70_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5254-70_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5254-70_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5254-70_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5254-70_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5254-70_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5254-70_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5254-70_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5254-70_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5254-70_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5254-70_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_5254-70_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5254-70_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5254-70_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5254-70_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5254-70_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_5254-70_0_3_node_84 | 0.4 | n |  | TRUE
81 | bus_MV_70_1_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5254-70_0_3_load_0 | 0 | 0.025833 | 0.0064743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5254-70_0_3_load_1 | 1 | 0.011628 | 0.0029143 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5254-70_0_3_load_3 | 2 | 0.0092777 | 0.0023252 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5254-70_0_3_load_5 | 3 | 0.0046454 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5254-70_0_3_load_54 | 5 | 0.019131 | 0.0047947 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5254-70_0_3_load_51 | 6 | 0.0039607 | 0.00099264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5254-70_0_3_load_6 | 7 | 0.0095735 | 0.0023994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5254-70_0_3_load_7 | 8 | 0.0024598 | 0.00061649 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5254-70_0_3_load_9 | 9 | 0.0086372 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5254-70_0_3_load_10 | 10 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5254-70_0_3_load_26 | 14 | 0.0105 | 0.0026316 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5254-70_0_3_load_15 | 16 | 0.0032535 | 0.00081541 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5254-70_0_3_load_59 | 17 | 0.0062278 | 0.0015608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5254-70_0_3_load_25 | 18 | 0.0031375 | 0.00078632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5254-70_0_3_load_24 | 19 | 0.013869 | 0.003476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5254-70_0_3_load_14 | 20 | 0.0034173 | 0.00085646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5254-70_0_3_load_16 | 21 | 0.0052486 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5254-70_0_3_load_21 | 22 | 0.0038375 | 0.00096177 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5254-70_0_3_load_18 | 23 | 0.014622 | 0.0036647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5254-70_0_3_load_19 | 24 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5254-70_0_3_load_83 | 28 | 0.0016347 | 0.0004097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5254-70_0_3_load_85 | 30 | 0.0037889 | 0.00094959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5254-70_0_3_load_80 | 31 | 0.0077141 | 0.0019333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5254-70_0_3_load_58 | 32 | 0.0022472 | 0.00056321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5254-70_0_3_load_27 | 33 | 0.012837 | 0.0032173 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5254-70_0_3_load_28 | 34 | 0.0020043 | 0.00050232 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5254-70_0_3_load_30 | 35 | 0.0058593 | 0.0014685 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5254-70_0_3_load_31 | 36 | 0.003473 | 0.00087043 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5254-70_0_3_load_32 | 37 | 0.0082927 | 0.0020783 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5254-70_0_3_load_33 | 38 | 0.005524 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5254-70_0_3_load_34 | 39 | 0.0044605 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5254-70_0_3_load_35 | 40 | 0.0023665 | 0.00059311 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5254-70_0_3_load_36 | 41 | 0.0028999 | 0.00072679 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5254-70_0_3_load_37 | 42 | 0.0029043 | 0.00072788 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5254-70_0_3_load_38 | 43 | 0.013654 | 0.003422 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5254-70_0_3_load_63 | 45 | 0.0044839 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5254-70_0_3_load_73 | 46 | 0.0017792 | 0.00044591 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5254-70_0_3_load_62 | 47 | 0.007872 | 0.0019729 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5254-70_0_3_load_72 | 48 | 0.0029886 | 0.00074901 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5254-70_0_3_load_40 | 49 | 0.0055304 | 0.0013861 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5254-70_0_3_load_41 | 50 | 0.0099839 | 0.0025022 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5254-70_0_3_load_43 | 52 | 0.0022081 | 0.00055341 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5254-70_0_3_load_44 | 53 | 0.006118 | 0.0015333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5254-70_0_3_load_45 | 54 | 0.0017307 | 0.00043375 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5254-70_0_3_load_46 | 55 | 0.0023941 | 0.00060002 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5254-70_0_3_load_60 | 56 | 0.0030019 | 0.00075235 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5254-70_0_3_load_61 | 57 | 0.004127 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5254-70_0_3_load_47 | 58 | 0.0033604 | 0.0008422 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5254-70_0_3_load_48 | 59 | 0.0022776 | 0.00057082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5254-70_0_3_load_49 | 60 | 0.010598 | 0.0026562 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5254-70_0_3_load_52 | 61 | 0.005974 | 0.0014972 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5254-70_0_3_load_50 | 62 | 0.010535 | 0.0026403 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5254-70_0_3_load_57 | 63 | 0.0080638 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5254-70_0_3_load_56 | 64 | 0.0020572 | 0.00051558 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5254-70_0_3_load_55 | 65 | 0.0047551 | 0.0011917 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5254-70_0_3_load_64 | 66 | 0.0021778 | 0.00054582 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5254-70_0_3_load_65 | 67 | 0.0034811 | 0.00087244 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5254-70_0_3_load_66 | 68 | 0.01587 | 0.0039775 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5254-70_0_3_load_67 | 69 | 0.0018476 | 0.00046304 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5254-70_0_3_load_70 | 70 | 0.0022098 | 0.00055383 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5254-70_0_3_load_68 | 71 | 0.0023655 | 0.00059285 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5254-70_0_3_load_69 | 72 | 0.0025964 | 0.00065073 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5254-70_0_3_load_71 | 73 | 0.0026899 | 0.00067415 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5254-70_0_3_load_78 | 74 | 0.0016032 | 0.00040181 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5254-70_0_3_load_76 | 75 | 0.002413 | 0.00060475 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5254-70_0_3_load_74 | 76 | 0.006111 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5254-70_0_3_load_77 | 79 | 0.0046542 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5254-70_0_3_load_84 | 80 | 0.0078757 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5254-70_0_3_line_0 |  | 0 | 1 | 0.0095211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5254-70_0_3_line_1 |  | 1 | 2 | 0.05251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5254-70_0_3_line_2 |  | 2 | 3 | 0.017729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5254-70_0_3_line_3 |  | 3 | 4 | 0.028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5254-70_0_3_line_4 |  | 4 | 5 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5254-70_0_3_line_5 |  | 4 | 6 | 0.0016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5254-70_0_3_line_6 |  | 5 | 63 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5254-70_0_3_line_7 |  | 6 | 62 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5254-70_0_3_line_8 |  | 7 | 8 | 0.011858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5254-70_0_3_line_9 |  | 8 | 9 | 0.049376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5254-70_0_3_line_10 |  | 9 | 10 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5254-70_0_3_line_11 |  | 10 | 11 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5254-70_0_3_line_12 |  | 11 | 12 | 0.021975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5254-70_0_3_line_13 |  | 11 | 13 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5254-70_0_3_line_14 |  | 12 | 14 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5254-70_0_3_line_15 |  | 13 | 15 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5254-70_0_3_line_16 |  | 13 | 16 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5254-70_0_3_line_17 |  | 14 | 17 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5254-70_0_3_line_18 |  | 15 | 19 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5254-70_0_3_line_19 |  | 15 | 18 | 0.0074702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5254-70_0_3_line_20 |  | 16 | 20 | 0.0070725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5254-70_0_3_line_21 |  | 17 | 32 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5254-70_0_3_line_22 |  | 19 | 22 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5254-70_0_3_line_23 |  | 20 | 21 | 0.0037553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5254-70_0_3_line_24 |  | 22 | 24 | 0.025719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5254-70_0_3_line_25 |  | 23 | 24 | 0.0067492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5254-70_0_3_line_26 |  | 23 | 25 | 0.05382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5254-70_0_3_line_27 |  | 25 | 26 | 0.10609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5254-70_0_3_line_28 |  | 25 | 27 | 0.056468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5254-70_0_3_line_29 |  | 26 | 28 | 0.043141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5254-70_0_3_line_30 |  | 26 | 29 | 0.13276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5254-70_0_3_line_31 |  | 27 | 30 | 0.065631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5254-70_0_3_line_32 |  | 29 | 31 | 0.025434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5254-70_0_3_line_33 |  | 32 | 56 | 0.0014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5254-70_0_3_line_34 |  | 33 | 34 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5254-70_0_3_line_35 |  | 34 | 35 | 0.00035159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5254-70_0_3_line_36 |  | 35 | 36 | 0.0065566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5254-70_0_3_line_37 |  | 36 | 37 | 0.0094127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5254-70_0_3_line_38 |  | 37 | 38 | 0.0055942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5254-70_0_3_line_39 |  | 38 | 39 | 0.0030104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5254-70_0_3_line_40 |  | 39 | 40 | 0.0028211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5254-70_0_3_line_41 |  | 40 | 41 | 0.0083532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5254-70_0_3_line_42 |  | 41 | 42 | 0.0020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5254-70_0_3_line_43 |  | 42 | 43 | 0.023968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5254-70_0_3_line_44 |  | 43 | 44 | 0.0024105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5254-70_0_3_line_45 |  | 44 | 45 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5254-70_0_3_line_46 |  | 44 | 46 | 0.023133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5254-70_0_3_line_47 |  | 45 | 47 | 0.0019549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5254-70_0_3_line_48 |  | 46 | 48 | 0.0033536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5254-70_0_3_line_49 |  | 47 | 57 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5254-70_0_3_line_50 |  | 48 | 76 | 0.0044385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5254-70_0_3_line_51 |  | 49 | 50 | 0.0075683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5254-70_0_3_line_52 |  | 49 | 51 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5254-70_0_3_line_53 |  | 50 | 52 | 0.012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5254-70_0_3_line_54 |  | 51 | 53 | 0.0050475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5254-70_0_3_line_55 |  | 51 | 54 | 0.0040241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5254-70_0_3_line_56 |  | 52 | 55 | 0.0052833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5254-70_0_3_line_57 |  | 53 | 56 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5254-70_0_3_line_58 |  | 54 | 57 | 0.0032494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5254-70_0_3_line_59 |  | 55 | 58 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5254-70_0_3_line_60 |  | 58 | 59 | 0.0011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5254-70_0_3_line_61 |  | 59 | 60 | 0.00039813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5254-70_0_3_line_62 |  | 60 | 61 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5254-70_0_3_line_63 |  | 61 | 62 | 0.0085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5254-70_0_3_line_64 |  | 63 | 64 | 0.0046055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5254-70_0_3_line_65 |  | 64 | 65 | 0.015519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5254-70_0_3_line_66 |  | 66 | 67 | 0.0005113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5254-70_0_3_line_67 |  | 66 | 68 | 0.0075666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5254-70_0_3_line_68 |  | 67 | 69 | 0.0018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5254-70_0_3_line_69 |  | 69 | 70 | 0.0018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5254-70_0_3_line_70 |  | 70 | 71 | 0.0075731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5254-70_0_3_line_71 |  | 71 | 72 | 0.0010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5254-70_0_3_line_72 |  | 72 | 73 | 0.0012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5254-70_0_3_line_73 |  | 73 | 74 | 0.0030606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5254-70_0_3_line_74 |  | 74 | 75 | 0.0053762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5254-70_0_3_line_75 |  | 75 | 79 | 0.006422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5254-70_0_3_line_76 |  | 76 | 77 | 0.0039573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5254-70_0_3_line_77 |  | 77 | 78 | 0.090557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5254-70_0_3_line_78 |  | 77 | 79 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5254-70_0_3_line_79 |  | 78 | 80 | 0.03059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5254-70_0_3_trafo_46 | 0.63 MVA 20/0.4 kV | 81 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2716485.9937 | 1081601.0667 | 2716494.9607 | 1081604.267
1 | 2716494.9607 | 1081604.267 | 2716538.378 | 1081619.7623 | 2716544.0748 | 1081622.7026
2 | 2716544.0748 | 1081622.7026 | 2716547.2374 | 1081624.335 | 2716551.4917 | 1081626.4512 | 2716559.7507 | 1081630.9778
3 | 2716585.5826 | 1081642.8703 | 2716581.4109 | 1081641.7119 | 2716562.3594 | 1081632.4076 | 2716559.7507 | 1081630.9778
4 | 2716585.5826 | 1081642.8703 | 2716578.5031 | 1081654.3081
5 | 2716585.5826 | 1081642.8703 | 2716587.1259 | 1081643.2988
6 | 2716585.8447 | 1081663.2564 | 2716585.9098 | 1081659.8552 | 2716578.3457 | 1081654.5623 | 2716578.5031 | 1081654.3081
7 | 2716598.4393 | 1081645.9449 | 2716596.3729 | 1081645.9678 | 2716589.0667 | 1081643.8377 | 2716587.1259 | 1081643.2988
8 | 2716799.1806 | 1081708.3613 | 2716787.3226 | 1081708.3506
9 | 2716738.8612 | 1081703.5807 | 2716738.8612 | 1081703.5807 | 2716753.5111 | 1081701.4154 | 2716771.3479 | 1081705.5934 | 2716785.1502 | 1081708.3487 | 2716787.3226 | 1081708.3506
10 | 2716738.8612 | 1081703.5807 | 2716724.6526 | 1081706.2215 | 2716716.544 | 1081710.2798
11 | 2716698.6073 | 1081718.6314 | 2716711.173 | 1081712.968 | 2716716.544 | 1081710.2798
12 | 2716698.6073 | 1081718.6314 | 2716692.5609 | 1081709.5314 | 2716692.431 | 1081698.4767
13 | 2716698.6073 | 1081718.6314 | 2716690.2409 | 1081725.6317 | 2716684.4317 | 1081730.0902
14 | 2716692.431 | 1081698.4767 | 2716688.5482 | 1081684.4196
15 | 2716684.4317 | 1081730.0902 | 2716676.968 | 1081728.0792 | 2716673.7015 | 1081725.8929
16 | 2716684.4317 | 1081730.0902 | 2716676.2246 | 1081737.2937 | 2716675.2162 | 1081738.6697
17 | 2716688.5482 | 1081684.4196 | 2716686.7808 | 1081678.0208 | 2716683.4916 | 1081669.5292
18 | 2716673.7015 | 1081725.8929 | 2716671.9951 | 1081730.6414 | 2716667.8377 | 1081739.3104
19 | 2716673.7015 | 1081725.8929 | 2716676.0501 | 1081718.8016
20 | 2716675.2162 | 1081738.6697 | 2716671.0357 | 1081744.3744
21 | 2716679.618 | 1081659.5288 | 2716683.4916 | 1081669.5292
22 | 2716659.1004 | 1081758.4932 | 2716662.5952 | 1081750.2419 | 2716667.8377 | 1081739.3104
23 | 2716668.816 | 1081747.4034 | 2716671.0357 | 1081744.3744
24 | 2716649.8777 | 1081782.4671 | 2716652.1266 | 1081774.9589 | 2716659.1004 | 1081758.4932
25 | 2716647.9412 | 1081788.9325 | 2716649.8777 | 1081782.4671
26 | 2716637.2765 | 1081840.2983 | 2716634.6334 | 1081833.9433 | 2716645.4476 | 1081797.2578 | 2716647.9412 | 1081788.9325
27 | 2716637.2765 | 1081840.2983 | 2716639.5257 | 1081845.723 | 2716642.8717 | 1081848.6224 | 2716645.1741 | 1081851.6797 | 2716656.579 | 1081868.8879 | 2716657.0667 | 1081873.0224 | 2716657.7219 | 1081878.5499 | 2716659.0846 | 1081890.1175 | 2716658.3154 | 1081908.7825 | 2716656.2501 | 1081939.976
28 | 2716637.2765 | 1081840.2983 | 2716639.5257 | 1081845.723 | 2716642.8717 | 1081848.6224 | 2716653.7601 | 1081839.6912 | 2716677.3357 | 1081817.9272
29 | 2716656.2501 | 1081939.976 | 2716659.6616 | 1081939.4521 | 2716662.3756 | 1081936.4242 | 2716664.288 | 1081930.6456 | 2716664.5191 | 1081923.0447 | 2716665.8531 | 1081911.7845 | 2716669.0446 | 1081901.6718
30 | 2716656.2501 | 1081939.976 | 2716680.8068 | 1082070.449
31 | 2716724.6888 | 1081773.2137 | 2716716.4817 | 1081785.2761 | 2716698.7484 | 1081797.5896 | 2716687.5515 | 1081808.8387 | 2716677.3357 | 1081817.9272
32 | 2716680.8068 | 1082070.449 | 2716688.5644 | 1082075.7457 | 2716696.8269 | 1082079.0063 | 2716703.8007 | 1082080.6187
33 | 2716679.618 | 1081659.5288 | 2716679.1031 | 1081658.1996
34 | 2716582.9824 | 1081566.3534 | 2716594.0875 | 1081575.8018
35 | 2716594.0875 | 1081575.8018 | 2716594.3553 | 1081576.0296
36 | 2716594.3553 | 1081576.0296 | 2716599.349 | 1081580.2783
37 | 2716606.5181 | 1081586.3779 | 2716599.349 | 1081580.2783
38 | 2716606.5181 | 1081586.3779 | 2716606.8897 | 1081586.6941 | 2716611.1816 | 1081589.4605
39 | 2716613.7119 | 1081591.0915 | 2716611.1816 | 1081589.4605
40 | 2716616.083 | 1081592.6199 | 2716613.7119 | 1081591.0915
41 | 2716616.083 | 1081592.6199 | 2716623.1041 | 1081597.1455
42 | 2716624.8615 | 1081598.2783 | 2716623.1041 | 1081597.1455
43 | 2716624.8615 | 1081598.2783 | 2716628.01 | 1081600.3078 | 2716631.769 | 1081602.737 | 2716640.0219 | 1081606.9423 | 2716646.0511 | 1081609.3274
44 | 2716648.2926 | 1081610.2141 | 2716646.0511 | 1081609.3274
45 | 2716648.2926 | 1081610.2141 | 2716655.3745 | 1081615.5423 | 2716657.9811 | 1081618.6546
46 | 2716648.2926 | 1081610.2141 | 2716659.2715 | 1081594.1462 | 2716661.2107 | 1081591.0277
47 | 2716659.2362 | 1081620.1533 | 2716657.9811 | 1081618.6546
48 | 2716662.9816 | 1081588.1797 | 2716661.2107 | 1081591.0277
49 | 2716668.3952 | 1081636.7175 | 2716667.1026 | 1081634.1465 | 2716660.6742 | 1081621.8704 | 2716659.2362 | 1081620.1533
50 | 2716662.9816 | 1081588.1797 | 2716662.9816 | 1081588.1797 | 2716663.5873 | 1081583.7828
51 | 2716658.8636 | 1081646.76 | 2716652.0794 | 1081650.1146 | 2716652.0794 | 1081650.1146
52 | 2716671.6586 | 1081643.2179 | 2716660.5003 | 1081645.9507 | 2716658.8636 | 1081646.76
53 | 2716639.9842 | 1081648.7842 | 2716640.028 | 1081648.7941 | 2716644.5973 | 1081650.6829 | 2716652.0794 | 1081650.1146
54 | 2716671.6586 | 1081643.2179 | 2716673.9248 | 1081647.728
55 | 2716671.6586 | 1081643.2179 | 2716671.2173 | 1081642.3311 | 2716669.8547 | 1081639.6207
56 | 2716639.9842 | 1081648.7842 | 2716634.8312 | 1081647.6178
57 | 2716679.1031 | 1081658.1996 | 2716678.8403 | 1081657.521 | 2716675.8106 | 1081651.481 | 2716673.9248 | 1081647.728
58 | 2716668.3952 | 1081636.7175 | 2716669.8547 | 1081639.6207
59 | 2716624.41 | 1081646.4638 | 2716632.0863 | 1081646.9964 | 2716634.8312 | 1081647.6178
60 | 2716624.41 | 1081646.4638 | 2716623.2806 | 1081646.3854
61 | 2716623.2806 | 1081646.3854 | 2716622.8834 | 1081646.3579
62 | 2716622.8834 | 1081646.3579 | 2716614.3792 | 1081645.7678 | 2716606.9388 | 1081645.8505
63 | 2716598.4393 | 1081645.9449 | 2716606.9388 | 1081645.8505
64 | 2716585.8447 | 1081663.2564 | 2716585.8447 | 1081663.2564 | 2716583.4043 | 1081667.1622
65 | 2716570.3215 | 1081666.6235 | 2716578.0359 | 1081670.7456 | 2716582.1512 | 1081669.1676 | 2716583.4043 | 1081667.1622
66 | 2716703.5566 | 1081593.6187 | 2716703.0859 | 1081593.4191
67 | 2716710.5224 | 1081596.5737 | 2716703.5566 | 1081593.6187
68 | 2716701.384 | 1081592.6971 | 2716703.0859 | 1081593.4191
69 | 2716699.6819 | 1081591.975 | 2716701.384 | 1081592.6971
70 | 2716692.7101 | 1081589.0175 | 2716699.6819 | 1081591.975
71 | 2716692.7101 | 1081589.0175 | 2716691.731 | 1081588.6021
72 | 2716691.731 | 1081588.6021 | 2716690.5438 | 1081588.0985
73 | 2716690.5438 | 1081588.0985 | 2716689.9069 | 1081587.8283 | 2716687.6671 | 1081587.0575
74 | 2716682.5835 | 1081585.308 | 2716687.6671 | 1081587.0575
75 | 2716682.5835 | 1081585.308 | 2716677.3845 | 1081583.5189 | 2716676.494 | 1081583.2733
76 | 2716664.1273 | 1081579.8625 | 2716663.5873 | 1081583.7828
77 | 2716664.1273 | 1081579.8625 | 2716666.0932 | 1081565.6234 | 2716670.6256 | 1081553.2237 | 2716677.9067 | 1081537.6188 | 2716680.7865 | 1081534.0492 | 2716710.6575 | 1081539.2693 | 2716721.4658 | 1081540.2214
78 | 2716664.1273 | 1081579.8625 | 2716676.494 | 1081583.2733
79 | 2716721.4658 | 1081540.2214 | 2716716.8703 | 1081554.2877 | 2716709.4654 | 1081568.2446

## bus_geodata
| x | y | coords
0 | 2716485.9937 | 1081601.0667
1 | 2716494.9607 | 1081604.267
2 | 2716544.0748 | 1081622.7026
3 | 2716559.7507 | 1081630.9778
4 | 2716585.5826 | 1081642.8703
5 | 2716578.5031 | 1081654.3081
6 | 2716587.1259 | 1081643.2988
7 | 2716799.1806 | 1081708.3613
8 | 2716787.3226 | 1081708.3506
9 | 2716738.8612 | 1081703.5807
10 | 2716716.544 | 1081710.2798
11 | 2716698.6073 | 1081718.6314
12 | 2716692.431 | 1081698.4767
13 | 2716684.4317 | 1081730.0902
14 | 2716688.5482 | 1081684.4196
15 | 2716673.7015 | 1081725.8929
16 | 2716675.2162 | 1081738.6697
17 | 2716683.4916 | 1081669.5292
18 | 2716676.0501 | 1081718.8016
19 | 2716667.8377 | 1081739.3104
20 | 2716671.0357 | 1081744.3744
21 | 2716668.816 | 1081747.4034
22 | 2716659.1004 | 1081758.4932
23 | 2716647.9412 | 1081788.9325
24 | 2716649.8777 | 1081782.4671
25 | 2716637.2765 | 1081840.2983
26 | 2716656.2501 | 1081939.976
27 | 2716677.3357 | 1081817.9272
28 | 2716669.0446 | 1081901.6718
29 | 2716680.8068 | 1082070.449
30 | 2716724.6888 | 1081773.2137
31 | 2716703.8008 | 1082080.6187
32 | 2716679.618 | 1081659.5288
33 | 2716582.9824 | 1081566.3534
34 | 2716594.0875 | 1081575.8018
35 | 2716594.3553 | 1081576.0296
36 | 2716599.349 | 1081580.2783
37 | 2716606.5181 | 1081586.3779
38 | 2716611.1816 | 1081589.4605
39 | 2716613.7119 | 1081591.0915
40 | 2716616.083 | 1081592.6199
41 | 2716623.1041 | 1081597.1455
42 | 2716624.8615 | 1081598.2783
43 | 2716646.0511 | 1081609.3274
44 | 2716648.2926 | 1081610.2141
45 | 2716657.981 | 1081618.6546
46 | 2716661.2107 | 1081591.0277
47 | 2716659.2362 | 1081620.1533
48 | 2716662.9816 | 1081588.1797
49 | 2716658.8636 | 1081646.76
50 | 2716652.0794 | 1081650.1146
51 | 2716671.6586 | 1081643.2179
52 | 2716639.9842 | 1081648.7842
53 | 2716673.9248 | 1081647.728
54 | 2716669.8547 | 1081639.6207
55 | 2716634.8312 | 1081647.6178
56 | 2716679.1031 | 1081658.1996
57 | 2716668.3952 | 1081636.7175
58 | 2716624.41 | 1081646.4638
59 | 2716623.2806 | 1081646.3854
60 | 2716622.8834 | 1081646.3579
61 | 2716606.9388 | 1081645.8505
62 | 2716598.4393 | 1081645.9449
63 | 2716585.8447 | 1081663.2564
64 | 2716583.4043 | 1081667.1622
65 | 2716570.3215 | 1081666.6235
66 | 2716703.5566 | 1081593.6187
67 | 2716703.0859 | 1081593.4191
68 | 2716710.5224 | 1081596.5737
69 | 2716701.384 | 1081592.6971
70 | 2716699.6819 | 1081591.975
71 | 2716692.7101 | 1081589.0175
72 | 2716691.731 | 1081588.6021
73 | 2716690.5438 | 1081588.0985
74 | 2716687.6671 | 1081587.0575
75 | 2716682.5835 | 1081585.308
76 | 2716663.5873 | 1081583.7828
77 | 2716664.1273 | 1081579.8625
78 | 2716721.4658 | 1081540.2214
79 | 2716676.494 | 1081583.2733
80 | 2716709.4654 | 1081568.2446
81 | 2716634.8312 | 1081647.6178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1