## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5257-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5257-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5257-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5257-11_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5257-11_0_5_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_5257-11_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5257-11_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5257-11_0_5_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_5257-11_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_5257-11_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_5257-11_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5257-11_0_5_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5257-11_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5257-11_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5257-11_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5257-11_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5257-11_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5257-11_0_5_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5257-11_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5257-11_0_5_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_5257-11_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5257-11_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5257-11_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5257-11_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5257-11_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5257-11_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5257-11_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5257-11_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5257-11_0_5_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_5257-11_0_5_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_5257-11_0_5_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_5257-11_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_5257-11_0_5_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_5257-11_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_5257-11_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5257-11_0_5_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_5257-11_0_5_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_5257-11_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_5257-11_0_5_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5257-11_0_5_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_5257-11_0_5_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_5257-11_0_5_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_5257-11_0_5_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_5257-11_0_5_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_5257-11_0_5_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_5257-11_0_5_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_5257-11_0_5_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_5257-11_0_5_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_5257-11_0_5_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_5257-11_0_5_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_5257-11_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5257-11_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_5257-11_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_5257-11_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5257-11_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5257-11_0_5_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_5257-11_0_5_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_5257-11_0_5_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_5257-11_0_5_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_5257-11_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5257-11_0_5_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_5257-11_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_5257-11_0_5_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_5257-11_0_5_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_5257-11_0_5_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_5257-11_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5257-11_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5257-11_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_5257-11_0_5_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_5257-11_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_5257-11_0_5_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_5257-11_0_5_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_5257-11_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_5257-11_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_5257-11_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_5257-11_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_5257-11_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5257-11_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5257-11_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5257-11_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5257-11_0_5_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_5257-11_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_5257-11_0_5_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_5257-11_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5257-11_0_5_node_54 | 0.4 | n |  | TRUE
85 | bus_LV_5257-11_0_5_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5257-11_0_5_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5257-11_0_5_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_5257-11_0_5_node_70 | 0.4 | n |  | TRUE
89 | bus_MV_76_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5257-11_0_5_load_0 | 0 | 0.0054442 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5257-11_0_5_load_1 | 1 | 0.0052269 | 0.00131 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5257-11_0_5_load_2 | 2 | 0.0051168 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5257-11_0_5_load_22 | 4 | 0.0051848 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5257-11_0_5_load_23 | 5 | 0.011431 | 0.0028648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5257-11_0_5_load_49 | 7 | 0.0065675 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5257-11_0_5_load_15 | 9 | 0.0043251 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5257-11_0_5_load_10 | 10 | 0.0054394 | 0.0013632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5257-11_0_5_load_4 | 11 | 0.0059694 | 0.0014961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5257-11_0_5_load_5 | 12 | 0.0055925 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5257-11_0_5_load_7 | 14 | 0.0068514 | 0.0017171 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5257-11_0_5_load_8 | 15 | 0.0063468 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5257-11_0_5_load_13 | 18 | 0.0041909 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5257-11_0_5_load_9 | 21 | 0.0059125 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5257-11_0_5_load_12 | 22 | 0.0043293 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5257-11_0_5_load_16 | 23 | 0.025343 | 0.0063516 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5257-11_0_5_load_17 | 24 | 0.022655 | 0.0056778 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5257-11_0_5_load_19 | 26 | 0.020523 | 0.0051435 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5257-11_0_5_load_20 | 27 | 0.0024296 | 0.00060892 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5257-11_0_5_load_81 | 29 | 0.028155 | 0.0070562 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5257-11_0_5_load_78 | 30 | 0.0020909 | 0.00052402 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5257-11_0_5_load_43 | 33 | 0.052631 | 0.013191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5257-11_0_5_load_52 | 35 | 0.0014293 | 0.00035822 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5257-11_0_5_load_56 | 36 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5257-11_0_5_load_39 | 37 | 0.0074232 | 0.0018604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5257-11_0_5_load_82 | 39 | 0.0016739 | 0.00041952 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5257-11_0_5_load_80 | 40 | 0.0044317 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5257-11_0_5_load_83 | 41 | 0.0037998 | 0.00095232 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5257-11_0_5_load_90 | 42 | 0.011443 | 0.0028679 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5257-11_0_5_load_84 | 44 | 0.0020914 | 0.00052415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5257-11_0_5_load_87 | 46 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5257-11_0_5_load_88 | 47 | 0.0021507 | 0.00053901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5257-11_0_5_load_92 | 48 | 0.0036423 | 0.00091284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5257-11_0_5_load_50 | 50 | 0.00090514 | 0.00022685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5257-11_0_5_load_57 | 51 | 0.0034574 | 0.0008665 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5257-11_0_5_load_75 | 52 | 0.0023528 | 0.00058967 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5257-11_0_5_load_59 | 53 | 0.00065759 | 0.00016481 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5257-11_0_5_load_47 | 54 | 0.0081283 | 0.0020371 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5257-11_0_5_load_25 | 55 | 0.0018867 | 0.00047284 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5257-11_0_5_load_24 | 56 | 0.0051568 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5257-11_0_5_load_26 | 57 | 0.0021636 | 0.00054226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5257-11_0_5_load_44 | 59 | 0.0059173 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5257-11_0_5_load_29 | 60 | 0.00089239 | 0.00022365 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5257-11_0_5_load_32 | 62 | 0.0013465 | 0.00033747 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5257-11_0_5_load_34 | 63 | 0.0074606 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5257-11_0_5_load_64 | 65 | 0.0092021 | 0.0023063 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5257-11_0_5_load_38 | 67 | 0.0034389 | 0.00086186 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5257-11_0_5_load_35 | 68 | 0.001778 | 0.0004456 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5257-11_0_5_load_41 | 71 | 0.001066 | 0.00026716 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5257-11_0_5_load_45 | 72 | 0.023953 | 0.0060032 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5257-11_0_5_load_46 | 73 | 0.013103 | 0.003284 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5257-11_0_5_load_48 | 74 | 0.017791 | 0.004459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5257-11_0_5_load_51 | 75 | 0.00099987 | 0.00025059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5257-11_0_5_load_53 | 76 | 0.0013693 | 0.00034318 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5257-11_0_5_load_62 | 78 | 0.0015274 | 0.00038279 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5257-11_0_5_load_63 | 79 | 0.00084514 | 0.00021181 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5257-11_0_5_load_58 | 80 | 0.0033979 | 0.0008516 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5257-11_0_5_load_72 | 81 | 0.0019628 | 0.00049191 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5257-11_0_5_load_73 | 82 | 0.0010329 | 0.00025888 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5257-11_0_5_load_71 | 83 | 0.0028398 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5257-11_0_5_load_54 | 84 | 0.0013441 | 0.00033685 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5257-11_0_5_load_76 | 85 | 0.00049103 | 0.00012306 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5257-11_0_5_load_77 | 86 | 0.0036586 | 0.00091693 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5257-11_0_5_load_70 | 88 | 0.0015976 | 0.0004004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5257-11_0_5_line_0 |  | 0 | 1 | 0.025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5257-11_0_5_line_1 |  | 0 | 2 | 0.0021222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5257-11_0_5_line_2 |  | 2 | 3 | 0.019467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5257-11_0_5_line_3 |  | 3 | 4 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5257-11_0_5_line_4 |  | 3 | 5 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5257-11_0_5_line_5 |  | 3 | 6 | 0.025785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5257-11_0_5_line_6 |  | 4 | 7 | 0.0002964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5257-11_0_5_line_7 |  | 5 | 8 | 0.0097989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5257-11_0_5_line_8 |  | 6 | 9 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5257-11_0_5_line_9 |  | 6 | 10 | 0.018084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5257-11_0_5_line_10 |  | 7 | 54 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5257-11_0_5_line_11 |  | 8 | 55 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5257-11_0_5_line_12 |  | 8 | 33 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5257-11_0_5_line_13 |  | 9 | 16 | 0.0016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5257-11_0_5_line_14 |  | 10 | 21 | 0.02835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5257-11_0_5_line_15 |  | 11 | 12 | 0.040311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5257-11_0_5_line_16 |  | 11 | 13 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5257-11_0_5_line_17 |  | 13 | 14 | 0.0087214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5257-11_0_5_line_18 |  | 13 | 15 | 0.027477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5257-11_0_5_line_19 |  | 14 | 16 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5257-11_0_5_line_20 |  | 15 | 17 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5257-11_0_5_line_21 |  | 16 | 18 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5257-11_0_5_line_22 |  | 17 | 19 | 0.058767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5257-11_0_5_line_23 |  | 17 | 20 | 0.093486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5257-11_0_5_line_24 |  | 18 | 22 | 0.032763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5257-11_0_5_line_25 |  | 19 | 64 | 0.041875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5257-11_0_5_line_26 |  | 19 | 65 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5257-11_0_5_line_27 |  | 20 | 62 | 0.058153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5257-11_0_5_line_28 |  | 20 | 60 | 0.069996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5257-11_0_5_line_29 |  | 23 | 24 | 0.041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5257-11_0_5_line_30 |  | 23 | 25 | 0.074422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5257-11_0_5_line_31 |  | 24 | 26 | 0.043689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5257-11_0_5_line_32 |  | 25 | 27 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5257-11_0_5_line_33 |  | 27 | 33 | 0.0062091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5257-11_0_5_line_34 |  | 28 | 29 | 0.086027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5257-11_0_5_line_35 |  | 28 | 30 | 0.051832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5257-11_0_5_line_36 |  | 28 | 31 | 0.073925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5257-11_0_5_line_37 |  | 30 | 32 | 0.006684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5257-11_0_5_line_38 |  | 31 | 52 | 0.054868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5257-11_0_5_line_39 |  | 31 | 53 | 0.024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5257-11_0_5_line_40 |  | 32 | 40 | 0.055822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5257-11_0_5_line_41 |  | 34 | 35 | 0.004535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5257-11_0_5_line_42 |  | 34 | 36 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5257-11_0_5_line_43 |  | 35 | 50 | 0.12909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5257-11_0_5_line_44 |  | 36 | 51 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5257-11_0_5_line_45 |  | 37 | 38 | 0.052202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5257-11_0_5_line_46 |  | 38 | 39 | 0.0092575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5257-11_0_5_line_47 |  | 39 | 42 | 0.066635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5257-11_0_5_line_48 |  | 40 | 41 | 0.078883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5257-11_0_5_line_49 |  | 41 | 43 | 0.036814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5257-11_0_5_line_50 |  | 42 | 49 | 0.0063938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5257-11_0_5_line_51 |  | 43 | 46 | 0.049333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5257-11_0_5_line_52 |  | 43 | 45 | 0.053432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5257-11_0_5_line_53 |  | 44 | 45 | 0.022169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5257-11_0_5_line_54 |  | 46 | 47 | 0.092097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5257-11_0_5_line_55 |  | 47 | 48 | 0.12863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5257-11_0_5_line_56 |  | 48 | 49 | 0.06272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5257-11_0_5_line_57 |  | 50 | 75 | 0.00053035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5257-11_0_5_line_58 |  | 51 | 59 | 0.0080004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5257-11_0_5_line_59 |  | 52 | 85 | 0.0346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5257-11_0_5_line_60 |  | 53 | 80 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5257-11_0_5_line_61 |  | 54 | 72 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5257-11_0_5_line_62 |  | 55 | 56 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5257-11_0_5_line_63 |  | 56 | 57 | 0.010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5257-11_0_5_line_64 |  | 57 | 58 | 0.0079062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5257-11_0_5_line_65 |  | 58 | 59 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5257-11_0_5_line_66 |  | 60 | 61 | 0.029356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5257-11_0_5_line_67 |  | 61 | 63 | 0.015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5257-11_0_5_line_68 |  | 64 | 88 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5257-11_0_5_line_69 |  | 64 | 66 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5257-11_0_5_line_70 |  | 66 | 67 | 0.10451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5257-11_0_5_line_71 |  | 67 | 69 | 0.033207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5257-11_0_5_line_72 |  | 68 | 69 | 0.052654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5257-11_0_5_line_73 |  | 69 | 70 | 0.053336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5257-11_0_5_line_74 |  | 70 | 71 | 0.013127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5257-11_0_5_line_75 |  | 72 | 73 | 0.025438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5257-11_0_5_line_76 |  | 73 | 74 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5257-11_0_5_line_77 |  | 75 | 76 | 3.8206e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5257-11_0_5_line_78 |  | 76 | 84 | 0.018469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5257-11_0_5_line_79 |  | 77 | 78 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5257-11_0_5_line_80 |  | 77 | 79 | 0.044486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5257-11_0_5_line_81 |  | 77 | 80 | 0.076783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5257-11_0_5_line_82 |  | 78 | 81 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5257-11_0_5_line_83 |  | 79 | 82 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5257-11_0_5_line_84 |  | 81 | 83 | 0.051185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5257-11_0_5_line_85 |  | 83 | 87 | 0.12549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_5257-11_0_5_line_86 |  | 84 | 87 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5257-11_0_5_line_87 |  | 85 | 86 | 0.0020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5257-11_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 89 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2723069.0617 | 1078960.9699 | 2723044.0666 | 1078965.8773
1 | 2723069.0617 | 1078960.9699 | 2723071.1441 | 1078960.5611
2 | 2723090.2466 | 1078956.8106 | 2723071.1441 | 1078960.5611
3 | 2723090.2466 | 1078956.8106 | 2723112.8288 | 1078943.4511
4 | 2723090.2466 | 1078956.8106 | 2723090.8097 | 1078974.3321
5 | 2723090.2466 | 1078956.8106 | 2723088.2639 | 1078931.1074
6 | 2723113.0839 | 1078943.3002 | 2723112.8288 | 1078943.4511
7 | 2723091.1244 | 1078984.1259 | 2723090.8097 | 1078974.3321
8 | 2723088.2639 | 1078931.1074 | 2723087.2019 | 1078916.7533 | 2723088.0115 | 1078907.4127
9 | 2723088.2639 | 1078931.1074 | 2723070.2475 | 1078932.6652
10 | 2723113.0839 | 1078943.3002 | 2723126.0395 | 1078935.6358
11 | 2723091.1244 | 1078984.1259 | 2723074.3488 | 1078990.8531
12 | 2723091.1244 | 1078984.1259 | 2723092.4861 | 1079006.9932
13 | 2723088.1543 | 1078905.7645 | 2723088.0115 | 1078907.4127
14 | 2723042.0026 | 1078935.1074 | 2723070.2475 | 1078932.6652
15 | 2723075.4098 | 1078879.2071 | 2723035.1347 | 1078880.912
16 | 2723098.5656 | 1078880.4229 | 2723094.3872 | 1078878.4038 | 2723075.4098 | 1078879.2071
17 | 2723098.5656 | 1078880.4229 | 2723095.2128 | 1078886.3818 | 2723094.2748 | 1078888.0158
18 | 2723098.5656 | 1078880.4229 | 2723115.4379 | 1078858.7367
19 | 2723088.1543 | 1078905.7645 | 2723090.0262 | 1078895.417 | 2723094.2748 | 1078888.0158
20 | 2723111.64 | 1078847.4963 | 2723115.4379 | 1078858.7367
21 | 2723088.1543 | 1078905.7645 | 2723071.4852 | 1078905.798
22 | 2723053.0543 | 1078852.0058 | 2723063.4829 | 1078851.1934 | 2723095.7634 | 1078849.1325 | 2723111.64 | 1078847.4963
23 | 2723111.64 | 1078847.4963 | 2723116.1959 | 1078846.2207 | 2723120.7833 | 1078843.7671 | 2723123.9027 | 1078841.2839 | 2723128.1766 | 1078836.2776 | 2723141.8351 | 1078813.2923 | 2723150.1442 | 1078798.1714 | 2723159.001 | 1078788.243 | 2723170.7304 | 1078777.6723
24 | 2723038.7222 | 1078905.8637 | 2723071.4852 | 1078905.798
25 | 2723053.0543 | 1078852.0058 | 2723071.5223 | 1078814.4067
26 | 2723053.0543 | 1078852.0058 | 2723031.5137 | 1078853.1306
27 | 2723170.7304 | 1078777.6723 | 2723213.1029 | 1078817.5006
28 | 2723170.7304 | 1078777.6723 | 2723191.6177 | 1078759.9703 | 2723223.1935 | 1078731.3495
29 | 2723193.537 | 1078980.4873 | 2723158.4137 | 1079001.6646
30 | 2723093.5321 | 1079024.5595 | 2723097.4461 | 1079028.5081 | 2723101.7937 | 1079029.8413 | 2723107.4126 | 1079030.1661 | 2723113.6986 | 1079028.6252 | 2723158.4137 | 1079001.6646
31 | 2723193.537 | 1078980.4873 | 2723230.9514 | 1078957.9285
32 | 2723093.5321 | 1079024.5595 | 2723092.8551 | 1079013.1913
33 | 2723092.8551 | 1079013.1913 | 2723092.4861 | 1079006.9932
34 | 2723254.2653 | 1079144.6721 | 2723249.7246 | 1079142.9012 | 2723246.861 | 1079140.0412 | 2723245.0628 | 1079136.3689 | 2723244.3241 | 1079131.7839 | 2723244.7433 | 1079127.5782 | 2723246.3515 | 1079124.1305 | 2723262.4944 | 1079109.3016 | 2723268.0318 | 1079103.2869 | 2723283.5059 | 1079077.298
35 | 2723254.2653 | 1079144.6721 | 2723258.4302 | 1079145.0454 | 2723262.1941 | 1079144.4989 | 2723266.4887 | 1079143.4516 | 2723295.1308 | 1079133.746 | 2723299.9566 | 1079132.1758 | 2723303.8361 | 1079130.9089 | 2723303.864 | 1079130.9033
36 | 2723199.9424 | 1079193.2538 | 2723208.3909 | 1079191.2009 | 2723254.2653 | 1079144.6721
37 | 2723310.2938 | 1079131.2508 | 2723308.9177 | 1079130.5225 | 2723306.9255 | 1079130.2931 | 2723303.864 | 1079130.9033
38 | 2723199.9424 | 1079193.2538 | 2723190.8064 | 1079237.3791 | 2723188.9815 | 1079247.0145
39 | 2723199.9424 | 1079193.2538 | 2723177.9784 | 1079182.8135
40 | 2723310.2938 | 1079131.2508 | 2723330.4183 | 1079120.4834 | 2723343.3091 | 1079096.2821 | 2723347.9227 | 1079093.1477
41 | 2723063.5776 | 1079058.4572 | 2723060.2867 | 1079061.5776
42 | 2723063.5776 | 1079058.4572 | 2723052.6413 | 1079047.106
43 | 2722965.9788 | 1079148.9686 | 2723001.802 | 1079116.386 | 2723009.6278 | 1079105.536 | 2723034.4655 | 1079082.9764 | 2723042.4741 | 1079078.468 | 2723060.2867 | 1079061.5776
44 | 2723052.6413 | 1079047.106 | 2723052.6413 | 1079047.106 | 2723042.5835 | 1079035.5181
45 | 2723397.436 | 1078960.801 | 2723394.9872 | 1078957.0264 | 2723371.388 | 1078920.6335 | 2723368.5849 | 1078917.3356
46 | 2723397.436 | 1078960.801 | 2723402.0739 | 1078952.789
47 | 2723402.0739 | 1078952.789 | 2723402.0739 | 1078952.789 | 2723415.7003 | 1078904.1961 | 2723422.5214 | 1078891.9808 | 2723424.1705 | 1078890.5598
48 | 2723414.7668 | 1079053.8418 | 2723398.258 | 1079056.7875 | 2723369.9931 | 1079078.1533 | 2723347.9227 | 1079093.1477
49 | 2723414.7668 | 1079053.8418 | 2723429.9145 | 1079087.3951
50 | 2723429.0141 | 1078886.386 | 2723424.1705 | 1078890.5598
51 | 2723429.9145 | 1079087.3951 | 2723434.1933 | 1079083.301 | 2723440.3499 | 1079077.4102 | 2723460.6969 | 1079061.0547 | 2723468.1328 | 1079056.3772
52 | 2723429.9009 | 1079125.2668 | 2723411.072 | 1079105.4379 | 2723429.9145 | 1079087.3951
53 | 2723429.9009 | 1079125.2668 | 2723429.6102 | 1079139.6159 | 2723426.8376 | 1079146.9246
54 | 2723468.1328 | 1079056.3772 | 2723480.9552 | 1079048.3113 | 2723551.6646 | 1079017.9583
55 | 2723453.7979 | 1078934.4784 | 2723551.6646 | 1079017.9583
56 | 2723453.7979 | 1078934.4784 | 2723461.5498 | 1078926.5629 | 2723444.2931 | 1078904.275 | 2723429.0141 | 1078886.386
57 | 2722965.9788 | 1079148.9686 | 2722965.5865 | 1079149.3255
58 | 2723038.4111 | 1079028.9901 | 2723038.6924 | 1079031.035 | 2723042.5835 | 1079035.5181
59 | 2723188.9815 | 1079247.0145 | 2723182.5428 | 1079281.0105 | 2723182.5428 | 1079281.0105
60 | 2723163.4241 | 1079185.468 | 2723177.9784 | 1079182.8135
61 | 2723138.4861 | 1078928.2725 | 2723126.0395 | 1078935.6358
62 | 2723052.2844 | 1078999.7011 | 2723074.3488 | 1078990.8531
63 | 2723052.2844 | 1078999.7011 | 2723042.6565 | 1079003.562
64 | 2723035.3183 | 1079006.5046 | 2723042.6565 | 1079003.562
65 | 2723035.3183 | 1079006.5046 | 2723038.4111 | 1079028.9901
66 | 2723243.5286 | 1078710.1832 | 2723235.6233 | 1078718.3849 | 2723224.3403 | 1078730.31 | 2723223.1935 | 1078731.3495
67 | 2723243.5286 | 1078710.1832 | 2723254.1399 | 1078699.1737
68 | 2723071.5223 | 1078814.4067 | 2723053.9586 | 1078809.3632
69 | 2723082.4226 | 1078817.1732 | 2723075.0252 | 1078814.8667 | 2723071.5223 | 1078814.4067
70 | 2723082.4226 | 1078817.1732 | 2723084.3114 | 1078814.8319 | 2723109.0045 | 1078817.9549 | 2723109.5039 | 1078815.9302 | 2723127.7401 | 1078743.6732
71 | 2723135.8662 | 1078711.4754 | 2723127.7401 | 1078743.6732
72 | 2723135.8662 | 1078711.4754 | 2723142.9295 | 1078712.63 | 2723186.9696 | 1078720.0696 | 2723187.1596 | 1078719.2583
73 | 2723135.8662 | 1078711.4754 | 2723142.9191 | 1078683.542 | 2723151.5962 | 1078660.6006
74 | 2723151.5962 | 1078660.6006 | 2723139.7031 | 1078655.0452
75 | 2723138.4861 | 1078928.2725 | 2723160.3794 | 1078915.3206
76 | 2723160.3794 | 1078915.3206 | 2723177.8001 | 1078905.0147
77 | 2722965.5865 | 1079149.3255 | 2722965.5582 | 1079149.3512
78 | 2722965.5582 | 1079149.3512 | 2722951.8953 | 1079161.7781
79 | 2723090.7368 | 1079209.0483 | 2723082.3467 | 1079212.4481 | 2723073.5503 | 1079220.3892
80 | 2723090.7368 | 1079209.0483 | 2723097.1269 | 1079225.4226 | 2723101.5837 | 1079241.3353 | 2723104.1785 | 1079251.3898
81 | 2723090.7368 | 1079209.0483 | 2723136.9812 | 1079190.2908 | 2723163.4241 | 1079185.468
82 | 2723057.4483 | 1079234.9257 | 2723073.5503 | 1079220.3892
83 | 2723104.1785 | 1079251.3898 | 2723106.9663 | 1079262.1925 | 2723109.3053 | 1079276.4293
84 | 2723019.4552 | 1079269.2247 | 2723057.4483 | 1079234.9257
85 | 2722944.013 | 1079168.9474 | 2723019.4552 | 1079269.2247
86 | 2722944.013 | 1079168.9474 | 2722951.8953 | 1079161.7781
87 | 2723181.8603 | 1079282.9549 | 2723182.5428 | 1079281.0105

## bus_geodata
| x | y | coords
0 | 2723069.0617 | 1078960.9699
1 | 2723044.0666 | 1078965.8773
2 | 2723071.1441 | 1078960.5611
3 | 2723090.2466 | 1078956.8105
4 | 2723112.8288 | 1078943.4511
5 | 2723090.8097 | 1078974.3321
6 | 2723088.2639 | 1078931.1074
7 | 2723113.0839 | 1078943.3002
8 | 2723091.1244 | 1078984.1259
9 | 2723088.0115 | 1078907.4127
10 | 2723070.2475 | 1078932.6652
11 | 2723075.4098 | 1078879.2071
12 | 2723035.1347 | 1078880.912
13 | 2723098.5656 | 1078880.4229
14 | 2723094.2748 | 1078888.0158
15 | 2723115.4379 | 1078858.7367
16 | 2723088.1543 | 1078905.7645
17 | 2723111.64 | 1078847.4963
18 | 2723071.4852 | 1078905.798
19 | 2723053.0543 | 1078852.0058
20 | 2723170.7304 | 1078777.6723
21 | 2723042.0026 | 1078935.1074
22 | 2723038.7222 | 1078905.8637
23 | 2723158.4137 | 1079001.6646
24 | 2723193.537 | 1078980.4873
25 | 2723093.5321 | 1079024.5595
26 | 2723230.9514 | 1078957.9285
27 | 2723092.8551 | 1079013.1913
28 | 2723254.2653 | 1079144.6721
29 | 2723283.5059 | 1079077.298
30 | 2723303.864 | 1079130.9033
31 | 2723199.9424 | 1079193.2538
32 | 2723310.2938 | 1079131.2508
33 | 2723092.4861 | 1079006.9932
34 | 2723063.5776 | 1079058.4572
35 | 2723060.2867 | 1079061.5776
36 | 2723052.6413 | 1079047.106
37 | 2723368.5849 | 1078917.3356
38 | 2723397.436 | 1078960.801
39 | 2723402.0739 | 1078952.789
40 | 2723347.9227 | 1079093.1477
41 | 2723414.7668 | 1079053.8418
42 | 2723424.1705 | 1078890.5598
43 | 2723429.9145 | 1079087.3951
44 | 2723426.8376 | 1079146.9246
45 | 2723429.9009 | 1079125.2668
46 | 2723468.1328 | 1079056.3772
47 | 2723551.6646 | 1079017.9583
48 | 2723453.7979 | 1078934.4784
49 | 2723429.0141 | 1078886.386
50 | 2722965.9788 | 1079148.9686
51 | 2723042.5835 | 1079035.5181
52 | 2723188.9815 | 1079247.0146
53 | 2723177.9784 | 1079182.8135
54 | 2723126.0395 | 1078935.6358
55 | 2723074.3488 | 1078990.8531
56 | 2723052.2844 | 1078999.7011
57 | 2723042.6565 | 1079003.562
58 | 2723035.3183 | 1079006.5046
59 | 2723038.4111 | 1079028.9901
60 | 2723223.1935 | 1078731.3495
61 | 2723243.5286 | 1078710.1832
62 | 2723213.1029 | 1078817.5006
63 | 2723254.1399 | 1078699.1737
64 | 2723071.5223 | 1078814.4067
65 | 2723031.5137 | 1078853.1306
66 | 2723082.4226 | 1078817.1732
67 | 2723127.7401 | 1078743.6732
68 | 2723187.1596 | 1078719.2583
69 | 2723135.8662 | 1078711.4754
70 | 2723151.5962 | 1078660.6006
71 | 2723139.7031 | 1078655.0452
72 | 2723138.4861 | 1078928.2725
73 | 2723160.3794 | 1078915.3206
74 | 2723177.8001 | 1078905.0147
75 | 2722965.5865 | 1079149.3255
76 | 2722965.5582 | 1079149.3512
77 | 2723090.7368 | 1079209.0483
78 | 2723073.5503 | 1079220.3892
79 | 2723104.1785 | 1079251.3898
80 | 2723163.4241 | 1079185.468
81 | 2723057.4483 | 1079234.9257
82 | 2723109.3053 | 1079276.4293
83 | 2723019.4552 | 1079269.2247
84 | 2722951.8953 | 1079161.7781
85 | 2723182.5428 | 1079281.0105
86 | 2723181.8603 | 1079282.9549
87 | 2722944.013 | 1079168.9474
88 | 2723053.9586 | 1078809.3632
89 | 2723093.5321 | 1079024.5595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1