## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5257-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5257-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5257-4_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5257-4_0_6_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_5257-4_0_6_node_99 | 0.4 | n |  | TRUE
5 | bus_LV_5257-4_0_6_node_102 | 0.4 | n |  | TRUE
6 | bus_LV_5257-4_0_6_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_5257-4_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5257-4_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5257-4_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5257-4_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5257-4_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5257-4_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5257-4_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5257-4_0_6_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_5257-4_0_6_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_5257-4_0_6_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_5257-4_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5257-4_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5257-4_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5257-4_0_6_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_5257-4_0_6_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_5257-4_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5257-4_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5257-4_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5257-4_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5257-4_0_6_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_5257-4_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5257-4_0_6_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5257-4_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5257-4_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5257-4_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5257-4_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5257-4_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5257-4_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5257-4_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5257-4_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5257-4_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5257-4_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5257-4_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5257-4_0_6_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_5257-4_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5257-4_0_6_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_5257-4_0_6_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_5257-4_0_6_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_5257-4_0_6_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_5257-4_0_6_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_5257-4_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5257-4_0_6_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_5257-4_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5257-4_0_6_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_5257-4_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5257-4_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5257-4_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5257-4_0_6_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5257-4_0_6_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_5257-4_0_6_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5257-4_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5257-4_0_6_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5257-4_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5257-4_0_6_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5257-4_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_5257-4_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5257-4_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_5257-4_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5257-4_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5257-4_0_6_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5257-4_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5257-4_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_5257-4_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5257-4_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_5257-4_0_6_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5257-4_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5257-4_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5257-4_0_6_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5257-4_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5257-4_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5257-4_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5257-4_0_6_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5257-4_0_6_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5257-4_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5257-4_0_6_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5257-4_0_6_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_5257-4_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_5257-4_0_6_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_5257-4_0_6_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_5257-4_0_6_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_5257-4_0_6_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_5257-4_0_6_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5257-4_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5257-4_0_6_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_5257-4_0_6_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5257-4_0_6_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_5257-4_0_6_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_5257-4_0_6_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_5257-4_0_6_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_5257-4_0_6_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_5257-4_0_6_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5257-4_0_6_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_5257-4_0_6_node_94 | 0.4 | n |  | TRUE
100 | bus_MV_76_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5257-4_0_6_load_0 | 0 | 0.010057 | 0.0025206 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5257-4_0_6_load_99 | 4 | 0.0017554 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5257-4_0_6_load_102 | 5 | 0.0082437 | 0.0020661 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5257-4_0_6_load_4 | 7 | 0.057759 | 0.014476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5257-4_0_6_load_6 | 9 | 0.0098162 | 0.0024602 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5257-4_0_6_load_11 | 12 | 0.0039555 | 0.00099133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5257-4_0_6_load_9 | 13 | 0.043312 | 0.010855 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5257-4_0_6_load_98 | 14 | 0.0038313 | 0.00096022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5257-4_0_6_load_93 | 15 | 0.0028973 | 0.00072613 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5257-4_0_6_load_97 | 16 | 0.0023031 | 0.00057722 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5257-4_0_6_load_12 | 18 | 0.05551 | 0.013912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5257-4_0_6_load_13 | 19 | 0.0032946 | 0.00082572 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5257-4_0_6_load_92 | 21 | 0.0023638 | 0.00059243 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5257-4_0_6_load_15 | 23 | 0.022707 | 0.0056908 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5257-4_0_6_load_16 | 24 | 0.010322 | 0.0025869 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5257-4_0_6_load_30 | 25 | 0.0022631 | 0.0005672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5257-4_0_6_load_59 | 26 | 0.0023307 | 0.00058412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5257-4_0_6_load_17 | 27 | 0.02487 | 0.006233 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5257-4_0_6_load_28 | 28 | 0.0093862 | 0.0023524 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5257-4_0_6_load_18 | 29 | 0.011658 | 0.0029218 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5257-4_0_6_load_27 | 30 | 0.0050221 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5257-4_0_6_load_32 | 33 | 0.016099 | 0.0040348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5257-4_0_6_load_20 | 34 | 0.064844 | 0.016251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5257-4_0_6_load_26 | 39 | 0.0027135 | 0.00068008 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5257-4_0_6_load_44 | 40 | 0.010277 | 0.0025757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5257-4_0_6_load_86 | 42 | 0.011943 | 0.0029931 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5257-4_0_6_load_85 | 43 | 0.0041013 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5257-4_0_6_load_101 | 44 | 0.0026931 | 0.00067496 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5257-4_0_6_load_100 | 46 | 0.0014056 | 0.00035228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5257-4_0_6_load_43 | 47 | 0.0035365 | 0.00088632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5257-4_0_6_load_87 | 48 | 0.008611 | 0.0021581 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5257-4_0_6_load_29 | 51 | 0.0013833 | 0.00034669 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5257-4_0_6_load_33 | 52 | 0.0037698 | 0.00094481 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5257-4_0_6_load_34 | 53 | 0.0032885 | 0.00082419 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5257-4_0_6_load_68 | 55 | 0.0021021 | 0.00052685 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5257-4_0_6_load_76 | 56 | 0.0019482 | 0.00048825 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5257-4_0_6_load_35 | 57 | 0.0020471 | 0.00051305 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5257-4_0_6_load_36 | 58 | 0.0061385 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5257-4_0_6_load_37 | 59 | 0.0015554 | 0.00038983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5257-4_0_6_load_38 | 60 | 0.0024503 | 0.00061409 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5257-4_0_6_load_41 | 61 | 0.0051473 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5257-4_0_6_load_40 | 62 | 0.0031863 | 0.00079855 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5257-4_0_6_load_42 | 63 | 0.01254 | 0.0031427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5257-4_0_6_load_45 | 64 | 0.0033178 | 0.00083152 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5257-4_0_6_load_46 | 65 | 0.0025109 | 0.00062929 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5257-4_0_6_load_47 | 66 | 0.0036106 | 0.00090489 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5257-4_0_6_load_49 | 68 | 0.0040761 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5257-4_0_6_load_50 | 69 | 0.0023063 | 0.00057802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5257-4_0_6_load_51 | 70 | 0.0024548 | 0.00061522 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5257-4_0_6_load_53 | 71 | 0.0025187 | 0.00063126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5257-4_0_6_load_67 | 72 | 0.0036446 | 0.00091341 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5257-4_0_6_load_75 | 74 | 0.0024514 | 0.00061437 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5257-4_0_6_load_54 | 75 | 0.0015594 | 0.00039083 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5257-4_0_6_load_69 | 76 | 0.0056069 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5257-4_0_6_load_74 | 77 | 0.0026303 | 0.00065922 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5257-4_0_6_load_55 | 78 | 0.0014556 | 0.00036481 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5257-4_0_6_load_57 | 79 | 0.0037544 | 0.00094095 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5257-4_0_6_load_56 | 80 | 0.0029671 | 0.00074363 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5257-4_0_6_load_60 | 82 | 0.0017613 | 0.00044143 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5257-4_0_6_load_77 | 83 | 0.0015644 | 0.00039209 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5257-4_0_6_load_78 | 84 | 0.0018825 | 0.00047179 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5257-4_0_6_load_66 | 85 | 0.002868 | 0.00071879 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5257-4_0_6_load_63 | 86 | 0.0053599 | 0.0013433 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5257-4_0_6_load_64 | 87 | 0.0053114 | 0.0013312 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5257-4_0_6_load_73 | 88 | 0.0022966 | 0.00057559 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5257-4_0_6_load_79 | 89 | 0.0016844 | 0.00042215 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5257-4_0_6_load_80 | 90 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5257-4_0_6_load_81 | 91 | 0.0014303 | 0.00035846 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5257-4_0_6_load_82 | 92 | 0.0018725 | 0.0004693 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5257-4_0_6_load_83 | 93 | 0.0095371 | 0.0023902 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5257-4_0_6_load_84 | 94 | 0.002399 | 0.00060126 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5257-4_0_6_load_88 | 95 | 0.0022514 | 0.00056426 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5257-4_0_6_load_89 | 96 | 0.0073336 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5257-4_0_6_load_90 | 97 | 0.0037383 | 0.00093691 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5257-4_0_6_load_91 | 98 | 0.0021336 | 0.00053473 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5257-4_0_6_load_94 | 99 | 0.003649 | 0.00091452 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5257-4_0_6_line_0 |  | 0 | 1 | 0.0088286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5257-4_0_6_line_1 |  | 1 | 2 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5257-4_0_6_line_2 |  | 2 | 5 | 0.002736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5257-4_0_6_line_3 |  | 3 | 4 | 0.026582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5257-4_0_6_line_4 |  | 3 | 5 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5257-4_0_6_line_5 |  | 3 | 6 | 0.062564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5257-4_0_6_line_6 |  | 6 | 73 | 0.029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5257-4_0_6_line_7 |  | 6 | 74 | 0.020898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5257-4_0_6_line_8 |  | 6 | 67 | 0.024636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5257-4_0_6_line_9 |  | 7 | 8 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5257-4_0_6_line_10 |  | 7 | 9 | 0.076629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5257-4_0_6_line_11 |  | 8 | 10 | 0.037413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5257-4_0_6_line_12 |  | 8 | 11 | 0.026376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5257-4_0_6_line_13 |  | 10 | 12 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5257-4_0_6_line_14 |  | 10 | 13 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5257-4_0_6_line_15 |  | 11 | 14 | 0.028443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5257-4_0_6_line_16 |  | 12 | 15 | 0.00026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5257-4_0_6_line_17 |  | 14 | 16 | 0.029461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5257-4_0_6_line_18 |  | 15 | 21 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5257-4_0_6_line_19 |  | 16 | 50 | 0.035249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5257-4_0_6_line_20 |  | 17 | 18 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5257-4_0_6_line_21 |  | 17 | 19 | 0.032581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5257-4_0_6_line_22 |  | 19 | 20 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5257-4_0_6_line_23 |  | 20 | 25 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5257-4_0_6_line_24 |  | 20 | 26 | 0.009421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5257-4_0_6_line_25 |  | 21 | 94 | 0.016113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5257-4_0_6_line_26 |  | 22 | 23 | 0.002796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5257-4_0_6_line_27 |  | 22 | 24 | 0.0293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5257-4_0_6_line_28 |  | 23 | 27 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5257-4_0_6_line_29 |  | 24 | 28 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5257-4_0_6_line_30 |  | 25 | 51 | 0.0025545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5257-4_0_6_line_31 |  | 26 | 81 | 0.0095213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5257-4_0_6_line_32 |  | 27 | 29 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5257-4_0_6_line_33 |  | 28 | 30 | 0.001563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5257-4_0_6_line_34 |  | 29 | 31 | 0.065311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5257-4_0_6_line_35 |  | 30 | 51 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5257-4_0_6_line_36 |  | 31 | 32 | 0.082407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5257-4_0_6_line_37 |  | 32 | 33 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5257-4_0_6_line_38 |  | 34 | 35 | 0.065814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5257-4_0_6_line_39 |  | 34 | 36 | 0.051843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5257-4_0_6_line_40 |  | 35 | 37 | 0.077303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5257-4_0_6_line_41 |  | 36 | 38 | 0.033059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5257-4_0_6_line_42 |  | 36 | 39 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5257-4_0_6_line_43 |  | 37 | 40 | 0.040776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5257-4_0_6_line_44 |  | 38 | 44 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5257-4_0_6_line_45 |  | 39 | 45 | 0.07782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5257-4_0_6_line_46 |  | 40 | 46 | 0.098147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5257-4_0_6_line_47 |  | 40 | 47 | 0.018969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5257-4_0_6_line_48 |  | 41 | 42 | 0.02126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5257-4_0_6_line_49 |  | 41 | 43 | 0.039263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5257-4_0_6_line_50 |  | 42 | 48 | 0.031367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5257-4_0_6_line_51 |  | 45 | 49 | 0.02322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5257-4_0_6_line_52 |  | 45 | 50 | 0.007296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5257-4_0_6_line_53 |  | 47 | 63 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5257-4_0_6_line_54 |  | 48 | 95 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5257-4_0_6_line_55 |  | 49 | 61 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5257-4_0_6_line_56 |  | 49 | 60 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5257-4_0_6_line_57 |  | 50 | 99 | 0.0074112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5257-4_0_6_line_58 |  | 52 | 53 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5257-4_0_6_line_59 |  | 53 | 54 | 0.009492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5257-4_0_6_line_60 |  | 54 | 55 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5257-4_0_6_line_61 |  | 54 | 56 | 0.037549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5257-4_0_6_line_62 |  | 55 | 72 | 0.004036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5257-4_0_6_line_63 |  | 56 | 85 | 0.0066471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5257-4_0_6_line_64 |  | 57 | 58 | 0.038201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5257-4_0_6_line_65 |  | 57 | 59 | 0.0080085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5257-4_0_6_line_66 |  | 58 | 60 | 0.0053205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5257-4_0_6_line_67 |  | 61 | 62 | 0.026725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5257-4_0_6_line_68 |  | 64 | 65 | 0.0024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5257-4_0_6_line_69 |  | 64 | 66 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5257-4_0_6_line_70 |  | 65 | 67 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5257-4_0_6_line_71 |  | 66 | 68 | 0.010816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5257-4_0_6_line_72 |  | 67 | 69 | 0.044645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5257-4_0_6_line_73 |  | 67 | 70 | 0.025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5257-4_0_6_line_74 |  | 69 | 71 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5257-4_0_6_line_75 |  | 70 | 72 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5257-4_0_6_line_76 |  | 71 | 75 | 0.001249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5257-4_0_6_line_77 |  | 73 | 76 | 0.039343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5257-4_0_6_line_78 |  | 74 | 77 | 0.018456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5257-4_0_6_line_79 |  | 75 | 78 | 0.0015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5257-4_0_6_line_80 |  | 77 | 88 | 0.00056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5257-4_0_6_line_81 |  | 78 | 79 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5257-4_0_6_line_82 |  | 79 | 80 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5257-4_0_6_line_83 |  | 80 | 81 | 0.0060712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5257-4_0_6_line_84 |  | 81 | 82 | 0.037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5257-4_0_6_line_85 |  | 82 | 83 | 0.0040997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5257-4_0_6_line_86 |  | 83 | 84 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5257-4_0_6_line_87 |  | 84 | 89 | 0.0036681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5257-4_0_6_line_88 |  | 85 | 87 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5257-4_0_6_line_89 |  | 86 | 87 | 0.041279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5257-4_0_6_line_90 |  | 89 | 90 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5257-4_0_6_line_91 |  | 90 | 91 | 0.0015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5257-4_0_6_line_92 |  | 91 | 92 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5257-4_0_6_line_93 |  | 92 | 93 | 0.018771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5257-4_0_6_line_94 |  | 93 | 94 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5257-4_0_6_line_95 |  | 95 | 96 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5257-4_0_6_line_96 |  | 96 | 97 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5257-4_0_6_line_97 |  | 97 | 98 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5257-4_0_6_line_98 |  | 98 | 99 | 0.016356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5257-4_0_6_trafo_79 | 0.63 MVA 20/0.4 kV | 100 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2722897.0153 | 1078592.592 | 2722897.6575 | 1078595.0401 | 2722903.7147 | 1078593.3164
1 | 2722891.3936 | 1078571.1965 | 2722897.0153 | 1078592.592
2 | 2722888.7449 | 1078571.9103 | 2722891.3936 | 1078571.1965
3 | 2722869.9181 | 1078576.4675 | 2722862.6006 | 1078550.9126
4 | 2722869.9181 | 1078576.4675 | 2722888.7449 | 1078571.9103
5 | 2722839.9758 | 1078595.8449 | 2722851.382 | 1078604.759 | 2722845.0359 | 1078583.4378 | 2722849.7539 | 1078582.2209 | 2722852.4334 | 1078581.5188 | 2722857.7484 | 1078579.9804 | 2722863.8136 | 1078578.2346 | 2722869.9181 | 1078576.4675
6 | 2722839.9758 | 1078595.8449 | 2722851.382 | 1078604.759 | 2722855.5338 | 1078612.3482 | 2722857.175 | 1078618.8193
7 | 2722839.9758 | 1078595.8449 | 2722826.3671 | 1078611.704
8 | 2722839.9758 | 1078595.8449 | 2722829.9858 | 1078587.2152 | 2722821.4915 | 1078579.5607
9 | 2722907.3654 | 1078327.9637 | 2722894.4691 | 1078312.2719
10 | 2722849.5764 | 1078288.8706 | 2722847.9736 | 1078285.1134 | 2722847.7169 | 1078279.3485 | 2722850.4167 | 1078274.9441 | 2722857.7251 | 1078273.2234 | 2722867.1204 | 1078278.9947 | 2722894.4691 | 1078312.2719
11 | 2722891.7746 | 1078361.9853 | 2722907.3654 | 1078327.9637
12 | 2722914.0348 | 1078302.4462 | 2722907.3654 | 1078327.9637
13 | 2722891.7746 | 1078361.9853 | 2722906.4427 | 1078368.907
14 | 2722891.7746 | 1078361.9853 | 2722881.2367 | 1078378.1624
15 | 2722914.0348 | 1078302.4462 | 2722918.0527 | 1078303.5836 | 2722916.452 | 1078310.5119 | 2722930.5244 | 1078320.3247
16 | 2722906.6849 | 1078369.0213 | 2722906.4427 | 1078368.907
17 | 2722947.7081 | 1078343.3055 | 2722938.7517 | 1078326.0617 | 2722930.5244 | 1078320.3247
18 | 2722906.6849 | 1078369.0213 | 2722918.7778 | 1078374.7278
19 | 2722961.2076 | 1078375.8396 | 2722950.3312 | 1078348.3559 | 2722947.7081 | 1078343.3055
20 | 2722851.2359 | 1078412.7609 | 2722843.2807 | 1078417.2816 | 2722838.2279 | 1078419.6816 | 2722833.0088 | 1078421.2447
21 | 2722851.2359 | 1078412.7609 | 2722842.8919 | 1078437.3328 | 2722839.6979 | 1078443.1444
22 | 2722832.502 | 1078456.2373 | 2722839.6979 | 1078443.1444
23 | 2722832.502 | 1078456.2373 | 2722818.2673 | 1078457.3291 | 2722814.8238 | 1078456.1353
24 | 2722832.502 | 1078456.2373 | 2722836.2778 | 1078464.8685
25 | 2722911.379 | 1078389.0395 | 2722912.701 | 1078386.2803 | 2722918.7778 | 1078374.7278 | 2722918.7778 | 1078374.7278
26 | 2722773.1699 | 1078414.3229 | 2722771.1523 | 1078412.3872
27 | 2722773.1699 | 1078414.3229 | 2722778.7088 | 1078420.9615 | 2722787.4499 | 1078431.4229 | 2722792.3708 | 1078436.432
28 | 2722756.0232 | 1078397.8718 | 2722771.1523 | 1078412.3872
29 | 2722801.0907 | 1078445.3085 | 2722792.3708 | 1078436.432
30 | 2722814.8238 | 1078456.1353 | 2722812.4102 | 1078455.2985
31 | 2722840.0939 | 1078473.5917 | 2722836.2778 | 1078464.8685
32 | 2722756.0232 | 1078397.8718 | 2722746.7609 | 1078388.9853
33 | 2722801.0907 | 1078445.3085 | 2722802.1861 | 1078446.4235
34 | 2722688.2688 | 1078372.895 | 2722691.8438 | 1078371.3324 | 2722696.2463 | 1078369.9645 | 2722701.7857 | 1078369.2532 | 2722707.7265 | 1078369.0615 | 2722713.2494 | 1078369.1727 | 2722718.8544 | 1078370.2196 | 2722724.4426 | 1078372.1001 | 2722728.9776 | 1078374.571 | 2722734.0281 | 1078377.686 | 2722738.4374 | 1078380.9994 | 2722746.7609 | 1078388.9853
35 | 2722812.4102 | 1078455.2985 | 2722812.4102 | 1078455.2985 | 2722806.829 | 1078451.1498 | 2722802.1861 | 1078446.4235
36 | 2722688.2688 | 1078372.895 | 2722677.0282 | 1078379.6515 | 2722666.6813 | 1078390.6513 | 2722671.4209 | 1078394.9275 | 2722706.934 | 1078426.9321
37 | 2722706.934 | 1078426.9321 | 2722719.0894 | 1078432.9169
38 | 2722981.7182 | 1078518.8907 | 2722984.5826 | 1078514.0339 | 2723015.1502 | 1078462.201
39 | 2723041.4855 | 1078417.545 | 2723015.1502 | 1078462.201
40 | 2722981.7182 | 1078518.8907 | 2723016.4004 | 1078548.4452 | 2723040.0146 | 1078569.6483
41 | 2723058.2864 | 1078389.0522 | 2723041.4855 | 1078417.545
42 | 2723041.4855 | 1078417.545 | 2723030.0208 | 1078410.3747
43 | 2723040.0146 | 1078569.6483 | 2723021.0096 | 1078605.7244
44 | 2723058.2864 | 1078389.0522 | 2723074.7686 | 1078397.9591
45 | 2722964.0398 | 1078369.1141 | 2722975.6967 | 1078376.3989 | 2723030.0208 | 1078410.3747
46 | 2723021.0096 | 1078605.7244 | 2723114.7889 | 1078634.6782
47 | 2723016.6346 | 1078624.1816 | 2723021.0096 | 1078605.7244 | 2723021.0096 | 1078605.7244
48 | 2722944.3683 | 1078516.3912 | 2722942.2521 | 1078495.2367
49 | 2722944.3683 | 1078516.3912 | 2722906.4347 | 1078526.5219
50 | 2722939.13 | 1078464.0259 | 2722942.2521 | 1078495.2367
51 | 2722973.4438 | 1078347.8772 | 2722964.0398 | 1078369.1141
52 | 2722961.2076 | 1078375.8396 | 2722964.0398 | 1078369.1141
53 | 2723010.5951 | 1078649.6611 | 2723016.6346 | 1078624.1816
54 | 2722939.13 | 1078464.0259 | 2722937.9528 | 1078452.2584
55 | 2722973.4438 | 1078347.8772 | 2722977.7698 | 1078337.9878
56 | 2722973.4438 | 1078347.8772 | 2722984.23 | 1078352.0757
57 | 2722961.2076 | 1078375.8396 | 2722958.2368 | 1078382.6294
58 | 2722771.909 | 1078499.3959 | 2722771.1789 | 1078511.5869 | 2722768.9078 | 1078521.5471
59 | 2722766.7976 | 1078530.8015 | 2722768.9078 | 1078521.5471
60 | 2722766.7976 | 1078530.8015 | 2722788.8957 | 1078550.5018
61 | 2722766.7976 | 1078530.8015 | 2722757.2436 | 1078550.2789 | 2722745.9592 | 1078561.4157
62 | 2722791.9083 | 1078553.1875 | 2722788.8957 | 1078550.5018
63 | 2722745.9592 | 1078561.4157 | 2722741.2282 | 1078566.0848
64 | 2723020.143 | 1078376.2376 | 2722991.671 | 1078354.9722 | 2722989.1881 | 1078354.0057
65 | 2723020.143 | 1078376.2376 | 2723026.5594 | 1078381.03
66 | 2722989.1881 | 1078354.0057 | 2722984.23 | 1078352.0757
67 | 2722988.4803 | 1078313.5033 | 2722977.7698 | 1078337.9878
68 | 2722805.6095 | 1078592.6215 | 2722807.1769 | 1078590.7448
69 | 2722805.6095 | 1078592.6215 | 2722793.6872 | 1078606.8963
70 | 2722821.4915 | 1078579.5607 | 2722813.1023 | 1078583.6502 | 2722807.1769 | 1078590.7448
71 | 2722786.7536 | 1078615.198 | 2722793.6872 | 1078606.8963
72 | 2722821.4915 | 1078579.5607 | 2722839.4651 | 1078538.6931 | 2722839.4651 | 1078538.6931
73 | 2722821.4915 | 1078579.5607 | 2722802.6485 | 1078562.7623
74 | 2722844.4777 | 1078514.9142 | 2722839.4651 | 1078538.6931
75 | 2722791.9083 | 1078553.1875 | 2722802.6485 | 1078562.7623
76 | 2722844.4777 | 1078514.9142 | 2722844.7353 | 1078513.692
77 | 2722857.175 | 1078618.8193 | 2722861.2665 | 1078642.1187 | 2722856.1967 | 1078656.9642
78 | 2722826.3671 | 1078611.704 | 2722814.3484 | 1078625.7101
79 | 2722845.0546 | 1078512.1771 | 2722844.7353 | 1078513.692
80 | 2722813.9781 | 1078626.1417 | 2722814.3484 | 1078625.7101
81 | 2722845.0546 | 1078512.1771 | 2722847.9632 | 1078498.3794 | 2722846.8136 | 1078494.7585
82 | 2722841.9309 | 1078479.3783 | 2722846.8136 | 1078494.7585
83 | 2722840.0939 | 1078473.5917 | 2722841.9309 | 1078479.3783
84 | 2722840.0939 | 1078473.5917 | 2722862.1423 | 1078473.8362 | 2722869.65 | 1078460.1032
85 | 2722871.6165 | 1078456.506 | 2722869.65 | 1078460.1032
86 | 2722871.6165 | 1078456.506 | 2722874.6483 | 1078450.9604 | 2722877.6887 | 1078445.9976
87 | 2722879.6049 | 1078442.8698 | 2722877.6887 | 1078445.9976
88 | 2722728.8806 | 1078578.271 | 2722741.2282 | 1078566.0848
89 | 2722709.8966 | 1078614.4895 | 2722711.0774 | 1078610.8936 | 2722724.2858 | 1078582.8057 | 2722728.8806 | 1078578.271
90 | 2722879.6049 | 1078442.8698 | 2722886.0656 | 1078432.3242
91 | 2722886.8603 | 1078431.0271 | 2722886.0656 | 1078432.3242
92 | 2722886.8603 | 1078431.0271 | 2722895.4342 | 1078417.0321
93 | 2722895.4342 | 1078417.0321 | 2722905.2404 | 1078401.0257
94 | 2722905.2404 | 1078401.0257 | 2722907.0548 | 1078398.064 | 2722911.379 | 1078389.0395
95 | 2722937.9528 | 1078452.2584 | 2722937.7467 | 1078450.1984 | 2722938.7264 | 1078439.9617
96 | 2722938.7264 | 1078439.9617 | 2722940.2872 | 1078423.6526 | 2722941.7884 | 1078420.2217
97 | 2722941.7884 | 1078420.2217 | 2722951.6806 | 1078397.6133
98 | 2722951.6806 | 1078397.6133 | 2722958.2368 | 1078382.6294

## bus_geodata
| x | y | coords
0 | 2722903.7147 | 1078593.3164
1 | 2722897.0153 | 1078592.592
2 | 2722891.3936 | 1078571.1965
3 | 2722869.9181 | 1078576.4675
4 | 2722862.6006 | 1078550.9126
5 | 2722888.7449 | 1078571.9103
6 | 2722839.9758 | 1078595.8449
7 | 2722894.4691 | 1078312.2719
8 | 2722907.3654 | 1078327.9637
9 | 2722849.5764 | 1078288.8706
10 | 2722891.7746 | 1078361.9853
11 | 2722914.0348 | 1078302.4462
12 | 2722906.4427 | 1078368.907
13 | 2722881.2367 | 1078378.1624
14 | 2722930.5244 | 1078320.3247
15 | 2722906.6849 | 1078369.0213
16 | 2722947.7081 | 1078343.3055
17 | 2722851.2359 | 1078412.7609
18 | 2722833.0088 | 1078421.2447
19 | 2722839.6979 | 1078443.1444
20 | 2722832.502 | 1078456.2373
21 | 2722918.7778 | 1078374.7278
22 | 2722773.1699 | 1078414.3229
23 | 2722771.1523 | 1078412.3872
24 | 2722792.3708 | 1078436.432
25 | 2722814.8238 | 1078456.1353
26 | 2722836.2778 | 1078464.8685
27 | 2722756.0232 | 1078397.8718
28 | 2722801.0907 | 1078445.3085
29 | 2722746.7609 | 1078388.9853
30 | 2722802.1861 | 1078446.4235
31 | 2722688.2688 | 1078372.895
32 | 2722706.934 | 1078426.9321
33 | 2722719.0894 | 1078432.9169
34 | 2723015.1502 | 1078462.201
35 | 2722981.7182 | 1078518.8907
36 | 2723041.4855 | 1078417.545
37 | 2723040.0146 | 1078569.6483
38 | 2723058.2864 | 1078389.0522
39 | 2723030.0208 | 1078410.3747
40 | 2723021.0096 | 1078605.7244
41 | 2722944.3683 | 1078516.3912
42 | 2722942.2521 | 1078495.2367
43 | 2722906.4347 | 1078526.5219
44 | 2723074.7686 | 1078397.9591
45 | 2722964.0398 | 1078369.1141
46 | 2723114.7889 | 1078634.6782
47 | 2723016.6346 | 1078624.1816
48 | 2722939.13 | 1078464.0259
49 | 2722973.4438 | 1078347.8772
50 | 2722961.2076 | 1078375.8396
51 | 2722812.4102 | 1078455.2985
52 | 2722771.909 | 1078499.3959
53 | 2722768.9078 | 1078521.5471
54 | 2722766.7976 | 1078530.8015
55 | 2722788.8957 | 1078550.5018
56 | 2722745.9592 | 1078561.4157
57 | 2723020.143 | 1078376.2376
58 | 2722989.1881 | 1078354.0057
59 | 2723026.5594 | 1078381.03
60 | 2722984.23 | 1078352.0757
61 | 2722977.7698 | 1078337.9878
62 | 2722988.4803 | 1078313.5033
63 | 2723010.5951 | 1078649.6611
64 | 2722805.6095 | 1078592.6215
65 | 2722807.1769 | 1078590.7448
66 | 2722793.6872 | 1078606.8963
67 | 2722821.4915 | 1078579.5607
68 | 2722786.7536 | 1078615.198
69 | 2722839.4651 | 1078538.6931
70 | 2722802.6485 | 1078562.7623
71 | 2722844.4777 | 1078514.9142
72 | 2722791.9083 | 1078553.1875
73 | 2722857.175 | 1078618.8193
74 | 2722826.3671 | 1078611.704
75 | 2722844.7353 | 1078513.692
76 | 2722856.1967 | 1078656.9642
77 | 2722814.3484 | 1078625.7101
78 | 2722845.0546 | 1078512.1771
79 | 2722846.8136 | 1078494.7585
80 | 2722841.9309 | 1078479.3783
81 | 2722840.0939 | 1078473.5917
82 | 2722869.65 | 1078460.1032
83 | 2722871.6165 | 1078456.506
84 | 2722877.6887 | 1078445.9976
85 | 2722741.2282 | 1078566.0848
86 | 2722709.8966 | 1078614.4895
87 | 2722728.8806 | 1078578.271
88 | 2722813.9781 | 1078626.1417
89 | 2722879.6049 | 1078442.8698
90 | 2722886.0656 | 1078432.3242
91 | 2722886.8603 | 1078431.0271
92 | 2722895.4342 | 1078417.0321
93 | 2722905.2404 | 1078401.0257
94 | 2722911.379 | 1078389.0395
95 | 2722937.9528 | 1078452.2584
96 | 2722938.7264 | 1078439.9617
97 | 2722941.7884 | 1078420.2217
98 | 2722951.6806 | 1078397.6133
99 | 2722958.2368 | 1078382.6294
100 | 2722840.0939 | 1078473.5917

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1