## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5260-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5260-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5260-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5260-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5260-1_0_2_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_5260-1_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_5260-1_0_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_5260-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5260-1_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5260-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5260-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5260-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5260-1_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5260-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5260-1_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5260-1_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5260-1_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5260-1_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5260-1_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5260-1_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5260-1_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5260-1_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5260-1_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5260-1_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5260-1_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5260-1_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5260-1_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5260-1_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5260-1_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5260-1_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5260-1_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5260-1_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5260-1_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5260-1_0_2_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5260-1_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_5260-1_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5260-1_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5260-1_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5260-1_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5260-1_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5260-1_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5260-1_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5260-1_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5260-1_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5260-1_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5260-1_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_5260-1_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_5260-1_0_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_5260-1_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5260-1_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5260-1_0_2_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5260-1_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5260-1_0_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_5260-1_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5260-1_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5260-1_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5260-1_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5260-1_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_5260-1_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_MV_257_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5260-1_0_2_load_0 | 0 | 0.0072874 | 0.0018264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5260-1_0_2_load_2 | 2 | 0.00061256 | 0.00015352 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5260-1_0_2_load_45 | 6 | 0.0038081 | 0.0009544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5260-1_0_2_load_4 | 7 | 0.0053528 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5260-1_0_2_load_8 | 11 | 0.0028874 | 0.00072365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5260-1_0_2_load_19 | 12 | 0.0066751 | 0.0016729 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5260-1_0_2_load_9 | 16 | 0.0025828 | 0.00064732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5260-1_0_2_load_10 | 17 | 0.001717 | 0.00043033 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5260-1_0_2_load_12 | 18 | 0.0013152 | 0.00032963 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5260-1_0_2_load_15 | 19 | 0.0012853 | 0.00032213 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5260-1_0_2_load_16 | 20 | 0.081401 | 0.020401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5260-1_0_2_load_18 | 22 | 0.002791 | 0.0006995 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5260-1_0_2_load_20 | 23 | 0.001373 | 0.00034411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5260-1_0_2_load_22 | 25 | 0.0051729 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5260-1_0_2_load_23 | 26 | 0.0020117 | 0.00050418 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5260-1_0_2_load_21 | 27 | 0.0027153 | 0.00068052 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5260-1_0_2_load_25 | 28 | 0.01744 | 0.004371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5260-1_0_2_load_27 | 30 | 0.012753 | 0.0031961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5260-1_0_2_load_28 | 31 | 0.0020776 | 0.0005207 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5260-1_0_2_load_39 | 34 | 0.01022 | 0.0025613 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5260-1_0_2_load_35 | 35 | 0.0059246 | 0.0014848 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5260-1_0_2_load_33 | 36 | 0.0029737 | 0.00074527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5260-1_0_2_load_29 | 37 | 0.0052144 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5260-1_0_2_load_32 | 39 | 0.0058283 | 0.0014607 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5260-1_0_2_load_36 | 40 | 0.001973 | 0.00049448 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5260-1_0_2_load_38 | 41 | 0.0038166 | 0.00095652 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5260-1_0_2_load_40 | 42 | 0.0020657 | 0.00051771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5260-1_0_2_load_41 | 43 | 0.0034415 | 0.00086251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5260-1_0_2_load_43 | 45 | 0.01125 | 0.0028196 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5260-1_0_2_load_44 | 46 | 0.0017851 | 0.00044738 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5260-1_0_2_load_51 | 47 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5260-1_0_2_load_48 | 48 | 0.0034694 | 0.00086951 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5260-1_0_2_load_49 | 50 | 0.0028031 | 0.00070253 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5260-1_0_2_load_50 | 51 | 0.0042678 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5260-1_0_2_load_53 | 52 | 0.0017955 | 0.00045 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5260-1_0_2_load_54 | 53 | 0.0046575 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5260-1_0_2_load_55 | 54 | 0.0062839 | 0.0015749 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5260-1_0_2_load_57 | 56 | 0.0034675 | 0.00086903 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5260-1_0_2_load_58 | 57 | 0.0042774 | 0.001072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5260-1_0_2_load_59 | 58 | 0.009799 | 0.0024559 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5260-1_0_2_line_0 |  | 0 | 1 | 0.047108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5260-1_0_2_line_1 |  | 1 | 2 | 0.031789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5260-1_0_2_line_2 |  | 2 | 3 | 0.1282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5260-1_0_2_line_3 |  | 3 | 4 | 0.329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5260-1_0_2_line_4 |  | 4 | 5 | 0.048917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5260-1_0_2_line_5 |  | 4 | 6 | 0.0083572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5260-1_0_2_line_6 |  | 5 | 47 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5260-1_0_2_line_7 |  | 5 | 48 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5260-1_0_2_line_8 |  | 6 | 45 | 0.023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5260-1_0_2_line_9 |  | 7 | 8 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5260-1_0_2_line_10 |  | 8 | 9 | 0.1896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5260-1_0_2_line_11 |  | 8 | 10 | 0.062001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5260-1_0_2_line_12 |  | 9 | 11 | 0.10113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5260-1_0_2_line_13 |  | 10 | 12 | 0.092808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5260-1_0_2_line_14 |  | 12 | 15 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5260-1_0_2_line_15 |  | 13 | 14 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5260-1_0_2_line_16 |  | 13 | 15 | 0.051225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5260-1_0_2_line_17 |  | 13 | 16 | 0.085299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5260-1_0_2_line_18 |  | 14 | 20 | 0.043573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5260-1_0_2_line_19 |  | 14 | 21 | 0.36022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5260-1_0_2_line_20 |  | 15 | 22 | 0.10295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5260-1_0_2_line_21 |  | 16 | 17 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5260-1_0_2_line_22 |  | 17 | 18 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5260-1_0_2_line_23 |  | 18 | 19 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5260-1_0_2_line_24 |  | 19 | 23 | 0.01741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5260-1_0_2_line_25 |  | 20 | 24 | 0.063782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5260-1_0_2_line_26 |  | 21 | 25 | 0.031823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5260-1_0_2_line_27 |  | 22 | 26 | 0.00030459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5260-1_0_2_line_28 |  | 23 | 27 | 0.03035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5260-1_0_2_line_29 |  | 24 | 28 | 0.044569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5260-1_0_2_line_30 |  | 24 | 29 | 0.12965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5260-1_0_2_line_31 |  | 29 | 30 | 0.039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5260-1_0_2_line_32 |  | 29 | 31 | 0.039964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5260-1_0_2_line_33 |  | 30 | 32 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5260-1_0_2_line_34 |  | 31 | 33 | 0.0084181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5260-1_0_2_line_35 |  | 32 | 34 | 0.0095188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5260-1_0_2_line_36 |  | 33 | 35 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5260-1_0_2_line_37 |  | 33 | 36 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5260-1_0_2_line_38 |  | 34 | 42 | 0.0078428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5260-1_0_2_line_39 |  | 35 | 40 | 0.052867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5260-1_0_2_line_40 |  | 36 | 38 | 0.051248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5260-1_0_2_line_41 |  | 37 | 38 | 0.024174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5260-1_0_2_line_42 |  | 38 | 39 | 0.097715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5260-1_0_2_line_43 |  | 40 | 41 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5260-1_0_2_line_44 |  | 42 | 43 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5260-1_0_2_line_45 |  | 43 | 44 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5260-1_0_2_line_46 |  | 44 | 45 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5260-1_0_2_line_47 |  | 44 | 46 | 0.040503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5260-1_0_2_line_48 |  | 47 | 49 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5260-1_0_2_line_49 |  | 48 | 50 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5260-1_0_2_line_50 |  | 49 | 52 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5260-1_0_2_line_51 |  | 49 | 53 | 0.065423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5260-1_0_2_line_52 |  | 50 | 51 | 0.0023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5260-1_0_2_line_53 |  | 52 | 54 | 0.015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5260-1_0_2_line_54 |  | 54 | 55 | 0.0055283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5260-1_0_2_line_55 |  | 55 | 56 | 0.041027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5260-1_0_2_line_56 |  | 56 | 57 | 0.0066135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5260-1_0_2_line_57 |  | 57 | 58 | 0.003255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5260-1_0_2_trafo_44 | 0.63 MVA 20/0.4 kV | 59 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2719245.5614 | 1077400.7418 | 2719216.3965 | 1077375.1533 | 2719211.2544 | 1077368.6266
1 | 2719245.5614 | 1077400.7418 | 2719264.3469 | 1077401.0983 | 2719275.7286 | 1077394.8177
2 | 2719391.6309 | 1077352.1427 | 2719331.322 | 1077379.8377 | 2719313.3263 | 1077374.0704 | 2719275.7286 | 1077394.8177
3 | 2719391.6309 | 1077352.1427 | 2719411.0128 | 1077356.581 | 2719425.5191 | 1077387.7207 | 2719428.8304 | 1077394.8351 | 2719433.2531 | 1077423.3644 | 2719430.8599 | 1077430.0779 | 2719413.4826 | 1077438.7661 | 2719408.9708 | 1077460.7935 | 2719424.501 | 1077477.3429 | 2719430.669 | 1077479.076 | 2719445.2077 | 1077483.1637 | 2719448.8671 | 1077488.7727 | 2719455.005 | 1077495.2087 | 2719459.5319 | 1077515.6342 | 2719454.7114 | 1077537.5444 | 2719474.5633 | 1077579.4189 | 2719452.5325 | 1077612.222
4 | 2719415.8808 | 1077641.9922 | 2719421.282 | 1077634.8595 | 2719438.5787 | 1077619.9431 | 2719448.3336 | 1077611.5393 | 2719452.5325 | 1077612.222
5 | 2719452.5325 | 1077612.222 | 2719460.7819 | 1077613.5601
6 | 2719415.8808 | 1077641.9922 | 2719402.9672 | 1077659.04
7 | 2719415.8808 | 1077641.9922 | 2719430.4254 | 1077651.2036
8 | 2719460.7819 | 1077613.5601 | 2719466.9575 | 1077614.5618 | 2719482.959 | 1077621.6658
9 | 2719778.9013 | 1077356.9292 | 2719801.8591 | 1077347.112
10 | 2719778.9013 | 1077356.9292 | 2719767.1981 | 1077336.6848 | 2719773.9665 | 1077300.3583 | 2719778.6281 | 1077272.7633 | 2719779.81 | 1077240.708 | 2719774.4604 | 1077232.9195 | 2719767.3451 | 1077231.134 | 2719752.8527 | 1077268.9655 | 2719746.3294 | 1077278.978
11 | 2719743.8247 | 1077406.8429 | 2719751.66 | 1077390.9631 | 2719759.5683 | 1077374.9291 | 2719778.9013 | 1077356.9292
12 | 2719746.3294 | 1077278.978 | 2719721.539 | 1077294.6692 | 2719705.8235 | 1077296.273 | 2719688.178 | 1077298.3948 | 2719663.7536 | 1077309.7125 | 2719653.8499 | 1077315.1615
13 | 2719743.8247 | 1077406.8429 | 2719738.9437 | 1077416.7431 | 2719736.3736 | 1077435.6062 | 2719721.3242 | 1077496.5066
14 | 2719717.0304 | 1077513.8827 | 2719721.3242 | 1077496.5066
15 | 2719697.5876 | 1077561.2461 | 2719697.3442 | 1077573.2389
16 | 2719717.0304 | 1077513.8827 | 2719701.7553 | 1077548.8746 | 2719697.5876 | 1077561.2461
17 | 2719697.5876 | 1077561.2461 | 2719728.3649 | 1077582.5434 | 2719765.394 | 1077593.3783 | 2719771.6836 | 1077586.5414 | 2719771.6836 | 1077586.5414
18 | 2719697.3442 | 1077573.2389 | 2719663.7643 | 1077601.0061
19 | 2719697.3442 | 1077573.2389 | 2719742.0884 | 1077601.9935 | 2719803.8435 | 1077630.3935 | 2719828.4921 | 1077644.777 | 2719842.617 | 1077631.1448 | 2719893.2674 | 1077567.0277 | 2719905.9429 | 1077546.8958 | 2719912.4404 | 1077535.4264 | 2719900.0183 | 1077536.3606 | 2719893.1661 | 1077550.0579 | 2719871.2235 | 1077571.542 | 2719860.2192 | 1077575.0727 | 2719858.0504 | 1077575.0967
20 | 2719717.0304 | 1077513.8827 | 2719723.0749 | 1077503.694 | 2719727.2412 | 1077493.3795 | 2719732.8642 | 1077482.8935 | 2719739.2568 | 1077475.9585 | 2719745.6413 | 1077469.4347 | 2719753.1872 | 1077467.0923 | 2719761.391 | 1077463.3062 | 2719772.6686 | 1077462.4827 | 2719780.931 | 1077466.3922 | 2719786.0505 | 1077470.8515 | 2719788.1647 | 1077475.7637
21 | 2719771.6836 | 1077586.5414 | 2719775.0183 | 1077575.3893
22 | 2719775.0183 | 1077575.3893 | 2719778.8976 | 1077562.4162
23 | 2719778.8976 | 1077562.4162 | 2719781.819 | 1077552.6465
24 | 2719781.819 | 1077552.6465 | 2719786.8067 | 1077535.9665
25 | 2719626.1388 | 1077646.1273 | 2719624.3802 | 1077633.5727 | 2719663.7643 | 1077601.0061
26 | 2719858.0504 | 1077575.0967 | 2719845.6359 | 1077575.2529 | 2719851.0339 | 1077556.6112
27 | 2719788.2851 | 1077476.0435 | 2719788.1647 | 1077475.7637
28 | 2719800.4683 | 1077509.5403 | 2719791.4402 | 1077520.4708 | 2719786.8067 | 1077535.9665
29 | 2719626.1388 | 1077646.1273 | 2719643.5104 | 1077663.0469 | 2719646.1762 | 1077683.2248
30 | 2719626.1388 | 1077646.1273 | 2719616.5096 | 1077639.8005 | 2719606.9475 | 1077617.3858 | 2719600.6304 | 1077620.4863 | 2719601.1464 | 1077652.7974 | 2719576.8896 | 1077693.6733 | 2719572.5016 | 1077699.0689
31 | 2719572.5016 | 1077699.0689 | 2719564.667 | 1077694.7566 | 2719543.754 | 1077689.9876 | 2719535.0679 | 1077688.7155
32 | 2719572.5016 | 1077699.0689 | 2719559.4499 | 1077734.8831 | 2719558.6776 | 1077736.5596
33 | 2719520.2908 | 1077684.4793 | 2719532.2695 | 1077688.3057 | 2719535.0679 | 1077688.7155
34 | 2719555.1558 | 1077744.2056 | 2719558.6776 | 1077736.5596
35 | 2719520.2908 | 1077684.4793 | 2719514.5815 | 1077676.8629
36 | 2719555.1558 | 1077744.2056 | 2719540.9574 | 1077738.9139
37 | 2719555.1558 | 1077744.2056 | 2719550.8591 | 1077752.872 | 2719536.3039 | 1077766.4932
38 | 2719514.5815 | 1077676.8629 | 2719509.8774 | 1077670.5875 | 2719509.8774 | 1077670.5875
39 | 2719540.9574 | 1077738.9139 | 2719539.0004 | 1077738.1846 | 2719529.6967 | 1077742.6054 | 2719526.8171 | 1077748.3642 | 2719519.4619 | 1077755.2694 | 2719514.391 | 1077755.4702 | 2719499.7286 | 1077750.5904 | 2719497.494 | 1077747.9974
40 | 2719498.8855 | 1077801.5104 | 2719536.3039 | 1077766.4932
41 | 2719498.8855 | 1077801.5104 | 2719491.6045 | 1077808.9953 | 2719482.948 | 1077819.6556
42 | 2719498.8855 | 1077801.5104 | 2719477.148 | 1077793.6233 | 2719470.246 | 1077784.159 | 2719466.8914 | 1077774.5086 | 2719468.3209 | 1077766.2084 | 2719477.4241 | 1077753.7779 | 2719483.7971 | 1077751.3788 | 2719491.8425 | 1077754.0606 | 2719502.6006 | 1077762.2822
43 | 2719490.8687 | 1077740.3094 | 2719497.494 | 1077747.9974
44 | 2719509.8774 | 1077670.5875 | 2719504.5959 | 1077654.8147
45 | 2719496.2953 | 1077630.0255 | 2719504.5959 | 1077654.8147
46 | 2719496.2953 | 1077630.0255 | 2719489.5704 | 1077624.601 | 2719482.959 | 1077621.6658
47 | 2719496.2953 | 1077630.0255 | 2719526.733 | 1077613.9772 | 2719525.4444 | 1077608.0213
48 | 2719396.7257 | 1077667.2797 | 2719402.9672 | 1077659.04
49 | 2719430.4254 | 1077651.2036 | 2719441.0822 | 1077657.9527 | 2719452.2239 | 1077666.6313
50 | 2719396.7257 | 1077667.2797 | 2719384.3694 | 1077683.5957
51 | 2719396.7257 | 1077667.2797 | 2719371.433 | 1077646.0582 | 2719343.1994 | 1077630.1497
52 | 2719454.0417 | 1077668.0472 | 2719452.2239 | 1077666.6313
53 | 2719384.3694 | 1077683.5957 | 2719374.9965 | 1077695.9722
54 | 2719371.6589 | 1077700.3793 | 2719374.9965 | 1077695.9722
55 | 2719371.6589 | 1077700.3793 | 2719401.7146 | 1077728.3058
56 | 2719406.5595 | 1077732.8074 | 2719401.7146 | 1077728.3058
57 | 2719408.9441 | 1077735.0231 | 2719406.5595 | 1077732.8074

## bus_geodata
| x | y | coords
0 | 2719211.2544 | 1077368.6266
1 | 2719245.5614 | 1077400.7418
2 | 2719275.7286 | 1077394.8177
3 | 2719391.6309 | 1077352.1427
4 | 2719452.5325 | 1077612.222
5 | 2719415.8808 | 1077641.9922
6 | 2719460.7819 | 1077613.5601
7 | 2719801.8591 | 1077347.112
8 | 2719778.9013 | 1077356.9292
9 | 2719746.3294 | 1077278.978
10 | 2719743.8247 | 1077406.8429
11 | 2719653.8499 | 1077315.1615
12 | 2719721.3242 | 1077496.5066
13 | 2719697.5876 | 1077561.2461
14 | 2719697.3442 | 1077573.2389
15 | 2719717.0304 | 1077513.8827
16 | 2719771.6836 | 1077586.5414
17 | 2719775.0183 | 1077575.3893
18 | 2719778.8976 | 1077562.4162
19 | 2719781.819 | 1077552.6465
20 | 2719663.7643 | 1077601.0061
21 | 2719858.0504 | 1077575.0967
22 | 2719788.1647 | 1077475.7637
23 | 2719786.8067 | 1077535.9665
24 | 2719626.1388 | 1077646.1273
25 | 2719851.0339 | 1077556.6112
26 | 2719788.2851 | 1077476.0435
27 | 2719800.4683 | 1077509.5403
28 | 2719646.1762 | 1077683.2248
29 | 2719572.5016 | 1077699.0689
30 | 2719535.0679 | 1077688.7155
31 | 2719558.6776 | 1077736.5596
32 | 2719520.2908 | 1077684.4793
33 | 2719555.1558 | 1077744.2056
34 | 2719514.5815 | 1077676.8629
35 | 2719540.9574 | 1077738.9139
36 | 2719536.3039 | 1077766.4932
37 | 2719482.948 | 1077819.6556
38 | 2719498.8855 | 1077801.5104
39 | 2719502.6006 | 1077762.2822
40 | 2719497.494 | 1077747.9974
41 | 2719490.8687 | 1077740.3094
42 | 2719509.8774 | 1077670.5875
43 | 2719504.5959 | 1077654.8147
44 | 2719496.2953 | 1077630.0255
45 | 2719482.959 | 1077621.6658
46 | 2719525.4444 | 1077608.0213
47 | 2719402.9672 | 1077659.04
48 | 2719430.4254 | 1077651.2036
49 | 2719396.7257 | 1077667.2797
50 | 2719452.2239 | 1077666.6313
51 | 2719454.0417 | 1077668.0472
52 | 2719384.3694 | 1077683.5957
53 | 2719343.1994 | 1077630.1497
54 | 2719374.9965 | 1077695.9722
55 | 2719371.6589 | 1077700.3793
56 | 2719401.7146 | 1077728.3058
57 | 2719406.5595 | 1077732.8074
58 | 2719408.9441 | 1077735.0231
59 | 2719522.7854 | 1077595.7312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1