## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5263-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5263-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5263-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5263-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5263-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5263-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5263-11_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5263-11_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_5263-11_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5263-11_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5263-11_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_5263-11_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5263-11_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5263-11_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_5263-11_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5263-11_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5263-11_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5263-11_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5263-11_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5263-11_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5263-11_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5263-11_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5263-11_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5263-11_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5263-11_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5263-11_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5263-11_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5263-11_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5263-11_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5263-11_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5263-11_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5263-11_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5263-11_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5263-11_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5263-11_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5263-11_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5263-11_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5263-11_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_5263-11_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_5263-11_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5263-11_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5263-11_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_5263-11_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5263-11_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5263-11_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5263-11_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5263-11_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5263-11_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5263-11_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5263-11_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5263-11_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5263-11_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5263-11_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_5263-11_0_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5263-11_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5263-11_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5263-11_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5263-11_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5263-11_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5263-11_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5263-11_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5263-11_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5263-11_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5263-11_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5263-11_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5263-11_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5263-11_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5263-11_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5263-11_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5263-11_0_3_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_5263-11_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5263-11_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5263-11_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5263-11_0_3_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_5263-11_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5263-11_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5263-11_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_5263-11_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5263-11_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5263-11_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5263-11_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5263-11_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5263-11_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_MV_70_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5263-11_0_3_load_0 | 0 | 0.016944 | 0.0042465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5263-11_0_3_load_1 | 1 | 0.0041151 | 0.0010313 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5263-11_0_3_load_3 | 3 | 0.0027597 | 0.00069166 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5263-11_0_3_load_4 | 4 | 0.0091213 | 0.002286 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5263-11_0_3_load_5 | 5 | 0.016425 | 0.0041164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5263-11_0_3_load_6 | 6 | 0.0065389 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5263-11_0_3_load_22 | 7 | 0.00211 | 0.00052881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5263-11_0_3_load_8 | 9 | 0.0019731 | 0.00049451 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5263-11_0_3_load_21 | 10 | 0.0056907 | 0.0014262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5263-11_0_3_load_34 | 11 | 0.0040395 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5263-11_0_3_load_31 | 13 | 0.0043826 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5263-11_0_3_load_15 | 14 | 0.0018555 | 0.00046503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5263-11_0_3_load_20 | 15 | 0.0034873 | 0.00087399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5263-11_0_3_load_16 | 16 | 0.0027027 | 0.00067737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5263-11_0_3_load_32 | 17 | 0.0089705 | 0.0022482 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5263-11_0_3_load_13 | 18 | 0.002448 | 0.00061353 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5263-11_0_3_load_9 | 19 | 0.0023106 | 0.0005791 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5263-11_0_3_load_10 | 20 | 0.0037597 | 0.00094227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5263-11_0_3_load_11 | 21 | 0.0048074 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5263-11_0_3_load_12 | 22 | 0.0021473 | 0.00053817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5263-11_0_3_load_30 | 23 | 0.0024861 | 0.00062308 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5263-11_0_3_load_19 | 24 | 0.0031107 | 0.00077963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5263-11_0_3_load_14 | 25 | 0.0021246 | 0.00053247 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5263-11_0_3_load_17 | 26 | 0.0027108 | 0.0006794 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5263-11_0_3_load_35 | 27 | 0.013296 | 0.0033322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5263-11_0_3_load_23 | 29 | 0.005165 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5263-11_0_3_load_24 | 30 | 0.0040256 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5263-11_0_3_load_36 | 31 | 0.009272 | 0.0023238 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5263-11_0_3_load_37 | 32 | 0.0030774 | 0.00077126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5263-11_0_3_load_25 | 33 | 0.0031984 | 0.00080159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5263-11_0_3_load_26 | 34 | 0.0032058 | 0.00080344 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5263-11_0_3_load_27 | 35 | 0.0019642 | 0.00049228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5263-11_0_3_load_29 | 36 | 0.0021176 | 0.00053072 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5263-11_0_3_load_57 | 37 | 0.0022265 | 0.00055801 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5263-11_0_3_load_58 | 38 | 0.0023083 | 0.00057851 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5263-11_0_3_load_33 | 39 | 0.0071376 | 0.0017889 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5263-11_0_3_load_46 | 41 | 0.0052038 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5263-11_0_3_load_49 | 42 | 0.0067271 | 0.001686 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5263-11_0_3_load_48 | 43 | 0.002601 | 0.00065187 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5263-11_0_3_load_38 | 44 | 0.0074811 | 0.0018749 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5263-11_0_3_load_39 | 45 | 0.0090005 | 0.0022557 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5263-11_0_3_load_41 | 47 | 0.0080951 | 0.0020288 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5263-11_0_3_load_42 | 48 | 0.0048022 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5263-11_0_3_load_43 | 49 | 0.008029 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5263-11_0_3_load_44 | 50 | 0.0060906 | 0.0015264 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5263-11_0_3_load_47 | 51 | 0.0081357 | 0.002039 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5263-11_0_3_load_77 | 52 | 0.0046094 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5263-11_0_3_load_71 | 53 | 0.0047157 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5263-11_0_3_load_50 | 55 | 0.0021623 | 0.00054192 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5263-11_0_3_load_51 | 56 | 0.0023586 | 0.00059112 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5263-11_0_3_load_52 | 57 | 0.0022165 | 0.0005555 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5263-11_0_3_load_53 | 58 | 0.0026363 | 0.00066072 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5263-11_0_3_load_54 | 59 | 0.0023991 | 0.00060127 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5263-11_0_3_load_55 | 60 | 0.0020827 | 0.00052198 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5263-11_0_3_load_66 | 61 | 0.0020394 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5263-11_0_3_load_56 | 62 | 0.011516 | 0.0028863 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5263-11_0_3_load_65 | 63 | 0.0031087 | 0.0007791 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5263-11_0_3_load_63 | 64 | 0.0021344 | 0.00053493 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5263-11_0_3_load_59 | 66 | 0.0022799 | 0.0005714 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5263-11_0_3_load_61 | 67 | 0.0094746 | 0.0023746 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5263-11_0_3_load_60 | 68 | 0.0017959 | 0.0004501 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5263-11_0_3_load_81 | 69 | 0.0044108 | 0.0011054 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5263-11_0_3_load_64 | 70 | 0.01301 | 0.0032606 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5263-11_0_3_load_67 | 71 | 0.0049829 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5263-11_0_3_load_68 | 72 | 0.0079557 | 0.0019939 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5263-11_0_3_load_83 | 73 | 0.012287 | 0.0030793 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5263-11_0_3_load_69 | 75 | 0.0036707 | 0.00091997 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5263-11_0_3_load_73 | 76 | 0.0041879 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5263-11_0_3_load_82 | 78 | 0.010338 | 0.0025909 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5263-11_0_3_load_79 | 79 | 0.0091139 | 0.0022842 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5263-11_0_3_load_76 | 80 | 0.0057191 | 0.0014333 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5263-11_0_3_load_74 | 82 | 0.0041399 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5263-11_0_3_line_0 |  | 0 | 1 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5263-11_0_3_line_1 |  | 0 | 2 | 0.019494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5263-11_0_3_line_2 |  | 1 | 3 | 0.023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5263-11_0_3_line_3 |  | 2 | 4 | 0.031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5263-11_0_3_line_4 |  | 2 | 5 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5263-11_0_3_line_5 |  | 4 | 6 | 0.015844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5263-11_0_3_line_6 |  | 5 | 7 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5263-11_0_3_line_7 |  | 6 | 8 | 0.0403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5263-11_0_3_line_8 |  | 6 | 9 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5263-11_0_3_line_9 |  | 7 | 10 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5263-11_0_3_line_10 |  | 8 | 11 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5263-11_0_3_line_11 |  | 8 | 12 | 0.027877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5263-11_0_3_line_12 |  | 8 | 13 | 0.021541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5263-11_0_3_line_13 |  | 9 | 14 | 0.0031558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5263-11_0_3_line_14 |  | 10 | 29 | 0.0039848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5263-11_0_3_line_15 |  | 12 | 15 | 0.025072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5263-11_0_3_line_16 |  | 12 | 16 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5263-11_0_3_line_17 |  | 13 | 17 | 0.041189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5263-11_0_3_line_18 |  | 14 | 18 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5263-11_0_3_line_19 |  | 15 | 27 | 0.0037162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5263-11_0_3_line_20 |  | 16 | 26 | 0.0096577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5263-11_0_3_line_21 |  | 17 | 39 | 0.036043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5263-11_0_3_line_22 |  | 18 | 25 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5263-11_0_3_line_23 |  | 19 | 20 | 0.0084791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5263-11_0_3_line_24 |  | 19 | 21 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5263-11_0_3_line_25 |  | 21 | 22 | 0.0015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5263-11_0_3_line_26 |  | 22 | 23 | 0.020261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5263-11_0_3_line_27 |  | 23 | 24 | 0.00040564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5263-11_0_3_line_28 |  | 24 | 26 | 0.0090801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5263-11_0_3_line_29 |  | 27 | 28 | 0.0068686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5263-11_0_3_line_30 |  | 28 | 34 | 0.042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5263-11_0_3_line_31 |  | 29 | 30 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5263-11_0_3_line_32 |  | 30 | 31 | 0.00069374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5263-11_0_3_line_33 |  | 31 | 32 | 0.0068848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5263-11_0_3_line_34 |  | 32 | 42 | 0.010085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5263-11_0_3_line_35 |  | 33 | 34 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5263-11_0_3_line_36 |  | 33 | 35 | 0.00050953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5263-11_0_3_line_37 |  | 35 | 36 | 0.013531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5263-11_0_3_line_38 |  | 36 | 37 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5263-11_0_3_line_39 |  | 37 | 38 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5263-11_0_3_line_40 |  | 38 | 66 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5263-11_0_3_line_41 |  | 39 | 40 | 0.034882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5263-11_0_3_line_42 |  | 40 | 41 | 0.033941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5263-11_0_3_line_43 |  | 41 | 53 | 0.031473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5263-11_0_3_line_44 |  | 42 | 43 | 0.0092452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5263-11_0_3_line_45 |  | 43 | 51 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5263-11_0_3_line_46 |  | 44 | 45 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5263-11_0_3_line_47 |  | 44 | 46 | 0.028584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5263-11_0_3_line_48 |  | 45 | 47 | 0.0030863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5263-11_0_3_line_49 |  | 46 | 48 | 0.00816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5263-11_0_3_line_50 |  | 46 | 49 | 0.0078683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5263-11_0_3_line_51 |  | 48 | 50 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5263-11_0_3_line_52 |  | 49 | 51 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5263-11_0_3_line_53 |  | 50 | 52 | 0.040404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5263-11_0_3_line_54 |  | 53 | 54 | 0.0038023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5263-11_0_3_line_55 |  | 54 | 82 | 0.021507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5263-11_0_3_line_56 |  | 54 | 76 | 0.040391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5263-11_0_3_line_57 |  | 55 | 56 | 0.0093595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5263-11_0_3_line_58 |  | 55 | 57 | 0.0087715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5263-11_0_3_line_59 |  | 56 | 58 | 0.0068491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5263-11_0_3_line_60 |  | 57 | 59 | 0.007822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5263-11_0_3_line_61 |  | 58 | 60 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5263-11_0_3_line_62 |  | 59 | 61 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5263-11_0_3_line_63 |  | 60 | 62 | 0.0058173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5263-11_0_3_line_64 |  | 61 | 63 | 0.016381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5263-11_0_3_line_65 |  | 62 | 64 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5263-11_0_3_line_66 |  | 64 | 65 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5263-11_0_3_line_67 |  | 65 | 70 | 0.016878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5263-11_0_3_line_68 |  | 65 | 71 | 0.029962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5263-11_0_3_line_69 |  | 66 | 67 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5263-11_0_3_line_70 |  | 67 | 68 | 0.0048849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5263-11_0_3_line_71 |  | 68 | 69 | 0.044093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5263-11_0_3_line_72 |  | 71 | 72 | 0.034789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5263-11_0_3_line_73 |  | 72 | 75 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5263-11_0_3_line_74 |  | 72 | 76 | 0.050233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5263-11_0_3_line_75 |  | 73 | 74 | 0.037323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5263-11_0_3_line_76 |  | 74 | 77 | 0.003834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5263-11_0_3_line_77 |  | 74 | 78 | 0.042113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5263-11_0_3_line_78 |  | 74 | 75 | 0.020449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5263-11_0_3_line_79 |  | 77 | 79 | 0.0029055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5263-11_0_3_line_80 |  | 80 | 81 | 0.032376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5263-11_0_3_line_81 |  | 81 | 82 | 0.0054954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5263-11_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 83 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2719026.9839 | 1085391.521 | 2719035.062 | 1085419.3108
1 | 2719021.5424 | 1085372.8019 | 2719026.9839 | 1085391.521
2 | 2719040.6788 | 1085442.4638 | 2719040.3344 | 1085437.4482 | 2719035.062 | 1085419.3108
3 | 2719021.5424 | 1085372.8019 | 2718999.2917 | 1085381.0285 | 2718991.7114 | 1085383.5088
4 | 2719021.5424 | 1085372.8019 | 2719013.1035 | 1085354.3577
5 | 2718976.6533 | 1085388.4359 | 2718991.7114 | 1085383.5088
6 | 2719004.7997 | 1085336.2086 | 2719013.1035 | 1085354.3577
7 | 2718976.6533 | 1085388.4359 | 2718938.9355 | 1085402.9205
8 | 2718976.6533 | 1085388.4359 | 2718981.0115 | 1085398.5615 | 2718983.1275 | 1085406.706
9 | 2719004.7997 | 1085336.2086 | 2719003.6479 | 1085333.6913 | 2718997.8327 | 1085323.0132
10 | 2718938.9355 | 1085402.9205 | 2718941.984 | 1085414.1324 | 2718943.8696 | 1085420.9596
11 | 2718913.8797 | 1085415.2844 | 2718917.0755 | 1085413.8013 | 2718938.9355 | 1085402.9205
12 | 2718938.9355 | 1085402.9205 | 2718932.634 | 1085382.3214
13 | 2718983.1275 | 1085406.706 | 2718983.921 | 1085409.7604
14 | 2718995.9269 | 1085319.5138 | 2718997.8327 | 1085323.0132
15 | 2718913.8797 | 1085415.2844 | 2718911.091 | 1085417.387 | 2718910.3676 | 1085438.9542
16 | 2718913.8797 | 1085415.2844 | 2718908.1847 | 1085402.2025
17 | 2718920.585 | 1085342.9339 | 2718932.634 | 1085382.3214
18 | 2718983.921 | 1085409.7604 | 2718988.5032 | 1085427.398
19 | 2718910.3676 | 1085438.9542 | 2718910.243 | 1085442.6684
20 | 2718908.1847 | 1085402.2025 | 2718904.3298 | 1085393.3474
21 | 2718910.0413 | 1085308.4672 | 2718920.585 | 1085342.9339
22 | 2718992.4085 | 1085442.4299 | 2718988.5032 | 1085427.398
23 | 2718886.408 | 1085352.1792 | 2718883.0236 | 1085344.4048
24 | 2718891.8566 | 1085364.6952 | 2718886.408 | 1085352.1792
25 | 2718891.8566 | 1085364.6952 | 2718892.4566 | 1085366.0734
26 | 2718900.5436 | 1085384.6501 | 2718892.4566 | 1085366.0734
27 | 2718900.5436 | 1085384.6501 | 2718900.7055 | 1085385.022
28 | 2718900.7055 | 1085385.022 | 2718904.3298 | 1085393.3474
29 | 2718910.0127 | 1085449.5331 | 2718910.243 | 1085442.6684
30 | 2718910.0127 | 1085449.5331 | 2718905.6575 | 1085453.9512 | 2718900.0243 | 1085453.8634 | 2718895.8498 | 1085450.2237 | 2718889.2659 | 1085442.3786 | 2718883.3236 | 1085428.9477
31 | 2718986.9329 | 1085302.9987 | 2718995.9269 | 1085319.5138
32 | 2718986.6011 | 1085302.3894 | 2718986.9329 | 1085302.9987
33 | 2718983.3795 | 1085296.3067 | 2718984.0317 | 1085297.6715 | 2718986.6011 | 1085302.3894
34 | 2718983.3795 | 1085296.3067 | 2718979.0309 | 1085287.2073
35 | 2718883.3236 | 1085428.9477 | 2718875.866 | 1085412.0921
36 | 2718875.866 | 1085412.0921 | 2718875.6598 | 1085411.6262
37 | 2718870.1852 | 1085399.2524 | 2718875.6598 | 1085411.6262
38 | 2718864.456 | 1085386.3033 | 2718870.1852 | 1085399.2524
39 | 2718864.456 | 1085386.3033 | 2718856.6185 | 1085368.5891
40 | 2718848.7319 | 1085350.7637 | 2718856.6185 | 1085368.5891
41 | 2718899.8374 | 1085275.1113 | 2718910.0413 | 1085308.4672
42 | 2718899.8374 | 1085275.1113 | 2718881.1531 | 1085280.3503 | 2718874.8083 | 1085267.2723
43 | 2718874.8083 | 1085267.2723 | 2718870.7294 | 1085258.865 | 2718862.5933 | 1085238.2868
44 | 2718979.0309 | 1085287.2073 | 2718977.6487 | 1085284.3151 | 2718975.353 | 1085278.7287
45 | 2718970.6476 | 1085266.615 | 2718972.0842 | 1085270.7747 | 2718975.353 | 1085278.7287
46 | 2718941.9606 | 1085258.4163 | 2718929.0633 | 1085263.1814
47 | 2718962.3873 | 1085242.6987 | 2718958.8307 | 1085247.1546 | 2718958.6378 | 1085252.2545 | 2718941.9606 | 1085258.4163
48 | 2718929.0633 | 1085263.1814 | 2718926.1683 | 1085264.2511
49 | 2718962.3873 | 1085242.6987 | 2718958.5431 | 1085235.501
50 | 2718962.3873 | 1085242.6987 | 2718964.956 | 1085250.136
51 | 2718958.5431 | 1085235.501 | 2718953.1997 | 1085225.496 | 2718944.9628 | 1085216.3336
52 | 2718964.956 | 1085250.136 | 2718970.6476 | 1085266.615
53 | 2718944.9628 | 1085216.3336 | 2718906.3969 | 1085204.2866
54 | 2718861.1953 | 1085234.7508 | 2718862.5933 | 1085238.2868
55 | 2718861.1953 | 1085234.7508 | 2718857.2249 | 1085213.6135
56 | 2718861.1953 | 1085234.7508 | 2718839.1423 | 1085236.8108 | 2718845.3023 | 1085254.0543
57 | 2718820.1805 | 1085402.2185 | 2718817.3509 | 1085393.297
58 | 2718820.1805 | 1085402.2185 | 2718822.8323 | 1085410.5796
59 | 2718815.2803 | 1085386.7685 | 2718817.3509 | 1085393.297
60 | 2718825.1971 | 1085418.0355 | 2718822.8323 | 1085410.5796
61 | 2718815.2803 | 1085386.7685 | 2718811.8859 | 1085376.0661
62 | 2718828.2516 | 1085427.6663 | 2718825.1971 | 1085418.0355
63 | 2718810.1272 | 1085370.521 | 2718811.8859 | 1085376.0661
64 | 2718831.619 | 1085443.6975 | 2718828.2516 | 1085427.6663 | 2718828.2516 | 1085427.6663
65 | 2718810.1272 | 1085370.521 | 2718805.2114 | 1085355.0221
66 | 2718800.3284 | 1085339.6261 | 2718805.2114 | 1085355.0221
67 | 2718800.3284 | 1085339.6261 | 2718786.3422 | 1085349.0733
68 | 2718800.3284 | 1085339.6261 | 2718815.5407 | 1085313.8136
69 | 2718848.7319 | 1085350.7637 | 2718842.6812 | 1085337.0881
70 | 2718840.7048 | 1085332.6209 | 2718842.6812 | 1085337.0881
71 | 2718840.7048 | 1085332.6209 | 2718822.2503 | 1085292.5761
72 | 2718815.5407 | 1085313.8136 | 2718809.077 | 1085292.6525 | 2718803.1914 | 1085281.4405
73 | 2718803.1914 | 1085281.4405 | 2718793.0997 | 1085262.2158
74 | 2718845.3023 | 1085254.0543 | 2718803.1914 | 1085281.4405
75 | 2718783.5953 | 1085244.1101 | 2718773.2796 | 1085246.8998 | 2718768.3115 | 1085273.0697
76 | 2718783.5953 | 1085244.1101 | 2718785.8504 | 1085243.4981 | 2718787.0329 | 1085242.565
77 | 2718783.5953 | 1085244.1101 | 2718747.3037 | 1085222.7464
78 | 2718783.5953 | 1085244.1101 | 2718793.0997 | 1085262.2158
79 | 2718787.0329 | 1085242.565 | 2718789.3237 | 1085240.7777
80 | 2718856.2104 | 1085208.2126 | 2718824.1436 | 1085203.7488
81 | 2718856.2104 | 1085208.2126 | 2718857.2249 | 1085213.6135

## bus_geodata
| x | y | coords
0 | 2719026.9839 | 1085391.521
1 | 2719035.062 | 1085419.3108
2 | 2719021.5424 | 1085372.8019
3 | 2719040.6788 | 1085442.4638
4 | 2718991.7114 | 1085383.5088
5 | 2719013.1035 | 1085354.3577
6 | 2718976.6533 | 1085388.4359
7 | 2719004.7997 | 1085336.2086
8 | 2718938.9355 | 1085402.9205
9 | 2718983.1275 | 1085406.706
10 | 2718997.8327 | 1085323.0132
11 | 2718943.8696 | 1085420.9596
12 | 2718913.8797 | 1085415.2844
13 | 2718932.634 | 1085382.3214
14 | 2718983.921 | 1085409.7604
15 | 2718910.3676 | 1085438.9542
16 | 2718908.1847 | 1085402.2025
17 | 2718920.585 | 1085342.9339
18 | 2718988.5032 | 1085427.398
19 | 2718886.408 | 1085352.1792
20 | 2718883.0236 | 1085344.4048
21 | 2718891.8566 | 1085364.6952
22 | 2718892.4566 | 1085366.0734
23 | 2718900.5436 | 1085384.6501
24 | 2718900.7055 | 1085385.022
25 | 2718992.4085 | 1085442.4299
26 | 2718904.3298 | 1085393.3474
27 | 2718910.243 | 1085442.6684
28 | 2718910.0127 | 1085449.5331
29 | 2718995.9269 | 1085319.5138
30 | 2718986.9329 | 1085302.9987
31 | 2718986.6011 | 1085302.3894
32 | 2718983.3795 | 1085296.3067
33 | 2718875.866 | 1085412.0921
34 | 2718883.3236 | 1085428.9477
35 | 2718875.6598 | 1085411.6262
36 | 2718870.1852 | 1085399.2524
37 | 2718864.456 | 1085386.3033
38 | 2718856.6185 | 1085368.5891
39 | 2718910.0413 | 1085308.4672
40 | 2718899.8374 | 1085275.1113
41 | 2718874.8083 | 1085267.2723
42 | 2718979.0309 | 1085287.2073
43 | 2718975.353 | 1085278.7287
44 | 2718941.9606 | 1085258.4162
45 | 2718929.0633 | 1085263.1814
46 | 2718962.3873 | 1085242.6988
47 | 2718926.1683 | 1085264.2511
48 | 2718958.5431 | 1085235.501
49 | 2718964.956 | 1085250.136
50 | 2718944.9628 | 1085216.3336
51 | 2718970.6476 | 1085266.615
52 | 2718906.3969 | 1085204.2866
53 | 2718862.5933 | 1085238.2868
54 | 2718861.1953 | 1085234.7508
55 | 2718820.1805 | 1085402.2185
56 | 2718817.3509 | 1085393.297
57 | 2718822.8323 | 1085410.5796
58 | 2718815.2803 | 1085386.7685
59 | 2718825.1971 | 1085418.0355
60 | 2718811.8859 | 1085376.0661
61 | 2718828.2516 | 1085427.6663
62 | 2718810.1272 | 1085370.521
63 | 2718831.619 | 1085443.6975
64 | 2718805.2114 | 1085355.0221
65 | 2718800.3284 | 1085339.6261
66 | 2718848.7319 | 1085350.7637
67 | 2718842.6812 | 1085337.0881
68 | 2718840.7048 | 1085332.6209
69 | 2718822.2503 | 1085292.5761
70 | 2718786.3422 | 1085349.0733
71 | 2718815.5407 | 1085313.8136
72 | 2718803.1914 | 1085281.4405
73 | 2718768.3115 | 1085273.0697
74 | 2718783.5953 | 1085244.1101
75 | 2718793.0997 | 1085262.2158
76 | 2718845.3023 | 1085254.0543
77 | 2718787.0329 | 1085242.565
78 | 2718747.3037 | 1085222.7464
79 | 2718789.3237 | 1085240.7777
80 | 2718824.1436 | 1085203.7488
81 | 2718856.2104 | 1085208.2126
82 | 2718857.2249 | 1085213.6135
83 | 2718899.8374 | 1085275.1113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1