## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5268-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5268-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5268-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5268-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5268-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5268-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5268-10_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_5268-10_0_4_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_5268-10_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5268-10_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_5268-10_0_4_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_5268-10_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5268-10_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5268-10_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5268-10_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5268-10_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5268-10_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5268-10_0_4_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_5268-10_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_5268-10_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5268-10_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_5268-10_0_4_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_5268-10_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5268-10_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5268-10_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5268-10_0_4_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_5268-10_0_4_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_5268-10_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_5268-10_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5268-10_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5268-10_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5268-10_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5268-10_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5268-10_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5268-10_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5268-10_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5268-10_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5268-10_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5268-10_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5268-10_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5268-10_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5268-10_0_4_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_5268-10_0_4_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_5268-10_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_5268-10_0_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_5268-10_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5268-10_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5268-10_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5268-10_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5268-10_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5268-10_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5268-10_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5268-10_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5268-10_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5268-10_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5268-10_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_5268-10_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5268-10_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5268-10_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5268-10_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5268-10_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5268-10_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5268-10_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5268-10_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5268-10_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5268-10_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_5268-10_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_5268-10_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5268-10_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_5268-10_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5268-10_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5268-10_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5268-10_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5268-10_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5268-10_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_5268-10_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5268-10_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5268-10_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5268-10_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5268-10_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5268-10_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5268-10_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5268-10_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_MV_258_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5268-10_0_4_load_0 | 0 | 0.009555 | 0.0023947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5268-10_0_4_load_4 | 4 | 0.01553 | 0.0038922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5268-10_0_4_load_5 | 5 | 0.0052356 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5268-10_0_4_load_16 | 6 | 0.0045928 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5268-10_0_4_load_84 | 7 | 0.010803 | 0.0027075 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5268-10_0_4_load_15 | 9 | 0.013655 | 0.0034223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5268-10_0_4_load_83 | 10 | 0.0061299 | 0.0015363 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5268-10_0_4_load_6 | 11 | 0.025146 | 0.0063022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5268-10_0_4_load_8 | 12 | 0.009261 | 0.002321 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5268-10_0_4_load_9 | 13 | 0.0067699 | 0.0016967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5268-10_0_4_load_10 | 14 | 0.0062461 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5268-10_0_4_load_12 | 16 | 0.010378 | 0.0026011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5268-10_0_4_load_56 | 17 | 0.0078842 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5268-10_0_4_load_57 | 18 | 0.017658 | 0.0044256 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5268-10_0_4_load_13 | 19 | 0.007851 | 0.0019676 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5268-10_0_4_load_58 | 20 | 0.0053931 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5268-10_0_4_load_63 | 21 | 0.0038638 | 0.00096836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5268-10_0_4_load_14 | 22 | 0.0037952 | 0.00095117 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5268-10_0_4_load_18 | 24 | 0.0053313 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5268-10_0_4_load_73 | 26 | 0.0052519 | 0.0013162 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5268-10_0_4_load_49 | 27 | 0.0080695 | 0.0020224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5268-10_0_4_load_19 | 28 | 0.0032483 | 0.0008141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5268-10_0_4_load_20 | 29 | 0.0026381 | 0.00066116 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5268-10_0_4_load_22 | 31 | 0.0030503 | 0.00076449 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5268-10_0_4_load_24 | 33 | 0.0027923 | 0.00069981 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5268-10_0_4_load_30 | 35 | 0.0044231 | 0.0011085 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5268-10_0_4_load_25 | 36 | 0.0031293 | 0.00078427 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5268-10_0_4_load_31 | 37 | 0.0072438 | 0.0018155 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5268-10_0_4_load_28 | 39 | 0.01417 | 0.0035514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5268-10_0_4_load_76 | 41 | 0.0052362 | 0.0013123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5268-10_0_4_load_75 | 42 | 0.01222 | 0.0030626 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5268-10_0_4_load_77 | 43 | 0.0024628 | 0.00061724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5268-10_0_4_load_32 | 45 | 0.0031616 | 0.00079238 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5268-10_0_4_load_33 | 46 | 0.0019351 | 0.00048497 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5268-10_0_4_load_35 | 48 | 0.0030482 | 0.00076396 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5268-10_0_4_load_36 | 49 | 0.0078981 | 0.0019794 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5268-10_0_4_load_37 | 50 | 0.001141 | 0.00028595 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5268-10_0_4_load_38 | 52 | 0.0044302 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5268-10_0_4_load_66 | 55 | 0.0018797 | 0.0004711 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5268-10_0_4_load_64 | 56 | 0.0041215 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5268-10_0_4_load_45 | 57 | 0.0042225 | 0.0010583 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5268-10_0_4_load_65 | 58 | 0.0047777 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5268-10_0_4_load_42 | 59 | 0.0036557 | 0.0009162 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5268-10_0_4_load_43 | 60 | 0.0042506 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5268-10_0_4_load_46 | 62 | 0.0047937 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5268-10_0_4_load_52 | 63 | 0.0013753 | 0.00034469 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5268-10_0_4_load_50 | 64 | 0.005261 | 0.0013185 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5268-10_0_4_load_48 | 66 | 0.0037488 | 0.00093955 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5268-10_0_4_load_51 | 67 | 0.012944 | 0.003244 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5268-10_0_4_load_53 | 68 | 0.011602 | 0.0029078 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5268-10_0_4_load_54 | 69 | 0.0068554 | 0.0017181 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5268-10_0_4_load_55 | 70 | 0.0088399 | 0.0022155 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5268-10_0_4_load_70 | 71 | 0.0056831 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5268-10_0_4_load_68 | 72 | 0.0073024 | 0.0018301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5268-10_0_4_load_59 | 73 | 0.0039003 | 0.00097751 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5268-10_0_4_load_60 | 74 | 0.0039047 | 0.0009786 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5268-10_0_4_load_61 | 75 | 0.0028821 | 0.00072231 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5268-10_0_4_load_67 | 76 | 0.0092897 | 0.0023282 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5268-10_0_4_load_69 | 77 | 0.0024339 | 0.00061 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5268-10_0_4_load_71 | 78 | 0.0033007 | 0.00082722 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5268-10_0_4_load_81 | 79 | 0.0061693 | 0.0015462 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5268-10_0_4_load_79 | 80 | 0.0050768 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5268-10_0_4_load_78 | 81 | 0.013314 | 0.0033367 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5268-10_0_4_load_80 | 82 | 0.0047198 | 0.0011829 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5268-10_0_4_line_0 |  | 0 | 1 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5268-10_0_4_line_1 |  | 0 | 2 | 0.0078123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5268-10_0_4_line_2 |  | 1 | 3 | 0.065145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5268-10_0_4_line_3 |  | 2 | 4 | 0.019985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5268-10_0_4_line_4 |  | 2 | 5 | 0.026338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5268-10_0_4_line_5 |  | 3 | 6 | 0.062199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5268-10_0_4_line_6 |  | 4 | 7 | 0.0066789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5268-10_0_4_line_7 |  | 5 | 8 | 0.0026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5268-10_0_4_line_8 |  | 6 | 9 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5268-10_0_4_line_9 |  | 7 | 10 | 0.006677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5268-10_0_4_line_10 |  | 8 | 11 | 0.026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5268-10_0_4_line_11 |  | 9 | 23 | 0.030617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5268-10_0_4_line_12 |  | 10 | 22 | 0.003331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5268-10_0_4_line_13 |  | 12 | 13 | 0.040312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5268-10_0_4_line_14 |  | 12 | 14 | 0.0061044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5268-10_0_4_line_15 |  | 13 | 15 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5268-10_0_4_line_16 |  | 14 | 16 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5268-10_0_4_line_17 |  | 15 | 17 | 0.025023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5268-10_0_4_line_18 |  | 15 | 18 | 0.022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5268-10_0_4_line_19 |  | 16 | 19 | 0.0036287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5268-10_0_4_line_20 |  | 17 | 20 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5268-10_0_4_line_21 |  | 18 | 21 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5268-10_0_4_line_22 |  | 19 | 22 | 0.012651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5268-10_0_4_line_23 |  | 20 | 73 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5268-10_0_4_line_24 |  | 21 | 54 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5268-10_0_4_line_25 |  | 23 | 24 | 0.055457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5268-10_0_4_line_26 |  | 24 | 25 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5268-10_0_4_line_27 |  | 25 | 26 | 0.0016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5268-10_0_4_line_28 |  | 25 | 27 | 0.04018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5268-10_0_4_line_29 |  | 26 | 44 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5268-10_0_4_line_30 |  | 27 | 65 | 0.04482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5268-10_0_4_line_31 |  | 28 | 29 | 0.015674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5268-10_0_4_line_32 |  | 28 | 30 | 0.0081164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5268-10_0_4_line_33 |  | 29 | 31 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5268-10_0_4_line_34 |  | 30 | 32 | 0.015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5268-10_0_4_line_35 |  | 31 | 33 | 0.0065441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5268-10_0_4_line_36 |  | 32 | 34 | 0.050517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5268-10_0_4_line_37 |  | 32 | 35 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5268-10_0_4_line_38 |  | 34 | 36 | 0.022052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5268-10_0_4_line_39 |  | 35 | 37 | 0.040589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5268-10_0_4_line_40 |  | 36 | 38 | 0.060006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5268-10_0_4_line_41 |  | 38 | 39 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5268-10_0_4_line_42 |  | 38 | 40 | 0.050213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5268-10_0_4_line_43 |  | 39 | 41 | 0.0073251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5268-10_0_4_line_44 |  | 40 | 42 | 0.047173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5268-10_0_4_line_45 |  | 41 | 43 | 0.0087146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5268-10_0_4_line_46 |  | 42 | 44 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5268-10_0_4_line_47 |  | 43 | 79 | 0.033823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5268-10_0_4_line_48 |  | 44 | 78 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5268-10_0_4_line_49 |  | 45 | 46 | 0.002361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5268-10_0_4_line_50 |  | 45 | 47 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5268-10_0_4_line_51 |  | 46 | 48 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5268-10_0_4_line_52 |  | 47 | 49 | 0.0082224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5268-10_0_4_line_53 |  | 48 | 50 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5268-10_0_4_line_54 |  | 49 | 51 | 0.037678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5268-10_0_4_line_55 |  | 50 | 52 | 0.0023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5268-10_0_4_line_56 |  | 51 | 53 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5268-10_0_4_line_57 |  | 51 | 54 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5268-10_0_4_line_58 |  | 53 | 55 | 0.0057385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5268-10_0_4_line_59 |  | 54 | 56 | 0.0085937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5268-10_0_4_line_60 |  | 55 | 57 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5268-10_0_4_line_61 |  | 56 | 58 | 0.007793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5268-10_0_4_line_62 |  | 57 | 61 | 0.022703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5268-10_0_4_line_63 |  | 59 | 60 | 0.0030623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5268-10_0_4_line_64 |  | 59 | 61 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5268-10_0_4_line_65 |  | 62 | 63 | 0.047731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5268-10_0_4_line_66 |  | 63 | 64 | 0.011409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5268-10_0_4_line_67 |  | 64 | 67 | 0.0062482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5268-10_0_4_line_68 |  | 65 | 66 | 0.006486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5268-10_0_4_line_69 |  | 67 | 68 | 0.033866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5268-10_0_4_line_70 |  | 68 | 69 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5268-10_0_4_line_71 |  | 69 | 70 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5268-10_0_4_line_72 |  | 70 | 71 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5268-10_0_4_line_73 |  | 71 | 72 | 0.025398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5268-10_0_4_line_74 |  | 72 | 76 | 0.0018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5268-10_0_4_line_75 |  | 73 | 74 | 0.0027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5268-10_0_4_line_76 |  | 74 | 75 | 0.056851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5268-10_0_4_line_77 |  | 76 | 77 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5268-10_0_4_line_78 |  | 77 | 78 | 0.00025607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5268-10_0_4_line_79 |  | 79 | 80 | 0.0060786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5268-10_0_4_line_80 |  | 80 | 81 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5268-10_0_4_line_81 |  | 81 | 82 | 0.055099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5268-10_0_4_trafo_48 | 0.63 MVA 20/0.4 kV | 83 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723961.3016 | 1078675.1087 | 2723988.4612 | 1078672.0554
1 | 2723996.2246 | 1078671.1827 | 2723988.4612 | 1078672.0554
2 | 2723947.7212 | 1078737.6228 | 2723950.4287 | 1078734.0196 | 2723953.3091 | 1078725.7388 | 2723955.7393 | 1078718.961 | 2723958.7243 | 1078710.5044 | 2723960.7876 | 1078701.5176 | 2723961.9944 | 1078688.0323 | 2723961.3016 | 1078675.1087
3 | 2723996.2246 | 1078671.1827 | 2724010.2798 | 1078671.6466 | 2724015.7796 | 1078669.4503
4 | 2723996.2246 | 1078671.1827 | 2723995.629 | 1078644.8517
5 | 2723947.7212 | 1078737.6228 | 2723953.6524 | 1078740.5677 | 2723977.9842 | 1078752.6602 | 2723996.5407 | 1078764.8464 | 2724000.8458 | 1078769.3158
6 | 2724021.9822 | 1078666.9734 | 2724015.7796 | 1078669.4503
7 | 2723995.5702 | 1078642.2482 | 2723995.629 | 1078644.8517
8 | 2724010.6237 | 1078781.6385 | 2724010.3826 | 1078779.2162 | 2724000.8458 | 1078769.3158
9 | 2724028.1831 | 1078664.4971 | 2724021.9822 | 1078666.9734
10 | 2723995.5702 | 1078642.2482 | 2724013.3802 | 1078622.843
11 | 2724003.3798 | 1078810.2187 | 2724011.789 | 1078793.3441 | 2724010.6237 | 1078781.6385
12 | 2724028.1831 | 1078664.4971 | 2724031.2765 | 1078663.2617
13 | 2724063.7361 | 1078654.3437 | 2724063.7361 | 1078654.3437 | 2724070.2434 | 1078654.176 | 2724083.7093 | 1078651.9151 | 2724103.8185 | 1078650.6556
14 | 2724063.7361 | 1078654.3437 | 2724057.7278 | 1078655.4228
15 | 2724115.3244 | 1078650.9356 | 2724108.8947 | 1078650.3376 | 2724103.8185 | 1078650.6556
16 | 2724046.4592 | 1078657.4467 | 2724057.7278 | 1078655.4228
17 | 2724115.3244 | 1078650.9356 | 2724126.8423 | 1078628.7205 | 2724126.8423 | 1078628.7205
18 | 2724115.3244 | 1078650.9356 | 2724133.1181 | 1078664.7099
19 | 2724046.4592 | 1078657.4467 | 2724045.3302 | 1078657.6494 | 2724043.0255 | 1078658.5698
20 | 2724113.4959 | 1078623.5895 | 2724113.4959 | 1078623.5895 | 2724126.8423 | 1078628.7205
21 | 2724133.1181 | 1078664.7099 | 2724143.1471 | 1078672.4734 | 2724144.7145 | 1078673.6484
22 | 2724043.0255 | 1078658.5698 | 2724031.2765 | 1078663.2617
23 | 2724113.4959 | 1078623.5895 | 2724117.3165 | 1078613.705
24 | 2724162.3118 | 1078686.8408 | 2724144.7145 | 1078673.6484
25 | 2724003.3798 | 1078810.2187 | 2724054.4203 | 1078831.9073
26 | 2724078.4165 | 1078840.0671 | 2724071.8555 | 1078839.8223 | 2724054.9947 | 1078832.1514 | 2724054.4203 | 1078831.9073
27 | 2724078.4165 | 1078840.0671 | 2724080.0496 | 1078840.1694
28 | 2724078.4165 | 1078840.0671 | 2724107.2725 | 1078812.1067
29 | 2724099.0579 | 1078842.1888 | 2724090.2589 | 1078840.8087 | 2724080.0496 | 1078840.1694
30 | 2724146.6465 | 1078797.8029 | 2724137.764 | 1078795.9429 | 2724132.2991 | 1078795.6759 | 2724126.5067 | 1078797.3703 | 2724108.1103 | 1078811.2949 | 2724107.2725 | 1078812.1067
31 | 2724011.4406 | 1078944.8175 | 2724027.074 | 1078943.6938
32 | 2724003.5208 | 1078943.3966 | 2724009.6666 | 1078944.945 | 2724011.4406 | 1078944.8175
33 | 2724027.074 | 1078943.6938 | 2724040.631 | 1078942.7193
34 | 2724005.0935 | 1078928.7401 | 2724005.9285 | 1078936.1959 | 2724005.2998 | 1078939.5967 | 2724003.5208 | 1078943.3966
35 | 2724047.1583 | 1078942.2502 | 2724040.631 | 1078942.7193
36 | 2724005.0935 | 1078928.7401 | 2724003.9784 | 1078926.2601 | 2723997.4289 | 1078917.4426 | 2723995.4704 | 1078911.732 | 2724010.1852 | 1078913.7438 | 2724026.0039 | 1078911.9087
37 | 2724005.0935 | 1078928.7401 | 2724012.4312 | 1078933.5707 | 2724017.3451 | 1078935.3275 | 2724021.3572 | 1078935.5759 | 2724026.8112 | 1078934.9518
38 | 2724026.0039 | 1078911.9087 | 2724047.8727 | 1078909.0749
39 | 2724067.1372 | 1078930.3369 | 2724026.8112 | 1078934.9518
40 | 2724102.3524 | 1078900.176 | 2724101.5494 | 1078904.8853 | 2724098.7583 | 1078907.6305 | 2724094.3377 | 1078908.3633 | 2724084.7871 | 1078906.5009 | 2724070.0531 | 1078906.2008 | 2724047.8727 | 1078909.0749
41 | 2724102.3524 | 1078900.176 | 2724129.9477 | 1078905.3638 | 2724133.5884 | 1078906.7108
42 | 2724057.0233 | 1078880.2055 | 2724079.9178 | 1078892.6361 | 2724085.1685 | 1078895.0225 | 2724098.9878 | 1078897.1275 | 2724102.3524 | 1078900.176
43 | 2724133.5884 | 1078906.7108 | 2724134.5595 | 1078907.07 | 2724138.6879 | 1078910.0007 | 2724139.5672 | 1078910.8562
44 | 2724057.0233 | 1078880.2055 | 2724057.8443 | 1078874.229 | 2724083.027 | 1078863.9673 | 2724093.8732 | 1078855.1987
45 | 2724139.5672 | 1078910.8562 | 2724144.1509 | 1078915.3158 | 2724145.985 | 1078916.7357
46 | 2724099.0579 | 1078842.1888 | 2724096.5367 | 1078853.0454 | 2724093.8732 | 1078855.1987
47 | 2724176.3686 | 1078922.9354 | 2724168.2377 | 1078926.0364 | 2724161.1698 | 1078926.2704 | 2724154.2407 | 1078923.127 | 2724145.985 | 1078916.7357
48 | 2724099.0579 | 1078842.1888 | 2724111.5378 | 1078839.2008
49 | 2724193.8269 | 1078632.1379 | 2724192.9128 | 1078629.961
50 | 2724212.4537 | 1078652.6037 | 2724200.1393 | 1078647.1711 | 2724193.8269 | 1078632.1379
51 | 2724187.0085 | 1078615.8995 | 2724192.9128 | 1078629.961
52 | 2724212.4537 | 1078652.6037 | 2724209.682 | 1078660.3448
53 | 2724187.0085 | 1078615.8995 | 2724179.5804 | 1078598.209
54 | 2724192.59 | 1078693.8737 | 2724208.0784 | 1078664.8235 | 2724209.682 | 1078660.3448
55 | 2724178.67 | 1078596.0409 | 2724179.5804 | 1078598.209
56 | 2724182.3976 | 1078713.9586 | 2724192.59 | 1078693.8737
57 | 2724192.59 | 1078693.8737 | 2724163.0312 | 1078687.3781 | 2724162.3118 | 1078686.8408
58 | 2724182.3976 | 1078713.9586 | 2724183.6212 | 1078719.5651
59 | 2724162.3118 | 1078686.8408 | 2724157.0322 | 1078691.5812 | 2724155.8897 | 1078692.5505
60 | 2724183.6212 | 1078719.5651 | 2724185.7591 | 1078729.3605 | 2724186.9704 | 1078731.5123
61 | 2724149.9472 | 1078697.592 | 2724155.8897 | 1078692.5505
62 | 2724207.2662 | 1078737.0598 | 2724195.5883 | 1078737.7669 | 2724190.4246 | 1078735.6824 | 2724187.4688 | 1078732.3976 | 2724186.9704 | 1078731.5123
63 | 2724237.5275 | 1078738.8528 | 2724240.5844 | 1078739.0339
64 | 2724207.2662 | 1078737.0598 | 2724237.5275 | 1078738.8528
65 | 2724255.4411 | 1078846.7531 | 2724261.671 | 1078799.4299
66 | 2724244.0475 | 1078847.3494 | 2724255.4411 | 1078846.7531
67 | 2724244.0475 | 1078847.3494 | 2724237.8078 | 1078847.6759
68 | 2724146.6465 | 1078797.8029 | 2724144.2596 | 1078791.7721
69 | 2724204.0085 | 1078846.5394 | 2724228.5064 | 1078848.1627 | 2724237.8078 | 1078847.6759
70 | 2724204.0085 | 1078846.5394 | 2724191.8817 | 1078845.7359
71 | 2724178.8201 | 1078844.8703 | 2724178.8201 | 1078844.8703 | 2724191.8817 | 1078845.7359
72 | 2724169.3416 | 1078840.3301 | 2724178.8201 | 1078844.8703
73 | 2724169.3416 | 1078840.3301 | 2724160.9518 | 1078836.3113 | 2724144.9217 | 1078834.8686
74 | 2724143.1108 | 1078834.7056 | 2724144.9217 | 1078834.8686
75 | 2724117.3165 | 1078613.705 | 2724118.1141 | 1078611.6415 | 2724118.2728 | 1078611.105
76 | 2724118.2728 | 1078611.105 | 2724119.4578 | 1078607.0988 | 2724118.7367 | 1078601.6802 | 2724119.4802 | 1078596.0801 | 2724122.234 | 1078593.6455 | 2724128.0503 | 1078594.5979 | 2724149.4549 | 1078608.1214 | 2724156.1236 | 1078608.046
77 | 2724143.1108 | 1078834.7056 | 2724130.129 | 1078833.5372 | 2724112.7538 | 1078838.9096 | 2724111.7868 | 1078839.1411
78 | 2724111.5378 | 1078839.2008 | 2724111.7868 | 1078839.1411
79 | 2724176.3686 | 1078922.9354 | 2724182.0482 | 1078920.7694
80 | 2724195.6632 | 1078919.6029 | 2724190.9964 | 1078919.573 | 2724184.0409 | 1078920.0094 | 2724182.0482 | 1078920.7694
81 | 2724195.6632 | 1078919.6029 | 2724227.605 | 1078919.8079 | 2724250.545 | 1078916.6513

## bus_geodata
| x | y | coords
0 | 2723988.4612 | 1078672.0554
1 | 2723961.3016 | 1078675.1087
2 | 2723996.2246 | 1078671.1827
3 | 2723947.7212 | 1078737.6228
4 | 2724015.7796 | 1078669.4503
5 | 2723995.629 | 1078644.8517
6 | 2724000.8458 | 1078769.3158
7 | 2724021.9822 | 1078666.9734
8 | 2723995.5702 | 1078642.2482
9 | 2724010.6237 | 1078781.6385
10 | 2724028.1831 | 1078664.4971
11 | 2724013.3802 | 1078622.843
12 | 2724063.7361 | 1078654.3437
13 | 2724103.8185 | 1078650.6556
14 | 2724057.7278 | 1078655.4228
15 | 2724115.3244 | 1078650.9356
16 | 2724046.4592 | 1078657.4467
17 | 2724126.8423 | 1078628.7205
18 | 2724133.1181 | 1078664.7099
19 | 2724043.0255 | 1078658.5698
20 | 2724113.4959 | 1078623.5895
21 | 2724144.7145 | 1078673.6484
22 | 2724031.2765 | 1078663.2617
23 | 2724003.3798 | 1078810.2187
24 | 2724054.4203 | 1078831.9073
25 | 2724078.4165 | 1078840.0671
26 | 2724080.0496 | 1078840.1694
27 | 2724107.2725 | 1078812.1067
28 | 2724011.4406 | 1078944.8175
29 | 2724027.074 | 1078943.6938
30 | 2724003.5208 | 1078943.3966
31 | 2724040.631 | 1078942.7193
32 | 2724005.0935 | 1078928.7401
33 | 2724047.1583 | 1078942.2502
34 | 2724026.0039 | 1078911.9087
35 | 2724026.8112 | 1078934.9518
36 | 2724047.8727 | 1078909.0749
37 | 2724067.1372 | 1078930.3369
38 | 2724102.3524 | 1078900.176
39 | 2724133.5884 | 1078906.7108
40 | 2724057.0233 | 1078880.2055
41 | 2724139.5672 | 1078910.8562
42 | 2724093.8732 | 1078855.1987
43 | 2724145.985 | 1078916.7357
44 | 2724099.0579 | 1078842.1888
45 | 2724193.8269 | 1078632.1379
46 | 2724192.9129 | 1078629.961
47 | 2724212.4537 | 1078652.6037
48 | 2724187.0085 | 1078615.8995
49 | 2724209.682 | 1078660.3448
50 | 2724179.5804 | 1078598.209
51 | 2724192.59 | 1078693.8737
52 | 2724178.67 | 1078596.0409
53 | 2724182.3976 | 1078713.9586
54 | 2724162.3118 | 1078686.8408
55 | 2724183.6212 | 1078719.5651
56 | 2724155.8897 | 1078692.5505
57 | 2724186.9704 | 1078731.5123
58 | 2724149.9472 | 1078697.592
59 | 2724237.5275 | 1078738.8528
60 | 2724240.5844 | 1078739.0339
61 | 2724207.2662 | 1078737.0598
62 | 2724261.671 | 1078799.4299
63 | 2724255.4411 | 1078846.7531
64 | 2724244.0475 | 1078847.3494
65 | 2724146.6465 | 1078797.8029
66 | 2724144.2596 | 1078791.7721
67 | 2724237.8078 | 1078847.6759
68 | 2724204.0085 | 1078846.5394
69 | 2724191.8817 | 1078845.7359
70 | 2724178.8201 | 1078844.8703
71 | 2724169.3416 | 1078840.3301
72 | 2724144.9217 | 1078834.8686
73 | 2724117.3165 | 1078613.705
74 | 2724118.2728 | 1078611.105
75 | 2724156.1236 | 1078608.046
76 | 2724143.1108 | 1078834.7056
77 | 2724111.7868 | 1078839.1411
78 | 2724111.5378 | 1078839.2008
79 | 2724176.3686 | 1078922.9354
80 | 2724182.0482 | 1078920.7694
81 | 2724195.6632 | 1078919.6029
82 | 2724250.545 | 1078916.6513
83 | 2724146.6465 | 1078797.8029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1