## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5268-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5268-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5268-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5268-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5268-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5268-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5268-1_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_5268-1_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5268-1_0_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_5268-1_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5268-1_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5268-1_0_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_5268-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5268-1_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_5268-1_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_5268-1_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_5268-1_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_5268-1_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_5268-1_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_5268-1_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5268-1_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5268-1_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5268-1_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5268-1_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5268-1_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5268-1_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5268-1_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5268-1_0_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_5268-1_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5268-1_0_3_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_5268-1_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_5268-1_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_5268-1_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5268-1_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5268-1_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5268-1_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5268-1_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5268-1_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_5268-1_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5268-1_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5268-1_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5268-1_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5268-1_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5268-1_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5268-1_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5268-1_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_5268-1_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5268-1_0_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_5268-1_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5268-1_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5268-1_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5268-1_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5268-1_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5268-1_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5268-1_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5268-1_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_5268-1_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5268-1_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_5268-1_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5268-1_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5268-1_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5268-1_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5268-1_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5268-1_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_MV_258_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5268-1_0_3_load_0 | 0 | 0.029503 | 0.0073941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5268-1_0_3_load_1 | 1 | 0.003006 | 0.00075338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5268-1_0_3_load_4 | 4 | 0.0072449 | 0.0018157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5268-1_0_3_load_5 | 5 | 0.0021137 | 0.00052974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5268-1_0_3_load_64 | 6 | 0.0081554 | 0.0020439 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5268-1_0_3_load_63 | 8 | 0.0073539 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5268-1_0_3_load_7 | 10 | 0.009578 | 0.0024005 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5268-1_0_3_load_27 | 13 | 0.0073032 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5268-1_0_3_load_25 | 14 | 0.001786 | 0.00044763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5268-1_0_3_load_37 | 15 | 0.0028621 | 0.00071731 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5268-1_0_3_load_31 | 16 | 0.0043673 | 0.0010945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5268-1_0_3_load_44 | 17 | 0.0016912 | 0.00042385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5268-1_0_3_load_34 | 18 | 0.0079032 | 0.0019807 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5268-1_0_3_load_29 | 19 | 0.0047951 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5268-1_0_3_load_10 | 20 | 0.005571 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5268-1_0_3_load_11 | 21 | 0.0094866 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5268-1_0_3_load_14 | 24 | 0.017346 | 0.0043474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5268-1_0_3_load_15 | 25 | 0.0095844 | 0.0024021 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5268-1_0_3_load_16 | 26 | 0.0068024 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5268-1_0_3_load_56 | 27 | 0.017355 | 0.0043495 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5268-1_0_3_load_17 | 28 | 0.0092147 | 0.0023094 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5268-1_0_3_load_53 | 29 | 0.0039706 | 0.00099513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5268-1_0_3_load_54 | 30 | 0.0058823 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5268-1_0_3_load_51 | 31 | 0.0037989 | 0.0009521 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5268-1_0_3_load_19 | 32 | 0.010061 | 0.0025214 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5268-1_0_3_load_20 | 33 | 0.006648 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5268-1_0_3_load_22 | 34 | 0.011945 | 0.0029936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5268-1_0_3_load_35 | 35 | 0.011975 | 0.0030012 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5268-1_0_3_load_23 | 36 | 0.0032065 | 0.00080363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5268-1_0_3_load_38 | 37 | 0.0047141 | 0.0011815 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5268-1_0_3_load_36 | 38 | 0.01255 | 0.0031453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5268-1_0_3_load_39 | 39 | 0.007081 | 0.0017747 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5268-1_0_3_load_28 | 40 | 0.0028063 | 0.00070331 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5268-1_0_3_load_32 | 42 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5268-1_0_3_load_42 | 44 | 0.0090516 | 0.0022685 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5268-1_0_3_load_66 | 47 | 0.010451 | 0.0026192 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5268-1_0_3_load_41 | 48 | 0.007906 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5268-1_0_3_load_48 | 49 | 0.0081459 | 0.0020416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5268-1_0_3_load_40 | 50 | 0.0072149 | 0.0018082 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5268-1_0_3_load_43 | 51 | 0.0055605 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5268-1_0_3_load_45 | 52 | 0.002255 | 0.00056517 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5268-1_0_3_load_47 | 53 | 0.0024553 | 0.00061535 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5268-1_0_3_load_58 | 54 | 0.0073434 | 0.0018404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5268-1_0_3_load_59 | 55 | 0.0069227 | 0.001735 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5268-1_0_3_load_49 | 56 | 0.0089397 | 0.0022405 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5268-1_0_3_load_55 | 58 | 0.017363 | 0.0043516 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5268-1_0_3_load_57 | 59 | 0.015319 | 0.0038393 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5268-1_0_3_load_60 | 60 | 0.010859 | 0.0027215 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5268-1_0_3_load_62 | 61 | 0.0061517 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5268-1_0_3_load_69 | 63 | 0.0080484 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5268-1_0_3_line_0 |  | 0 | 1 | 0.022945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5268-1_0_3_line_1 |  | 0 | 2 | 0.040316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5268-1_0_3_line_2 |  | 1 | 3 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5268-1_0_3_line_3 |  | 2 | 4 | 0.023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5268-1_0_3_line_4 |  | 2 | 5 | 0.096141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5268-1_0_3_line_5 |  | 3 | 6 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5268-1_0_3_line_6 |  | 4 | 7 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5268-1_0_3_line_7 |  | 6 | 8 | 0.021783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5268-1_0_3_line_8 |  | 7 | 9 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5268-1_0_3_line_9 |  | 8 | 61 | 0.024771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5268-1_0_3_line_10 |  | 9 | 15 | 0.031043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5268-1_0_3_line_11 |  | 9 | 16 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5268-1_0_3_line_12 |  | 9 | 12 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5268-1_0_3_line_13 |  | 10 | 11 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5268-1_0_3_line_14 |  | 11 | 15 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5268-1_0_3_line_15 |  | 11 | 17 | 0.0047046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5268-1_0_3_line_16 |  | 12 | 13 | 0.0034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5268-1_0_3_line_17 |  | 12 | 14 | 0.037682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5268-1_0_3_line_18 |  | 13 | 18 | 0.050498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5268-1_0_3_line_19 |  | 16 | 19 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5268-1_0_3_line_20 |  | 17 | 51 | 0.0038875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5268-1_0_3_line_21 |  | 19 | 40 | 0.026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5268-1_0_3_line_22 |  | 20 | 21 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5268-1_0_3_line_23 |  | 20 | 22 | 0.073962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5268-1_0_3_line_24 |  | 21 | 23 | 0.031492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5268-1_0_3_line_25 |  | 22 | 24 | 0.059021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5268-1_0_3_line_26 |  | 23 | 25 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5268-1_0_3_line_27 |  | 23 | 26 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5268-1_0_3_line_28 |  | 24 | 27 | 0.043439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5268-1_0_3_line_29 |  | 25 | 28 | 0.00010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5268-1_0_3_line_30 |  | 26 | 29 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5268-1_0_3_line_31 |  | 27 | 30 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5268-1_0_3_line_32 |  | 29 | 31 | 0.020628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5268-1_0_3_line_33 |  | 30 | 58 | 0.028376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5268-1_0_3_line_34 |  | 31 | 56 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5268-1_0_3_line_35 |  | 32 | 33 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5268-1_0_3_line_36 |  | 33 | 34 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5268-1_0_3_line_37 |  | 34 | 35 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5268-1_0_3_line_38 |  | 35 | 38 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5268-1_0_3_line_39 |  | 36 | 37 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5268-1_0_3_line_40 |  | 37 | 39 | 0.0008376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5268-1_0_3_line_41 |  | 38 | 42 | 0.0069959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5268-1_0_3_line_42 |  | 39 | 50 | 0.021498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5268-1_0_3_line_43 |  | 40 | 41 | 0.0059557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5268-1_0_3_line_44 |  | 41 | 42 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5268-1_0_3_line_45 |  | 41 | 43 | 0.038754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5268-1_0_3_line_46 |  | 43 | 44 | 0.031737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5268-1_0_3_line_47 |  | 43 | 45 | 0.083133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5268-1_0_3_line_48 |  | 44 | 48 | 0.021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5268-1_0_3_line_49 |  | 45 | 49 | 0.0043272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5268-1_0_3_line_50 |  | 45 | 46 | 0.036705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5268-1_0_3_line_51 |  | 46 | 47 | 0.010461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5268-1_0_3_line_52 |  | 47 | 57 | 0.052442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5268-1_0_3_line_53 |  | 48 | 50 | 0.0017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5268-1_0_3_line_54 |  | 49 | 56 | 0.028903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5268-1_0_3_line_55 |  | 51 | 52 | 0.0053693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5268-1_0_3_line_56 |  | 52 | 53 | 0.0083384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5268-1_0_3_line_57 |  | 53 | 54 | 0.0076652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5268-1_0_3_line_58 |  | 54 | 55 | 0.0036276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5268-1_0_3_line_59 |  | 55 | 60 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5268-1_0_3_line_60 |  | 57 | 62 | 0.044276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5268-1_0_3_line_61 |  | 58 | 59 | 0.037921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5268-1_0_3_line_62 |  | 62 | 63 | 0.06692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5268-1_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 64 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2723679.7935 | 1078341.1702 | 2723670.1473 | 1078338.9952 | 2723657.4115 | 1078336.1199
1 | 2723704.4784 | 1078313.0171 | 2723699.3385 | 1078317.7718 | 2723692.5555 | 1078323.4606 | 2723683.734 | 1078326.5951 | 2723681.0367 | 1078336.2029 | 2723679.7935 | 1078341.1702
2 | 2723639.3369 | 1078332.0319 | 2723644.1173 | 1078333.1186 | 2723657.4115 | 1078336.1199
3 | 2723704.4784 | 1078313.0171 | 2723721.8035 | 1078297
4 | 2723704.4784 | 1078313.0171 | 2723711.1037 | 1078319.6897 | 2723718.565 | 1078326.9019 | 2723706.0541 | 1078378.1744 | 2723682.9152 | 1078373.6136
5 | 2723639.3369 | 1078332.0319 | 2723642.7365 | 1078314.5491
6 | 2723734.7747 | 1078281.7757 | 2723730.9935 | 1078288.5038 | 2723721.8035 | 1078297
7 | 2723646.8943 | 1078293.1667 | 2723642.7365 | 1078314.5491
8 | 2723734.7747 | 1078281.7757 | 2723745.2709 | 1078274.6279 | 2723743.8594 | 1078271.8083
9 | 2723647.2408 | 1078268.4236 | 2723647.2408 | 1078268.4236 | 2723647.1805 | 1078291.6949 | 2723646.8943 | 1078293.1667
10 | 2723743.8594 | 1078271.8083 | 2723720.5698 | 1078251.283
11 | 2723743.8594 | 1078271.8083 | 2723750.6147 | 1078264.0062
12 | 2723743.8594 | 1078271.8083 | 2723745.2709 | 1078274.6279 | 2723750.1997 | 1078284.4796 | 2723760.9264 | 1078305.7684
13 | 2723710.5275 | 1078242.4327 | 2723708.6559 | 1078254.2367
14 | 2723710.5275 | 1078242.4327 | 2723720.5698 | 1078251.283
15 | 2723710.5275 | 1078242.4327 | 2723706.9972 | 1078239.323
16 | 2723760.9264 | 1078305.7684 | 2723763.8436 | 1078307.6351
17 | 2723760.9264 | 1078305.7684 | 2723774.7544 | 1078340.8215
18 | 2723806.404 | 1078334.8132 | 2723804.4454 | 1078333.6167 | 2723763.8436 | 1078307.6351
19 | 2723750.6147 | 1078264.0062 | 2723759.7682 | 1078253.4342
20 | 2723704.0801 | 1078236.7534 | 2723706.9972 | 1078239.323
21 | 2723759.7682 | 1078253.4342 | 2723767.5496 | 1078244.4469 | 2723771.9313 | 1078244.1245 | 2723780.1891 | 1078249.3263
22 | 2723729.1269 | 1078139.8251 | 2723743.8993 | 1078149.718
23 | 2723661.9169 | 1078110.8394 | 2723684.6676 | 1078116.3716 | 2723707.9102 | 1078125.6165 | 2723729.1269 | 1078139.8251
24 | 2723770.066 | 1078167.2416 | 2723743.8993 | 1078149.718
25 | 2723661.9169 | 1078110.8394 | 2723684.3799 | 1078153.5151 | 2723691.9834 | 1078161.1768
26 | 2723770.066 | 1078167.2416 | 2723777.8933 | 1078155.5665
27 | 2723770.066 | 1078167.2416 | 2723784.9702 | 1078177.2292 | 2723798.2276 | 1078185.3329
28 | 2723726.8327 | 1078186.7779 | 2723700.3265 | 1078169.5836 | 2723691.9834 | 1078161.1768
29 | 2723777.8933 | 1078155.5665 | 2723777.9516 | 1078155.4795
30 | 2723798.2276 | 1078185.3329 | 2723816.5449 | 1078196.5295
31 | 2723736.6327 | 1078193.1351 | 2723726.8327 | 1078186.7779
32 | 2723816.5449 | 1078196.5295 | 2723834.1457 | 1078207.288
33 | 2723736.6327 | 1078193.1351 | 2723760.4388 | 1078208.5778
34 | 2723834.1457 | 1078207.288 | 2723850.5507 | 1078217.3157
35 | 2723843.665 | 1078290.4161 | 2723852.386 | 1078295.6959 | 2723861.2604 | 1078302.9209
36 | 2723822.9431 | 1078277.8707 | 2723843.665 | 1078290.4161
37 | 2723813.5333 | 1078272.1739 | 2723822.9431 | 1078277.8707
38 | 2723813.5333 | 1078272.1739 | 2723798.8165 | 1078263.2642
39 | 2723879.2677 | 1078278.9393 | 2723896.3703 | 1078290.2932
40 | 2723878.5699 | 1078278.4761 | 2723879.2677 | 1078278.9393
41 | 2723792.8319 | 1078259.641 | 2723798.8165 | 1078263.2642
42 | 2723860.6591 | 1078266.5858 | 2723878.5699 | 1078278.4761
43 | 2723785.2284 | 1078252.5006 | 2723780.1891 | 1078249.3263
44 | 2723785.2284 | 1078252.5006 | 2723791.2113 | 1078258.6599 | 2723792.8319 | 1078259.641
45 | 2723785.2284 | 1078252.5006 | 2723796.9079 | 1078235.6921 | 2723808.3822 | 1078235.1024 | 2723815.133 | 1078236.3626
46 | 2723815.133 | 1078236.3626 | 2723841.5737 | 1078253.9157
47 | 2723878.5131 | 1078235.2602 | 2723876.7686 | 1078237.7377 | 2723882.3187 | 1078241.4866 | 2723881.0199 | 1078244.5958 | 2723871.0644 | 1078238.1332 | 2723856.8132 | 1078231.2053 | 2723841.517 | 1078230.572 | 2723815.133 | 1078236.3626
48 | 2723859.2324 | 1078265.6387 | 2723841.5737 | 1078253.9157
49 | 2723878.5131 | 1078235.2602 | 2723874.9035 | 1078232.8738
50 | 2723878.5131 | 1078235.2602 | 2723876.7686 | 1078237.7377 | 2723882.3187 | 1078241.4866 | 2723881.0199 | 1078244.5958 | 2723900.4228 | 1078258.0443
51 | 2723900.4228 | 1078258.0443 | 2723906.6648 | 1078249.6496
52 | 2723939.9229 | 1078209.1558 | 2723931.3625 | 1078218.9222 | 2723919.2862 | 1078232.6757 | 2723906.6648 | 1078249.6496
53 | 2723859.2324 | 1078265.6387 | 2723860.6591 | 1078266.5858
54 | 2723874.9035 | 1078232.8738 | 2723861.421 | 1078223.9603 | 2723850.5507 | 1078217.3157
55 | 2723704.0801 | 1078236.7534 | 2723700.0511 | 1078233.2043
56 | 2723693.7941 | 1078227.6926 | 2723700.0511 | 1078233.2043
57 | 2723687.9383 | 1078222.7591 | 2723689.1049 | 1078223.5621 | 2723693.7941 | 1078227.6926
58 | 2723687.9383 | 1078222.7591 | 2723684.9501 | 1078220.7023
59 | 2723684.9501 | 1078220.7023 | 2723675.8385 | 1078214.4308 | 2723668.0608 | 1078208.9707
60 | 2723939.9229 | 1078209.1558 | 2723953.543 | 1078192.0979 | 2723966.0864 | 1078176.397 | 2723967.0766 | 1078178.5298
61 | 2723792.2525 | 1078229.215 | 2723760.4388 | 1078208.5778
62 | 2723951.041 | 1078237.1578 | 2723954.5163 | 1078229.0559 | 2723955.9789 | 1078224.3933 | 2723955.5037 | 1078221.3925 | 2723954.2134 | 1078218.353 | 2723949.3041 | 1078208.7017 | 2723948.8555 | 1078205.1566 | 2723949.9557 | 1078202.2658 | 2723951.1652 | 1078198.9657 | 2723967.0766 | 1078178.5298

## bus_geodata
| x | y | coords
0 | 2723679.7935 | 1078341.1702
1 | 2723657.4115 | 1078336.1199
2 | 2723704.4784 | 1078313.0171
3 | 2723639.3369 | 1078332.0319
4 | 2723721.8035 | 1078297
5 | 2723682.9152 | 1078373.6136
6 | 2723642.7365 | 1078314.5491
7 | 2723734.7747 | 1078281.7757
8 | 2723646.8943 | 1078293.1667
9 | 2723743.8594 | 1078271.8083
10 | 2723708.6559 | 1078254.2367
11 | 2723710.5275 | 1078242.4327
12 | 2723760.9264 | 1078305.7684
13 | 2723763.8436 | 1078307.6351
14 | 2723774.7544 | 1078340.8215
15 | 2723720.5698 | 1078251.283
16 | 2723750.6147 | 1078264.0062
17 | 2723706.9972 | 1078239.323
18 | 2723806.404 | 1078334.8132
19 | 2723759.7682 | 1078253.4342
20 | 2723729.1269 | 1078139.8251
21 | 2723743.8993 | 1078149.718
22 | 2723661.9169 | 1078110.8394
23 | 2723770.066 | 1078167.2416
24 | 2723691.9834 | 1078161.1768
25 | 2723777.8933 | 1078155.5665
26 | 2723798.2276 | 1078185.3329
27 | 2723726.8327 | 1078186.7779
28 | 2723777.9516 | 1078155.4795
29 | 2723816.5449 | 1078196.5295
30 | 2723736.6327 | 1078193.1351
31 | 2723834.1457 | 1078207.288
32 | 2723861.2604 | 1078302.9209
33 | 2723843.665 | 1078290.4161
34 | 2723822.9431 | 1078277.8707
35 | 2723813.5333 | 1078272.1739
36 | 2723896.3703 | 1078290.2932
37 | 2723879.2677 | 1078278.9393
38 | 2723798.8165 | 1078263.2642
39 | 2723878.5699 | 1078278.4761
40 | 2723780.1891 | 1078249.3263
41 | 2723785.2284 | 1078252.5006
42 | 2723792.8319 | 1078259.641
43 | 2723815.133 | 1078236.3626
44 | 2723841.5737 | 1078253.9157
45 | 2723878.5131 | 1078235.2602
46 | 2723900.4228 | 1078258.0443
47 | 2723906.6648 | 1078249.6496
48 | 2723859.2324 | 1078265.6387
49 | 2723874.9035 | 1078232.8738
50 | 2723860.6591 | 1078266.5858
51 | 2723704.0801 | 1078236.7534
52 | 2723700.0511 | 1078233.2043
53 | 2723693.7941 | 1078227.6926
54 | 2723687.9383 | 1078222.7591
55 | 2723684.9501 | 1078220.7023
56 | 2723850.5507 | 1078217.3157
57 | 2723939.9229 | 1078209.1558
58 | 2723760.4388 | 1078208.5778
59 | 2723792.2525 | 1078229.215
60 | 2723668.0608 | 1078208.9707
61 | 2723647.2408 | 1078268.4236
62 | 2723967.0766 | 1078178.5298
63 | 2723951.041 | 1078237.1578
64 | 2723743.8594 | 1078271.8083

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1