## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5268-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5268-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5268-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5268-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5268-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5268-8_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5268-8_0_4_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_5268-8_0_4_node_88 | 0.4 | n |  | TRUE
8 | bus_LV_5268-8_0_4_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_5268-8_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_5268-8_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_5268-8_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_5268-8_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5268-8_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5268-8_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5268-8_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5268-8_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5268-8_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5268-8_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5268-8_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5268-8_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5268-8_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_5268-8_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5268-8_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_5268-8_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5268-8_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5268-8_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5268-8_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5268-8_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5268-8_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5268-8_0_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_5268-8_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_5268-8_0_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_5268-8_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5268-8_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5268-8_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5268-8_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5268-8_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5268-8_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5268-8_0_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_5268-8_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_5268-8_0_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_5268-8_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5268-8_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_5268-8_0_4_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_5268-8_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5268-8_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5268-8_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5268-8_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_5268-8_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5268-8_0_4_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_5268-8_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5268-8_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5268-8_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5268-8_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5268-8_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5268-8_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5268-8_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_5268-8_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5268-8_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5268-8_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_5268-8_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_5268-8_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5268-8_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5268-8_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5268-8_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5268-8_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_5268-8_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5268-8_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_5268-8_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5268-8_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5268-8_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5268-8_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5268-8_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5268-8_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5268-8_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_5268-8_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_5268-8_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5268-8_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5268-8_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_5268-8_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5268-8_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_5268-8_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5268-8_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5268-8_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5268-8_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5268-8_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_5268-8_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_5268-8_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_MV_258_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5268-8_0_4_load_0 | 0 | 0.029266 | 0.0073349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5268-8_0_4_load_5 | 4 | 0.0042431 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5268-8_0_4_load_82 | 6 | 0.013508 | 0.0033854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5268-8_0_4_load_88 | 7 | 0.017501 | 0.0043861 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5268-8_0_4_load_45 | 9 | 0.0044819 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5268-8_0_4_load_6 | 12 | 0.011867 | 0.0029741 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5268-8_0_4_load_7 | 13 | 0.0059028 | 0.0014794 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5268-8_0_4_load_9 | 15 | 0.0099291 | 0.0024885 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5268-8_0_4_load_11 | 17 | 0.0060426 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5268-8_0_4_load_15 | 18 | 0.027092 | 0.0067898 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5268-8_0_4_load_22 | 19 | 0.0036205 | 0.00090739 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5268-8_0_4_load_28 | 20 | 0.0048713 | 0.0012209 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5268-8_0_4_load_32 | 21 | 0.0042554 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5268-8_0_4_load_29 | 23 | 0.0059024 | 0.0014793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5268-8_0_4_load_30 | 24 | 0.025478 | 0.0063855 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5268-8_0_4_load_12 | 25 | 0.0074079 | 0.0018566 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5268-8_0_4_load_13 | 26 | 0.037252 | 0.0093361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5268-8_0_4_load_34 | 29 | 0.0065816 | 0.0016495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5268-8_0_4_load_84 | 30 | 0.0086117 | 0.0021583 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5268-8_0_4_load_81 | 31 | 0.01284 | 0.0032181 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5268-8_0_4_load_85 | 32 | 0.010529 | 0.0026389 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5268-8_0_4_load_18 | 33 | 0.0047567 | 0.0011922 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5268-8_0_4_load_21 | 35 | 0.0019004 | 0.00047628 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5268-8_0_4_load_23 | 36 | 0.0078126 | 0.001958 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5268-8_0_4_load_26 | 38 | 0.002582 | 0.00064712 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5268-8_0_4_load_73 | 39 | 0.011665 | 0.0029235 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5268-8_0_4_load_70 | 41 | 0.0057556 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5268-8_0_4_load_25 | 42 | 0.0052841 | 0.0013243 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5268-8_0_4_load_74 | 43 | 0.0060935 | 0.0015272 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5268-8_0_4_load_75 | 44 | 0.0057597 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5268-8_0_4_load_31 | 46 | 0.0086623 | 0.002171 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5268-8_0_4_load_33 | 47 | 0.0047879 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5268-8_0_4_load_72 | 48 | 0.0035415 | 0.00088758 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5268-8_0_4_load_80 | 50 | 0.0088198 | 0.0022105 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5268-8_0_4_load_35 | 51 | 0.012619 | 0.0031627 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5268-8_0_4_load_36 | 52 | 0.013417 | 0.0033626 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5268-8_0_4_load_38 | 54 | 0.02734 | 0.0068521 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5268-8_0_4_load_42 | 56 | 0.0025414 | 0.00063693 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5268-8_0_4_load_79 | 57 | 0.0031738 | 0.00079543 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5268-8_0_4_load_41 | 58 | 0.0054149 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5268-8_0_4_load_44 | 59 | 0.0033525 | 0.0008402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5268-8_0_4_load_76 | 60 | 0.010091 | 0.002529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5268-8_0_4_load_77 | 61 | 0.0012796 | 0.00032069 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5268-8_0_4_load_46 | 62 | 0.00083571 | 0.00020945 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5268-8_0_4_load_47 | 63 | 0.0014823 | 0.00037151 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5268-8_0_4_load_48 | 64 | 0.0023267 | 0.00058312 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5268-8_0_4_load_50 | 65 | 0.002586 | 0.00064812 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5268-8_0_4_load_52 | 66 | 0.0023161 | 0.00058046 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5268-8_0_4_load_58 | 67 | 0.0018381 | 0.00046068 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5268-8_0_4_load_53 | 68 | 0.0017886 | 0.00044827 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5268-8_0_4_load_54 | 69 | 0.0034293 | 0.00085946 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5268-8_0_4_load_57 | 71 | 0.0028361 | 0.00071079 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5268-8_0_4_load_56 | 72 | 0.0076232 | 0.0019106 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5268-8_0_4_load_59 | 73 | 0.010374 | 0.0025999 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5268-8_0_4_load_64 | 74 | 0.0055001 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5268-8_0_4_load_60 | 75 | 0.0045587 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5268-8_0_4_load_62 | 76 | 0.0055847 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5268-8_0_4_load_61 | 77 | 0.0019742 | 0.00049478 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5268-8_0_4_load_63 | 78 | 0.0057522 | 0.0014416 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5268-8_0_4_load_65 | 79 | 0.0064605 | 0.0016192 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5268-8_0_4_load_66 | 80 | 0.003776 | 0.00094636 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5268-8_0_4_load_68 | 82 | 0.0023964 | 0.00060059 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5268-8_0_4_load_69 | 83 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5268-8_0_4_load_71 | 84 | 0.0082584 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5268-8_0_4_load_78 | 85 | 0.0030213 | 0.00075721 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5268-8_0_4_load_86 | 86 | 0.0049474 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5268-8_0_4_load_89 | 88 | 0.0012444 | 0.00031188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5268-8_0_4_line_0 |  | 0 | 1 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5268-8_0_4_line_1 |  | 0 | 2 | 0.081243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5268-8_0_4_line_2 |  | 1 | 3 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5268-8_0_4_line_3 |  | 2 | 4 | 0.041884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5268-8_0_4_line_4 |  | 3 | 7 | 0.078579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5268-8_0_4_line_5 |  | 3 | 5 | 0.042045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5268-8_0_4_line_6 |  | 4 | 8 | 0.00998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5268-8_0_4_line_7 |  | 5 | 6 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5268-8_0_4_line_8 |  | 8 | 11 | 0.019046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5268-8_0_4_line_9 |  | 9 | 10 | 0.0094157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5268-8_0_4_line_10 |  | 10 | 59 | 0.054588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5268-8_0_4_line_11 |  | 10 | 55 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5268-8_0_4_line_12 |  | 11 | 30 | 0.016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5268-8_0_4_line_13 |  | 11 | 27 | 0.051478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5268-8_0_4_line_14 |  | 12 | 13 | 0.024715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5268-8_0_4_line_15 |  | 12 | 14 | 0.035531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5268-8_0_4_line_16 |  | 13 | 15 | 0.0060204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5268-8_0_4_line_17 |  | 14 | 16 | 0.005083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5268-8_0_4_line_18 |  | 14 | 17 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5268-8_0_4_line_19 |  | 15 | 18 | 0.012891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5268-8_0_4_line_20 |  | 16 | 19 | 0.0026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5268-8_0_4_line_21 |  | 16 | 20 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5268-8_0_4_line_22 |  | 17 | 21 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5268-8_0_4_line_23 |  | 19 | 22 | 0.048386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5268-8_0_4_line_24 |  | 20 | 23 | 0.043371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5268-8_0_4_line_25 |  | 21 | 24 | 0.0036739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5268-8_0_4_line_26 |  | 22 | 35 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5268-8_0_4_line_27 |  | 22 | 36 | 0.012798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5268-8_0_4_line_28 |  | 22 | 33 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5268-8_0_4_line_29 |  | 24 | 46 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5268-8_0_4_line_30 |  | 25 | 26 | 0.0083253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5268-8_0_4_line_31 |  | 26 | 27 | 0.052872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5268-8_0_4_line_32 |  | 27 | 28 | 0.032927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5268-8_0_4_line_33 |  | 28 | 29 | 0.0095699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5268-8_0_4_line_34 |  | 29 | 31 | 0.035425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5268-8_0_4_line_35 |  | 30 | 32 | 0.009297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5268-8_0_4_line_36 |  | 31 | 50 | 0.024911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5268-8_0_4_line_37 |  | 33 | 34 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5268-8_0_4_line_38 |  | 34 | 37 | 0.06105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5268-8_0_4_line_39 |  | 35 | 38 | 0.010663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5268-8_0_4_line_40 |  | 36 | 39 | 0.045296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5268-8_0_4_line_41 |  | 37 | 40 | 0.0853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5268-8_0_4_line_42 |  | 37 | 41 | 0.05272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5268-8_0_4_line_43 |  | 38 | 42 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5268-8_0_4_line_44 |  | 39 | 43 | 0.018629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5268-8_0_4_line_45 |  | 40 | 44 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5268-8_0_4_line_46 |  | 40 | 45 | 0.032647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5268-8_0_4_line_47 |  | 43 | 83 | 0.0030841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5268-8_0_4_line_48 |  | 44 | 67 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5268-8_0_4_line_49 |  | 45 | 63 | 0.031481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5268-8_0_4_line_50 |  | 46 | 47 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5268-8_0_4_line_51 |  | 47 | 48 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5268-8_0_4_line_52 |  | 48 | 49 | 0.0091732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5268-8_0_4_line_53 |  | 49 | 56 | 0.0085484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5268-8_0_4_line_54 |  | 49 | 53 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5268-8_0_4_line_55 |  | 50 | 57 | 0.046775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5268-8_0_4_line_56 |  | 51 | 52 | 0.02033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5268-8_0_4_line_57 |  | 51 | 53 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5268-8_0_4_line_58 |  | 52 | 54 | 0.0021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5268-8_0_4_line_59 |  | 53 | 55 | 0.030673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5268-8_0_4_line_60 |  | 55 | 57 | 0.00086649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5268-8_0_4_line_61 |  | 56 | 58 | 0.0062819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5268-8_0_4_line_62 |  | 59 | 60 | 0.00093251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5268-8_0_4_line_63 |  | 60 | 61 | 0.022756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5268-8_0_4_line_64 |  | 61 | 85 | 0.011169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5268-8_0_4_line_65 |  | 62 | 63 | 0.0050358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5268-8_0_4_line_66 |  | 62 | 64 | 0.023591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5268-8_0_4_line_67 |  | 64 | 65 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5268-8_0_4_line_68 |  | 65 | 66 | 0.020716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5268-8_0_4_line_69 |  | 67 | 70 | 0.025394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5268-8_0_4_line_70 |  | 68 | 69 | 0.027253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5268-8_0_4_line_71 |  | 68 | 70 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5268-8_0_4_line_72 |  | 70 | 71 | 0.02292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5268-8_0_4_line_73 |  | 71 | 74 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5268-8_0_4_line_74 |  | 72 | 73 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5268-8_0_4_line_75 |  | 73 | 75 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5268-8_0_4_line_76 |  | 74 | 76 | 0.047709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5268-8_0_4_line_77 |  | 75 | 77 | 0.01995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5268-8_0_4_line_78 |  | 76 | 78 | 0.043295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5268-8_0_4_line_79 |  | 77 | 78 | 0.036253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5268-8_0_4_line_80 |  | 79 | 80 | 0.020943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5268-8_0_4_line_81 |  | 79 | 81 | 0.064173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5268-8_0_4_line_82 |  | 80 | 82 | 0.031093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5268-8_0_4_line_83 |  | 81 | 83 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5268-8_0_4_line_84 |  | 82 | 84 | 0.055861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5268-8_0_4_line_85 |  | 85 | 86 | 0.035443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5268-8_0_4_line_86 |  | 86 | 87 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5268-8_0_4_line_87 |  | 87 | 88 | 0.016763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5268-8_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 89 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2723748.1729 | 1077662.2058 | 2723749.1826 | 1077666.0625 | 2723737.7528 | 1077668.3148
1 | 2723660.1424 | 1077670.9709 | 2723660.1194 | 1077674.0171 | 2723690.9444 | 1077675.0653 | 2723714.7556 | 1077672.8467 | 2723737.7528 | 1077668.3148
2 | 2723748.1729 | 1077662.2058 | 2723757.8426 | 1077659.8337 | 2723760.5765 | 1077659.1553
3 | 2723660.1424 | 1077670.9709 | 2723620.4149 | 1077666.6623 | 2723618.5147 | 1077666.365
4 | 2723760.5765 | 1077659.1553 | 2723793.2958 | 1077651.1247 | 2723810.9685 | 1077648.4704 | 2723828.2876 | 1077649.067 | 2723837.9482 | 1077649.797
5 | 2723776.469 | 1077682.9175 | 2723776.1936 | 1077663.9536 | 2723772.0159 | 1077663.7798 | 2723764.5055 | 1077663.5383 | 2723759.2288 | 1077662.7528 | 2723757.8426 | 1077659.8337 | 2723760.5765 | 1077659.1553
6 | 2723608.6546 | 1077664.8225 | 2723618.5147 | 1077666.365
7 | 2723776.469 | 1077682.9175 | 2723791.2636 | 1077681.7497
8 | 2723589.6442 | 1077662.9358 | 2723608.6546 | 1077664.8225
9 | 2723718.1274 | 1077735.6832 | 2723727.2931 | 1077733.5279
10 | 2723718.1274 | 1077735.6832 | 2723755.1642 | 1077736.2241 | 2723772.6698 | 1077735.0117
11 | 2723718.1274 | 1077735.6832 | 2723708.5769 | 1077733.7214 | 2723701.7311 | 1077732.1369
12 | 2723589.6442 | 1077662.9358 | 2723588.6929 | 1077678.4167 | 2723587.8403 | 1077679.1872
13 | 2723589.6442 | 1077662.9358 | 2723585.6789 | 1077662.633 | 2723580.8577 | 1077663.914 | 2723576.5406 | 1077666.017 | 2723572.9413 | 1077668.746 | 2723570.0786 | 1077671.1787 | 2723566.7625 | 1077675.27 | 2723564.5879 | 1077679.7959 | 2723562.7241 | 1077684.3281 | 2723561.4852 | 1077689.0843 | 2723560.9647 | 1077694.0551 | 2723560.9223 | 1077698.4464
14 | 2723586.5191 | 1077800.0787 | 2723584.9858 | 1077784.1744 | 2723584.4495 | 1077775.4543
15 | 2723593.4618 | 1077834.1272 | 2723590.4914 | 1077831.1426 | 2723587.0277 | 1077805.3535 | 2723586.5191 | 1077800.0787
16 | 2723584.08 | 1077769.4453 | 2723584.4495 | 1077775.4543
17 | 2723593.4618 | 1077834.1272 | 2723591.9026 | 1077838.9658
18 | 2723593.4618 | 1077834.1272 | 2723597.2756 | 1077830.7798 | 2723602.6776 | 1077826.5306 | 2723606.8124 | 1077824.3836
19 | 2723584.08 | 1077769.4453 | 2723584.08 | 1077769.4453 | 2723585.5733 | 1077756.6412
20 | 2723591.9026 | 1077838.9658 | 2723591.095 | 1077841.4846
21 | 2723591.9026 | 1077838.9658 | 2723583.1048 | 1077837.453 | 2723566.2435 | 1077836.4773
22 | 2723606.8124 | 1077824.3836 | 2723609.4166 | 1077823.0314 | 2723617.9409 | 1077819.2569 | 2723622.7416 | 1077817.3012
23 | 2723604.9606 | 1077883.7076 | 2723601.8761 | 1077881.3656 | 2723598.6965 | 1077879.1217 | 2723595.9313 | 1077876.3636 | 2723593.7157 | 1077872.5715 | 2723591.6211 | 1077868.1703 | 2723590.0289 | 1077864.2907 | 2723588.8646 | 1077860.0085 | 2723588.5475 | 1077855.3319 | 2723588.9552 | 1077850.5589 | 2723590.011 | 1077844.8651 | 2723591.095 | 1077841.4846
24 | 2723534.8297 | 1077846.9373 | 2723535.187 | 1077834.6801 | 2723566.2435 | 1077836.4773
25 | 2723626.1439 | 1077815.9151 | 2723622.7416 | 1077817.3012
26 | 2723604.9606 | 1077883.7076 | 2723594.7494 | 1077886.3581 | 2723581.74 | 1077887.5359
27 | 2723604.9606 | 1077883.7076 | 2723609.0948 | 1077885.2481 | 2723613.6549 | 1077886.4859 | 2723617.3159 | 1077886.4926
28 | 2723604.9606 | 1077883.7076 | 2723606.325 | 1077891.919 | 2723607.7779 | 1077900.6847
29 | 2723626.1439 | 1077815.9151 | 2723627.3524 | 1077815.4227 | 2723646.6576 | 1077807.5052
30 | 2723512.652 | 1077736.0634 | 2723519.2185 | 1077730.9456
31 | 2723560.9223 | 1077698.4464 | 2723556.5793 | 1077701.8275 | 2723519.2185 | 1077730.9456
32 | 2723560.9223 | 1077698.4464 | 2723562.662 | 1077702.7181 | 2723565.2008 | 1077706.2944 | 2723567.8432 | 1077709.3613 | 2723571.8514 | 1077712.1445 | 2723575.9852 | 1077714.0964 | 2723580.4339 | 1077715.8545 | 2723585.92 | 1077717.4224
33 | 2723585.92 | 1077717.4224 | 2723590.9252 | 1077717.4127 | 2723595.4833 | 1077717.1666
34 | 2723630.6441 | 1077717.6531 | 2723620.9609 | 1077715.598 | 2723597.8107 | 1077717.0409 | 2723595.4833 | 1077717.1666
35 | 2723580.9423 | 1077685.4203 | 2723587.8403 | 1077679.1872
36 | 2723655.0128 | 1077722.8251 | 2723630.6441 | 1077717.6531
37 | 2723609.6555 | 1077912.0123 | 2723607.7779 | 1077900.6847
38 | 2723609.6555 | 1077912.0123 | 2723615.1405 | 1077928.1798 | 2723616.9088 | 1077938.7011 | 2723615.7024 | 1077957.179 | 2723614.5541 | 1077967.4299 | 2723618.8656 | 1077968.6626
39 | 2723571.1206 | 1077888.4973 | 2723581.74 | 1077887.5359
40 | 2723661.6974 | 1077877.6189 | 2723619.0793 | 1077886.4958 | 2723617.3159 | 1077886.4926
41 | 2723618.8656 | 1077968.6626 | 2723615.5892 | 1077987.2765 | 2723613.253 | 1077998.2371 | 2723642.0442 | 1077979.9408 | 2723650.3047 | 1077976.1389 | 2723656.4011 | 1077973.6607 | 2723661.6354 | 1077972.3103
42 | 2723618.8656 | 1077968.6626 | 2723620.3262 | 1077963.6997 | 2723621.5586 | 1077959.2659 | 2723623.0109 | 1077954.7143 | 2723624.7554 | 1077950.7022 | 2723627.7627 | 1077946.5046 | 2723631.3913 | 1077942.3196 | 2723635.4318 | 1077938.1429 | 2723647.6428 | 1077925.9186
43 | 2723550.4345 | 1077890.37 | 2723571.1206 | 1077888.4973
44 | 2723661.6974 | 1077877.6189 | 2723668.1619 | 1077876.2725 | 2723673.3956 | 1077875.3335 | 2723678.5204 | 1077874.4034 | 2723680.0203 | 1077874.4339
45 | 2723661.6354 | 1077972.3103 | 2723664.2862 | 1077964.614 | 2723677.5336 | 1077956.3393
46 | 2723661.6354 | 1077972.3103 | 2723670.9485 | 1077970.6313 | 2723676.6904 | 1077969.925 | 2723683.0491 | 1077969.8428 | 2723688.3479 | 1077970.6731 | 2723693.8372 | 1077972.4524
47 | 2723680.0203 | 1077874.4339 | 2723683.1037 | 1077874.4965
48 | 2723691.956 | 1077947.3306 | 2723677.5336 | 1077956.3393
49 | 2723693.8372 | 1077972.4524 | 2723715.2902 | 1077958.0994 | 2723720.3595 | 1077955.5607
50 | 2723672.9869 | 1077796.7069 | 2723646.6576 | 1077807.5052
51 | 2723696.9087 | 1077786.8821 | 2723684.5223 | 1077791.976 | 2723672.9869 | 1077796.7069
52 | 2723705.3924 | 1077783.3931 | 2723696.9087 | 1077786.8821
53 | 2723705.3924 | 1077783.3931 | 2723713.2996 | 1077780.1446
54 | 2723697.2837 | 1077762.48 | 2723705.3924 | 1077783.3931
55 | 2723700.8827 | 1077731.9609 | 2723695.6094 | 1077730.8674 | 2723676.3989 | 1077727.364 | 2723655.0128 | 1077722.8251
56 | 2723672.203 | 1077759.3922 | 2723664.0019 | 1077757.6681 | 2723652.083 | 1077758.53
57 | 2723697.2837 | 1077762.48 | 2723687.4192 | 1077762.5911 | 2723672.203 | 1077759.3922
58 | 2723652.083 | 1077758.53 | 2723649.9402 | 1077758.6849
59 | 2723697.2837 | 1077762.48 | 2723701.7311 | 1077732.1369
60 | 2723701.7311 | 1077732.1369 | 2723700.8827 | 1077731.9609
61 | 2723719.1103 | 1077777.7575 | 2723713.2996 | 1077780.1446
62 | 2723772.6698 | 1077735.0117 | 2723773.6 | 1077734.9472
63 | 2723773.6 | 1077734.9472 | 2723796.3018 | 1077733.3749
64 | 2723807.4442 | 1077732.6032 | 2723796.3018 | 1077733.3749
65 | 2723724.8623 | 1077953.3058 | 2723720.3595 | 1077955.5607
66 | 2723724.8623 | 1077953.3058 | 2723730.0349 | 1077950.7154 | 2723747.0558 | 1077945.4873
67 | 2723758.956 | 1077941.961 | 2723756.045 | 1077942.7262 | 2723747.0558 | 1077945.4873
68 | 2723758.956 | 1077941.961 | 2723778.9917 | 1077936.6938
69 | 2723714.1238 | 1077935.1701 | 2723707.6646 | 1077937.5185 | 2723691.956 | 1077947.3306
70 | 2723730.7087 | 1077929.128 | 2723756.3152 | 1077919.7993
71 | 2723714.1238 | 1077935.1701 | 2723730.7087 | 1077929.128
72 | 2723714.1238 | 1077935.1701 | 2723711.3019 | 1077915.6875 | 2723712.248 | 1077912.5944
73 | 2723719.6772 | 1077901.4481 | 2723713.7659 | 1077907.6316 | 2723712.248 | 1077912.5944
74 | 2723813.9607 | 1077862.4691 | 2723814.9776 | 1077872.6602 | 2723813.7058 | 1077878.2607
75 | 2723813.9607 | 1077862.4691 | 2723813.4344 | 1077857.1954 | 2723813.0011 | 1077851.8747
76 | 2723751.7207 | 1077866.1155 | 2723732.6396 | 1077887.889 | 2723719.6772 | 1077901.4481
77 | 2723811.3819 | 1077831.9908 | 2723813.0011 | 1077851.8747
78 | 2723751.7207 | 1077866.1155 | 2723780.2558 | 1077833.5541
79 | 2723780.2558 | 1077833.5541 | 2723782.7303 | 1077830.7305 | 2723786.3159 | 1077827.9123 | 2723790.3091 | 1077826.4478 | 2723807.1723 | 1077826.8905 | 2723810.0119 | 1077829.0386 | 2723811.3819 | 1077831.9908 | 2723811.3819 | 1077831.9908
80 | 2723732.8839 | 1077835.2398 | 2723744.5694 | 1077817.8602
81 | 2723690.5803 | 1077880.9862 | 2723698.556 | 1077878.9687 | 2723710.9765 | 1077867.7903 | 2723730.4248 | 1077838.8971 | 2723732.8839 | 1077835.2398
82 | 2723744.5694 | 1077817.8602 | 2723761.9185 | 1077792.0575 | 2723761.9185 | 1077792.0575
83 | 2723690.5803 | 1077880.9862 | 2723688.7297 | 1077877.5906 | 2723686.5241 | 1077875.6 | 2723683.1037 | 1077874.4965
84 | 2723761.9185 | 1077792.0575 | 2723765.4133 | 1077789.1152 | 2723816.5333 | 1077793.3215
85 | 2723807.4442 | 1077732.6032 | 2723820.0873 | 1077731.7276 | 2723842.0885 | 1077725.8639
86 | 2723854.8754 | 1077722.4606 | 2723851.7968 | 1077723.2765 | 2723842.0885 | 1077725.8639
87 | 2723854.8754 | 1077722.4606 | 2723871.3799 | 1077719.526

## bus_geodata
| x | y | coords
0 | 2723737.7529 | 1077668.3148
1 | 2723748.1729 | 1077662.2058
2 | 2723660.1424 | 1077670.9709
3 | 2723760.5765 | 1077659.1553
4 | 2723618.5147 | 1077666.365
5 | 2723776.469 | 1077682.9175
6 | 2723791.2636 | 1077681.7497
7 | 2723837.9482 | 1077649.797
8 | 2723608.6546 | 1077664.8225
9 | 2723727.2931 | 1077733.5279
10 | 2723718.1274 | 1077735.6832
11 | 2723589.6442 | 1077662.9358
12 | 2723586.5191 | 1077800.0787
13 | 2723584.4495 | 1077775.4543
14 | 2723593.4618 | 1077834.1272
15 | 2723584.08 | 1077769.4453
16 | 2723591.9026 | 1077838.9658
17 | 2723606.8124 | 1077824.3836
18 | 2723585.5733 | 1077756.6412
19 | 2723591.095 | 1077841.4846
20 | 2723566.2435 | 1077836.4773
21 | 2723622.7416 | 1077817.3012
22 | 2723604.9606 | 1077883.7076
23 | 2723534.8297 | 1077846.9373
24 | 2723626.1439 | 1077815.9151
25 | 2723512.652 | 1077736.0634
26 | 2723519.2185 | 1077730.9456
27 | 2723560.9223 | 1077698.4464
28 | 2723585.92 | 1077717.4224
29 | 2723595.4833 | 1077717.1666
30 | 2723587.8403 | 1077679.1872
31 | 2723630.6441 | 1077717.6531
32 | 2723580.9423 | 1077685.4203
33 | 2723607.7779 | 1077900.6847
34 | 2723609.6555 | 1077912.0123
35 | 2723581.74 | 1077887.5359
36 | 2723617.3159 | 1077886.4926
37 | 2723618.8655 | 1077968.6626
38 | 2723571.1206 | 1077888.4973
39 | 2723661.6974 | 1077877.6189
40 | 2723661.6354 | 1077972.3103
41 | 2723647.6428 | 1077925.9186
42 | 2723550.4345 | 1077890.37
43 | 2723680.0203 | 1077874.4339
44 | 2723677.5336 | 1077956.3393
45 | 2723693.8372 | 1077972.4524
46 | 2723646.6576 | 1077807.5052
47 | 2723672.9869 | 1077796.7069
48 | 2723696.9087 | 1077786.8821
49 | 2723705.3924 | 1077783.3931
50 | 2723655.0128 | 1077722.8251
51 | 2723672.203 | 1077759.3922
52 | 2723652.083 | 1077758.53
53 | 2723697.2837 | 1077762.48
54 | 2723649.9402 | 1077758.6849
55 | 2723701.7311 | 1077732.1369
56 | 2723713.2996 | 1077780.1446
57 | 2723700.8827 | 1077731.9609
58 | 2723719.1103 | 1077777.7575
59 | 2723772.6698 | 1077735.0117
60 | 2723773.6 | 1077734.9472
61 | 2723796.3018 | 1077733.3749
62 | 2723724.8623 | 1077953.3058
63 | 2723720.3595 | 1077955.5607
64 | 2723747.0558 | 1077945.4873
65 | 2723758.956 | 1077941.961
66 | 2723778.9917 | 1077936.6938
67 | 2723691.956 | 1077947.3306
68 | 2723730.7087 | 1077929.128
69 | 2723756.3152 | 1077919.7993
70 | 2723714.1238 | 1077935.1701
71 | 2723712.248 | 1077912.5944
72 | 2723813.7058 | 1077878.2607
73 | 2723813.9607 | 1077862.4691
74 | 2723719.6772 | 1077901.4481
75 | 2723813.0011 | 1077851.8747
76 | 2723751.7207 | 1077866.1155
77 | 2723811.3819 | 1077831.9908
78 | 2723780.2558 | 1077833.5541
79 | 2723732.8839 | 1077835.2398
80 | 2723744.5694 | 1077817.8602
81 | 2723690.5803 | 1077880.9862
82 | 2723761.9185 | 1077792.0575
83 | 2723683.1037 | 1077874.4965
84 | 2723816.5333 | 1077793.3215
85 | 2723807.4442 | 1077732.6032
86 | 2723842.0885 | 1077725.8639
87 | 2723854.8754 | 1077722.4606
88 | 2723871.3799 | 1077719.526
89 | 2723672.9869 | 1077796.7069

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1