## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5268-9_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5268-9_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5268-9_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5268-9_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5268-9_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5268-9_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5268-9_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5268-9_0_7_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5268-9_0_7_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5268-9_0_7_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5268-9_0_7_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5268-9_0_7_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5268-9_0_7_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5268-9_0_7_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_5268-9_0_7_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5268-9_0_7_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5268-9_0_7_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5268-9_0_7_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5268-9_0_7_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5268-9_0_7_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5268-9_0_7_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_5268-9_0_7_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5268-9_0_7_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5268-9_0_7_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_5268-9_0_7_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_5268-9_0_7_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_5268-9_0_7_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5268-9_0_7_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_5268-9_0_7_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5268-9_0_7_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5268-9_0_7_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5268-9_0_7_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5268-9_0_7_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_5268-9_0_7_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5268-9_0_7_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5268-9_0_7_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_5268-9_0_7_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5268-9_0_7_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_5268-9_0_7_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5268-9_0_7_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5268-9_0_7_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5268-9_0_7_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5268-9_0_7_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5268-9_0_7_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_5268-9_0_7_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_5268-9_0_7_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5268-9_0_7_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5268-9_0_7_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5268-9_0_7_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5268-9_0_7_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_5268-9_0_7_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5268-9_0_7_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5268-9_0_7_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_5268-9_0_7_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5268-9_0_7_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_5268-9_0_7_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5268-9_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5268-9_0_7_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5268-9_0_7_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5268-9_0_7_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_5268-9_0_7_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_5268-9_0_7_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5268-9_0_7_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5268-9_0_7_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5268-9_0_7_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_5268-9_0_7_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5268-9_0_7_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_5268-9_0_7_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5268-9_0_7_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5268-9_0_7_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5268-9_0_7_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5268-9_0_7_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5268-9_0_7_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_5268-9_0_7_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_5268-9_0_7_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_5268-9_0_7_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_5268-9_0_7_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5268-9_0_7_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_5268-9_0_7_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5268-9_0_7_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5268-9_0_7_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5268-9_0_7_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5268-9_0_7_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_5268-9_0_7_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_5268-9_0_7_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5268-9_0_7_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5268-9_0_7_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_5268-9_0_7_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_5268-9_0_7_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_5268-9_0_7_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5268-9_0_7_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_5268-9_0_7_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_5268-9_0_7_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_5268-9_0_7_node_107 | 0.4 | n |  | TRUE
94 | bus_LV_5268-9_0_7_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_5268-9_0_7_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_5268-9_0_7_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5268-9_0_7_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_5268-9_0_7_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_5268-9_0_7_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5268-9_0_7_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_5268-9_0_7_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_5268-9_0_7_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_5268-9_0_7_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_5268-9_0_7_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_5268-9_0_7_node_108 | 0.4 | n |  | TRUE
106 | bus_MV_258_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5268-9_0_7_load_0 | 0 | 0.0034717 | 0.0008701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5268-9_0_7_load_1 | 1 | 0.0030069 | 0.0007536 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5268-9_0_7_load_5 | 5 | 0.0052888 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5268-9_0_7_load_6 | 6 | 0.0050949 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5268-9_0_7_load_8 | 7 | 0.0065331 | 0.0016374 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5268-9_0_7_load_9 | 8 | 0.0025977 | 0.00065106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5268-9_0_7_load_18 | 9 | 0.001282 | 0.00032131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5268-9_0_7_load_19 | 12 | 0.011401 | 0.0028573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5268-9_0_7_load_22 | 14 | 0.011383 | 0.0028528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5268-9_0_7_load_14 | 15 | 0.0019703 | 0.0004938 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5268-9_0_7_load_10 | 16 | 0.0037696 | 0.00094476 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5268-9_0_7_load_11 | 17 | 0.0080479 | 0.002017 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5268-9_0_7_load_12 | 18 | 0.013 | 0.003258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5268-9_0_7_load_13 | 19 | 0.003171 | 0.00079474 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5268-9_0_7_load_24 | 20 | 0.0021765 | 0.00054549 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5268-9_0_7_load_20 | 21 | 0.01266 | 0.0031729 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5268-9_0_7_load_21 | 22 | 0.023578 | 0.0059092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5268-9_0_7_load_27 | 23 | 0.018217 | 0.0045656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5268-9_0_7_load_42 | 25 | 0.0039928 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5268-9_0_7_load_25 | 26 | 0.0081148 | 0.0020338 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5268-9_0_7_load_46 | 27 | 0.004593 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5268-9_0_7_load_43 | 28 | 0.0064435 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5268-9_0_7_load_26 | 29 | 0.016783 | 0.0042062 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5268-9_0_7_load_29 | 30 | 0.0022115 | 0.00055425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5268-9_0_7_load_30 | 31 | 0.0085451 | 0.0021416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5268-9_0_7_load_38 | 32 | 0.0042182 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5268-9_0_7_load_36 | 33 | 0.005999 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5268-9_0_7_load_37 | 34 | 0.0081143 | 0.0020336 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5268-9_0_7_load_39 | 35 | 0.0060977 | 0.0015282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5268-9_0_7_load_41 | 37 | 0.0084057 | 0.0021067 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5268-9_0_7_load_31 | 38 | 0.0061932 | 0.0015522 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5268-9_0_7_load_32 | 39 | 0.0047928 | 0.0012012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5268-9_0_7_load_33 | 40 | 0.0030827 | 0.0007726 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5268-9_0_7_load_34 | 41 | 0.0055664 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5268-9_0_7_load_35 | 42 | 0.0086289 | 0.0021626 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5268-9_0_7_load_56 | 43 | 0.0082492 | 0.0020674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5268-9_0_7_load_57 | 44 | 0.0071903 | 0.0018021 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5268-9_0_7_load_47 | 46 | 0.0022014 | 0.00055171 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5268-9_0_7_load_48 | 47 | 0.0061931 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5268-9_0_7_load_49 | 48 | 0.0054388 | 0.0013631 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5268-9_0_7_load_51 | 50 | 0.016245 | 0.0040714 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5268-9_0_7_load_58 | 51 | 0.0014581 | 0.00036543 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5268-9_0_7_load_59 | 52 | 0.0012762 | 0.00031984 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5268-9_0_7_load_53 | 53 | 0.0037601 | 0.00094236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5268-9_0_7_load_61 | 55 | 0.0020371 | 0.00051055 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5268-9_0_7_load_52 | 56 | 0.006374 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5268-9_0_7_load_54 | 57 | 0.0054259 | 0.0013599 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5268-9_0_7_load_55 | 58 | 0.01344 | 0.0033684 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5268-9_0_7_load_65 | 59 | 0.0031761 | 0.00079601 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5268-9_0_7_load_66 | 60 | 0.0010867 | 0.00027236 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5268-9_0_7_load_62 | 61 | 0.0045121 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5268-9_0_7_load_63 | 62 | 0.00098688 | 0.00024733 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5268-9_0_7_load_71 | 64 | 0.002858 | 0.00071628 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5268-9_0_7_load_72 | 65 | 0.0017476 | 0.00043799 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5268-9_0_7_load_73 | 66 | 0.0024876 | 0.00062346 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5268-9_0_7_load_74 | 67 | 0.0024823 | 0.00062211 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5268-9_0_7_load_67 | 68 | 0.0010185 | 0.00025526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5268-9_0_7_load_68 | 69 | 0.00097381 | 0.00024406 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5268-9_0_7_load_69 | 70 | 0.0012062 | 0.0003023 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5268-9_0_7_load_70 | 71 | 0.00074926 | 0.00018778 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5268-9_0_7_load_78 | 72 | 0.0035062 | 0.00087873 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5268-9_0_7_load_94 | 73 | 0.00286 | 0.00071678 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5268-9_0_7_load_76 | 74 | 0.0031264 | 0.00078356 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5268-9_0_7_load_95 | 75 | 0.0037999 | 0.00095236 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5268-9_0_7_load_75 | 76 | 0.0049813 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5268-9_0_7_load_77 | 77 | 0.0053367 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5268-9_0_7_load_79 | 78 | 0.01108 | 0.0027768 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5268-9_0_7_load_80 | 79 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5268-9_0_7_load_81 | 80 | 0.0056146 | 0.0014072 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5268-9_0_7_load_82 | 81 | 0.0055874 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5268-9_0_7_load_90 | 82 | 0.0026748 | 0.00067037 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5268-9_0_7_load_83 | 84 | 0.0073998 | 0.0018546 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5268-9_0_7_load_84 | 85 | 0.0031191 | 0.00078172 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5268-9_0_7_load_88 | 89 | 0.0032764 | 0.00082115 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5268-9_0_7_load_89 | 90 | 0.0043605 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5268-9_0_7_load_106 | 91 | 0.0068221 | 0.0017098 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5268-9_0_7_load_102 | 92 | 0.006966 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5268-9_0_7_load_103 | 94 | 0.0056382 | 0.0014131 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5268-9_0_7_load_92 | 95 | 0.0060078 | 0.0015057 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5268-9_0_7_load_93 | 96 | 0.0023153 | 0.00058028 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5268-9_0_7_load_97 | 97 | 0.0022899 | 0.0005739 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5268-9_0_7_load_98 | 98 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5268-9_0_7_load_96 | 99 | 0.0049545 | 0.0012417 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5268-9_0_7_load_99 | 100 | 0.0040204 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5268-9_0_7_load_100 | 101 | 0.004658 | 0.0011674 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5268-9_0_7_load_101 | 102 | 0.0041575 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5268-9_0_7_load_105 | 104 | 0.0050678 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5268-9_0_7_load_108 | 105 | 0.0023077 | 0.00057837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5268-9_0_7_line_0 |  | 0 | 1 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5268-9_0_7_line_1 |  | 0 | 2 | 0.040242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5268-9_0_7_line_2 |  | 1 | 3 | 0.026889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5268-9_0_7_line_3 |  | 2 | 4 | 0.026487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5268-9_0_7_line_4 |  | 3 | 5 | 0.050077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5268-9_0_7_line_5 |  | 3 | 6 | 0.031784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5268-9_0_7_line_6 |  | 4 | 7 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5268-9_0_7_line_7 |  | 4 | 8 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5268-9_0_7_line_8 |  | 6 | 9 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5268-9_0_7_line_9 |  | 7 | 10 | 0.0079728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5268-9_0_7_line_10 |  | 8 | 11 | 0.029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5268-9_0_7_line_11 |  | 9 | 12 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5268-9_0_7_line_12 |  | 10 | 13 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5268-9_0_7_line_13 |  | 11 | 14 | 0.03301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5268-9_0_7_line_14 |  | 11 | 15 | 0.0095639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5268-9_0_7_line_15 |  | 12 | 21 | 0.0049823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5268-9_0_7_line_16 |  | 13 | 27 | 0.018441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5268-9_0_7_line_17 |  | 13 | 28 | 0.048711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5268-9_0_7_line_18 |  | 14 | 20 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5268-9_0_7_line_19 |  | 15 | 18 | 0.0036459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5268-9_0_7_line_20 |  | 16 | 17 | 0.0058224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5268-9_0_7_line_21 |  | 16 | 18 | 0.024734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5268-9_0_7_line_22 |  | 17 | 19 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5268-9_0_7_line_23 |  | 20 | 26 | 0.0042345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5268-9_0_7_line_24 |  | 21 | 22 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5268-9_0_7_line_25 |  | 22 | 23 | 0.040736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5268-9_0_7_line_26 |  | 23 | 24 | 0.03067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5268-9_0_7_line_27 |  | 23 | 25 | 0.07315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5268-9_0_7_line_28 |  | 24 | 32 | 0.039071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5268-9_0_7_line_29 |  | 26 | 29 | 0.010226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5268-9_0_7_line_30 |  | 27 | 48 | 0.020887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5268-9_0_7_line_31 |  | 28 | 45 | 0.052108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5268-9_0_7_line_32 |  | 29 | 30 | 0.0016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5268-9_0_7_line_33 |  | 30 | 31 | 0.027536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5268-9_0_7_line_34 |  | 31 | 38 | 0.0041994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5268-9_0_7_line_35 |  | 32 | 33 | 0.0011145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5268-9_0_7_line_36 |  | 33 | 34 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5268-9_0_7_line_37 |  | 34 | 35 | 0.0017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5268-9_0_7_line_38 |  | 35 | 36 | 0.034325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5268-9_0_7_line_39 |  | 36 | 37 | 0.027204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5268-9_0_7_line_40 |  | 37 | 43 | 0.025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5268-9_0_7_line_41 |  | 38 | 39 | 0.0094038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5268-9_0_7_line_42 |  | 39 | 40 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5268-9_0_7_line_43 |  | 40 | 41 | 0.0042798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5268-9_0_7_line_44 |  | 41 | 42 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5268-9_0_7_line_45 |  | 43 | 44 | 0.055613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5268-9_0_7_line_46 |  | 45 | 46 | 0.036775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5268-9_0_7_line_47 |  | 45 | 47 | 0.022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5268-9_0_7_line_48 |  | 46 | 49 | 0.01136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5268-9_0_7_line_49 |  | 47 | 50 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5268-9_0_7_line_50 |  | 49 | 51 | 0.040179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5268-9_0_7_line_51 |  | 49 | 52 | 0.038032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5268-9_0_7_line_52 |  | 50 | 53 | 0.0016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5268-9_0_7_line_53 |  | 51 | 54 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5268-9_0_7_line_54 |  | 52 | 55 | 0.032672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5268-9_0_7_line_55 |  | 53 | 56 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5268-9_0_7_line_56 |  | 54 | 61 | 0.041066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5268-9_0_7_line_57 |  | 54 | 62 | 0.038484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5268-9_0_7_line_58 |  | 55 | 59 | 0.0026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5268-9_0_7_line_59 |  | 56 | 57 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5268-9_0_7_line_60 |  | 57 | 58 | 0.0098982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5268-9_0_7_line_61 |  | 59 | 60 | 0.041834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5268-9_0_7_line_62 |  | 60 | 68 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5268-9_0_7_line_63 |  | 61 | 63 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5268-9_0_7_line_64 |  | 63 | 64 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5268-9_0_7_line_65 |  | 63 | 65 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5268-9_0_7_line_66 |  | 64 | 66 | 0.0099718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5268-9_0_7_line_67 |  | 65 | 67 | 0.0085093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5268-9_0_7_line_68 |  | 66 | 72 | 0.0015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5268-9_0_7_line_69 |  | 67 | 73 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5268-9_0_7_line_70 |  | 68 | 69 | 0.02299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5268-9_0_7_line_71 |  | 69 | 70 | 0.021019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5268-9_0_7_line_72 |  | 70 | 71 | 0.0038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5268-9_0_7_line_73 |  | 72 | 74 | 0.013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5268-9_0_7_line_74 |  | 73 | 75 | 0.030165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5268-9_0_7_line_75 |  | 74 | 76 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5268-9_0_7_line_76 |  | 75 | 99 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5268-9_0_7_line_77 |  | 76 | 77 | 0.019438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5268-9_0_7_line_78 |  | 77 | 78 | 0.0022082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5268-9_0_7_line_79 |  | 78 | 79 | 0.0093021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5268-9_0_7_line_80 |  | 79 | 80 | 0.0022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5268-9_0_7_line_81 |  | 80 | 81 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5268-9_0_7_line_82 |  | 81 | 82 | 0.010691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5268-9_0_7_line_83 |  | 82 | 83 | 0.031344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5268-9_0_7_line_84 |  | 83 | 95 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5268-9_0_7_line_85 |  | 83 | 90 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5268-9_0_7_line_86 |  | 84 | 85 | 0.016759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5268-9_0_7_line_87 |  | 84 | 86 | 0.043293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5268-9_0_7_line_88 |  | 85 | 87 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5268-9_0_7_line_89 |  | 86 | 88 | 0.034897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5268-9_0_7_line_90 |  | 87 | 89 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5268-9_0_7_line_91 |  | 87 | 90 | 0.030025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5268-9_0_7_line_92 |  | 88 | 91 | 0.0075915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5268-9_0_7_line_93 |  | 89 | 92 | 0.050463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5268-9_0_7_line_94 |  | 91 | 93 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5268-9_0_7_line_95 |  | 92 | 94 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5268-9_0_7_line_96 |  | 93 | 105 | 0.033977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5268-9_0_7_line_97 |  | 94 | 103 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5268-9_0_7_line_98 |  | 95 | 96 | 0.0020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5268-9_0_7_line_99 |  | 96 | 97 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5268-9_0_7_line_100 |  | 97 | 98 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5268-9_0_7_line_101 |  | 98 | 100 | 0.029491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5268-9_0_7_line_102 |  | 100 | 101 | 0.024433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5268-9_0_7_line_103 |  | 101 | 102 | 0.0089096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5268-9_0_7_line_104 |  | 103 | 104 | 0.027379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5268-9_0_7_trafo_45 | 0.63 MVA 20/0.4 kV | 106 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2723955.501 | 1078635.2865 | 2723953.3871 | 1078620.7745
1 | 2723961.3016 | 1078675.1087 | 2723955.501 | 1078635.2865
2 | 2723948.1483 | 1078594.4046 | 2723953.0379 | 1078618.3771 | 2723953.3871 | 1078620.7745
3 | 2723961.3016 | 1078675.1087 | 2723961.9944 | 1078688.0323 | 2723960.7876 | 1078701.5176
4 | 2723984.7229 | 1078614.7297 | 2723981.1036 | 1078609.2966 | 2723974.5338 | 1078604.8931 | 2723971.0076 | 1078592.5902 | 2723956.0476 | 1078593.8092 | 2723948.1483 | 1078594.4046
5 | 2723948.1483 | 1078594.4046 | 2723942.5544 | 1078595.5028 | 2723916.9557 | 1078600.5084
6 | 2723960.7876 | 1078701.5176 | 2723958.7243 | 1078710.5044 | 2723955.9964 | 1078718.2325
7 | 2723960.7876 | 1078701.5176 | 2723955.519 | 1078701.1435 | 2723941.199 | 1078700.1178
8 | 2723916.9557 | 1078600.5084 | 2723899.0557 | 1078604.0086
9 | 2723953.3091 | 1078725.7388 | 2723955.7393 | 1078718.961 | 2723955.9964 | 1078718.2325
10 | 2723911.9433 | 1078698.0221 | 2723941.199 | 1078700.1178
11 | 2723876.4251 | 1078613.5877 | 2723885.7428 | 1078606.6118 | 2723899.0557 | 1078604.0086
12 | 2723953.3091 | 1078725.7388 | 2723950.4287 | 1078734.0196 | 2723947.7212 | 1078737.6228
13 | 2723911.9433 | 1078698.0221 | 2723880.5711 | 1078708.2909
14 | 2723911.9433 | 1078698.0221 | 2723909.9659 | 1078688.6649
15 | 2723876.4251 | 1078613.5877 | 2723872.4368 | 1078616.5737
16 | 2723947.7212 | 1078737.6228 | 2723953.6524 | 1078740.5677 | 2723964.2362 | 1078745.8277
17 | 2723947.7212 | 1078737.6228 | 2723945.1211 | 1078739.0042 | 2723941.917 | 1078740.2845 | 2723937.2673 | 1078740.8126 | 2723926.9307 | 1078739.7573 | 2723907.5481 | 1078736.472 | 2723900.0446 | 1078735.3451
18 | 2723862.7772 | 1078714.1152 | 2723880.5711 | 1078708.2909
19 | 2723909.9659 | 1078688.6649 | 2723909.2121 | 1078685.0978
20 | 2723904.0982 | 1078660.8984 | 2723902.8944 | 1078655.2018
21 | 2723904.0982 | 1078660.8984 | 2723909.2121 | 1078685.0978
22 | 2723900.3397 | 1078643.1129 | 2723902.8944 | 1078655.2018
23 | 2723862.7772 | 1078714.1152 | 2723858.7529 | 1078715.4325
24 | 2723854.1685 | 1078624.0254 | 2723860.0556 | 1078622.9241 | 2723867.0181 | 1078620.6305 | 2723872.4368 | 1078616.5737
25 | 2723854.1685 | 1078624.0254 | 2723814.1272 | 1078631.5159
26 | 2723785.3623 | 1078628.0109 | 2723790.7842 | 1078632.313 | 2723795.4817 | 1078633.6427 | 2723801.6162 | 1078633.8563 | 2723814.1272 | 1078631.5159
27 | 2723814.1272 | 1078631.5159 | 2723818.836 | 1078558.5176
28 | 2723785.3623 | 1078628.0109 | 2723769.0758 | 1078663.5256
29 | 2723849.0346 | 1078718.6134 | 2723858.7529 | 1078715.4325
30 | 2723982.6103 | 1078755.6982 | 2723977.9842 | 1078752.6602 | 2723964.2362 | 1078745.8277
31 | 2723852.1372 | 1078752.5134 | 2723869.4757 | 1078743.5925 | 2723878.1379 | 1078737.9533 | 2723887.3538 | 1078735.6499 | 2723896.3307 | 1078734.7873 | 2723900.0446 | 1078735.3451
32 | 2723847.4901 | 1078719.119 | 2723849.0346 | 1078718.6134
33 | 2723847.4901 | 1078719.119 | 2723834.0308 | 1078723.5245 | 2723821.2719 | 1078727.5334
34 | 2723817.2656 | 1078728.7922 | 2723821.2719 | 1078727.5334
35 | 2723769.5846 | 1078664.5172 | 2723769.0758 | 1078663.5256
36 | 2723769.5846 | 1078664.5172 | 2723769.5846 | 1078664.5172 | 2723755.6846 | 1078671.1704
37 | 2723755.6846 | 1078671.1704 | 2723754.1288 | 1078671.915
38 | 2723724.4529 | 1078664.1565 | 2723732.5229 | 1078670.0691 | 2723742.0083 | 1078676.3106 | 2723747.8567 | 1078674.9171 | 2723754.1288 | 1078671.915
39 | 2723724.4529 | 1078664.1565 | 2723719.1911 | 1078678.3712 | 2723716.2497 | 1078690.0534 | 2723716.2497 | 1078690.0534
40 | 2723716.2497 | 1078690.0534 | 2723706.5199 | 1078709.6258 | 2723704.7284 | 1078712.6061
41 | 2723817.2656 | 1078728.7922 | 2723808.2942 | 1078731.6111
42 | 2723808.2942 | 1078731.6111 | 2723784.3915 | 1078739.1215
43 | 2723780.3085 | 1078740.4044 | 2723784.3915 | 1078739.1215
44 | 2723770.1461 | 1078743.5975 | 2723780.3085 | 1078740.4044
45 | 2723702.3602 | 1078759.5001 | 2723691.7472 | 1078746.4196 | 2723689.7169 | 1078734.2807 | 2723696.0732 | 1078727.0043 | 2723704.7284 | 1078712.6061
46 | 2723852.1372 | 1078752.5134 | 2723816.8923 | 1078763.0105
47 | 2723852.1372 | 1078752.5134 | 2723852.6262 | 1078772.4157 | 2723854.2802 | 1078773.7701
48 | 2723806.0047 | 1078766.2532 | 2723816.8923 | 1078763.0105
49 | 2723854.2802 | 1078773.7701 | 2723857.6249 | 1078776.5091 | 2723872.731 | 1078775.6873
50 | 2723806.0047 | 1078766.2532 | 2723806.4132 | 1078773.3 | 2723803.9962 | 1078777.9098 | 2723786.8547 | 1078799.942
51 | 2723806.0047 | 1078766.2532 | 2723794.6927 | 1078769.2257 | 2723770.8036 | 1078780.3105
52 | 2723874.3638 | 1078775.5984 | 2723872.731 | 1078775.6873
53 | 2723780.3301 | 1078816.4129 | 2723779.5126 | 1078812.2822 | 2723782.3817 | 1078805.6912 | 2723786.8547 | 1078799.942
54 | 2723743.376 | 1078797.491 | 2723754.6082 | 1078787.8255 | 2723770.8036 | 1078780.3105
55 | 2723899.4381 | 1078776.6953 | 2723891.9925 | 1078774.6393 | 2723874.3638 | 1078775.5984
56 | 2723780.3301 | 1078816.4129 | 2723783.2565 | 1078820.3864 | 2723788.0944 | 1078825.1214 | 2723795.2191 | 1078829.7472 | 2723812.8394 | 1078835.6204 | 2723814.7272 | 1078836.9241
57 | 2723757.481 | 1078846.4599 | 2723770.7755 | 1078834.2431 | 2723777.6611 | 1078824.6314 | 2723780.3301 | 1078816.4129
58 | 2723741.337 | 1078799.2456 | 2723743.376 | 1078797.491
59 | 2723899.4381 | 1078776.6953 | 2723914.509 | 1078780.857
60 | 2723924.4004 | 1078780.4911 | 2723914.509 | 1078780.857
61 | 2723741.337 | 1078799.2456 | 2723712.9379 | 1078823.6837 | 2723710.1665 | 1078827.0594
62 | 2723710.1665 | 1078827.0594 | 2723699.6403 | 1078839.8813 | 2723695.3912 | 1078846.4023
63 | 2723826.2166 | 1078853.7497 | 2723817.5673 | 1078838.8855 | 2723814.7272 | 1078836.9241
64 | 2723826.2166 | 1078853.7497 | 2723833.4509 | 1078857.5661 | 2723840.679 | 1078855.4242
65 | 2723826.2166 | 1078853.7497 | 2723817.5892 | 1078869.8437
66 | 2723850.2398 | 1078852.5911 | 2723840.679 | 1078855.4242
67 | 2723813.5688 | 1078877.3434 | 2723817.5892 | 1078869.8437
68 | 2723851.6944 | 1078852.1601 | 2723850.2398 | 1078852.5911
69 | 2723813.5688 | 1078877.3434 | 2723813.5688 | 1078877.3434 | 2723791.6218 | 1078891.4278
70 | 2723695.3912 | 1078846.4023 | 2723688.1634 | 1078857.4946 | 2723684.2423 | 1078866.4223
71 | 2723677.7233 | 1078886.3168 | 2723680.375 | 1078875.2273 | 2723684.2423 | 1078866.4223
72 | 2723676.8167 | 1078890.1086 | 2723677.7233 | 1078886.3168
73 | 2723851.6944 | 1078852.1601 | 2723864.6621 | 1078848.3173
74 | 2723791.6218 | 1078891.4278 | 2723766.2348 | 1078907.7196
75 | 2723876.5599 | 1078845.6615 | 2723876.2989 | 1078845.5945 | 2723872.0767 | 1078846.1202 | 2723864.6621 | 1078848.3173
76 | 2723756.7849 | 1078921.9853 | 2723753.3254 | 1078916.0041 | 2723766.2348 | 1078907.7196
77 | 2723876.5599 | 1078845.6615 | 2723880.1098 | 1078846.5726 | 2723882.0375 | 1078848.4465 | 2723885.4038 | 1078853.3296 | 2723887.4196 | 1078860.1933
78 | 2723888.0418 | 1078862.312 | 2723888.0418 | 1078862.312 | 2723887.4196 | 1078860.1933
79 | 2723888.0418 | 1078862.312 | 2723888.6103 | 1078868.3613 | 2723887.4458 | 1078871.3699
80 | 2723886.6502 | 1078873.4251 | 2723886.6502 | 1078873.4251 | 2723887.4458 | 1078871.3699
81 | 2723868.8437 | 1078889.3174 | 2723882.4663 | 1078877.4208 | 2723886.6502 | 1078873.4251
82 | 2723860.7909 | 1078896.3498 | 2723868.8437 | 1078889.3174
83 | 2723866.3509 | 1078922.8933 | 2723860.7162 | 1078919.8988 | 2723858.6131 | 1078916.7093 | 2723857.3666 | 1078913.048 | 2723857.2277 | 1078907.6523 | 2723858.577 | 1078902.0534 | 2723860.7909 | 1078896.3498
84 | 2723866.3509 | 1078922.8933 | 2723843.5796 | 1078926.2618
85 | 2723866.3509 | 1078922.8933 | 2723888.4779 | 1078930.8544
86 | 2723955.0403 | 1078919.2756 | 2723940.4652 | 1078927.5478
87 | 2723995.4704 | 1078911.732 | 2723987.2831 | 1078909.3193 | 2723980.3116 | 1078908.6325 | 2723974.0566 | 1078909.3948 | 2723965.9235 | 1078913.0988 | 2723955.0403 | 1078919.2756
88 | 2723916.7295 | 1078941.0191 | 2723940.4652 | 1078927.5478
89 | 2723995.4704 | 1078911.732 | 2723997.4289 | 1078917.4426 | 2724003.9784 | 1078926.2601 | 2724005.0935 | 1078928.7401 | 2724005.9285 | 1078936.1959 | 2724005.2998 | 1078939.5967 | 2724003.5208 | 1078943.3966
90 | 2723916.7295 | 1078941.0191 | 2723906.7249 | 1078952.3129 | 2723906.7249 | 1078952.3129
91 | 2723916.7295 | 1078941.0191 | 2723888.4779 | 1078930.8544
92 | 2724003.5208 | 1078943.3966 | 2723998.7466 | 1078948.5255 | 2723998.4307 | 1078949.0172
93 | 2723861.5165 | 1078974.5999 | 2723904.7191 | 1078953.8955 | 2723906.7249 | 1078952.3129
94 | 2723991.7304 | 1078964.9281 | 2723995.8417 | 1078953.0475 | 2723998.4307 | 1078949.0172
95 | 2723861.5165 | 1078974.5999 | 2723838.7376 | 1078985.5164
96 | 2723991.7304 | 1078964.9281 | 2723958.1607 | 1078970.7831
97 | 2723831.9686 | 1078997.7717 | 2723830.8364 | 1078994.2239 | 2723832.1606 | 1078991.004 | 2723833.1383 | 1078989.1558 | 2723836.2103 | 1078986.7276 | 2723838.7376 | 1078985.5164
98 | 2723841.5483 | 1078926.5623 | 2723843.5796 | 1078926.2618
99 | 2723841.5483 | 1078926.5623 | 2723824.4077 | 1078929.0979
100 | 2723824.4077 | 1078929.0979 | 2723815.3337 | 1078930.4402 | 2723809.1128 | 1078932.5605
101 | 2723781.8881 | 1078943.8288 | 2723800.6473 | 1078935.4457 | 2723809.1128 | 1078932.5605
102 | 2723760.2753 | 1078955.2047 | 2723778.2993 | 1078945.4325 | 2723781.8881 | 1078943.8288
103 | 2723752.4429 | 1078959.4512 | 2723760.2753 | 1078955.2047
104 | 2723831.9686 | 1078997.7717 | 2723834.3862 | 1078999.6333 | 2723838.8847 | 1078999.2688 | 2723856.7171 | 1078990.4802

## bus_geodata
| x | y | coords
0 | 2723955.501 | 1078635.2865
1 | 2723953.3871 | 1078620.7745
2 | 2723961.3016 | 1078675.1087
3 | 2723948.1483 | 1078594.4046
4 | 2723960.7876 | 1078701.5176
5 | 2723984.7229 | 1078614.7297
6 | 2723916.9557 | 1078600.5084
7 | 2723955.9964 | 1078718.2325
8 | 2723941.199 | 1078700.1178
9 | 2723899.0557 | 1078604.0086
10 | 2723953.3091 | 1078725.7388
11 | 2723911.9433 | 1078698.0221
12 | 2723876.4251 | 1078613.5877
13 | 2723947.7212 | 1078737.6228
14 | 2723880.5711 | 1078708.2909
15 | 2723909.9659 | 1078688.6649
16 | 2723904.0982 | 1078660.8984
17 | 2723902.8944 | 1078655.2018
18 | 2723909.2121 | 1078685.0978
19 | 2723900.3397 | 1078643.1129
20 | 2723862.7772 | 1078714.1152
21 | 2723872.4368 | 1078616.5737
22 | 2723854.1685 | 1078624.0254
23 | 2723814.1272 | 1078631.5159
24 | 2723785.3623 | 1078628.0109
25 | 2723818.836 | 1078558.5176
26 | 2723858.7529 | 1078715.4325
27 | 2723964.2362 | 1078745.8277
28 | 2723900.0446 | 1078735.3451
29 | 2723849.0346 | 1078718.6134
30 | 2723847.4901 | 1078719.119
31 | 2723821.2719 | 1078727.5334
32 | 2723769.0758 | 1078663.5256
33 | 2723769.5846 | 1078664.5172
34 | 2723755.6846 | 1078671.1704
35 | 2723754.1288 | 1078671.915
36 | 2723724.4529 | 1078664.1565
37 | 2723716.2497 | 1078690.0534
38 | 2723817.2656 | 1078728.7922
39 | 2723808.2942 | 1078731.6111
40 | 2723784.3915 | 1078739.1215
41 | 2723780.3085 | 1078740.4044
42 | 2723770.1461 | 1078743.5975
43 | 2723704.7284 | 1078712.6061
44 | 2723702.3602 | 1078759.5001
45 | 2723852.1372 | 1078752.5134
46 | 2723816.8923 | 1078763.0105
47 | 2723854.2802 | 1078773.7701
48 | 2723982.6103 | 1078755.6982
49 | 2723806.0047 | 1078766.2532
50 | 2723872.731 | 1078775.6873
51 | 2723786.8547 | 1078799.942
52 | 2723770.8036 | 1078780.3105
53 | 2723874.3638 | 1078775.5984
54 | 2723780.3301 | 1078816.4129
55 | 2723743.376 | 1078797.491
56 | 2723899.4381 | 1078776.6953
57 | 2723914.509 | 1078780.857
58 | 2723924.4004 | 1078780.4911
59 | 2723741.337 | 1078799.2456
60 | 2723710.1665 | 1078827.0594
61 | 2723814.7272 | 1078836.9241
62 | 2723757.481 | 1078846.4599
63 | 2723826.2166 | 1078853.7497
64 | 2723840.679 | 1078855.4242
65 | 2723817.5892 | 1078869.8437
66 | 2723850.2398 | 1078852.5911
67 | 2723813.5688 | 1078877.3434
68 | 2723695.3912 | 1078846.4023
69 | 2723684.2423 | 1078866.4223
70 | 2723677.7233 | 1078886.3168
71 | 2723676.8167 | 1078890.1085
72 | 2723851.6944 | 1078852.1601
73 | 2723791.6218 | 1078891.4278
74 | 2723864.6621 | 1078848.3173
75 | 2723766.2348 | 1078907.7196
76 | 2723876.5599 | 1078845.6615
77 | 2723887.4196 | 1078860.1933
78 | 2723888.0418 | 1078862.312
79 | 2723887.4458 | 1078871.3699
80 | 2723886.6502 | 1078873.4251
81 | 2723868.8437 | 1078889.3174
82 | 2723860.7909 | 1078896.3498
83 | 2723866.3509 | 1078922.8933
84 | 2723955.0403 | 1078919.2756
85 | 2723940.4652 | 1078927.5478
86 | 2723995.4704 | 1078911.732
87 | 2723916.7295 | 1078941.0191
88 | 2724003.5208 | 1078943.3966
89 | 2723906.7249 | 1078952.3129
90 | 2723888.4779 | 1078930.8544
91 | 2723998.4307 | 1078949.0172
92 | 2723861.5165 | 1078974.5999
93 | 2723991.7304 | 1078964.9281
94 | 2723838.7376 | 1078985.5164
95 | 2723843.5796 | 1078926.2618
96 | 2723841.5483 | 1078926.5623
97 | 2723824.4077 | 1078929.0979
98 | 2723809.1128 | 1078932.5605
99 | 2723756.7849 | 1078921.9853
100 | 2723781.8881 | 1078943.8288
101 | 2723760.2753 | 1078955.2047
102 | 2723752.4429 | 1078959.4512
103 | 2723831.9686 | 1078997.7717
104 | 2723856.7171 | 1078990.4802
105 | 2723958.1607 | 1078970.7831
106 | 2723806.0047 | 1078766.2532

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1