## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5401-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5401-21_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5401-21_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_5401-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5401-21_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5401-21_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5401-21_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5401-21_0_6_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5401-21_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5401-21_0_6_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_5401-21_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5401-21_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5401-21_0_6_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_5401-21_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5401-21_0_6_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5401-21_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5401-21_0_6_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_5401-21_0_6_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_5401-21_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5401-21_0_6_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_5401-21_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5401-21_0_6_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_5401-21_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5401-21_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5401-21_0_6_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_5401-21_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5401-21_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5401-21_0_6_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_5401-21_0_6_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_5401-21_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5401-21_0_6_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5401-21_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5401-21_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5401-21_0_6_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5401-21_0_6_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5401-21_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5401-21_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5401-21_0_6_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_5401-21_0_6_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5401-21_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5401-21_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5401-21_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5401-21_0_6_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_5401-21_0_6_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_5401-21_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5401-21_0_6_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_5401-21_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5401-21_0_6_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5401-21_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5401-21_0_6_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5401-21_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5401-21_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5401-21_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_5401-21_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5401-21_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5401-21_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_5401-21_0_6_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_5401-21_0_6_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_5401-21_0_6_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_5401-21_0_6_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_5401-21_0_6_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_5401-21_0_6_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_5401-21_0_6_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5401-21_0_6_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5401-21_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_5401-21_0_6_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5401-21_0_6_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_5401-21_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_5401-21_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5401-21_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_5401-21_0_6_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5401-21_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5401-21_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5401-21_0_6_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5401-21_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5401-21_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5401-21_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5401-21_0_6_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_5401-21_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_MV_191_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5401-21_0_6_load_0 | 0 | 0.014352 | 0.0035969 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5401-21_0_6_load_4 | 4 | 0.0042829 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5401-21_0_6_load_78 | 7 | 0.0018014 | 0.00045147 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5401-21_0_6_load_65 | 9 | 0.0041694 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5401-21_0_6_load_84 | 12 | 0.018882 | 0.0047323 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5401-21_0_6_load_79 | 14 | 0.0045869 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5401-21_0_6_load_80 | 16 | 0.0045858 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5401-21_0_6_load_53 | 17 | 0.001832 | 0.00045913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5401-21_0_6_load_61 | 21 | 0.00082434 | 0.0002066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5401-21_0_6_load_85 | 24 | 0.00052676 | 0.00013202 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5401-21_0_6_load_81 | 28 | 0.081175 | 0.020344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5401-21_0_6_load_82 | 30 | 0.081171 | 0.020343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5401-21_0_6_load_26 | 31 | 0.0022015 | 0.00055175 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5401-21_0_6_load_25 | 32 | 0.0023882 | 0.00059853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5401-21_0_6_load_52 | 34 | 0.002087 | 0.00052306 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5401-21_0_6_load_31 | 35 | 0.029963 | 0.0075094 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5401-21_0_6_load_68 | 38 | 0.0040737 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5401-21_0_6_load_86 | 42 | 0.02033 | 0.0050953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5401-21_0_6_load_87 | 43 | 0.025542 | 0.0064015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5401-21_0_6_load_37 | 44 | 0.00046579 | 0.00011674 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5401-21_0_6_load_69 | 45 | 0.0024993 | 0.00062638 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5401-21_0_6_load_60 | 46 | 0.00024786 | 6.212e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5401-21_0_6_load_48 | 47 | 0.0023766 | 0.00059562 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5401-21_0_6_load_54 | 49 | 0.013033 | 0.0032663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5401-21_0_6_load_41 | 50 | 0.0029263 | 0.00073341 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5401-21_0_6_load_56 | 51 | 0.0031948 | 0.00080068 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5401-21_0_6_load_55 | 52 | 0.0047713 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5401-21_0_6_load_42 | 53 | 0.002093 | 0.00052455 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5401-21_0_6_load_83 | 56 | 0.08117 | 0.020343 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5401-21_0_6_load_24 | 57 | 0.0012662 | 0.00031734 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5401-21_0_6_load_27 | 58 | 0.011688 | 0.0029294 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5401-21_0_6_load_30 | 61 | 0.0018067 | 0.00045279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5401-21_0_6_load_67 | 62 | 0.054962 | 0.013775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5401-21_0_6_load_38 | 63 | 0.0054592 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5401-21_0_6_load_57 | 68 | 0.0055146 | 0.0013821 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5401-21_0_6_load_77 | 69 | 0.0049622 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5401-21_0_6_load_45 | 70 | 0.0035288 | 0.00088441 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5401-21_0_6_load_58 | 71 | 0.0033631 | 0.00084288 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5401-21_0_6_load_72 | 76 | 0.0074537 | 0.0018681 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5401-21_0_6_load_51 | 77 | 0.0024304 | 0.00060912 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5401-21_0_6_load_71 | 78 | 0.0016669 | 0.00041777 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5401-21_0_6_line_0 |  | 0 | 1 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5401-21_0_6_line_1 |  | 1 | 5 | 0.018678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5401-21_0_6_line_2 |  | 1 | 6 | 0.052751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5401-21_0_6_line_3 |  | 2 | 3 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5401-21_0_6_line_4 |  | 2 | 4 | 0.04515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5401-21_0_6_line_5 |  | 3 | 7 | 0.001509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5401-21_0_6_line_6 |  | 4 | 6 | 0.030824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5401-21_0_6_line_7 |  | 5 | 8 | 0.045547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5401-21_0_6_line_8 |  | 5 | 9 | 0.033643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5401-21_0_6_line_9 |  | 6 | 13 | 0.0639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5401-21_0_6_line_10 |  | 7 | 33 | 0.010192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5401-21_0_6_line_11 |  | 8 | 28 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5401-21_0_6_line_12 |  | 9 | 19 | 0.032371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5401-21_0_6_line_13 |  | 10 | 11 | 0.10109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5401-21_0_6_line_14 |  | 10 | 12 | 0.069966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5401-21_0_6_line_15 |  | 11 | 17 | 0.026201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5401-21_0_6_line_16 |  | 11 | 13 | 0.05428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5401-21_0_6_line_17 |  | 12 | 25 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5401-21_0_6_line_18 |  | 13 | 14 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5401-21_0_6_line_19 |  | 14 | 15 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5401-21_0_6_line_20 |  | 15 | 16 | 0.019338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5401-21_0_6_line_21 |  | 17 | 34 | 0.0051196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5401-21_0_6_line_22 |  | 18 | 19 | 0.00614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5401-21_0_6_line_23 |  | 18 | 20 | 0.042124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5401-21_0_6_line_24 |  | 18 | 21 | 0.054491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5401-21_0_6_line_25 |  | 20 | 22 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5401-21_0_6_line_26 |  | 22 | 35 | 0.035862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5401-21_0_6_line_27 |  | 23 | 24 | 0.023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5401-21_0_6_line_28 |  | 23 | 25 | 0.26818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5401-21_0_6_line_29 |  | 23 | 26 | 0.13521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5401-21_0_6_line_30 |  | 23 | 27 | 0.11082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5401-21_0_6_line_31 |  | 26 | 31 | 0.06399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5401-21_0_6_line_32 |  | 26 | 32 | 0.03157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5401-21_0_6_line_33 |  | 27 | 45 | 0.037939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5401-21_0_6_line_34 |  | 28 | 29 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5401-21_0_6_line_35 |  | 29 | 30 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5401-21_0_6_line_36 |  | 30 | 55 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5401-21_0_6_line_37 |  | 31 | 44 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5401-21_0_6_line_38 |  | 32 | 57 | 0.099275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5401-21_0_6_line_39 |  | 33 | 75 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5401-21_0_6_line_40 |  | 34 | 77 | 0.042932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5401-21_0_6_line_41 |  | 36 | 37 | 0.14554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5401-21_0_6_line_42 |  | 36 | 38 | 0.066886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5401-21_0_6_line_43 |  | 37 | 46 | 0.043339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5401-21_0_6_line_44 |  | 38 | 60 | 0.074977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5401-21_0_6_line_45 |  | 39 | 40 | 0.069229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5401-21_0_6_line_46 |  | 39 | 41 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5401-21_0_6_line_47 |  | 39 | 42 | 0.057797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5401-21_0_6_line_48 |  | 40 | 43 | 0.032046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5401-21_0_6_line_49 |  | 41 | 44 | 0.093752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5401-21_0_6_line_50 |  | 45 | 78 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5401-21_0_6_line_51 |  | 46 | 73 | 0.030834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5401-21_0_6_line_52 |  | 47 | 48 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5401-21_0_6_line_53 |  | 48 | 70 | 0.022943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5401-21_0_6_line_54 |  | 48 | 67 | 0.053949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5401-21_0_6_line_55 |  | 49 | 50 | 0.033384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5401-21_0_6_line_56 |  | 50 | 54 | 0.022254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5401-21_0_6_line_57 |  | 51 | 52 | 0.0088088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5401-21_0_6_line_58 |  | 52 | 65 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5401-21_0_6_line_59 |  | 53 | 54 | 0.026266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5401-21_0_6_line_60 |  | 54 | 63 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5401-21_0_6_line_61 |  | 55 | 56 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5401-21_0_6_line_62 |  | 58 | 59 | 0.049278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5401-21_0_6_line_63 |  | 59 | 60 | 0.0396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5401-21_0_6_line_64 |  | 59 | 61 | 0.022882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5401-21_0_6_line_65 |  | 60 | 62 | 0.088777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5401-21_0_6_line_66 |  | 63 | 64 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5401-21_0_6_line_67 |  | 64 | 65 | 0.055037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5401-21_0_6_line_68 |  | 64 | 66 | 0.008645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5401-21_0_6_line_69 |  | 66 | 67 | 0.080269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5401-21_0_6_line_70 |  | 66 | 68 | 0.03735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5401-21_0_6_line_71 |  | 67 | 69 | 0.014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5401-21_0_6_line_72 |  | 68 | 71 | 0.04996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5401-21_0_6_line_73 |  | 69 | 75 | 0.0019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5401-21_0_6_line_74 |  | 70 | 72 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5401-21_0_6_line_75 |  | 72 | 73 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5401-21_0_6_line_76 |  | 74 | 75 | 0.018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5401-21_0_6_line_77 |  | 74 | 76 | 0.0038215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5401-21_0_6_trafo_20 | 0.63 MVA 20/0.4 kV | 79 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2561347.5835 | 1129486.9439 | 2561359.5576 | 1129453.769
1 | 2561347.5835 | 1129486.9439 | 2561345.5842 | 1129505.5106
2 | 2561347.5835 | 1129486.9439 | 2561371.1261 | 1129494.5747 | 2561397.6505 | 1129503.5539
3 | 2561422.7496 | 1129431.8458 | 2561427.9021 | 1129417.2833
4 | 2561422.7496 | 1129431.8458 | 2561407.8337 | 1129474.4605
5 | 2561427.9021 | 1129417.2833 | 2561428.4056 | 1129415.8607
6 | 2561397.6505 | 1129503.5539 | 2561407.8337 | 1129474.4605
7 | 2561310.2942 | 1129510.9841 | 2561326.5978 | 1129514.07 | 2561343.3177 | 1129517.2311 | 2561343.8988 | 1129514.148 | 2561345.5842 | 1129505.5106
8 | 2561345.5842 | 1129505.5106 | 2561312.6959 | 1129498.4237
9 | 2561397.6505 | 1129503.5539 | 2561393.6213 | 1129516.6752 | 2561417.9655 | 1129522.011 | 2561416.4379 | 1129530.0582 | 2561416.2516 | 1129531.0265 | 2561400.4571 | 1129528.0372
10 | 2561431.8062 | 1129406.2527 | 2561428.4056 | 1129415.8607
11 | 2561310.2942 | 1129510.9841 | 2561307.3373 | 1129526.5106
12 | 2561281.3906 | 1129490.1924 | 2561311.1666 | 1129498.0942 | 2561312.6959 | 1129498.4237
13 | 2561443.2352 | 1129522.7164 | 2561441.5774 | 1129527.2627 | 2561505.171 | 1129542.842 | 2561511.7446 | 1129545.7349 | 2561515.6003 | 1129548.823 | 2561521.326 | 1129555.2563 | 2561520.3952 | 1129556.6519 | 2561519.7271 | 1129558.1791 | 2561519.3447 | 1129559.8157 | 2561519.2552 | 1129561.4838 | 2561519.466 | 1129563.1389 | 2561519.9692 | 1129564.7365
14 | 2561519.9692 | 1129564.7365 | 2561511.424 | 1129566.7031 | 2561508.8045 | 1129567.8204 | 2561507.1912 | 1129569.6872 | 2561506.6023 | 1129571.5586 | 2561505.3694 | 1129576.3133 | 2561501.8298 | 1129592.5664 | 2561474.676 | 1129587.4705 | 2561473.7948 | 1129592.1347
15 | 2561443.2352 | 1129522.7164 | 2561452.2238 | 1129498.1057
16 | 2561400.4571 | 1129528.0372 | 2561416.2516 | 1129531.0265 | 2561416.4379 | 1129530.0582 | 2561417.9655 | 1129522.011 | 2561441.5774 | 1129527.2627 | 2561443.2352 | 1129522.7164
17 | 2561471.4946 | 1129604.3105 | 2561473.7948 | 1129592.1347
18 | 2561400.4571 | 1129528.0372 | 2561397.028 | 1129546.0416
19 | 2561393.9215 | 1129562.352 | 2561397.028 | 1129546.0416
20 | 2561393.9215 | 1129562.352 | 2561390.3062 | 1129581.349
21 | 2561452.2238 | 1129498.1057 | 2561453.9802 | 1129493.2968
22 | 2561275.4265 | 1129488.6633 | 2561281.3906 | 1129490.1924
23 | 2561234.4994 | 1129478.799 | 2561247.2785 | 1129481.1959 | 2561275.4265 | 1129488.6633
24 | 2561275.4265 | 1129488.6633 | 2561293.6695 | 1129437.3169
25 | 2561213.4286 | 1129477.0669 | 2561214.0634 | 1129473.9613 | 2561234.4994 | 1129478.799
26 | 2561213.4286 | 1129477.0669 | 2561216.7752 | 1129480.0136 | 2561213.6487 | 1129511.2606
27 | 2561488.0685 | 1129818.5243 | 2561477.8179 | 1129811.4973 | 2561476.0327 | 1129809.3743 | 2561474.2396 | 1129806.0063 | 2561473.957 | 1129801.5503
28 | 2561471.4946 | 1129604.3105 | 2561468.3354 | 1129621.0169 | 2561465.8322 | 1129634.2841 | 2561460.8428 | 1129633.3822 | 2561457.3165 | 1129651.6918 | 2561468.5503 | 1129667.8726 | 2561466.6442 | 1129674.5549 | 2561470.4849 | 1129680.122 | 2561467.7027 | 1129697.9488 | 2561439.6556 | 1129767.4633 | 2561444.8994 | 1129768.4192 | 2561435.8844 | 1129790.8104 | 2561439.5743 | 1129792.0874 | 2561436.1817 | 1129801.1693 | 2561437.2242 | 1129801.5851 | 2561461.4848 | 1129812.0909 | 2561463.326 | 1129812.1347 | 2561465.1139 | 1129811.0894 | 2561473.957 | 1129801.5503
29 | 2561361.3605 | 1129786.8076 | 2561403.266 | 1129793.4649 | 2561424.4555 | 1129786.2367 | 2561435.8844 | 1129790.8104 | 2561439.5743 | 1129792.0874 | 2561436.1817 | 1129801.1693 | 2561437.2242 | 1129801.5851 | 2561461.4848 | 1129812.0909 | 2561463.326 | 1129812.1347 | 2561465.1139 | 1129811.0894 | 2561473.957 | 1129801.5503
30 | 2561473.957 | 1129801.5503 | 2561483.3939 | 1129778.8785 | 2561486.451 | 1129771.5219 | 2561562.5159 | 1129790.0793
31 | 2561361.3605 | 1129786.8076 | 2561298.4337 | 1129775.1902
32 | 2561361.3605 | 1129786.8076 | 2561355.5232 | 1129817.8336
33 | 2561562.5159 | 1129790.0793 | 2561561.4118 | 1129805.3719 | 2561556.7556 | 1129821.6542 | 2561554.9493 | 1129827.03
34 | 2561303.7591 | 1129545.299 | 2561307.3373 | 1129526.5106
35 | 2561303.7591 | 1129545.299 | 2561300.6164 | 1129561.8137
36 | 2561296.3078 | 1129584.4556 | 2561300.6164 | 1129561.8137
37 | 2561298.4337 | 1129775.1902 | 2561277.7313 | 1129771.3682
38 | 2561329.84 | 1129912.5149 | 2561341.0483 | 1129894.7703 | 2561355.5232 | 1129817.8336
39 | 2561431.8062 | 1129406.2527 | 2561437.2161 | 1129390.977
40 | 2561453.9802 | 1129493.2968 | 2561458.9889 | 1129479.5827 | 2561461.2367 | 1129473.3208 | 2561471.3754 | 1129476.0129 | 2561474.8566 | 1129465.3797
41 | 2561284.3223 | 1129222.2711 | 2561315.697 | 1129227.0166 | 2561428.2186 | 1129244.0601
42 | 2561284.3223 | 1129222.2711 | 2561278.1746 | 1129234.1833 | 2561263.5737 | 1129269.6172 | 2561258.5483 | 1129283.9169
43 | 2561428.2186 | 1129244.0601 | 2561413.6618 | 1129284.8813
44 | 2561239.3782 | 1129355.872 | 2561239.5575 | 1129343.0199 | 2561244.904 | 1129322.7419 | 2561258.5483 | 1129283.9169
45 | 2561146.3071 | 1129759.2643 | 2561144.035 | 1129805.8804 | 2561141.7332 | 1129815.6335 | 2561141.3595 | 1129820.9942 | 2561139.3032 | 1129825.7988 | 2561138.4749 | 1129827.5494
46 | 2561146.3071 | 1129759.2643 | 2561149.6819 | 1129758.2421 | 2561157.9075 | 1129755.7434 | 2561169.2643 | 1129756.2594 | 2561184.9164 | 1129758.7488
47 | 2561091.706 | 1129778.6596 | 2561117.764 | 1129769.1867 | 2561126.8855 | 1129765.8706 | 2561146.3071 | 1129759.2643
48 | 2561116.2379 | 1129850.2265 | 2561124.1313 | 1129844.0058 | 2561132.5544 | 1129836.3254 | 2561137.0995 | 1129830.4598 | 2561138.4749 | 1129827.5494
49 | 2561184.9164 | 1129758.7488 | 2561237.0645 | 1129763.8604 | 2561277.7313 | 1129771.3682
50 | 2561550.1037 | 1129841.4511 | 2561554.9493 | 1129827.03
51 | 2561409.6594 | 1129311.0684 | 2561404.9946 | 1129309.1861 | 2561413.6618 | 1129284.8813
52 | 2561472.1384 | 1129336.2817 | 2561476.2802 | 1129324.8947
53 | 2561472.1384 | 1129336.2817 | 2561450.8629 | 1129327.6956
54 | 2561442.747 | 1129375.3448 | 2561444.8723 | 1129371.6294 | 2561446.7252 | 1129369.8611 | 2561449.1719 | 1129368.2113 | 2561452.3431 | 1129366.6346 | 2561454.8724 | 1129365.8514 | 2561457.7509 | 1129365.4662 | 2561459.6231 | 1129365.532 | 2561461.4118 | 1129365.7762 | 2561472.1384 | 1129336.2817
55 | 2561576.4645 | 1129391.1881 | 2561608.9728 | 1129398.7851
56 | 2561554.7941 | 1129386.1239 | 2561576.4645 | 1129391.1881
57 | 2561535.4978 | 1129435.8247 | 2561534.5553 | 1129441.1697 | 2561534.9069 | 1129444.5327
58 | 2561535.2269 | 1129423.2897 | 2561537.291 | 1129425.6555 | 2561535.4978 | 1129435.8247
59 | 2561554.7941 | 1129386.1239 | 2561559.5406 | 1129385.1487 | 2561562.5309 | 1129381.7612 | 2561564.6664 | 1129378.4237 | 2561567.5527 | 1129365.8098
60 | 2561554.7941 | 1129386.1239 | 2561538.574 | 1129384.0818 | 2561536.1689 | 1129383.5354
61 | 2561296.3078 | 1129584.4556 | 2561293.8767 | 1129597.2281
62 | 2561276.7546 | 1129369.2609 | 2561260.0715 | 1129415.6294
63 | 2561276.7546 | 1129369.2609 | 2561239.3782 | 1129355.872
64 | 2561276.7546 | 1129369.2609 | 2561284.4983 | 1129347.7289
65 | 2561239.3782 | 1129355.872 | 2561239.3373 | 1129359.085 | 2561213.7073 | 1129440.7196
66 | 2561525.9614 | 1129381.2164 | 2561536.1689 | 1129383.5354
67 | 2561525.9614 | 1129381.2164 | 2561520.7811 | 1129402.3268 | 2561518.9646 | 1129410.9983 | 2561518.6505 | 1129416.0918 | 2561520.7244 | 1129419.9916 | 2561526.7003 | 1129422.1657 | 2561535.2269 | 1129423.2897
68 | 2561525.9614 | 1129381.2164 | 2561517.5067 | 1129379.3027
69 | 2561517.5067 | 1129379.3027 | 2561508.6432 | 1129377.3027 | 2561461.4118 | 1129365.7762 | 2561459.6231 | 1129365.532 | 2561457.7509 | 1129365.4662 | 2561454.8724 | 1129365.8514 | 2561452.3431 | 1129366.6346 | 2561449.1719 | 1129368.2113 | 2561446.7252 | 1129369.8611 | 2561444.8723 | 1129371.6294 | 2561442.747 | 1129375.3448
70 | 2561517.5067 | 1129379.3027 | 2561509.1066 | 1129415.6956
71 | 2561442.747 | 1129375.3448 | 2561437.8669 | 1129389.1376
72 | 2561491.3679 | 1129430.7511 | 2561490.3217 | 1129437.0054 | 2561490.4634 | 1129439.8838 | 2561492.0423 | 1129442.2749 | 2561494.937 | 1129443.2236 | 2561499.7596 | 1129443.315 | 2561502.6358 | 1129441.3735 | 2561503.7073 | 1129439.0877 | 2561509.1066 | 1129415.6956
73 | 2561437.2161 | 1129390.977 | 2561437.8669 | 1129389.1376
74 | 2561430.8668 | 1129319.6259 | 2561450.8629 | 1129327.6956
75 | 2561409.6594 | 1129311.0684 | 2561418.017 | 1129314.65 | 2561430.8668 | 1129319.6259
76 | 2561419.2906 | 1129384.8552 | 2561437.2161 | 1129390.977
77 | 2561419.2906 | 1129384.8552 | 2561417.9527 | 1129388.4349

## bus_geodata
| x | y | coords
0 | 2561359.5576 | 1129453.769
1 | 2561347.5835 | 1129486.9439
2 | 2561422.7496 | 1129431.8458
3 | 2561427.9021 | 1129417.2833
4 | 2561407.8337 | 1129474.4605
5 | 2561345.5842 | 1129505.5106
6 | 2561397.6505 | 1129503.5539
7 | 2561428.4056 | 1129415.8607
8 | 2561310.2942 | 1129510.9841
9 | 2561312.6959 | 1129498.4237
10 | 2561519.9692 | 1129564.7365
11 | 2561443.2352 | 1129522.7164
12 | 2561473.7948 | 1129592.1347
13 | 2561400.4571 | 1129528.0372
14 | 2561397.028 | 1129546.0416
15 | 2561393.9215 | 1129562.352
16 | 2561390.3062 | 1129581.349
17 | 2561452.2238 | 1129498.1057
18 | 2561275.4265 | 1129488.6633
19 | 2561281.3906 | 1129490.1924
20 | 2561234.4994 | 1129478.799
21 | 2561293.6695 | 1129437.3169
22 | 2561213.4286 | 1129477.0669
23 | 2561473.957 | 1129801.5503
24 | 2561488.0685 | 1129818.5243
25 | 2561471.4946 | 1129604.3105
26 | 2561361.3605 | 1129786.8076
27 | 2561562.5159 | 1129790.0793
28 | 2561307.3373 | 1129526.5106
29 | 2561303.7591 | 1129545.299
30 | 2561300.6164 | 1129561.8137
31 | 2561298.4337 | 1129775.1902
32 | 2561355.5232 | 1129817.8336
33 | 2561431.8062 | 1129406.2527
34 | 2561453.9801 | 1129493.2968
35 | 2561213.6487 | 1129511.2606
36 | 2561284.3223 | 1129222.2711
37 | 2561428.2186 | 1129244.0601
38 | 2561258.5483 | 1129283.9169
39 | 2561146.3071 | 1129759.2643
40 | 2561138.4749 | 1129827.5494
41 | 2561184.9164 | 1129758.7488
42 | 2561091.706 | 1129778.6596
43 | 2561116.2379 | 1129850.2265
44 | 2561277.7313 | 1129771.3682
45 | 2561554.9493 | 1129827.03
46 | 2561413.6618 | 1129284.8813
47 | 2561476.2802 | 1129324.8947
48 | 2561472.1384 | 1129336.2817
49 | 2561608.9728 | 1129398.7851
50 | 2561576.4645 | 1129391.1881
51 | 2561534.9069 | 1129444.5327
52 | 2561535.4978 | 1129435.8247
53 | 2561567.5527 | 1129365.8098
54 | 2561554.7941 | 1129386.1239
55 | 2561296.3078 | 1129584.4556
56 | 2561293.8767 | 1129597.2281
57 | 2561329.84 | 1129912.5149
58 | 2561260.0715 | 1129415.6294
59 | 2561276.7546 | 1129369.2609
60 | 2561239.3782 | 1129355.872
61 | 2561284.4983 | 1129347.7289
62 | 2561213.7073 | 1129440.7196
63 | 2561536.1689 | 1129383.5354
64 | 2561525.9614 | 1129381.2164
65 | 2561535.2269 | 1129423.2897
66 | 2561517.5067 | 1129379.3027
67 | 2561442.747 | 1129375.3448
68 | 2561509.1066 | 1129415.6956
69 | 2561437.8669 | 1129389.1376
70 | 2561450.8629 | 1129327.6956
71 | 2561491.3679 | 1129430.7512
72 | 2561430.8668 | 1129319.6259
73 | 2561409.6594 | 1129311.0684
74 | 2561419.2906 | 1129384.8552
75 | 2561437.2161 | 1129390.977
76 | 2561417.9527 | 1129388.4349
77 | 2561474.8566 | 1129465.3797
78 | 2561550.1037 | 1129841.4511
79 | 2561287.5251 | 1129542.235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1