## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5401-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5401-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5401-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5401-9_0_5_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_5401-9_0_5_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_5401-9_0_5_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_5401-9_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_5401-9_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5401-9_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5401-9_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5401-9_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5401-9_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5401-9_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5401-9_0_5_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_5401-9_0_5_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5401-9_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5401-9_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5401-9_0_5_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_5401-9_0_5_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_5401-9_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5401-9_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_5401-9_0_5_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_5401-9_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5401-9_0_5_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_5401-9_0_5_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_5401-9_0_5_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_5401-9_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_5401-9_0_5_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_5401-9_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5401-9_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5401-9_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5401-9_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5401-9_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5401-9_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5401-9_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5401-9_0_5_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_5401-9_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_5401-9_0_5_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_5401-9_0_5_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_5401-9_0_5_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_5401-9_0_5_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5401-9_0_5_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_5401-9_0_5_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_5401-9_0_5_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5401-9_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5401-9_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5401-9_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5401-9_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5401-9_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_5401-9_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5401-9_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5401-9_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5401-9_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5401-9_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5401-9_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5401-9_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5401-9_0_5_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_5401-9_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5401-9_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5401-9_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5401-9_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_5401-9_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5401-9_0_5_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_5401-9_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_5401-9_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_5401-9_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5401-9_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5401-9_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5401-9_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5401-9_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5401-9_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5401-9_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5401-9_0_5_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_5401-9_0_5_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_5401-9_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5401-9_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5401-9_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5401-9_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5401-9_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_MV_191_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5401-9_0_5_load_0 | 0 | 0.00048733 | 0.00012214 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5401-9_0_5_load_53 | 3 | 0.0017434 | 0.00043694 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5401-9_0_5_load_69 | 5 | 0.0014221 | 0.00035641 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5401-9_0_5_load_64 | 6 | 0.0026452 | 0.00066295 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5401-9_0_5_load_4 | 7 | 0.019029 | 0.0047691 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5401-9_0_5_load_15 | 12 | 0.049487 | 0.012403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5401-9_0_5_load_58 | 13 | 0.006352 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5401-9_0_5_load_28 | 15 | 0.062465 | 0.015655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5401-9_0_5_load_82 | 17 | 0.0040886 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5401-9_0_5_load_55 | 18 | 0.0025479 | 0.00063857 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5401-9_0_5_load_19 | 20 | 0.0032345 | 0.00081065 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5401-9_0_5_load_54 | 21 | 0.0078249 | 0.0019611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5401-9_0_5_load_85 | 23 | 0.0050852 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5401-9_0_5_load_57 | 26 | 0.011513 | 0.0028854 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5401-9_0_5_load_70 | 27 | 0.0053835 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5401-9_0_5_load_21 | 28 | 0.0034267 | 0.0008588 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5401-9_0_5_load_23 | 31 | 0.0095465 | 0.0023926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5401-9_0_5_load_18 | 33 | 0.034757 | 0.0087108 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5401-9_0_5_load_16 | 34 | 0.006033 | 0.001512 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5401-9_0_5_load_83 | 35 | 0.0072041 | 0.0018055 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5401-9_0_5_load_17 | 36 | 0.0029613 | 0.00074218 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5401-9_0_5_load_59 | 37 | 0.0048954 | 0.0012269 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5401-9_0_5_load_60 | 38 | 0.0043955 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5401-9_0_5_load_65 | 40 | 0.0010343 | 0.00025923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5401-9_0_5_load_76 | 41 | 0.0069224 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5401-9_0_5_load_77 | 42 | 0.007753 | 0.0019431 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5401-9_0_5_load_20 | 43 | 0.0069655 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5401-9_0_5_load_25 | 44 | 0.0065677 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5401-9_0_5_load_40 | 45 | 0.0028656 | 0.00071818 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5401-9_0_5_load_33 | 47 | 0.015171 | 0.0038023 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5401-9_0_5_load_31 | 48 | 0.029999 | 0.0075185 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5401-9_0_5_load_38 | 49 | 0.0079235 | 0.0019858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5401-9_0_5_load_46 | 52 | 0.0033248 | 0.00083328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5401-9_0_5_load_44 | 53 | 0.0029143 | 0.0007304 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5401-9_0_5_load_47 | 54 | 0.0014681 | 0.00036794 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5401-9_0_5_load_42 | 55 | 0.0018207 | 0.00045631 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5401-9_0_5_load_36 | 58 | 0.013252 | 0.0033213 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5401-9_0_5_load_49 | 59 | 0.0059286 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5401-9_0_5_load_84 | 62 | 0.0023279 | 0.00058343 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5401-9_0_5_load_39 | 63 | 0.0015069 | 0.00037767 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5401-9_0_5_load_41 | 64 | 0.013995 | 0.0035075 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5401-9_0_5_load_43 | 65 | 0.0039021 | 0.00097795 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5401-9_0_5_load_45 | 66 | 0.0019731 | 0.0004945 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5401-9_0_5_load_48 | 67 | 0.0049196 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5401-9_0_5_load_62 | 68 | 0.0087708 | 0.0021982 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5401-9_0_5_load_63 | 69 | 0.0014917 | 0.00037385 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5401-9_0_5_load_80 | 72 | 0.0010851 | 0.00027196 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5401-9_0_5_load_78 | 73 | 0.0024487 | 0.00061371 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5401-9_0_5_load_61 | 74 | 0.0097411 | 0.0024413 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5401-9_0_5_load_71 | 75 | 0.0016342 | 0.00040956 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5401-9_0_5_load_72 | 76 | 0.0041785 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5401-9_0_5_load_73 | 77 | 0.0020374 | 0.00051062 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5401-9_0_5_load_74 | 78 | 0.017809 | 0.0044634 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5401-9_0_5_line_0 |  | 0 | 1 | 0.011675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5401-9_0_5_line_1 |  | 1 | 2 | 0.053873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5401-9_0_5_line_2 |  | 2 | 3 | 0.07405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5401-9_0_5_line_3 |  | 3 | 4 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5401-9_0_5_line_4 |  | 4 | 70 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5401-9_0_5_line_5 |  | 5 | 6 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5401-9_0_5_line_6 |  | 6 | 69 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5401-9_0_5_line_7 |  | 7 | 8 | 0.011861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5401-9_0_5_line_8 |  | 7 | 9 | 0.035462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5401-9_0_5_line_9 |  | 8 | 10 | 0.005651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5401-9_0_5_line_10 |  | 8 | 11 | 0.054728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5401-9_0_5_line_11 |  | 9 | 12 | 0.0026848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5401-9_0_5_line_12 |  | 10 | 13 | 0.029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5401-9_0_5_line_13 |  | 11 | 14 | 0.027811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5401-9_0_5_line_14 |  | 11 | 15 | 0.024287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5401-9_0_5_line_15 |  | 12 | 25 | 0.026523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5401-9_0_5_line_16 |  | 13 | 26 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5401-9_0_5_line_17 |  | 14 | 27 | 0.036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5401-9_0_5_line_18 |  | 14 | 28 | 0.029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5401-9_0_5_line_19 |  | 15 | 32 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5401-9_0_5_line_20 |  | 16 | 17 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5401-9_0_5_line_21 |  | 16 | 18 | 0.0072703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5401-9_0_5_line_22 |  | 17 | 35 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5401-9_0_5_line_23 |  | 18 | 21 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5401-9_0_5_line_24 |  | 19 | 20 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5401-9_0_5_line_25 |  | 19 | 21 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5401-9_0_5_line_26 |  | 20 | 36 | 0.0072017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5401-9_0_5_line_27 |  | 22 | 23 | 0.056906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5401-9_0_5_line_28 |  | 22 | 24 | 0.051133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5401-9_0_5_line_29 |  | 24 | 39 | 0.049424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5401-9_0_5_line_30 |  | 24 | 40 | 0.1862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5401-9_0_5_line_31 |  | 25 | 41 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5401-9_0_5_line_32 |  | 25 | 42 | 0.0029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5401-9_0_5_line_33 |  | 27 | 39 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5401-9_0_5_line_34 |  | 28 | 43 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5401-9_0_5_line_35 |  | 29 | 30 | 0.022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5401-9_0_5_line_36 |  | 29 | 31 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5401-9_0_5_line_37 |  | 30 | 32 | 0.021876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5401-9_0_5_line_38 |  | 30 | 45 | 0.0055041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5401-9_0_5_line_39 |  | 31 | 44 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5401-9_0_5_line_40 |  | 33 | 34 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5401-9_0_5_line_41 |  | 34 | 36 | 0.011853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5401-9_0_5_line_42 |  | 35 | 42 | 0.0087446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5401-9_0_5_line_43 |  | 37 | 38 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5401-9_0_5_line_44 |  | 38 | 74 | 0.0060005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5401-9_0_5_line_45 |  | 39 | 75 | 0.02878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5401-9_0_5_line_46 |  | 40 | 70 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5401-9_0_5_line_47 |  | 41 | 74 | 0.0064318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5401-9_0_5_line_48 |  | 45 | 49 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5401-9_0_5_line_49 |  | 46 | 47 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5401-9_0_5_line_50 |  | 46 | 48 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5401-9_0_5_line_51 |  | 47 | 50 | 0.010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5401-9_0_5_line_52 |  | 49 | 60 | 0.0077106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5401-9_0_5_line_53 |  | 50 | 58 | 0.0075419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5401-9_0_5_line_54 |  | 50 | 56 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5401-9_0_5_line_55 |  | 51 | 52 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5401-9_0_5_line_56 |  | 51 | 53 | 0.0051643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5401-9_0_5_line_57 |  | 52 | 54 | 0.015334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5401-9_0_5_line_58 |  | 53 | 55 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5401-9_0_5_line_59 |  | 54 | 67 | 0.0061715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5401-9_0_5_line_60 |  | 55 | 64 | 0.0042473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5401-9_0_5_line_61 |  | 56 | 57 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5401-9_0_5_line_62 |  | 57 | 59 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5401-9_0_5_line_63 |  | 58 | 60 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5401-9_0_5_line_64 |  | 60 | 63 | 0.016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5401-9_0_5_line_65 |  | 61 | 62 | 0.0042583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5401-9_0_5_line_66 |  | 61 | 63 | 0.0030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5401-9_0_5_line_67 |  | 62 | 66 | 0.0059787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5401-9_0_5_line_68 |  | 64 | 65 | 0.0044987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5401-9_0_5_line_69 |  | 65 | 66 | 0.0081067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5401-9_0_5_line_70 |  | 67 | 68 | 0.027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5401-9_0_5_line_71 |  | 68 | 69 | 0.010836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5401-9_0_5_line_72 |  | 70 | 71 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5401-9_0_5_line_73 |  | 71 | 72 | 0.065452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5401-9_0_5_line_74 |  | 71 | 73 | 0.045237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5401-9_0_5_line_75 |  | 75 | 76 | 0.0060662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5401-9_0_5_line_76 |  | 76 | 77 | 0.009257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5401-9_0_5_line_77 |  | 77 | 78 | 0.0080106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5401-9_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 79 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2564164.1689 | 1130065.8617 | 2564155.6139 | 1130063.6114 | 2564152.8211 | 1130064.0635
1 | 2564135.5353 | 1130102.5505 | 2564146.8418 | 1130093.4675 | 2564157.154 | 1130088.1591 | 2564165.0616 | 1130081.2753 | 2564167.3402 | 1130077.1819 | 2564168.3167 | 1130073.0185 | 2564167.1095 | 1130069.4794 | 2564164.1689 | 1130065.8617
2 | 2564135.5353 | 1130102.5505 | 2564113.5667 | 1130107.3058 | 2564079.492 | 1130109.7322 | 2564062.1689 | 1130111.4896
3 | 2564041.4209 | 1130113.5944 | 2564062.1689 | 1130111.4896
4 | 2564025.1342 | 1130116.6931 | 2564041.4209 | 1130113.5944
5 | 2564182.4129 | 1129852.9351 | 2564187.7245 | 1129853.7593 | 2564195.8822 | 1129857.0414
6 | 2564182.4129 | 1129852.9351 | 2564167.094 | 1129850.5581 | 2564161.3329 | 1129849.0095
7 | 2563926.0814 | 1129849.5169 | 2563915.9799 | 1129854.0352 | 2563915.4306 | 1129854.6103
8 | 2563884.606 | 1129869.0862 | 2563896.4829 | 1129866.5027 | 2563901.8658 | 1129865.0475 | 2563905.8805 | 1129864.0563 | 2563909.5019 | 1129861.7112 | 2563911.6016 | 1129858.6193 | 2563915.4306 | 1129854.6103
9 | 2563926.0814 | 1129849.5169 | 2563926.2879 | 1129846.7032 | 2563927.1807 | 1129844.0187
10 | 2563926.0814 | 1129849.5169 | 2563926.842 | 1129853.0586 | 2563928.6785 | 1129856.1825 | 2563931.1643 | 1129858.4132 | 2563934.1844 | 1129859.8292 | 2563937.4916 | 1129860.3208 | 2563940.1778 | 1129859.9934 | 2563942.7139 | 1129859.0556 | 2563943.7308 | 1129864.2299 | 2563946.8478 | 1129868.9803 | 2563948.7309 | 1129870.8811 | 2563958.6162 | 1129881.7275 | 2563961.5952 | 1129883.9997
11 | 2563884.606 | 1129869.0862 | 2563882.0379 | 1129869.869
12 | 2563927.1807 | 1129844.0187 | 2563910.7969 | 1129832.2886 | 2563903.4963 | 1129827.2801
13 | 2563958.875 | 1129904.3929 | 2563969.6895 | 1129892.8892 | 2563961.5952 | 1129883.9997
14 | 2563961.5952 | 1129883.9997 | 2563967.4373 | 1129878.1841 | 2563979.2511 | 1129867.3284
15 | 2563856.6668 | 1129877.6024 | 2563882.0379 | 1129869.869
16 | 2563895.1507 | 1129821.5546 | 2563903.4963 | 1129827.2801
17 | 2563958.875 | 1129904.3929 | 2563943.877 | 1129914.4099 | 2563929.6311 | 1129926.7261
18 | 2563958.875 | 1129904.3929 | 2563972.8577 | 1129921.6514 | 2563966.8362 | 1129926.4587
19 | 2563991.207 | 1129856.3422 | 2563979.2511 | 1129867.3284
20 | 2563821.3133 | 1129902.0045 | 2563838.7067 | 1129889.999
21 | 2563821.3133 | 1129902.0045 | 2563824.163 | 1129908.6931
22 | 2563847.0334 | 1129884.2516 | 2563838.7067 | 1129889.999
23 | 2563831.2006 | 1129925.2114 | 2563824.163 | 1129908.6931
24 | 2563840.1723 | 1129946.2692 | 2563854.6671 | 1129933.5567
25 | 2563840.1723 | 1129946.2692 | 2563831.2006 | 1129925.2114
26 | 2563854.6671 | 1129933.5567 | 2563860.0814 | 1129928.8081
27 | 2563839.8152 | 1130006.1349 | 2563848.0714 | 1130007.3415 | 2563889.1876 | 1130033.4083
28 | 2563839.8152 | 1130006.1349 | 2563877.6802 | 1129971.6572
29 | 2563877.6802 | 1129971.6572 | 2563915.1192 | 1129939.2722
30 | 2563877.6802 | 1129971.6572 | 2563879.8251 | 1129973.5453 | 2563899.5133 | 1129990.4915 | 2563918.8963 | 1130007.9398 | 2563925.4696 | 1130016.2269 | 2563963.0477 | 1130061.2026 | 2563974.2814 | 1130067.0384 | 2563986.7035 | 1130077.1248 | 2564009.9999 | 1130101.1109
31 | 2563856.6668 | 1129877.6024 | 2563845.1798 | 1129871.0127
32 | 2563856.6668 | 1129877.6024 | 2563854.2302 | 1129879.2842
33 | 2563915.1192 | 1129939.2722 | 2563929.6311 | 1129926.7261
34 | 2563954.7011 | 1129936.1468 | 2563966.8362 | 1129926.4587
35 | 2564002.6484 | 1129874.961 | 2563998.0606 | 1129880.5801 | 2563984.5071 | 1129887.4646
36 | 2563984.5071 | 1129887.4646 | 2563993.8883 | 1129907.4184
37 | 2564002.6484 | 1129874.961 | 2563995.3772 | 1129862.0313 | 2563993.7613 | 1129859.7175 | 2563991.207 | 1129856.3422
38 | 2564002.6484 | 1129874.961 | 2564007.9017 | 1129873.3185
39 | 2564001.9667 | 1129924.6012 | 2563993.8883 | 1129907.4184
40 | 2563868.993 | 1129920.9923 | 2563886.716 | 1129905.4486
41 | 2563868.993 | 1129920.9923 | 2563860.0814 | 1129928.8081
42 | 2563847.0334 | 1129884.2516 | 2563854.2302 | 1129879.2842
43 | 2563817.3988 | 1129855.0759 | 2563834.3959 | 1129864.8265
44 | 2563834.3959 | 1129864.8265 | 2563839.6008 | 1129867.8123
45 | 2563915.1192 | 1129939.2722 | 2563929.0439 | 1129955.8417 | 2563933.9386 | 1129961.0355
46 | 2564025.1342 | 1130116.6931 | 2564009.9999 | 1130101.1109
47 | 2563845.1798 | 1129871.0127 | 2563839.6008 | 1129867.8123
48 | 2564026.2945 | 1129867.5677 | 2564026.1736 | 1129867.6058 | 2564007.9017 | 1129873.3185
49 | 2564008.9466 | 1129888.7637 | 2564016.4866 | 1129883.5161 | 2564016.8944 | 1129883.4358 | 2564019.9024 | 1129882.8398 | 2564024.8645 | 1129881.8541 | 2564026.8496 | 1129882.7872
50 | 2564008.9466 | 1129888.7637 | 2564017.993 | 1129897.3396
51 | 2564036.246 | 1129882.7311 | 2564033.2575 | 1129880.1365 | 2564031.2982 | 1129880.9486 | 2564026.8496 | 1129882.7872
52 | 2564033.6304 | 1129865.1934 | 2564028.0802 | 1129867.0052 | 2564026.2945 | 1129867.5677
53 | 2564036.246 | 1129882.7311 | 2564040.2284 | 1129876.3264
54 | 2564036.246 | 1129882.7311 | 2564036.1408 | 1129888.3234 | 2564036.1178 | 1129889.6354 | 2564049.3174 | 1129902.1852 | 2564049.7976 | 1129902.6381
55 | 2564090.4073 | 1129838.5527 | 2564102.347 | 1129839.55
56 | 2564090.4073 | 1129838.5527 | 2564085.8342 | 1129840.9521
57 | 2564102.347 | 1129839.55 | 2564117.628 | 1129840.8265
58 | 2564085.8342 | 1129840.9521 | 2564075.6513 | 1129846.2948
59 | 2564123.7781 | 1129841.3402 | 2564117.628 | 1129840.8265
60 | 2564071.8902 | 1129848.2682 | 2564075.6513 | 1129846.2948
61 | 2564074.9162 | 1129888.6702 | 2564049.7976 | 1129902.6381
62 | 2564074.9162 | 1129888.6702 | 2564077.7261 | 1129893.5893 | 2564080.7629 | 1129897.5364
63 | 2564033.6304 | 1129865.1934 | 2564040.2284 | 1129876.3264
64 | 2564033.6304 | 1129865.1934 | 2564039.8416 | 1129863.1331 | 2564048.8016 | 1129859.9617
65 | 2564051.6936 | 1129858.9381 | 2564054.1886 | 1129857.5559 | 2564055.4336 | 1129856.9026
66 | 2564051.6936 | 1129858.9381 | 2564048.8016 | 1129859.9617
67 | 2564060.7279 | 1129854.1248 | 2564055.4336 | 1129856.9026
68 | 2564071.8902 | 1129848.2682 | 2564067.9065 | 1129850.3584
69 | 2564067.9065 | 1129850.3584 | 2564060.7279 | 1129854.1248
70 | 2564123.7781 | 1129841.3402 | 2564136.8679 | 1129842.4337 | 2564150.8687 | 1129846.1969
71 | 2564150.8687 | 1129846.1969 | 2564161.3329 | 1129849.0095
72 | 2564025.1342 | 1130116.6931 | 2564017.5503 | 1130118.4059 | 2564014.9084 | 1130119.689
73 | 2564014.9084 | 1130119.689 | 2564001.4458 | 1130126.2171 | 2563975.0527 | 1130169.2599
74 | 2564014.9084 | 1130119.689 | 2564037.5372 | 1130133.9278 | 2564039.9247 | 1130136.4926 | 2564041.9218 | 1130139.46 | 2564043.6357 | 1130150.7513
75 | 2563938.099 | 1129965.4502 | 2563933.9386 | 1129961.0355
76 | 2563938.099 | 1129965.4502 | 2563944.4478 | 1129972.187
77 | 2563949.9418 | 1129978.0168 | 2563944.4478 | 1129972.187

## bus_geodata
| x | y | coords
0 | 2564152.8211 | 1130064.0635
1 | 2564164.1689 | 1130065.8617
2 | 2564135.5353 | 1130102.5505
3 | 2564062.1689 | 1130111.4896
4 | 2564041.4209 | 1130113.5944
5 | 2564195.8822 | 1129857.0414
6 | 2564182.4129 | 1129852.9351
7 | 2563915.4306 | 1129854.6103
8 | 2563926.0814 | 1129849.5169
9 | 2563884.606 | 1129869.0862
10 | 2563927.1807 | 1129844.0187
11 | 2563961.5952 | 1129883.9997
12 | 2563882.0379 | 1129869.869
13 | 2563903.4963 | 1129827.2801
14 | 2563958.875 | 1129904.3929
15 | 2563979.2511 | 1129867.3284
16 | 2563821.3133 | 1129902.0045
17 | 2563838.7067 | 1129889.999
18 | 2563824.163 | 1129908.6931
19 | 2563840.1723 | 1129946.2692
20 | 2563854.6671 | 1129933.5567
21 | 2563831.2006 | 1129925.2114
22 | 2563839.8152 | 1130006.1349
23 | 2563889.1876 | 1130033.4083
24 | 2563877.6802 | 1129971.6572
25 | 2563856.6668 | 1129877.6024
26 | 2563895.1507 | 1129821.5546
27 | 2563929.6311 | 1129926.7261
28 | 2563966.8362 | 1129926.4587
29 | 2563984.5071 | 1129887.4646
30 | 2564002.6484 | 1129874.961
31 | 2563993.8883 | 1129907.4184
32 | 2563991.207 | 1129856.3422
33 | 2563886.716 | 1129905.4486
34 | 2563868.993 | 1129920.9923
35 | 2563847.0334 | 1129884.2516
36 | 2563860.0814 | 1129928.8081
37 | 2563817.3988 | 1129855.0759
38 | 2563834.3959 | 1129864.8265
39 | 2563915.1192 | 1129939.2722
40 | 2564009.9999 | 1130101.1109
41 | 2563845.1798 | 1129871.0127
42 | 2563854.2302 | 1129879.2842
43 | 2563954.7011 | 1129936.1468
44 | 2564001.9667 | 1129924.6012
45 | 2564007.9017 | 1129873.3185
46 | 2564008.9466 | 1129888.7637
47 | 2564026.8496 | 1129882.7872
48 | 2564017.993 | 1129897.3396
49 | 2564026.2945 | 1129867.5677
50 | 2564036.246 | 1129882.7311
51 | 2564090.4073 | 1129838.5527
52 | 2564102.347 | 1129839.55
53 | 2564085.8342 | 1129840.9521
54 | 2564117.628 | 1129840.8265
55 | 2564075.6513 | 1129846.2949
56 | 2564049.7976 | 1129902.6381
57 | 2564074.9162 | 1129888.6702
58 | 2564040.2284 | 1129876.3264
59 | 2564080.763 | 1129897.5364
60 | 2564033.6304 | 1129865.1934
61 | 2564051.6936 | 1129858.9381
62 | 2564055.4336 | 1129856.9026
63 | 2564048.8016 | 1129859.9617
64 | 2564071.8902 | 1129848.2682
65 | 2564067.9065 | 1129850.3584
66 | 2564060.7279 | 1129854.1248
67 | 2564123.7781 | 1129841.3402
68 | 2564150.8687 | 1129846.1969
69 | 2564161.3329 | 1129849.0095
70 | 2564025.1342 | 1130116.6931
71 | 2564014.9084 | 1130119.689
72 | 2563975.0527 | 1130169.2599
73 | 2564043.6357 | 1130150.7513
74 | 2563839.6008 | 1129867.8123
75 | 2563933.9386 | 1129961.0355
76 | 2563938.099 | 1129965.4502
77 | 2563944.4478 | 1129972.187
78 | 2563949.9418 | 1129978.0168
79 | 2563969.6895 | 1129892.8892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1