## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_572-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_572-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_572-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_572-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_572-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_572-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_572-5_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_572-5_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_572-5_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_572-5_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_572-5_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_572-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_572-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_572-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_572-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_572-5_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_572-5_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_572-5_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_572-5_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_572-5_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_572-5_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_572-5_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_572-5_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_572-5_0_4_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_572-5_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_572-5_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_572-5_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_572-5_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_572-5_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_572-5_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_572-5_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_572-5_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_572-5_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_572-5_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_572-5_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_572-5_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_572-5_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_572-5_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_572-5_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_572-5_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_572-5_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_572-5_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_572-5_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_572-5_0_4_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_572-5_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_572-5_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_572-5_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_572-5_0_4_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_572-5_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_572-5_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_572-5_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_572-5_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_572-5_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_572-5_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_572-5_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_572-5_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_572-5_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_572-5_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_572-5_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_572-5_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_572-5_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_572-5_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_572-5_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_572-5_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_572-5_0_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_572-5_0_4_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_572-5_0_4_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_572-5_0_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_572-5_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_572-5_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_572-5_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_572-5_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_572-5_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_572-5_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_572-5_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_572-5_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_572-5_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_572-5_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_572-5_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_572-5_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_572-5_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_572-5_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_572-5_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_572-5_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_572-5_0_4_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_572-5_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_572-5_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_572-5_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_572-5_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_83_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_572-5_0_4_load_0 | 0 | 0.0029452 | 0.00073813 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_572-5_0_4_load_1 | 1 | 0.0022576 | 0.00056581 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_572-5_0_4_load_2 | 2 | 0.0017158 | 0.00043001 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_572-5_0_4_load_3 | 3 | 0.0019663 | 0.0004928 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_572-5_0_4_load_4 | 4 | 0.0024476 | 0.00061344 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_572-5_0_4_load_5 | 5 | 0.0026725 | 0.0006698 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_572-5_0_4_load_13 | 7 | 0.0023695 | 0.00059386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_572-5_0_4_load_11 | 8 | 0.001922 | 0.00048171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_572-5_0_4_load_16 | 9 | 0.0024408 | 0.00061171 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_572-5_0_4_load_7 | 11 | 0.0026753 | 0.0006705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_572-5_0_4_load_8 | 12 | 0.0028635 | 0.00071765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_572-5_0_4_load_9 | 13 | 0.002226 | 0.0005579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_572-5_0_4_load_10 | 14 | 0.0027306 | 0.00068436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_572-5_0_4_load_12 | 15 | 0.0031937 | 0.00080041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_572-5_0_4_load_21 | 16 | 0.0077143 | 0.0019334 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_572-5_0_4_load_19 | 17 | 0.0021133 | 0.00052965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_572-5_0_4_load_25 | 18 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_572-5_0_4_load_23 | 19 | 0.0028516 | 0.00071467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_572-5_0_4_load_73 | 20 | 0.0026598 | 0.0006666 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_572-5_0_4_load_69 | 21 | 0.0030171 | 0.00075615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_572-5_0_4_load_71 | 23 | 0.0022653 | 0.00056774 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_572-5_0_4_load_18 | 24 | 0.0017741 | 0.00044463 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_572-5_0_4_load_22 | 26 | 0.013547 | 0.0033953 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_572-5_0_4_load_24 | 27 | 0.012986 | 0.0032546 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_572-5_0_4_load_26 | 28 | 0.012417 | 0.003112 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_572-5_0_4_load_27 | 29 | 0.0021796 | 0.00054625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_572-5_0_4_load_39 | 30 | 0.012479 | 0.0031276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_572-5_0_4_load_40 | 31 | 0.011779 | 0.0029521 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_572-5_0_4_load_28 | 32 | 0.012798 | 0.0032074 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_572-5_0_4_load_31 | 35 | 0.021276 | 0.0053323 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_572-5_0_4_load_32 | 36 | 0.015956 | 0.0039991 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_572-5_0_4_load_33 | 37 | 0.0031093 | 0.00077927 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_572-5_0_4_load_34 | 38 | 0.015918 | 0.0039893 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_572-5_0_4_load_35 | 39 | 0.017669 | 0.0044282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_572-5_0_4_load_36 | 40 | 0.0054947 | 0.0013771 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_572-5_0_4_load_37 | 41 | 0.0075695 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_572-5_0_4_load_38 | 42 | 0.025504 | 0.0063919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_572-5_0_4_load_88 | 43 | 0.010669 | 0.002674 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_572-5_0_4_load_62 | 44 | 0.0031632 | 0.00079278 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_572-5_0_4_load_42 | 45 | 0.0055375 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_572-5_0_4_load_43 | 46 | 0.0033618 | 0.00084254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_572-5_0_4_load_89 | 47 | 0.0077104 | 0.0019324 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_572-5_0_4_load_60 | 48 | 0.0035981 | 0.00090178 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_572-5_0_4_load_41 | 49 | 0.011853 | 0.0029707 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_572-5_0_4_load_44 | 50 | 0.003476 | 0.00087117 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_572-5_0_4_load_45 | 51 | 0.001361 | 0.0003411 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_572-5_0_4_load_56 | 53 | 0.0014523 | 0.00036398 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_572-5_0_4_load_57 | 54 | 0.0024989 | 0.0006263 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_572-5_0_4_load_58 | 55 | 0.0010134 | 0.00025399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_572-5_0_4_load_47 | 57 | 0.0012521 | 0.0003138 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_572-5_0_4_load_48 | 58 | 0.00096857 | 0.00024275 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_572-5_0_4_load_50 | 60 | 0.0022243 | 0.00055746 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_572-5_0_4_load_51 | 61 | 0.0010197 | 0.00025557 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_572-5_0_4_load_54 | 62 | 0.0005576 | 0.00013975 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_572-5_0_4_load_79 | 64 | 0.00094376 | 0.00023653 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_572-5_0_4_load_87 | 65 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_572-5_0_4_load_83 | 66 | 0.0024532 | 0.00061484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_572-5_0_4_load_86 | 67 | 0.011261 | 0.0028223 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_572-5_0_4_load_66 | 68 | 0.0025459 | 0.00063806 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_572-5_0_4_load_68 | 69 | 0.0016709 | 0.00041877 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_572-5_0_4_load_65 | 70 | 0.0021131 | 0.00052959 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_572-5_0_4_load_70 | 71 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_572-5_0_4_load_61 | 72 | 0.0011279 | 0.00028267 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_572-5_0_4_load_63 | 73 | 0.0011417 | 0.00028614 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_572-5_0_4_load_64 | 74 | 0.00092818 | 0.00023262 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_572-5_0_4_load_76 | 75 | 0.0027919 | 0.00069971 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_572-5_0_4_load_77 | 76 | 0.0010461 | 0.00026217 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_572-5_0_4_load_75 | 77 | 0.0013738 | 0.00034432 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_572-5_0_4_load_74 | 78 | 0.0021979 | 0.00055086 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_572-5_0_4_load_72 | 79 | 0.0021443 | 0.0005374 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_572-5_0_4_load_80 | 81 | 0.0025607 | 0.00064178 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_572-5_0_4_load_81 | 82 | 0.0011769 | 0.00029495 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_572-5_0_4_load_82 | 83 | 0.0044242 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_572-5_0_4_load_94 | 84 | 0.042156 | 0.010565 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_572-5_0_4_load_93 | 85 | 0.0053467 | 0.00134 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_572-5_0_4_load_90 | 86 | 0.014557 | 0.0036484 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_572-5_0_4_load_92 | 87 | 0.0082861 | 0.0020767 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_572-5_0_4_load_91 | 88 | 0.012379 | 0.0031025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_572-5_0_4_line_0 |  | 0 | 1 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_572-5_0_4_line_1 |  | 0 | 2 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_572-5_0_4_line_2 |  | 1 | 3 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_572-5_0_4_line_3 |  | 2 | 4 | 0.039098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_572-5_0_4_line_4 |  | 3 | 5 | 0.027856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_572-5_0_4_line_5 |  | 4 | 6 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_572-5_0_4_line_6 |  | 6 | 7 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_572-5_0_4_line_7 |  | 7 | 8 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_572-5_0_4_line_8 |  | 8 | 13 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_572-5_0_4_line_9 |  | 9 | 10 | 0.013225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_572-5_0_4_line_10 |  | 10 | 20 | 0.018221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_572-5_0_4_line_11 |  | 11 | 12 | 0.0093511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_572-5_0_4_line_12 |  | 11 | 13 | 0.012365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_572-5_0_4_line_13 |  | 12 | 14 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_572-5_0_4_line_14 |  | 14 | 15 | 0.024422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_572-5_0_4_line_15 |  | 15 | 16 | 0.00024983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_572-5_0_4_line_16 |  | 16 | 17 | 0.0029329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_572-5_0_4_line_17 |  | 17 | 24 | 0.00014469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_572-5_0_4_line_18 |  | 18 | 19 | 0.010225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_572-5_0_4_line_19 |  | 19 | 25 | 0.0017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_572-5_0_4_line_20 |  | 20 | 23 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_572-5_0_4_line_21 |  | 21 | 22 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_572-5_0_4_line_22 |  | 22 | 67 | 0.040075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_572-5_0_4_line_23 |  | 22 | 68 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_572-5_0_4_line_24 |  | 22 | 63 | 0.003883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_572-5_0_4_line_25 |  | 23 | 79 | 0.0039675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_572-5_0_4_line_26 |  | 24 | 25 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_572-5_0_4_line_27 |  | 25 | 26 | 0.0098047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_572-5_0_4_line_28 |  | 26 | 27 | 0.0080416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_572-5_0_4_line_29 |  | 27 | 28 | 0.011748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_572-5_0_4_line_30 |  | 28 | 29 | 0.00099539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_572-5_0_4_line_31 |  | 29 | 30 | 0.0084652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_572-5_0_4_line_32 |  | 30 | 31 | 0.0017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_572-5_0_4_line_33 |  | 31 | 49 | 0.0090245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_572-5_0_4_line_34 |  | 32 | 33 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_572-5_0_4_line_35 |  | 32 | 34 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_572-5_0_4_line_36 |  | 33 | 35 | 0.0069669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_572-5_0_4_line_37 |  | 33 | 36 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_572-5_0_4_line_38 |  | 34 | 37 | 0.0084296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_572-5_0_4_line_39 |  | 34 | 38 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_572-5_0_4_line_40 |  | 35 | 39 | 0.0048533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_572-5_0_4_line_41 |  | 36 | 40 | 0.0019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_572-5_0_4_line_42 |  | 37 | 41 | 0.0049707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_572-5_0_4_line_43 |  | 38 | 42 | 0.012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_572-5_0_4_line_44 |  | 39 | 43 | 0.0044249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_572-5_0_4_line_45 |  | 40 | 44 | 0.0098929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_572-5_0_4_line_46 |  | 41 | 45 | 0.00044041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_572-5_0_4_line_47 |  | 42 | 46 | 0.0035112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_572-5_0_4_line_48 |  | 43 | 47 | 0.0049206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_572-5_0_4_line_49 |  | 44 | 48 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_572-5_0_4_line_50 |  | 45 | 49 | 0.0065852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_572-5_0_4_line_51 |  | 46 | 50 | 0.0058762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_572-5_0_4_line_52 |  | 47 | 86 | 0.00018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_572-5_0_4_line_53 |  | 48 | 72 | 0.003793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_572-5_0_4_line_54 |  | 50 | 51 | 0.00082893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_572-5_0_4_line_55 |  | 51 | 52 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_572-5_0_4_line_56 |  | 52 | 53 | 0.02295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_572-5_0_4_line_57 |  | 52 | 54 | 0.015258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_572-5_0_4_line_58 |  | 53 | 55 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_572-5_0_4_line_59 |  | 54 | 56 | 0.019838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_572-5_0_4_line_60 |  | 55 | 62 | 0.0057131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_572-5_0_4_line_61 |  | 56 | 69 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_572-5_0_4_line_62 |  | 56 | 70 | 0.0046446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_572-5_0_4_line_63 |  | 57 | 58 | 0.023936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_572-5_0_4_line_64 |  | 57 | 59 | 0.051911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_572-5_0_4_line_65 |  | 58 | 60 | 0.0026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_572-5_0_4_line_66 |  | 59 | 61 | 0.058008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_572-5_0_4_line_67 |  | 60 | 62 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_572-5_0_4_line_68 |  | 63 | 64 | 0.038629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_572-5_0_4_line_69 |  | 65 | 66 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_572-5_0_4_line_70 |  | 66 | 82 | 0.01054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_572-5_0_4_line_71 |  | 68 | 70 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_572-5_0_4_line_72 |  | 69 | 71 | 0.00022995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_572-5_0_4_line_73 |  | 71 | 77 | 0.022612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_572-5_0_4_line_74 |  | 72 | 73 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_572-5_0_4_line_75 |  | 73 | 74 | 0.0077603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_572-5_0_4_line_76 |  | 74 | 75 | 0.00066057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_572-5_0_4_line_77 |  | 75 | 76 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_572-5_0_4_line_78 |  | 76 | 80 | 0.00099748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_572-5_0_4_line_79 |  | 77 | 78 | 0.0043738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_572-5_0_4_line_80 |  | 78 | 79 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_572-5_0_4_line_81 |  | 80 | 81 | 0.009467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_572-5_0_4_line_82 |  | 80 | 82 | 0.0073966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_572-5_0_4_line_83 |  | 81 | 83 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_572-5_0_4_line_84 |  | 84 | 85 | 0.0011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_572-5_0_4_line_85 |  | 85 | 88 | 0.0038889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_572-5_0_4_line_86 |  | 86 | 87 | 0.0036394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_572-5_0_4_line_87 |  | 87 | 88 | 0.0068306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_572-5_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 89 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2634523.5969 | 1170659.3785 | 2634541.448 | 1170657.6825
1 | 2634523.5969 | 1170659.3785 | 2634509.9885 | 1170660.6714
2 | 2634541.448 | 1170657.6825 | 2634566.0599 | 1170655.3443
3 | 2634509.9885 | 1170660.6714 | 2634497.3536 | 1170661.8718 | 2634494.1289 | 1170650.5697 | 2634489.9733 | 1170636.5187
4 | 2634566.0599 | 1170655.3443 | 2634593.7915 | 1170652.7096
5 | 2634485.7011 | 1170622.0733 | 2634489.9733 | 1170636.5187
6 | 2634485.7011 | 1170622.0733 | 2634513.0015 | 1170619.2485
7 | 2634513.0015 | 1170619.2485 | 2634526.0786 | 1170617.8954
8 | 2634541.0496 | 1170616.3464 | 2634526.0786 | 1170617.8954
9 | 2634484.7726 | 1170574.5656 | 2634483.2686 | 1170587.7046
10 | 2634484.7726 | 1170574.5656 | 2634502.8362 | 1170572.1791
11 | 2634553.3493 | 1170615.0737 | 2634562.6508 | 1170614.1113
12 | 2634553.3493 | 1170615.0737 | 2634541.0496 | 1170616.3464
13 | 2634562.6508 | 1170614.1113 | 2634579.6994 | 1170612.3473
14 | 2634603.9913 | 1170609.8338 | 2634579.6994 | 1170612.3473
15 | 2634603.9913 | 1170609.8338 | 2634604.2398 | 1170609.8081
16 | 2634604.2398 | 1170609.8081 | 2634607.1571 | 1170609.5062
17 | 2634607.1571 | 1170609.5062 | 2634607.301 | 1170609.4913
18 | 2634626.8183 | 1170619.1468 | 2634623.4661 | 1170609.487
19 | 2634622.9072 | 1170607.8765 | 2634623.4661 | 1170609.487
20 | 2634524.4564 | 1170569.3228 | 2634502.8362 | 1170572.1791
21 | 2634494.7192 | 1170526.3755 | 2634492.2492 | 1170538.3426
22 | 2634494.7192 | 1170526.3755 | 2634456.1281 | 1170515.5721
23 | 2634494.7192 | 1170526.3755 | 2634512.7999 | 1170524.5079
24 | 2634494.7192 | 1170526.3755 | 2634495.6742 | 1170522.6124
25 | 2634524.4564 | 1170569.3228 | 2634528.3897 | 1170568.8032
26 | 2634622.9072 | 1170607.8765 | 2634607.301 | 1170609.4913
27 | 2634622.9072 | 1170607.8765 | 2634620.1229 | 1170598.4755
28 | 2634617.8392 | 1170590.765 | 2634620.1229 | 1170598.4755
29 | 2634614.5031 | 1170579.501 | 2634617.8392 | 1170590.765
30 | 2634614.5031 | 1170579.501 | 2634614.2205 | 1170578.5466
31 | 2634612.7023 | 1170570.2397 | 2634613.5042 | 1170576.1282 | 2634614.2205 | 1170578.5466
32 | 2634612.7023 | 1170570.2397 | 2634612.4651 | 1170568.4975
33 | 2634612.4651 | 1170568.4975 | 2634611.2474 | 1170559.5556
34 | 2634645.9763 | 1170527.6679 | 2634631.7713 | 1170532.8987
35 | 2634612.8332 | 1170539.8723 | 2634631.7713 | 1170532.8987
36 | 2634645.9763 | 1170527.6679 | 2634652.0979 | 1170530.9942
37 | 2634645.9763 | 1170527.6679 | 2634638.6178 | 1170517.291
38 | 2634612.8332 | 1170539.8723 | 2634609.6287 | 1170547.669 | 2634609.6287 | 1170547.669
39 | 2634612.8332 | 1170539.8723 | 2634603.4114 | 1170533.3624
40 | 2634656.3624 | 1170533.3114 | 2634652.0979 | 1170530.9942
41 | 2634638.6178 | 1170517.291 | 2634637.4657 | 1170515.6662
42 | 2634610.2994 | 1170552.5942 | 2634609.6287 | 1170547.669
43 | 2634603.4114 | 1170533.3624 | 2634593.3778 | 1170526.4298
44 | 2634656.3624 | 1170533.3114 | 2634660.2503 | 1170535.4241
45 | 2634631.7431 | 1170507.5964 | 2634637.4657 | 1170515.6662
46 | 2634610.3588 | 1170553.0306 | 2634610.2994 | 1170552.5942
47 | 2634590.489 | 1170524.4339 | 2634593.3778 | 1170526.4298
48 | 2634664.5738 | 1170537.7734 | 2634660.2503 | 1170535.4241
49 | 2634623.2119 | 1170495.5657 | 2634631.7431 | 1170507.5964
50 | 2634610.3588 | 1170553.0306 | 2634611.2474 | 1170559.5556
51 | 2634590.489 | 1170524.4339 | 2634587.7173 | 1170522.5188 | 2634585.3849 | 1170521.5989
52 | 2634664.5738 | 1170537.7734 | 2634664.7383 | 1170537.8627
53 | 2634623.2119 | 1170495.5657 | 2634621.0179 | 1170492.4717
54 | 2634585.3849 | 1170521.5989 | 2634584.6138 | 1170521.2947
55 | 2634574.9318 | 1170517.476 | 2634584.6138 | 1170521.2947
56 | 2634574.9318 | 1170517.476 | 2634566.0383 | 1170496.319
57 | 2634574.9318 | 1170517.476 | 2634559.7846 | 1170519.3076
58 | 2634566.0383 | 1170496.319 | 2634558.6986 | 1170478.8585
59 | 2634540.0903 | 1170521.6891 | 2634559.7846 | 1170519.3076
60 | 2634556.4847 | 1170473.5918 | 2634558.6986 | 1170478.8585
61 | 2634540.0903 | 1170521.6891 | 2634541.5686 | 1170539.6434
62 | 2634540.0903 | 1170521.6891 | 2634535.4704 | 1170522.1663
63 | 2634545.2561 | 1170435.3411 | 2634546.5163 | 1170449.8777 | 2634550.1375 | 1170458.4923
64 | 2634516.9249 | 1170405.7628 | 2634522.6449 | 1170407.5521 | 2634541.7255 | 1170408.8957 | 2634543.424 | 1170414.2082 | 2634545.2561 | 1170435.3411
65 | 2634551.1766 | 1170460.9642 | 2634550.1375 | 1170458.4923
66 | 2634516.9249 | 1170405.7628 | 2634514.4484 | 1170428.0156 | 2634507.798 | 1170456.3588 | 2634506.4836 | 1170462.7293
67 | 2634551.1766 | 1170460.9642 | 2634556.4847 | 1170473.5918
68 | 2634495.6742 | 1170522.6124 | 2634505.1763 | 1170485.1703
69 | 2634590.5551 | 1170449.1255 | 2634578.4859 | 1170431.6461
70 | 2634596.5442 | 1170457.7991 | 2634590.5551 | 1170449.1255
71 | 2634535.4704 | 1170522.1663 | 2634512.7999 | 1170524.5079
72 | 2634541.5875 | 1170539.8726 | 2634541.5686 | 1170539.6434
73 | 2634543.4429 | 1170562.408 | 2634541.5875 | 1170539.8726
74 | 2634612.7225 | 1170480.7736 | 2634621.0179 | 1170492.4717
75 | 2634608.2336 | 1170474.4433 | 2634612.7225 | 1170480.7736
76 | 2634608.2336 | 1170474.4433 | 2634607.8515 | 1170473.9045
77 | 2634601.3239 | 1170464.6993 | 2634607.8515 | 1170473.9045
78 | 2634601.3239 | 1170464.6993 | 2634600.7469 | 1170463.8857
79 | 2634543.8018 | 1170566.767 | 2634543.4429 | 1170562.408
80 | 2634543.8018 | 1170566.767 | 2634543.8018 | 1170566.767 | 2634528.3897 | 1170568.8032
81 | 2634600.7469 | 1170463.8857 | 2634608.801 | 1170458.9101
82 | 2634600.7469 | 1170463.8857 | 2634596.5442 | 1170457.7991
83 | 2634608.801 | 1170458.9101 | 2634618.8704 | 1170452.6896
84 | 2634678.3586 | 1170545.2637 | 2634678.3586 | 1170545.2637 | 2634677.355 | 1170544.7183
85 | 2634673.9379 | 1170542.8616 | 2634677.355 | 1170544.7183
86 | 2634667.9361 | 1170539.6004 | 2634664.7383 | 1170537.8627
87 | 2634673.9379 | 1170542.8616 | 2634667.9361 | 1170539.6004

## bus_geodata
| x | y | coords
0 | 2634523.5969 | 1170659.3785
1 | 2634541.448 | 1170657.6825
2 | 2634509.9885 | 1170660.6714
3 | 2634566.0599 | 1170655.3443
4 | 2634489.9733 | 1170636.5187
5 | 2634593.7915 | 1170652.7096
6 | 2634485.7011 | 1170622.0733
7 | 2634513.0015 | 1170619.2485
8 | 2634526.0786 | 1170617.8954
9 | 2634483.2686 | 1170587.7046
10 | 2634484.7726 | 1170574.5656
11 | 2634553.3493 | 1170615.0737
12 | 2634562.6508 | 1170614.1113
13 | 2634541.0496 | 1170616.3464
14 | 2634579.6994 | 1170612.3473
15 | 2634603.9913 | 1170609.8338
16 | 2634604.2398 | 1170609.8081
17 | 2634607.1571 | 1170609.5062
18 | 2634626.8183 | 1170619.1468
19 | 2634623.4661 | 1170609.487
20 | 2634502.8362 | 1170572.1791
21 | 2634492.2492 | 1170538.3426
22 | 2634494.7192 | 1170526.3755
23 | 2634524.4564 | 1170569.3228
24 | 2634607.301 | 1170609.4913
25 | 2634622.9072 | 1170607.8765
26 | 2634620.1229 | 1170598.4755
27 | 2634617.8392 | 1170590.765
28 | 2634614.5031 | 1170579.501
29 | 2634614.2205 | 1170578.5466
30 | 2634612.7023 | 1170570.2397
31 | 2634612.4651 | 1170568.4975
32 | 2634631.7713 | 1170532.8987
33 | 2634645.9763 | 1170527.6679
34 | 2634612.8332 | 1170539.8723
35 | 2634652.0979 | 1170530.9942
36 | 2634638.6178 | 1170517.291
37 | 2634609.6287 | 1170547.669
38 | 2634603.4114 | 1170533.3624
39 | 2634656.3624 | 1170533.3114
40 | 2634637.4657 | 1170515.6662
41 | 2634610.2994 | 1170552.5942
42 | 2634593.3778 | 1170526.4298
43 | 2634660.2503 | 1170535.4241
44 | 2634631.7431 | 1170507.5964
45 | 2634610.3588 | 1170553.0306
46 | 2634590.489 | 1170524.4339
47 | 2634664.5738 | 1170537.7734
48 | 2634623.2119 | 1170495.5657
49 | 2634611.2474 | 1170559.5556
50 | 2634585.3849 | 1170521.5989
51 | 2634584.6138 | 1170521.2947
52 | 2634574.9318 | 1170517.476
53 | 2634566.0383 | 1170496.319
54 | 2634559.7846 | 1170519.3076
55 | 2634558.6986 | 1170478.8585
56 | 2634540.0903 | 1170521.6891
57 | 2634545.2561 | 1170435.3411
58 | 2634550.1375 | 1170458.4923
59 | 2634516.9249 | 1170405.7628
60 | 2634551.1766 | 1170460.9642
61 | 2634506.4836 | 1170462.7293
62 | 2634556.4847 | 1170473.5918
63 | 2634495.6742 | 1170522.6124
64 | 2634505.1763 | 1170485.1703
65 | 2634578.4859 | 1170431.6461
66 | 2634590.5551 | 1170449.1255
67 | 2634456.1281 | 1170515.5721
68 | 2634512.7999 | 1170524.5079
69 | 2634541.5686 | 1170539.6434
70 | 2634535.4704 | 1170522.1663
71 | 2634541.5875 | 1170539.8726
72 | 2634621.0179 | 1170492.4717
73 | 2634612.7225 | 1170480.7736
74 | 2634608.2336 | 1170474.4433
75 | 2634607.8515 | 1170473.9045
76 | 2634601.3239 | 1170464.6993
77 | 2634543.4429 | 1170562.408
78 | 2634543.8018 | 1170566.767
79 | 2634528.3897 | 1170568.8032
80 | 2634600.7469 | 1170463.8857
81 | 2634608.801 | 1170458.9101
82 | 2634596.5442 | 1170457.7991
83 | 2634618.8704 | 1170452.6896
84 | 2634678.3586 | 1170545.2637
85 | 2634677.355 | 1170544.7183
86 | 2634664.7383 | 1170537.8627
87 | 2634667.9361 | 1170539.6004
88 | 2634673.9379 | 1170542.8616
89 | 2634612.8332 | 1170539.8723

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1