## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_581-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_581-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_581-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_581-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_581-3_0_6_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_581-3_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_581-3_0_6_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_581-3_0_6_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_581-3_0_6_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_581-3_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_581-3_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_581-3_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_581-3_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_581-3_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_581-3_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_581-3_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_581-3_0_6_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_581-3_0_6_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_581-3_0_6_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_581-3_0_6_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_581-3_0_6_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_581-3_0_6_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_581-3_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_581-3_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_581-3_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_581-3_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_581-3_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_581-3_0_6_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_581-3_0_6_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_581-3_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_581-3_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_581-3_0_6_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_581-3_0_6_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_581-3_0_6_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_581-3_0_6_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_581-3_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_581-3_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_581-3_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_581-3_0_6_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_581-3_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_581-3_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_581-3_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_581-3_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_581-3_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_581-3_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_581-3_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_581-3_0_6_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_581-3_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_581-3_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_581-3_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_581-3_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_581-3_0_6_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_581-3_0_6_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_581-3_0_6_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_581-3_0_6_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_581-3_0_6_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_581-3_0_6_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_581-3_0_6_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_581-3_0_6_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_581-3_0_6_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_581-3_0_6_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_581-3_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_581-3_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_581-3_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_581-3_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_581-3_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_581-3_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_581-3_0_6_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_581-3_0_6_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_581-3_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_581-3_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_581-3_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_581-3_0_6_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_581-3_0_6_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_581-3_0_6_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_581-3_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_581-3_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_581-3_0_6_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_581-3_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_581-3_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_581-3_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_581-3_0_6_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_581-3_0_6_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_581-3_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_581-3_0_6_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_581-3_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_581-3_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_581-3_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_581-3_0_6_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_581-3_0_6_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_581-3_0_6_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_581-3_0_6_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_581-3_0_6_node_94 | 0.4 | n |  | TRUE
93 | bus_MV_81_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_581-3_0_6_load_0 | 0 | 0.039666 | 0.0099411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_581-3_0_6_load_1 | 1 | 0.0065463 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_581-3_0_6_load_36 | 5 | 0.003381 | 0.00084735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_581-3_0_6_load_42 | 6 | 0.003091 | 0.00077468 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_581-3_0_6_load_39 | 7 | 0.0032227 | 0.0008077 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_581-3_0_6_load_35 | 8 | 0.0046898 | 0.0011754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_581-3_0_6_load_4 | 9 | 0.017237 | 0.0043201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_581-3_0_6_load_5 | 10 | 0.012771 | 0.0032008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_581-3_0_6_load_6 | 11 | 0.0041042 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_581-3_0_6_load_7 | 12 | 0.0031586 | 0.00079162 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_581-3_0_6_load_9 | 13 | 0.010679 | 0.0026764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_581-3_0_6_load_8 | 14 | 0.0079482 | 0.001992 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_581-3_0_6_load_10 | 15 | 0.0078001 | 0.0019549 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_581-3_0_6_load_82 | 18 | 0.011315 | 0.0028359 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_581-3_0_6_load_83 | 19 | 0.0049733 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_581-3_0_6_load_49 | 21 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_581-3_0_6_load_11 | 22 | 0.022904 | 0.0057404 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_581-3_0_6_load_12 | 23 | 0.01045 | 0.0026191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_581-3_0_6_load_54 | 27 | 0.0046854 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_581-3_0_6_load_72 | 28 | 0.0051574 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_581-3_0_6_load_22 | 29 | 0.0014403 | 0.00036096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_581-3_0_6_load_18 | 30 | 0.032173 | 0.0080634 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_581-3_0_6_load_52 | 32 | 0.010949 | 0.002744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_581-3_0_6_load_90 | 33 | 0.0014452 | 0.00036219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_581-3_0_6_load_57 | 34 | 0.0041347 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_581-3_0_6_load_19 | 37 | 0.020978 | 0.0052575 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_581-3_0_6_load_66 | 38 | 0.0058021 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_581-3_0_6_load_60 | 39 | 0.016121 | 0.0040402 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_581-3_0_6_load_24 | 41 | 0.0069878 | 0.0017513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_581-3_0_6_load_25 | 42 | 0.007338 | 0.0018391 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_581-3_0_6_load_44 | 43 | 0.0072411 | 0.0018148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_581-3_0_6_load_58 | 44 | 0.005094 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_581-3_0_6_load_45 | 45 | 0.0018521 | 0.00046417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_581-3_0_6_load_26 | 46 | 0.0048948 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_581-3_0_6_load_27 | 47 | 0.0030322 | 0.00075995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_581-3_0_6_load_28 | 48 | 0.0054598 | 0.0013684 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_581-3_0_6_load_29 | 49 | 0.0071493 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_581-3_0_6_load_68 | 51 | 0.0032801 | 0.00082207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_581-3_0_6_load_69 | 52 | 0.0069554 | 0.0017432 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_581-3_0_6_load_70 | 53 | 0.0088617 | 0.002221 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_581-3_0_6_load_71 | 54 | 0.003021 | 0.00075714 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_581-3_0_6_load_91 | 55 | 0.004732 | 0.001186 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_581-3_0_6_load_32 | 56 | 0.0057437 | 0.0014395 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_581-3_0_6_load_33 | 57 | 0.0035041 | 0.00087821 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_581-3_0_6_load_34 | 58 | 0.0063948 | 0.0016027 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_581-3_0_6_load_92 | 59 | 0.003921 | 0.00098269 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_581-3_0_6_load_38 | 60 | 0.011782 | 0.0029528 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_581-3_0_6_load_40 | 61 | 0.0062308 | 0.0015616 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_581-3_0_6_load_41 | 62 | 0.0083693 | 0.0020976 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_581-3_0_6_load_43 | 63 | 0.008635 | 0.0021641 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_581-3_0_6_load_47 | 64 | 0.0027215 | 0.00068207 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_581-3_0_6_load_48 | 65 | 0.011391 | 0.0028549 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_581-3_0_6_load_46 | 66 | 0.0057918 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_581-3_0_6_load_50 | 69 | 0.017522 | 0.0043915 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_581-3_0_6_load_56 | 70 | 0.0060967 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_581-3_0_6_load_55 | 71 | 0.0091577 | 0.0022951 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_581-3_0_6_load_78 | 72 | 0.010221 | 0.0025616 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_581-3_0_6_load_79 | 74 | 0.012499 | 0.0031327 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_581-3_0_6_load_59 | 76 | 0.001145 | 0.00028695 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_581-3_0_6_load_89 | 77 | 0.0031874 | 0.00079884 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_581-3_0_6_load_63 | 79 | 0.0049933 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_581-3_0_6_load_67 | 80 | 0.005267 | 0.00132 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_581-3_0_6_load_74 | 81 | 0.0084919 | 0.0021283 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_581-3_0_6_load_95 | 82 | 0.014415 | 0.0036126 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_581-3_0_6_load_73 | 83 | 0.008474 | 0.0021238 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_581-3_0_6_load_87 | 84 | 0.014549 | 0.0036463 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_581-3_0_6_load_75 | 85 | 0.0048015 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_581-3_0_6_load_76 | 86 | 0.0084709 | 0.002123 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_581-3_0_6_load_84 | 88 | 0.0048728 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_581-3_0_6_load_85 | 90 | 0.0069151 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_581-3_0_6_load_81 | 91 | 0.028384 | 0.0071138 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_581-3_0_6_load_94 | 92 | 0.0063906 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_581-3_0_6_line_0 |  | 0 | 1 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_581-3_0_6_line_1 |  | 1 | 2 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_581-3_0_6_line_2 |  | 2 | 3 | 0.054607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_581-3_0_6_line_3 |  | 3 | 4 | 0.00379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_581-3_0_6_line_4 |  | 3 | 5 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_581-3_0_6_line_5 |  | 4 | 6 | 0.010467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_581-3_0_6_line_6 |  | 4 | 7 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_581-3_0_6_line_7 |  | 5 | 8 | 0.0090538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_581-3_0_6_line_8 |  | 6 | 59 | 0.0028553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_581-3_0_6_line_9 |  | 7 | 60 | 0.027105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_581-3_0_6_line_10 |  | 8 | 57 | 0.0053156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_581-3_0_6_line_11 |  | 9 | 10 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_581-3_0_6_line_12 |  | 9 | 11 | 0.0049909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_581-3_0_6_line_13 |  | 10 | 12 | 0.023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_581-3_0_6_line_14 |  | 12 | 13 | 0.0050492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_581-3_0_6_line_15 |  | 13 | 16 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_581-3_0_6_line_16 |  | 14 | 15 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_581-3_0_6_line_17 |  | 15 | 17 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_581-3_0_6_line_18 |  | 16 | 18 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_581-3_0_6_line_19 |  | 16 | 19 | 0.0072704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_581-3_0_6_line_20 |  | 17 | 20 | 0.001008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_581-3_0_6_line_21 |  | 17 | 21 | 0.029727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_581-3_0_6_line_22 |  | 18 | 33 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_581-3_0_6_line_23 |  | 19 | 55 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_581-3_0_6_line_24 |  | 20 | 70 | 0.034904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_581-3_0_6_line_25 |  | 21 | 69 | 0.030205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_581-3_0_6_line_26 |  | 22 | 23 | 0.0083837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_581-3_0_6_line_27 |  | 23 | 24 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_581-3_0_6_line_28 |  | 24 | 25 | 0.004101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_581-3_0_6_line_29 |  | 24 | 26 | 0.030727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_581-3_0_6_line_30 |  | 25 | 27 | 0.008616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_581-3_0_6_line_31 |  | 25 | 28 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_581-3_0_6_line_32 |  | 26 | 29 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_581-3_0_6_line_33 |  | 27 | 32 | 0.036739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_581-3_0_6_line_34 |  | 28 | 33 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_581-3_0_6_line_35 |  | 29 | 34 | 0.0021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_581-3_0_6_line_36 |  | 30 | 31 | 0.0084755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_581-3_0_6_line_37 |  | 31 | 38 | 0.014218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_581-3_0_6_line_38 |  | 31 | 39 | 0.030141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_581-3_0_6_line_39 |  | 32 | 69 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_581-3_0_6_line_40 |  | 34 | 44 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_581-3_0_6_line_41 |  | 35 | 36 | 0.004587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_581-3_0_6_line_42 |  | 35 | 37 | 0.019993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_581-3_0_6_line_43 |  | 36 | 40 | 0.026106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_581-3_0_6_line_44 |  | 36 | 41 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_581-3_0_6_line_45 |  | 39 | 78 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_581-3_0_6_line_46 |  | 40 | 42 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_581-3_0_6_line_47 |  | 41 | 43 | 0.010159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_581-3_0_6_line_48 |  | 43 | 45 | 0.0080986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_581-3_0_6_line_49 |  | 44 | 76 | 0.0082027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_581-3_0_6_line_50 |  | 45 | 66 | 0.0098693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_581-3_0_6_line_51 |  | 46 | 47 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_581-3_0_6_line_52 |  | 46 | 48 | 0.0055512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_581-3_0_6_line_53 |  | 48 | 49 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_581-3_0_6_line_54 |  | 49 | 50 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_581-3_0_6_line_55 |  | 50 | 51 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_581-3_0_6_line_56 |  | 50 | 52 | 0.0022678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_581-3_0_6_line_57 |  | 51 | 53 | 0.0096494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_581-3_0_6_line_58 |  | 52 | 54 | 0.013579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_581-3_0_6_line_59 |  | 53 | 68 | 0.021212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_581-3_0_6_line_60 |  | 54 | 77 | 0.0030487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_581-3_0_6_line_61 |  | 55 | 59 | 0.0090497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_581-3_0_6_line_62 |  | 56 | 57 | 0.0050618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_581-3_0_6_line_63 |  | 56 | 58 | 0.0021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_581-3_0_6_line_64 |  | 60 | 61 | 0.022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_581-3_0_6_line_65 |  | 61 | 62 | 0.022933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_581-3_0_6_line_66 |  | 62 | 63 | 0.043564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_581-3_0_6_line_67 |  | 63 | 64 | 0.0041257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_581-3_0_6_line_68 |  | 64 | 65 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_581-3_0_6_line_69 |  | 66 | 67 | 0.0061587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_581-3_0_6_line_70 |  | 67 | 68 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_581-3_0_6_line_71 |  | 68 | 84 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_581-3_0_6_line_72 |  | 70 | 73 | 0.0024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_581-3_0_6_line_73 |  | 71 | 72 | 0.0086327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_581-3_0_6_line_74 |  | 72 | 74 | 0.0059679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_581-3_0_6_line_75 |  | 73 | 75 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_581-3_0_6_line_76 |  | 74 | 89 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_581-3_0_6_line_77 |  | 75 | 81 | 0.0068954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_581-3_0_6_line_78 |  | 75 | 78 | 0.024463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_581-3_0_6_line_79 |  | 76 | 77 | 0.0042433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_581-3_0_6_line_80 |  | 78 | 79 | 0.0097164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_581-3_0_6_line_81 |  | 79 | 80 | 0.023471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_581-3_0_6_line_82 |  | 80 | 82 | 0.028863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_581-3_0_6_line_83 |  | 81 | 83 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_581-3_0_6_line_84 |  | 83 | 85 | 0.0037479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_581-3_0_6_line_85 |  | 85 | 86 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_581-3_0_6_line_86 |  | 86 | 87 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_581-3_0_6_line_87 |  | 87 | 88 | 0.05076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_581-3_0_6_line_88 |  | 87 | 89 | 0.038436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_581-3_0_6_line_89 |  | 88 | 90 | 0.032646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_581-3_0_6_line_90 |  | 89 | 91 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_581-3_0_6_line_91 |  | 90 | 92 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_581-3_0_6_trafo_50 | 0.63 MVA 20/0.4 kV | 93 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2631785.0002 | 1170117.2963 | 2631780.7308 | 1170124.2701 | 2631775.8736 | 1170132.2021
1 | 2631765.5505 | 1170149.0583 | 2631771.9097 | 1170138.6754 | 2631775.8736 | 1170132.2021
2 | 2631765.5505 | 1170149.0583 | 2631767.7009 | 1170150.4036 | 2631785.5906 | 1170161.615 | 2631790.181 | 1170164.5297 | 2631811.837 | 1170178.2401
3 | 2631815.0472 | 1170180.2692 | 2631811.837 | 1170178.2401
4 | 2631811.837 | 1170178.2401 | 2631804.9001 | 1170193.5397
5 | 2631815.0472 | 1170180.2692 | 2631823.9029 | 1170185.8486
6 | 2631815.0472 | 1170180.2692 | 2631823.9021 | 1170166.3425
7 | 2631804.9001 | 1170193.5397 | 2631802.1373 | 1170199.6332 | 2631801.1417 | 1170201.7765
8 | 2631826.3187 | 1170187.3706 | 2631823.9029 | 1170185.8486
9 | 2631823.9021 | 1170166.3425 | 2631836.202 | 1170146.9974 | 2631838.7948 | 1170143.718
10 | 2631798.9024 | 1170206.5974 | 2631801.1417 | 1170201.7765
11 | 2631893.7828 | 1170158.3899 | 2631892.2032 | 1170160.6011 | 2631887.6025 | 1170165.4014 | 2631883.867 | 1170171.424
12 | 2631893.7828 | 1170158.3899 | 2631895.2017 | 1170156.4037 | 2631896.2539 | 1170154.081
13 | 2631871.6202 | 1170191.1687 | 2631883.867 | 1170171.424
14 | 2631871.6202 | 1170191.1687 | 2631868.9587 | 1170195.4596
15 | 2631860.586 | 1170208.9584 | 2631868.9587 | 1170195.4596
16 | 2631944.841 | 1170131.7769 | 2631942.5022 | 1170131.3974 | 2631927.1391 | 1170128.2396
17 | 2631956.1014 | 1170133.6041 | 2631944.841 | 1170131.7769
18 | 2631860.586 | 1170208.9584 | 2631872.2272 | 1170216.2994
19 | 2631860.586 | 1170208.9584 | 2631858.1459 | 1170207.4224 | 2631854.4341 | 1170205.0839
20 | 2631956.1014 | 1170133.6041 | 2631956.4584 | 1170132.6611
21 | 2631956.1014 | 1170133.6041 | 2631953.0006 | 1170144.1041 | 2631946.9948 | 1170161.896
22 | 2631872.2272 | 1170216.2994 | 2631883.0044 | 1170223.0955 | 2631890.2279 | 1170227.8149
23 | 2631833.9756 | 1170192.1945 | 2631854.4341 | 1170205.0839
24 | 2631956.4584 | 1170132.6611 | 2631989.2981 | 1170143.7969 | 2631989.5116 | 1170143.8771
25 | 2631946.9948 | 1170161.896 | 2631937.3345 | 1170190.5146
26 | 2631932.2583 | 1170251.997 | 2631939.691 | 1170255.8752
27 | 2631919.8085 | 1170245.4356 | 2631922.5015 | 1170246.9062 | 2631932.2583 | 1170251.997
28 | 2631916.1925 | 1170243.482 | 2631919.8085 | 1170245.4356
29 | 2631909.0978 | 1170274.2046 | 2631914.7039 | 1170258.7042 | 2631916.697 | 1170252.2003 | 2631919.8085 | 1170245.4356
30 | 2631916.1925 | 1170243.482 | 2631920.3981 | 1170235.9623
31 | 2631916.1925 | 1170243.482 | 2631902.904 | 1170236.0966 | 2631902.6354 | 1170235.9211
32 | 2631909.0978 | 1170274.2046 | 2631892.0344 | 1170269.7742
33 | 2631920.3981 | 1170235.9623 | 2631922.001 | 1170233.0964 | 2631926.7991 | 1170222.8055 | 2631931.9041 | 1170206.602 | 2631933.5393 | 1170201.7579
34 | 2631902.6354 | 1170235.9211 | 2631890.2279 | 1170227.8149
35 | 2631892.0344 | 1170269.7742 | 2631889.9366 | 1170269.2295
36 | 2632018.5123 | 1170213.5994 | 2632019.4764 | 1170217.8845 | 2632020.3545 | 1170221.8722
37 | 2632018.5123 | 1170213.5994 | 2632022.1971 | 1170212.6963 | 2632024.6 | 1170212.5979 | 2632027.397 | 1170213.202 | 2632032.1679 | 1170215.1625
38 | 2632018.5123 | 1170213.5994 | 2632012.9981 | 1170193.1039 | 2632011.1442 | 1170184.3816
39 | 2631937.3345 | 1170190.5146 | 2631933.5393 | 1170201.7579
40 | 2631878.1341 | 1170266.1164 | 2631880.5998 | 1170266.8053 | 2631889.9366 | 1170269.2295
41 | 2631893.9983 | 1170316.9021 | 2631895.5513 | 1170312.5859
42 | 2631895.5513 | 1170312.5859 | 2631904.357 | 1170315.5119 | 2631914.5245 | 1170318.8906
43 | 2631885.2531 | 1170341.5017 | 2631893.9983 | 1170316.9021
44 | 2631893.9983 | 1170316.9021 | 2631880.1752 | 1170312.186
45 | 2632008.7122 | 1170171.8146 | 2632009.2454 | 1170175.1302 | 2632009.923 | 1170178.6357 | 2632011.1442 | 1170184.3816
46 | 2631885.2531 | 1170341.5017 | 2631900.503 | 1170346.5847
47 | 2631880.1752 | 1170312.186 | 2631870.5607 | 1170308.9059
48 | 2631862.8959 | 1170306.2908 | 2631870.5607 | 1170308.9059
49 | 2631878.1341 | 1170266.1164 | 2631870.2339 | 1170263.9092
50 | 2631853.5553 | 1170303.1041 | 2631862.8959 | 1170306.2908
51 | 2631816.8177 | 1170248.9906 | 2631802.4933 | 1170244.9909
52 | 2631816.8177 | 1170248.9906 | 2631822.1643 | 1170250.4835
53 | 2631833.0644 | 1170253.5271 | 2631822.1643 | 1170250.4835
54 | 2631847.9489 | 1170257.6832 | 2631833.0644 | 1170253.5271
55 | 2631847.9489 | 1170257.6832 | 2631845.1677 | 1170267.6404
56 | 2631847.9489 | 1170257.6832 | 2631850.1331 | 1170258.2934
57 | 2631845.1677 | 1170267.6404 | 2631844.6345 | 1170269.5495 | 2631842.7629 | 1170276.2319 | 2631842.5705 | 1170276.9337
58 | 2631863.2108 | 1170261.9471 | 2631850.1331 | 1170258.2934
59 | 2631836.1567 | 1170297.1522 | 2631842.4586 | 1170277.342 | 2631842.5705 | 1170276.9337
60 | 2631866.1471 | 1170262.7674 | 2631863.2108 | 1170261.9471
61 | 2631833.9756 | 1170192.1945 | 2631826.3187 | 1170187.3706
62 | 2631798.9024 | 1170206.5974 | 2631798.9024 | 1170206.5974 | 2631793.9926 | 1170205.3665
63 | 2631791.9265 | 1170204.8485 | 2631793.9926 | 1170205.3665
64 | 2631852.4754 | 1170125.577 | 2631850.1975 | 1170129.2957 | 2631838.7948 | 1170143.718
65 | 2631864.4547 | 1170106.0214 | 2631852.4754 | 1170125.577
66 | 2631864.4547 | 1170106.0214 | 2631876.9008 | 1170085.7036 | 2631879.9977 | 1170081.6958 | 2631882.5031 | 1170079.5969 | 2631885.0031 | 1170078.4984 | 2631887.6983 | 1170078.1014 | 2631890.5009 | 1170079.1057 | 2631893.0208 | 1170080.6802
67 | 2631896.5196 | 1170082.8665 | 2631893.0208 | 1170080.6802
68 | 2631905.6989 | 1170088.6023 | 2631896.5196 | 1170082.8665
69 | 2631847.7265 | 1170301.1154 | 2631853.5553 | 1170303.1041
70 | 2631847.7265 | 1170301.1154 | 2631836.1567 | 1170297.1522
71 | 2631836.1567 | 1170297.1522 | 2631818.6448 | 1170291.2068
72 | 2631991.8484 | 1170144.7554 | 2631989.5116 | 1170143.8771
73 | 2631976.4417 | 1170080.3726 | 2631974.2017 | 1170087.899 | 2631974.0111 | 1170088.6554
74 | 2631976.4417 | 1170080.3726 | 2631976.7024 | 1170079.4969 | 2631978.0544 | 1170074.6269
75 | 2632006.1563 | 1170147.4885 | 2632002.298 | 1170147.9015 | 2631998.2003 | 1170147.3016 | 2631991.8484 | 1170144.7554
76 | 2631986.9554 | 1170060.675 | 2631979.903 | 1170070.3981 | 2631978.2001 | 1170074.102 | 2631978.0544 | 1170074.6269
77 | 2632006.1563 | 1170147.4885 | 2632005.9034 | 1170144.6968 | 2632005.5858 | 1170140.6169
78 | 2632006.1563 | 1170147.4885 | 2632006.6525 | 1170151.9934 | 2632007.4091 | 1170160.7798 | 2632008.7122 | 1170171.8146
79 | 2631866.1471 | 1170262.7674 | 2631870.2339 | 1170263.9092
80 | 2632008.7122 | 1170171.8146 | 2632015.509 | 1170171.2838 | 2632018.3999 | 1170171.4993
81 | 2632040.4393 | 1170179.5664 | 2632036.1999 | 1170177.8974 | 2632018.3999 | 1170171.4993 | 2632018.3999 | 1170171.4993
82 | 2632040.4393 | 1170179.5664 | 2632067.2961 | 1170190.1395
83 | 2632003.6338 | 1170115.5397 | 2632005.5858 | 1170140.6169
84 | 2632003.6338 | 1170115.5397 | 2632003.3429 | 1170111.8031
85 | 2632002.3504 | 1170099.0528 | 2632003.3429 | 1170111.8031
86 | 2632001.3775 | 1170086.5539 | 2632002.3504 | 1170099.0528
87 | 2632001.3775 | 1170086.5539 | 2632008.4981 | 1170087.0032 | 2632011.3018 | 1170087.7963 | 2632027.3006 | 1170096.2969 | 2632035.2975 | 1170100.2971 | 2632047.9231 | 1170105.4943
88 | 2631986.9554 | 1170060.675 | 2631989.8998 | 1170060.9019 | 2631994.1013 | 1170060.7019 | 2631998.581 | 1170059.9698 | 2631999.3937 | 1170065.3992 | 2632000.1032 | 1170072.9735 | 2632001.3775 | 1170086.5539
89 | 2632078.1112 | 1170117.921 | 2632047.9231 | 1170105.4943
90 | 2631986.9554 | 1170060.675 | 2631984.6993 | 1170060.4963 | 2631976.5988 | 1170058.6967 | 2631970.4979 | 1170056.3964 | 2631968.1016 | 1170053.8046 | 2631967.3002 | 1170051.9994
91 | 2632078.1112 | 1170117.921 | 2632098.7213 | 1170126.405

## bus_geodata
| x | y | coords
0 | 2631785.0002 | 1170117.2963
1 | 2631775.8736 | 1170132.2021
2 | 2631765.5505 | 1170149.0583
3 | 2631811.837 | 1170178.2401
4 | 2631815.0472 | 1170180.2692
5 | 2631804.9001 | 1170193.5397
6 | 2631823.9029 | 1170185.8486
7 | 2631823.9021 | 1170166.3425
8 | 2631801.1417 | 1170201.7765
9 | 2631893.7828 | 1170158.3899
10 | 2631883.867 | 1170171.424
11 | 2631896.2539 | 1170154.081
12 | 2631871.6202 | 1170191.1687
13 | 2631868.9587 | 1170195.4596
14 | 2631927.1391 | 1170128.2396
15 | 2631944.841 | 1170131.7769
16 | 2631860.586 | 1170208.9584
17 | 2631956.1014 | 1170133.6041
18 | 2631872.2272 | 1170216.2994
19 | 2631854.4341 | 1170205.0839
20 | 2631956.4584 | 1170132.6611
21 | 2631946.9948 | 1170161.896
22 | 2631939.691 | 1170255.8752
23 | 2631932.2583 | 1170251.997
24 | 2631919.8085 | 1170245.4356
25 | 2631916.1925 | 1170243.482
26 | 2631909.0978 | 1170274.2046
27 | 2631920.3981 | 1170235.9623
28 | 2631902.6354 | 1170235.9211
29 | 2631892.0344 | 1170269.7742
30 | 2632020.3545 | 1170221.8722
31 | 2632018.5123 | 1170213.5994
32 | 2631933.5393 | 1170201.7579
33 | 2631890.2279 | 1170227.8149
34 | 2631889.9366 | 1170269.2295
35 | 2631895.5513 | 1170312.5859
36 | 2631893.9983 | 1170316.9021
37 | 2631914.5245 | 1170318.8906
38 | 2632032.1679 | 1170215.1625
39 | 2632011.1442 | 1170184.3816
40 | 2631885.2531 | 1170341.5017
41 | 2631880.1752 | 1170312.186
42 | 2631900.503 | 1170346.5847
43 | 2631870.5607 | 1170308.9059
44 | 2631878.1341 | 1170266.1164
45 | 2631862.8959 | 1170306.2908
46 | 2631816.8177 | 1170248.9906
47 | 2631802.4933 | 1170244.9909
48 | 2631822.1643 | 1170250.4835
49 | 2631833.0644 | 1170253.5271
50 | 2631847.9489 | 1170257.6832
51 | 2631845.1677 | 1170267.6404
52 | 2631850.1331 | 1170258.2934
53 | 2631842.5705 | 1170276.9337
54 | 2631863.2108 | 1170261.9471
55 | 2631833.9756 | 1170192.1945
56 | 2631793.9926 | 1170205.3665
57 | 2631798.9024 | 1170206.5974
58 | 2631791.9265 | 1170204.8485
59 | 2631826.3187 | 1170187.3706
60 | 2631838.7948 | 1170143.718
61 | 2631852.4754 | 1170125.577
62 | 2631864.4547 | 1170106.0214
63 | 2631893.0208 | 1170080.6802
64 | 2631896.5196 | 1170082.8665
65 | 2631905.6989 | 1170088.6023
66 | 2631853.5553 | 1170303.1041
67 | 2631847.7265 | 1170301.1154
68 | 2631836.1567 | 1170297.1522
69 | 2631937.3345 | 1170190.5146
70 | 2631989.5116 | 1170143.8771
71 | 2631974.0111 | 1170088.6554
72 | 2631976.4417 | 1170080.3726
73 | 2631991.8483 | 1170144.7554
74 | 2631978.0544 | 1170074.6269
75 | 2632006.1563 | 1170147.4885
76 | 2631870.2339 | 1170263.9092
77 | 2631866.1471 | 1170262.7674
78 | 2632008.7122 | 1170171.8146
79 | 2632018.3999 | 1170171.4993
80 | 2632040.4393 | 1170179.5664
81 | 2632005.5858 | 1170140.6169
82 | 2632067.2961 | 1170190.1395
83 | 2632003.6338 | 1170115.5397
84 | 2631818.6448 | 1170291.2068
85 | 2632003.3429 | 1170111.8031
86 | 2632002.3504 | 1170099.0528
87 | 2632001.3775 | 1170086.5539
88 | 2632047.9231 | 1170105.4943
89 | 2631986.9554 | 1170060.675
90 | 2632078.1112 | 1170117.921
91 | 2631967.3002 | 1170051.9994
92 | 2632098.7213 | 1170126.405
93 | 2631916.1925 | 1170243.482

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1