## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_587-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_587-1_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_587-1_0_4_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_587-1_0_4_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_587-1_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_587-1_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_587-1_0_4_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_587-1_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_587-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_587-1_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_587-1_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_587-1_0_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_587-1_0_4_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_587-1_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_587-1_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_587-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_587-1_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_587-1_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_587-1_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_587-1_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_587-1_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_587-1_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_587-1_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_587-1_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_587-1_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_587-1_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_587-1_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_587-1_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_587-1_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_587-1_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_587-1_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_587-1_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_587-1_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_587-1_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_587-1_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_587-1_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_587-1_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_587-1_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_587-1_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_587-1_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_587-1_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_587-1_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_587-1_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_587-1_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_587-1_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_587-1_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_587-1_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_587-1_0_4_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_587-1_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_587-1_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_587-1_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_587-1_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_587-1_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_587-1_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_587-1_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_587-1_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_587-1_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_587-1_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_587-1_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_587-1_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_587-1_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_587-1_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_587-1_0_4_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_587-1_0_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_587-1_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_587-1_0_4_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_587-1_0_4_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_587-1_0_4_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_587-1_0_4_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_587-1_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_587-1_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_587-1_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_587-1_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_587-1_0_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_587-1_0_4_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_587-1_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_587-1_0_4_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_587-1_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_587-1_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_587-1_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_587-1_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_587-1_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_587-1_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_587-1_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_587-1_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_587-1_0_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_587-1_0_4_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_587-1_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_587-1_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_587-1_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_587-1_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_587-1_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_587-1_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_587-1_0_4_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_587-1_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_587-1_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_587-1_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_587-1_0_4_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_587-1_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_587-1_0_4_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_587-1_0_4_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_587-1_0_4_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_587-1_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_587-1_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_587-1_0_4_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_587-1_0_4_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_587-1_0_4_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_587-1_0_4_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_587-1_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_MV_81_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-1_0_4_load_0 | 0 | 0.018926 | 0.0047434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-1_0_4_load_61 | 4 | 0.0014612 | 0.00036622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-1_0_4_load_12 | 5 | 0.0018152 | 0.00045492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-1_0_4_load_44 | 6 | 0.0010121 | 0.00025366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-1_0_4_load_57 | 7 | 0.0034778 | 0.00087161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-1_0_4_load_5 | 8 | 0.0056611 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-1_0_4_load_6 | 9 | 0.0053544 | 0.0013419 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-1_0_4_load_8 | 10 | 0.0061081 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-1_0_4_load_22 | 11 | 0.0022578 | 0.00056587 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-1_0_4_load_40 | 12 | 0.0003878 | 9.7191e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-1_0_4_load_47 | 13 | 0.0013988 | 0.00035057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-1_0_4_load_20 | 14 | 0.0005247 | 0.0001315 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-1_0_4_load_17 | 15 | 0.0044302 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-1_0_4_load_15 | 16 | 0.0057468 | 0.0014403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-1_0_4_load_9 | 17 | 0.021053 | 0.0052765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-1_0_4_load_10 | 18 | 0.00078056 | 0.00019563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-1_0_4_load_11 | 19 | 0.0024875 | 0.00062343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-1_0_4_load_13 | 20 | 0.0045614 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-1_0_4_load_14 | 21 | 0.0070161 | 0.0017584 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-1_0_4_load_38 | 24 | 0.00070685 | 0.00017715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-1_0_4_load_19 | 25 | 0.0031416 | 0.00078736 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-1_0_4_load_39 | 26 | 0.005924 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-1_0_4_load_21 | 27 | 0.0010729 | 0.0002689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-1_0_4_load_41 | 30 | 0.00077259 | 0.00019363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-1_0_4_load_24 | 31 | 0.0012979 | 0.00032529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-1_0_4_load_25 | 32 | 0.0015719 | 0.00039396 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-1_0_4_load_26 | 33 | 0.00076126 | 0.00019079 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-1_0_4_load_27 | 34 | 0.00072976 | 0.0001829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-1_0_4_load_28 | 35 | 0.0026877 | 0.00067361 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-1_0_4_load_53 | 36 | 0.0024134 | 0.00060486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-1_0_4_load_51 | 37 | 0.0012986 | 0.00032547 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-1_0_4_load_55 | 38 | 0.0029646 | 0.00074301 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-1_0_4_load_50 | 39 | 0.0014433 | 0.00036171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-1_0_4_load_29 | 40 | 0.0049168 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-1_0_4_load_30 | 41 | 0.001631 | 0.00040876 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-1_0_4_load_31 | 42 | 0.0018547 | 0.00046483 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-1_0_4_load_62 | 44 | 0.027779 | 0.006962 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-1_0_4_load_49 | 46 | 0.0038243 | 0.00095845 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-1_0_4_load_63 | 47 | 0.0068523 | 0.0017173 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-1_0_4_load_111 | 48 | 0.0026861 | 0.0006732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-1_0_4_load_33 | 49 | 0.0034361 | 0.00086117 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-1_0_4_load_34 | 50 | 0.026698 | 0.0066912 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-1_0_4_load_35 | 51 | 0.0026488 | 0.00066384 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-1_0_4_load_36 | 52 | 0.0028965 | 0.00072592 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_587-1_0_4_load_37 | 53 | 0.002689 | 0.00067392 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_587-1_0_4_load_54 | 55 | 0.0028429 | 0.0007125 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_587-1_0_4_load_45 | 57 | 0.0024169 | 0.00060572 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_587-1_0_4_load_59 | 58 | 0.00065138 | 0.00016325 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_587-1_0_4_load_58 | 59 | 0.0006701 | 0.00016794 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_587-1_0_4_load_52 | 61 | 0.0016061 | 0.00040253 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_587-1_0_4_load_60 | 62 | 0.0013647 | 0.00034202 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_587-1_0_4_load_101 | 63 | 0.0038176 | 0.00095678 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_587-1_0_4_load_64 | 65 | 0.0026754 | 0.00067052 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_587-1_0_4_load_112 | 66 | 0.012906 | 0.0032346 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_587-1_0_4_load_108 | 67 | 0.0021894 | 0.00054872 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_587-1_0_4_load_105 | 68 | 0.0010028 | 0.00025133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_587-1_0_4_load_85 | 69 | 0.0026443 | 0.00066273 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_587-1_0_4_load_65 | 70 | 0.0083543 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_587-1_0_4_load_66 | 71 | 0.0074822 | 0.0018752 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_587-1_0_4_load_67 | 72 | 0.0099735 | 0.0024996 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_587-1_0_4_load_69 | 74 | 0.0034112 | 0.00085492 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_587-1_0_4_load_87 | 75 | 0.0069484 | 0.0017414 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_587-1_0_4_load_88 | 76 | 0.0029027 | 0.00072748 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_587-1_0_4_load_90 | 77 | 0.012452 | 0.0031207 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_587-1_0_4_load_92 | 78 | 0.011176 | 0.002801 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_587-1_0_4_load_70 | 79 | 0.0040661 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_587-1_0_4_load_71 | 80 | 0.0080788 | 0.0020247 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_587-1_0_4_load_73 | 82 | 0.0086838 | 0.0021764 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_587-1_0_4_load_74 | 83 | 0.0077574 | 0.0019442 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_587-1_0_4_load_89 | 85 | 0.0024021 | 0.00060203 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_587-1_0_4_load_93 | 87 | 0.0043511 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_587-1_0_4_load_76 | 88 | 0.0022542 | 0.00056497 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_587-1_0_4_load_77 | 89 | 0.0026525 | 0.00066479 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_587-1_0_4_load_78 | 90 | 0.0030836 | 0.00077281 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_587-1_0_4_load_79 | 91 | 0.003828 | 0.0009594 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_587-1_0_4_load_96 | 93 | 0.0026771 | 0.00067095 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_587-1_0_4_load_99 | 94 | 0.0016802 | 0.00042109 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_587-1_0_4_load_95 | 95 | 0.0050964 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_587-1_0_4_load_100 | 96 | 0.010715 | 0.0026855 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_587-1_0_4_load_81 | 97 | 0.0062696 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_587-1_0_4_load_82 | 98 | 0.0067305 | 0.0016868 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_587-1_0_4_load_84 | 99 | 0.0080026 | 0.0020056 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_587-1_0_4_load_94 | 100 | 0.0035418 | 0.00088765 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_587-1_0_4_load_106 | 101 | 0.0022411 | 0.00056167 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_587-1_0_4_load_107 | 102 | 0.002412 | 0.00060449 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_587-1_0_4_load_102 | 103 | 0.011728 | 0.0029392 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_587-1_0_4_load_97 | 106 | 0.0023584 | 0.00059107 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_587-1_0_4_load_98 | 107 | 0.011741 | 0.0029427 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_587-1_0_4_load_110 | 108 | 0.0026752 | 0.00067046 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_587-1_0_4_load_104 | 109 | 0.0086925 | 0.0021785 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-1_0_4_line_0 |  | 0 | 1 | 0.036788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-1_0_4_line_1 |  | 1 | 2 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-1_0_4_line_2 |  | 2 | 3 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-1_0_4_line_3 |  | 2 | 4 | 0.0053068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-1_0_4_line_4 |  | 3 | 5 | 0.011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-1_0_4_line_5 |  | 3 | 6 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-1_0_4_line_6 |  | 4 | 7 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-1_0_4_line_7 |  | 5 | 18 | 0.0090224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-1_0_4_line_8 |  | 6 | 56 | 0.036318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-1_0_4_line_9 |  | 7 | 54 | 0.029943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-1_0_4_line_10 |  | 8 | 9 | 0.058493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-1_0_4_line_11 |  | 9 | 10 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-1_0_4_line_12 |  | 10 | 15 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_587-1_0_4_line_13 |  | 11 | 12 | 0.029202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_587-1_0_4_line_14 |  | 11 | 13 | 0.063127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_587-1_0_4_line_15 |  | 11 | 14 | 0.022182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-1_0_4_line_16 |  | 12 | 26 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_587-1_0_4_line_17 |  | 14 | 25 | 0.0045012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-1_0_4_line_18 |  | 15 | 16 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-1_0_4_line_19 |  | 16 | 21 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-1_0_4_line_20 |  | 17 | 18 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-1_0_4_line_21 |  | 17 | 19 | 0.0059206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-1_0_4_line_22 |  | 19 | 20 | 0.024161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-1_0_4_line_23 |  | 21 | 22 | 0.054018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-1_0_4_line_24 |  | 22 | 23 | 0.032474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-1_0_4_line_25 |  | 23 | 24 | 0.0093141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-1_0_4_line_26 |  | 24 | 26 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-1_0_4_line_27 |  | 25 | 27 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-1_0_4_line_28 |  | 27 | 28 | 0.02458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-1_0_4_line_29 |  | 28 | 29 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-1_0_4_line_30 |  | 29 | 30 | 0.02963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-1_0_4_line_31 |  | 30 | 56 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-1_0_4_line_32 |  | 31 | 32 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-1_0_4_line_33 |  | 31 | 33 | 0.00034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-1_0_4_line_34 |  | 32 | 34 | 0.0035399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_587-1_0_4_line_35 |  | 33 | 35 | 0.0021614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_587-1_0_4_line_36 |  | 34 | 36 | 0.011417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-1_0_4_line_37 |  | 35 | 37 | 0.0042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-1_0_4_line_38 |  | 36 | 38 | 0.00022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_587-1_0_4_line_39 |  | 37 | 39 | 0.009581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_587-1_0_4_line_40 |  | 38 | 55 | 0.011494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-1_0_4_line_41 |  | 39 | 61 | 0.02737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_587-1_0_4_line_42 |  | 40 | 41 | 0.081744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-1_0_4_line_43 |  | 40 | 42 | 0.072711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-1_0_4_line_44 |  | 41 | 43 | 0.04062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_587-1_0_4_line_45 |  | 41 | 44 | 0.029741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_587-1_0_4_line_46 |  | 43 | 45 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_587-1_0_4_line_47 |  | 43 | 46 | 0.0065904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_587-1_0_4_line_48 |  | 45 | 47 | 0.003007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_587-1_0_4_line_49 |  | 46 | 48 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_587-1_0_4_line_50 |  | 47 | 60 | 0.031725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_587-1_0_4_line_51 |  | 48 | 53 | 0.00098474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_587-1_0_4_line_52 |  | 49 | 50 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_587-1_0_4_line_53 |  | 49 | 51 | 0.027938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_587-1_0_4_line_54 |  | 50 | 52 | 0.00078542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_587-1_0_4_line_55 |  | 51 | 53 | 0.0041224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_587-1_0_4_line_56 |  | 52 | 54 | 0.0060973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-1_0_4_line_57 |  | 54 | 55 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_587-1_0_4_line_58 |  | 56 | 57 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-1_0_4_line_59 |  | 57 | 58 | 0.00049904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_587-1_0_4_line_60 |  | 58 | 59 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-1_0_4_line_61 |  | 59 | 62 | 0.0068074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_587-1_0_4_line_62 |  | 60 | 63 | 0.044179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-1_0_4_line_63 |  | 60 | 64 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_587-1_0_4_line_64 |  | 63 | 92 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-1_0_4_line_65 |  | 64 | 97 | 0.0012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_587-1_0_4_line_66 |  | 65 | 66 | 0.11329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-1_0_4_line_67 |  | 66 | 67 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-1_0_4_line_68 |  | 67 | 101 | 0.037224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-1_0_4_line_69 |  | 68 | 69 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-1_0_4_line_70 |  | 69 | 101 | 0.046938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-1_0_4_line_71 |  | 70 | 71 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-1_0_4_line_72 |  | 70 | 72 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_587-1_0_4_line_73 |  | 71 | 73 | 0.013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_587-1_0_4_line_74 |  | 72 | 74 | 0.0046587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_587-1_0_4_line_75 |  | 73 | 75 | 0.016653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_587-1_0_4_line_76 |  | 73 | 76 | 0.0023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_587-1_0_4_line_77 |  | 74 | 77 | 0.0073404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_587-1_0_4_line_78 |  | 75 | 78 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_587-1_0_4_line_79 |  | 78 | 84 | 0.037703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_587-1_0_4_line_80 |  | 79 | 80 | 0.050833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_587-1_0_4_line_81 |  | 79 | 81 | 0.040733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_587-1_0_4_line_82 |  | 80 | 82 | 0.042878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_587-1_0_4_line_83 |  | 81 | 83 | 0.016041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_587-1_0_4_line_84 |  | 82 | 84 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_587-1_0_4_line_85 |  | 83 | 85 | 0.02078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_587-1_0_4_line_86 |  | 84 | 86 | 0.047089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_587-1_0_4_line_87 |  | 86 | 87 | 0.036885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_587-1_0_4_line_88 |  | 87 | 105 | 0.039572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_587-1_0_4_line_89 |  | 87 | 100 | 0.0025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_587-1_0_4_line_90 |  | 88 | 89 | 0.0018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_587-1_0_4_line_91 |  | 88 | 90 | 0.011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_587-1_0_4_line_92 |  | 89 | 91 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_587-1_0_4_line_93 |  | 90 | 92 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_587-1_0_4_line_94 |  | 91 | 93 | 0.0051925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_587-1_0_4_line_95 |  | 92 | 94 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_587-1_0_4_line_96 |  | 93 | 95 | 0.0072635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_587-1_0_4_line_97 |  | 94 | 96 | 0.028504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_587-1_0_4_line_98 |  | 95 | 106 | 0.0092301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_587-1_0_4_line_99 |  | 97 | 98 | 0.032745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_587-1_0_4_line_100 |  | 98 | 99 | 0.0094348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_587-1_0_4_line_101 |  | 99 | 100 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_587-1_0_4_line_102 |  | 101 | 102 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_587-1_0_4_line_103 |  | 102 | 105 | 0.013916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_587-1_0_4_line_104 |  | 103 | 104 | 0.0019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_587-1_0_4_line_105 |  | 104 | 109 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_587-1_0_4_line_106 |  | 106 | 107 | 0.0081186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_587-1_0_4_line_107 |  | 107 | 108 | 0.0009175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_587-1_0_4_line_108 |  | 108 | 109 | 0.00026076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-1_0_4_trafo_111 | 0.63 MVA 20/0.4 kV | 110 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2632087.3972 | 1170057.8975 | 2632079.8986 | 1170073.799 | 2632062.3547 | 1170065.9803
1 | 2632091.6984 | 1170047.6151 | 2632087.3972 | 1170057.8975
2 | 2632073.997 | 1170041.3063 | 2632091.6984 | 1170047.6151
3 | 2632091.6984 | 1170047.6151 | 2632096.7022 | 1170049.3829
4 | 2632073.997 | 1170041.3063 | 2632079.7177 | 1170031.8679
5 | 2632073.997 | 1170041.3063 | 2632063.7987 | 1170036.9053 | 2632053.9343 | 1170031.3699
6 | 2632118.0675 | 1170056.9311 | 2632096.7022 | 1170049.3829
7 | 2632079.7177 | 1170031.8679 | 2632084.3943 | 1170024.1522
8 | 2632024.2763 | 1170010.5256 | 2632028.802 | 1170014.096 | 2632032.1169 | 1170016.6038 | 2632037.0994 | 1170020.5991 | 2632046.4979 | 1170027.197 | 2632053.9343 | 1170031.3699
9 | 2632146.3001 | 1170066.9055 | 2632118.0675 | 1170056.9311
10 | 2631864.5276 | 1169784.4318 | 2631871.7872 | 1169797.5729 | 2631882.131 | 1169812.1463 | 2631886.9343 | 1169825.4564 | 2631895.9406 | 1169832.53 | 2631895.9441 | 1169832.5355
11 | 2631908.5383 | 1169848.4452 | 2631903.673 | 1169844.6439 | 2631895.9441 | 1169832.5355
12 | 2631908.5383 | 1169848.4452 | 2631914.5462 | 1169853.1392 | 2631918.8395 | 1169860.0279
13 | 2632011.1659 | 1169923.6556 | 2631989.2092 | 1169904.4026
14 | 2632011.1659 | 1169923.6556 | 2632050.7125 | 1169874.4508
15 | 2632011.1659 | 1169923.6556 | 2631999.2368 | 1169942.3572
16 | 2631977.6378 | 1169922.5983 | 2631980.4989 | 1169918.1007 | 2631989.2092 | 1169904.4026
17 | 2631996.8162 | 1169946.1522 | 2631999.2368 | 1169942.3572
18 | 2631941.8719 | 1169872.567 | 2631921.7687 | 1169864.728 | 2631918.8395 | 1169860.0279
19 | 2631941.8719 | 1169872.567 | 2631944.6597 | 1169873.6541 | 2631952.8484 | 1169877.633 | 2631958.2425 | 1169884.8209 | 2631959.1928 | 1169886.8779
20 | 2632095.8344 | 1170005.2775 | 2632084.3943 | 1170024.1522
21 | 2632095.8344 | 1170005.2775 | 2632098.9032 | 1170000.2143
22 | 2632111.4267 | 1169979.5521 | 2632098.9032 | 1170000.2143
23 | 2631950.2495 | 1169910.2693 | 2631962.6023 | 1169905.2434 | 2631975.7381 | 1169901.1778 | 2631977.2715 | 1169899.1293 | 2631976.6738 | 1169897.8588 | 2631974.6679 | 1169896.6698 | 2631969.7948 | 1169896.5327 | 2631964.7106 | 1169895.8164 | 2631961.9339 | 1169892.8112 | 2631959.1928 | 1169886.8779
24 | 2631950.2495 | 1169910.2693 | 2631952.0987 | 1169913.603 | 2631958.8668 | 1169931.4704 | 2631961.9403 | 1169940.5247
25 | 2631961.9403 | 1169940.5247 | 2631965.0991 | 1169939.2964 | 2631967.7337 | 1169937.3761 | 2631969.5041 | 1169935.3845
26 | 2631969.5041 | 1169935.3845 | 2631977.6378 | 1169922.5983
27 | 2631990.8212 | 1169955.5509 | 2631996.8162 | 1169946.1522
28 | 2631973.9286 | 1169972.3826 | 2631983.5057 | 1169967.0196 | 2631990.8212 | 1169955.5509
29 | 2631979.8583 | 1169988.1778 | 2631978.3968 | 1169983.9011 | 2631973.9286 | 1169972.3826
30 | 2631979.8583 | 1169988.1778 | 2631981.4602 | 1169987.6638 | 2631984.1044 | 1169986.7996 | 2631986.675 | 1169986.8244 | 2631989.052 | 1169987.2929 | 2631991.5037 | 1169988.1063 | 2631995.6561 | 1169989.9516 | 2631999.2738 | 1169991.6161 | 2632002.5986 | 1169993.7016 | 2632006.656 | 1169996.8552
31 | 2632024.2763 | 1170010.5256 | 2632009.7991 | 1169999.2983 | 2632006.656 | 1169996.8552
32 | 2632128.3119 | 1170110.6148 | 2632123.5025 | 1170122.3011
33 | 2632123.3532 | 1170122.615 | 2632123.5025 | 1170122.3011 | 2632123.5025 | 1170122.3011
34 | 2632128.3119 | 1170110.6148 | 2632129.6591 | 1170107.3412
35 | 2632123.3532 | 1170122.615 | 2632122.425 | 1170124.5669
36 | 2632129.6591 | 1170107.3412 | 2632134.0041 | 1170096.7833
37 | 2632120.1969 | 1170128.0975 | 2632120.1969 | 1170128.0975 | 2632121.599 | 1170126.3041 | 2632122.425 | 1170124.5669
38 | 2632134.0041 | 1170096.7833 | 2632134.0906 | 1170096.5732
39 | 2632111.2008 | 1170130.7064 | 2632111.2008 | 1170130.7064 | 2632116.299 | 1170130.2 | 2632118.4997 | 1170129.3002 | 2632120.1969 | 1170128.0975
40 | 2632138.4651 | 1170085.9437 | 2632134.0906 | 1170096.5732
41 | 2632111.2008 | 1170130.7064 | 2632105.9975 | 1170129.4002 | 2632085.6491 | 1170121.0239
42 | 2632207.576 | 1170054.0329 | 2632202.4693 | 1170047.7183 | 2632179.8608 | 1170006.2315 | 2632173.4342 | 1169987.5875 | 2632171.0111 | 1169981.3894
43 | 2632137.7593 | 1169939.9501 | 2632140.4646 | 1169936.2515 | 2632144.8379 | 1169933.9849 | 2632148.9456 | 1169932.7284 | 2632154.0656 | 1169933.9008 | 2632159.4286 | 1169936.8643 | 2632163.1216 | 1169941.6087 | 2632166.0338 | 1169947.8831 | 2632167.0193 | 1169955.3033 | 2632165.8196 | 1169963.6011 | 2632166.0524 | 1169968.705 | 2632171.0111 | 1169981.3894
44 | 2632222.9669 | 1170090.4501 | 2632219.7338 | 1170071.2895 | 2632215.9681 | 1170064.4103 | 2632207.576 | 1170054.0329
45 | 2632207.576 | 1170054.0329 | 2632225.691 | 1170030.4449
46 | 2632222.9669 | 1170090.4501 | 2632225.297 | 1170091.0962 | 2632235.5691 | 1170093.1078
47 | 2632222.9669 | 1170090.4501 | 2632216.5682 | 1170088.872
48 | 2632235.5691 | 1170093.1078 | 2632238.5313 | 1170093.6248
49 | 2632216.5682 | 1170088.872 | 2632204.9039 | 1170085.9955 | 2632201.2204 | 1170084.9646
50 | 2632269.9574 | 1170097.9058 | 2632255.8272 | 1170096.2625 | 2632247.0042 | 1170095.1035 | 2632238.5313 | 1170093.6248
51 | 2632201.2204 | 1170084.9646 | 2632200.2721 | 1170084.6993
52 | 2632169.7405 | 1170074.9592 | 2632152.8093 | 1170069.142
53 | 2632169.7405 | 1170074.9592 | 2632188.5018 | 1170081.4053 | 2632196.3023 | 1170083.5883
54 | 2632152.8093 | 1170069.142 | 2632152.0665 | 1170068.8867
55 | 2632196.3023 | 1170083.5883 | 2632200.2721 | 1170084.6993
56 | 2632146.3001 | 1170066.9055 | 2632152.0665 | 1170068.8867
57 | 2632146.3001 | 1170066.9055 | 2632138.4651 | 1170085.9437
58 | 2632024.2763 | 1170010.5256 | 2632033.9484 | 1169996.3725
59 | 2632034.23 | 1169995.9605 | 2632033.9484 | 1169996.3725
60 | 2632043.5151 | 1169982.3737 | 2632034.23 | 1169995.9605
61 | 2632047.356 | 1169976.7534 | 2632043.5151 | 1169982.3737
62 | 2632269.9574 | 1170097.9058 | 2632259.6107 | 1170140.8563
63 | 2632269.9574 | 1170097.9058 | 2632282.099 | 1170099.4051 | 2632294.037 | 1170100.3696
64 | 2632257.1944 | 1170150.8868 | 2632259.6107 | 1170140.8563
65 | 2632294.037 | 1170100.3696 | 2632295.3084 | 1170100.4937
66 | 2632361.2812 | 1170006.5717 | 2632364.278 | 1169893.3184
67 | 2632345.7928 | 1170029.8003 | 2632361.2812 | 1170006.5717
68 | 2632345.7928 | 1170029.8003 | 2632333.9144 | 1170054.7382 | 2632342.5849 | 1170058.8639
69 | 2632297.3157 | 1170046.4575 | 2632283.6256 | 1170025.9866 | 2632283.1612 | 1170024.9896
70 | 2632297.3157 | 1170046.4575 | 2632342.5849 | 1170058.8639
71 | 2632315.9325 | 1170223.6997 | 2632316.5047 | 1170221.9418 | 2632316.9791 | 1170217.6532 | 2632316.9099 | 1170213.4396 | 2632316.4531 | 1170211.6935
72 | 2632315.9325 | 1170223.6997 | 2632312.1202 | 1170235.4123
73 | 2632313.1091 | 1170198.9117 | 2632316.4531 | 1170211.6935
74 | 2632312.1202 | 1170235.4123 | 2632310.6783 | 1170239.8422
75 | 2632313.1091 | 1170198.9117 | 2632328.2575 | 1170191.9947
76 | 2632313.1091 | 1170198.9117 | 2632310.8821 | 1170199.7336
77 | 2632308.4065 | 1170246.8222 | 2632310.6783 | 1170239.8422
78 | 2632328.2575 | 1170191.9947 | 2632344.4627 | 1170184.5951 | 2632357.2719 | 1170178.7176
79 | 2632392.3988 | 1170166.8995 | 2632382.8655 | 1170166.9482 | 2632376.7909 | 1170169.7614 | 2632357.2719 | 1170178.7176
80 | 2632367.3089 | 1170285.9225 | 2632371.7487 | 1170265.0055 | 2632374.8317 | 1170250.8481 | 2632378.1427 | 1170236.2586
81 | 2632358.8515 | 1170325.7674 | 2632367.3089 | 1170285.9225
82 | 2632378.1427 | 1170236.2586 | 2632387.6322 | 1170194.4442
83 | 2632358.8515 | 1170325.7674 | 2632374.3247 | 1170329.9972
84 | 2632392.3988 | 1170166.8995 | 2632391.7044 | 1170176.5007 | 2632387.6322 | 1170194.4442
85 | 2632374.3247 | 1170329.9972 | 2632394.3694 | 1170335.4768
86 | 2632392.3988 | 1170166.8995 | 2632396.8853 | 1170130.8273 | 2632397.0273 | 1170120.1003
87 | 2632397.0273 | 1170120.1003 | 2632393.1524 | 1170119.3346 | 2632388.7549 | 1170117.5767 | 2632371.2122 | 1170111.7348 | 2632361.6321 | 1170110.1549
88 | 2632361.6321 | 1170110.1549 | 2632368.462 | 1170071.1769
89 | 2632361.6321 | 1170110.1549 | 2632359.1324 | 1170109.7427
90 | 2632251.3556 | 1170176.7919 | 2632250.9506 | 1170178.5892
91 | 2632251.3556 | 1170176.7919 | 2632253.8449 | 1170165.7477
92 | 2632247.681 | 1170193.0954 | 2632250.9506 | 1170178.5892
93 | 2632257.1944 | 1170150.8868 | 2632253.8449 | 1170165.7477
94 | 2632247.681 | 1170193.0954 | 2632246.5393 | 1170198.1609
95 | 2632257.1944 | 1170150.8868 | 2632264.344 | 1170153.0485 | 2632267.0518 | 1170155.4349
96 | 2632244.9423 | 1170205.2466 | 2632246.5393 | 1170198.1609
97 | 2632290.8786 | 1170169.8996 | 2632279.5737 | 1170166.4705 | 2632267.0518 | 1170155.4349
98 | 2632244.9423 | 1170205.2466 | 2632242.9128 | 1170214.2508
99 | 2632295.3084 | 1170100.4937 | 2632316.8249 | 1170102.5932 | 2632327.7854 | 1170104.5069
100 | 2632327.7854 | 1170104.5069 | 2632334.6272 | 1170105.7016 | 2632337.0835 | 1170106.1066
101 | 2632359.1324 | 1170109.7427 | 2632337.0835 | 1170106.1066
102 | 2632342.5849 | 1170058.8639 | 2632355.8964 | 1170065.1979
103 | 2632368.462 | 1170071.1769 | 2632355.8964 | 1170065.1979
104 | 2632245.7646 | 1170239.2043 | 2632247.0028 | 1170237.9992 | 2632247.1574 | 1170237.8318
105 | 2632245.7646 | 1170239.2043 | 2632244.07 | 1170237.0608 | 2632242.7273 | 1170234.9192 | 2632241.6777 | 1170232.3344 | 2632240.8685 | 1170229.1396 | 2632240.6388 | 1170226.3147 | 2632240.9897 | 1170223.3408
106 | 2632241.1278 | 1170222.1707 | 2632241.1278 | 1170222.1707 | 2632242.9128 | 1170214.2508
107 | 2632241.1278 | 1170222.1707 | 2632241.0203 | 1170223.0819
108 | 2632241.0203 | 1170223.0819 | 2632240.9897 | 1170223.3408

## bus_geodata
| x | y | coords
0 | 2632062.3547 | 1170065.9803
1 | 2632087.3972 | 1170057.8975
2 | 2632091.6984 | 1170047.6151
3 | 2632073.997 | 1170041.3063
4 | 2632096.7022 | 1170049.3829
5 | 2632079.7177 | 1170031.8679
6 | 2632053.9343 | 1170031.3699
7 | 2632118.0675 | 1170056.9311
8 | 2631864.5276 | 1169784.4318
9 | 2631895.9441 | 1169832.5355
10 | 2631908.5383 | 1169848.4452
11 | 2632011.1659 | 1169923.6556
12 | 2631989.2092 | 1169904.4026
13 | 2632050.7125 | 1169874.4508
14 | 2631999.2368 | 1169942.3572
15 | 2631918.8395 | 1169860.0279
16 | 2631941.8719 | 1169872.567
17 | 2632095.8344 | 1170005.2775
18 | 2632084.3943 | 1170024.1522
19 | 2632098.9032 | 1170000.2143
20 | 2632111.4267 | 1169979.5521
21 | 2631959.1928 | 1169886.8779
22 | 2631950.2495 | 1169910.2693
23 | 2631961.9403 | 1169940.5247
24 | 2631969.5041 | 1169935.3845
25 | 2631996.8162 | 1169946.1522
26 | 2631977.6378 | 1169922.5983
27 | 2631990.8212 | 1169955.5509
28 | 2631973.9286 | 1169972.3826
29 | 2631979.8583 | 1169988.1778
30 | 2632006.656 | 1169996.8552
31 | 2632123.5025 | 1170122.3011
32 | 2632128.3119 | 1170110.6148
33 | 2632123.3532 | 1170122.615
34 | 2632129.6591 | 1170107.3412
35 | 2632122.425 | 1170124.5669
36 | 2632134.0041 | 1170096.7833
37 | 2632120.1969 | 1170128.0975
38 | 2632134.0906 | 1170096.5732
39 | 2632111.2008 | 1170130.7064
40 | 2632171.0111 | 1169981.3894
41 | 2632207.576 | 1170054.0329
42 | 2632137.7593 | 1169939.9501
43 | 2632222.9669 | 1170090.4501
44 | 2632225.691 | 1170030.4449
45 | 2632235.5691 | 1170093.1078
46 | 2632216.5682 | 1170088.872
47 | 2632238.5313 | 1170093.6248
48 | 2632201.2204 | 1170084.9646
49 | 2632169.7405 | 1170074.9592
50 | 2632152.8093 | 1170069.142
51 | 2632196.3023 | 1170083.5883
52 | 2632152.0665 | 1170068.8867
53 | 2632200.2721 | 1170084.6993
54 | 2632146.3001 | 1170066.9055
55 | 2632138.4651 | 1170085.9437
56 | 2632024.2763 | 1170010.5256
57 | 2632033.9484 | 1169996.3725
58 | 2632034.23 | 1169995.9605
59 | 2632043.5151 | 1169982.3737
60 | 2632269.9574 | 1170097.9058
61 | 2632085.6491 | 1170121.0239
62 | 2632047.356 | 1169976.7534
63 | 2632259.6107 | 1170140.8563
64 | 2632294.037 | 1170100.3696
65 | 2632364.278 | 1169893.3184
66 | 2632361.2812 | 1170006.5717
67 | 2632345.7928 | 1170029.8003
68 | 2632283.1612 | 1170024.9896
69 | 2632297.3157 | 1170046.4575
70 | 2632315.9325 | 1170223.6997
71 | 2632316.4531 | 1170211.6935
72 | 2632312.1202 | 1170235.4123
73 | 2632313.1091 | 1170198.9117
74 | 2632310.6783 | 1170239.8422
75 | 2632328.2575 | 1170191.9947
76 | 2632310.8821 | 1170199.7336
77 | 2632308.4065 | 1170246.8222
78 | 2632357.2719 | 1170178.7176
79 | 2632367.3089 | 1170285.9225
80 | 2632378.1427 | 1170236.2587
81 | 2632358.8515 | 1170325.7673
82 | 2632387.6322 | 1170194.4442
83 | 2632374.3247 | 1170329.9972
84 | 2632392.3988 | 1170166.8995
85 | 2632394.3694 | 1170335.4768
86 | 2632397.0273 | 1170120.1003
87 | 2632361.6321 | 1170110.1549
88 | 2632251.3556 | 1170176.7919
89 | 2632250.9506 | 1170178.5892
90 | 2632253.8449 | 1170165.7477
91 | 2632247.681 | 1170193.0954
92 | 2632257.1944 | 1170150.8868
93 | 2632246.5393 | 1170198.1609
94 | 2632267.0518 | 1170155.4349
95 | 2632244.9423 | 1170205.2466
96 | 2632290.8786 | 1170169.8996
97 | 2632295.3084 | 1170100.4937
98 | 2632327.7854 | 1170104.5069
99 | 2632337.0835 | 1170106.1066
100 | 2632359.1324 | 1170109.7427
101 | 2632342.5849 | 1170058.8639
102 | 2632355.8964 | 1170065.1979
103 | 2632247.1574 | 1170237.8318
104 | 2632245.7646 | 1170239.2043
105 | 2632368.462 | 1170071.1769
106 | 2632242.9128 | 1170214.2508
107 | 2632241.1278 | 1170222.1707
108 | 2632241.0203 | 1170223.0819
109 | 2632240.9897 | 1170223.3408
110 | 2632222.9669 | 1170090.4501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1