## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_587-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_587-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_587-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_587-3_0_4_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_587-3_0_4_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_587-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_587-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_587-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_587-3_0_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_587-3_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_587-3_0_4_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_587-3_0_4_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_587-3_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_587-3_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_587-3_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_587-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_587-3_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_587-3_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_587-3_0_4_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_587-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_587-3_0_4_node_88 | 0.4 | n |  | TRUE
22 | bus_LV_587-3_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_587-3_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_587-3_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_587-3_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_587-3_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_587-3_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_587-3_0_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_587-3_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_587-3_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_587-3_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_587-3_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_587-3_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_587-3_0_4_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_587-3_0_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_587-3_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_587-3_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_587-3_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_587-3_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_587-3_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_587-3_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_587-3_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_587-3_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_587-3_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_587-3_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_587-3_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_587-3_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_587-3_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_587-3_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_587-3_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_587-3_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_587-3_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_587-3_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_587-3_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_587-3_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_587-3_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_587-3_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_587-3_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_587-3_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_587-3_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_587-3_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_587-3_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_587-3_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_587-3_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_587-3_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_587-3_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_587-3_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_587-3_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_587-3_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_587-3_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_587-3_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_587-3_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_587-3_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_587-3_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_587-3_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_587-3_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_587-3_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_587-3_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_587-3_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_587-3_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_587-3_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_587-3_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_587-3_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_587-3_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_587-3_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_587-3_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_587-3_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_MV_83_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-3_0_4_load_0 | 0 | 0.0041567 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-3_0_4_load_2 | 2 | 0.0025446 | 0.00063773 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-3_0_4_load_3 | 3 | 0.0014981 | 0.00037545 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-3_0_4_load_59 | 4 | 0.0025302 | 0.00063413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-3_0_4_load_60 | 5 | 0.0025115 | 0.00062943 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-3_0_4_load_4 | 6 | 0.0011892 | 0.00029805 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-3_0_4_load_5 | 7 | 0.019273 | 0.0048302 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-3_0_4_load_64 | 9 | 0.0010439 | 0.00026162 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-3_0_4_load_61 | 10 | 0.0024398 | 0.00061146 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-3_0_4_load_83 | 11 | 0.007709 | 0.001932 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-3_0_4_load_62 | 12 | 0.0026279 | 0.00065862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-3_0_4_load_7 | 13 | 0.0012867 | 0.00032247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-3_0_4_load_8 | 14 | 0.0018422 | 0.0004617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-3_0_4_load_10 | 16 | 0.0017404 | 0.00043619 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-3_0_4_load_12 | 18 | 0.0017199 | 0.00043104 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-3_0_4_load_87 | 19 | 0.0012903 | 0.00032339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-3_0_4_load_13 | 20 | 0.0018885 | 0.00047329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-3_0_4_load_88 | 21 | 0.0021951 | 0.00055015 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-3_0_4_load_26 | 22 | 0.0015999 | 0.00040097 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-3_0_4_load_27 | 23 | 0.0023136 | 0.00057983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-3_0_4_load_14 | 24 | 0.0085251 | 0.0021366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-3_0_4_load_15 | 25 | 0.00053557 | 0.00013423 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-3_0_4_load_55 | 28 | 0.023082 | 0.005785 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-3_0_4_load_17 | 29 | 0.0023057 | 0.00057787 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-3_0_4_load_18 | 30 | 0.002693 | 0.00067493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-3_0_4_load_19 | 31 | 0.0019214 | 0.00048154 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-3_0_4_load_20 | 32 | 0.0019524 | 0.00048932 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-3_0_4_load_21 | 33 | 0.0023618 | 0.00059193 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-3_0_4_load_79 | 35 | 0.002879 | 0.00072155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-3_0_4_load_53 | 36 | 0.002521 | 0.00063181 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-3_0_4_load_81 | 37 | 0.0026049 | 0.00065286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-3_0_4_load_41 | 40 | 0.0040595 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-3_0_4_load_22 | 41 | 0.002261 | 0.00056666 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-3_0_4_load_23 | 42 | 0.0050039 | 0.0012541 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-3_0_4_load_24 | 43 | 0.0022588 | 0.0005661 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-3_0_4_load_25 | 44 | 0.0050029 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-3_0_4_load_43 | 45 | 0.0050113 | 0.001256 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-3_0_4_load_28 | 47 | 0.003223 | 0.00080775 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-3_0_4_load_42 | 48 | 0.003948 | 0.00098947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-3_0_4_load_40 | 49 | 0.0022374 | 0.00056075 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-3_0_4_load_29 | 50 | 0.0093225 | 0.0023364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-3_0_4_load_30 | 51 | 0.0087337 | 0.0021889 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-3_0_4_load_31 | 52 | 0.0030708 | 0.00076963 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-3_0_4_load_32 | 53 | 0.011219 | 0.0028118 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_587-3_0_4_load_35 | 55 | 0.0040123 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_587-3_0_4_load_70 | 56 | 0.0051627 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_587-3_0_4_load_34 | 57 | 0.013562 | 0.003399 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_587-3_0_4_load_68 | 59 | 0.0015607 | 0.00039115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_587-3_0_4_load_36 | 60 | 0.0030491 | 0.00076417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_587-3_0_4_load_37 | 61 | 0.0021639 | 0.00054231 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_587-3_0_4_load_77 | 62 | 0.0030369 | 0.00076112 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_587-3_0_4_load_52 | 63 | 0.0031283 | 0.00078404 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_587-3_0_4_load_38 | 64 | 0.0022369 | 0.00056062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_587-3_0_4_load_39 | 65 | 0.0017179 | 0.00043055 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_587-3_0_4_load_44 | 66 | 0.0011389 | 0.00028543 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_587-3_0_4_load_45 | 67 | 0.0012792 | 0.00032061 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_587-3_0_4_load_46 | 68 | 0.015324 | 0.0038406 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_587-3_0_4_load_65 | 71 | 0.0014102 | 0.00035343 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_587-3_0_4_load_66 | 72 | 0.0021268 | 0.00053302 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_587-3_0_4_load_48 | 73 | 0.013549 | 0.0033958 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_587-3_0_4_load_49 | 74 | 0.013552 | 0.0033964 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_587-3_0_4_load_50 | 75 | 0.0023054 | 0.0005778 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_587-3_0_4_load_51 | 76 | 0.0056941 | 0.0014271 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_587-3_0_4_load_54 | 77 | 0.00054313 | 0.00013612 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_587-3_0_4_load_76 | 79 | 0.0025126 | 0.00062972 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_587-3_0_4_load_69 | 81 | 0.0037476 | 0.00093925 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_587-3_0_4_load_71 | 82 | 0.0020726 | 0.00051944 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_587-3_0_4_load_75 | 83 | 0.0082634 | 0.002071 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_587-3_0_4_load_80 | 84 | 0.0030858 | 0.00077338 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_587-3_0_4_load_82 | 85 | 0.0025134 | 0.00062992 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_587-3_0_4_load_85 | 86 | 0.0077071 | 0.0019316 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_587-3_0_4_load_89 | 87 | 0.0036661 | 0.00091881 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-3_0_4_line_0 |  | 0 | 1 | 0.031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-3_0_4_line_1 |  | 1 | 2 | 0.029351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-3_0_4_line_2 |  | 1 | 3 | 0.019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-3_0_4_line_3 |  | 2 | 4 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-3_0_4_line_4 |  | 4 | 5 | 0.022499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-3_0_4_line_5 |  | 5 | 79 | 0.0091246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-3_0_4_line_6 |  | 6 | 7 | 0.032084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-3_0_4_line_7 |  | 7 | 8 | 0.031611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-3_0_4_line_8 |  | 8 | 9 | 0.026424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-3_0_4_line_9 |  | 8 | 10 | 0.0033847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-3_0_4_line_10 |  | 9 | 11 | 0.0050127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-3_0_4_line_11 |  | 10 | 12 | 0.031357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-3_0_4_line_12 |  | 11 | 80 | 0.028948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_587-3_0_4_line_13 |  | 12 | 70 | 0.017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_587-3_0_4_line_14 |  | 13 | 14 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_587-3_0_4_line_15 |  | 13 | 15 | 0.045499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-3_0_4_line_16 |  | 14 | 16 | 0.0092866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_587-3_0_4_line_17 |  | 15 | 17 | 0.044702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-3_0_4_line_18 |  | 16 | 18 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-3_0_4_line_19 |  | 17 | 19 | 0.038969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-3_0_4_line_20 |  | 18 | 20 | 0.008161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-3_0_4_line_21 |  | 19 | 21 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-3_0_4_line_22 |  | 20 | 22 | 0.0089453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-3_0_4_line_23 |  | 21 | 87 | 0.018473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-3_0_4_line_24 |  | 22 | 23 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-3_0_4_line_25 |  | 23 | 47 | 0.012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-3_0_4_line_26 |  | 24 | 25 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-3_0_4_line_27 |  | 25 | 26 | 0.077585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-3_0_4_line_28 |  | 26 | 27 | 0.049266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-3_0_4_line_29 |  | 27 | 28 | 0.029942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-3_0_4_line_30 |  | 28 | 77 | 0.00038002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-3_0_4_line_31 |  | 29 | 30 | 0.0044659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-3_0_4_line_32 |  | 29 | 31 | 0.013776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-3_0_4_line_33 |  | 30 | 32 | 0.021255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-3_0_4_line_34 |  | 31 | 33 | 0.010065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_587-3_0_4_line_35 |  | 32 | 34 | 0.043454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_587-3_0_4_line_36 |  | 32 | 35 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-3_0_4_line_37 |  | 33 | 36 | 0.014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-3_0_4_line_38 |  | 34 | 37 | 0.038181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_587-3_0_4_line_39 |  | 34 | 38 | 0.036912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_587-3_0_4_line_40 |  | 35 | 39 | 0.075703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-3_0_4_line_41 |  | 36 | 40 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_587-3_0_4_line_42 |  | 37 | 85 | 0.021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-3_0_4_line_43 |  | 38 | 46 | 0.038617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-3_0_4_line_44 |  | 38 | 79 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_587-3_0_4_line_45 |  | 39 | 78 | 0.094743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_587-3_0_4_line_46 |  | 40 | 65 | 0.012091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_587-3_0_4_line_47 |  | 41 | 42 | 0.034994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_587-3_0_4_line_48 |  | 41 | 43 | 0.025291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_587-3_0_4_line_49 |  | 42 | 44 | 0.033505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_587-3_0_4_line_50 |  | 44 | 45 | 0.033507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_587-3_0_4_line_51 |  | 45 | 46 | 0.023675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_587-3_0_4_line_52 |  | 46 | 54 | 0.022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_587-3_0_4_line_53 |  | 47 | 48 | 0.0086614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_587-3_0_4_line_54 |  | 48 | 49 | 0.02023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_587-3_0_4_line_55 |  | 49 | 64 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_587-3_0_4_line_56 |  | 50 | 51 | 0.034989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-3_0_4_line_57 |  | 50 | 52 | 0.0020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_587-3_0_4_line_58 |  | 51 | 53 | 0.035524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-3_0_4_line_59 |  | 52 | 54 | 0.039201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_587-3_0_4_line_60 |  | 53 | 55 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-3_0_4_line_61 |  | 54 | 56 | 0.035131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_587-3_0_4_line_62 |  | 55 | 57 | 0.0044177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-3_0_4_line_63 |  | 56 | 58 | 0.055336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_587-3_0_4_line_64 |  | 56 | 59 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-3_0_4_line_65 |  | 57 | 60 | 0.0043634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_587-3_0_4_line_66 |  | 58 | 72 | 0.023536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-3_0_4_line_67 |  | 59 | 81 | 0.0084161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-3_0_4_line_68 |  | 60 | 61 | 0.0055658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-3_0_4_line_69 |  | 61 | 62 | 0.007415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-3_0_4_line_70 |  | 62 | 63 | 0.00095429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-3_0_4_line_71 |  | 63 | 75 | 0.0063047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-3_0_4_line_72 |  | 64 | 65 | 0.0012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_587-3_0_4_line_73 |  | 66 | 67 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_587-3_0_4_line_74 |  | 66 | 68 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_587-3_0_4_line_75 |  | 67 | 69 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_587-3_0_4_line_76 |  | 69 | 70 | 0.033484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_587-3_0_4_line_77 |  | 69 | 71 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_587-3_0_4_line_78 |  | 71 | 72 | 0.034655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_587-3_0_4_line_79 |  | 73 | 74 | 0.0027777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_587-3_0_4_line_80 |  | 73 | 75 | 0.0038953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_587-3_0_4_line_81 |  | 74 | 76 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_587-3_0_4_line_82 |  | 77 | 78 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_587-3_0_4_line_83 |  | 80 | 86 | 0.0050215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_587-3_0_4_line_84 |  | 81 | 82 | 0.0098948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_587-3_0_4_line_85 |  | 82 | 83 | 0.022625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_587-3_0_4_line_86 |  | 83 | 84 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-3_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 88 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2632808.4316 | 1169431.9983 | 2632838.8313 | 1169440.0911
1 | 2632808.4316 | 1169431.9983 | 2632804.8079 | 1169442.6173 | 2632787.2177 | 1169438.2224
2 | 2632808.4316 | 1169431.9983 | 2632811.0053 | 1169424.4863 | 2632819.0217 | 1169416.5815
3 | 2632787.2177 | 1169438.2224 | 2632770.7793 | 1169434.1152
4 | 2632748.9511 | 1169428.6613 | 2632770.7793 | 1169434.1152
5 | 2632748.9511 | 1169428.6613 | 2632740.0986 | 1169426.4495
6 | 2632770.6396 | 1169682.8144 | 2632764.1314 | 1169679.8177 | 2632761.2547 | 1169675.5554 | 2632767.2586 | 1169656.7121
7 | 2632776.8552 | 1169626.593 | 2632767.2586 | 1169656.7121
8 | 2632776.8552 | 1169626.593 | 2632802.2831 | 1169633.7806
9 | 2632776.8552 | 1169626.593 | 2632773.5949 | 1169625.6839
10 | 2632807.1068 | 1169635.1442 | 2632802.2831 | 1169633.7806
11 | 2632773.5949 | 1169625.6839 | 2632766.6483 | 1169623.747 | 2632743.4213 | 1169617.1526
12 | 2632834.9633 | 1169643.0183 | 2632807.1068 | 1169635.1442
13 | 2632726.6465 | 1169612.3901 | 2632743.4213 | 1169617.1526
14 | 2632940.6749 | 1169420.1181 | 2632928.8969 | 1169413.1589
15 | 2632979.8469 | 1169443.2637 | 2632940.6749 | 1169420.1181
16 | 2632920.9016 | 1169408.4347 | 2632928.8969 | 1169413.1589
17 | 2632982.7697 | 1169398.6679 | 2632979.8469 | 1169443.2637
18 | 2632920.9016 | 1169408.4347 | 2632909.1288 | 1169401.4785
19 | 2632982.7697 | 1169398.6679 | 2632947.4199 | 1169382.2679
20 | 2632902.1026 | 1169397.3269 | 2632909.1288 | 1169401.4785
21 | 2632947.4199 | 1169382.2679 | 2632929.2546 | 1169373.8404
22 | 2632902.1026 | 1169397.3269 | 2632894.4013 | 1169392.7765
23 | 2632912.4975 | 1169366.0662 | 2632929.2546 | 1169373.8404
24 | 2632879.9084 | 1169384.213 | 2632894.4013 | 1169392.7765
25 | 2632879.9084 | 1169384.213 | 2632875.21 | 1169381.4369 | 2632868.3084 | 1169378.8749
26 | 2632641.9246 | 1169100.3927 | 2632642.4067 | 1169114.5237
27 | 2632648.2543 | 1169191.3697 | 2632650.3843 | 1169173.9723 | 2632642.8273 | 1169126.8516 | 2632642.4067 | 1169114.5237
28 | 2632697.0358 | 1169184.4756 | 2632648.2543 | 1169191.3697
29 | 2632697.0358 | 1169184.4756 | 2632704.506 | 1169188.3849 | 2632724.8349 | 1169195.4169
30 | 2632725.1941 | 1169195.5412 | 2632724.8349 | 1169195.4169
31 | 2632762.0431 | 1169349.1777 | 2632766.3727 | 1169350.2731
32 | 2632779.7282 | 1169353.6518 | 2632766.3727 | 1169350.2731
33 | 2632741.4373 | 1169343.9658 | 2632748.582 | 1169345.7723 | 2632762.0431 | 1169349.1777
34 | 2632789.4853 | 1169356.1202 | 2632779.7282 | 1169353.6518
35 | 2632730.1518 | 1169385.9259 | 2632741.4373 | 1169343.9658
36 | 2632741.4373 | 1169343.9658 | 2632745.9707 | 1169330.9506
37 | 2632803.8936 | 1169359.7653 | 2632789.4853 | 1169356.1202
38 | 2632730.1518 | 1169385.9259 | 2632766.7124 | 1169396.9324
39 | 2632720.569 | 1169421.5699 | 2632730.1518 | 1169385.9259
40 | 2632770.8375 | 1169259.4491 | 2632769.8429 | 1169262.2229 | 2632768.2016 | 1169267.1275 | 2632745.9707 | 1169330.9506
41 | 2632803.8936 | 1169359.7653 | 2632814.8712 | 1169362.5425
42 | 2632787.7295 | 1169403.2595 | 2632766.7124 | 1169396.9324
43 | 2632720.569 | 1169421.5699 | 2632709.3341 | 1169458.5167
44 | 2632720.569 | 1169421.5699 | 2632740.0986 | 1169426.4495
45 | 2632732.667 | 1169203.6236 | 2632722.4646 | 1169241.9879 | 2632764.2336 | 1169253.8769 | 2632771.9884 | 1169256.0869 | 2632770.8375 | 1169259.4491
46 | 2632814.8712 | 1169362.5425 | 2632826.593 | 1169365.5079
47 | 2632797.8905 | 1169478.0579 | 2632832.0627 | 1169485.5984
48 | 2632856.7591 | 1169491.048 | 2632832.0627 | 1169485.5984
49 | 2632797.8905 | 1169478.0579 | 2632765.1731 | 1169470.8384
50 | 2632732.4529 | 1169463.6182 | 2632765.1731 | 1169470.8384
51 | 2632709.3341 | 1169458.5167 | 2632732.4529 | 1169463.6182
52 | 2632709.3341 | 1169458.5167 | 2632707.956 | 1169461.4663 | 2632704.8098 | 1169470.1537 | 2632703.4281 | 1169473.7591 | 2632701.3867 | 1169479.0952
53 | 2632860.1884 | 1169375.8606 | 2632868.3084 | 1169378.8749
54 | 2632841.1113 | 1169369.1809 | 2632844.5117 | 1169370.0411 | 2632860.1884 | 1169375.8606
55 | 2632827.8079 | 1169365.8153 | 2632841.1113 | 1169369.1809
56 | 2632773.5183 | 1169503.1205 | 2632739.7331 | 1169494.0204
57 | 2632737.757 | 1169493.4882 | 2632739.7331 | 1169494.0204
58 | 2632807.8195 | 1169512.3595 | 2632773.5183 | 1169503.1205
59 | 2632701.3867 | 1169479.0952 | 2632708.0507 | 1169482.033 | 2632728.1571 | 1169490.9024 | 2632737.757 | 1169493.4882
60 | 2632807.8195 | 1169512.3595 | 2632836.9342 | 1169520.2016
61 | 2632701.3867 | 1169479.0952 | 2632687.3084 | 1169511.2908
62 | 2632836.9342 | 1169520.2016 | 2632841.1998 | 1169521.3506
63 | 2632665.1413 | 1169562.0076 | 2632687.3084 | 1169511.2908
64 | 2632687.3084 | 1169511.2908 | 2632707.0874 | 1169516.4586
65 | 2632845.4131 | 1169522.4854 | 2632841.1998 | 1169521.3506
66 | 2632665.1413 | 1169562.0076 | 2632672.5681 | 1169563.9712 | 2632687.9256 | 1169567.9062
67 | 2632707.0874 | 1169516.4586 | 2632715.2301 | 1169518.5862
68 | 2632850.7874 | 1169523.933 | 2632845.4131 | 1169522.4854
69 | 2632850.7874 | 1169523.933 | 2632857.9472 | 1169525.8615
70 | 2632858.8686 | 1169526.1097 | 2632857.9472 | 1169525.8615
71 | 2632864.9564 | 1169527.7494 | 2632858.8686 | 1169526.1097
72 | 2632827.8079 | 1169365.8153 | 2632826.593 | 1169365.5079
73 | 2632767.5418 | 1169588.6956 | 2632745.8028 | 1169582.8668
74 | 2632785.3737 | 1169589.6871 | 2632775.39 | 1169590.7999 | 2632767.5418 | 1169588.6956
75 | 2632734.8039 | 1169579.9177 | 2632745.8028 | 1169582.8668
76 | 2632734.8039 | 1169579.9177 | 2632726.6465 | 1169612.3901
77 | 2632734.8039 | 1169579.9177 | 2632721.496 | 1169576.5079
78 | 2632721.496 | 1169576.5079 | 2632687.9256 | 1169567.9062
79 | 2632868.7176 | 1169528.7625 | 2632871.3997 | 1169529.4849
80 | 2632868.7176 | 1169528.7625 | 2632864.9564 | 1169527.7494
81 | 2632871.3997 | 1169529.4849 | 2632882.6366 | 1169532.5116
82 | 2632732.667 | 1169203.6236 | 2632733.5981 | 1169198.4483 | 2632725.1941 | 1169195.5412
83 | 2632834.9633 | 1169643.0183 | 2632839.7954 | 1169644.3844
84 | 2632715.2301 | 1169518.5862 | 2632724.8036 | 1169521.0875
85 | 2632746.6939 | 1169526.807 | 2632724.8036 | 1169521.0875
86 | 2632746.6939 | 1169526.807 | 2632764.6024 | 1169531.4861

## bus_geodata
| x | y | coords
0 | 2632838.8313 | 1169440.0911
1 | 2632808.4316 | 1169431.9983
2 | 2632787.2177 | 1169438.2224
3 | 2632819.0217 | 1169416.5815
4 | 2632770.7793 | 1169434.1152
5 | 2632748.9511 | 1169428.6613
6 | 2632770.6396 | 1169682.8144
7 | 2632767.2586 | 1169656.7121
8 | 2632776.8552 | 1169626.593
9 | 2632802.2831 | 1169633.7806
10 | 2632773.5949 | 1169625.6839
11 | 2632807.1068 | 1169635.1442
12 | 2632743.4213 | 1169617.1526
13 | 2632940.6749 | 1169420.1181
14 | 2632928.8969 | 1169413.1589
15 | 2632979.8469 | 1169443.2637
16 | 2632920.9016 | 1169408.4347
17 | 2632982.7697 | 1169398.6679
18 | 2632909.1288 | 1169401.4785
19 | 2632947.4199 | 1169382.2679
20 | 2632902.1026 | 1169397.3269
21 | 2632929.2546 | 1169373.8404
22 | 2632894.4013 | 1169392.7765
23 | 2632879.9084 | 1169384.213
24 | 2632641.9246 | 1169100.3927
25 | 2632642.4067 | 1169114.5237
26 | 2632648.2543 | 1169191.3697
27 | 2632697.0358 | 1169184.4756
28 | 2632724.8349 | 1169195.4169
29 | 2632766.3727 | 1169350.2731
30 | 2632762.0431 | 1169349.1777
31 | 2632779.7282 | 1169353.6518
32 | 2632741.4373 | 1169343.9658
33 | 2632789.4853 | 1169356.1202
34 | 2632730.1518 | 1169385.9259
35 | 2632745.9707 | 1169330.9506
36 | 2632803.8936 | 1169359.7653
37 | 2632766.7124 | 1169396.9324
38 | 2632720.569 | 1169421.5699
39 | 2632770.8375 | 1169259.4491
40 | 2632814.8712 | 1169362.5425
41 | 2632832.0627 | 1169485.5984
42 | 2632797.8905 | 1169478.0579
43 | 2632856.7591 | 1169491.048
44 | 2632765.1731 | 1169470.8384
45 | 2632732.4529 | 1169463.6182
46 | 2632709.3341 | 1169458.5167
47 | 2632868.3084 | 1169378.8749
48 | 2632860.1884 | 1169375.8606
49 | 2632841.1113 | 1169369.1809
50 | 2632739.7331 | 1169494.0204
51 | 2632773.5183 | 1169503.1205
52 | 2632737.757 | 1169493.4882
53 | 2632807.8195 | 1169512.3595
54 | 2632701.3867 | 1169479.0952
55 | 2632836.9342 | 1169520.2016
56 | 2632687.3084 | 1169511.2908
57 | 2632841.1998 | 1169521.3506
58 | 2632665.1413 | 1169562.0076
59 | 2632707.0874 | 1169516.4586
60 | 2632845.4131 | 1169522.4854
61 | 2632850.7874 | 1169523.933
62 | 2632857.9472 | 1169525.8615
63 | 2632858.8686 | 1169526.1097
64 | 2632827.8079 | 1169365.8153
65 | 2632826.593 | 1169365.5079
66 | 2632767.5418 | 1169588.6956
67 | 2632745.8028 | 1169582.8668
68 | 2632785.3737 | 1169589.6871
69 | 2632734.8039 | 1169579.9177
70 | 2632726.6465 | 1169612.3901
71 | 2632721.496 | 1169576.5079
72 | 2632687.9256 | 1169567.9062
73 | 2632868.7176 | 1169528.7625
74 | 2632871.3997 | 1169529.4849
75 | 2632864.9564 | 1169527.7494
76 | 2632882.6366 | 1169532.5116
77 | 2632725.1941 | 1169195.5412
78 | 2632732.667 | 1169203.6236
79 | 2632740.0986 | 1169426.4495
80 | 2632834.9633 | 1169643.0183
81 | 2632715.2301 | 1169518.5862
82 | 2632724.8036 | 1169521.0875
83 | 2632746.6939 | 1169526.807
84 | 2632764.6024 | 1169531.4861
85 | 2632787.7295 | 1169403.2595
86 | 2632839.7954 | 1169644.3844
87 | 2632912.4975 | 1169366.0662
88 | 2632797.8905 | 1169478.0579

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1