## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_587-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_587-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_587-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_587-4_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_587-4_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_587-4_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_587-4_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_587-4_0_3_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_587-4_0_3_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_587-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_587-4_0_3_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_587-4_0_3_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_587-4_0_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_587-4_0_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_587-4_0_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_587-4_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_587-4_0_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_587-4_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_587-4_0_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_587-4_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_587-4_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_587-4_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_587-4_0_3_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_587-4_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_587-4_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_587-4_0_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_587-4_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_587-4_0_3_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_587-4_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_587-4_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_587-4_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_587-4_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_587-4_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_587-4_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_587-4_0_3_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_587-4_0_3_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_587-4_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_587-4_0_3_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_587-4_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_587-4_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_587-4_0_3_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_587-4_0_3_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_587-4_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_587-4_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_587-4_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_587-4_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_587-4_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_587-4_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_587-4_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_587-4_0_3_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_587-4_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_587-4_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_587-4_0_3_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_587-4_0_3_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_587-4_0_3_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_587-4_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_587-4_0_3_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_587-4_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_587-4_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_587-4_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_587-4_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_587-4_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_587-4_0_3_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_587-4_0_3_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_587-4_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_587-4_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_587-4_0_3_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_587-4_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_587-4_0_3_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_587-4_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_587-4_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_587-4_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_587-4_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_MV_83_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-4_0_3_load_0 | 0 | 0.0041689 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-4_0_3_load_8 | 5 | 0.0053508 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-4_0_3_load_73 | 8 | 0.0010219 | 0.00025611 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-4_0_3_load_71 | 9 | 0.0021426 | 0.000537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-4_0_3_load_76 | 11 | 0.0011898 | 0.00029819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-4_0_3_load_56 | 14 | 0.0010172 | 0.00025493 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-4_0_3_load_72 | 15 | 0.0014521 | 0.00036394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-4_0_3_load_32 | 18 | 0.00063519 | 0.00015919 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-4_0_3_load_63 | 19 | 0.00070786 | 0.00017741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-4_0_3_load_38 | 22 | 0.0029431 | 0.0007376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-4_0_3_load_9 | 23 | 0.003036 | 0.00076088 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-4_0_3_load_10 | 24 | 0.0027715 | 0.00069459 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-4_0_3_load_67 | 27 | 0.0027731 | 0.00069501 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-4_0_3_load_65 | 28 | 0.0076239 | 0.0019107 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-4_0_3_load_12 | 29 | 0.014978 | 0.0037539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-4_0_3_load_13 | 30 | 0.002847 | 0.00071353 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-4_0_3_load_16 | 33 | 0.014566 | 0.0036506 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-4_0_3_load_17 | 34 | 0.0043428 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-4_0_3_load_62 | 36 | 0.0075388 | 0.0018894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-4_0_3_load_68 | 38 | 0.0025321 | 0.0006346 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-4_0_3_load_47 | 39 | 0.0028871 | 0.00072357 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-4_0_3_load_48 | 40 | 0.0030092 | 0.00075417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-4_0_3_load_18 | 41 | 0.0086589 | 0.0021701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-4_0_3_load_21 | 44 | 0.014689 | 0.0036814 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-4_0_3_load_24 | 46 | 0.017145 | 0.0042969 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-4_0_3_load_25 | 47 | 0.007282 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-4_0_3_load_50 | 48 | 0.028749 | 0.0072051 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-4_0_3_load_30 | 49 | 0.040929 | 0.010258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-4_0_3_load_49 | 52 | 0.022265 | 0.0055802 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-4_0_3_load_28 | 54 | 0.00080048 | 0.00020062 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-4_0_3_load_29 | 55 | 0.0005962 | 0.00014942 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-4_0_3_load_34 | 56 | 0.00089467 | 0.00022422 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-4_0_3_load_31 | 57 | 0.0026333 | 0.00065996 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-4_0_3_load_70 | 58 | 0.019664 | 0.0049283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-4_0_3_load_35 | 63 | 0.00058136 | 0.0001457 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-4_0_3_load_36 | 64 | 0.00059864 | 0.00015003 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-4_0_3_load_64 | 65 | 0.0031922 | 0.00080004 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-4_0_3_load_42 | 66 | 0.00065524 | 0.00016422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-4_0_3_load_77 | 67 | 0.0037257 | 0.00093375 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-4_0_3_load_75 | 69 | 0.0021102 | 0.00052888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-4_0_3_load_51 | 70 | 0.017748 | 0.0044482 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-4_0_3_load_52 | 71 | 0.02663 | 0.0066741 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-4_0_3_load_53 | 72 | 0.0045304 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-4_0_3_load_74 | 73 | 0.0011463 | 0.00028729 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-4_0_3_line_0 |  | 0 | 1 | 0.022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-4_0_3_line_1 |  | 0 | 2 | 0.089715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-4_0_3_line_2 |  | 1 | 3 | 0.043019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-4_0_3_line_3 |  | 2 | 4 | 0.36429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-4_0_3_line_4 |  | 3 | 5 | 0.007397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-4_0_3_line_5 |  | 4 | 10 | 0.26013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-4_0_3_line_6 |  | 4 | 9 | 0.043582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-4_0_3_line_7 |  | 6 | 7 | 0.072538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-4_0_3_line_8 |  | 6 | 8 | 0.19036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-4_0_3_line_9 |  | 7 | 9 | 0.028797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-4_0_3_line_10 |  | 8 | 15 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-4_0_3_line_11 |  | 10 | 11 | 0.021968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-4_0_3_line_12 |  | 12 | 13 | 0.13011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_587-4_0_3_line_13 |  | 12 | 14 | 0.041905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_587-4_0_3_line_14 |  | 13 | 73 | 0.011651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_587-4_0_3_line_15 |  | 13 | 15 | 0.034502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-4_0_3_line_16 |  | 14 | 56 | 0.054321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_587-4_0_3_line_17 |  | 16 | 17 | 0.048109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-4_0_3_line_18 |  | 16 | 18 | 0.10957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-4_0_3_line_19 |  | 17 | 19 | 0.15397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-4_0_3_line_20 |  | 18 | 57 | 0.02528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-4_0_3_line_21 |  | 19 | 65 | 0.042133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-4_0_3_line_22 |  | 20 | 21 | 0.034481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-4_0_3_line_23 |  | 20 | 22 | 0.1173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-4_0_3_line_24 |  | 21 | 65 | 0.048829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-4_0_3_line_25 |  | 22 | 64 | 0.0048774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-4_0_3_line_26 |  | 23 | 24 | 0.030747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-4_0_3_line_27 |  | 24 | 25 | 0.021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-4_0_3_line_28 |  | 25 | 26 | 0.008881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-4_0_3_line_29 |  | 26 | 27 | 0.035129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-4_0_3_line_30 |  | 26 | 28 | 0.047757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-4_0_3_line_31 |  | 27 | 35 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-4_0_3_line_32 |  | 28 | 59 | 0.079011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-4_0_3_line_33 |  | 29 | 30 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-4_0_3_line_34 |  | 29 | 31 | 0.033212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_587-4_0_3_line_35 |  | 30 | 32 | 0.036044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_587-4_0_3_line_36 |  | 31 | 33 | 0.062137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-4_0_3_line_37 |  | 31 | 34 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-4_0_3_line_38 |  | 32 | 35 | 0.000913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_587-4_0_3_line_39 |  | 32 | 36 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_587-4_0_3_line_40 |  | 33 | 37 | 0.037775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-4_0_3_line_41 |  | 35 | 38 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_587-4_0_3_line_42 |  | 37 | 39 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-4_0_3_line_43 |  | 37 | 40 | 0.052181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-4_0_3_line_44 |  | 39 | 55 | 0.17328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_587-4_0_3_line_45 |  | 40 | 69 | 0.032673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_587-4_0_3_line_46 |  | 41 | 42 | 0.082707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_587-4_0_3_line_47 |  | 41 | 43 | 0.068669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_587-4_0_3_line_48 |  | 42 | 44 | 0.066222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_587-4_0_3_line_49 |  | 43 | 45 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_587-4_0_3_line_50 |  | 43 | 46 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_587-4_0_3_line_51 |  | 45 | 47 | 0.095907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_587-4_0_3_line_52 |  | 46 | 48 | 0.061842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_587-4_0_3_line_53 |  | 47 | 51 | 0.028295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_587-4_0_3_line_54 |  | 48 | 52 | 0.0031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_587-4_0_3_line_55 |  | 49 | 50 | 0.096951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_587-4_0_3_line_56 |  | 50 | 58 | 0.058242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-4_0_3_line_57 |  | 51 | 53 | 0.008536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_587-4_0_3_line_58 |  | 51 | 54 | 0.046902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-4_0_3_line_59 |  | 51 | 55 | 0.068059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_587-4_0_3_line_60 |  | 52 | 70 | 0.031935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-4_0_3_line_61 |  | 53 | 56 | 0.057286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_587-4_0_3_line_62 |  | 53 | 57 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-4_0_3_line_63 |  | 58 | 73 | 0.058967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_587-4_0_3_line_64 |  | 59 | 60 | 0.066681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-4_0_3_line_65 |  | 59 | 61 | 0.29161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_587-4_0_3_line_66 |  | 60 | 67 | 0.028584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-4_0_3_line_67 |  | 60 | 68 | 0.003485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-4_0_3_line_68 |  | 61 | 62 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-4_0_3_line_69 |  | 62 | 66 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-4_0_3_line_70 |  | 63 | 64 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-4_0_3_line_71 |  | 68 | 72 | 0.045224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-4_0_3_line_72 |  | 70 | 71 | 0.0096411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-4_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 74 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44
0 | 2631515.8675 | 1169460.8802 | 2631517.3237 | 1169467.7247 | 2631523.1757 | 1169468.0333 | 2631516.7264 | 1169475.1143
1 | 2631554.5593 | 1169500.848 | 2631549.7301 | 1169502.4791 | 2631545.6337 | 1169500.0897 | 2631542.879 | 1169489.9034 | 2631546.5279 | 1169482.7855 | 2631534.6837 | 1169485.5693 | 2631545.46 | 1169469.0284 | 2631537.2452 | 1169471.331 | 2631529.0906 | 1169472.3777 | 2631516.7264 | 1169475.1143
2 | 2631515.8675 | 1169460.8802 | 2631511.112 | 1169457.209 | 2631503.2451 | 1169438.4026 | 2631490.5174 | 1169449.1637
3 | 2631554.5593 | 1169500.848 | 2631562.0671 | 1169500.5539 | 2631564.8401 | 1169501.4356 | 2631567.7145 | 1169510.6777 | 2631564.6187 | 1169517.3649 | 2631561.1893 | 1169522.0159 | 2631558.9793 | 1169524.6723 | 2631559.5402 | 1169527.1543 | 2631578.0278 | 1169525.4838 | 2631583.8688 | 1169522.035 | 2631585.4783 | 1169512.7831 | 2631611.4753 | 1169494.5214 | 2631611.9508 | 1169501.6053 | 2631615.2042 | 1169507.1475 | 2631615.159 | 1169515.7405 | 2631613.4763 | 1169522.8909 | 2631611.8163 | 1169527.1733 | 2631611.7991 | 1169530.4526 | 2631615.684 | 1169532.3073 | 2631622.2522 | 1169531.7305 | 2631630.686 | 1169528.5065 | 2631633.5759 | 1169526.0649 | 2631638.938 | 1169520.568 | 2631643.2684 | 1169516.2886 | 2631646.7823 | 1169511.6047 | 2631652.7556 | 1169507.7452 | 2631660.9861 | 1169503.9088 | 2631670.6529 | 1169500.4801 | 2631678.6661 | 1169498.677 | 2631687.0891 | 1169496.0644 | 2631694.4956 | 1169493.2353 | 2631701.491 | 1169490.0039 | 2631709.105 | 1169485.5417 | 2631712.4754 | 1169481.9687 | 2631722.3673 | 1169477.941 | 2631734.1074 | 1169471.6998 | 2631738.7093 | 1169476.9045 | 2631745.4312 | 1169486.3448 | 2631750.946 | 1169491.0875 | 2631758.3712 | 1169491.9604 | 2631759.9572 | 1169500.262 | 2631753.3571 | 1169506.8861 | 2631745.4877 | 1169514.7819 | 2631756.8508 | 1169519.0552 | 2631763.1211 | 1169521.2895
4 | 2631490.5174 | 1169449.1637 | 2631485.3324 | 1169454.4393
5 | 2631582.6037 | 1169657.987 | 2631586.0991 | 1169659.7063 | 2631590.5466 | 1169662.2531 | 2631593.9994 | 1169657.5022 | 2631597.3977 | 1169654.3962 | 2631629.4022 | 1169629.9963 | 2631635.2994 | 1169624.6023 | 2631645.4998 | 1169612.8055 | 2631649.0004 | 1169607.699 | 2631653.2034 | 1169600.0061 | 2631679.9037 | 1169538.2705 | 2631687.8681 | 1169523.9273 | 2631702.8636 | 1169517.025 | 2631725.5295 | 1169513.8206 | 2631745.4877 | 1169514.7819 | 2631756.8508 | 1169519.0552 | 2631763.1211 | 1169521.2895
6 | 2631763.1211 | 1169521.2895 | 2631769.8851 | 1169522.737 | 2631793.6099 | 1169521.8731 | 2631805.2321 | 1169516.2205
7 | 2631798.1696 | 1169423.6245 | 2631794.9399 | 1169430.989 | 2631795.365 | 1169444.6538 | 2631797.0236 | 1169456.5798 | 2631801.6635 | 1169466.1425 | 2631807.0812 | 1169473.3304 | 2631812.9687 | 1169481.3768 | 2631815.8839 | 1169490.0856
8 | 2631798.1696 | 1169423.6245 | 2631779.4395 | 1169382.7934 | 2631776.0162 | 1169368.8682 | 2631775.6539 | 1169359.2502 | 2631775.8646 | 1169349.7798 | 2631794.3628 | 1169305.6993 | 2631798.4676 | 1169294.9266 | 2631798.764 | 1169277.9528 | 2631790.9269 | 1169253.6322 | 2631788.1048 | 1169243.8897
9 | 2631815.8839 | 1169490.0856 | 2631813.4633 | 1169503.602 | 2631805.2321 | 1169516.2205
10 | 2631781.7013 | 1169221.7832 | 2631788.1048 | 1169243.8897
11 | 2631582.6037 | 1169657.987 | 2631571.6686 | 1169642.1771 | 2631570.1197 | 1169639.89
12 | 2631873.3325 | 1169249.1326 | 2631860.5404 | 1169251.6106 | 2631856.6922 | 1169250.0227 | 2631853.4015 | 1169247.1927 | 2631840.5314 | 1169229.7378 | 2631829.2916 | 1169216.5271 | 2631819.6602 | 1169207.3715 | 2631811.0431 | 1169197.4097 | 2631798.6113 | 1169188.1726 | 2631793.3021 | 1169185.0318 | 2631788.2438 | 1169185.0717 | 2631777.522 | 1169186.7493 | 2631772.1019 | 1169188.6438
13 | 2631873.3325 | 1169249.1326 | 2631862.9101 | 1169213.0811 | 2631862.4924 | 1169208.724
14 | 2631772.1019 | 1169188.6438 | 2631767.9152 | 1169178.7055 | 2631767.5664 | 1169177.9121
15 | 2631772.1019 | 1169188.6438 | 2631781.7013 | 1169221.7832
16 | 2631862.4924 | 1169208.724 | 2631861.3439 | 1169196.7422 | 2631863.5571 | 1169179.0671 | 2631871.085 | 1169162.0982 | 2631875.0486 | 1169157.7181
17 | 2631994.0389 | 1169248.5286 | 2631994.7311 | 1169242.1068 | 2631994.3677 | 1169234.1896 | 2632002.6857 | 1169228.3976 | 2632012.5865 | 1169219.9459 | 2632017.8922 | 1169210.8028
18 | 2632017.8922 | 1169210.8028 | 2632012.6632 | 1169205.5389 | 2632003.5179 | 1169195.6741 | 2631981.3047 | 1169173.9448 | 2631970.2484 | 1169153.5867 | 2631959.8433 | 1169134.5438 | 2631954.6392 | 1169124.5778 | 2631954.1571 | 1169123.147
19 | 2631994.0389 | 1169248.5286 | 2632001.8709 | 1169246.3358 | 2632013.0999 | 1169252.8767 | 2632050.9942 | 1169284.1834 | 2632082.4001 | 1169305.3061 | 2632117.0923 | 1169335.2649
20 | 2631954.1571 | 1169123.147 | 2631952.7182 | 1169118.8757 | 2631945.5856 | 1169116.1364 | 2631933.6644 | 1169115.962 | 2631932.4565 | 1169116.0295
21 | 2632117.0923 | 1169335.2649 | 2632123.5918 | 1169340.8776 | 2632151.191 | 1169359.9448
22 | 2632162.0252 | 1169395.6444 | 2632179.8316 | 1169386.9796 | 2632194.0846 | 1169383.1317
23 | 2632162.0252 | 1169395.6444 | 2632154.8696 | 1169395.8618 | 2632143.4523 | 1169400.292 | 2632123.1855 | 1169406.9093 | 2632110.2222 | 1169407.118 | 2632083.8202 | 1169404.8315 | 2632071.9829 | 1169404.8239 | 2632046.8263 | 1169407.1911
24 | 2632194.0846 | 1169383.1317 | 2632158.9279 | 1169365.29 | 2632151.191 | 1169359.9448
25 | 2632041.9509 | 1169407.3306 | 2632046.8263 | 1169407.1911
26 | 2632363.944 | 1169194.1281 | 2632337.704 | 1169210.154
27 | 2632318.9514 | 1169221.6071 | 2632337.704 | 1169210.154
28 | 2632314.1094 | 1169214.155 | 2632318.9514 | 1169221.6071
29 | 2632314.1094 | 1169214.155 | 2632303.2716 | 1169196.0987 | 2632295.5129 | 1169184.3611
30 | 2632314.1094 | 1169214.155 | 2632282.5408 | 1169249.9905
31 | 2632278.3825 | 1169158.4457 | 2632295.5129 | 1169184.3611
32 | 2632214.9486 | 1169270.8079 | 2632216.8627 | 1169272.0299 | 2632222.963 | 1169274.5749 | 2632230.4708 | 1169275.7825 | 2632246.2414 | 1169275.8225 | 2632252.3875 | 1169275.522 | 2632256.7617 | 1169274.6117 | 2632260.4821 | 1169272.8974 | 2632263.912 | 1169271.1371 | 2632282.5408 | 1169249.9905
33 | 2632260.7235 | 1169126.1198 | 2632255.1725 | 1169113.882
34 | 2632244.6614 | 1169082.4481 | 2632251.3788 | 1169105.5181 | 2632255.1725 | 1169113.882
35 | 2632277.8738 | 1169157.687 | 2632269.0756 | 1169144.5331 | 2632260.7235 | 1169126.1198
36 | 2632244.6614 | 1169082.4481 | 2632230.2818 | 1169082.6378 | 2632182.5442 | 1169081.309
37 | 2632244.6614 | 1169082.4481 | 2632241.8829 | 1169061.9655
38 | 2632278.3825 | 1169158.4457 | 2632277.8738 | 1169157.687
39 | 2632262.0538 | 1169162.538 | 2632277.8738 | 1169157.687
40 | 2632145.2396 | 1169076.0016 | 2632171.9268 | 1169081.0135 | 2632182.5442 | 1169081.309
41 | 2632278.3825 | 1169158.4457 | 2632295.2019 | 1169150.4962
42 | 2632145.2396 | 1169076.0016 | 2632135.7776 | 1169072.5069
43 | 2632145.2396 | 1169076.0016 | 2632149.0261 | 1169086.2715 | 2632154.8085 | 1169096.7856 | 2632164.3288 | 1169110.9215 | 2632167.9012 | 1169122.58
44 | 2632135.7776 | 1169072.5069 | 2632113.4154 | 1169064.2478 | 2632062.3043 | 1169051.6242 | 2632045.5308 | 1169048.7 | 2632023.9056 | 1169047.2175 | 2632011.6958 | 1169046.6077 | 2631992.8028 | 1169055.1449 | 2631982.5789 | 1169063.8506 | 2631972.5808 | 1169069.9335
45 | 2632168.5759 | 1169155.2448 | 2632168.2542 | 1169133.8321 | 2632167.9012 | 1169122.58
46 | 2632019.5448 | 1168993.8557 | 2631983.7676 | 1169004.3931 | 2631964.3331 | 1169006.8021 | 2631944.7435 | 1169006.7202 | 2631938.5773 | 1169005.7805
47 | 2631882.7579 | 1168978.1768 | 2631888.0724 | 1168977.4601 | 2631899.3843 | 1168997.3414 | 2631903.0526 | 1168999.6843 | 2631908.3172 | 1169001.1685 | 2631938.5773 | 1169005.7805
48 | 2632019.5448 | 1168993.8557 | 2632015.5282 | 1168973.5795 | 2632018.679 | 1168959.5669 | 2632034.8924 | 1168932.9227
49 | 2631885.4888 | 1168991.3424 | 2631882.7579 | 1168978.1768
50 | 2631882.7579 | 1168978.1768 | 2631880.9454 | 1168966.1893
51 | 2631885.4888 | 1168991.3424 | 2631888.025 | 1169002.2726 | 2631899.3639 | 1169051.6692 | 2631901.305 | 1169059.3723 | 2631904.8398 | 1169068.1289 | 2631914.0973 | 1169081.9301
52 | 2631880.9454 | 1168966.1893 | 2631876.4145 | 1168936.2216 | 2631878.1466 | 1168919.8557 | 2631883.3031 | 1168905.6886
53 | 2631918.6102 | 1169109.1897 | 2631919.117 | 1169100.1989 | 2631916.8658 | 1169086.0575 | 2631914.0973 | 1169081.9301
54 | 2631884.3901 | 1168902.7022 | 2631884.3901 | 1168902.7022 | 2631883.3031 | 1168905.6886
55 | 2631719.0031 | 1169071.3034 | 2631722.1765 | 1169068.83 | 2631716.3969 | 1169035.8715 | 2631729.8241 | 1169018.967 | 2631746.545 | 1169001.4684 | 2631748.6751 | 1168987.9605
56 | 2631719.0031 | 1169071.3034 | 2631727.3485 | 1169086.4107 | 2631743.8393 | 1169123.9296
57 | 2631918.6102 | 1169109.1897 | 2631915.1558 | 1169116.9976
58 | 2631918.6102 | 1169109.1897 | 2631878.6493 | 1169133.9238
59 | 2631918.6102 | 1169109.1897 | 2631929.9431 | 1169100.5454 | 2631941.3902 | 1169097.7825 | 2631964.0848 | 1169075.1025 | 2631972.5808 | 1169069.9335
60 | 2631884.3901 | 1168902.7022 | 2631908.3168 | 1168881.5516 | 2631908.3168 | 1168881.5516
61 | 2631915.1558 | 1169116.9976 | 2631907.7325 | 1169125.785 | 2631894.6963 | 1169139.6229 | 2631881.407 | 1169150.6915 | 2631875.0486 | 1169157.7181
62 | 2631915.1558 | 1169116.9976 | 2631932.4565 | 1169116.0295
63 | 2631743.8393 | 1169123.9296 | 2631767.5664 | 1169177.9121
64 | 2632270.7752 | 1169298.3546 | 2632268.382 | 1169295.1512 | 2632257.4012 | 1169289.4894 | 2632256.4037 | 1169288.5725 | 2632249.7689 | 1169281.5333 | 2632247.6308 | 1169280.6992 | 2632225.0105 | 1169278.0433 | 2632214.9896 | 1169274.5767 | 2632214.9486 | 1169270.8079
65 | 2632187.1296 | 1169311.5577 | 2632178.9988 | 1169309.5354 | 2632168.7254 | 1169304.6557 | 2632164.3205 | 1169301.2971 | 2632161.193 | 1169298.0342 | 2632156.7447 | 1169289.9174 | 2632152.5917 | 1169279.5232 | 2632144.1071 | 1169267.794 | 2632128.8925 | 1169246.7686 | 2632116.4852 | 1169230.1939 | 2632107.1634 | 1169217.6043 | 2632104.8107 | 1169213.9454 | 2632104.9075 | 1169205.8529 | 2632106.0419 | 1169199.7669 | 2632109.0405 | 1169194.2245 | 2632113.0199 | 1169191.3109 | 2632117.0322 | 1169190.821 | 2632120.9699 | 1169192.8431 | 2632123.3274 | 1169197.0245 | 2632126.0422 | 1169203.0643 | 2632128.6597 | 1169208.7034 | 2632131.7604 | 1169212.6998 | 2632137.1799 | 1169216.653 | 2632144.2203 | 1169219.4142 | 2632161.4729 | 1169224.2423 | 2632168.3346 | 1169230.371 | 2632174.1153 | 1169236.8941 | 2632178.7687 | 1169240.9989 | 2632189.0383 | 1169246.6123 | 2632208.3529 | 1169265.0251 | 2632212.4931 | 1169269.2384 | 2632214.9486 | 1169270.8079
66 | 2632270.7752 | 1169298.3546 | 2632274.6538 | 1169298.531 | 2632280.6356 | 1169297.4848 | 2632281.202 | 1169296.0315 | 2632280.3365 | 1169294.7707 | 2632270.7402 | 1169293.4741 | 2632267.764 | 1169291.9685 | 2632267.4028 | 1169289.4097
67 | 2632270.7752 | 1169298.3546 | 2632269.7091 | 1169301.6728
68 | 2632187.1296 | 1169311.5577 | 2632198.9511 | 1169314.5669
69 | 2632198.9511 | 1169314.5669 | 2632204.0091 | 1169313.1266 | 2632204.5778 | 1169308.3939 | 2632203.7754 | 1169305.3213
70 | 2632041.9509 | 1169407.3306 | 2632025.8724 | 1169407.7909 | 2632023.9643 | 1169407.5318
71 | 2632269.7091 | 1169301.6728 | 2632267.2016 | 1169302.6598 | 2632263.9158 | 1169301.8084 | 2632252.1546 | 1169291.8514 | 2632249.9225 | 1169289.994 | 2632246.0267 | 1169288.7503 | 2632233.5092 | 1169288.5275 | 2632229.3074 | 1169288.8235
72 | 2631916.767 | 1168876.9099 | 2631908.3168 | 1168881.5516

## bus_geodata
| x | y | coords
0 | 2631516.7264 | 1169475.1143
1 | 2631515.8675 | 1169460.8802
2 | 2631554.5593 | 1169500.848
3 | 2631490.5174 | 1169449.1637
4 | 2631763.1211 | 1169521.2895
5 | 2631485.3324 | 1169454.4393
6 | 2631798.1696 | 1169423.6245
7 | 2631815.8839 | 1169490.0856
8 | 2631788.1048 | 1169243.8897
9 | 2631805.2321 | 1169516.2205
10 | 2631582.6037 | 1169657.987
11 | 2631570.1197 | 1169639.89
12 | 2631873.3325 | 1169249.1326
13 | 2631772.1019 | 1169188.6438
14 | 2631862.4924 | 1169208.724
15 | 2631781.7013 | 1169221.7832
16 | 2632017.8922 | 1169210.8028
17 | 2631994.0389 | 1169248.5286
18 | 2631954.1571 | 1169123.147
19 | 2632117.0923 | 1169335.2649
20 | 2632162.0252 | 1169395.6444
21 | 2632194.0846 | 1169383.1317
22 | 2632046.8263 | 1169407.1911
23 | 2632363.944 | 1169194.1281
24 | 2632337.704 | 1169210.154
25 | 2632318.9514 | 1169221.6071
26 | 2632314.1094 | 1169214.155
27 | 2632295.5129 | 1169184.3611
28 | 2632282.5408 | 1169249.9905
29 | 2632255.1725 | 1169113.882
30 | 2632260.7235 | 1169126.1198
31 | 2632244.6614 | 1169082.4481
32 | 2632277.8738 | 1169157.687
33 | 2632182.5442 | 1169081.309
34 | 2632241.8829 | 1169061.9655
35 | 2632278.3825 | 1169158.4457
36 | 2632262.0538 | 1169162.538
37 | 2632145.2396 | 1169076.0016
38 | 2632295.2019 | 1169150.4962
39 | 2632135.7776 | 1169072.5069
40 | 2632167.9012 | 1169122.58
41 | 2631938.5773 | 1169005.7805
42 | 2632019.5448 | 1168993.8557
43 | 2631882.7579 | 1168978.1768
44 | 2632034.8924 | 1168932.9227
45 | 2631885.4888 | 1168991.3424
46 | 2631880.9454 | 1168966.1893
47 | 2631914.0973 | 1169081.9301
48 | 2631883.3031 | 1168905.6886
49 | 2631748.6751 | 1168987.9605
50 | 2631719.0031 | 1169071.3034
51 | 2631918.6102 | 1169109.1897
52 | 2631884.3901 | 1168902.7022
53 | 2631915.1558 | 1169116.9976
54 | 2631878.6493 | 1169133.9238
55 | 2631972.5808 | 1169069.9335
56 | 2631875.0486 | 1169157.7181
57 | 2631932.4565 | 1169116.0295
58 | 2631743.8393 | 1169123.9296
59 | 2632214.9486 | 1169270.8079
60 | 2632270.7752 | 1169298.3546
61 | 2632187.1296 | 1169311.5577
62 | 2632198.9511 | 1169314.5669
63 | 2632023.9643 | 1169407.5318
64 | 2632041.9509 | 1169407.3306
65 | 2632151.191 | 1169359.9448
66 | 2632203.7754 | 1169305.3213
67 | 2632267.4028 | 1169289.4097
68 | 2632269.7091 | 1169301.6728
69 | 2632168.5759 | 1169155.2448
70 | 2631908.3168 | 1168881.5516
71 | 2631916.767 | 1168876.9099
72 | 2632229.3074 | 1169288.8235
73 | 2631767.5664 | 1169177.9121
74 | 2631918.6102 | 1169109.1897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1