## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-5_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_587-5_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_587-5_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_587-5_1_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_587-5_1_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_587-5_1_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_587-5_1_4_node_137 | 0.4 | n |  | TRUE
7 | bus_LV_587-5_1_4_node_126 | 0.4 | n |  | TRUE
8 | bus_LV_587-5_1_4_node_123 | 0.4 | n |  | TRUE
9 | bus_LV_587-5_1_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_587-5_1_4_node_146 | 0.4 | n |  | TRUE
11 | bus_LV_587-5_1_4_node_210 | 0.4 | n |  | TRUE
12 | bus_LV_587-5_1_4_node_207 | 0.4 | n |  | TRUE
13 | bus_LV_587-5_1_4_node_124 | 0.4 | n |  | TRUE
14 | bus_LV_587-5_1_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_587-5_1_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_587-5_1_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_587-5_1_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_587-5_1_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_587-5_1_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_587-5_1_4_node_114 | 0.4 | n |  | TRUE
21 | bus_LV_587-5_1_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_587-5_1_4_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_587-5_1_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_587-5_1_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_587-5_1_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_587-5_1_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_587-5_1_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_587-5_1_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_587-5_1_4_node_129 | 0.4 | n |  | TRUE
30 | bus_LV_587-5_1_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_587-5_1_4_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_587-5_1_4_node_120 | 0.4 | n |  | TRUE
33 | bus_LV_587-5_1_4_node_134 | 0.4 | n |  | TRUE
34 | bus_LV_587-5_1_4_node_139 | 0.4 | n |  | TRUE
35 | bus_LV_587-5_1_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_587-5_1_4_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_587-5_1_4_node_119 | 0.4 | n |  | TRUE
38 | bus_LV_587-5_1_4_node_135 | 0.4 | n |  | TRUE
39 | bus_LV_587-5_1_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_587-5_1_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_587-5_1_4_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_587-5_1_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_587-5_1_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_587-5_1_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_587-5_1_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_587-5_1_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_587-5_1_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_587-5_1_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_587-5_1_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_587-5_1_4_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_587-5_1_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_587-5_1_4_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_587-5_1_4_node_103 | 0.4 | n |  | TRUE
54 | bus_LV_587-5_1_4_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_587-5_1_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_587-5_1_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_587-5_1_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_587-5_1_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_587-5_1_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_587-5_1_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_587-5_1_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_587-5_1_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_587-5_1_4_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_587-5_1_4_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_587-5_1_4_node_138 | 0.4 | n |  | TRUE
66 | bus_LV_587-5_1_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_587-5_1_4_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_587-5_1_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_587-5_1_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_587-5_1_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_587-5_1_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_587-5_1_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_587-5_1_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_587-5_1_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_587-5_1_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_587-5_1_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_587-5_1_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_587-5_1_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_587-5_1_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_587-5_1_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_587-5_1_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_587-5_1_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_587-5_1_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_587-5_1_4_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_587-5_1_4_node_118 | 0.4 | n |  | TRUE
86 | bus_LV_587-5_1_4_node_142 | 0.4 | n |  | TRUE
87 | bus_LV_587-5_1_4_node_115 | 0.4 | n |  | TRUE
88 | bus_LV_587-5_1_4_node_140 | 0.4 | n |  | TRUE
89 | bus_LV_587-5_1_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_587-5_1_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_587-5_1_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_587-5_1_4_node_131 | 0.4 | n |  | TRUE
93 | bus_LV_587-5_1_4_node_132 | 0.4 | n |  | TRUE
94 | bus_LV_587-5_1_4_node_184 | 0.4 | n |  | TRUE
95 | bus_LV_587-5_1_4_node_125 | 0.4 | n |  | TRUE
96 | bus_LV_587-5_1_4_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_587-5_1_4_node_111 | 0.4 | n |  | TRUE
98 | bus_LV_587-5_1_4_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_587-5_1_4_node_121 | 0.4 | n |  | TRUE
100 | bus_LV_587-5_1_4_node_122 | 0.4 | n |  | TRUE
101 | bus_LV_587-5_1_4_node_182 | 0.4 | n |  | TRUE
102 | bus_LV_587-5_1_4_node_183 | 0.4 | n |  | TRUE
103 | bus_LV_587-5_1_4_node_208 | 0.4 | n |  | TRUE
104 | bus_LV_587-5_1_4_node_206 | 0.4 | n |  | TRUE
105 | bus_LV_587-5_1_4_node_136 | 0.4 | n |  | TRUE
106 | bus_LV_587-5_1_4_node_133 | 0.4 | n |  | TRUE
107 | bus_LV_587-5_1_4_node_149 | 0.4 | n |  | TRUE
108 | bus_LV_587-5_1_4_node_145 | 0.4 | n |  | TRUE
109 | bus_LV_587-5_1_4_node_141 | 0.4 | n |  | TRUE
110 | bus_LV_587-5_1_4_node_180 | 0.4 | n |  | TRUE
111 | bus_LV_587-5_1_4_node_143 | 0.4 | n |  | TRUE
112 | bus_LV_587-5_1_4_node_144 | 0.4 | n |  | TRUE
113 | bus_LV_587-5_1_4_node_150 | 0.4 | n |  | TRUE
114 | bus_LV_587-5_1_4_node_205 | 0.4 | n |  | TRUE
115 | bus_MV_83_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-5_1_4_load_4 | 0 | 0.0025438 | 0.00063754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-5_1_4_load_5 | 1 | 0.0022452 | 0.00056269 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-5_1_4_load_9 | 5 | 0.001439 | 0.00036065 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-5_1_4_load_126 | 7 | 0.0066107 | 0.0016568 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-5_1_4_load_123 | 8 | 0.001442 | 0.0003614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-5_1_4_load_48 | 9 | 0.0012908 | 0.0003235 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-5_1_4_load_210 | 11 | 0.0067291 | 0.0016865 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-5_1_4_load_14 | 14 | 0.0026632 | 0.00066747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-5_1_4_load_15 | 15 | 0.0022618 | 0.00056686 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-5_1_4_load_16 | 16 | 0.0030051 | 0.00075314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-5_1_4_load_17 | 17 | 0.0018793 | 0.000471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-5_1_4_load_18 | 18 | 0.0023052 | 0.00057775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-5_1_4_load_60 | 19 | 0.0015063 | 0.00037752 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-5_1_4_load_114 | 20 | 0.0035935 | 0.00090062 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-5_1_4_load_59 | 21 | 0.0023817 | 0.00059691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-5_1_4_load_112 | 22 | 0.0028537 | 0.0007152 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-5_1_4_load_19 | 23 | 0.0087982 | 0.002205 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-5_1_4_load_20 | 25 | 0.0043244 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-5_1_4_load_24 | 28 | 0.0090002 | 0.0022557 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-5_1_4_load_129 | 29 | 0.003903 | 0.00097818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-5_1_4_load_39 | 30 | 0.0030494 | 0.00076424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-5_1_4_load_90 | 31 | 0.0090874 | 0.0022775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-5_1_4_load_120 | 32 | 0.0026083 | 0.0006537 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-5_1_4_load_134 | 33 | 0.0086669 | 0.0021721 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-5_1_4_load_139 | 34 | 0.0091925 | 0.0023039 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-5_1_4_load_38 | 35 | 0.0037725 | 0.00094547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-5_1_4_load_119 | 37 | 0.010041 | 0.0025165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-5_1_4_load_135 | 38 | 0.0090814 | 0.002276 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-5_1_4_load_30 | 39 | 0.002524 | 0.00063256 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-5_1_4_load_100 | 41 | 0.0020702 | 0.00051883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-5_1_4_load_31 | 43 | 0.0060407 | 0.0015139 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-5_1_4_load_32 | 44 | 0.0035903 | 0.00089982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-5_1_4_load_34 | 46 | 0.0028185 | 0.00070638 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-5_1_4_load_35 | 47 | 0.002629 | 0.00065888 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-5_1_4_load_36 | 48 | 0.0034782 | 0.00087172 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-5_1_4_load_69 | 49 | 0.0023256 | 0.00058286 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-5_1_4_load_62 | 51 | 0.0013354 | 0.00033468 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-5_1_4_load_105 | 52 | 0.0018252 | 0.00045744 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-5_1_4_load_104 | 54 | 0.0030581 | 0.00076642 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-5_1_4_load_79 | 55 | 0.0042313 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-5_1_4_load_99 | 56 | 0.0031099 | 0.00077942 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-5_1_4_load_42 | 57 | 0.0019377 | 0.00048562 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-5_1_4_load_43 | 58 | 0.0010859 | 0.00027215 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-5_1_4_load_45 | 60 | 0.0017334 | 0.00043444 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_587-5_1_4_load_46 | 61 | 0.0011295 | 0.00028307 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_587-5_1_4_load_47 | 62 | 0.00088811 | 0.00022258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_587-5_1_4_load_91 | 63 | 0.0014149 | 0.0003546 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_587-5_1_4_load_117 | 64 | 0.0012595 | 0.00031567 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_587-5_1_4_load_138 | 65 | 0.0029597 | 0.00074177 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_587-5_1_4_load_93 | 66 | 0.0015831 | 0.00039677 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_587-5_1_4_load_102 | 67 | 0.004785 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_587-5_1_4_load_54 | 68 | 0.0026626 | 0.00066732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_587-5_1_4_load_55 | 69 | 0.0031662 | 0.00079354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_587-5_1_4_load_57 | 71 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_587-5_1_4_load_58 | 72 | 0.0012575 | 0.00031515 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_587-5_1_4_load_86 | 74 | 0.0038573 | 0.00096674 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_587-5_1_4_load_80 | 75 | 0.0080421 | 0.0020155 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_587-5_1_4_load_76 | 76 | 0.0011718 | 0.00029367 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_587-5_1_4_load_61 | 77 | 0.0011012 | 0.00027598 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_587-5_1_4_load_63 | 78 | 0.00046251 | 0.00011592 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_587-5_1_4_load_64 | 79 | 0.0031304 | 0.00078456 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_587-5_1_4_load_66 | 81 | 0.0031279 | 0.00078393 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_587-5_1_4_load_67 | 82 | 0.00028472 | 7.1358e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_587-5_1_4_load_130 | 84 | 0.0011504 | 0.00028831 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_587-5_1_4_load_118 | 85 | 0.0033063 | 0.00082863 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_587-5_1_4_load_142 | 86 | 0.00028975 | 7.2618e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_587-5_1_4_load_115 | 87 | 0.0015412 | 0.00038626 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_587-5_1_4_load_140 | 88 | 0.00039204 | 9.8255e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_587-5_1_4_load_77 | 89 | 0.0033503 | 0.00083965 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_587-5_1_4_load_87 | 90 | 0.0019393 | 0.00048604 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_587-5_1_4_load_89 | 91 | 0.0017849 | 0.00044733 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_587-5_1_4_load_131 | 92 | 0.0019543 | 0.00048979 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_587-5_1_4_load_132 | 93 | 0.0037461 | 0.00093886 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_587-5_1_4_load_184 | 94 | 0.0020925 | 0.00052443 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_587-5_1_4_load_101 | 96 | 0.0029029 | 0.00072755 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_587-5_1_4_load_111 | 97 | 0.0024622 | 0.00061708 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_587-5_1_4_load_113 | 98 | 0.0018361 | 0.00046018 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_587-5_1_4_load_121 | 99 | 0.011792 | 0.0029553 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_587-5_1_4_load_122 | 100 | 0.0072482 | 0.0018166 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_587-5_1_4_load_182 | 101 | 0.0075869 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_587-5_1_4_load_183 | 102 | 0.0075746 | 0.0018984 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_587-5_1_4_load_208 | 103 | 0.0086958 | 0.0021794 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_587-5_1_4_load_206 | 104 | 0.0066088 | 0.0016563 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_587-5_1_4_load_136 | 105 | 0.0090476 | 0.0022675 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_587-5_1_4_load_133 | 106 | 0.0037289 | 0.00093455 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_587-5_1_4_load_145 | 108 | 0.0067234 | 0.001685 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_587-5_1_4_load_141 | 109 | 0.0038688 | 0.00096961 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_587-5_1_4_load_180 | 110 | 0.00062491 | 0.00015662 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_587-5_1_4_load_143 | 111 | 0.0067267 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_587-5_1_4_load_144 | 112 | 0.0067199 | 0.0016842 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_587-5_1_4_load_150 | 113 | 0.0086967 | 0.0021796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 93 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-5_1_4_line_0 |  | 0 | 1 | 0.020223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-5_1_4_line_1 |  | 1 | 2 | 0.041016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-5_1_4_line_2 |  | 2 | 6 | 0.037332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-5_1_4_line_3 |  | 3 | 4 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-5_1_4_line_4 |  | 3 | 5 | 0.015094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-5_1_4_line_5 |  | 4 | 7 | 0.017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-5_1_4_line_6 |  | 4 | 8 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-5_1_4_line_7 |  | 5 | 9 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-5_1_4_line_8 |  | 6 | 10 | 0.041996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-5_1_4_line_9 |  | 6 | 11 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-5_1_4_line_10 |  | 7 | 12 | 0.012212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-5_1_4_line_11 |  | 8 | 13 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-5_1_4_line_12 |  | 10 | 107 | 0.003425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_587-5_1_4_line_13 |  | 10 | 108 | 0.018823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_587-5_1_4_line_14 |  | 12 | 103 | 0.023342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_587-5_1_4_line_15 |  | 12 | 104 | 0.00072182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-5_1_4_line_16 |  | 13 | 95 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_587-5_1_4_line_17 |  | 13 | 100 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-5_1_4_line_18 |  | 14 | 15 | 0.0087406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-5_1_4_line_19 |  | 14 | 16 | 0.0071808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-5_1_4_line_20 |  | 15 | 17 | 0.00036649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-5_1_4_line_21 |  | 16 | 18 | 0.0081008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-5_1_4_line_22 |  | 17 | 19 | 0.0043357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-5_1_4_line_23 |  | 18 | 20 | 0.0091261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-5_1_4_line_24 |  | 19 | 21 | 0.0084728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-5_1_4_line_25 |  | 20 | 22 | 0.004655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-5_1_4_line_26 |  | 21 | 77 | 0.0023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-5_1_4_line_27 |  | 22 | 97 | 0.0072345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-5_1_4_line_28 |  | 23 | 24 | 0.0048077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-5_1_4_line_29 |  | 24 | 27 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-5_1_4_line_30 |  | 24 | 28 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-5_1_4_line_31 |  | 25 | 26 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-5_1_4_line_32 |  | 26 | 29 | 0.017048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-5_1_4_line_33 |  | 26 | 30 | 0.0086569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-5_1_4_line_34 |  | 27 | 31 | 0.014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_587-5_1_4_line_35 |  | 27 | 32 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_587-5_1_4_line_36 |  | 28 | 33 | 0.0068155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-5_1_4_line_37 |  | 29 | 34 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-5_1_4_line_38 |  | 30 | 35 | 0.027148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_587-5_1_4_line_39 |  | 31 | 36 | 0.0058995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_587-5_1_4_line_40 |  | 32 | 37 | 0.030279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-5_1_4_line_41 |  | 33 | 38 | 0.020024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_587-5_1_4_line_42 |  | 34 | 105 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-5_1_4_line_43 |  | 35 | 42 | 0.0076567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-5_1_4_line_44 |  | 36 | 74 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_587-5_1_4_line_45 |  | 36 | 71 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_587-5_1_4_line_46 |  | 37 | 99 | 0.02882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_587-5_1_4_line_47 |  | 38 | 105 | 0.014763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_587-5_1_4_line_48 |  | 39 | 40 | 0.033215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_587-5_1_4_line_49 |  | 40 | 41 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_587-5_1_4_line_50 |  | 40 | 42 | 0.025305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_587-5_1_4_line_51 |  | 41 | 56 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_587-5_1_4_line_52 |  | 43 | 44 | 0.0066517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_587-5_1_4_line_53 |  | 43 | 45 | 0.0026664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_587-5_1_4_line_54 |  | 44 | 46 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_587-5_1_4_line_55 |  | 45 | 47 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_587-5_1_4_line_56 |  | 45 | 48 | 0.0014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-5_1_4_line_57 |  | 46 | 49 | 0.016896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_587-5_1_4_line_58 |  | 47 | 50 | 0.029941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-5_1_4_line_59 |  | 49 | 51 | 0.0075378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_587-5_1_4_line_60 |  | 50 | 52 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-5_1_4_line_61 |  | 51 | 77 | 0.0053985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_587-5_1_4_line_62 |  | 52 | 54 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-5_1_4_line_63 |  | 53 | 54 | 0.0089087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_587-5_1_4_line_64 |  | 53 | 55 | 0.021742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-5_1_4_line_65 |  | 55 | 89 | 0.044184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_587-5_1_4_line_66 |  | 56 | 96 | 0.0034459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-5_1_4_line_67 |  | 57 | 58 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-5_1_4_line_68 |  | 57 | 59 | 0.002746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-5_1_4_line_69 |  | 58 | 60 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-5_1_4_line_70 |  | 59 | 61 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-5_1_4_line_71 |  | 59 | 62 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-5_1_4_line_72 |  | 60 | 63 | 0.0082502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_587-5_1_4_line_73 |  | 61 | 64 | 0.00025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_587-5_1_4_line_74 |  | 62 | 65 | 0.0043785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_587-5_1_4_line_75 |  | 63 | 66 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_587-5_1_4_line_76 |  | 64 | 67 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_587-5_1_4_line_77 |  | 67 | 96 | 0.012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_587-5_1_4_line_78 |  | 68 | 69 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_587-5_1_4_line_79 |  | 68 | 70 | 0.0092817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_587-5_1_4_line_80 |  | 70 | 71 | 0.0040233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_587-5_1_4_line_81 |  | 70 | 72 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_587-5_1_4_line_82 |  | 72 | 73 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_587-5_1_4_line_83 |  | 73 | 75 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_587-5_1_4_line_84 |  | 73 | 76 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_587-5_1_4_line_85 |  | 74 | 90 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_587-5_1_4_line_86 |  | 76 | 89 | 0.033865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_587-5_1_4_line_87 |  | 78 | 79 | 0.049582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_587-5_1_4_line_88 |  | 78 | 80 | 0.020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_587-5_1_4_line_89 |  | 79 | 81 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_587-5_1_4_line_90 |  | 80 | 82 | 0.011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_587-5_1_4_line_91 |  | 80 | 83 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_587-5_1_4_line_92 |  | 81 | 84 | 0.0011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_587-5_1_4_line_93 |  | 82 | 85 | 0.031158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_587-5_1_4_line_94 |  | 83 | 86 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_587-5_1_4_line_95 |  | 84 | 87 | 0.0090809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_587-5_1_4_line_96 |  | 86 | 88 | 0.039045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_587-5_1_4_line_97 |  | 87 | 98 | 0.0021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_587-5_1_4_line_98 |  | 88 | 109 | 0.035952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_587-5_1_4_line_99 |  | 90 | 91 | 0.0060146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_587-5_1_4_line_100 |  | 91 | 92 | 0.0060421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_587-5_1_4_line_101 |  | 92 | 93 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_587-5_1_4_line_102 |  | 93 | 106 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_587-5_1_4_line_103 |  | 94 | 95 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_587-5_1_4_line_104 |  | 95 | 101 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_587-5_1_4_line_105 |  | 97 | 98 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_587-5_1_4_line_106 |  | 99 | 100 | 0.040875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_587-5_1_4_line_107 |  | 101 | 102 | 0.025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_587-5_1_4_line_108 |  | 104 | 114 | 0.019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_587-5_1_4_line_109 |  | 107 | 113 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_587-5_1_4_line_110 |  | 108 | 111 | 0.0022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_587-5_1_4_line_111 |  | 109 | 110 | 0.15996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_587-5_1_4_line_112 |  | 111 | 112 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_587-5_1_4_line_113 |  | 113 | 114 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-5_1_4_trafo_132 | 0.63 MVA 20/0.4 kV | 115 | 93 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2633005.5851 | 1169780.9616 | 2632993.1453 | 1169793.3057 | 2632991.0984 | 1169795.0636
1 | 2632954.0047 | 1169806.5758 | 2632967.828 | 1169807.0629 | 2632979.2539 | 1169805.2357 | 2632991.0984 | 1169795.0636
2 | 2632954.0047 | 1169806.5758 | 2632954.9196 | 1169798.8101 | 2632958.3933 | 1169769.503
3 | 2633034.7283 | 1169746.3542 | 2633042.2389 | 1169734.3782
4 | 2633034.7283 | 1169746.3542 | 2633049.0585 | 1169751.0953
5 | 2633042.2389 | 1169734.3782 | 2633027.4805 | 1169724.4142
6 | 2633042.2389 | 1169734.3782 | 2633050.561 | 1169721.1159
7 | 2633060.9021 | 1169755.0136 | 2633049.0585 | 1169751.0953
8 | 2632958.3933 | 1169769.503 | 2632959.8778 | 1169756.9157 | 2632960.628 | 1169745.6807 | 2632961.5533 | 1169727.6432
9 | 2632958.3933 | 1169769.503 | 2632940.3626 | 1169769.1991
10 | 2633015.2688 | 1169724.4139 | 2633027.4805 | 1169724.4142
11 | 2633057.1367 | 1169710.6367 | 2633050.561 | 1169721.1159
12 | 2632961.5491 | 1169724.2192 | 2632961.5533 | 1169727.6432
13 | 2632961.5533 | 1169727.6432 | 2632942.7313 | 1169727.8507
14 | 2633005.8672 | 1169710.0993 | 2633014.9646 | 1169710.1493 | 2633015.2688 | 1169724.4139
15 | 2633015.2688 | 1169724.4139 | 2633014.547 | 1169724.4142
16 | 2633067.2431 | 1169694.1616 | 2633057.1367 | 1169710.6367
17 | 2633057.1367 | 1169710.6367 | 2633080.8548 | 1169717.2311
18 | 2633130.7695 | 1169867.8239 | 2633130.2215 | 1169867.8865 | 2633122.1163 | 1169866.7173
19 | 2633130.7695 | 1169867.8239 | 2633137.9039 | 1169867.0093
20 | 2633121.7536 | 1169866.665 | 2633122.1163 | 1169866.7173
21 | 2633145.9524 | 1169866.0903 | 2633137.9039 | 1169867.0093
22 | 2633117.4623 | 1169866.0459 | 2633121.7536 | 1169866.665
23 | 2633145.9524 | 1169866.0903 | 2633155.0196 | 1169865.055 | 2633155.0196 | 1169865.055
24 | 2633109.0763 | 1169864.8362 | 2633117.4623 | 1169866.0459
25 | 2633155.0196 | 1169865.055 | 2633159.5573 | 1169864.0168
26 | 2633109.0763 | 1169864.8362 | 2633106.7354 | 1169864.4985
27 | 2633166.6096 | 1169862.4033 | 2633159.5573 | 1169864.0168
28 | 2633204.374 | 1169736.9168 | 2633207.9258 | 1169733.6766
29 | 2633204.374 | 1169736.9168 | 2633186.1165 | 1169751.0011
30 | 2633204.374 | 1169736.9168 | 2633220.7101 | 1169750.9685
31 | 2633241.5101 | 1169703.0378 | 2633228.7107 | 1169714.7146
32 | 2633241.5101 | 1169703.0378 | 2633245.4676 | 1169706.8839 | 2633254.3527 | 1169714.2314
33 | 2633241.5101 | 1169703.0378 | 2633247.9053 | 1169697.2031
34 | 2633186.1165 | 1169751.0011 | 2633174.3713 | 1169760.0766
35 | 2633186.1165 | 1169751.0011 | 2633174.2076 | 1169746.1435
36 | 2633220.7101 | 1169750.9685 | 2633225.8771 | 1169755.4129
37 | 2633254.3527 | 1169714.2314 | 2633260.2058 | 1169719.0717 | 2633255.0781 | 1169726.8106
38 | 2633247.9053 | 1169697.2031 | 2633267.9609 | 1169678.9053
39 | 2633169.7031 | 1169763.6838 | 2633174.3713 | 1169760.0766
40 | 2633146.1712 | 1169734.7076 | 2633174.2076 | 1169746.1435
41 | 2633225.8771 | 1169755.4129 | 2633232.4057 | 1169761.0285 | 2633238.7096 | 1169751.5144
42 | 2633246.8637 | 1169739.2079 | 2633255.0781 | 1169726.8106
43 | 2633273.6172 | 1169673.7447 | 2633267.9609 | 1169678.9053
44 | 2633169.7031 | 1169763.6838 | 2633158.971 | 1169761.4965
45 | 2633169.7031 | 1169763.6838 | 2633167.1136 | 1169765.6816 | 2633164.0323 | 1169768.0547 | 2633148.1419 | 1169777.0113
46 | 2633146.1712 | 1169734.7076 | 2633119.4855 | 1169723.8226
47 | 2633238.7096 | 1169751.5144 | 2633246.8637 | 1169739.2079
48 | 2633269.9529 | 1169648.7115 | 2633265.6376 | 1169615.7783
49 | 2633269.9529 | 1169648.7115 | 2633250.331 | 1169651.8866
50 | 2633269.9529 | 1169648.7115 | 2633273.6172 | 1169673.7447
51 | 2633226.7561 | 1169655.7012 | 2633250.331 | 1169651.8866
52 | 2633058.6484 | 1169859.9158 | 2633051.997 | 1169859.8598
53 | 2633049.3307 | 1169859.8373 | 2633051.997 | 1169859.8598
54 | 2633077.2084 | 1169860.2391 | 2633075.9789 | 1169860.0617 | 2633058.6484 | 1169859.9158
55 | 2633049.3307 | 1169859.8373 | 2633031.5996 | 1169863.1861 | 2633021.23 | 1169864.0311
56 | 2633049.3307 | 1169859.8373 | 2633047.8783 | 1169859.8698
57 | 2633093.9317 | 1169862.6515 | 2633077.2084 | 1169860.2391
58 | 2632991.4292 | 1169864.8109 | 2632999.1361 | 1169865.8315 | 2633021.23 | 1169864.0311
59 | 2633093.9317 | 1169862.6515 | 2633101.3922 | 1169863.7277
60 | 2632991.4292 | 1169864.8109 | 2633002.7515 | 1169859.2841
61 | 2633101.3922 | 1169863.7277 | 2633106.7354 | 1169864.4985
62 | 2633002.7515 | 1169859.2841 | 2633013.8039 | 1169853.889
63 | 2633021.8097 | 1169849.9811 | 2633013.8039 | 1169853.889
64 | 2633021.8097 | 1169849.9811 | 2633040.3801 | 1169838.6733
65 | 2633040.3801 | 1169838.6733 | 2633060.8011 | 1169826.2386 | 2633078.4629 | 1169816.2824
66 | 2633226.7561 | 1169655.7012 | 2633223.3544 | 1169656.2517
67 | 2633146.5914 | 1169668.7519 | 2633146.5914 | 1169668.7519 | 2633161.04 | 1169666.9704
68 | 2633163.7654 | 1169666.6344 | 2633161.04 | 1169666.9704
69 | 2633146.5914 | 1169668.7519 | 2633136.6753 | 1169666.7608
70 | 2633163.7654 | 1169666.6344 | 2633178.8955 | 1169664.1366
71 | 2633163.7654 | 1169666.6344 | 2633169.3297 | 1169682.3017
72 | 2633128.5865 | 1169665.1366 | 2633136.6753 | 1169666.7608
73 | 2633179.1437 | 1169664.0956 | 2633178.8955 | 1169664.1366
74 | 2633170.795 | 1169686.4278 | 2633169.3297 | 1169682.3017
75 | 2633128.5865 | 1169665.1366 | 2633110.3353 | 1169661.4718
76 | 2633210.5621 | 1169658.3216 | 2633179.1437 | 1169664.0956
77 | 2633210.5621 | 1169658.3216 | 2633223.3544 | 1169656.2517
78 | 2633116.9936 | 1169771.842 | 2633135.6506 | 1169776.6641
79 | 2633144.6369 | 1169778.9868 | 2633135.6506 | 1169776.6641
80 | 2633144.6369 | 1169778.9868 | 2633148.1419 | 1169777.0113
81 | 2633144.6369 | 1169778.9868 | 2633129.7325 | 1169787.3845
82 | 2633117.106 | 1169794.4987 | 2633129.7325 | 1169787.3845
83 | 2633117.106 | 1169794.4987 | 2633111.9388 | 1169786.6329 | 2633107.8353 | 1169782.8861 | 2633101.5198 | 1169780.6724
84 | 2633117.106 | 1169794.4987 | 2633107.9635 | 1169799.6525
85 | 2633158.971 | 1169761.4965 | 2633152.8278 | 1169760.2445 | 2633146.4248 | 1169759.316
86 | 2633107.9635 | 1169799.6525 | 2633078.4629 | 1169816.2824
87 | 2633246.9646 | 1169849.3937 | 2633245.3263 | 1169848.6673 | 2633233.3388 | 1169844.132 | 2633222.8486 | 1169842.7956 | 2633210.5999 | 1169845.3849 | 2633199.7797 | 1169850.2871
88 | 2633265.7892 | 1169857.7406 | 2633246.9646 | 1169849.3937
89 | 2633189.0944 | 1169855.1283 | 2633199.7797 | 1169850.2871
90 | 2633265.7892 | 1169857.7406 | 2633271.5636 | 1169848.0258
91 | 2633265.7892 | 1169857.7406 | 2633269.6589 | 1169859.4518 | 2633282.9624 | 1169865.3507
92 | 2633189.0944 | 1169855.1283 | 2633188.0872 | 1169855.5846
93 | 2633287.4837 | 1169821.2419 | 2633271.5636 | 1169848.0258
94 | 2633282.9624 | 1169865.3507 | 2633299.2989 | 1169876.4107
95 | 2633179.8157 | 1169859.3325 | 2633186.2615 | 1169856.4118 | 2633188.0872 | 1169855.5846
96 | 2633332.8803 | 1169896.2075 | 2633313.8723 | 1169886.277 | 2633299.2989 | 1169876.4107
97 | 2633177.7468 | 1169859.8551 | 2633179.5959 | 1169859.4321 | 2633179.8157 | 1169859.3325
98 | 2633332.8803 | 1169896.2075 | 2633364.7456 | 1169912.8552
99 | 2633146.4248 | 1169759.316 | 2633140.4725 | 1169758.4529
100 | 2633134.4929 | 1169757.5858 | 2633140.4725 | 1169758.4529
101 | 2633134.4929 | 1169757.5858 | 2633127.2467 | 1169756.535 | 2633118.5796 | 1169754.9076
102 | 2633118.5796 | 1169754.9076 | 2633107.2433 | 1169752.7789
103 | 2633067.2431 | 1169694.1616 | 2633073.5693 | 1169684.3315
104 | 2633067.2431 | 1169694.1616 | 2633049.3035 | 1169693.6072
105 | 2633177.7468 | 1169859.8551 | 2633166.6096 | 1169862.4033
106 | 2633080.8548 | 1169717.2311 | 2633095.7252 | 1169721.3656 | 2633105.3613 | 1169718.0613 | 2633119.4855 | 1169723.8226
107 | 2633023.4841 | 1169692.8094 | 2633049.3035 | 1169693.6072
108 | 2632994.5486 | 1169724.4224 | 2633014.547 | 1169724.4142
109 | 2632961.5491 | 1169724.2192 | 2632965.0521 | 1169724.4718 | 2632979.006 | 1169724.4484
110 | 2632942.7313 | 1169727.8507 | 2632940.5026 | 1169727.8753
111 | 2633364.7456 | 1169912.8552 | 2633517.0309 | 1169863.9091
112 | 2632940.5026 | 1169727.8753 | 2632928.7219 | 1169728.0052
113 | 2632994.5486 | 1169724.4224 | 2632979.006 | 1169724.4484

## bus_geodata
| x | y | coords
0 | 2633005.5851 | 1169780.9616
1 | 2632991.0984 | 1169795.0636
2 | 2632954.0047 | 1169806.5758
3 | 2633034.7283 | 1169746.3542
4 | 2633042.2389 | 1169734.3782
5 | 2633049.0585 | 1169751.0953
6 | 2632958.3933 | 1169769.503
7 | 2633027.4805 | 1169724.4142
8 | 2633050.561 | 1169721.1159
9 | 2633060.9021 | 1169755.0136
10 | 2632961.5533 | 1169727.6432
11 | 2632940.3626 | 1169769.1991
12 | 2633015.2688 | 1169724.4139
13 | 2633057.1367 | 1169710.6367
14 | 2633130.7695 | 1169867.8239
15 | 2633122.1163 | 1169866.7173
16 | 2633137.9039 | 1169867.0093
17 | 2633121.7536 | 1169866.665
18 | 2633145.9524 | 1169866.0903
19 | 2633117.4623 | 1169866.0459
20 | 2633155.0196 | 1169865.055
21 | 2633109.0763 | 1169864.8362
22 | 2633159.5573 | 1169864.0168
23 | 2633207.9258 | 1169733.6766
24 | 2633204.374 | 1169736.9168
25 | 2633228.7107 | 1169714.7146
26 | 2633241.5101 | 1169703.0378
27 | 2633186.1165 | 1169751.0011
28 | 2633220.7101 | 1169750.9685
29 | 2633254.3527 | 1169714.2314
30 | 2633247.9053 | 1169697.2031
31 | 2633174.3713 | 1169760.0766
32 | 2633174.2076 | 1169746.1435
33 | 2633225.8771 | 1169755.4129
34 | 2633255.0781 | 1169726.8106
35 | 2633267.9609 | 1169678.9053
36 | 2633169.7031 | 1169763.6838
37 | 2633146.1712 | 1169734.7076
38 | 2633238.7096 | 1169751.5144
39 | 2633265.6376 | 1169615.7783
40 | 2633269.9529 | 1169648.7115
41 | 2633250.331 | 1169651.8866
42 | 2633273.6172 | 1169673.7447
43 | 2633051.997 | 1169859.8598
44 | 2633058.6484 | 1169859.9158
45 | 2633049.3307 | 1169859.8373
46 | 2633077.2084 | 1169860.2391
47 | 2633021.23 | 1169864.0311
48 | 2633047.8783 | 1169859.8698
49 | 2633093.9317 | 1169862.6515
50 | 2632991.4292 | 1169864.8109
51 | 2633101.3922 | 1169863.7277
52 | 2633002.7515 | 1169859.2841
53 | 2633021.8097 | 1169849.9811
54 | 2633013.8039 | 1169853.889
55 | 2633040.3801 | 1169838.6733
56 | 2633226.7561 | 1169655.7012
57 | 2633161.04 | 1169666.9704
58 | 2633146.5914 | 1169668.7519
59 | 2633163.7654 | 1169666.6344
60 | 2633136.6753 | 1169666.7608
61 | 2633178.8955 | 1169664.1366
62 | 2633169.3297 | 1169682.3017
63 | 2633128.5865 | 1169665.1366
64 | 2633179.1437 | 1169664.0956
65 | 2633170.795 | 1169686.4278
66 | 2633110.3353 | 1169661.4718
67 | 2633210.5621 | 1169658.3216
68 | 2633135.6506 | 1169776.6641
69 | 2633116.9936 | 1169771.842
70 | 2633144.6369 | 1169778.9868
71 | 2633148.1419 | 1169777.0113
72 | 2633129.7325 | 1169787.3845
73 | 2633117.106 | 1169794.4987
74 | 2633158.971 | 1169761.4965
75 | 2633101.5198 | 1169780.6724
76 | 2633107.9635 | 1169799.6525
77 | 2633106.7354 | 1169864.4985
78 | 2633246.9646 | 1169849.3937
79 | 2633199.7797 | 1169850.2871
80 | 2633265.7892 | 1169857.7406
81 | 2633189.0944 | 1169855.1283
82 | 2633271.5636 | 1169848.0258
83 | 2633282.9624 | 1169865.3507
84 | 2633188.0872 | 1169855.5846
85 | 2633287.4837 | 1169821.2419
86 | 2633299.2989 | 1169876.4107
87 | 2633179.8157 | 1169859.3325
88 | 2633332.8803 | 1169896.2075
89 | 2633078.4629 | 1169816.2824
90 | 2633146.4248 | 1169759.316
91 | 2633140.4725 | 1169758.4529
92 | 2633134.4929 | 1169757.5858
93 | 2633118.5796 | 1169754.9076
94 | 2633073.5693 | 1169684.3315
95 | 2633067.2431 | 1169694.1616
96 | 2633223.3544 | 1169656.2517
97 | 2633166.6096 | 1169862.4033
98 | 2633177.7468 | 1169859.8551
99 | 2633119.4855 | 1169723.8226
100 | 2633080.8548 | 1169717.2311
101 | 2633049.3035 | 1169693.6072
102 | 2633023.4841 | 1169692.8094
103 | 2633005.8672 | 1169710.0993
104 | 2633014.547 | 1169724.4142
105 | 2633246.8637 | 1169739.2079
106 | 2633107.2433 | 1169752.7789
107 | 2632961.5491 | 1169724.2192
108 | 2632942.7313 | 1169727.8507
109 | 2633364.7456 | 1169912.8552
110 | 2633517.0309 | 1169863.9091
111 | 2632940.5026 | 1169727.8753
112 | 2632928.7219 | 1169728.0051
113 | 2632979.006 | 1169724.4484
114 | 2632994.5486 | 1169724.4224
115 | 2633103.0932 | 1169751.9997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1