## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_587-7_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_587-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_587-7_0_4_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_587-7_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_587-7_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_587-7_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_587-7_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_587-7_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_587-7_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_587-7_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_587-7_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_587-7_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_587-7_0_4_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_587-7_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_587-7_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_587-7_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_587-7_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_587-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_587-7_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_587-7_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_587-7_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_587-7_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_587-7_0_4_node_100 | 0.4 | n |  | TRUE
24 | bus_LV_587-7_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_587-7_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_587-7_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_587-7_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_587-7_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_587-7_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_587-7_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_587-7_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_587-7_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_587-7_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_587-7_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_587-7_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_587-7_0_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_587-7_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_587-7_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_587-7_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_587-7_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_587-7_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_587-7_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_587-7_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_587-7_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_587-7_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_587-7_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_587-7_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_587-7_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_587-7_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_587-7_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_587-7_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_587-7_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_587-7_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_587-7_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_587-7_0_4_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_587-7_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_587-7_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_587-7_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_587-7_0_4_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_587-7_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_587-7_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_587-7_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_587-7_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_587-7_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_587-7_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_587-7_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_587-7_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_587-7_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_587-7_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_587-7_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_587-7_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_587-7_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_587-7_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_587-7_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_587-7_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_587-7_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_587-7_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_587-7_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_587-7_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_587-7_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_587-7_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_587-7_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_587-7_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_587-7_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_587-7_0_4_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_587-7_0_4_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_587-7_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_587-7_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_587-7_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_587-7_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_587-7_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_587-7_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_587-7_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_587-7_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_587-7_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_587-7_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_587-7_0_4_node_99 | 0.4 | n |  | TRUE
98 | bus_MV_81_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-7_0_4_load_0 | 0 | 0.0047251 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-7_0_4_load_3 | 2 | 0.0022102 | 0.00055392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-7_0_4_load_37 | 3 | 0.0032213 | 0.00080734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-7_0_4_load_36 | 4 | 0.0025228 | 0.00063228 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-7_0_4_load_4 | 5 | 0.0018772 | 0.00047048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-7_0_4_load_6 | 7 | 0.0069353 | 0.0017381 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-7_0_4_load_7 | 8 | 0.0032225 | 0.00080762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-7_0_4_load_8 | 9 | 0.0032153 | 0.00080583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-7_0_4_load_33 | 10 | 0.0032139 | 0.00080548 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-7_0_4_load_47 | 11 | 0.0036422 | 0.00091283 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-7_0_4_load_34 | 12 | 0.0063645 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-7_0_4_load_9 | 14 | 0.0061327 | 0.001537 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-7_0_4_load_10 | 15 | 0.0031431 | 0.00078773 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-7_0_4_load_13 | 18 | 0.0034896 | 0.00087457 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-7_0_4_load_41 | 20 | 0.0031331 | 0.00078523 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-7_0_4_load_38 | 21 | 0.0089253 | 0.0022369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-7_0_4_load_65 | 22 | 0.0042294 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-7_0_4_load_100 | 23 | 0.0016418 | 0.00041148 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-7_0_4_load_68 | 24 | 0.0025616 | 0.000642 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-7_0_4_load_39 | 25 | 0.0037824 | 0.00094797 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-7_0_4_load_66 | 26 | 0.0034862 | 0.00087374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-7_0_4_load_64 | 27 | 0.0028493 | 0.0007141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-7_0_4_load_15 | 28 | 0.0033485 | 0.00083921 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-7_0_4_load_16 | 29 | 0.003411 | 0.00085488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-7_0_4_load_18 | 31 | 0.0098173 | 0.0024604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-7_0_4_load_20 | 33 | 0.013929 | 0.0034909 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-7_0_4_load_56 | 35 | 0.0061424 | 0.0015394 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-7_0_4_load_49 | 36 | 0.0053142 | 0.0013319 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-7_0_4_load_51 | 37 | 0.0050478 | 0.0012651 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-7_0_4_load_26 | 38 | 0.0033879 | 0.00084909 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-7_0_4_load_89 | 39 | 0.0029847 | 0.00074802 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-7_0_4_load_21 | 41 | 0.0090596 | 0.0022705 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-7_0_4_load_22 | 42 | 0.014328 | 0.0035909 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-7_0_4_load_24 | 44 | 0.0092861 | 0.0023273 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-7_0_4_load_53 | 47 | 0.0058676 | 0.0014706 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-7_0_4_load_43 | 48 | 0.014694 | 0.0036826 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-7_0_4_load_44 | 49 | 0.0092901 | 0.0023283 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-7_0_4_load_54 | 50 | 0.011814 | 0.0029608 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-7_0_4_load_27 | 51 | 0.0057611 | 0.0014439 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-7_0_4_load_29 | 53 | 0.003769 | 0.0009446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-7_0_4_load_30 | 54 | 0.0019973 | 0.00050057 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-7_0_4_load_94 | 55 | 0.001474 | 0.00036942 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-7_0_4_load_31 | 56 | 0.0042035 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-7_0_4_load_71 | 58 | 0.0032589 | 0.00081675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_587-7_0_4_load_57 | 60 | 0.0037876 | 0.00094927 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_587-7_0_4_load_35 | 61 | 0.0081335 | 0.0020384 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_587-7_0_4_load_40 | 62 | 0.0036563 | 0.00091636 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_587-7_0_4_load_45 | 63 | 0.0065965 | 0.0016532 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_587-7_0_4_load_46 | 64 | 0.0046427 | 0.0011636 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_587-7_0_4_load_77 | 65 | 0.0092945 | 0.0023294 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_587-7_0_4_load_50 | 67 | 0.0039942 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_587-7_0_4_load_69 | 68 | 0.0033823 | 0.00084768 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_587-7_0_4_load_88 | 69 | 0.002226 | 0.00055789 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_587-7_0_4_load_76 | 70 | 0.0038127 | 0.00095556 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_587-7_0_4_load_58 | 71 | 0.00295 | 0.00073935 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_587-7_0_4_load_59 | 72 | 0.0029302 | 0.00073438 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_587-7_0_4_load_60 | 73 | 0.0023001 | 0.00057646 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_587-7_0_4_load_62 | 74 | 0.004505 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_587-7_0_4_load_67 | 75 | 0.017005 | 0.0042618 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_587-7_0_4_load_70 | 76 | 0.0051835 | 0.0012991 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_587-7_0_4_load_72 | 77 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_587-7_0_4_load_82 | 79 | 0.0023244 | 0.00058256 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_587-7_0_4_load_78 | 80 | 0.014156 | 0.0035478 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_587-7_0_4_load_73 | 81 | 0.01503 | 0.003767 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_587-7_0_4_load_74 | 82 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_587-7_0_4_load_79 | 83 | 0.010499 | 0.0026312 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_587-7_0_4_load_81 | 84 | 0.006533 | 0.0016373 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_587-7_0_4_load_97 | 85 | 0.0053619 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_587-7_0_4_load_96 | 86 | 0.0013215 | 0.00033119 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_587-7_0_4_load_83 | 87 | 0.0026987 | 0.00067635 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_587-7_0_4_load_84 | 88 | 0.0055051 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_587-7_0_4_load_85 | 89 | 0.0042037 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_587-7_0_4_load_86 | 90 | 0.0012276 | 0.00030767 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_587-7_0_4_load_87 | 91 | 0.0033921 | 0.00085015 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_587-7_0_4_load_93 | 92 | 0.0023884 | 0.0005986 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_587-7_0_4_load_92 | 93 | 0.0022753 | 0.00057024 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_587-7_0_4_load_90 | 94 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_587-7_0_4_load_91 | 95 | 0.0014245 | 0.00035701 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_587-7_0_4_load_98 | 96 | 0.0014711 | 0.0003687 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_587-7_0_4_load_99 | 97 | 0.0017034 | 0.00042691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-7_0_4_line_0 |  | 0 | 1 | 0.040675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-7_0_4_line_1 |  | 1 | 2 | 0.04365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-7_0_4_line_2 |  | 2 | 3 | 0.024205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-7_0_4_line_3 |  | 3 | 4 | 0.0064909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-7_0_4_line_4 |  | 4 | 61 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-7_0_4_line_5 |  | 5 | 6 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-7_0_4_line_6 |  | 5 | 7 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-7_0_4_line_7 |  | 6 | 8 | 0.013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-7_0_4_line_8 |  | 6 | 9 | 0.005524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-7_0_4_line_9 |  | 8 | 10 | 0.0013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-7_0_4_line_10 |  | 9 | 11 | 0.028617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-7_0_4_line_11 |  | 10 | 12 | 0.030309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-7_0_4_line_12 |  | 11 | 13 | 0.024828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_587-7_0_4_line_13 |  | 12 | 61 | 0.0031737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_587-7_0_4_line_14 |  | 13 | 36 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_587-7_0_4_line_15 |  | 13 | 67 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-7_0_4_line_16 |  | 14 | 15 | 0.0053321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_587-7_0_4_line_17 |  | 14 | 16 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-7_0_4_line_18 |  | 16 | 17 | 0.003844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-7_0_4_line_19 |  | 16 | 18 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-7_0_4_line_20 |  | 16 | 19 | 0.008393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-7_0_4_line_21 |  | 17 | 20 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-7_0_4_line_22 |  | 17 | 21 | 0.02294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-7_0_4_line_23 |  | 18 | 22 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-7_0_4_line_24 |  | 19 | 23 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-7_0_4_line_25 |  | 19 | 24 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-7_0_4_line_26 |  | 21 | 25 | 0.0057259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-7_0_4_line_27 |  | 22 | 26 | 0.0068122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-7_0_4_line_28 |  | 24 | 27 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-7_0_4_line_29 |  | 25 | 62 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-7_0_4_line_30 |  | 26 | 75 | 0.0097369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-7_0_4_line_31 |  | 27 | 74 | 0.0084713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-7_0_4_line_32 |  | 28 | 29 | 0.0014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-7_0_4_line_33 |  | 28 | 30 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-7_0_4_line_34 |  | 29 | 31 | 0.034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_587-7_0_4_line_35 |  | 30 | 32 | 0.004712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_587-7_0_4_line_36 |  | 30 | 33 | 0.032718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-7_0_4_line_37 |  | 31 | 34 | 0.0072176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-7_0_4_line_38 |  | 32 | 35 | 0.017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_587-7_0_4_line_39 |  | 32 | 36 | 0.0038667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_587-7_0_4_line_40 |  | 33 | 37 | 0.012861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-7_0_4_line_41 |  | 34 | 38 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_587-7_0_4_line_42 |  | 35 | 39 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-7_0_4_line_43 |  | 37 | 40 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-7_0_4_line_44 |  | 38 | 43 | 0.00037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_587-7_0_4_line_45 |  | 39 | 70 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_587-7_0_4_line_46 |  | 40 | 58 | 0.0055698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_587-7_0_4_line_47 |  | 40 | 53 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_587-7_0_4_line_48 |  | 41 | 42 | 0.012239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_587-7_0_4_line_49 |  | 41 | 43 | 0.025387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_587-7_0_4_line_50 |  | 42 | 44 | 0.02757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_587-7_0_4_line_51 |  | 43 | 45 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_587-7_0_4_line_52 |  | 44 | 46 | 0.011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_587-7_0_4_line_53 |  | 45 | 47 | 0.029934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_587-7_0_4_line_54 |  | 46 | 48 | 0.050937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_587-7_0_4_line_55 |  | 46 | 49 | 0.039297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_587-7_0_4_line_56 |  | 47 | 50 | 0.00092474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-7_0_4_line_57 |  | 50 | 57 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_587-7_0_4_line_58 |  | 51 | 52 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-7_0_4_line_59 |  | 52 | 53 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_587-7_0_4_line_60 |  | 52 | 54 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-7_0_4_line_61 |  | 54 | 55 | 0.0462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_587-7_0_4_line_62 |  | 55 | 59 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-7_0_4_line_63 |  | 56 | 57 | 0.0066735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_587-7_0_4_line_64 |  | 57 | 60 | 0.0086856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-7_0_4_line_65 |  | 58 | 68 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_587-7_0_4_line_66 |  | 59 | 96 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-7_0_4_line_67 |  | 60 | 69 | 0.0098589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-7_0_4_line_68 |  | 62 | 63 | 0.0036086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-7_0_4_line_69 |  | 63 | 64 | 0.00051226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-7_0_4_line_70 |  | 64 | 67 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-7_0_4_line_71 |  | 65 | 66 | 0.032179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-7_0_4_line_72 |  | 66 | 81 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_587-7_0_4_line_73 |  | 68 | 76 | 0.0098961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_587-7_0_4_line_74 |  | 70 | 82 | 0.0079021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_587-7_0_4_line_75 |  | 71 | 72 | 0.015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_587-7_0_4_line_76 |  | 71 | 73 | 0.0029807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_587-7_0_4_line_77 |  | 73 | 74 | 0.0042635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_587-7_0_4_line_78 |  | 76 | 77 | 0.0066284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_587-7_0_4_line_79 |  | 77 | 78 | 0.0092456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_587-7_0_4_line_80 |  | 78 | 79 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_587-7_0_4_line_81 |  | 78 | 80 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_587-7_0_4_line_82 |  | 79 | 85 | 0.0094872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_587-7_0_4_line_83 |  | 80 | 83 | 0.0045008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_587-7_0_4_line_84 |  | 81 | 82 | 0.011843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_587-7_0_4_line_85 |  | 83 | 84 | 0.0051686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_587-7_0_4_line_86 |  | 85 | 86 | 0.0040529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_587-7_0_4_line_87 |  | 86 | 91 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_587-7_0_4_line_88 |  | 87 | 88 | 0.014044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_587-7_0_4_line_89 |  | 87 | 89 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_587-7_0_4_line_90 |  | 88 | 90 | 0.0032496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_587-7_0_4_line_91 |  | 89 | 91 | 0.0068646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_587-7_0_4_line_92 |  | 90 | 92 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_587-7_0_4_line_93 |  | 92 | 93 | 5.6721e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_587-7_0_4_line_94 |  | 93 | 94 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_587-7_0_4_line_95 |  | 94 | 95 | 0.021268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_587-7_0_4_line_96 |  | 96 | 97 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-7_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 98 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2632441.7369 | 1170351.6272 | 2632439.6701 | 1170351.8383 | 2632437.2318 | 1170351.425 | 2632431.5069 | 1170349.004 | 2632412.7891 | 1170341.2991 | 2632403.5801 | 1170338.3579
1 | 2632441.7369 | 1170351.6272 | 2632443.3168 | 1170350.9242 | 2632444.7165 | 1170349.5644 | 2632445.8208 | 1170347.6694 | 2632456.5961 | 1170311.4629
2 | 2632463.5007 | 1170288.2635 | 2632458.5841 | 1170304.7828 | 2632456.5961 | 1170311.4629
3 | 2632463.5007 | 1170288.2635 | 2632465.3524 | 1170282.0422
4 | 2632465.3524 | 1170282.0422 | 2632471.4132 | 1170261.6785
5 | 2632486.1895 | 1170215.2858 | 2632502.3634 | 1170220.0907
6 | 2632519.7685 | 1170225.2613 | 2632502.3634 | 1170220.0907
7 | 2632486.1895 | 1170215.2858 | 2632481.9176 | 1170228.4626
8 | 2632486.1895 | 1170215.2858 | 2632488.0338 | 1170210.0788
9 | 2632481.9176 | 1170228.4626 | 2632481.4992 | 1170229.7533
10 | 2632498.1143 | 1170183.3047 | 2632493.5937 | 1170194.3817 | 2632488.0338 | 1170210.0788
11 | 2632472.3185 | 1170258.6366 | 2632474.371 | 1170251.7407 | 2632481.4992 | 1170229.7533
12 | 2632507.4958 | 1170160.317 | 2632498.1143 | 1170183.3047
13 | 2632472.3185 | 1170258.6366 | 2632471.4132 | 1170261.6785
14 | 2632507.4958 | 1170160.317 | 2632499.7571 | 1170158.163 | 2632494.2002 | 1170156.6155
15 | 2632507.4958 | 1170160.317 | 2632521.3899 | 1170165.0884
16 | 2632579.9432 | 1170194.2969 | 2632579.4337 | 1170199.6047
17 | 2632581.328 | 1170179.871 | 2632579.9432 | 1170194.2969
18 | 2632581.328 | 1170179.871 | 2632577.4891 | 1170179.5167
19 | 2632581.328 | 1170179.871 | 2632580.2914 | 1170174.8962 | 2632578.2986 | 1170165.2934
20 | 2632581.328 | 1170179.871 | 2632589.7091 | 1170180.6502
21 | 2632577.4891 | 1170179.5167 | 2632574.4338 | 1170168.1434
22 | 2632577.4891 | 1170179.5167 | 2632560.0144 | 1170176.7207 | 2632554.8574 | 1170175.7773
23 | 2632574.2146 | 1170145.6144 | 2632578.2986 | 1170165.2934
24 | 2632589.7091 | 1170180.6502 | 2632601.0555 | 1170181.9843
25 | 2632589.7091 | 1170180.6502 | 2632592.9492 | 1170177.1326 | 2632596.7979 | 1170174.2409 | 2632601.4939 | 1170171.7206 | 2632606.1319 | 1170170.0226 | 2632610.1106 | 1170168.5657 | 2632611.6099 | 1170167.7177
26 | 2632554.8574 | 1170175.7773 | 2632553.8769 | 1170175.598 | 2632549.2933 | 1170174.4337
27 | 2632574.2146 | 1170145.6144 | 2632572.8304 | 1170138.9443
28 | 2632621.9505 | 1170160.0835 | 2632620.5767 | 1170161.5632 | 2632616.7582 | 1170164.5218 | 2632613.1727 | 1170166.8369 | 2632611.9601 | 1170167.5196 | 2632611.6099 | 1170167.7177
29 | 2632537.1702 | 1170170.5157 | 2632546.588 | 1170173.7465 | 2632549.2933 | 1170174.4337
30 | 2632570.8519 | 1170129.4105 | 2632572.8304 | 1170138.9443
31 | 2632628.3418 | 1170154.6129 | 2632626.4692 | 1170155.6811 | 2632623.9244 | 1170157.9573 | 2632621.9505 | 1170160.0835
32 | 2632468.3256 | 1170156.9998 | 2632466.92 | 1170157.2096
33 | 2632485.9065 | 1170154.3751 | 2632468.3256 | 1170156.9998
34 | 2632433.0367 | 1170162.268 | 2632466.92 | 1170157.2096
35 | 2632485.9065 | 1170154.3751 | 2632490.4753 | 1170155.5782
36 | 2632485.9065 | 1170154.3751 | 2632487.5338 | 1170149.1479 | 2632480.0024 | 1170122.9663
37 | 2632425.8982 | 1170163.3337 | 2632433.0367 | 1170162.268
38 | 2632490.4753 | 1170155.5782 | 2632504.1029 | 1170144.1364
39 | 2632490.4753 | 1170155.5782 | 2632494.2002 | 1170156.6155
40 | 2632480.0024 | 1170122.9663 | 2632476.4469 | 1170110.6061
41 | 2632425.8982 | 1170163.3337 | 2632410.704 | 1170165.6064
42 | 2632517.8771 | 1170132.5714 | 2632504.1029 | 1170144.1364
43 | 2632471.9869 | 1170101.0392 | 2632474.8121 | 1170104.9231 | 2632476.4469 | 1170110.6061
44 | 2632410.704 | 1170165.6064 | 2632410.3314 | 1170165.6621
45 | 2632517.8771 | 1170132.5714 | 2632526.5371 | 1170125.3003
46 | 2632471.9869 | 1170101.0392 | 2632476.5844 | 1170097.895
47 | 2632471.9869 | 1170101.0392 | 2632466.7373 | 1170104.0791 | 2632459.566 | 1170107.342 | 2632455.9813 | 1170108.5124
48 | 2632429.1258 | 1170196.1569 | 2632423.7657 | 1170191.3255 | 2632419.4178 | 1170188.8113
49 | 2632410.3314 | 1170165.6621 | 2632411.7529 | 1170171.6395 | 2632416.3648 | 1170184.7044 | 2632417.6335 | 1170187.7795 | 2632419.4178 | 1170188.8113
50 | 2632417.8396 | 1170220.5086 | 2632421.0284 | 1170212.2771 | 2632424.8475 | 1170204.9495 | 2632427.0417 | 1170202.4044 | 2632429.7588 | 1170197.9501 | 2632429.1258 | 1170196.1569 | 2632429.1258 | 1170196.1569
51 | 2632392.3988 | 1170166.8995 | 2632404.627 | 1170166.5096 | 2632410.3314 | 1170165.6621
52 | 2632415.6353 | 1170232.0137 | 2632415.8008 | 1170229.7023 | 2632417.8396 | 1170220.5086
53 | 2632392.3988 | 1170166.8995 | 2632396.0934 | 1170137.1943
54 | 2632444.7005 | 1170246.2222 | 2632444.1771 | 1170248.2093 | 2632442.3631 | 1170251.2011 | 2632439.0109 | 1170254.2512 | 2632435.2219 | 1170256.0206 | 2632430.0223 | 1170256.8819 | 2632425.0884 | 1170255.3211 | 2632420.8205 | 1170250.8291 | 2632416.6221 | 1170243.3916 | 2632415.2475 | 1170237.2477 | 2632415.6353 | 1170232.0137
55 | 2632397.8874 | 1170257.22 | 2632393.1595 | 1170254.3264 | 2632393.2338 | 1170251.8922 | 2632394.4789 | 1170247.9969 | 2632397.9555 | 1170244.5694 | 2632404.8952 | 1170241.6608 | 2632409.0733 | 1170240.0825 | 2632412.5645 | 1170235.3767 | 2632415.6353 | 1170232.0137
56 | 2632396.0934 | 1170137.1943 | 2632396.2075 | 1170136.2766
57 | 2632397.0273 | 1170120.1003 | 2632396.8853 | 1170130.8273 | 2632396.2075 | 1170136.2766
58 | 2632439.2558 | 1170112.4573 | 2632440.0729 | 1170128.2482
59 | 2632439.2558 | 1170112.4573 | 2632451.4264 | 1170109.9995 | 2632455.9813 | 1170108.5124
60 | 2632439.2558 | 1170112.4573 | 2632437.6711 | 1170104.1111 | 2632426.2126 | 1170098.6584
61 | 2632426.2126 | 1170098.6584 | 2632384.4951 | 1170078.8065
62 | 2632368.462 | 1170071.1769 | 2632384.4951 | 1170078.8065
63 | 2632397.0273 | 1170120.1003 | 2632401.0096 | 1170120.811 | 2632403.6269 | 1170120.5713
64 | 2632397.0273 | 1170120.1003 | 2632393.1524 | 1170119.3346 | 2632388.7549 | 1170117.5767 | 2632388.7549 | 1170117.5767
65 | 2632485.0471 | 1170091.8414 | 2632482.4539 | 1170093.8809 | 2632476.5844 | 1170097.895
66 | 2632368.462 | 1170071.1769 | 2632373.4673 | 1170059.9163
67 | 2632388.7549 | 1170117.5767 | 2632379.4011 | 1170114.4618
68 | 2632537.1702 | 1170170.5157 | 2632536.0188 | 1170170.1208 | 2632533.7579 | 1170169.3417
69 | 2632533.2736 | 1170169.1748 | 2632533.7579 | 1170169.3417
70 | 2632521.3899 | 1170165.0884 | 2632528.6113 | 1170167.5683 | 2632533.2736 | 1170169.1748
71 | 2632556.2276 | 1170100.372 | 2632564.5762 | 1170131.449
72 | 2632556.2276 | 1170100.372 | 2632541.6587 | 1170112.6041
73 | 2632485.0471 | 1170091.8414 | 2632492.8258 | 1170085.7239
74 | 2632532.589 | 1170120.2192 | 2632526.5371 | 1170125.3003
75 | 2632635.521 | 1170154.7843 | 2632646.383 | 1170157.3678 | 2632650.1586 | 1170158.8012
76 | 2632635.521 | 1170154.7843 | 2632634.2338 | 1170154.4781 | 2632632.5806 | 1170154.3588
77 | 2632632.5806 | 1170154.3588 | 2632631.2358 | 1170154.2617 | 2632628.3418 | 1170154.6129 | 2632628.3418 | 1170154.6129
78 | 2632492.8258 | 1170085.7239 | 2632497.5599 | 1170082.0008 | 2632498.0188 | 1170081.6055
79 | 2632505.0238 | 1170075.5712 | 2632498.0188 | 1170081.6055
80 | 2632505.0238 | 1170075.5712 | 2632487.8939 | 1170067.3485
81 | 2632505.0238 | 1170075.5712 | 2632513.3992 | 1170067.5234
82 | 2632487.8939 | 1170067.3485 | 2632479.3411 | 1170063.2429
83 | 2632513.3992 | 1170067.5234 | 2632513.3992 | 1170067.5234 | 2632516.0089 | 1170063.8564
84 | 2632541.6587 | 1170112.6041 | 2632532.589 | 1170120.2192
85 | 2632516.0089 | 1170063.8564 | 2632519.0057 | 1170059.6453
86 | 2632475.6873 | 1170061.4891 | 2632479.3411 | 1170063.2429
87 | 2632462.5447 | 1170055.1803 | 2632475.6873 | 1170061.4891
88 | 2632446.7709 | 1170047.6085 | 2632434.1101 | 1170041.5311
89 | 2632446.7709 | 1170047.6085 | 2632456.3561 | 1170052.2096
90 | 2632434.1101 | 1170041.5311 | 2632431.1805 | 1170040.1248
91 | 2632462.5447 | 1170055.1803 | 2632456.3561 | 1170052.2096
92 | 2632413.5972 | 1170031.6845 | 2632431.1805 | 1170040.1248
93 | 2632413.5972 | 1170031.6845 | 2632413.5461 | 1170031.6599
94 | 2632393.2868 | 1170021.9351 | 2632413.5461 | 1170031.6599
95 | 2632393.2868 | 1170021.9351 | 2632374.1131 | 1170012.7313
96 | 2632377.779 | 1170050.2163 | 2632373.4673 | 1170059.9163

## bus_geodata
| x | y | coords
0 | 2632403.5801 | 1170338.3579
1 | 2632441.7369 | 1170351.6272
2 | 2632456.5961 | 1170311.4629
3 | 2632463.5007 | 1170288.2635
4 | 2632465.3524 | 1170282.0422
5 | 2632502.3634 | 1170220.0907
6 | 2632486.1895 | 1170215.2858
7 | 2632519.7685 | 1170225.2613
8 | 2632481.9176 | 1170228.4626
9 | 2632488.0338 | 1170210.0788
10 | 2632481.4992 | 1170229.7533
11 | 2632498.1143 | 1170183.3047
12 | 2632472.3185 | 1170258.6366
13 | 2632507.4958 | 1170160.317
14 | 2632579.9432 | 1170194.2969
15 | 2632579.4337 | 1170199.6047
16 | 2632581.328 | 1170179.871
17 | 2632577.4891 | 1170179.5167
18 | 2632578.2986 | 1170165.2934
19 | 2632589.7091 | 1170180.6502
20 | 2632574.4338 | 1170168.1434
21 | 2632554.8574 | 1170175.7773
22 | 2632574.2146 | 1170145.6144
23 | 2632601.0555 | 1170181.9843
24 | 2632611.6099 | 1170167.7177
25 | 2632549.2933 | 1170174.4337
26 | 2632572.8304 | 1170138.9443
27 | 2632621.9505 | 1170160.0835
28 | 2632468.3256 | 1170156.9998
29 | 2632466.92 | 1170157.2096
30 | 2632485.9065 | 1170154.3751
31 | 2632433.0367 | 1170162.268
32 | 2632490.4753 | 1170155.5782
33 | 2632480.0024 | 1170122.9663
34 | 2632425.8982 | 1170163.3337
35 | 2632504.1029 | 1170144.1364
36 | 2632494.2002 | 1170156.6155
37 | 2632476.4469 | 1170110.6061
38 | 2632410.704 | 1170165.6064
39 | 2632517.8771 | 1170132.5714
40 | 2632471.9869 | 1170101.0392
41 | 2632419.4178 | 1170188.8113
42 | 2632429.1258 | 1170196.1569
43 | 2632410.3314 | 1170165.6621
44 | 2632417.8396 | 1170220.5086
45 | 2632392.3988 | 1170166.8995
46 | 2632415.6353 | 1170232.0137
47 | 2632396.0934 | 1170137.1943
48 | 2632444.7005 | 1170246.2222
49 | 2632397.8874 | 1170257.22
50 | 2632396.2075 | 1170136.2766
51 | 2632440.0729 | 1170128.2482
52 | 2632439.2558 | 1170112.4573
53 | 2632455.9813 | 1170108.5124
54 | 2632426.2126 | 1170098.6584
55 | 2632384.4951 | 1170078.8065
56 | 2632403.6269 | 1170120.5713
57 | 2632397.0273 | 1170120.1003
58 | 2632476.5844 | 1170097.895
59 | 2632368.462 | 1170071.1769
60 | 2632388.7549 | 1170117.5767
61 | 2632471.4132 | 1170261.6785
62 | 2632537.1702 | 1170170.5157
63 | 2632533.7579 | 1170169.3417
64 | 2632533.2736 | 1170169.1748
65 | 2632564.5762 | 1170131.449
66 | 2632556.2276 | 1170100.372
67 | 2632521.3899 | 1170165.0884
68 | 2632485.0471 | 1170091.8414
69 | 2632379.4011 | 1170114.4618
70 | 2632526.5371 | 1170125.3003
71 | 2632635.521 | 1170154.7843
72 | 2632650.1586 | 1170158.8012
73 | 2632632.5806 | 1170154.3588
74 | 2632628.3418 | 1170154.6129
75 | 2632570.8519 | 1170129.4105
76 | 2632492.8258 | 1170085.7239
77 | 2632498.0188 | 1170081.6055
78 | 2632505.0238 | 1170075.5712
79 | 2632487.8939 | 1170067.3485
80 | 2632513.3992 | 1170067.5234
81 | 2632541.6587 | 1170112.6041
82 | 2632532.589 | 1170120.2192
83 | 2632516.0089 | 1170063.8564
84 | 2632519.0057 | 1170059.6453
85 | 2632479.3411 | 1170063.2429
86 | 2632475.6873 | 1170061.4891
87 | 2632446.7709 | 1170047.6085
88 | 2632434.1101 | 1170041.5311
89 | 2632456.3561 | 1170052.2096
90 | 2632431.1805 | 1170040.1248
91 | 2632462.5447 | 1170055.1803
92 | 2632413.5972 | 1170031.6845
93 | 2632413.5461 | 1170031.6599
94 | 2632393.2868 | 1170021.9351
95 | 2632374.1131 | 1170012.7313
96 | 2632373.4673 | 1170059.9163
97 | 2632377.779 | 1170050.2163
98 | 2632490.4753 | 1170155.5782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1