## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_587-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_587-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_587-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_587-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_587-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_587-9_0_4_node_77 | 0.4 | n |  | TRUE
6 | bus_LV_587-9_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_587-9_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_587-9_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_587-9_0_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_587-9_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_587-9_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_587-9_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_587-9_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_587-9_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_587-9_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_587-9_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_587-9_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_587-9_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_587-9_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_587-9_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_587-9_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_587-9_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_587-9_0_4_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_587-9_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_587-9_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_587-9_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_587-9_0_4_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_587-9_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_587-9_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_587-9_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_587-9_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_587-9_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_587-9_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_587-9_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_587-9_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_587-9_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_587-9_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_587-9_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_587-9_0_4_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_587-9_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_587-9_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_587-9_0_4_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_587-9_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_587-9_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_587-9_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_587-9_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_587-9_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_587-9_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_587-9_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_587-9_0_4_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_587-9_0_4_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_587-9_0_4_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_587-9_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_587-9_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_587-9_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_587-9_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_587-9_0_4_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_587-9_0_4_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_587-9_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_587-9_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_587-9_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_587-9_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_587-9_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_587-9_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_587-9_0_4_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_587-9_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_587-9_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_587-9_0_4_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_587-9_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_587-9_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_587-9_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_587-9_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_587-9_0_4_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_587-9_0_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_587-9_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_587-9_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_587-9_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_587-9_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_587-9_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_587-9_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_587-9_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_587-9_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_587-9_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_587-9_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_587-9_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_587-9_0_4_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_587-9_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_587-9_0_4_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_587-9_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_587-9_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_587-9_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_587-9_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_587-9_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_587-9_0_4_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_587-9_0_4_node_116 | 0.4 | n |  | TRUE
96 | bus_LV_587-9_0_4_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_587-9_0_4_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_587-9_0_4_node_117 | 0.4 | n |  | TRUE
99 | bus_LV_587-9_0_4_node_115 | 0.4 | n |  | TRUE
100 | bus_LV_587-9_0_4_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_587-9_0_4_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_587-9_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_587-9_0_4_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_587-9_0_4_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_587-9_0_4_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_587-9_0_4_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_587-9_0_4_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_587-9_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_587-9_0_4_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_587-9_0_4_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_587-9_0_4_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_587-9_0_4_node_114 | 0.4 | n |  | TRUE
113 | bus_MV_83_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_587-9_0_4_load_0 | 0 | 0.010949 | 0.0027441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_587-9_0_4_load_1 | 1 | 0.0030848 | 0.00077311 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_587-9_0_4_load_2 | 2 | 0.0044598 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_587-9_0_4_load_4 | 4 | 0.00261 | 0.00065413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_587-9_0_4_load_34 | 6 | 0.006926 | 0.0017358 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_587-9_0_4_load_10 | 7 | 0.0050925 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_587-9_0_4_load_79 | 8 | 0.0031112 | 0.00077973 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_587-9_0_4_load_33 | 9 | 0.0045136 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_587-9_0_4_load_8 | 10 | 0.0083179 | 0.0020846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_587-9_0_4_load_5 | 11 | 0.0030576 | 0.0007663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_587-9_0_4_load_6 | 12 | 0.0028748 | 0.0007205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_587-9_0_4_load_7 | 13 | 0.0050226 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_587-9_0_4_load_20 | 15 | 0.0053615 | 0.0013437 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_587-9_0_4_load_17 | 16 | 0.0022082 | 0.00055342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_587-9_0_4_load_9 | 17 | 0.0023418 | 0.00058691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_587-9_0_4_load_11 | 18 | 0.0042591 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_587-9_0_4_load_14 | 19 | 0.0016188 | 0.00040572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_587-9_0_4_load_12 | 20 | 0.004431 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_587-9_0_4_load_13 | 21 | 0.0043676 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_587-9_0_4_load_15 | 22 | 0.0014992 | 0.00037573 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_587-9_0_4_load_59 | 23 | 0.0057971 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_587-9_0_4_load_57 | 24 | 0.0024244 | 0.00060761 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_587-9_0_4_load_58 | 25 | 0.0015898 | 0.00039845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_587-9_0_4_load_21 | 26 | 0.0020563 | 0.00051535 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_587-9_0_4_load_103 | 27 | 0.0015075 | 0.00037781 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_587-9_0_4_load_18 | 28 | 0.0042535 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_587-9_0_4_load_19 | 29 | 0.005906 | 0.0014802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_587-9_0_4_load_50 | 30 | 0.0024541 | 0.00061506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_587-9_0_4_load_56 | 31 | 0.0045231 | 0.0011336 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_587-9_0_4_load_22 | 33 | 0.0046687 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_587-9_0_4_load_23 | 34 | 0.0025447 | 0.00063777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_587-9_0_4_load_25 | 36 | 0.0034247 | 0.0008583 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_587-9_0_4_load_27 | 38 | 0.0073428 | 0.0018403 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_587-9_0_4_load_84 | 39 | 0.0012184 | 0.00030537 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_587-9_0_4_load_40 | 41 | 0.0018443 | 0.00046222 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_587-9_0_4_load_92 | 42 | 0.0013717 | 0.00034378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_587-9_0_4_load_38 | 43 | 0.0033247 | 0.00083324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_587-9_0_4_load_41 | 44 | 0.0025305 | 0.0006342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_587-9_0_4_load_28 | 45 | 0.0067429 | 0.0016899 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_587-9_0_4_load_29 | 46 | 0.0052903 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_587-9_0_4_load_30 | 47 | 0.0031401 | 0.00078699 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_587-9_0_4_load_31 | 48 | 0.0036573 | 0.00091661 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_587-9_0_4_load_78 | 49 | 0.0026531 | 0.00066494 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_587-9_0_4_load_96 | 50 | 0.0019015 | 0.00047656 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_587-9_0_4_load_97 | 51 | 0.0016382 | 0.00041057 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_587-9_0_4_load_88 | 52 | 0.0011956 | 0.00029963 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_587-9_0_4_load_36 | 53 | 0.0048773 | 0.0012224 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_587-9_0_4_load_37 | 54 | 0.0019069 | 0.00047791 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_587-9_0_4_load_39 | 55 | 0.0035697 | 0.00089464 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_587-9_0_4_load_76 | 57 | 0.0013081 | 0.00032784 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_587-9_0_4_load_98 | 58 | 0.0019858 | 0.0004977 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_587-9_0_4_load_42 | 59 | 0.0017868 | 0.00044782 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_587-9_0_4_load_43 | 60 | 0.0014818 | 0.00037138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_587-9_0_4_load_44 | 61 | 0.0017483 | 0.00043816 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_587-9_0_4_load_45 | 62 | 0.0010387 | 0.00026033 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_587-9_0_4_load_46 | 63 | 0.0013007 | 0.00032599 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_587-9_0_4_load_93 | 65 | 0.0033304 | 0.00083469 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_587-9_0_4_load_47 | 66 | 0.019777 | 0.0049565 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_587-9_0_4_load_65 | 67 | 0.001641 | 0.00041129 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_587-9_0_4_load_82 | 68 | 0.0016437 | 0.00041195 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_587-9_0_4_load_53 | 69 | 0.0023233 | 0.00058228 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_587-9_0_4_load_51 | 70 | 0.0026482 | 0.00066371 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_587-9_0_4_load_52 | 71 | 0.0015444 | 0.00038707 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_587-9_0_4_load_54 | 72 | 0.0010057 | 0.00025205 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_587-9_0_4_load_83 | 73 | 0.0020607 | 0.00051647 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_587-9_0_4_load_94 | 74 | 0.0019534 | 0.00048958 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_587-9_0_4_load_61 | 75 | 0.004467 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_587-9_0_4_load_62 | 76 | 0.0020234 | 0.00050711 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_587-9_0_4_load_63 | 77 | 0.001869 | 0.00046841 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_587-9_0_4_load_85 | 78 | 0.0071222 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_587-9_0_4_load_66 | 80 | 0.0027659 | 0.0006932 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_587-9_0_4_load_67 | 81 | 0.0023743 | 0.00059506 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_587-9_0_4_load_68 | 82 | 0.0019775 | 0.0004956 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_587-9_0_4_load_69 | 83 | 0.00067879 | 0.00017012 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_587-9_0_4_load_70 | 84 | 0.0039058 | 0.0009789 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_587-9_0_4_load_81 | 85 | 0.0018258 | 0.00045759 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_587-9_0_4_load_101 | 86 | 0.00094964 | 0.000238 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_587-9_0_4_load_89 | 87 | 0.0016625 | 0.00041665 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_587-9_0_4_load_102 | 88 | 0.00085883 | 0.00021524 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_587-9_0_4_load_71 | 89 | 0.0047275 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_587-9_0_4_load_72 | 90 | 0.0010456 | 0.00026205 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_587-9_0_4_load_73 | 91 | 0.0025987 | 0.0006513 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_587-9_0_4_load_74 | 92 | 0.0041035 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_587-9_0_4_load_100 | 94 | 0.00081664 | 0.00020467 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_587-9_0_4_load_87 | 97 | 0.0026111 | 0.0006544 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_587-9_0_4_load_117 | 98 | 0.0055873 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_587-9_0_4_load_115 | 99 | 0.0022619 | 0.00056688 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_587-9_0_4_load_90 | 100 | 0.0019058 | 0.00047763 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_587-9_0_4_load_104 | 101 | 0.0023171 | 0.00058073 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_587-9_0_4_load_105 | 102 | 0.0030957 | 0.00077585 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_587-9_0_4_load_99 | 103 | 0.002043 | 0.00051203 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_587-9_0_4_load_111 | 104 | 0.0011412 | 0.00028602 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_587-9_0_4_load_95 | 105 | 0.0035798 | 0.00089719 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_587-9_0_4_load_110 | 106 | 0.0016453 | 0.00041235 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_587-9_0_4_load_109 | 107 | 0.0032597 | 0.00081695 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_587-9_0_4_load_106 | 109 | 0.0018868 | 0.00047287 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_587-9_0_4_load_112 | 110 | 0.0055874 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_587-9_0_4_line_0 |  | 0 | 1 | 0.0044653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_587-9_0_4_line_1 |  | 0 | 2 | 0.0013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_587-9_0_4_line_2 |  | 1 | 3 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_587-9_0_4_line_3 |  | 2 | 4 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_587-9_0_4_line_4 |  | 3 | 5 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_587-9_0_4_line_5 |  | 3 | 6 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_587-9_0_4_line_6 |  | 4 | 7 | 0.003893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_587-9_0_4_line_7 |  | 5 | 8 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_587-9_0_4_line_8 |  | 6 | 9 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_587-9_0_4_line_9 |  | 7 | 10 | 0.0021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_587-9_0_4_line_10 |  | 9 | 37 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_587-9_0_4_line_11 |  | 10 | 17 | 0.0063947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_587-9_0_4_line_12 |  | 11 | 12 | 0.0074316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_587-9_0_4_line_13 |  | 12 | 13 | 0.027238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_587-9_0_4_line_14 |  | 13 | 14 | 0.039165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_587-9_0_4_line_15 |  | 14 | 15 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_587-9_0_4_line_16 |  | 14 | 16 | 0.0047097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_587-9_0_4_line_17 |  | 15 | 25 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_587-9_0_4_line_18 |  | 16 | 28 | 0.0097051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_587-9_0_4_line_19 |  | 17 | 18 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_587-9_0_4_line_20 |  | 18 | 19 | 0.0095802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_587-9_0_4_line_21 |  | 19 | 20 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_587-9_0_4_line_22 |  | 20 | 21 | 0.0024208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_587-9_0_4_line_23 |  | 21 | 22 | 0.00088787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_587-9_0_4_line_24 |  | 22 | 23 | 0.019973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_587-9_0_4_line_25 |  | 23 | 24 | 0.0088778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_587-9_0_4_line_26 |  | 24 | 31 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_587-9_0_4_line_27 |  | 25 | 31 | 0.0071627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_587-9_0_4_line_28 |  | 26 | 27 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_587-9_0_4_line_29 |  | 27 | 32 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_587-9_0_4_line_30 |  | 28 | 29 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_587-9_0_4_line_31 |  | 29 | 30 | 0.007115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_587-9_0_4_line_32 |  | 32 | 50 | 0.0030297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_587-9_0_4_line_33 |  | 32 | 47 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_587-9_0_4_line_34 |  | 33 | 34 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_587-9_0_4_line_35 |  | 33 | 35 | 0.0092974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_587-9_0_4_line_36 |  | 34 | 36 | 0.0012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_587-9_0_4_line_37 |  | 35 | 37 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_587-9_0_4_line_38 |  | 35 | 38 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_587-9_0_4_line_39 |  | 36 | 39 | 0.0070031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_587-9_0_4_line_40 |  | 37 | 40 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_587-9_0_4_line_41 |  | 38 | 41 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_587-9_0_4_line_42 |  | 39 | 42 | 0.00033747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_587-9_0_4_line_43 |  | 40 | 43 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_587-9_0_4_line_44 |  | 41 | 44 | 0.0076943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_587-9_0_4_line_45 |  | 42 | 64 | 0.0073024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_587-9_0_4_line_46 |  | 43 | 53 | 0.022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_587-9_0_4_line_47 |  | 44 | 58 | 0.0023246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_587-9_0_4_line_48 |  | 45 | 46 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_587-9_0_4_line_49 |  | 45 | 47 | 0.013678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_587-9_0_4_line_50 |  | 46 | 48 | 0.013444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_587-9_0_4_line_51 |  | 48 | 49 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_587-9_0_4_line_52 |  | 49 | 51 | 0.0067158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_587-9_0_4_line_53 |  | 50 | 52 | 0.0042382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_587-9_0_4_line_54 |  | 51 | 58 | 0.00043951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_587-9_0_4_line_55 |  | 52 | 73 | 0.0066645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_587-9_0_4_line_56 |  | 53 | 54 | 0.034606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_587-9_0_4_line_57 |  | 54 | 55 | 0.0038446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_587-9_0_4_line_58 |  | 55 | 56 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_587-9_0_4_line_59 |  | 56 | 57 | 0.0096292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_587-9_0_4_line_60 |  | 59 | 60 | 0.0014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_587-9_0_4_line_61 |  | 59 | 61 | 0.0046616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_587-9_0_4_line_62 |  | 60 | 62 | 0.00062525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_587-9_0_4_line_63 |  | 61 | 63 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_587-9_0_4_line_64 |  | 62 | 64 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_587-9_0_4_line_65 |  | 64 | 65 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_587-9_0_4_line_66 |  | 65 | 74 | 0.0024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_587-9_0_4_line_67 |  | 66 | 67 | 0.042777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_587-9_0_4_line_68 |  | 67 | 68 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_587-9_0_4_line_69 |  | 68 | 75 | 0.042899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_587-9_0_4_line_70 |  | 69 | 70 | 0.02478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_587-9_0_4_line_71 |  | 70 | 71 | 0.0020097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_587-9_0_4_line_72 |  | 71 | 72 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_587-9_0_4_line_73 |  | 72 | 73 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_587-9_0_4_line_74 |  | 74 | 105 | 0.0060263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_587-9_0_4_line_75 |  | 75 | 76 | 0.0095051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_587-9_0_4_line_76 |  | 76 | 77 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_587-9_0_4_line_77 |  | 77 | 78 | 0.0075673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_587-9_0_4_line_78 |  | 78 | 79 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_587-9_0_4_line_79 |  | 79 | 97 | 0.0089173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_587-9_0_4_line_80 |  | 79 | 93 | 0.005897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_587-9_0_4_line_81 |  | 80 | 81 | 0.001551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_587-9_0_4_line_82 |  | 80 | 82 | 0.0060213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_587-9_0_4_line_83 |  | 81 | 83 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_587-9_0_4_line_84 |  | 82 | 84 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_587-9_0_4_line_85 |  | 83 | 85 | 0.002634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_587-9_0_4_line_86 |  | 84 | 86 | 0.0043115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_587-9_0_4_line_87 |  | 85 | 87 | 0.0026811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_587-9_0_4_line_88 |  | 86 | 88 | 0.00096451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_587-9_0_4_line_89 |  | 87 | 100 | 0.0027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_587-9_0_4_line_90 |  | 88 | 105 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_587-9_0_4_line_91 |  | 89 | 90 | 0.0027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_587-9_0_4_line_92 |  | 89 | 91 | 0.019429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_587-9_0_4_line_93 |  | 90 | 92 | 0.0039799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_587-9_0_4_line_94 |  | 91 | 93 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_587-9_0_4_line_95 |  | 92 | 94 | 0.0040971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_587-9_0_4_line_96 |  | 93 | 95 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_587-9_0_4_line_97 |  | 94 | 96 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_587-9_0_4_line_98 |  | 95 | 98 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_587-9_0_4_line_99 |  | 95 | 99 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_587-9_0_4_line_100 |  | 96 | 103 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_587-9_0_4_line_101 |  | 96 | 100 | 0.0058728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_587-9_0_4_line_102 |  | 97 | 101 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_587-9_0_4_line_103 |  | 98 | 112 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_587-9_0_4_line_104 |  | 101 | 102 | 0.0026952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_587-9_0_4_line_105 |  | 102 | 107 | 0.0069458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_587-9_0_4_line_106 |  | 103 | 104 | 0.0025154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_587-9_0_4_line_107 |  | 104 | 106 | 0.0094846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_587-9_0_4_line_108 |  | 107 | 108 | 0.0083505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_587-9_0_4_line_109 |  | 108 | 109 | 0.0096256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_587-9_0_4_line_110 |  | 110 | 111 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_587-9_0_4_line_111 |  | 111 | 112 | 0.007821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_587-9_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 113 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2632768.3852 | 1170025.2726 | 2632764.8318 | 1170022.5685
1 | 2632768.3852 | 1170025.2726 | 2632769.469 | 1170026.0974
2 | 2632756.5137 | 1170016.2383 | 2632764.8318 | 1170022.5685
3 | 2632769.469 | 1170026.0974 | 2632779.0028 | 1170033.3527
4 | 2632746.3833 | 1170021.9305 | 2632756.5137 | 1170016.2383
5 | 2632756.5137 | 1170016.2383 | 2632762.2165 | 1170011.5225 | 2632764.0926 | 1170008.5827
6 | 2632779.0028 | 1170033.3527 | 2632782.1008 | 1170035.7103
7 | 2632746.3833 | 1170021.9305 | 2632738.0753 | 1170020.34 | 2632722.1224 | 1170017.6019
8 | 2632769.9245 | 1169989.6739 | 2632765.504 | 1170006.3711 | 2632764.0926 | 1170008.5827
9 | 2632783.8509 | 1170037.0422 | 2632782.1008 | 1170035.7103
10 | 2632776.0643 | 1169966.7415 | 2632774.7602 | 1169971.5814 | 2632770.0739 | 1169989.1093 | 2632769.9245 | 1169989.6739
11 | 2632783.8509 | 1170037.0422 | 2632788.5154 | 1170040.5919 | 2632789.0472 | 1170040.6297
12 | 2632863.3854 | 1170097.4474 | 2632865.1677 | 1170090.2327
13 | 2632865.1677 | 1170090.2327 | 2632871.6999 | 1170063.7898
14 | 2632893.6038 | 1170040.3433 | 2632878.1011 | 1170042.0483 | 2632874.116 | 1170046.0397 | 2632872.2562 | 1170061.5375 | 2632871.6999 | 1170063.7898
15 | 2632893.6038 | 1170040.3433 | 2632882.3871 | 1170040.5861
16 | 2632893.6038 | 1170040.3433 | 2632898.229 | 1170041.2312
17 | 2632882.3871 | 1170040.5861 | 2632871.7336 | 1170040.8167
18 | 2632898.229 | 1170041.2312 | 2632907.7602 | 1170043.0608
19 | 2632800.8023 | 1170041.4656 | 2632789.0472 | 1170040.6297
20 | 2632800.8023 | 1170041.4656 | 2632810.3583 | 1170042.1451
21 | 2632821.2709 | 1170041.9089 | 2632810.3583 | 1170042.1451 | 2632810.3583 | 1170042.1451
22 | 2632821.2709 | 1170041.9089 | 2632823.6912 | 1170041.8565
23 | 2632824.5788 | 1170041.8373 | 2632823.6912 | 1170041.8565
24 | 2632844.5476 | 1170041.4051 | 2632824.5788 | 1170041.8373
25 | 2632844.5476 | 1170041.4051 | 2632853.4233 | 1170041.213
26 | 2632864.5725 | 1170040.9717 | 2632853.4233 | 1170041.213
27 | 2632864.5725 | 1170040.9717 | 2632871.7336 | 1170040.8167
28 | 2632901.1136 | 1169999.3908 | 2632899.0597 | 1170010.3592
29 | 2632903.4209 | 1169987.0696 | 2632901.1136 | 1169999.3908
30 | 2632918.1413 | 1170045.0535 | 2632907.7602 | 1170043.0608
31 | 2632918.1413 | 1170045.0535 | 2632925.1288 | 1170046.3948
32 | 2632903.4209 | 1169987.0696 | 2632906.0094 | 1169988.644
33 | 2632903.4209 | 1169987.0696 | 2632892.1195 | 1169980.2042 | 2632888.7538 | 1169978.543
34 | 2632795.1316 | 1169924.2524 | 2632787.7452 | 1169940.7252
35 | 2632783.9411 | 1169949.2088 | 2632787.7452 | 1169940.7252
36 | 2632795.1316 | 1169924.2524 | 2632795.6327 | 1169923.135
37 | 2632783.9411 | 1169949.2088 | 2632776.0643 | 1169966.7415
38 | 2632783.9411 | 1169949.2088 | 2632793.8005 | 1169951.1524 | 2632799.9595 | 1169952.3776
39 | 2632795.6327 | 1169923.135 | 2632798.498 | 1169916.7448
40 | 2632766.4579 | 1169963.2985 | 2632776.0643 | 1169966.7415
41 | 2632799.9595 | 1169952.3776 | 2632817.505 | 1169955.8681
42 | 2632798.6361 | 1169916.4369 | 2632798.498 | 1169916.7448
43 | 2632766.4579 | 1169963.2985 | 2632755.8894 | 1169959.5088
44 | 2632825.0686 | 1169957.2805 | 2632817.8755 | 1169955.9417 | 2632817.505 | 1169955.8681
45 | 2632801.6239 | 1169909.7738 | 2632798.6361 | 1169916.4369
46 | 2632735.0438 | 1169952.0339 | 2632755.8894 | 1169959.5088
47 | 2632825.0686 | 1169957.2805 | 2632827.354 | 1169957.7058
48 | 2632861.3905 | 1169966.9489 | 2632871.2806 | 1169969.9183 | 2632876.4882 | 1169972.4888
49 | 2632888.7538 | 1169978.543 | 2632876.4882 | 1169972.4888
50 | 2632861.3905 | 1169966.9489 | 2632848.514 | 1169963.0829
51 | 2632834.3885 | 1169959.015 | 2632835.9062 | 1169959.2974 | 2632848.514 | 1169963.0829
52 | 2632834.3885 | 1169959.015 | 2632827.7861 | 1169957.7862
53 | 2632909.6305 | 1169990.8463 | 2632906.0094 | 1169988.644
54 | 2632827.7861 | 1169957.7862 | 2632827.354 | 1169957.7058
55 | 2632909.6305 | 1169990.8463 | 2632915.3245 | 1169994.3094
56 | 2632735.0438 | 1169952.0339 | 2632702.4687 | 1169940.3529
57 | 2632702.4687 | 1169940.3529 | 2632698.8497 | 1169939.0552
58 | 2632688.5453 | 1169935.3602 | 2632698.8497 | 1169939.0552
59 | 2632688.5453 | 1169935.3602 | 2632679.4471 | 1169932.207
60 | 2632797.3177 | 1169894.1231 | 2632797.691 | 1169895.4798
61 | 2632797.3177 | 1169894.1231 | 2632796.0811 | 1169889.6285
62 | 2632797.691 | 1169895.4798 | 2632797.8569 | 1169896.0827
63 | 2632793.2974 | 1169879.5112 | 2632796.0811 | 1169889.6285
64 | 2632801.6239 | 1169909.7738 | 2632797.8569 | 1169896.0827
65 | 2632801.6239 | 1169909.7738 | 2632810.0069 | 1169904.6613 | 2632813.7748 | 1169902.7218
66 | 2632813.7748 | 1169902.7218 | 2632815.9378 | 1169901.6083
67 | 2632988.0751 | 1169952.5318 | 2632996.705 | 1169994.4291
68 | 2632964.1695 | 1169944.0356 | 2632968.0945 | 1169948.2148 | 2632984.0954 | 1169951.9823 | 2632988.0751 | 1169952.5318
69 | 2632974.1938 | 1169902.324 | 2632964.1695 | 1169944.0356
70 | 2632932.5099 | 1170011.7386 | 2632949.4675 | 1170029.8074
71 | 2632932.5099 | 1170011.7386 | 2632931.1346 | 1170010.2732
72 | 2632931.1346 | 1170010.2732 | 2632923.8957 | 1170002.56
73 | 2632923.8957 | 1170002.56 | 2632917.2539 | 1169995.4829 | 2632915.3245 | 1169994.3094
74 | 2632815.9378 | 1169901.6083 | 2632818.0633 | 1169900.5142 | 2632821.4552 | 1169899.2054
75 | 2632974.1938 | 1169902.324 | 2632968.3498 | 1169894.8276
76 | 2632957.382 | 1169880.7585 | 2632968.3498 | 1169894.8276
77 | 2632952.8115 | 1169874.7311 | 2632953.6017 | 1169875.9093 | 2632957.382 | 1169880.7585
78 | 2632944.4643 | 1169862.2855 | 2632952.8115 | 1169874.7311
79 | 2632944.4643 | 1169862.2855 | 2632953.3456 | 1169863.0863
80 | 2632944.4643 | 1169862.2855 | 2632938.5839 | 1169861.653
81 | 2632854.0915 | 1169885.2387 | 2632855.4959 | 1169884.5804
82 | 2632854.0915 | 1169885.2387 | 2632848.6395 | 1169887.7945
83 | 2632855.4959 | 1169884.5804 | 2632866.4383 | 1169879.451
84 | 2632837.9609 | 1169892.8002 | 2632848.6395 | 1169887.7945
85 | 2632868.8233 | 1169878.333 | 2632866.4383 | 1169879.451
86 | 2632837.9609 | 1169892.8002 | 2632837.5231 | 1169893.0055 | 2632833.9517 | 1169894.3835
87 | 2632871.2509 | 1169877.195 | 2632868.8233 | 1169878.333
88 | 2632833.0518 | 1169894.7307 | 2632833.9517 | 1169894.3835
89 | 2632871.2509 | 1169877.195 | 2632873.6974 | 1169876.0481
90 | 2632833.0518 | 1169894.7307 | 2632821.4552 | 1169899.2054
91 | 2632905.5465 | 1169863.3689 | 2632902.8539 | 1169864.0886
92 | 2632905.5465 | 1169863.3689 | 2632908.4251 | 1169862.5995 | 2632922.7182 | 1169861.0992 | 2632924.7943 | 1169861.1717
93 | 2632902.8539 | 1169864.0886 | 2632899.0089 | 1169865.1163
94 | 2632938.5839 | 1169861.653 | 2632924.7943 | 1169861.1717
95 | 2632895.0992 | 1169866.3102 | 2632895.9123 | 1169865.9439 | 2632899.0089 | 1169865.1163
96 | 2632938.5839 | 1169861.653 | 2632939.8469 | 1169853.1778 | 2632943.4361 | 1169846.0604
97 | 2632879.0149 | 1169873.5554 | 2632895.0992 | 1169866.3102
98 | 2632943.4361 | 1169846.0604 | 2632947.4043 | 1169838.2003 | 2632949.6678 | 1169829.2033
99 | 2632943.4361 | 1169846.0604 | 2632930.7245 | 1169843.7897 | 2632925.1201 | 1169843.0475 | 2632921.8549 | 1169841.3176 | 2632920.0565 | 1169838.573
100 | 2632879.0149 | 1169873.5554 | 2632873.321 | 1169858.3578
101 | 2632879.0149 | 1169873.5554 | 2632873.6974 | 1169876.0481
102 | 2632953.3456 | 1169863.0863 | 2632960.2181 | 1169863.7059 | 2632973.449 | 1169864.1743
103 | 2632954.0047 | 1169806.5758 | 2632950.5017 | 1169825.8888 | 2632949.6678 | 1169829.2033
104 | 2632976.1425 | 1169864.2697 | 2632973.449 | 1169864.1743
105 | 2632976.1425 | 1169864.2697 | 2632983.0839 | 1169864.5155
106 | 2632873.321 | 1169858.3578 | 2632872.884 | 1169857.1913 | 2632872.4641 | 1169855.993
107 | 2632869.3279 | 1169847.0419 | 2632872.4641 | 1169855.993
108 | 2632991.4292 | 1169864.8109 | 2632983.0839 | 1169864.5155
109 | 2632991.4292 | 1169864.8109 | 2633000.0792 | 1169860.5885
110 | 2632954.9196 | 1169798.8101 | 2632934.1107 | 1169798.7168
111 | 2632954.0047 | 1169806.5758 | 2632954.9196 | 1169798.8101

## bus_geodata
| x | y | coords
0 | 2632768.3852 | 1170025.2726
1 | 2632764.8318 | 1170022.5685
2 | 2632769.469 | 1170026.0974
3 | 2632756.5137 | 1170016.2383
4 | 2632779.0028 | 1170033.3527
5 | 2632746.3833 | 1170021.9305
6 | 2632764.0926 | 1170008.5827
7 | 2632782.1008 | 1170035.7103
8 | 2632722.1224 | 1170017.6019
9 | 2632769.9245 | 1169989.6739
10 | 2632783.8509 | 1170037.0422
11 | 2632863.3854 | 1170097.4474
12 | 2632865.1677 | 1170090.2327
13 | 2632871.6999 | 1170063.7898
14 | 2632893.6038 | 1170040.3433
15 | 2632882.3871 | 1170040.5861
16 | 2632898.229 | 1170041.2312
17 | 2632789.0472 | 1170040.6297
18 | 2632800.8023 | 1170041.4656
19 | 2632810.3583 | 1170042.1451
20 | 2632821.2709 | 1170041.9089
21 | 2632823.6912 | 1170041.8565
22 | 2632824.5788 | 1170041.8373
23 | 2632844.5476 | 1170041.4051
24 | 2632853.4233 | 1170041.213
25 | 2632871.7336 | 1170040.8167
26 | 2632899.0597 | 1170010.3592
27 | 2632901.1136 | 1169999.3908
28 | 2632907.7602 | 1170043.0608
29 | 2632918.1413 | 1170045.0535
30 | 2632925.1288 | 1170046.3948
31 | 2632864.5725 | 1170040.9717
32 | 2632903.4209 | 1169987.0696
33 | 2632787.7452 | 1169940.7252
34 | 2632795.1316 | 1169924.2524
35 | 2632783.9411 | 1169949.2088
36 | 2632795.6327 | 1169923.135
37 | 2632776.0643 | 1169966.7415
38 | 2632799.9595 | 1169952.3776
39 | 2632798.498 | 1169916.7448
40 | 2632766.4579 | 1169963.2985
41 | 2632817.505 | 1169955.8681
42 | 2632798.6361 | 1169916.4369
43 | 2632755.8894 | 1169959.5088
44 | 2632825.0686 | 1169957.2805
45 | 2632876.4882 | 1169972.4888
46 | 2632861.3905 | 1169966.9489
47 | 2632888.7538 | 1169978.543
48 | 2632848.514 | 1169963.0829
49 | 2632834.3885 | 1169959.015
50 | 2632906.0094 | 1169988.644
51 | 2632827.7861 | 1169957.7862
52 | 2632909.6305 | 1169990.8463
53 | 2632735.0438 | 1169952.0339
54 | 2632702.4687 | 1169940.3529
55 | 2632698.8497 | 1169939.0552
56 | 2632688.5453 | 1169935.3602
57 | 2632679.4471 | 1169932.207
58 | 2632827.354 | 1169957.7058
59 | 2632797.3177 | 1169894.1231
60 | 2632797.691 | 1169895.4798
61 | 2632796.0811 | 1169889.6285
62 | 2632797.8569 | 1169896.0827
63 | 2632793.2974 | 1169879.5112
64 | 2632801.6239 | 1169909.7738
65 | 2632813.7748 | 1169902.7218
66 | 2632996.705 | 1169994.4291
67 | 2632988.0751 | 1169952.5318
68 | 2632964.1695 | 1169944.0356
69 | 2632949.4675 | 1170029.8074
70 | 2632932.5099 | 1170011.7386
71 | 2632931.1346 | 1170010.2732
72 | 2632923.8957 | 1170002.56
73 | 2632915.3245 | 1169994.3094
74 | 2632815.9378 | 1169901.6083
75 | 2632974.1938 | 1169902.324
76 | 2632968.3498 | 1169894.8276
77 | 2632957.382 | 1169880.7585
78 | 2632952.8115 | 1169874.7311
79 | 2632944.4643 | 1169862.2855
80 | 2632854.0915 | 1169885.2387
81 | 2632855.4959 | 1169884.5804
82 | 2632848.6395 | 1169887.7945
83 | 2632866.4383 | 1169879.451
84 | 2632837.9609 | 1169892.8002
85 | 2632868.8233 | 1169878.333
86 | 2632833.9517 | 1169894.3835
87 | 2632871.2509 | 1169877.195
88 | 2632833.0518 | 1169894.7307
89 | 2632905.5465 | 1169863.3689
90 | 2632902.8539 | 1169864.0886
91 | 2632924.7943 | 1169861.1717
92 | 2632899.0089 | 1169865.1163
93 | 2632938.5839 | 1169861.653
94 | 2632895.0992 | 1169866.3102
95 | 2632943.4361 | 1169846.0604
96 | 2632879.0149 | 1169873.5554
97 | 2632953.3456 | 1169863.0863
98 | 2632949.6678 | 1169829.2033
99 | 2632920.0565 | 1169838.573
100 | 2632873.6974 | 1169876.0481
101 | 2632973.449 | 1169864.1743
102 | 2632976.1425 | 1169864.2697
103 | 2632873.321 | 1169858.3578
104 | 2632872.4641 | 1169855.993
105 | 2632821.4552 | 1169899.2054
106 | 2632869.3279 | 1169847.0419
107 | 2632983.0839 | 1169864.5155
108 | 2632991.4292 | 1169864.8109
109 | 2633000.0792 | 1169860.5885
110 | 2632934.1107 | 1169798.7168
111 | 2632954.9196 | 1169798.8101
112 | 2632954.0047 | 1169806.5758
113 | 2632903.4209 | 1169987.0696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1