## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5886-21_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5886-21_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5886-21_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5886-21_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5886-21_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5886-21_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5886-21_0_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_5886-21_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_5886-21_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_5886-21_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5886-21_0_3_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_5886-21_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5886-21_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5886-21_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5886-21_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5886-21_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5886-21_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5886-21_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5886-21_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_5886-21_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5886-21_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_5886-21_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5886-21_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5886-21_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5886-21_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5886-21_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_5886-21_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5886-21_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_5886-21_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_5886-21_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5886-21_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_5886-21_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5886-21_0_3_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_5886-21_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5886-21_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5886-21_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_5886-21_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5886-21_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5886-21_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5886-21_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5886-21_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5886-21_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5886-21_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_5886-21_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_5886-21_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_5886-21_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5886-21_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5886-21_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5886-21_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5886-21_0_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_5886-21_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_5886-21_0_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_5886-21_0_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_5886-21_0_3_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_5886-21_0_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_5886-21_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5886-21_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5886-21_0_3_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_5886-21_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_5886-21_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5886-21_0_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_5886-21_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_5886-21_0_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_5886-21_0_3_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_5886-21_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_MV_260_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-21_0_3_load_0 | 0 | 0.010485 | 0.0026279 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-21_0_3_load_1 | 1 | 0.0048051 | 0.0012043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-21_0_3_load_2 | 2 | 0.0041833 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-21_0_3_load_5 | 5 | 0.0022056 | 0.00055277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-21_0_3_load_12 | 8 | 0.0050757 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-21_0_3_load_53 | 9 | 0.003194 | 0.0008005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-21_0_3_load_25 | 10 | 0.0079105 | 0.0019826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-21_0_3_load_23 | 11 | 0.0028703 | 0.00071937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-21_0_3_load_13 | 12 | 0.0015232 | 0.00038176 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-21_0_3_load_54 | 13 | 0.0030928 | 0.00077512 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-21_0_3_load_7 | 14 | 0.0049771 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-21_0_3_load_8 | 15 | 0.0062559 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-21_0_3_load_9 | 16 | 0.0049855 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-21_0_3_load_11 | 18 | 0.0039609 | 0.0009927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-21_0_3_load_22 | 19 | 0.0047241 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-21_0_3_load_20 | 20 | 0.0017047 | 0.00042724 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-21_0_3_load_24 | 21 | 0.0036738 | 0.00092074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-21_0_3_load_21 | 22 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-21_0_3_load_41 | 23 | 0.0077893 | 0.0019522 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-21_0_3_load_15 | 24 | 0.0016533 | 0.00041435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-21_0_3_load_16 | 26 | 0.0026538 | 0.0006651 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-21_0_3_load_18 | 27 | 0.0047731 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-21_0_3_load_46 | 28 | 0.0019482 | 0.00048828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-21_0_3_load_52 | 30 | 0.0012623 | 0.00031637 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-21_0_3_load_44 | 31 | 0.0030832 | 0.00077273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-21_0_3_load_45 | 32 | 0.0011033 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-21_0_3_load_26 | 34 | 0.0034401 | 0.00086217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-21_0_3_load_94 | 35 | 0.0037839 | 0.00094834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-21_0_3_load_49 | 36 | 0.0014795 | 0.00037079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-21_0_3_load_48 | 37 | 0.0014093 | 0.0003532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-21_0_3_load_39 | 38 | 0.009924 | 0.0024872 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-21_0_3_load_32 | 39 | 0.0011895 | 0.00029811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-21_0_3_load_33 | 40 | 0.037862 | 0.009489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-21_0_3_load_36 | 43 | 0.0019025 | 0.00047682 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-21_0_3_load_37 | 44 | 0.0012779 | 0.00032028 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-21_0_3_load_82 | 45 | 0.026886 | 0.0067382 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-21_0_3_load_56 | 46 | 0.0052728 | 0.0013215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-21_0_3_load_57 | 47 | 0.0025932 | 0.00064993 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-21_0_3_load_38 | 48 | 0.0038562 | 0.00096647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-21_0_3_load_42 | 50 | 0.010699 | 0.0026815 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-21_0_3_load_112 | 52 | 0.0033271 | 0.00083384 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-21_0_3_load_95 | 54 | 0.0034699 | 0.00086964 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-21_0_3_load_113 | 55 | 0.010446 | 0.002618 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-21_0_3_load_96 | 56 | 0.015599 | 0.0039094 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-21_0_3_load_50 | 58 | 0.0015436 | 0.00038685 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-21_0_3_load_51 | 59 | 0.00056713 | 0.00014214 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-21_0_3_load_78 | 60 | 0.0011942 | 0.00029929 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-21_0_3_load_79 | 61 | 0.0011982 | 0.00030029 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-21_0_3_load_55 | 62 | 0.0041688 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-21_0_3_load_86 | 63 | 0.0021142 | 0.00052986 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-21_0_3_load_75 | 64 | 0.0030618 | 0.00076735 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-21_0_3_load_90 | 66 | 0.0035619 | 0.00089269 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-21_0_3_load_81 | 67 | 0.0030577 | 0.00076633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-21_0_3_line_0 |  | 0 | 1 | 0.0014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-21_0_3_line_1 |  | 0 | 2 | 0.044803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-21_0_3_line_2 |  | 1 | 3 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-21_0_3_line_3 |  | 2 | 4 | 0.013621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-21_0_3_line_4 |  | 3 | 5 | 0.062581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-21_0_3_line_5 |  | 3 | 6 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-21_0_3_line_6 |  | 4 | 7 | 0.004172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-21_0_3_line_7 |  | 4 | 8 | 0.031819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-21_0_3_line_8 |  | 6 | 9 | 0.02714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-21_0_3_line_9 |  | 7 | 10 | 0.011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5886-21_0_3_line_10 |  | 7 | 11 | 0.041866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-21_0_3_line_11 |  | 8 | 12 | 0.044078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5886-21_0_3_line_12 |  | 9 | 13 | 0.0060164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5886-21_0_3_line_13 |  | 10 | 23 | 0.034489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5886-21_0_3_line_14 |  | 11 | 21 | 0.0044075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5886-21_0_3_line_15 |  | 13 | 62 | 0.014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5886-21_0_3_line_16 |  | 14 | 15 | 0.034449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5886-21_0_3_line_17 |  | 14 | 16 | 0.0058245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5886-21_0_3_line_18 |  | 15 | 17 | 0.038231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5886-21_0_3_line_19 |  | 16 | 18 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-21_0_3_line_20 |  | 17 | 19 | 0.023713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-21_0_3_line_21 |  | 17 | 20 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-21_0_3_line_22 |  | 19 | 21 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-21_0_3_line_23 |  | 20 | 22 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-21_0_3_line_24 |  | 22 | 29 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-21_0_3_line_25 |  | 23 | 38 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5886-21_0_3_line_26 |  | 24 | 25 | 0.047841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-21_0_3_line_27 |  | 25 | 29 | 0.022904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-21_0_3_line_28 |  | 26 | 27 | 0.0039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-21_0_3_line_29 |  | 26 | 28 | 0.10107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-21_0_3_line_30 |  | 27 | 30 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-21_0_3_line_31 |  | 28 | 31 | 0.0029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-21_0_3_line_32 |  | 29 | 34 | 0.091496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-21_0_3_line_33 |  | 30 | 35 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-21_0_3_line_34 |  | 31 | 32 | 0.0010784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-21_0_3_line_35 |  | 32 | 33 | 0.031722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-21_0_3_line_36 |  | 33 | 36 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-21_0_3_line_37 |  | 35 | 54 | 0.0032598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-21_0_3_line_38 |  | 36 | 37 | 0.0070453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-21_0_3_line_39 |  | 37 | 58 | 0.0092309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-21_0_3_line_40 |  | 38 | 48 | 0.022992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-21_0_3_line_41 |  | 39 | 40 | 0.040369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-21_0_3_line_42 |  | 39 | 41 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-21_0_3_line_43 |  | 40 | 42 | 0.038742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-21_0_3_line_44 |  | 41 | 43 | 0.001209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-21_0_3_line_45 |  | 41 | 44 | 0.027822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-21_0_3_line_46 |  | 42 | 45 | 0.035157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-21_0_3_line_47 |  | 43 | 46 | 0.008782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5886-21_0_3_line_48 |  | 46 | 47 | 0.025975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-21_0_3_line_49 |  | 47 | 63 | 0.002643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5886-21_0_3_line_50 |  | 48 | 49 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-21_0_3_line_51 |  | 49 | 50 | 0.025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5886-21_0_3_line_52 |  | 49 | 51 | 0.045687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-21_0_3_line_53 |  | 50 | 52 | 0.019333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5886-21_0_3_line_54 |  | 51 | 53 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5886-21_0_3_line_55 |  | 51 | 54 | 0.055187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-21_0_3_line_56 |  | 52 | 55 | 0.0091229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5886-21_0_3_line_57 |  | 53 | 56 | 0.071896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-21_0_3_line_58 |  | 53 | 57 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5886-21_0_3_line_59 |  | 57 | 65 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-21_0_3_line_60 |  | 57 | 67 | 0.06272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-21_0_3_line_61 |  | 58 | 59 | 0.0035656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-21_0_3_line_62 |  | 59 | 60 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5886-21_0_3_line_63 |  | 60 | 61 | 0.0068101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5886-21_0_3_line_64 |  | 62 | 63 | 0.0026421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5886-21_0_3_line_65 |  | 64 | 65 | 0.0016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5886-21_0_3_line_66 |  | 65 | 66 | 0.021927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-21_0_3_trafo_39 | 0.63 MVA 20/0.4 kV | 68 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2558089.9953 | 1144027.9101 | 2558091.3607 | 1144027.3975
1 | 2558089.9953 | 1144027.9101 | 2558082.6031 | 1144030.6853 | 2558070.9424 | 1144036.7919 | 2558058.2608 | 1144045.2624 | 2558057.3059 | 1144046.0583 | 2558051.6969 | 1144050.6535
2 | 2558112.544 | 1144021.1386 | 2558093.0726 | 1144026.7548 | 2558091.3607 | 1144027.3975
3 | 2558041.92 | 1144060.1172 | 2558049.2449 | 1144052.6623 | 2558051.6969 | 1144050.6535
4 | 2558112.544 | 1144021.1386 | 2558084.5031 | 1143971.4195 | 2558081.9525 | 1143966.5472
5 | 2558112.544 | 1144021.1386 | 2558114.6074 | 1144020.6017 | 2558116.992 | 1144031.9798 | 2558126.8986 | 1144031.0993
6 | 2558041.92 | 1144060.1172 | 2558038.8816 | 1144062.9843
7 | 2558041.92 | 1144060.1172 | 2558040.1589 | 1144038.9965 | 2558041.258 | 1144028.4282
8 | 2558126.8986 | 1144031.0993 | 2558124.9521 | 1144048.4106 | 2558127.8448 | 1144056.628 | 2558128.2811 | 1144057.5362
9 | 2558038.8816 | 1144062.9843 | 2558031.725 | 1144072.3087
10 | 2558038.8816 | 1144062.9843 | 2558030.5916 | 1144056.5722 | 2558024.8402 | 1144052.7659 | 2558018.1476 | 1144050.6226 | 2558001.103 | 1144046.8311
11 | 2558047.9057 | 1143985.1594 | 2558043.7834 | 1143998.973 | 2558041.5295 | 1144011.8619 | 2558041.4768 | 1144026.3253 | 2558041.258 | 1144028.4282
12 | 2558128.2811 | 1144057.5362 | 2558130.8865 | 1144062.9591
13 | 2558015.8298 | 1144102.7843 | 2558020.4761 | 1144091.3716 | 2558029.5227 | 1144075.178 | 2558031.725 | 1144072.3087
14 | 2557996.8006 | 1144045.8741 | 2558001.103 | 1144046.8311
15 | 2558137.1975 | 1144076.0954 | 2558130.8865 | 1144062.9591
16 | 2558007.9605 | 1143991.5302 | 2558007.9605 | 1143991.5302 | 2557998.3341 | 1144000.6465 | 2557987.9584 | 1144013.5922 | 2557984.1556 | 1144016.182
17 | 2558013.6455 | 1143990.2628 | 2558007.9605 | 1143991.5302
18 | 2557952.4838 | 1144037.2743 | 2557964.7784 | 1144027.3166 | 2557975.2092 | 1144022.2745 | 2557984.1556 | 1144016.182
19 | 2558027.6757 | 1143990.3413 | 2558018.4104 | 1143989.2005 | 2558013.6455 | 1143990.2628
20 | 2557952.4838 | 1144037.2743 | 2557975.8176 | 1144041.5001
21 | 2557952.4838 | 1144037.2743 | 2557941.9906 | 1144036.6154
22 | 2557996.8006 | 1144045.8741 | 2557982.9216 | 1144042.7867 | 2557975.8176 | 1144041.5001
23 | 2557922.4037 | 1144035.9862 | 2557928.4289 | 1144035.7639 | 2557941.9906 | 1144036.6154
24 | 2557908.3549 | 1144036.5047 | 2557922.4037 | 1144035.9862
25 | 2558009.7648 | 1144126.646 | 2558011.9659 | 1144116.1548 | 2558014.6438 | 1144105.6974 | 2558015.8298 | 1144102.7843
26 | 2557885.6166 | 1144039.7543 | 2557893.6789 | 1144068.4904 | 2557896.0669 | 1144086.3263
27 | 2557908.3549 | 1144036.5047 | 2557885.6166 | 1144039.7543
28 | 2557925.5356 | 1144153.9202 | 2557927.5974 | 1144157.308
29 | 2557925.5356 | 1144153.9202 | 2557834.3702 | 1144197.5587
30 | 2557938.6335 | 1144171.9733 | 2557930.2394 | 1144161.6489 | 2557927.5974 | 1144157.308
31 | 2557835.1683 | 1144200.4271 | 2557834.3702 | 1144197.5587
32 | 2557908.3549 | 1144036.5047 | 2557944.2606 | 1144019.5561 | 2557953.1427 | 1144016.1033 | 2557955.7682 | 1144011.3381 | 2557957.1017 | 1144000.9346 | 2557959.8209 | 1143974.743
33 | 2557949.2058 | 1144176.7415 | 2557938.6335 | 1144171.9733 | 2557938.6335 | 1144171.9733
34 | 2557835.1683 | 1144200.4271 | 2557835.4574 | 1144201.4661 | 2557835.4574 | 1144201.4661
35 | 2557817.4367 | 1144227.5724 | 2557835.4574 | 1144201.4661
36 | 2557817.4367 | 1144227.5724 | 2557827.0011 | 1144238.231
37 | 2557949.2058 | 1144176.7415 | 2557952.1774 | 1144178.0817
38 | 2557831.7064 | 1144243.4747 | 2557827.0011 | 1144238.231
39 | 2557831.7064 | 1144243.4747 | 2557837.8715 | 1144250.3451
40 | 2558006.1018 | 1144149.3419 | 2558009.2961 | 1144128.8799 | 2558009.7648 | 1144126.646
41 | 2558137.1167 | 1144122.2591 | 2558129.4178 | 1144126.9307 | 2558102.4734 | 1144142.982
42 | 2558147.5987 | 1144115.8986 | 2558137.1167 | 1144122.2591
43 | 2558122.5525 | 1144176.1147 | 2558102.4734 | 1144142.982
44 | 2558147.5987 | 1144115.8986 | 2558147.326 | 1144114.7208
45 | 2558147.5987 | 1144115.8986 | 2558149.9279 | 1144125.9542 | 2558154.5497 | 1144142.8329
46 | 2558122.5525 | 1144176.1147 | 2558102.9872 | 1144188.0459 | 2558091.1297 | 1144191.085
47 | 2558147.326 | 1144114.7208 | 2558145.3452 | 1144106.1651
48 | 2558139.4862 | 1144080.8594 | 2558145.3452 | 1144106.1651
49 | 2558138.3416 | 1144078.477 | 2558139.4862 | 1144080.8594 | 2558139.4862 | 1144080.8594
50 | 2558004.0077 | 1144162.7564 | 2558006.1018 | 1144149.3419
51 | 2558004.0077 | 1144162.7564 | 2558020.4939 | 1144165.4761 | 2558022.7754 | 1144165.3823 | 2558028.9665 | 1144164.173
52 | 2558004.0077 | 1144162.7564 | 2557996.4075 | 1144207.7991
53 | 2558047.2002 | 1144158.6327 | 2558046.2789 | 1144159.5265 | 2558043.9213 | 1144160.8325 | 2558041.7219 | 1144161.6816 | 2558028.9665 | 1144164.173
54 | 2557991.516 | 1144236.8592 | 2557992.7187 | 1144229.7361 | 2557993.9066 | 1144222.6797 | 2557996.4075 | 1144207.7991
55 | 2557996.4075 | 1144207.7991 | 2557986.6598 | 1144206.0885 | 2557981.2168 | 1144204.6147 | 2557977.5607 | 1144202.6281 | 2557974.8075 | 1144200.1127 | 2557963.8358 | 1144187.0938 | 2557952.1774 | 1144178.0817
56 | 2558050.7809 | 1144150.5794 | 2558050.4482 | 1144153.5499 | 2558049.6794 | 1144155.7008 | 2558048.1718 | 1144157.6901 | 2558047.2002 | 1144158.6327
57 | 2557991.516 | 1144236.8592 | 2557988.9418 | 1144253.3634 | 2557979.9847 | 1144307.8238
58 | 2557991.516 | 1144236.8592 | 2558000.8449 | 1144245.7209 | 2558006.3118 | 1144250.6297
59 | 2558006.3118 | 1144250.6297 | 2558014.1914 | 1144257.7227
60 | 2558006.3118 | 1144250.6297 | 2558012.1048 | 1144241.718 | 2558012.9467 | 1144240.1335 | 2558013.2347 | 1144238.464 | 2558013.1615 | 1144236.7748 | 2558012.7573 | 1144235.01 | 2558009.3678 | 1144228.2969 | 2558008.8847 | 1144226.2437 | 2558008.7796 | 1144224.399 | 2558010.6681 | 1144203.2306 | 2558011.5236 | 1144200.2898 | 2558013.1344 | 1144197.6772 | 2558015.6241 | 1144195.4809 | 2558018.1574 | 1144194.0292 | 2558018.1574 | 1144194.0292
61 | 2557837.8715 | 1144250.3451 | 2557840.2528 | 1144252.9989
62 | 2557848.6883 | 1144267.3795 | 2557843.9543 | 1144257.1239 | 2557840.2528 | 1144252.9989
63 | 2557848.6883 | 1144267.3795 | 2557851.5425 | 1144273.5627
64 | 2558137.1975 | 1144076.0954 | 2558138.3416 | 1144078.477
65 | 2558014.1914 | 1144257.7227 | 2558015.4334 | 1144258.8389
66 | 2558014.1914 | 1144257.7227 | 2558019.7364 | 1144252.9038 | 2558021.3382 | 1144252.3145 | 2558023.0204 | 1144252.225 | 2558024.8435 | 1144252.5013 | 2558028.0673 | 1144253.1013 | 2558029.4119 | 1144253.0808 | 2558030.5999 | 1144252.6501 | 2558033.5431 | 1144250.8346

## bus_geodata
| x | y | coords
0 | 2558089.9953 | 1144027.9101
1 | 2558091.3607 | 1144027.3975
2 | 2558051.6969 | 1144050.6535
3 | 2558112.544 | 1144021.1386
4 | 2558041.92 | 1144060.1172
5 | 2558081.9525 | 1143966.5472
6 | 2558126.8986 | 1144031.0993
7 | 2558038.8816 | 1144062.9843
8 | 2558041.258 | 1144028.4282
9 | 2558128.2811 | 1144057.5362
10 | 2558031.725 | 1144072.3087
11 | 2558001.103 | 1144046.8311
12 | 2558047.9057 | 1143985.1594
13 | 2558130.8865 | 1144062.9591
14 | 2558007.9605 | 1143991.5302
15 | 2557984.1556 | 1144016.182
16 | 2558013.6455 | 1143990.2628
17 | 2557952.4838 | 1144037.2743
18 | 2558027.6757 | 1143990.3413
19 | 2557975.8176 | 1144041.5001
20 | 2557941.9906 | 1144036.6154
21 | 2557996.8006 | 1144045.8741
22 | 2557922.4037 | 1144035.9862
23 | 2558015.8298 | 1144102.7843
24 | 2557896.0669 | 1144086.3263
25 | 2557885.6166 | 1144039.7543
26 | 2557925.5356 | 1144153.9202
27 | 2557927.5974 | 1144157.308
28 | 2557834.3702 | 1144197.5587
29 | 2557908.3549 | 1144036.5047
30 | 2557938.6336 | 1144171.9733
31 | 2557835.1683 | 1144200.4271
32 | 2557835.4574 | 1144201.4661
33 | 2557817.4367 | 1144227.5724
34 | 2557959.8209 | 1143974.743
35 | 2557949.2058 | 1144176.7415
36 | 2557827.0011 | 1144238.231
37 | 2557831.7064 | 1144243.4747
38 | 2558009.7648 | 1144126.646
39 | 2558137.1167 | 1144122.2591
40 | 2558102.4734 | 1144142.982
41 | 2558147.5987 | 1144115.8986
42 | 2558122.5525 | 1144176.1147
43 | 2558147.326 | 1144114.7208
44 | 2558154.5497 | 1144142.8329
45 | 2558091.1297 | 1144191.085
46 | 2558145.3452 | 1144106.1651
47 | 2558139.4862 | 1144080.8594
48 | 2558006.1018 | 1144149.3419
49 | 2558004.0077 | 1144162.7564
50 | 2558028.9665 | 1144164.173
51 | 2557996.4075 | 1144207.7991
52 | 2558047.2002 | 1144158.6327
53 | 2557991.516 | 1144236.8592
54 | 2557952.1774 | 1144178.0817
55 | 2558050.7809 | 1144150.5794
56 | 2557979.9847 | 1144307.8238
57 | 2558006.3118 | 1144250.6297
58 | 2557837.8715 | 1144250.3451
59 | 2557840.2528 | 1144252.9989
60 | 2557848.6883 | 1144267.3795
61 | 2557851.5425 | 1144273.5627
62 | 2558137.1975 | 1144076.0954
63 | 2558138.3416 | 1144078.477
64 | 2558015.4334 | 1144258.8389
65 | 2558014.1914 | 1144257.7227
66 | 2558033.5431 | 1144250.8346
67 | 2558018.1574 | 1144194.0292
68 | 2558004.0077 | 1144162.7564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1