## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-23_1_3_node_33 | 0.4 | n |  | TRUE
1 | bus_LV_5886-23_1_3_node_34 | 0.4 | n |  | TRUE
2 | bus_LV_5886-23_1_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_5886-23_1_3_node_108 | 0.4 | n |  | TRUE
4 | bus_LV_5886-23_1_3_node_107 | 0.4 | n |  | TRUE
5 | bus_LV_5886-23_1_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_5886-23_1_3_node_117 | 0.4 | n |  | TRUE
7 | bus_LV_5886-23_1_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_5886-23_1_3_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_5886-23_1_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_5886-23_1_3_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_5886-23_1_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_5886-23_1_3_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_5886-23_1_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_5886-23_1_3_node_125 | 0.4 | n |  | TRUE
15 | bus_LV_5886-23_1_3_node_143 | 0.4 | n |  | TRUE
16 | bus_LV_5886-23_1_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_5886-23_1_3_node_133 | 0.4 | n |  | TRUE
18 | bus_LV_5886-23_1_3_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_5886-23_1_3_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_5886-23_1_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_5886-23_1_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_5886-23_1_3_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_5886-23_1_3_node_141 | 0.4 | n |  | TRUE
24 | bus_LV_5886-23_1_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_5886-23_1_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_5886-23_1_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_5886-23_1_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_5886-23_1_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_5886-23_1_3_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_5886-23_1_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_5886-23_1_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_5886-23_1_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5886-23_1_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5886-23_1_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_5886-23_1_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_5886-23_1_3_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_5886-23_1_3_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_5886-23_1_3_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_5886-23_1_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_5886-23_1_3_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_5886-23_1_3_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_5886-23_1_3_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_5886-23_1_3_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_5886-23_1_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_5886-23_1_3_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_5886-23_1_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_5886-23_1_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_5886-23_1_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_5886-23_1_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_5886-23_1_3_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_5886-23_1_3_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_5886-23_1_3_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_5886-23_1_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_5886-23_1_3_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_5886-23_1_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_5886-23_1_3_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_5886-23_1_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_5886-23_1_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_5886-23_1_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_5886-23_1_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_5886-23_1_3_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_5886-23_1_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_5886-23_1_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5886-23_1_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5886-23_1_3_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5886-23_1_3_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_5886-23_1_3_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_5886-23_1_3_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_5886-23_1_3_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_5886-23_1_3_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_5886-23_1_3_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_5886-23_1_3_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_5886-23_1_3_node_110 | 0.4 | n |  | TRUE
74 | bus_LV_5886-23_1_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_5886-23_1_3_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_5886-23_1_3_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_5886-23_1_3_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_5886-23_1_3_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_5886-23_1_3_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_5886-23_1_3_node_123 | 0.4 | n |  | TRUE
81 | bus_LV_5886-23_1_3_node_124 | 0.4 | n |  | TRUE
82 | bus_LV_5886-23_1_3_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_5886-23_1_3_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_5886-23_1_3_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_5886-23_1_3_node_128 | 0.4 | n |  | TRUE
86 | bus_LV_5886-23_1_3_node_130 | 0.4 | n |  | TRUE
87 | bus_MV_261_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-23_1_3_load_33 | 0 | 0.0031788 | 0.00079669 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-23_1_3_load_34 | 1 | 0.0033955 | 0.000851 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-23_1_3_load_35 | 2 | 0.0055956 | 0.0014024 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-23_1_3_load_107 | 4 | 0.0019825 | 0.00049687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-23_1_3_load_38 | 5 | 0.01322 | 0.0033133 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-23_1_3_load_117 | 6 | 0.0016509 | 0.00041376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-23_1_3_load_40 | 8 | 0.0036824 | 0.0009229 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-23_1_3_load_41 | 9 | 0.0040564 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-23_1_3_load_122 | 10 | 0.0039769 | 0.00099669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-23_1_3_load_45 | 11 | 0.0014192 | 0.00035567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-23_1_3_load_116 | 12 | 0.0037019 | 0.00092779 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-23_1_3_load_125 | 14 | 0.0019676 | 0.00049312 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-23_1_3_load_143 | 15 | 0.013935 | 0.0034923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-23_1_3_load_44 | 16 | 0.0018901 | 0.00047369 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-23_1_3_load_59 | 18 | 0.0020762 | 0.00052033 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-23_1_3_load_69 | 19 | 0.0032745 | 0.00082067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-23_1_3_load_60 | 20 | 0.0020549 | 0.00051501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-23_1_3_load_46 | 21 | 0.0051101 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-23_1_3_load_141 | 23 | 0.0030662 | 0.00076847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-23_1_3_load_49 | 25 | 0.0048973 | 0.0012274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-23_1_3_load_52 | 27 | 0.005136 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-23_1_3_load_62 | 29 | 0.0024761 | 0.00062056 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-23_1_3_load_53 | 30 | 0.0067035 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-23_1_3_load_51 | 32 | 0.0014003 | 0.00035096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-23_1_3_load_57 | 33 | 0.0018312 | 0.00045894 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-23_1_3_load_58 | 34 | 0.0018023 | 0.00045169 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-23_1_3_load_56 | 35 | 0.0016026 | 0.00040165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-23_1_3_load_106 | 36 | 0.0016086 | 0.00040314 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-23_1_3_load_96 | 37 | 0.0026452 | 0.00066294 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-23_1_3_load_54 | 39 | 0.0018636 | 0.00046707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-23_1_3_load_90 | 40 | 0.0011474 | 0.00028757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-23_1_3_load_102 | 41 | 0.0023678 | 0.00059344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-23_1_3_load_103 | 42 | 0.0022378 | 0.00056083 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-23_1_3_load_100 | 43 | 0.0021344 | 0.00053494 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-23_1_3_load_61 | 44 | 0.003063 | 0.00076765 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-23_1_3_load_95 | 45 | 0.0031394 | 0.0007868 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-23_1_3_load_64 | 46 | 0.0030676 | 0.00076881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-23_1_3_load_65 | 47 | 0.0032706 | 0.00081968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-23_1_3_load_67 | 50 | 0.00106 | 0.00026566 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-23_1_3_load_91 | 52 | 0.0038501 | 0.00096494 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-23_1_3_load_70 | 53 | 0.001367 | 0.0003426 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-23_1_3_load_112 | 54 | 0.0024666 | 0.0006182 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-23_1_3_load_113 | 55 | 0.0019231 | 0.00048199 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-23_1_3_load_111 | 56 | 0.0015818 | 0.00039645 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-23_1_3_load_80 | 57 | 0.0013676 | 0.00034275 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-23_1_3_load_83 | 59 | 0.0013228 | 0.00033152 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-23_1_3_load_101 | 60 | 0.006971 | 0.0017471 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-23_1_3_load_85 | 62 | 0.0017326 | 0.00043422 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-23_1_3_load_88 | 64 | 0.0014052 | 0.00035217 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-23_1_3_load_89 | 65 | 0.0011135 | 0.00027908 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-23_1_3_load_94 | 66 | 0.0031857 | 0.00079841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-23_1_3_load_97 | 67 | 0.0022977 | 0.00057585 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-23_1_3_load_98 | 68 | 0.0021259 | 0.00053281 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5886-23_1_3_load_99 | 69 | 0.0065569 | 0.0016433 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5886-23_1_3_load_92 | 70 | 0.0019333 | 0.00048453 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5886-23_1_3_load_105 | 71 | 0.0058075 | 0.0014555 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5886-23_1_3_load_109 | 72 | 0.0084893 | 0.0021276 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5886-23_1_3_load_110 | 73 | 0.0058908 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5886-23_1_3_load_114 | 74 | 0.0023305 | 0.00058407 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5886-23_1_3_load_120 | 76 | 0.0029964 | 0.00075098 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5886-23_1_3_load_118 | 77 | 0.0037122 | 0.00093036 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5886-23_1_3_load_119 | 78 | 0.0028663 | 0.00071837 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5886-23_1_3_load_121 | 79 | 0.001681 | 0.00042129 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5886-23_1_3_load_123 | 80 | 0.001969 | 0.00049348 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5886-23_1_3_load_124 | 81 | 0.0022572 | 0.00056571 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5886-23_1_3_load_126 | 82 | 0.0015744 | 0.00039458 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5886-23_1_3_load_131 | 83 | 0.0033032 | 0.00082786 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5886-23_1_3_load_128 | 85 | 0.0044727 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-23_1_3_line_0 |  | 0 | 1 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-23_1_3_line_1 |  | 0 | 2 | 0.023351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-23_1_3_line_2 |  | 0 | 3 | 0.036375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-23_1_3_line_3 |  | 3 | 4 | 0.097125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-23_1_3_line_4 |  | 4 | 60 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-23_1_3_line_5 |  | 5 | 6 | 0.098351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-23_1_3_line_6 |  | 6 | 11 | 0.055472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-23_1_3_line_7 |  | 6 | 12 | 0.060392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-23_1_3_line_8 |  | 7 | 8 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-23_1_3_line_9 |  | 7 | 9 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5886-23_1_3_line_10 |  | 7 | 10 | 0.051774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-23_1_3_line_11 |  | 9 | 13 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5886-23_1_3_line_12 |  | 10 | 14 | 0.048891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5886-23_1_3_line_13 |  | 10 | 15 | 0.10134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5886-23_1_3_line_14 |  | 11 | 19 | 0.042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5886-23_1_3_line_15 |  | 11 | 13 | 0.0085228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5886-23_1_3_line_16 |  | 13 | 16 | 0.044356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5886-23_1_3_line_17 |  | 14 | 17 | 0.030517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5886-23_1_3_line_18 |  | 15 | 28 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5886-23_1_3_line_19 |  | 16 | 18 | 0.035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5886-23_1_3_line_20 |  | 17 | 84 | 0.03651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-23_1_3_line_21 |  | 18 | 20 | 0.057992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5886-23_1_3_line_22 |  | 20 | 44 | 0.024894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5886-23_1_3_line_23 |  | 21 | 22 | 0.047124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-23_1_3_line_24 |  | 21 | 23 | 0.26168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-23_1_3_line_25 |  | 22 | 24 | 0.006423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5886-23_1_3_line_26 |  | 22 | 25 | 0.0078533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-23_1_3_line_27 |  | 24 | 26 | 0.031856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-23_1_3_line_28 |  | 24 | 27 | 0.004809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-23_1_3_line_29 |  | 26 | 28 | 0.054178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-23_1_3_line_30 |  | 26 | 29 | 0.077836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-23_1_3_line_31 |  | 27 | 30 | 0.041064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-23_1_3_line_32 |  | 30 | 39 | 0.034976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-23_1_3_line_33 |  | 31 | 32 | 0.054255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-23_1_3_line_34 |  | 31 | 33 | 0.060001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-23_1_3_line_35 |  | 33 | 34 | 0.055413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-23_1_3_line_36 |  | 33 | 35 | 0.045997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-23_1_3_line_37 |  | 34 | 40 | 0.11087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-23_1_3_line_38 |  | 35 | 39 | 0.031557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-23_1_3_line_39 |  | 36 | 37 | 0.078923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-23_1_3_line_40 |  | 36 | 38 | 0.11222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-23_1_3_line_41 |  | 37 | 45 | 0.030147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-23_1_3_line_42 |  | 37 | 44 | 0.029251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-23_1_3_line_43 |  | 38 | 71 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-23_1_3_line_44 |  | 38 | 42 | 0.0070247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-23_1_3_line_45 |  | 41 | 42 | 0.0049366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-23_1_3_line_46 |  | 41 | 43 | 0.0062681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-23_1_3_line_47 |  | 43 | 68 | 0.0060109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5886-23_1_3_line_48 |  | 45 | 51 | 0.0040034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-23_1_3_line_49 |  | 46 | 47 | 0.020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5886-23_1_3_line_50 |  | 46 | 48 | 0.025688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-23_1_3_line_51 |  | 48 | 49 | 0.037726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5886-23_1_3_line_52 |  | 49 | 51 | 0.008434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-23_1_3_line_53 |  | 49 | 50 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5886-23_1_3_line_54 |  | 51 | 52 | 0.042181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5886-23_1_3_line_55 |  | 52 | 70 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-23_1_3_line_56 |  | 53 | 54 | 0.054411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5886-23_1_3_line_57 |  | 54 | 55 | 0.011169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-23_1_3_line_58 |  | 54 | 56 | 0.028076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5886-23_1_3_line_59 |  | 55 | 74 | 0.089671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-23_1_3_line_60 |  | 57 | 58 | 0.023546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-23_1_3_line_61 |  | 58 | 59 | 0.0015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-23_1_3_line_62 |  | 59 | 61 | 0.027403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5886-23_1_3_line_63 |  | 60 | 69 | 0.01159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5886-23_1_3_line_64 |  | 61 | 62 | 0.017863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5886-23_1_3_line_65 |  | 62 | 63 | 0.073585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5886-23_1_3_line_66 |  | 63 | 64 | 0.0074784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5886-23_1_3_line_67 |  | 63 | 65 | 0.029911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5886-23_1_3_line_68 |  | 64 | 66 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5886-23_1_3_line_69 |  | 66 | 70 | 0.03597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5886-23_1_3_line_70 |  | 67 | 68 | 0.0062109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5886-23_1_3_line_71 |  | 67 | 69 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5886-23_1_3_line_72 |  | 71 | 72 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5886-23_1_3_line_73 |  | 72 | 73 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5886-23_1_3_line_74 |  | 74 | 75 | 0.051429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5886-23_1_3_line_75 |  | 75 | 76 | 0.0098947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5886-23_1_3_line_76 |  | 76 | 77 | 0.0058346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5886-23_1_3_line_77 |  | 77 | 78 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5886-23_1_3_line_78 |  | 78 | 79 | 0.01211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5886-23_1_3_line_79 |  | 79 | 80 | 0.057063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5886-23_1_3_line_80 |  | 80 | 81 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5886-23_1_3_line_81 |  | 81 | 82 | 0.0099648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5886-23_1_3_line_82 |  | 82 | 83 | 0.0076086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5886-23_1_3_line_83 |  | 83 | 84 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5886-23_1_3_line_84 |  | 84 | 86 | 0.090606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5886-23_1_3_line_85 |  | 85 | 86 | 0.043254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-23_1_3_trafo_61 | 0.63 MVA 20/0.4 kV | 87 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2559981.718 | 1143226.0601 | 2559985.2451 | 1143213.9932 | 2559985.4762 | 1143212.8224
1 | 2559981.718 | 1143226.0601 | 2559975.1665 | 1143248.4735
2 | 2560017.6787 | 1143231.531 | 2559981.718 | 1143226.0601
3 | 2560017.6787 | 1143231.531 | 2560012.4611 | 1143252.4541 | 2560006.6891 | 1143274.3591 | 2559995.2522 | 1143300.7486 | 2559983.3337 | 1143321.7496 | 2559983.3337 | 1143321.7496
4 | 2559974.3786 | 1143332.1771 | 2559983.3337 | 1143321.7496
5 | 2559726.1858 | 1143544.9194 | 2559796.7796 | 1143613.3989
6 | 2559726.1858 | 1143544.9194 | 2559757.8641 | 1143590.4567
7 | 2559771.7889 | 1143505.7078 | 2559757.1418 | 1143516.9686 | 2559739.2664 | 1143530.7174 | 2559729.2499 | 1143540.6117 | 2559726.1858 | 1143544.9194
8 | 2559729.5687 | 1143628.3876 | 2559715.2695 | 1143643.5682
9 | 2559729.5687 | 1143628.3876 | 2559738.602 | 1143617.5623
10 | 2559688.3335 | 1143597.079 | 2559729.5687 | 1143628.3876
11 | 2559755.6906 | 1143598.6977 | 2559747.1718 | 1143607.2924 | 2559738.602 | 1143617.5623
12 | 2559688.3335 | 1143597.079 | 2559687.5593 | 1143597.9645 | 2559679.5145 | 1143608.4793 | 2559667.9542 | 1143616.1607 | 2559654.6108 | 1143620.3745 | 2559648.0159 | 1143620.0522
13 | 2559688.3335 | 1143597.079 | 2559766.2801 | 1143661.8368
14 | 2559789.6236 | 1143563.7531 | 2559779.8071 | 1143567.8652 | 2559757.8641 | 1143590.4567 | 2559757.8641 | 1143590.4567
15 | 2559755.6906 | 1143598.6977 | 2559757.8641 | 1143590.4567
16 | 2559755.6906 | 1143598.6977 | 2559761.5379 | 1143592.8111 | 2559770.4461 | 1143588.4382 | 2559779.9506 | 1143584.7284 | 2559795.8735 | 1143584.1805
17 | 2559621.9946 | 1143606.3862 | 2559626.9502 | 1143611.9446 | 2559633.768 | 1143616.7124 | 2559643.2104 | 1143619.8173 | 2559648.0159 | 1143620.0522
18 | 2559772.5425 | 1143672.0557 | 2559766.2801 | 1143661.8368
19 | 2559830.6526 | 1143580.1944 | 2559830.1812 | 1143580.4351 | 2559820.554 | 1143583.034 | 2559810.4296 | 1143583.6797 | 2559795.8735 | 1143584.1805
20 | 2559621.9946 | 1143606.3862 | 2559636.1207 | 1143595.1301 | 2559649.5298 | 1143582.3781
21 | 2559830.6526 | 1143580.1944 | 2559838.7437 | 1143576.0646 | 2559846.019 | 1143568.8123 | 2559853.1703 | 1143557.9591 | 2559866.5083 | 1143536.0642
22 | 2559880.0834 | 1143515.2081 | 2559872.2505 | 1143526.6381 | 2559866.5083 | 1143536.0642
23 | 2559854.3878 | 1143656.301 | 2559849.8583 | 1143659.2772 | 2559840.9202 | 1143666.0847 | 2559828.5324 | 1143675.2943 | 2559820.1484 | 1143679.9193 | 2559818.1416 | 1143684.9949
24 | 2559818.1416 | 1143684.9949 | 2559915.963 | 1143927.7025
25 | 2559852.771 | 1143650.0864 | 2559853.6532 | 1143653.3155 | 2559854.3878 | 1143656.301
26 | 2559854.3878 | 1143656.301 | 2559860.4633 | 1143658.1281 | 2559861.9677 | 1143658.2461
27 | 2559820.9976 | 1143648.2865 | 2559825.3653 | 1143648.6908 | 2559836.157 | 1143650.1751 | 2559846.4586 | 1143650.7733 | 2559852.771 | 1143650.0864
28 | 2559852.771 | 1143650.0864 | 2559857.2867 | 1143648.4329
29 | 2559820.9976 | 1143648.2865 | 2559818.4866 | 1143648.57 | 2559815.8541 | 1143649.0768 | 2559812.827 | 1143650.3421 | 2559804.2686 | 1143654.1567 | 2559798.5815 | 1143657.5631 | 2559777.2101 | 1143669.0563 | 2559772.5425 | 1143672.0557
30 | 2559820.9976 | 1143648.2865 | 2559832.6594 | 1143636.2136 | 2559847.4664 | 1143622.1631 | 2559859.6573 | 1143609.9089 | 2559873.7194 | 1143591.2641
31 | 2559857.2867 | 1143648.4329 | 2559858.2445 | 1143648.0822 | 2559864.3207 | 1143645.407 | 2559868.8207 | 1143642.6089 | 2559873.8669 | 1143638.7399 | 2559887.7176 | 1143621.9744
32 | 2559887.7176 | 1143621.9744 | 2559909.9938 | 1143595.0102
33 | 2559996.9286 | 1143608.2383 | 2559997.4849 | 1143613.3038 | 2559991.2265 | 1143620.9493 | 2559982 | 1143630.649 | 2559974.7066 | 1143642.1144 | 2559968.1133 | 1143652.5525
34 | 2559974.1372 | 1143552.7343 | 2559996.9286 | 1143608.2383
35 | 2560020.3271 | 1143522.1223 | 2559974.1372 | 1143552.7343
36 | 2559933.5702 | 1143574.0336 | 2559935.4107 | 1143572.396 | 2559964.7085 | 1143558.9831 | 2559974.1372 | 1143552.7343
37 | 2560104.3912 | 1143450.0206 | 2560087.2245 | 1143465.6217 | 2560053.3067 | 1143495.1396 | 2560031.6032 | 1143514.6492 | 2560020.3271 | 1143522.1223
38 | 2559909.9938 | 1143595.0102 | 2559909.9938 | 1143595.0102 | 2559933.5702 | 1143574.0336
39 | 2559843.7267 | 1143440.9379 | 2559901.0644 | 1143495.1707
40 | 2559925.1514 | 1143367.1155 | 2559913.5375 | 1143372.629 | 2559898.8996 | 1143378.7519 | 2559887.7731 | 1143387.0636 | 2559874.5087 | 1143402.0596 | 2559861.2514 | 1143419.2568 | 2559843.7267 | 1143440.9379
41 | 2559901.0644 | 1143495.1707 | 2559910.2287 | 1143489.6105 | 2559921.5946 | 1143484.9547 | 2559928.6502 | 1143483.8247
42 | 2559901.0644 | 1143495.1707 | 2559900.0948 | 1143495.759 | 2559890.6729 | 1143502.6697 | 2559881.8859 | 1143512.5778 | 2559880.0834 | 1143515.2081
43 | 2559925.1514 | 1143367.1155 | 2559938.8458 | 1143348.5593 | 2559941.4645 | 1143343.6263
44 | 2559925.1514 | 1143367.1155 | 2559931.4966 | 1143364.1012
45 | 2559935.8546 | 1143361.7935 | 2559933.8619 | 1143362.9776 | 2559931.4966 | 1143364.1012
46 | 2559941.2431 | 1143358.5915 | 2559935.8546 | 1143361.7935
47 | 2559946.4106 | 1143355.5208 | 2559941.2431 | 1143358.5915
48 | 2559932.6032 | 1143483.1916 | 2559928.6502 | 1143483.8247
49 | 2559874.7501 | 1143545.3643 | 2559884.2798 | 1143527.653
50 | 2559901.5368 | 1143509.1784 | 2559895.307 | 1143513.0441 | 2559885.9998 | 1143524.4564 | 2559884.2798 | 1143527.653
51 | 2559934.8322 | 1143491.3253 | 2559910.7591 | 1143503.4585 | 2559901.5368 | 1143509.1784
52 | 2559934.8322 | 1143491.3253 | 2559932.6032 | 1143483.1916
53 | 2559934.8322 | 1143491.3253 | 2559937.3707 | 1143496.2998 | 2559937.5986 | 1143500.9
54 | 2559932.6032 | 1143483.1916 | 2559974.2538 | 1143476.5266
55 | 2559974.2538 | 1143476.5266 | 2559991.9539 | 1143473.6943
56 | 2559842.6625 | 1143346.3714 | 2559812.0247 | 1143301.4058
57 | 2559842.6625 | 1143346.3714 | 2559833.9201 | 1143353.3219
58 | 2559864.6395 | 1143328.8989 | 2559842.6625 | 1143346.3714
59 | 2559833.9201 | 1143353.3219 | 2559813.5786 | 1143369.4941 | 2559789.3791 | 1143388.043 | 2559776.7553 | 1143401.1229 | 2559772.1793 | 1143408.6685 | 2559769.462 | 1143414.2312
60 | 2560106.8607 | 1143367.2748 | 2560099.905 | 1143344.7796
61 | 2560106.8607 | 1143367.2748 | 2560107.0217 | 1143368.7779
62 | 2560109.941 | 1143396.0245 | 2560107.0217 | 1143368.7779
63 | 2559966.4881 | 1143340.6191 | 2559968.5467 | 1143338.9679 | 2559974.3786 | 1143332.1771
64 | 2560109.941 | 1143396.0245 | 2560097.2686 | 1143408.6148
65 | 2560042.8533 | 1143457.8567 | 2560049.3715 | 1143453.4334 | 2560060.4219 | 1143445.2225 | 2560097.2686 | 1143408.6148
66 | 2560042.8533 | 1143457.8567 | 2560037.6815 | 1143461.3706 | 2560036.5496 | 1143461.8412
67 | 2560050.2233 | 1143428.9375 | 2560047.8203 | 1143437.4133 | 2560044.0808 | 1143449.4553 | 2560042.8533 | 1143457.8567
68 | 2560026.9577 | 1143465.8288 | 2560036.5496 | 1143461.8412
69 | 2559991.9539 | 1143473.6943 | 2560009.6558 | 1143470.8616 | 2560024.0398 | 1143467.0419 | 2560026.9577 | 1143465.8288
70 | 2559951.7499 | 1143352.348 | 2559946.4106 | 1143355.5208
71 | 2559951.7499 | 1143352.348 | 2559952.1954 | 1143352.0833 | 2559966.4881 | 1143340.6191
72 | 2559941.4645 | 1143343.6263 | 2559948.3296 | 1143330.6943
73 | 2559948.3296 | 1143330.6943 | 2559955.3368 | 1143317.4946
74 | 2559736.5472 | 1143445.9702 | 2559743.8514 | 1143446.4772 | 2559749.5255 | 1143445.7055 | 2559754.856 | 1143442.9573 | 2559758.9249 | 1143437.7497 | 2559767.0089 | 1143419.2529 | 2559769.462 | 1143414.2312
75 | 2559736.5472 | 1143445.9702 | 2559732.8056 | 1143455.1303
76 | 2559732.8056 | 1143455.1303 | 2559731.1561 | 1143459.1686 | 2559730.5199 | 1143460.4964
77 | 2559730.5199 | 1143460.4964 | 2559724.9943 | 1143472.0275 | 2559721.7529 | 1143477.278
78 | 2559715.3462 | 1143487.5532 | 2559716.0081 | 1143486.5839 | 2559721.7529 | 1143477.278
79 | 2559715.3462 | 1143487.5532 | 2559683.2533 | 1143534.5499 | 2559683.1661 | 1143534.6772
80 | 2559683.1661 | 1143534.6772 | 2559676.1036 | 1143544.9885
81 | 2559670.4727 | 1143553.2097 | 2559676.1036 | 1143544.9885
82 | 2559670.4727 | 1143553.2097 | 2559666.1731 | 1143559.487
83 | 2559649.5298 | 1143582.3781 | 2559656.3276 | 1143573.8615 | 2559666.1731 | 1143559.487
84 | 2559574.3849 | 1143619.8238 | 2559582.6916 | 1143615.1545 | 2559614.0029 | 1143595.034 | 2559619.1387 | 1143590.7974 | 2559629.579 | 1143579.9663 | 2559636.704 | 1143576.7057 | 2559641.4565 | 1143577.1741 | 2559645.9193 | 1143579.1563 | 2559649.5298 | 1143582.3781
85 | 2559574.3849 | 1143619.8238 | 2559572.2699 | 1143609.2882 | 2559575.6832 | 1143590.0332 | 2559575.0088 | 1143582.3005 | 2559574.5942 | 1143577.1266

## bus_geodata
| x | y | coords
0 | 2559981.718 | 1143226.0601
1 | 2559985.4762 | 1143212.8224
2 | 2559975.1665 | 1143248.4735
3 | 2560017.6787 | 1143231.531
4 | 2559983.3337 | 1143321.7496
5 | 2559796.7796 | 1143613.3989
6 | 2559726.1858 | 1143544.9194
7 | 2559729.5687 | 1143628.3876
8 | 2559715.2695 | 1143643.5682
9 | 2559738.602 | 1143617.5623
10 | 2559688.3335 | 1143597.079
11 | 2559757.8641 | 1143590.4567
12 | 2559771.7889 | 1143505.7078
13 | 2559755.6906 | 1143598.6977
14 | 2559648.0159 | 1143620.0522
15 | 2559766.2801 | 1143661.8368
16 | 2559795.8735 | 1143584.1805
17 | 2559621.9946 | 1143606.3862
18 | 2559830.6526 | 1143580.1944
19 | 2559789.6236 | 1143563.7531
20 | 2559866.5083 | 1143536.0642
21 | 2559818.1416 | 1143684.9949
22 | 2559854.3878 | 1143656.301
23 | 2559915.963 | 1143927.7025
24 | 2559852.771 | 1143650.0864
25 | 2559861.9677 | 1143658.2461
26 | 2559820.9976 | 1143648.2865
27 | 2559857.2867 | 1143648.4329
28 | 2559772.5424 | 1143672.0557
29 | 2559873.7194 | 1143591.2641
30 | 2559887.7176 | 1143621.9744
31 | 2559996.9286 | 1143608.2383
32 | 2559968.1133 | 1143652.5525
33 | 2559974.1372 | 1143552.7343
34 | 2560020.3271 | 1143522.1223
35 | 2559933.5702 | 1143574.0336
36 | 2559843.7267 | 1143440.9379
37 | 2559901.0644 | 1143495.1707
38 | 2559925.1514 | 1143367.1155
39 | 2559909.9938 | 1143595.0102
40 | 2560104.3912 | 1143450.0206
41 | 2559935.8546 | 1143361.7935
42 | 2559931.4966 | 1143364.1012
43 | 2559941.2431 | 1143358.5915
44 | 2559880.0834 | 1143515.2081
45 | 2559928.6502 | 1143483.8247
46 | 2559884.2798 | 1143527.653
47 | 2559874.7501 | 1143545.3643
48 | 2559901.5368 | 1143509.1784
49 | 2559934.8322 | 1143491.3253
50 | 2559937.5986 | 1143500.9
51 | 2559932.6032 | 1143483.1916
52 | 2559974.2538 | 1143476.5266
53 | 2559812.0247 | 1143301.4058
54 | 2559842.6625 | 1143346.3714
55 | 2559833.9201 | 1143353.3219
56 | 2559864.6395 | 1143328.8989
57 | 2560099.905 | 1143344.7796
58 | 2560106.8607 | 1143367.2748
59 | 2560107.0217 | 1143368.7779
60 | 2559974.3786 | 1143332.1771
61 | 2560109.941 | 1143396.0245
62 | 2560097.2686 | 1143408.6148
63 | 2560042.8533 | 1143457.8567
64 | 2560036.5496 | 1143461.8412
65 | 2560050.2233 | 1143428.9375
66 | 2560026.9577 | 1143465.8288
67 | 2559951.7499 | 1143352.348
68 | 2559946.4106 | 1143355.5208
69 | 2559966.4881 | 1143340.6191
70 | 2559991.9539 | 1143473.6943
71 | 2559941.4645 | 1143343.6263
72 | 2559948.3296 | 1143330.6943
73 | 2559955.3368 | 1143317.4946
74 | 2559769.462 | 1143414.2312
75 | 2559736.5472 | 1143445.9702
76 | 2559732.8056 | 1143455.1303
77 | 2559730.5199 | 1143460.4964
78 | 2559721.7529 | 1143477.278
79 | 2559715.3462 | 1143487.5532
80 | 2559683.1661 | 1143534.6772
81 | 2559676.1036 | 1143544.9885
82 | 2559670.4727 | 1143553.2097
83 | 2559666.1731 | 1143559.487
84 | 2559649.5298 | 1143582.3781
85 | 2559574.5942 | 1143577.1266
86 | 2559574.3849 | 1143619.8238
87 | 2559932.6032 | 1143483.1916

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1