## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-32_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-32_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-32_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5886-32_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5886-32_0_2_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_5886-32_0_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5886-32_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5886-32_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5886-32_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_5886-32_0_2_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5886-32_0_2_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_5886-32_0_2_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_5886-32_0_2_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5886-32_0_2_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5886-32_0_2_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_5886-32_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5886-32_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_5886-32_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5886-32_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5886-32_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5886-32_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_5886-32_0_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5886-32_0_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_5886-32_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5886-32_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5886-32_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5886-32_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5886-32_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5886-32_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5886-32_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5886-32_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_5886-32_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5886-32_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5886-32_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5886-32_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5886-32_0_2_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5886-32_0_2_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5886-32_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5886-32_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5886-32_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5886-32_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5886-32_0_2_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5886-32_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5886-32_0_2_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_5886-32_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5886-32_0_2_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5886-32_0_2_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_5886-32_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5886-32_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5886-32_0_2_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_5886-32_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5886-32_0_2_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_5886-32_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5886-32_0_2_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5886-32_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5886-32_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5886-32_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5886-32_0_2_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_5886-32_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5886-32_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5886-32_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5886-32_0_2_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_5886-32_0_2_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_5886-32_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5886-32_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5886-32_0_2_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5886-32_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5886-32_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5886-32_0_2_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_5886-32_0_2_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_5886-32_0_2_node_63 | 0.4 | n |  | TRUE
71 | bus_MV_261_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-32_0_2_load_0 | 0 | 0.0018155 | 0.000455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-32_0_2_load_2 | 2 | 0.0012288 | 0.00030797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-32_0_2_load_11 | 5 | 0.002273 | 0.00056967 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-32_0_2_load_10 | 7 | 0.0024691 | 0.0006188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-32_0_2_load_35 | 8 | 0.002275 | 0.00057016 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-32_0_2_load_27 | 9 | 0.0026567 | 0.00066584 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-32_0_2_load_60 | 10 | 0.00073914 | 0.00018525 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-32_0_2_load_49 | 11 | 0.00083811 | 0.00021005 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-32_0_2_load_33 | 12 | 0.0032049 | 0.00080323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-32_0_2_load_39 | 13 | 0.0011487 | 0.00028789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-32_0_2_load_25 | 14 | 0.0020096 | 0.00050366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-32_0_2_load_5 | 15 | 0.0064715 | 0.0016219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-32_0_2_load_6 | 16 | 0.0034167 | 0.0008563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-32_0_2_load_7 | 17 | 0.0018396 | 0.00046104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-32_0_2_load_8 | 18 | 0.0011703 | 0.00029329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-32_0_2_load_9 | 19 | 0.0028907 | 0.00072449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-32_0_2_load_38 | 20 | 0.003993 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-32_0_2_load_37 | 21 | 0.00099355 | 0.00024901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-32_0_2_load_34 | 22 | 0.0028914 | 0.00072465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-32_0_2_load_12 | 23 | 0.00045705 | 0.00011455 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-32_0_2_load_13 | 24 | 0.0035443 | 0.0008883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-32_0_2_load_14 | 25 | 0.00074706 | 0.00018723 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-32_0_2_load_15 | 26 | 0.0033523 | 0.00084016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-32_0_2_load_16 | 27 | 0.0047092 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-32_0_2_load_26 | 28 | 0.0037713 | 0.00094518 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-32_0_2_load_24 | 29 | 0.0019369 | 0.00048544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-32_0_2_load_17 | 33 | 0.00047865 | 0.00011996 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-32_0_2_load_18 | 34 | 0.0010257 | 0.00025706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-32_0_2_load_20 | 36 | 0.0021626 | 0.000542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-32_0_2_load_22 | 37 | 0.00047659 | 0.00011944 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-32_0_2_load_31 | 38 | 0.0014883 | 0.000373 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-32_0_2_load_30 | 39 | 0.0015321 | 0.00038399 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-32_0_2_load_29 | 40 | 0.001671 | 0.0004188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-32_0_2_load_23 | 41 | 0.0021114 | 0.00052918 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-32_0_2_load_28 | 42 | 0.0015603 | 0.00039105 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-32_0_2_load_68 | 43 | 0.0039472 | 0.00098925 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-32_0_2_load_40 | 44 | 0.0024181 | 0.00060603 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-32_0_2_load_41 | 45 | 0.0011642 | 0.00029178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-32_0_2_load_46 | 47 | 0.00066103 | 0.00016567 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-32_0_2_load_43 | 48 | 0.00036267 | 9.0895e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-32_0_2_load_42 | 50 | 0.00053283 | 0.00013354 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-32_0_2_load_62 | 51 | 0.00080983 | 0.00020296 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-32_0_2_load_45 | 52 | 0.0017406 | 0.00043623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-32_0_2_load_58 | 53 | 0.00061065 | 0.00015304 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-32_0_2_load_47 | 54 | 0.00059884 | 0.00015008 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-32_0_2_load_51 | 55 | 0.00074856 | 0.00018761 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-32_0_2_load_67 | 57 | 0.0012447 | 0.00031195 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-32_0_2_load_55 | 58 | 0.00081943 | 0.00020537 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-32_0_2_load_54 | 60 | 0.00032276 | 8.089e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-32_0_2_load_74 | 61 | 0.00038163 | 9.5646e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-32_0_2_load_56 | 63 | 0.00042591 | 0.00010674 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-32_0_2_load_72 | 65 | 0.0037514 | 0.00094018 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-32_0_2_load_65 | 67 | 0.00022587 | 5.6608e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5886-32_0_2_load_73 | 69 | 0.0040318 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5886-32_0_2_load_63 | 70 | 0.00052325 | 0.00013114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-32_0_2_line_0 |  | 0 | 1 | 0.0452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-32_0_2_line_1 |  | 1 | 2 | 0.0721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-32_0_2_line_2 |  | 1 | 3 | 0.18998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-32_0_2_line_3 |  | 2 | 4 | 0.23762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-32_0_2_line_4 |  | 3 | 5 | 0.01236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-32_0_2_line_5 |  | 3 | 6 | 0.044988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-32_0_2_line_6 |  | 3 | 7 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-32_0_2_line_7 |  | 4 | 10 | 0.18397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-32_0_2_line_8 |  | 4 | 11 | 0.37385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-32_0_2_line_9 |  | 5 | 12 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5886-32_0_2_line_10 |  | 6 | 8 | 0.014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-32_0_2_line_11 |  | 6 | 9 | 0.031766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5886-32_0_2_line_12 |  | 8 | 13 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5886-32_0_2_line_13 |  | 9 | 14 | 0.023599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5886-32_0_2_line_14 |  | 10 | 52 | 0.23756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5886-32_0_2_line_15 |  | 10 | 53 | 0.19375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5886-32_0_2_line_16 |  | 11 | 54 | 0.048019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5886-32_0_2_line_17 |  | 12 | 22 | 0.059374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5886-32_0_2_line_18 |  | 13 | 18 | 0.015092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5886-32_0_2_line_19 |  | 14 | 41 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-32_0_2_line_20 |  | 15 | 16 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-32_0_2_line_21 |  | 15 | 17 | 0.027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-32_0_2_line_22 |  | 16 | 18 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-32_0_2_line_23 |  | 17 | 19 | 0.068315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-32_0_2_line_24 |  | 19 | 20 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-32_0_2_line_25 |  | 20 | 21 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5886-32_0_2_line_26 |  | 21 | 36 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-32_0_2_line_27 |  | 22 | 44 | 0.02221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-32_0_2_line_28 |  | 23 | 24 | 0.035891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-32_0_2_line_29 |  | 23 | 25 | 0.032147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-32_0_2_line_30 |  | 24 | 26 | 0.029005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-32_0_2_line_31 |  | 25 | 27 | 0.040905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-32_0_2_line_32 |  | 26 | 28 | 0.044285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-32_0_2_line_33 |  | 28 | 29 | 0.033498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-32_0_2_line_34 |  | 29 | 41 | 0.026656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-32_0_2_line_35 |  | 30 | 31 | 0.007099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-32_0_2_line_36 |  | 30 | 32 | 0.14359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-32_0_2_line_37 |  | 31 | 43 | 0.022631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-32_0_2_line_38 |  | 32 | 38 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-32_0_2_line_39 |  | 32 | 35 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-32_0_2_line_40 |  | 33 | 34 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-32_0_2_line_41 |  | 33 | 35 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-32_0_2_line_42 |  | 34 | 36 | 0.0095772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-32_0_2_line_43 |  | 35 | 37 | 0.0080768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-32_0_2_line_44 |  | 37 | 39 | 0.016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-32_0_2_line_45 |  | 39 | 40 | 0.0060875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-32_0_2_line_46 |  | 40 | 42 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-32_0_2_line_47 |  | 43 | 49 | 0.13332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5886-32_0_2_line_48 |  | 44 | 45 | 0.24381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-32_0_2_line_49 |  | 45 | 50 | 0.078201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5886-32_0_2_line_50 |  | 46 | 47 | 0.076306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-32_0_2_line_51 |  | 46 | 48 | 0.057427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5886-32_0_2_line_52 |  | 48 | 52 | 0.075158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-32_0_2_line_53 |  | 49 | 59 | 0.33655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5886-32_0_2_line_54 |  | 50 | 51 | 0.085729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5886-32_0_2_line_55 |  | 55 | 56 | 0.15288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-32_0_2_line_56 |  | 55 | 57 | 0.097189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5886-32_0_2_line_57 |  | 56 | 58 | 0.15878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-32_0_2_line_58 |  | 57 | 60 | 0.012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5886-32_0_2_line_59 |  | 58 | 61 | 0.36731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-32_0_2_line_60 |  | 59 | 60 | 0.18633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-32_0_2_line_61 |  | 61 | 62 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-32_0_2_line_62 |  | 62 | 68 | 0.008527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5886-32_0_2_line_63 |  | 62 | 69 | 0.093663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5886-32_0_2_line_64 |  | 63 | 64 | 0.13521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5886-32_0_2_line_65 |  | 63 | 65 | 0.13305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5886-32_0_2_line_66 |  | 64 | 66 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5886-32_0_2_line_67 |  | 66 | 67 | 0.16734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5886-32_0_2_line_68 |  | 66 | 68 | 0.15296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5886-32_0_2_line_69 |  | 67 | 70 | 0.16747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-32_0_2_trafo_20 | 0.63 MVA 20/0.4 kV | 71 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2561888.8244 | 1144514.1162 | 2561888.224 | 1144507.8946 | 2561883.867 | 1144502.9864 | 2561877.2565 | 1144500.1602 | 2561867.9761 | 1144499.1852 | 2561852.6317 | 1144495.1511
1 | 2561868.7138 | 1144449.522 | 2561890.6604 | 1144487.3799 | 2561894.0441 | 1144498.7531 | 2561891.3008 | 1144510.8322 | 2561888.8244 | 1144514.1162
2 | 2561771.5861 | 1144633.6429 | 2561770.2663 | 1144630.294 | 2561829.6405 | 1144611.4852 | 2561839.5449 | 1144605.4749 | 2561847.2704 | 1144596.3435 | 2561851.1199 | 1144591.5055 | 2561854.8135 | 1144583.9005 | 2561854.9438 | 1144577.7854 | 2561851.1978 | 1144562.6126 | 2561851.3165 | 1144554.6856 | 2561856.0683 | 1144546.7292 | 2561866.1471 | 1144541.5405 | 2561876.0233 | 1144531.0726 | 2561888.8244 | 1144514.1162
3 | 2561868.7138 | 1144449.522 | 2562001.203 | 1144252.2615
4 | 2561771.5861 | 1144633.6429 | 2561760.4567 | 1144639.0188
5 | 2561756.5335 | 1144591.2727 | 2561762.1227 | 1144608.6904 | 2561763.7453 | 1144613.7382 | 2561770.2663 | 1144630.294 | 2561771.5861 | 1144633.6429
6 | 2561771.5861 | 1144633.6429 | 2561778.3184 | 1144648.2734
7 | 2562001.203 | 1144252.2615 | 2561993.324 | 1144226.287 | 2561983.1389 | 1144198.9486 | 2561972.5721 | 1144189.0437 | 2561958.0697 | 1144176.4957 | 2561946.2783 | 1144169.8002 | 2561914.5712 | 1144126.9569 | 2561895.7136 | 1144107.4553
8 | 2562001.203 | 1144252.2615 | 2562299.2723 | 1144026.6162
9 | 2561742.8306 | 1144647.5328 | 2561742.8306 | 1144647.5328 | 2561760.4567 | 1144639.0188
10 | 2561756.5335 | 1144591.2727 | 2561746.4293 | 1144581.3609
11 | 2561756.5335 | 1144591.2727 | 2561746.4632 | 1144561.1456
12 | 2561746.4293 | 1144581.3609 | 2561746.3662 | 1144581.2989 | 2561737.5345 | 1144572.3506 | 2561730.3231 | 1144566.2865
13 | 2561746.4632 | 1144561.1456 | 2561744.7532 | 1144556.0297 | 2561740.2663 | 1144544.0188 | 2561737.9589 | 1144539.1553
14 | 2561663.7232 | 1144158.5773 | 2561895.7136 | 1144107.4553
15 | 2561895.7136 | 1144107.4553 | 2561836.4318 | 1143922.9996
16 | 2562299.2723 | 1144026.6162 | 2562301.2079 | 1144039.9553 | 2562307.8638 | 1144048.7514 | 2562319.0327 | 1144055.4626 | 2562327.6365 | 1144061.4458
17 | 2561742.8306 | 1144647.5328 | 2561726.0091 | 1144617.0021 | 2561704.7807 | 1144629.2656 | 2561704.7807 | 1144629.2656
18 | 2561719.2313 | 1144556.1335 | 2561721.0418 | 1144558.4818 | 2561730.3231 | 1144566.2865
19 | 2561737.9589 | 1144539.1553 | 2561735.1184 | 1144533.1683 | 2561730.4284 | 1144525.4609 | 2561725.6387 | 1144520.1998
20 | 2561702.5177 | 1144534.1761 | 2561709.1323 | 1144543.5699
21 | 2561702.5177 | 1144534.1761 | 2561700.4916 | 1144531.2988 | 2561690.4942 | 1144519.0785 | 2561686.1364 | 1144512.436
22 | 2561719.2313 | 1144556.1335 | 2561715.2078 | 1144550.9151 | 2561709.7574 | 1144544.4576 | 2561709.1323 | 1144543.5699
23 | 2561686.1364 | 1144512.436 | 2561675.395 | 1144496.063 | 2561663.0057 | 1144475.0757 | 2561648.7804 | 1144455.2983
24 | 2561638.3858 | 1144440.2642 | 2561642.1282 | 1144446.0497 | 2561648.7804 | 1144455.2983
25 | 2561622.7923 | 1144416.1732 | 2561626.1286 | 1144420.4498 | 2561634.6085 | 1144434.4251 | 2561638.3858 | 1144440.2642
26 | 2561622.7923 | 1144416.1732 | 2561619.2336 | 1144411.6116 | 2561614.5494 | 1144406.508
27 | 2561687.3721 | 1144615.474 | 2561704.7807 | 1144629.2656
28 | 2561653.9409 | 1144409.8201 | 2561650.6734 | 1144400.3943 | 2561647.4489 | 1144391.1768 | 2561645.8539 | 1144386.8737 | 2561642.7696 | 1144381.5795 | 2561639.8702 | 1144377.5515 | 2561639.5617 | 1144377.1969
29 | 2561614.3622 | 1144357.579 | 2561625.4547 | 1144364.2145 | 2561631.464 | 1144369.1231 | 2561635.9379 | 1144373.0299 | 2561639.5617 | 1144377.1969
30 | 2561664.2398 | 1144436.912 | 2561662.8421 | 1144433.7558 | 2561659.8632 | 1144426.9047 | 2561653.9409 | 1144409.8201
31 | 2561579.3686 | 1144336.4012 | 2561593.9309 | 1144345.4617 | 2561612.4731 | 1144356.4489 | 2561614.3622 | 1144357.579
32 | 2561664.2398 | 1144436.912 | 2561668.4631 | 1144446.4487 | 2561674.5472 | 1144458.2826 | 2561678.9003 | 1144466.1588 | 2561683.6921 | 1144474.1435 | 2561685.0139 | 1144475.9485
33 | 2561685.0139 | 1144475.9485 | 2561689.7612 | 1144482.4312 | 2561697.4167 | 1144491.2648 | 2561706.7543 | 1144501.3898
34 | 2561706.7543 | 1144501.3898 | 2561708.241 | 1144503.0018 | 2561725.6387 | 1144520.1998 | 2561725.6387 | 1144520.1998
35 | 2561415.9385 | 1144369.0015 | 2561409.2303 | 1144371.3791
36 | 2561415.9385 | 1144369.0015 | 2561420.8543 | 1144369.9149 | 2561429.5015 | 1144369.1591 | 2561436.4226 | 1144367.6362 | 2561443.8607 | 1144366.4657 | 2561448.1746 | 1144366.9716 | 2561463.7656 | 1144370.6291 | 2561468.702 | 1144371.1533 | 2561480.1725 | 1144369.7125 | 2561492.8731 | 1144368.386 | 2561506.21 | 1144364.4209 | 2561516.3464 | 1144362.2327 | 2561524.9128 | 1144362.0667 | 2561532.1271 | 1144363.1322 | 2561543.1052 | 1144366.397 | 2561556.2597 | 1144372.3604
37 | 2561409.2303 | 1144371.3791 | 2561387.8965 | 1144378.932
38 | 2561556.2597 | 1144372.3604 | 2561557.2397 | 1144366.9959 | 2561552.3438 | 1144350.7325
39 | 2561556.2597 | 1144372.3604 | 2561568.5969 | 1144379.0961 | 2561586.7882 | 1144388.0734
40 | 2561607.5148 | 1144400.0611 | 2561604.3157 | 1144397.7998 | 2561598.2784 | 1144394.1515
41 | 2561586.7882 | 1144388.0734 | 2561596.1238 | 1144392.8495 | 2561598.2784 | 1144394.1515
42 | 2561607.5148 | 1144400.0611 | 2561609.9734 | 1144401.799 | 2561614.2428 | 1144406.174 | 2561614.5494 | 1144406.508
43 | 2561586.7882 | 1144388.0734 | 2561579.0538 | 1144390.4001
44 | 2561579.0538 | 1144390.4001 | 2561575.9901 | 1144391.3218 | 2561563.5338 | 1144387.6089
45 | 2561563.5338 | 1144387.6089 | 2561557.7 | 1144385.8701
46 | 2561557.7 | 1144385.8701 | 2561536.468 | 1144379.5415
47 | 2561259.6894 | 1144388.4711 | 2561268.1512 | 1144393.5303 | 2561273.8317 | 1144396.2507 | 2561278.5392 | 1144398.2103 | 2561282.5793 | 1144399.1625 | 2561287.6172 | 1144399.9305 | 2561292.4748 | 1144400.1549 | 2561298.595 | 1144399.5597 | 2561318.9963 | 1144396.0934 | 2561353.315 | 1144389.336 | 2561367.6832 | 1144385.653 | 2561380.3202 | 1144381.6143 | 2561387.8965 | 1144378.932
48 | 2561687.3721 | 1144615.474 | 2561677.636 | 1144607.7609 | 2561639.3335 | 1144586.0941 | 2561611.5999 | 1144563.8708 | 2561578.9099 | 1144544.025 | 2561548.6233 | 1144539.5829 | 2561528.6795 | 1144538.8434 | 2561475.9532 | 1144527.8753 | 2561466.9258 | 1144529.5253
49 | 2561466.9258 | 1144529.5253 | 2561465.8686 | 1144529.7186 | 2561420.6471 | 1144553.1759 | 2561395.4714 | 1144545.9844
50 | 2561625.7487 | 1144262.1942 | 2561632.181 | 1144262.3199 | 2561636.4881 | 1144262.9595 | 2561666.5186 | 1144274.0292 | 2561681.1758 | 1144278.2491 | 2561690.8793 | 1144280.4439 | 2561699.3247 | 1144279.3563
51 | 2561625.7487 | 1144262.1942 | 2561639.3083 | 1144253.3477 | 2561641.6596 | 1144250.9315 | 2561643.4163 | 1144248.0633 | 2561643.8589 | 1144243.9695 | 2561647.9439 | 1144213.8615
52 | 2561663.7232 | 1144158.5773 | 2561655.6545 | 1144153.7041 | 2561649.6949 | 1144156.6213 | 2561646.2159 | 1144160.5455 | 2561647.4963 | 1144167.3185 | 2561650.074 | 1144183.5326 | 2561650.7502 | 1144193.1776 | 2561647.9439 | 1144213.8615
53 | 2561259.6894 | 1144388.4711 | 2560936.2332 | 1144295.5045
54 | 2561324.7239 | 1144582.9291 | 2561329.6456 | 1144581.1966 | 2561343.9946 | 1144568.6202 | 2561352.6213 | 1144565.919 | 2561358.5253 | 1144561.6122 | 2561361.9999 | 1144554.6864 | 2561367.6375 | 1144548.3581 | 2561378.1527 | 1144544.1884 | 2561389.7791 | 1144544.3583 | 2561395.4714 | 1144545.9844
55 | 2560807.269 | 1143915.2612 | 2560812.4591 | 1143918.0844 | 2560836.1374 | 1143932.6265 | 2560880.9085 | 1143970.6768 | 2560929.5669 | 1144006.5039
56 | 2560929.5669 | 1144006.5039 | 2560927.6198 | 1144103.6731
57 | 2560959.6648 | 1143931.4675 | 2560944.4292 | 1143934.2345 | 2560919.3121 | 1143938.2996 | 2560909.0014 | 1143938.5668 | 2560895.8061 | 1143937.2185 | 2560880.5078 | 1143930.3367 | 2560857.3591 | 1143920.4155 | 2560820.2079 | 1143912.6423 | 2560809.4832 | 1143911.8895 | 2560807.269 | 1143915.2612
58 | 2560926.7291 | 1144116.4607 | 2560927.575 | 1144104.1858 | 2560927.6198 | 1144103.6731
59 | 2561314.4661 | 1143836.4385 | 2560959.6648 | 1143931.4675
60 | 2560936.2332 | 1144295.5045 | 2560924.0465 | 1144275.429 | 2560921.165 | 1144257.6942 | 2560925.707 | 1144238.8885 | 2560925.4052 | 1144222.0041 | 2560916.8071 | 1144191.3222 | 2560916.5225 | 1144169.991 | 2560926.5029 | 1144144.969 | 2560926.6691 | 1144117.3317 | 2560926.7291 | 1144116.4607
61 | 2561314.4661 | 1143836.4385 | 2561328.7621 | 1143839.2481
62 | 2561336.1112 | 1143834.8875 | 2561328.7621 | 1143839.2481
63 | 2561328.7621 | 1143839.2481 | 2561332.8412 | 1143853.3735 | 2561335.0299 | 1143867.4999 | 2561342.1531 | 1143888.965 | 2561354.3893 | 1143901.3038 | 2561357.2825 | 1143925.8198
64 | 2561437.6694 | 1143714.9304 | 2561458.3485 | 1143722.046 | 2561465.2768 | 1143725.1365 | 2561473.9065 | 1143729.9059 | 2561484.9965 | 1143738.4614 | 2561489.7594 | 1143743.011 | 2561503.3904 | 1143763.1562 | 2561509.0392 | 1143768.0559 | 2561522.9312 | 1143776.1823 | 2561531.1396 | 1143783.578 | 2561543.7354 | 1143794.0077
65 | 2561543.7354 | 1143794.0077 | 2561527.7327 | 1143926.0942
66 | 2561416.6948 | 1143704.8709 | 2561422.1851 | 1143707.7927 | 2561434.3345 | 1143713.7734 | 2561437.6694 | 1143714.9304
67 | 2561416.6948 | 1143704.8709 | 2561423.8966 | 1143701.4674 | 2561428.4529 | 1143696.558 | 2561428.377 | 1143693.1123 | 2561425.2496 | 1143689.5638 | 2561416.6903 | 1143686.2059 | 2561410.7913 | 1143683.0644 | 2561404.6167 | 1143676.4895 | 2561400.9951 | 1143670.1762 | 2561397.4378 | 1143661.906 | 2561396.531 | 1143653.5409 | 2561394.0355 | 1143646.6756 | 2561390.374 | 1143640.1402 | 2561387.3194 | 1143633.5676 | 2561384.6736 | 1143626.0363 | 2561378.7887 | 1143605.9639 | 2561372.5099 | 1143585.5828 | 2561369.9856 | 1143575.4383 | 2561369.0058 | 1143567.6629 | 2561369.1529 | 1143563.3179
68 | 2561416.6948 | 1143704.8709 | 2561336.1112 | 1143834.8875
69 | 2561369.1529 | 1143563.3179 | 2561532.5889 | 1143526.7714

## bus_geodata
| x | y | coords
0 | 2561852.6317 | 1144495.1511
1 | 2561888.8244 | 1144514.1162
2 | 2561868.7138 | 1144449.522
3 | 2561771.5861 | 1144633.6429
4 | 2562001.203 | 1144252.2615
5 | 2561760.4567 | 1144639.0188
6 | 2561756.5335 | 1144591.2727
7 | 2561778.3184 | 1144648.2734
8 | 2561746.4293 | 1144581.3609
9 | 2561746.4632 | 1144561.1456
10 | 2561895.7136 | 1144107.4553
11 | 2562299.2723 | 1144026.6162
12 | 2561742.8306 | 1144647.5328
13 | 2561730.3231 | 1144566.2865
14 | 2561737.9589 | 1144539.1553
15 | 2561702.5177 | 1144534.1761
16 | 2561709.1323 | 1144543.5699
17 | 2561686.1364 | 1144512.436
18 | 2561719.2313 | 1144556.1335
19 | 2561648.7804 | 1144455.2983
20 | 2561638.3858 | 1144440.2642
21 | 2561622.7923 | 1144416.1732
22 | 2561704.7807 | 1144629.2656
23 | 2561639.5617 | 1144377.1969
24 | 2561653.9409 | 1144409.8201
25 | 2561614.3622 | 1144357.579
26 | 2561664.2398 | 1144436.9121
27 | 2561579.3686 | 1144336.4012
28 | 2561685.0139 | 1144475.9485
29 | 2561706.7543 | 1144501.3898
30 | 2561415.9385 | 1144369.0015
31 | 2561409.2303 | 1144371.3791
32 | 2561556.2597 | 1144372.3604
33 | 2561598.2784 | 1144394.1515
34 | 2561607.5148 | 1144400.0611
35 | 2561586.7882 | 1144388.0734
36 | 2561614.5494 | 1144406.508
37 | 2561579.0538 | 1144390.4001
38 | 2561552.3438 | 1144350.7325
39 | 2561563.5338 | 1144387.6089
40 | 2561557.7 | 1144385.8701
41 | 2561725.6387 | 1144520.1998
42 | 2561536.468 | 1144379.5415
43 | 2561387.8965 | 1144378.932
44 | 2561687.3721 | 1144615.474
45 | 2561466.9258 | 1144529.5253
46 | 2561625.7487 | 1144262.1942
47 | 2561699.3247 | 1144279.3563
48 | 2561647.9439 | 1144213.8615
49 | 2561259.6894 | 1144388.4711
50 | 2561395.4714 | 1144545.9844
51 | 2561324.7239 | 1144582.9291
52 | 2561663.7232 | 1144158.5773
53 | 2561836.4318 | 1143922.9996
54 | 2562327.6365 | 1144061.4458
55 | 2560929.5669 | 1144006.5039
56 | 2560807.269 | 1143915.2612
57 | 2560927.6198 | 1144103.6731
58 | 2560959.6648 | 1143931.4675
59 | 2560936.2332 | 1144295.5045
60 | 2560926.7291 | 1144116.4607
61 | 2561314.4661 | 1143836.4385
62 | 2561328.7621 | 1143839.2481
63 | 2561543.7354 | 1143794.0077
64 | 2561437.6694 | 1143714.9304
65 | 2561527.7327 | 1143926.0942
66 | 2561416.6948 | 1143704.8709
67 | 2561369.1529 | 1143563.3179
68 | 2561336.1112 | 1143834.8875
69 | 2561357.2825 | 1143925.8198
70 | 2561532.5889 | 1143526.7714
71 | 2561614.5494 | 1144406.508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1