## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-33_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5886-33_0_3_node_73 | 0.4 | n |  | TRUE
4 | bus_LV_5886-33_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5886-33_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5886-33_0_3_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_5886-33_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5886-33_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5886-33_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5886-33_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5886-33_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5886-33_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5886-33_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5886-33_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5886-33_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_5886-33_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5886-33_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5886-33_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5886-33_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5886-33_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5886-33_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_5886-33_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_5886-33_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_5886-33_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5886-33_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5886-33_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5886-33_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5886-33_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5886-33_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5886-33_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5886-33_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5886-33_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5886-33_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5886-33_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5886-33_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5886-33_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_5886-33_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_5886-33_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5886-33_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5886-33_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5886-33_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_5886-33_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5886-33_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5886-33_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_5886-33_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5886-33_0_3_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_5886-33_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_5886-33_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5886-33_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_5886-33_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5886-33_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5886-33_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5886-33_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_5886-33_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5886-33_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5886-33_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5886-33_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5886-33_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5886-33_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5886-33_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5886-33_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_5886-33_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5886-33_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5886-33_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5886-33_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5886-33_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5886-33_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_5886-33_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5886-33_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5886-33_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5886-33_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5886-33_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_MV_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-33_0_3_load_0 | 0 | 0.0015373 | 0.00038528 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-33_0_3_load_1 | 1 | 0.00021386 | 5.3598e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-33_0_3_load_2 | 2 | 0.000509 | 0.00012757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-33_0_3_load_73 | 3 | 0.000328 | 8.2205e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-33_0_3_load_4 | 4 | 0.00090029 | 0.00022564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-33_0_3_load_3 | 5 | 0.00084578 | 0.00021197 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-33_0_3_load_15 | 7 | 0.00026637 | 6.676e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-33_0_3_load_16 | 8 | 0.00039415 | 9.8783e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-33_0_3_load_6 | 9 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-33_0_3_load_7 | 10 | 0.001625 | 0.00040727 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-33_0_3_load_9 | 12 | 0.00095932 | 0.00024043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-33_0_3_load_10 | 13 | 0.00019646 | 4.9237e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-33_0_3_load_11 | 14 | 0.0029725 | 0.00074498 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-33_0_3_load_21 | 15 | 0.0040946 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-33_0_3_load_12 | 16 | 0.00018391 | 4.6092e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-33_0_3_load_17 | 17 | 0.0069268 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-33_0_3_load_13 | 19 | 0.00064736 | 0.00016224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-33_0_3_load_40 | 21 | 0.00037699 | 9.4482e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-33_0_3_load_37 | 22 | 0.0013766 | 0.00034502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-33_0_3_load_38 | 23 | 0.00073148 | 0.00018333 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-33_0_3_load_39 | 24 | 0.0005234 | 0.00013118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-33_0_3_load_26 | 27 | 0.001432 | 0.00035889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-33_0_3_load_29 | 29 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-33_0_3_load_25 | 30 | 0.0021586 | 0.00054099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-33_0_3_load_22 | 31 | 0.0030442 | 0.00076295 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-33_0_3_load_23 | 32 | 0.002257 | 0.00056566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-33_0_3_load_30 | 33 | 0.00088756 | 0.00022244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-33_0_3_load_28 | 34 | 0.00044146 | 0.00011064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-33_0_3_load_31 | 35 | 0.0013501 | 0.00033837 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-33_0_3_load_52 | 36 | 0.00037499 | 9.3983e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-33_0_3_load_50 | 37 | 0.00058946 | 0.00014773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-33_0_3_load_32 | 38 | 0.001686 | 0.00042256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-33_0_3_load_33 | 39 | 0.0011294 | 0.00028305 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-33_0_3_load_34 | 40 | 0.00079096 | 0.00019823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-33_0_3_load_61 | 41 | 0.00057204 | 0.00014337 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-33_0_3_load_35 | 42 | 0.00029514 | 7.397e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-33_0_3_load_62 | 43 | 0.0012849 | 0.00032202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-33_0_3_load_63 | 44 | 0.0012876 | 0.0003227 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-33_0_3_load_36 | 45 | 0.0002285 | 5.7269e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-33_0_3_load_74 | 46 | 0.00044795 | 0.00011227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-33_0_3_load_44 | 47 | 0.00054545 | 0.0001367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-33_0_3_load_45 | 48 | 0.00049091 | 0.00012303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-33_0_3_load_64 | 49 | 0.00094694 | 0.00023732 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-33_0_3_load_41 | 50 | 0.00027236 | 6.8259e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-33_0_3_load_42 | 51 | 0.00032381 | 8.1154e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-33_0_3_load_43 | 52 | 0.00030535 | 7.6528e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-33_0_3_load_60 | 53 | 0.00032955 | 8.2592e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-33_0_3_load_46 | 54 | 0.00048392 | 0.00012128 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-33_0_3_load_47 | 55 | 0.00072204 | 0.00018096 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-33_0_3_load_59 | 56 | 0.00046727 | 0.00011711 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-33_0_3_load_48 | 57 | 0.00096771 | 0.00024253 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-33_0_3_load_49 | 58 | 0.00041285 | 0.00010347 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-33_0_3_load_51 | 59 | 0.00039282 | 9.845e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5886-33_0_3_load_53 | 60 | 0.00041937 | 0.0001051 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5886-33_0_3_load_55 | 61 | 0.00048286 | 0.00012102 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5886-33_0_3_load_54 | 62 | 0.00041903 | 0.00010502 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5886-33_0_3_load_56 | 63 | 0.00049152 | 0.00012319 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5886-33_0_3_load_57 | 64 | 0.00046127 | 0.0001156 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5886-33_0_3_load_58 | 65 | 0.00031268 | 7.8364e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5886-33_0_3_load_67 | 66 | 0.00060568 | 0.0001518 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5886-33_0_3_load_68 | 67 | 0.00074824 | 0.00018753 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5886-33_0_3_load_65 | 68 | 0.00086872 | 0.00021772 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5886-33_0_3_load_66 | 69 | 0.00063024 | 0.00015795 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5886-33_0_3_load_71 | 70 | 0.00050631 | 0.00012689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5886-33_0_3_load_70 | 71 | 0.0008446 | 0.00021168 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5886-33_0_3_load_69 | 72 | 0.00052578 | 0.00013177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-33_0_3_line_0 |  | 0 | 1 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-33_0_3_line_1 |  | 0 | 2 | 0.028125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-33_0_3_line_2 |  | 1 | 3 | 0.20872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5886-33_0_3_line_3 |  | 1 | 4 | 0.23202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5886-33_0_3_line_4 |  | 2 | 5 | 0.0050433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-33_0_3_line_5 |  | 3 | 6 | 0.045289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5886-33_0_3_line_6 |  | 4 | 7 | 0.15821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5886-33_0_3_line_7 |  | 6 | 20 | 0.14628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5886-33_0_3_line_8 |  | 7 | 8 | 0.083255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5886-33_0_3_line_9 |  | 8 | 21 | 0.025661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5886-33_0_3_line_10 |  | 9 | 10 | 0.040811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5886-33_0_3_line_11 |  | 9 | 11 | 0.038657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5886-33_0_3_line_12 |  | 10 | 12 | 0.034292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5886-33_0_3_line_13 |  | 11 | 13 | 0.051669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5886-33_0_3_line_14 |  | 11 | 14 | 0.07194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5886-33_0_3_line_15 |  | 12 | 15 | 0.13968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5886-33_0_3_line_16 |  | 13 | 16 | 0.035001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5886-33_0_3_line_17 |  | 15 | 17 | 0.092091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5886-33_0_3_line_18 |  | 16 | 19 | 0.037102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5886-33_0_3_line_19 |  | 17 | 18 | 0.084559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-33_0_3_line_20 |  | 18 | 25 | 0.1914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-33_0_3_line_21 |  | 19 | 20 | 0.066556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5886-33_0_3_line_22 |  | 21 | 24 | 0.00071489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5886-33_0_3_line_23 |  | 22 | 23 | 0.11392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-33_0_3_line_24 |  | 23 | 49 | 0.081003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-33_0_3_line_25 |  | 24 | 50 | 0.051518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5886-33_0_3_line_26 |  | 25 | 26 | 0.033203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-33_0_3_line_27 |  | 26 | 27 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-33_0_3_line_28 |  | 26 | 28 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-33_0_3_line_29 |  | 27 | 29 | 0.042152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-33_0_3_line_30 |  | 28 | 30 | 0.021506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-33_0_3_line_31 |  | 28 | 31 | 0.031429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-33_0_3_line_32 |  | 29 | 33 | 0.058048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-33_0_3_line_33 |  | 31 | 32 | 0.05923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-33_0_3_line_34 |  | 34 | 35 | 0.0076833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-33_0_3_line_35 |  | 35 | 36 | 0.0011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-33_0_3_line_36 |  | 36 | 37 | 0.003354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-33_0_3_line_37 |  | 37 | 57 | 0.00043772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-33_0_3_line_38 |  | 38 | 39 | 0.037817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-33_0_3_line_39 |  | 39 | 40 | 0.092278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5886-33_0_3_line_40 |  | 39 | 41 | 0.17651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5886-33_0_3_line_41 |  | 40 | 42 | 0.070375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5886-33_0_3_line_42 |  | 41 | 43 | 0.0092856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-33_0_3_line_43 |  | 41 | 44 | 0.035724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5886-33_0_3_line_44 |  | 42 | 45 | 0.052271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5886-33_0_3_line_45 |  | 42 | 46 | 0.19329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-33_0_3_line_46 |  | 43 | 49 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-33_0_3_line_47 |  | 44 | 68 | 0.016327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5886-33_0_3_line_48 |  | 45 | 47 | 0.017304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5886-33_0_3_line_49 |  | 47 | 48 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5886-33_0_3_line_50 |  | 48 | 54 | 0.010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5886-33_0_3_line_51 |  | 50 | 51 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5886-33_0_3_line_52 |  | 51 | 52 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5886-33_0_3_line_53 |  | 52 | 53 | 0.027022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5886-33_0_3_line_54 |  | 53 | 56 | 0.0056803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5886-33_0_3_line_55 |  | 54 | 55 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5886-33_0_3_line_56 |  | 55 | 56 | 0.033682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5886-33_0_3_line_57 |  | 57 | 58 | 0.0021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-33_0_3_line_58 |  | 58 | 59 | 0.0040454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5886-33_0_3_line_59 |  | 59 | 60 | 0.0011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-33_0_3_line_60 |  | 60 | 61 | 0.017193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-33_0_3_line_61 |  | 61 | 62 | 0.029582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-33_0_3_line_62 |  | 62 | 63 | 0.053316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5886-33_0_3_line_63 |  | 63 | 64 | 0.04314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5886-33_0_3_line_64 |  | 64 | 65 | 0.0046236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5886-33_0_3_line_65 |  | 65 | 66 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5886-33_0_3_line_66 |  | 66 | 67 | 0.0068738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5886-33_0_3_line_67 |  | 67 | 72 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5886-33_0_3_line_68 |  | 68 | 69 | 0.0023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5886-33_0_3_line_69 |  | 69 | 70 | 0.035579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5886-33_0_3_line_70 |  | 70 | 71 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_5886-33_0_3_line_71 |  | 71 | 72 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-33_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 73 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2561369.5265 | 1145516.4785 | 2561380.203 | 1145518.951
1 | 2561369.5265 | 1145516.4785 | 2561342.1271 | 1145510.1333
2 | 2561486.7462 | 1145339.4735 | 2561380.203 | 1145518.951
3 | 2561380.203 | 1145518.951 | 2561436.7765 | 1145743.9657
4 | 2561337.2145 | 1145508.9927 | 2561337.8263 | 1145509.1373 | 2561342.1271 | 1145510.1333
5 | 2561531.5172 | 1145344.9453 | 2561512.4186 | 1145345.012 | 2561498.5764 | 1145342.8995 | 2561486.7462 | 1145339.4735
6 | 2561346.0719 | 1145873.5909 | 2561436.7765 | 1145743.9657
7 | 2561674.3668 | 1145313.4508 | 2561531.5172 | 1145344.9453
8 | 2561299.3233 | 1145942.4512 | 2561302.2198 | 1145937.7839 | 2561331.1823 | 1145893.8975 | 2561346.0719 | 1145873.5909
9 | 2561299.3233 | 1145942.4512 | 2561289.059 | 1145958.9905 | 2561285.6607 | 1145964.1704
10 | 2561759.3606 | 1145525.4515 | 2561762.5318 | 1145533.0788 | 2561775.8972 | 1145562.7595
11 | 2561745.1765 | 1145489.5004 | 2561750.7121 | 1145504.6507 | 2561759.3606 | 1145525.4515
12 | 2561779.3845 | 1145596.47 | 2561779.7082 | 1145576.3583 | 2561777.3919 | 1145566.0789 | 2561775.8972 | 1145562.7595
13 | 2561745.1765 | 1145489.5004 | 2561727.3383 | 1145450.9388 | 2561723.1256 | 1145442.7812
14 | 2561815.9268 | 1145503.2356 | 2561773.1007 | 1145496.5153 | 2561745.1765 | 1145489.5004
15 | 2561779.3845 | 1145596.47 | 2561909.5315 | 1145647.1944
16 | 2561723.1256 | 1145442.7812 | 2561712.0148 | 1145421.2657 | 2561707.5808 | 1145411.4334 | 2561707.5808 | 1145411.4334
17 | 2561860.3419 | 1145725.0477 | 2561909.5315 | 1145647.1944
18 | 2561707.5808 | 1145411.4334 | 2561700.2276 | 1145390.7697 | 2561696.4271 | 1145376.0841
19 | 2561928.8525 | 1145774.0348 | 2561923.2168 | 1145772.0584 | 2561906.609 | 1145757.6451 | 2561860.3419 | 1145725.0477
20 | 2562073.9936 | 1145898.8144 | 2561928.8525 | 1145774.0348
21 | 2561674.3668 | 1145313.4508 | 2561687.2112 | 1145343.4175 | 2561691.4846 | 1145356.986 | 2561696.4271 | 1145376.0841
22 | 2561285.6607 | 1145964.1704 | 2561285.2685 | 1145964.7681
23 | 2561545.3236 | 1146075.3632 | 2561557.7052 | 1146076.2046 | 2561578.2185 | 1146073.0941 | 2561585.0173 | 1146073.1841 | 2561591.7329 | 1146074.6642 | 2561598.035 | 1146077.5587 | 2561611.146 | 1146085.7236 | 2561621.9513 | 1146093.7031 | 2561634.3424 | 1146101.0167 | 2561648.2775 | 1146104.7186 | 2561650.4289 | 1146105.9236
24 | 2561599.0148 | 1146125.912 | 2561612.8957 | 1146126.3442 | 2561647.5057 | 1146127.0237 | 2561654.5887 | 1146124.6885 | 2561658.3305 | 1146121.2073 | 2561659.772 | 1146117.1849 | 2561658.9291 | 1146112.6991 | 2561656.2643 | 1146109.1921 | 2561650.4289 | 1146105.9236
25 | 2561285.2685 | 1145964.7681 | 2561280.1967 | 1145972.4988 | 2561265.4969 | 1145990.8806 | 2561261.1073 | 1145998.7128 | 2561259.5705 | 1146004.6146 | 2561259.4334 | 1146008.2709
26 | 2562073.9936 | 1145898.8144 | 2562084.5082 | 1145922.8714 | 2562088.3703 | 1145928.6611
27 | 2562088.3703 | 1145928.6611 | 2562100.1271 | 1145923.1286 | 2562108.1481 | 1145919.1918
28 | 2562107.2137 | 1145935.9349 | 2562097.7451 | 1145935.2164 | 2562088.3703 | 1145928.6611
29 | 2562108.1481 | 1145919.1918 | 2562111.668 | 1145917.4641 | 2562115.3763 | 1145914.7061 | 2562118.812 | 1145910.1265 | 2562126.5186 | 1145886.0102 | 2562127.3639 | 1145883.5871
30 | 2562107.2137 | 1145935.9349 | 2562102.266 | 1145952.908 | 2562103.2806 | 1145956.598
31 | 2562107.2137 | 1145935.9349 | 2562116.1136 | 1145936.6125 | 2562138.2525 | 1145932.5802
32 | 2562127.3639 | 1145883.5871 | 2562131.4233 | 1145871.95 | 2562139.2064 | 1145857.527 | 2562147.1587 | 1145851.6517 | 2562158.9512 | 1145846.8862 | 2562165.6721 | 1145846.5711
33 | 2562138.2525 | 1145932.5802 | 2562144.3734 | 1145931.4653 | 2562157.491 | 1145932.1942 | 2562168.011 | 1145935.2073 | 2562176.1359 | 1145942.1264 | 2562187.242 | 1145956.6154
34 | 2561921.2054 | 1146200.3328 | 2561913.8651 | 1146198.063
35 | 2561912.7442 | 1146197.7164 | 2561913.8651 | 1146198.063
36 | 2561909.54 | 1146196.7256 | 2561912.7442 | 1146197.7164
37 | 2561909.1218 | 1146196.5963 | 2561909.1218 | 1146196.5963 | 2561909.54 | 1146196.7256
38 | 2561485.8547 | 1146328.4396 | 2561485.7799 | 1146315.7197 | 2561488.3877 | 1146290.7582
39 | 2561400.9781 | 1146261.1824 | 2561488.3877 | 1146290.7582
40 | 2561589.084 | 1146145.795 | 2561488.3877 | 1146290.7582
41 | 2561400.9781 | 1146261.1824 | 2561398.1205 | 1146258.3971 | 2561388.1461 | 1146247.0442 | 2561379.6158 | 1146233.2809 | 2561375.3928 | 1146225.1928 | 2561369.6837 | 1146217.759 | 2561356.2893 | 1146207.9835
42 | 2561589.084 | 1146145.795 | 2561589.084 | 1146145.795 | 2561586.0776 | 1146142.9238 | 2561584.5407 | 1146138.0312
43 | 2561589.084 | 1146145.795 | 2561592.9742 | 1146147.5043 | 2561610.7369 | 1146153.9609 | 2561622.6762 | 1146157.9089
44 | 2561356.2893 | 1146207.9835 | 2561348.8921 | 1146202.5849 | 2561324.296 | 1146178.7309 | 2561317.3272 | 1146173.2753
45 | 2561356.2893 | 1146207.9835 | 2561225.0791 | 1146349.9123
46 | 2561599.0148 | 1146125.912 | 2561596.5997 | 1146125.8368 | 2561589.9496 | 1146127.3801 | 2561587.3419 | 1146130.4094 | 2561585.5527 | 1146134.1227 | 2561584.5407 | 1146138.0312 | 2561584.5407 | 1146138.0312
47 | 2561622.6762 | 1146157.9089 | 2561622.6762 | 1146157.9089 | 2561630.0168 | 1146158.6402 | 2561638.9658 | 1146158.4719
48 | 2561304.9545 | 1146161.4426 | 2561307.3018 | 1146165.2 | 2561316.5215 | 1146172.6445 | 2561317.3272 | 1146173.2753
49 | 2561304.9545 | 1146161.4426 | 2561301.2012 | 1146155.4343 | 2561296.2235 | 1146144.6942 | 2561293.2449 | 1146136.455
50 | 2561291.0789 | 1146126.7156 | 2561291.7969 | 1146132.4498 | 2561293.2449 | 1146136.455
51 | 2561259.4334 | 1146008.2709 | 2561259.2952 | 1146011.9535 | 2561261.8007 | 1146022.2734
52 | 2561268.3667 | 1146043.7574 | 2561263.0435 | 1146027.3927 | 2561261.8007 | 1146022.2734
53 | 2561276.7511 | 1146069.4453 | 2561275.8178 | 1146066.6637 | 2561268.3667 | 1146043.7574
54 | 2561276.7511 | 1146069.4453 | 2561278.5579 | 1146074.8306
55 | 2561291.0789 | 1146126.7156 | 2561288.6062 | 1146106.9685 | 2561288.6062 | 1146106.9685
56 | 2561288.6062 | 1146106.9685 | 2561284.7463 | 1146093.2753 | 2561278.5579 | 1146074.8306
57 | 2561909.1218 | 1146196.5963 | 2561907.2603 | 1146195.4311
58 | 2561903.8312 | 1146193.2848 | 2561907.2603 | 1146195.4311
59 | 2561903.8312 | 1146193.2848 | 2561902.8178 | 1146192.6505
60 | 2561888.7089 | 1146182.8361 | 2561899.258 | 1146190.4223 | 2561902.8178 | 1146192.6505
61 | 2561861.693 | 1146171.0677 | 2561868.6299 | 1146173.1855 | 2561886.3556 | 1146181.1438 | 2561888.7089 | 1146182.8361
62 | 2561861.693 | 1146171.0677 | 2561831.7098 | 1146161.9139 | 2561816.2889 | 1146158.8658 | 2561810.1018 | 1146157.9974
63 | 2561767.1358 | 1146154.56 | 2561796.3605 | 1146156.0688 | 2561810.1018 | 1146157.9974
64 | 2561767.1358 | 1146154.56 | 2561762.5184 | 1146154.3216
65 | 2561744.2897 | 1146151.8801 | 2561745.322 | 1146152.1245 | 2561754.7587 | 1146153.921 | 2561762.5184 | 1146154.3216
66 | 2561744.2897 | 1146151.8801 | 2561737.6008 | 1146150.2962
67 | 2561725.0036 | 1146147.3413 | 2561725.3889 | 1146147.4045 | 2561737.6008 | 1146150.2962
68 | 2561641.3268 | 1146158.4275 | 2561638.9658 | 1146158.4719
69 | 2561676.8374 | 1146156.4516 | 2561676.8374 | 1146156.4516 | 2561654.1801 | 1146158.1858 | 2561641.3268 | 1146158.4275
70 | 2561676.8374 | 1146156.4516 | 2561697.8866 | 1146150.713
71 | 2561725.0036 | 1146147.3413 | 2561717.0457 | 1146146.0347 | 2561709.696 | 1146147.4934 | 2561697.8866 | 1146150.713

## bus_geodata
| x | y | coords
0 | 2561369.5265 | 1145516.4785
1 | 2561380.203 | 1145518.951
2 | 2561342.1271 | 1145510.1333
3 | 2561486.7462 | 1145339.4735
4 | 2561436.7765 | 1145743.9657
5 | 2561337.2145 | 1145508.9927
6 | 2561531.5172 | 1145344.9453
7 | 2561346.0719 | 1145873.5909
8 | 2561299.3233 | 1145942.4512
9 | 2561759.3606 | 1145525.4515
10 | 2561775.8972 | 1145562.7595
11 | 2561745.1765 | 1145489.5004
12 | 2561779.3845 | 1145596.47
13 | 2561723.1256 | 1145442.7812
14 | 2561815.9268 | 1145503.2356
15 | 2561909.5315 | 1145647.1944
16 | 2561707.5808 | 1145411.4334
17 | 2561860.3419 | 1145725.0477
18 | 2561928.8525 | 1145774.0348
19 | 2561696.4271 | 1145376.0841
20 | 2561674.3668 | 1145313.4508
21 | 2561285.6607 | 1145964.1704
22 | 2561545.3236 | 1146075.3632
23 | 2561650.4289 | 1146105.9236
24 | 2561285.2685 | 1145964.7681
25 | 2562073.9936 | 1145898.8144
26 | 2562088.3703 | 1145928.6611
27 | 2562108.1481 | 1145919.1918
28 | 2562107.2137 | 1145935.9349
29 | 2562127.3639 | 1145883.5871
30 | 2562103.2806 | 1145956.598
31 | 2562138.2525 | 1145932.5802
32 | 2562187.242 | 1145956.6154
33 | 2562165.6721 | 1145846.5711
34 | 2561921.2054 | 1146200.3328
35 | 2561913.8651 | 1146198.063
36 | 2561912.7442 | 1146197.7164
37 | 2561909.54 | 1146196.7256
38 | 2561485.8547 | 1146328.4396
39 | 2561488.3877 | 1146290.7582
40 | 2561400.9781 | 1146261.1824
41 | 2561589.084 | 1146145.795
42 | 2561356.2893 | 1146207.9835
43 | 2561584.5407 | 1146138.0312
44 | 2561622.6762 | 1146157.9089
45 | 2561317.3272 | 1146173.2753
46 | 2561225.0791 | 1146349.9123
47 | 2561304.9545 | 1146161.4426
48 | 2561293.2449 | 1146136.455
49 | 2561599.0148 | 1146125.912
50 | 2561259.4334 | 1146008.2709
51 | 2561261.8007 | 1146022.2734
52 | 2561268.3667 | 1146043.7574
53 | 2561276.7511 | 1146069.4453
54 | 2561291.0789 | 1146126.7156
55 | 2561288.6062 | 1146106.9685
56 | 2561278.5579 | 1146074.8306
57 | 2561909.1218 | 1146196.5963
58 | 2561907.2603 | 1146195.4311
59 | 2561903.8312 | 1146193.2848
60 | 2561902.8178 | 1146192.6505
61 | 2561888.7089 | 1146182.8361
62 | 2561861.693 | 1146171.0677
63 | 2561810.1018 | 1146157.9974
64 | 2561767.1358 | 1146154.56
65 | 2561762.5184 | 1146154.3216
66 | 2561744.2897 | 1146151.8801
67 | 2561737.6008 | 1146150.2962
68 | 2561638.9658 | 1146158.4719
69 | 2561641.3268 | 1146158.4275
70 | 2561676.8374 | 1146156.4516
71 | 2561697.8866 | 1146150.713
72 | 2561725.0036 | 1146147.3413
73 | 2561860.3419 | 1145725.0477

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1