## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-34_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-34_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-34_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5886-34_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5886-34_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5886-34_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5886-34_0_2_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_5886-34_0_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5886-34_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5886-34_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5886-34_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5886-34_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5886-34_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5886-34_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5886-34_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5886-34_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_5886-34_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5886-34_0_2_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_5886-34_0_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_5886-34_0_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5886-34_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5886-34_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5886-34_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5886-34_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5886-34_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5886-34_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5886-34_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5886-34_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5886-34_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5886-34_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5886-34_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5886-34_0_2_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_5886-34_0_2_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_5886-34_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5886-34_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5886-34_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5886-34_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5886-34_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5886-34_0_2_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_5886-34_0_2_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_5886-34_0_2_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5886-34_0_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_5886-34_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5886-34_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5886-34_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5886-34_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5886-34_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5886-34_0_2_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5886-34_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5886-34_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5886-34_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5886-34_0_2_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_5886-34_0_2_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5886-34_0_2_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_5886-34_0_2_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5886-34_0_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5886-34_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5886-34_0_2_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_5886-34_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5886-34_0_2_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5886-34_0_2_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5886-34_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5886-34_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5886-34_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5886-34_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5886-34_0_2_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5886-34_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5886-34_0_2_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5886-34_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_5886-34_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5886-34_0_2_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5886-34_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5886-34_0_2_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5886-34_0_2_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5886-34_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5886-34_0_2_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5886-34_0_2_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5886-34_0_2_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5886-34_0_2_node_77 | 0.4 | n |  | TRUE
79 | bus_MV_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-34_0_2_load_0 | 0 | 0.0007906 | 0.00019814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-34_0_2_load_1 | 1 | 0.00097588 | 0.00024458 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-34_0_2_load_4 | 4 | 0.0022482 | 0.00056344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-34_0_2_load_19 | 6 | 0.00063479 | 0.00015909 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-34_0_2_load_15 | 8 | 0.00050557 | 0.00012671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-34_0_2_load_12 | 9 | 0.0011621 | 0.00029125 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-34_0_2_load_6 | 10 | 0.0007981 | 0.00020002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-34_0_2_load_8 | 12 | 0.00070753 | 0.00017732 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-34_0_2_load_9 | 13 | 0.001095 | 0.00027443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-34_0_2_load_10 | 14 | 0.00059828 | 0.00014994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-34_0_2_load_67 | 15 | 0.00020348 | 5.0996e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-34_0_2_load_11 | 16 | 0.0010854 | 0.00027202 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-34_0_2_load_46 | 18 | 0.0010286 | 0.0002578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-34_0_2_load_42 | 19 | 0.00054957 | 0.00013773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-34_0_2_load_13 | 20 | 0.0008948 | 0.00022426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-34_0_2_load_16 | 21 | 0.00051347 | 0.00012869 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-34_0_2_load_17 | 22 | 0.00035938 | 9.0069e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-34_0_2_load_21 | 23 | 0.00039238 | 9.8341e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-34_0_2_load_20 | 24 | 0.00041555 | 0.00010415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-34_0_2_load_22 | 25 | 0.00069691 | 0.00017466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-34_0_2_load_24 | 27 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-34_0_2_load_25 | 28 | 0.00030801 | 7.7193e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-34_0_2_load_26 | 29 | 0.00047049 | 0.00011792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-34_0_2_load_18 | 30 | 0.00043951 | 0.00011015 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-34_0_2_load_75 | 31 | 0.00058981 | 0.00014782 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-34_0_2_load_74 | 32 | 0.00054477 | 0.00013653 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-34_0_2_load_27 | 33 | 0.0015191 | 0.00038073 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-34_0_2_load_28 | 34 | 0.0008564 | 0.00021463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-34_0_2_load_29 | 35 | 0.0011719 | 0.0002937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-34_0_2_load_30 | 36 | 0.00094628 | 0.00023716 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-34_0_2_load_71 | 38 | 0.0010716 | 0.00026858 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-34_0_2_load_68 | 39 | 0.00037369 | 9.3655e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-34_0_2_load_65 | 40 | 0.00080382 | 0.00020146 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-34_0_2_load_32 | 42 | 0.0015652 | 0.00039228 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-34_0_2_load_33 | 43 | 0.0021169 | 0.00053054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-34_0_2_load_35 | 45 | 0.0022514 | 0.00056424 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-34_0_2_load_37 | 46 | 0.0035534 | 0.00089056 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-34_0_2_load_36 | 48 | 0.0028203 | 0.00070684 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-34_0_2_load_39 | 49 | 0.0023229 | 0.00058216 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-34_0_2_load_40 | 50 | 0.00022323 | 5.5946e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-34_0_2_load_79 | 51 | 0.00072824 | 0.00018251 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-34_0_2_load_73 | 53 | 0.0025583 | 0.00064117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-34_0_2_load_78 | 54 | 0.00051458 | 0.00012897 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-34_0_2_load_60 | 55 | 0.00059813 | 0.00014991 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-34_0_2_load_57 | 56 | 0.0039028 | 0.00097814 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-34_0_2_load_70 | 57 | 0.00058955 | 0.00014775 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-34_0_2_load_41 | 58 | 0.00065955 | 0.0001653 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-34_0_2_load_43 | 59 | 0.00030819 | 7.724e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-34_0_2_load_45 | 60 | 0.00054426 | 0.00013641 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-34_0_2_load_47 | 61 | 0.00079153 | 0.00019838 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-34_0_2_load_51 | 62 | 0.00042193 | 0.00010575 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-34_0_2_load_69 | 63 | 0.0020954 | 0.00052517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-34_0_2_load_49 | 64 | 0.00077027 | 0.00019305 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5886-34_0_2_load_48 | 65 | 0.00039186 | 9.8208e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5886-34_0_2_load_50 | 66 | 0.00062263 | 0.00015605 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5886-34_0_2_load_52 | 67 | 0.00048056 | 0.00012044 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5886-34_0_2_load_53 | 68 | 0.0011106 | 0.00027834 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5886-34_0_2_load_66 | 69 | 0.00043499 | 0.00010902 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5886-34_0_2_load_76 | 70 | 0.00067494 | 0.00016916 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5886-34_0_2_load_72 | 71 | 0.00078678 | 0.00019719 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5886-34_0_2_load_55 | 72 | 0.00030827 | 7.7261e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5886-34_0_2_load_56 | 73 | 0.00037887 | 9.4953e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5886-34_0_2_load_64 | 74 | 0.00059449 | 0.00014899 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5886-34_0_2_load_61 | 76 | 0.0010968 | 0.00027487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5886-34_0_2_load_62 | 77 | 0.00035535 | 8.9059e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5886-34_0_2_load_77 | 78 | 0.00094802 | 0.0002376 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-34_0_2_line_0 |  | 0 | 1 | 0.0091277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-34_0_2_line_1 |  | 0 | 2 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-34_0_2_line_2 |  | 2 | 3 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-34_0_2_line_3 |  | 3 | 4 | 0.15688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-34_0_2_line_4 |  | 3 | 5 | 0.1327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-34_0_2_line_5 |  | 5 | 6 | 0.072962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-34_0_2_line_6 |  | 5 | 7 | 0.090261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-34_0_2_line_7 |  | 7 | 8 | 0.12928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-34_0_2_line_8 |  | 7 | 9 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-34_0_2_line_9 |  | 8 | 30 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5886-34_0_2_line_10 |  | 9 | 20 | 0.067359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-34_0_2_line_11 |  | 10 | 11 | 0.1562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5886-34_0_2_line_12 |  | 10 | 12 | 0.02542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5886-34_0_2_line_13 |  | 11 | 13 | 0.058363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5886-34_0_2_line_14 |  | 11 | 14 | 0.013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5886-34_0_2_line_15 |  | 12 | 15 | 0.24173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5886-34_0_2_line_16 |  | 13 | 16 | 0.1827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5886-34_0_2_line_17 |  | 16 | 17 | 0.062589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5886-34_0_2_line_18 |  | 17 | 18 | 0.09271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5886-34_0_2_line_19 |  | 17 | 19 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-34_0_2_line_20 |  | 18 | 41 | 0.036828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-34_0_2_line_21 |  | 19 | 58 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-34_0_2_line_22 |  | 20 | 21 | 0.16071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-34_0_2_line_23 |  | 21 | 22 | 0.031313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-34_0_2_line_24 |  | 22 | 23 | 0.06975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-34_0_2_line_25 |  | 23 | 24 | 0.016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5886-34_0_2_line_26 |  | 24 | 25 | 0.0051987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-34_0_2_line_27 |  | 25 | 26 | 0.1041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-34_0_2_line_28 |  | 26 | 27 | 0.050683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-34_0_2_line_29 |  | 26 | 28 | 0.048233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-34_0_2_line_30 |  | 28 | 29 | 0.0067588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-34_0_2_line_31 |  | 30 | 31 | 0.041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-34_0_2_line_32 |  | 31 | 32 | 0.027166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-34_0_2_line_33 |  | 32 | 71 | 0.21185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-34_0_2_line_34 |  | 33 | 34 | 0.020444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-34_0_2_line_35 |  | 33 | 35 | 0.065183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-34_0_2_line_36 |  | 34 | 36 | 0.10701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-34_0_2_line_37 |  | 36 | 37 | 0.030095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-34_0_2_line_38 |  | 37 | 38 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-34_0_2_line_39 |  | 37 | 39 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-34_0_2_line_40 |  | 38 | 40 | 0.034006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-34_0_2_line_41 |  | 39 | 41 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-34_0_2_line_42 |  | 40 | 47 | 0.057148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-34_0_2_line_43 |  | 41 | 63 | 0.035513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-34_0_2_line_44 |  | 41 | 57 | 0.040349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-34_0_2_line_45 |  | 42 | 43 | 0.15192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-34_0_2_line_46 |  | 42 | 44 | 0.026878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-34_0_2_line_47 |  | 43 | 45 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5886-34_0_2_line_48 |  | 44 | 46 | 0.14343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-34_0_2_line_49 |  | 45 | 47 | 0.0081222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5886-34_0_2_line_50 |  | 46 | 50 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-34_0_2_line_51 |  | 46 | 51 | 0.15719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5886-34_0_2_line_52 |  | 47 | 52 | 0.17881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-34_0_2_line_53 |  | 48 | 49 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5886-34_0_2_line_54 |  | 49 | 53 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5886-34_0_2_line_55 |  | 51 | 54 | 0.050083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-34_0_2_line_56 |  | 52 | 55 | 0.14899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5886-34_0_2_line_57 |  | 52 | 56 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-34_0_2_line_58 |  | 53 | 57 | 0.06347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5886-34_0_2_line_59 |  | 55 | 74 | 0.09361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-34_0_2_line_60 |  | 58 | 59 | 0.022296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-34_0_2_line_61 |  | 59 | 60 | 0.0062721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-34_0_2_line_62 |  | 60 | 61 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5886-34_0_2_line_63 |  | 61 | 62 | 0.005886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5886-34_0_2_line_64 |  | 62 | 64 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5886-34_0_2_line_65 |  | 63 | 71 | 0.037336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5886-34_0_2_line_66 |  | 64 | 65 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5886-34_0_2_line_67 |  | 65 | 66 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5886-34_0_2_line_68 |  | 66 | 67 | 0.0077531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5886-34_0_2_line_69 |  | 67 | 68 | 0.0086429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5886-34_0_2_line_70 |  | 68 | 69 | 0.0048157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5886-34_0_2_line_71 |  | 69 | 70 | 0.048215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5886-34_0_2_line_72 |  | 70 | 78 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5886-34_0_2_line_73 |  | 72 | 73 | 0.066423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5886-34_0_2_line_74 |  | 72 | 74 | 0.15924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5886-34_0_2_line_75 |  | 73 | 75 | 0.0087111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5886-34_0_2_line_76 |  | 75 | 76 | 0.008603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5886-34_0_2_line_77 |  | 75 | 77 | 0.070173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-34_0_2_trafo_46 | 0.63 MVA 20/0.4 kV | 79 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2561276.8929 | 1145479.9572 | 2561279.5183 | 1145471.2153
1 | 2561271.2545 | 1145504.9857 | 2561271.5835 | 1145497.6354 | 2561276.8929 | 1145479.9572
2 | 2561271.2545 | 1145504.9857 | 2561253.2078 | 1145510.8382 | 2561246.1484 | 1145515.7195
3 | 2561246.1484 | 1145515.7195 | 2561248.377 | 1145509.8688 | 2561251.8182 | 1145506.2226 | 2561253.7985 | 1145503.564 | 2561254.9793 | 1145499.6322 | 2561254.2581 | 1145493.8117 | 2561250.7581 | 1145489.5432 | 2561231.9636 | 1145479.5147 | 2561223.1291 | 1145473.602 | 2561220.2935 | 1145469.9184 | 2561219.9128 | 1145465.6743 | 2561223.6593 | 1145459.3358 | 2561271.9578 | 1145397.1264
4 | 2561132.6866 | 1145584.6088 | 2561146.3184 | 1145579.1847 | 2561214.2925 | 1145535.2459 | 2561246.1484 | 1145515.7195
5 | 2561151.13 | 1145652.0684 | 2561131.9635 | 1145618.9087 | 2561129.8201 | 1145607.0165 | 2561132.6866 | 1145584.6088
6 | 2561132.6866 | 1145584.6088 | 2561126.5994 | 1145585.3597 | 2561042.6078 | 1145593.5406
7 | 2561042.6078 | 1145593.5406 | 2561039.3391 | 1145587.0362 | 2560996.6812 | 1145525.7816 | 2560977.7301 | 1145498.7685 | 2560968.3147 | 1145487.9243
8 | 2561042.6078 | 1145593.5406 | 2561045.8265 | 1145606.5486 | 2561047.1257 | 1145613.1694
9 | 2560961.4265 | 1145479.9907 | 2560968.3147 | 1145487.9243
10 | 2561045.7943 | 1145680.1069 | 2561047.0324 | 1145671.7294 | 2561050.0855 | 1145637.848 | 2561048.051 | 1145617.8844 | 2561047.1257 | 1145613.1694
11 | 2560936.3696 | 1145198.7179 | 2560946.2081 | 1145195.8637 | 2560963.7889 | 1145184.4104 | 2560998.4492 | 1145167.1212 | 2561016.8802 | 1145162.3438 | 2561068.0469 | 1145152.6742 | 2561080.4754 | 1145151.1263 | 2561083.0672 | 1145151.3795
12 | 2561107.1396 | 1145158.9578 | 2561089.4393 | 1145152.0021 | 2561083.0672 | 1145151.3795
13 | 2560936.3696 | 1145198.7179 | 2560915.7118 | 1145216.639 | 2560906.9792 | 1145230.0692 | 2560897.3584 | 1145241.5709
14 | 2560936.3696 | 1145198.7179 | 2560944.6492 | 1145187.5863
15 | 2561107.1396 | 1145158.9578 | 2561348.8265 | 1145154.3707
16 | 2560780.752 | 1145378.5534 | 2560796.91 | 1145351.7252 | 2560801.4879 | 1145339.7893 | 2560809.7125 | 1145322.7604 | 2560825.6764 | 1145304.9696 | 2560849.075 | 1145285.6519 | 2560862.638 | 1145271.9566 | 2560879.8035 | 1145255.7812 | 2560897.3584 | 1145241.5709
17 | 2560748.5742 | 1145432.2369 | 2560761.9934 | 1145409.5489 | 2560779.4065 | 1145380.7874 | 2560780.752 | 1145378.5534
18 | 2560748.5742 | 1145432.2369 | 2560722.4109 | 1145458.6322 | 2560686.3547 | 1145489.9948 | 2560681.1875 | 1145495.781
19 | 2560748.5742 | 1145432.2369 | 2560732.0409 | 1145433.1716
20 | 2560656.6568 | 1145523.2504 | 2560681.1875 | 1145495.781
21 | 2560712.9118 | 1145431.0469 | 2560726.7869 | 1145433.4686 | 2560732.0409 | 1145433.1716
22 | 2561045.7943 | 1145680.1069 | 2561097.3406 | 1145832.3309
23 | 2561078.4276 | 1145856.9483 | 2561084.907 | 1145845.1835 | 2561097.3406 | 1145832.3309
24 | 2561078.4276 | 1145856.9483 | 2561062.0682 | 1145886.6524 | 2561043.8807 | 1145917.5337
25 | 2561035.4234 | 1145931.8938 | 2561043.8807 | 1145917.5337
26 | 2561032.7852 | 1145936.3733 | 2561035.4234 | 1145931.8938
27 | 2560990.8287 | 1146031.5098 | 2561003.8972 | 1145997.4522 | 2561015.5122 | 1145970.2298 | 2561028.8256 | 1145943.0963 | 2561032.7852 | 1145936.3733
28 | 2560941.4451 | 1146020.0579 | 2560952.1216 | 1146021.0557 | 2560964.4859 | 1146024.0881 | 2560990.8287 | 1146031.5098
29 | 2560990.8287 | 1146031.5098 | 2561000.7497 | 1146027.3656 | 2561014.583 | 1146016.4593 | 2561020.962 | 1146006.2794 | 2561026.5502 | 1146005.6429 | 2561028.0346 | 1146007.3042
30 | 2561029.733 | 1146013.1483 | 2561030.3031 | 1146009.8429 | 2561028.0346 | 1146007.3042
31 | 2560928.6496 | 1145455.9574 | 2560937.0762 | 1145459.9905 | 2560955.9333 | 1145473.6639 | 2560961.4265 | 1145479.9907
32 | 2560928.6496 | 1145455.9574 | 2560910.1729 | 1145447.1143 | 2560903.7986 | 1145445.1091
33 | 2560903.7986 | 1145445.1091 | 2560889.8495 | 1145440.7209 | 2560866.1604 | 1145435.4057 | 2560838.7221 | 1145438.3191 | 2560811.6852 | 1145448.6004 | 2560799.998 | 1145455.3466 | 2560783.8098 | 1145470.4709 | 2560767.3294 | 1145494.9686 | 2560753.4485 | 1145510.456 | 2560729.46 | 1145525.1422 | 2560727.2344 | 1145525.8292
34 | 2560794.6571 | 1145565.2431 | 2560792.568 | 1145563.5612 | 2560779.9243 | 1145553.1828 | 2560778.5677 | 1145552.8184
35 | 2560794.6571 | 1145565.2431 | 2560801.8818 | 1145571.0598 | 2560808.6692 | 1145574.006 | 2560819.4459 | 1145574.9362 | 2560818.5238 | 1145578.4329 | 2560815.3688 | 1145585.8906 | 2560808.9932 | 1145600.1394 | 2560805.0659 | 1145609.7345
36 | 2560672.4134 | 1145554.2529 | 2560680.9972 | 1145554.1736 | 2560692.0879 | 1145552.6003 | 2560709.9894 | 1145549.315 | 2560741.8151 | 1145548.9403 | 2560755.8344 | 1145548.7821 | 2560767.5186 | 1145549.8509 | 2560778.5677 | 1145552.8184
37 | 2560643.065 | 1145548.8189 | 2560652.0602 | 1145552.2063 | 2560668.6601 | 1145554.2876 | 2560672.4134 | 1145554.2529
38 | 2560643.065 | 1145548.8189 | 2560634.3271 | 1145548.3537 | 2560623.4346 | 1145547.3578 | 2560612.5432 | 1145544.4494
39 | 2560643.065 | 1145548.8189 | 2560650.2009 | 1145537.4289
40 | 2560612.5432 | 1145544.4494 | 2560604.4182 | 1145542.2797 | 2560594.7608 | 1145537.485 | 2560588.2562 | 1145532.0026 | 2560583.8009 | 1145527.5376
41 | 2560656.6568 | 1145523.2504 | 2560651.0025 | 1145536.1495 | 2560650.2009 | 1145537.4289
42 | 2560534.2327 | 1145501.4413 | 2560554.7154 | 1145507.4878 | 2560564.1267 | 1145511.0612 | 2560576.9271 | 1145520.6488 | 2560583.8009 | 1145527.5376
43 | 2560656.6568 | 1145523.2504 | 2560666.1689 | 1145528.1462 | 2560677.1194 | 1145530.9538 | 2560690.6251 | 1145531.3231
44 | 2560656.6568 | 1145523.2504 | 2560642.6813 | 1145514.8486 | 2560623.3845 | 1145500.5081
45 | 2560431.3518 | 1145363.9417 | 2560433.1075 | 1145364.6694 | 2560450.5431 | 1145372.2586 | 2560466.7256 | 1145380.8788 | 2560490.0115 | 1145398.4014 | 2560499.2967 | 1145407.3005 | 2560506.1824 | 1145415.8041 | 2560511.6262 | 1145424.6951 | 2560514.1797 | 1145434.4833 | 2560517.8797 | 1145450.4115 | 2560519.8608 | 1145471.3203 | 2560519.7459 | 1145473.1419
46 | 2560407.1667 | 1145352.3561 | 2560416.2365 | 1145357.6769 | 2560431.3518 | 1145363.9417
47 | 2560519.7459 | 1145473.1419 | 2560519.1024 | 1145483.3425 | 2560521.2285 | 1145487.7308 | 2560527.111 | 1145494.4067 | 2560528.6999 | 1145495.6086
48 | 2560407.1667 | 1145352.3561 | 2560388.1578 | 1145346.2114 | 2560373.867 | 1145337.8902 | 2560362.1819 | 1145327.4285 | 2560342.1572 | 1145298.9238 | 2560328.956 | 1145285.7708 | 2560316.6845 | 1145272.6229 | 2560300.6202 | 1145261.0953
49 | 2560534.2327 | 1145501.4413 | 2560531.4964 | 1145497.724 | 2560528.6999 | 1145495.6086
50 | 2560300.6202 | 1145261.0953 | 2560291.1103 | 1145254.2712 | 2560279.5442 | 1145251.277
51 | 2560300.6202 | 1145261.0953 | 2560367.2719 | 1145118.7348
52 | 2560534.2327 | 1145501.4413 | 2560522.3057 | 1145497.3397 | 2560514.379 | 1145492.9117 | 2560506.0941 | 1145484.2283 | 2560501.0689 | 1145480.5817 | 2560460.4685 | 1145456.2694 | 2560440.1431 | 1145444.9751 | 2560428.6698 | 1145438.6473 | 2560420.9173 | 1145436.1749 | 2560395.6612 | 1145432.1279 | 2560373.837 | 1145430.0817
53 | 2560570.1988 | 1145448.6998 | 2560565.4148 | 1145435.8314
54 | 2560570.1988 | 1145448.6998 | 2560572.7512 | 1145455.5653 | 2560575.5301 | 1145459.6589
55 | 2560409.7359 | 1145145.1748 | 2560397.8777 | 1145136.4741 | 2560367.2719 | 1145118.7348
56 | 2560373.837 | 1145430.0817 | 2560347.0241 | 1145415.9735 | 2560333.6875 | 1145406.7012 | 2560308.569 | 1145378.1412 | 2560292.8165 | 1145362.5372 | 2560263.7697 | 1145344.1197 | 2560257.3672 | 1145339.5841
57 | 2560373.837 | 1145430.0817 | 2560359.0245 | 1145430.4026
58 | 2560623.3845 | 1145500.5081 | 2560612.7431 | 1145492.5999 | 2560582.5333 | 1145469.9752 | 2560575.5301 | 1145459.6589
59 | 2560257.3672 | 1145339.5841 | 2560234.2761 | 1145323.2262 | 2560217.556 | 1145307.74 | 2560203.8955 | 1145298.3589 | 2560182.1137 | 1145285.3853 | 2560181.7111 | 1145284.9439
60 | 2560712.9118 | 1145431.0469 | 2560712.9118 | 1145431.0469 | 2560703.2776 | 1145422.7723 | 2560698.5704 | 1145414.4098
61 | 2560698.5704 | 1145414.4098 | 2560696.7562 | 1145411.1868 | 2560694.6323 | 1145409.7334
62 | 2560682.9401 | 1145401.7326 | 2560694.6323 | 1145409.7334
63 | 2560677.7605 | 1145398.9534 | 2560682.032 | 1145401.1112 | 2560682.9401 | 1145401.7326
64 | 2560677.7605 | 1145398.9534 | 2560665.2824 | 1145392.6498 | 2560660.5241 | 1145390.7525
65 | 2560690.6251 | 1145531.3231 | 2560702.0532 | 1145531.6356 | 2560715.5522 | 1145529.4352 | 2560727.2344 | 1145525.8292
66 | 2560643.4609 | 1145383.7499 | 2560644.4082 | 1145384.3265 | 2560660.5241 | 1145390.7525
67 | 2560643.4609 | 1145383.7499 | 2560633.8563 | 1145377.9034
68 | 2560633.8563 | 1145377.9034 | 2560633.8563 | 1145377.9034 | 2560628.3783 | 1145372.4168
69 | 2560628.3783 | 1145372.4168 | 2560622.2716 | 1145366.3006
70 | 2560618.8691 | 1145362.8927 | 2560622.2716 | 1145366.3006
71 | 2560618.8691 | 1145362.8927 | 2560606.9829 | 1145350.9879 | 2560580.9795 | 1145333.4016
72 | 2560580.9795 | 1145333.4016 | 2560574.1631 | 1145328.7916 | 2560565.2006 | 1145320.1898
73 | 2560113.6554 | 1145428.9047 | 2560109.804 | 1145425.5024 | 2560089.929 | 1145404.6458 | 2560078.3036 | 1145398.5977 | 2560062.9438 | 1145392.4632 | 2560060.193 | 1145391.8
74 | 2560181.7111 | 1145284.9439 | 2560113.6554 | 1145428.9047
75 | 2560051.7246 | 1145389.7585 | 2560060.193 | 1145391.8
76 | 2560051.7246 | 1145389.7585 | 2560055.3795 | 1145397.5493
77 | 2560051.7246 | 1145389.7585 | 2560035.0573 | 1145389.2023 | 2560028.1484 | 1145402.7217 | 2560029.2531 | 1145418.667 | 2560030.839 | 1145431.8743 | 2560024.1262 | 1145437.9108

## bus_geodata
| x | y | coords
0 | 2561276.8929 | 1145479.9572
1 | 2561279.5183 | 1145471.2153
2 | 2561271.2545 | 1145504.9857
3 | 2561246.1484 | 1145515.7195
4 | 2561271.9578 | 1145397.1264
5 | 2561132.6866 | 1145584.6088
6 | 2561151.13 | 1145652.0684
7 | 2561042.6078 | 1145593.5406
8 | 2560968.3147 | 1145487.9243
9 | 2561047.1257 | 1145613.1694
10 | 2561083.0672 | 1145151.3795
11 | 2560936.3696 | 1145198.7179
12 | 2561107.1396 | 1145158.9578
13 | 2560897.3584 | 1145241.5709
14 | 2560944.6492 | 1145187.5863
15 | 2561348.8265 | 1145154.3707
16 | 2560780.752 | 1145378.5534
17 | 2560748.5742 | 1145432.2369
18 | 2560681.1875 | 1145495.781
19 | 2560732.0409 | 1145433.1716
20 | 2561045.7943 | 1145680.1069
21 | 2561097.3406 | 1145832.3309
22 | 2561078.4276 | 1145856.9483
23 | 2561043.8807 | 1145917.5337
24 | 2561035.4234 | 1145931.8938
25 | 2561032.7852 | 1145936.3733
26 | 2560990.8287 | 1146031.5098
27 | 2560941.4451 | 1146020.0579
28 | 2561028.0346 | 1146007.3042
29 | 2561029.733 | 1146013.1483
30 | 2560961.4265 | 1145479.9907
31 | 2560928.6496 | 1145455.9574
32 | 2560903.7986 | 1145445.1091
33 | 2560794.6571 | 1145565.2431
34 | 2560778.5677 | 1145552.8184
35 | 2560805.0659 | 1145609.7345
36 | 2560672.4134 | 1145554.2529
37 | 2560643.065 | 1145548.8189
38 | 2560612.5432 | 1145544.4494
39 | 2560650.2009 | 1145537.4289
40 | 2560583.8009 | 1145527.5376
41 | 2560656.6568 | 1145523.2504
42 | 2560431.3518 | 1145363.9417
43 | 2560519.7459 | 1145473.1419
44 | 2560407.1667 | 1145352.3561
45 | 2560528.6999 | 1145495.6086
46 | 2560300.6202 | 1145261.0953
47 | 2560534.2327 | 1145501.4413
48 | 2560565.4148 | 1145435.8314
49 | 2560570.1988 | 1145448.6998
50 | 2560279.5442 | 1145251.277
51 | 2560367.2719 | 1145118.7348
52 | 2560373.837 | 1145430.0817
53 | 2560575.5301 | 1145459.6589
54 | 2560409.7359 | 1145145.1748
55 | 2560257.3672 | 1145339.5841
56 | 2560359.0245 | 1145430.4026
57 | 2560623.3845 | 1145500.5081
58 | 2560712.9118 | 1145431.0469
59 | 2560698.5704 | 1145414.4098
60 | 2560694.6323 | 1145409.7334
61 | 2560682.9401 | 1145401.7326
62 | 2560677.7605 | 1145398.9534
63 | 2560690.6251 | 1145531.3231
64 | 2560660.5241 | 1145390.7525
65 | 2560643.4609 | 1145383.7499
66 | 2560633.8563 | 1145377.9034
67 | 2560628.3783 | 1145372.4168
68 | 2560622.2716 | 1145366.3006
69 | 2560618.8691 | 1145362.8927
70 | 2560580.9795 | 1145333.4016
71 | 2560727.2344 | 1145525.8292
72 | 2560113.6554 | 1145428.9047
73 | 2560060.193 | 1145391.8
74 | 2560181.7111 | 1145284.9439
75 | 2560051.7246 | 1145389.7585
76 | 2560055.3795 | 1145397.5493
77 | 2560024.1262 | 1145437.9108
78 | 2560565.2006 | 1145320.1898
79 | 2560681.1875 | 1145495.781

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1