## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-37_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5886-37_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5886-37_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_5886-37_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5886-37_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5886-37_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5886-37_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5886-37_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5886-37_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5886-37_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5886-37_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5886-37_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5886-37_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5886-37_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5886-37_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5886-37_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5886-37_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_5886-37_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5886-37_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5886-37_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5886-37_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5886-37_0_4_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_5886-37_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_5886-37_0_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_5886-37_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5886-37_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5886-37_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5886-37_0_4_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_5886-37_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_5886-37_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5886-37_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5886-37_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5886-37_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5886-37_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5886-37_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5886-37_0_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_5886-37_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5886-37_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5886-37_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5886-37_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5886-37_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_5886-37_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5886-37_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5886-37_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5886-37_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5886-37_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5886-37_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5886-37_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5886-37_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5886-37_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5886-37_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5886-37_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5886-37_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5886-37_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_5886-37_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5886-37_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_5886-37_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_5886-37_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5886-37_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5886-37_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5886-37_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5886-37_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5886-37_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5886-37_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5886-37_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5886-37_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5886-37_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_261_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-37_0_4_load_0 | 0 | 0.01193 | 0.00299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-37_0_4_load_1 | 1 | 0.016322 | 0.0040906 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-37_0_4_load_3 | 2 | 0.0039183 | 0.00098201 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-37_0_4_load_4 | 3 | 0.0073199 | 0.0018345 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-37_0_4_load_34 | 4 | 0.0034009 | 0.00085234 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-37_0_4_load_35 | 5 | 0.0030731 | 0.00077018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-37_0_4_load_5 | 6 | 0.079863 | 0.020015 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-37_0_4_load_6 | 7 | 0.0048338 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-37_0_4_load_8 | 9 | 0.0044119 | 0.0011057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-37_0_4_load_9 | 10 | 0.018984 | 0.0047579 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-37_0_4_load_15 | 11 | 0.01381 | 0.003461 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-37_0_4_load_14 | 12 | 0.017053 | 0.0042738 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-37_0_4_load_10 | 13 | 0.0062812 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-37_0_4_load_11 | 14 | 0.0023541 | 0.00058998 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-37_0_4_load_12 | 15 | 0.016343 | 0.0040958 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-37_0_4_load_13 | 16 | 0.0049618 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-37_0_4_load_39 | 17 | 0.0076402 | 0.0019148 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-37_0_4_load_16 | 19 | 0.0068704 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-37_0_4_load_18 | 21 | 0.01822 | 0.0045664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-37_0_4_load_19 | 22 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-37_0_4_load_63 | 23 | 0.011005 | 0.0027582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-37_0_4_load_69 | 24 | 0.0024251 | 0.00060778 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-37_0_4_load_64 | 25 | 0.0079368 | 0.0019891 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-37_0_4_load_20 | 27 | 0.000454 | 0.00011378 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-37_0_4_load_62 | 29 | 0.0048172 | 0.0012073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-37_0_4_load_67 | 30 | 0.0024775 | 0.00062091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-37_0_4_load_22 | 31 | 0.0065839 | 0.0016501 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-37_0_4_load_23 | 32 | 0.0047981 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-37_0_4_load_24 | 33 | 0.0046978 | 0.0011774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-37_0_4_load_27 | 35 | 0.012072 | 0.0030254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-37_0_4_load_30 | 36 | 0.003572 | 0.00089523 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-37_0_4_load_28 | 38 | 0.0074751 | 0.0018734 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-37_0_4_load_29 | 39 | 0.0062983 | 0.0015785 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-37_0_4_load_31 | 40 | 0.0049156 | 0.001232 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-37_0_4_load_32 | 41 | 0.0039211 | 0.00098271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-37_0_4_load_42 | 43 | 0.0024594 | 0.00061638 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-37_0_4_load_36 | 44 | 0.0094516 | 0.0023688 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-37_0_4_load_37 | 45 | 0.003208 | 0.000804 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-37_0_4_load_43 | 48 | 0.006128 | 0.0015358 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-37_0_4_load_71 | 49 | 0.0024463 | 0.00061309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-37_0_4_load_41 | 52 | 0.0046519 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-37_0_4_load_45 | 53 | 0.0068128 | 0.0017074 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-37_0_4_load_51 | 54 | 0.0042207 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-37_0_4_load_72 | 55 | 0.0082243 | 0.0020612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-37_0_4_load_49 | 56 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-37_0_4_load_73 | 57 | 0.0067584 | 0.0016938 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-37_0_4_load_48 | 59 | 0.0046947 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5886-37_0_4_load_50 | 60 | 0.0041727 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5886-37_0_4_load_52 | 61 | 0.0044735 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5886-37_0_4_load_55 | 62 | 0.0029979 | 0.00075134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5886-37_0_4_load_57 | 63 | 0.0046427 | 0.0011636 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5886-37_0_4_load_58 | 64 | 0.011332 | 0.00284 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5886-37_0_4_load_70 | 66 | 0.0024131 | 0.00060478 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5886-37_0_4_load_65 | 68 | 0.0089044 | 0.0022317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-37_0_4_line_0 |  | 0 | 1 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-37_0_4_line_1 |  | 1 | 2 | 0.006927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-37_0_4_line_2 |  | 2 | 3 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-37_0_4_line_3 |  | 3 | 4 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-37_0_4_line_4 |  | 4 | 5 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-37_0_4_line_5 |  | 5 | 44 | 0.0045687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-37_0_4_line_6 |  | 6 | 7 | 0.0064931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-37_0_4_line_7 |  | 6 | 8 | 0.026448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-37_0_4_line_8 |  | 7 | 9 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-37_0_4_line_9 |  | 8 | 10 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5886-37_0_4_line_10 |  | 10 | 11 | 0.0033867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-37_0_4_line_11 |  | 11 | 12 | 0.022885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5886-37_0_4_line_12 |  | 12 | 15 | 0.0003606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5886-37_0_4_line_13 |  | 13 | 14 | 0.025942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5886-37_0_4_line_14 |  | 13 | 15 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5886-37_0_4_line_15 |  | 14 | 16 | 0.0014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5886-37_0_4_line_16 |  | 16 | 17 | 0.0036196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5886-37_0_4_line_17 |  | 17 | 18 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5886-37_0_4_line_18 |  | 18 | 52 | 0.0019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5886-37_0_4_line_19 |  | 18 | 43 | 0.0091134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-37_0_4_line_20 |  | 19 | 20 | 0.028361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-37_0_4_line_21 |  | 20 | 21 | 0.02551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-37_0_4_line_22 |  | 20 | 22 | 0.055853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-37_0_4_line_23 |  | 21 | 23 | 0.010156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-37_0_4_line_24 |  | 22 | 24 | 0.0046858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-37_0_4_line_25 |  | 23 | 25 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5886-37_0_4_line_26 |  | 24 | 26 | 0.018509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-37_0_4_line_27 |  | 25 | 68 | 0.033982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-37_0_4_line_28 |  | 26 | 66 | 0.018653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5886-37_0_4_line_29 |  | 26 | 65 | 0.024045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-37_0_4_line_30 |  | 27 | 28 | 0.089988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-37_0_4_line_31 |  | 28 | 29 | 0.09574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-37_0_4_line_32 |  | 29 | 30 | 0.0048429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-37_0_4_line_33 |  | 30 | 67 | 0.095927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-37_0_4_line_34 |  | 31 | 32 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-37_0_4_line_35 |  | 31 | 33 | 0.001271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-37_0_4_line_36 |  | 32 | 34 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-37_0_4_line_37 |  | 34 | 35 | 0.0088859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-37_0_4_line_38 |  | 35 | 38 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-37_0_4_line_39 |  | 36 | 37 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-37_0_4_line_40 |  | 37 | 42 | 0.006701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-37_0_4_line_41 |  | 38 | 39 | 0.0022702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-37_0_4_line_42 |  | 39 | 40 | 0.0066929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-37_0_4_line_43 |  | 40 | 41 | 0.0024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-37_0_4_line_44 |  | 41 | 43 | 0.007796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-37_0_4_line_45 |  | 42 | 62 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5886-37_0_4_line_46 |  | 42 | 61 | 0.00896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5886-37_0_4_line_47 |  | 44 | 45 | 0.0067574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5886-37_0_4_line_48 |  | 45 | 46 | 0.0029907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-37_0_4_line_49 |  | 46 | 47 | 0.010521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5886-37_0_4_line_50 |  | 46 | 48 | 0.0097289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5886-37_0_4_line_51 |  | 47 | 49 | 0.0065695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5886-37_0_4_line_52 |  | 47 | 50 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-37_0_4_line_53 |  | 48 | 51 | 0.0057374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5886-37_0_4_line_54 |  | 49 | 58 | 0.11867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_5886-37_0_4_line_55 |  | 50 | 54 | 0.0081229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-37_0_4_line_56 |  | 50 | 55 | 0.0090319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5886-37_0_4_line_57 |  | 51 | 53 | 0.0035807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5886-37_0_4_line_58 |  | 52 | 53 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5886-37_0_4_line_59 |  | 54 | 56 | 0.0088249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5886-37_0_4_line_60 |  | 55 | 57 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5886-37_0_4_line_61 |  | 56 | 59 | 0.0070316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5886-37_0_4_line_62 |  | 57 | 63 | 0.0065842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5886-37_0_4_line_63 |  | 58 | 67 | 0.043865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5886-37_0_4_line_64 |  | 59 | 60 | 0.0037052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5886-37_0_4_line_65 |  | 60 | 61 | 0.0027643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5886-37_0_4_line_66 |  | 64 | 65 | 0.0095484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5886-37_0_4_line_67 |  | 67 | 68 | 0.07729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-37_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 69 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2559772.4538 | 1142802.4358 | 2559772.7153 | 1142801.656 | 2559777.0838 | 1142792.9001 | 2559784.9209 | 1142782.1756 | 2559786.7875 | 1142779.502
1 | 2559786.7875 | 1142779.502 | 2559790.7528 | 1142773.8222
2 | 2559804.099 | 1142757.0459 | 2559795.2213 | 1142767.4215 | 2559790.7528 | 1142773.8222
3 | 2559804.099 | 1142757.0459 | 2559807.7057 | 1142752.8307 | 2559819.0127 | 1142741.4716 | 2559823.3325 | 1142735.637
4 | 2559823.3325 | 1142735.637 | 2559824.6952 | 1142733.7965 | 2559827.8591 | 1142726.4827 | 2559828.7514 | 1142719.6956 | 2559828.6728 | 1142714.2582
5 | 2559828.6067 | 1142709.69 | 2559828.6728 | 1142714.2582
6 | 2559697.8919 | 1142719.3452 | 2559701.3894 | 1142724.8158
7 | 2559715.6356 | 1142747.099 | 2559701.3894 | 1142724.8158
8 | 2559697.8919 | 1142719.3452 | 2559688.7918 | 1142705.1114
9 | 2559715.6356 | 1142747.099 | 2559728.3748 | 1142739.5877 | 2559728.9244 | 1142739.2331
10 | 2559728.9244 | 1142739.2331 | 2559730.9691 | 1142737.9139 | 2559731.7702 | 1142737.3971
11 | 2559751.0012 | 1142724.9916 | 2559731.7702 | 1142737.3971
12 | 2559751.0012 | 1142724.9916 | 2559751.3042 | 1142724.7961
13 | 2559763.8955 | 1142716.0195 | 2559785.054 | 1142701.0089
14 | 2559763.8955 | 1142716.0195 | 2559753.729 | 1142723.232 | 2559751.3042 | 1142724.7961
15 | 2559786.2452 | 1142700.1638 | 2559785.054 | 1142701.0089
16 | 2559789.1974 | 1142698.0694 | 2559786.2452 | 1142700.1638
17 | 2559794.7664 | 1142687.873 | 2559791.4574 | 1142696.4661 | 2559789.1974 | 1142698.0694
18 | 2559794.7664 | 1142687.873 | 2559796.5487 | 1142688.5893
19 | 2559794.7664 | 1142687.873 | 2559787.8211 | 1142681.9724
20 | 2559850.8243 | 1142831.1827 | 2559841.0646 | 1142857.8119
21 | 2559850.8243 | 1142831.1827 | 2559860.4051 | 1142809.9302 | 2559861.1995 | 1142807.8813
22 | 2559850.8243 | 1142831.1827 | 2559888.1278 | 1142841.0056 | 2559904.15 | 1142847.4718
23 | 2559861.1995 | 1142807.8813 | 2559864.871 | 1142798.4124
24 | 2559908.4953 | 1142849.2254 | 2559904.15 | 1142847.4718
25 | 2559875.4434 | 1142786.5671 | 2559870.9498 | 1142789.1493 | 2559866.2306 | 1142794.906 | 2559864.871 | 1142798.4124
26 | 2559925.6587 | 1142856.1522 | 2559908.4953 | 1142849.2254
27 | 2559906.4494 | 1142772.7711 | 2559893.2558 | 1142778.9955 | 2559879.1117 | 1142784.4592 | 2559875.4434 | 1142786.5671
28 | 2559925.6587 | 1142856.1522 | 2559934.9198 | 1142839.9489
29 | 2559924.8244 | 1142879.7364 | 2559923.028 | 1142866.2082 | 2559925.6587 | 1142856.1522
30 | 2560040.6148 | 1142842.1473 | 2560046.8112 | 1142837.7706 | 2560055.291 | 1142833.4788 | 2560065.3182 | 1142829.588 | 2560073.5651 | 1142828.4216 | 2560082.1895 | 1142827.3972 | 2560093.7602 | 1142829.0769 | 2560109.2139 | 1142832.176 | 2560117.5002 | 1142833.4773 | 2560117.0215 | 1142842.7522
31 | 2559955.5308 | 1142798.2521 | 2560040.6148 | 1142842.1473
32 | 2559955.5308 | 1142798.2521 | 2559952.4571 | 1142794.5096
33 | 2559960.5883 | 1142722.9964 | 2559962.1724 | 1142732.3573 | 2559963.2453 | 1142745.7347 | 2559946.3431 | 1142754.863 | 2559938.3766 | 1142760.052 | 2559933.1206 | 1142766.0011 | 2559932.0965 | 1142768.02 | 2559932.6865 | 1142772.3628 | 2559943.3668 | 1142783.4417 | 2559952.4571 | 1142794.5096
34 | 2559721.9369 | 1142659.8973 | 2559733.1719 | 1142658.753
35 | 2559721.9369 | 1142659.8973 | 2559720.6724 | 1142660.0261
36 | 2559752.3852 | 1142656.796 | 2559733.1719 | 1142658.753
37 | 2559752.3852 | 1142656.796 | 2559758.6683 | 1142663.0794
38 | 2559758.6683 | 1142663.0794 | 2559772.1473 | 1142670.8972
39 | 2559805.091 | 1142652.5527 | 2559780.2355 | 1142654.554
40 | 2559811.807 | 1142652.3077 | 2559805.091 | 1142652.5527
41 | 2559772.1473 | 1142670.8972 | 2559774.1111 | 1142672.0362
42 | 2559774.1111 | 1142672.0362 | 2559777.5031 | 1142674.0035 | 2559779.7067 | 1142675.6847
43 | 2559781.6714 | 1142677.1837 | 2559779.7067 | 1142675.6847
44 | 2559781.6714 | 1142677.1837 | 2559786.7041 | 1142681.0234 | 2559787.8211 | 1142681.9724
45 | 2559811.807 | 1142652.3077 | 2559830.8144 | 1142649.9574 | 2559831.2906 | 1142649.8624
46 | 2559811.807 | 1142652.3077 | 2559810.9385 | 1142661.2255
47 | 2559828.6067 | 1142709.69 | 2559828.509 | 1142702.9334
48 | 2559828.4658 | 1142699.943 | 2559828.509 | 1142702.9334
49 | 2559829.3873 | 1142689.4648 | 2559828.4658 | 1142699.943
50 | 2559828.4658 | 1142699.943 | 2559822.9535 | 1142695.1218 | 2559821.1062 | 1142693.5807
51 | 2559829.3873 | 1142689.4648 | 2559835.9296 | 1142690.0621
52 | 2559829.3873 | 1142689.4648 | 2559831.871 | 1142674.6629
53 | 2559816.7006 | 1142689.9053 | 2559821.1062 | 1142693.5807
54 | 2559938.7631 | 1142692.2927 | 2559930.5672 | 1142694.2149 | 2559923.6492 | 1142696.4288 | 2559917.2046 | 1142699.3398 | 2559907.0934 | 1142705.6437 | 2559899.9124 | 1142708.7598 | 2559890.1706 | 1142712.8268 | 2559884.1193 | 1142715.9243 | 2559878.0393 | 1142719.3221 | 2559874.9815 | 1142718.3642 | 2559865.6399 | 1142709.8333 | 2559859.1593 | 1142705.0296 | 2559853.7734 | 1142700.7189 | 2559845.5349 | 1142696.2605 | 2559837.6702 | 1142690.221 | 2559835.9296 | 1142690.0621
55 | 2559831.871 | 1142674.6629 | 2559826.4472 | 1142668.6161
56 | 2559831.871 | 1142674.6629 | 2559838.0355 | 1142668.0619
57 | 2559816.7006 | 1142689.9053 | 2559814.1142 | 1142690.4784 | 2559813.1882 | 1142690.5798
58 | 2559796.5487 | 1142688.5893 | 2559802.3576 | 1142690.9238 | 2559806.5413 | 1142691.3072 | 2559813.1882 | 1142690.5798
59 | 2559818.5141 | 1142669.1382 | 2559820.6897 | 1142668.0564 | 2559822.2382 | 1142667.4458 | 2559823.4736 | 1142667.1263 | 2559824.5041 | 1142667.2194 | 2559825.9238 | 1142668.0326 | 2559826.4472 | 1142668.6161
60 | 2559838.0355 | 1142668.0619 | 2559838.724 | 1142667.3246 | 2559846.5169 | 1142659.8797
61 | 2559812.0287 | 1142667.3244 | 2559813.5222 | 1142668.5823 | 2559815.963 | 1142669.233 | 2559818.5141 | 1142669.1382 | 2559818.5141 | 1142669.1382
62 | 2559846.5169 | 1142659.8797 | 2559851.2776 | 1142655.3314
63 | 2559938.7631 | 1142692.2927 | 2559947.9213 | 1142694.066 | 2559953.1368 | 1142695.8877 | 2559954.9057 | 1142697.21 | 2559957.016 | 1142700.1641 | 2559960.0812 | 1142712.6278 | 2559960.5883 | 1142722.9964
64 | 2559812.0287 | 1142667.3244 | 2559811.7675 | 1142667.1044 | 2559810.9507 | 1142665.6425 | 2559810.6706 | 1142663.9768
65 | 2559810.6706 | 1142663.9768 | 2559810.6706 | 1142663.9768 | 2559810.9385 | 1142661.2255
66 | 2559924.8244 | 1142879.7364 | 2559919.5758 | 1142887.7129
67 | 2559960.5883 | 1142722.9964 | 2559952.1068 | 1142723.5754 | 2559937.5838 | 1142731.0314 | 2559925.8432 | 1142744.2607 | 2559920.4234 | 1142754.4575 | 2559912.9646 | 1142766.6245 | 2559906.4494 | 1142772.7711

## bus_geodata
| x | y | coords
0 | 2559772.4538 | 1142802.4358
1 | 2559786.7875 | 1142779.502
2 | 2559790.7528 | 1142773.8222
3 | 2559804.099 | 1142757.0459
4 | 2559823.3325 | 1142735.637
5 | 2559828.6728 | 1142714.2582
6 | 2559701.3894 | 1142724.8158
7 | 2559697.8919 | 1142719.3452
8 | 2559715.6356 | 1142747.099
9 | 2559688.7918 | 1142705.1114
10 | 2559728.9244 | 1142739.2331
11 | 2559731.7702 | 1142737.3971
12 | 2559751.0012 | 1142724.9916
13 | 2559763.8955 | 1142716.0195
14 | 2559785.054 | 1142701.0089
15 | 2559751.3042 | 1142724.7961
16 | 2559786.2452 | 1142700.1638
17 | 2559789.1974 | 1142698.0694
18 | 2559794.7664 | 1142687.873
19 | 2559841.0646 | 1142857.8119
20 | 2559850.8243 | 1142831.1827
21 | 2559861.1995 | 1142807.8813
22 | 2559904.15 | 1142847.4718
23 | 2559864.871 | 1142798.4124
24 | 2559908.4953 | 1142849.2254
25 | 2559875.4434 | 1142786.5671
26 | 2559925.6587 | 1142856.1522
27 | 2560117.0215 | 1142842.7522
28 | 2560040.6148 | 1142842.1473
29 | 2559955.5308 | 1142798.2521
30 | 2559952.4571 | 1142794.5096
31 | 2559721.9369 | 1142659.8973
32 | 2559733.1719 | 1142658.753
33 | 2559720.6724 | 1142660.0261
34 | 2559752.3852 | 1142656.796
35 | 2559758.6683 | 1142663.0794
36 | 2559780.2355 | 1142654.554
37 | 2559805.091 | 1142652.5527
38 | 2559772.1473 | 1142670.8972
39 | 2559774.1111 | 1142672.0362
40 | 2559779.7067 | 1142675.6847
41 | 2559781.6714 | 1142677.1837
42 | 2559811.807 | 1142652.3077
43 | 2559787.8211 | 1142681.9724
44 | 2559828.6067 | 1142709.69
45 | 2559828.509 | 1142702.9334
46 | 2559828.4658 | 1142699.943
47 | 2559829.3873 | 1142689.4648
48 | 2559821.1062 | 1142693.5807
49 | 2559835.9296 | 1142690.0621
50 | 2559831.871 | 1142674.6629
51 | 2559816.7006 | 1142689.9053
52 | 2559796.5487 | 1142688.5893
53 | 2559813.1882 | 1142690.5798
54 | 2559826.4472 | 1142668.6161
55 | 2559838.0355 | 1142668.0619
56 | 2559818.5141 | 1142669.1382
57 | 2559846.5169 | 1142659.8797
58 | 2559938.7631 | 1142692.2927
59 | 2559812.0287 | 1142667.3244
60 | 2559810.6706 | 1142663.9768
61 | 2559810.9385 | 1142661.2255
62 | 2559831.2906 | 1142649.8624
63 | 2559851.2776 | 1142655.3314
64 | 2559919.5758 | 1142887.7129
65 | 2559924.8244 | 1142879.7364
66 | 2559934.9198 | 1142839.9489
67 | 2559960.5883 | 1142722.9964
68 | 2559906.4494 | 1142772.7711
69 | 2559794.7664 | 1142687.873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1