## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-38_1_5_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_5886-38_1_5_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_5886-38_1_5_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_5886-38_1_5_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_5886-38_1_5_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_5886-38_1_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5886-38_1_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5886-38_1_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5886-38_1_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_5886-38_1_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5886-38_1_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5886-38_1_5_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_5886-38_1_5_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_5886-38_1_5_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_5886-38_1_5_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_5886-38_1_5_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_5886-38_1_5_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_5886-38_1_5_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5886-38_1_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5886-38_1_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5886-38_1_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5886-38_1_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_5886-38_1_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_5886-38_1_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5886-38_1_5_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_5886-38_1_5_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_5886-38_1_5_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5886-38_1_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_5886-38_1_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5886-38_1_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5886-38_1_5_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_5886-38_1_5_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_5886-38_1_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5886-38_1_5_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_5886-38_1_5_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_5886-38_1_5_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5886-38_1_5_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_5886-38_1_5_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_5886-38_1_5_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_5886-38_1_5_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_5886-38_1_5_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_5886-38_1_5_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_5886-38_1_5_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_5886-38_1_5_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_5886-38_1_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_5886-38_1_5_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_5886-38_1_5_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_5886-38_1_5_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_5886-38_1_5_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5886-38_1_5_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_5886-38_1_5_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5886-38_1_5_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_5886-38_1_5_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_5886-38_1_5_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_5886-38_1_5_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5886-38_1_5_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_5886-38_1_5_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_5886-38_1_5_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_5886-38_1_5_node_92 | 0.4 | n |  | TRUE
59 | bus_MV_261_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-38_1_5_load_3 | 0 | 0.0065281 | 0.0016361 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-38_1_5_load_5 | 1 | 0.0037303 | 0.00093491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-38_1_5_load_65 | 3 | 0.0057077 | 0.0014305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-38_1_5_load_8 | 5 | 0.0044658 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-38_1_5_load_12 | 7 | 0.0031734 | 0.00079533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-38_1_5_load_13 | 8 | 0.0036364 | 0.00091136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-38_1_5_load_24 | 10 | 0.0040571 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-38_1_5_load_48 | 11 | 0.0040954 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-38_1_5_load_45 | 12 | 0.0031583 | 0.00079154 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-38_1_5_load_44 | 13 | 0.0074552 | 0.0018684 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-38_1_5_load_50 | 14 | 0.0054449 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-38_1_5_load_46 | 15 | 0.0070905 | 0.0017771 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-38_1_5_load_42 | 16 | 0.0046699 | 0.0011704 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-38_1_5_load_33 | 17 | 0.0023423 | 0.00058704 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-38_1_5_load_26 | 19 | 0.0022169 | 0.0005556 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-38_1_5_load_28 | 20 | 0.0030511 | 0.00076467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-38_1_5_load_31 | 22 | 0.0023103 | 0.00057902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-38_1_5_load_87 | 24 | 0.01531 | 0.0038371 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-38_1_5_load_95 | 25 | 0.016688 | 0.0041825 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-38_1_5_load_47 | 27 | 0.0049676 | 0.001245 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-38_1_5_load_49 | 28 | 0.0027844 | 0.00069783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-38_1_5_load_64 | 29 | 0.002988 | 0.00074885 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-38_1_5_load_60 | 32 | 0.0070095 | 0.0017568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-38_1_5_load_62 | 33 | 0.011146 | 0.0027936 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-38_1_5_load_75 | 34 | 0.0045712 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-38_1_5_load_61 | 35 | 0.0018238 | 0.0004571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-38_1_5_load_63 | 36 | 0.012609 | 0.00316 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-38_1_5_load_66 | 37 | 0.0053278 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-38_1_5_load_73 | 38 | 0.0029135 | 0.0007302 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-38_1_5_load_67 | 39 | 0.0027987 | 0.00070141 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-38_1_5_load_88 | 40 | 0.0048143 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-38_1_5_load_85 | 41 | 0.0029448 | 0.00073804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-38_1_5_load_90 | 42 | 0.0052375 | 0.0013126 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-38_1_5_load_69 | 43 | 0.0023844 | 0.00059759 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-38_1_5_load_71 | 44 | 0.0021676 | 0.00054325 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-38_1_5_load_72 | 45 | 0.0052049 | 0.0013045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-38_1_5_load_94 | 46 | 0.0044986 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-38_1_5_load_93 | 47 | 0.0018378 | 0.0004606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-38_1_5_load_76 | 48 | 0.022079 | 0.0055335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-38_1_5_load_77 | 49 | 0.015526 | 0.0038913 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-38_1_5_load_79 | 50 | 0.012814 | 0.0032116 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5886-38_1_5_load_82 | 53 | 0.0043296 | 0.0010851 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5886-38_1_5_load_83 | 54 | 0.0048499 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5886-38_1_5_load_84 | 55 | 0.0027787 | 0.0006964 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5886-38_1_5_load_89 | 56 | 0.0038735 | 0.0009708 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5886-38_1_5_load_91 | 57 | 0.0045303 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5886-38_1_5_load_92 | 58 | 0.0037392 | 0.00093712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-38_1_5_line_0 |  | 0 | 1 | 0.085642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5886-38_1_5_line_1 |  | 1 | 2 | 0.03249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5886-38_1_5_line_2 |  | 2 | 3 | 0.04674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5886-38_1_5_line_3 |  | 2 | 4 | 0.034358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-38_1_5_line_4 |  | 4 | 17 | 0.01179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5886-38_1_5_line_5 |  | 4 | 18 | 0.040611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5886-38_1_5_line_6 |  | 5 | 6 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5886-38_1_5_line_7 |  | 6 | 7 | 0.0071374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5886-38_1_5_line_8 |  | 6 | 8 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5886-38_1_5_line_9 |  | 7 | 9 | 0.0062976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5886-38_1_5_line_10 |  | 8 | 10 | 0.00088607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5886-38_1_5_line_11 |  | 9 | 11 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5886-38_1_5_line_12 |  | 9 | 12 | 0.03717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5886-38_1_5_line_13 |  | 10 | 13 | 0.0025399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5886-38_1_5_line_14 |  | 11 | 14 | 0.030154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5886-38_1_5_line_15 |  | 12 | 15 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5886-38_1_5_line_16 |  | 13 | 16 | 0.0054513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5886-38_1_5_line_17 |  | 14 | 30 | 0.089522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5886-38_1_5_line_18 |  | 15 | 27 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5886-38_1_5_line_19 |  | 18 | 21 | 0.026193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-38_1_5_line_20 |  | 18 | 19 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-38_1_5_line_21 |  | 19 | 20 | 0.012695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-38_1_5_line_22 |  | 21 | 22 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-38_1_5_line_23 |  | 21 | 23 | 0.076718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-38_1_5_line_24 |  | 23 | 24 | 0.016531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5886-38_1_5_line_25 |  | 23 | 25 | 0.04932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5886-38_1_5_line_26 |  | 24 | 26 | 0.068516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-38_1_5_line_27 |  | 26 | 40 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5886-38_1_5_line_28 |  | 26 | 29 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5886-38_1_5_line_29 |  | 27 | 28 | 0.036515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5886-38_1_5_line_30 |  | 28 | 29 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5886-38_1_5_line_31 |  | 30 | 31 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5886-38_1_5_line_32 |  | 31 | 45 | 0.0092712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5886-38_1_5_line_33 |  | 31 | 44 | 0.0046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-38_1_5_line_34 |  | 32 | 33 | 0.047164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-38_1_5_line_35 |  | 32 | 34 | 0.054699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-38_1_5_line_36 |  | 33 | 37 | 0.079308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5886-38_1_5_line_37 |  | 33 | 38 | 0.02628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5886-38_1_5_line_38 |  | 34 | 36 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-38_1_5_line_39 |  | 35 | 36 | 0.028205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-38_1_5_line_40 |  | 37 | 39 | 0.0054657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-38_1_5_line_41 |  | 39 | 41 | 0.0047826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-38_1_5_line_42 |  | 41 | 42 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5886-38_1_5_line_43 |  | 42 | 56 | 0.0021934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5886-38_1_5_line_44 |  | 43 | 44 | 0.0047138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5886-38_1_5_line_45 |  | 45 | 46 | 0.0016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5886-38_1_5_line_46 |  | 46 | 47 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5886-38_1_5_line_47 |  | 47 | 58 | 0.0098314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5886-38_1_5_line_48 |  | 48 | 49 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5886-38_1_5_line_49 |  | 49 | 50 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5886-38_1_5_line_50 |  | 50 | 51 | 0.03335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-38_1_5_line_51 |  | 51 | 52 | 0.011088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5886-38_1_5_line_52 |  | 51 | 53 | 0.029395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5886-38_1_5_line_53 |  | 52 | 54 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5886-38_1_5_line_54 |  | 53 | 55 | 0.0030792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5886-38_1_5_line_55 |  | 54 | 56 | 0.028183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5886-38_1_5_line_56 |  | 55 | 57 | 0.010431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5886-38_1_5_line_57 |  | 57 | 58 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-38_1_5_trafo_86 | 0.63 MVA 20/0.4 kV | 59 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2559670.3336 | 1143023.7695 | 2559659.3011 | 1143032.9774 | 2559641.0329 | 1143050.2198 | 2559612.9761 | 1143081.6129 | 2559610.7497 | 1143084.9938
1 | 2559618.5822 | 1143109.5784 | 2559611.1658 | 1143106.1598 | 2559605.806 | 1143099.9926 | 2559607.2625 | 1143090.289 | 2559610.7497 | 1143084.9938
2 | 2559618.5822 | 1143109.5784 | 2559613.6023 | 1143100.4738 | 2559612.8638 | 1143092.3524 | 2559617.9 | 1143083.5253 | 2559629.8329 | 1143069.9896
3 | 2559619.1111 | 1143135.6992 | 2559627.7336 | 1143121.8788 | 2559629.6794 | 1143118.6419 | 2559618.5822 | 1143109.5784
4 | 2559619.1111 | 1143135.6992 | 2559607.8764 | 1143132.1252
5 | 2559619.1111 | 1143135.6992 | 2559637.6636 | 1143145.9689 | 2559641.6019 | 1143149.9112 | 2559644.2737 | 1143154.0842 | 2559645.6332 | 1143158.5441 | 2559645.5158 | 1143162.8137
6 | 2559732.8958 | 1143031.4393 | 2559735.7714 | 1143022.4265 | 2559740.879 | 1143006.3225
7 | 2559732.8958 | 1143031.4393 | 2559731.2038 | 1143038.3732
8 | 2559732.8958 | 1143031.4393 | 2559740.7615 | 1143031.9313 | 2559744.9046 | 1143030.8697
9 | 2559729.9478 | 1143044.5434 | 2559730.9884 | 1143039.256 | 2559731.2038 | 1143038.3732
10 | 2559744.9046 | 1143030.8697 | 2559745.5846 | 1143030.3016
11 | 2559729.9478 | 1143044.5434 | 2559723.9693 | 1143068.0179
12 | 2559729.9478 | 1143044.5434 | 2559714.9612 | 1143065.2432 | 2559709.1981 | 1143075.3269
13 | 2559745.5846 | 1143030.3016 | 2559747.5338 | 1143028.6733
14 | 2559715.5427 | 1143096.9643 | 2559719.1491 | 1143083.4911 | 2559723.9269 | 1143068.1846 | 2559723.9693 | 1143068.0179
15 | 2559709.1981 | 1143075.3269 | 2559705.9365 | 1143081.0338 | 2559699.0045 | 1143099.4341
16 | 2559747.5338 | 1143028.6733 | 2559747.5338 | 1143028.6733 | 2559749.0948 | 1143023.4502
17 | 2559754.8723 | 1143170.9077 | 2559750.0089 | 1143163.0918 | 2559740.0512 | 1143155.4545 | 2559730.4363 | 1143147.348 | 2559720.0883 | 1143133.0767 | 2559715.1998 | 1143123.8158 | 2559713.7979 | 1143114.1759 | 2559714.7253 | 1143100.018 | 2559715.5427 | 1143096.9643
18 | 2559699.0045 | 1143099.4341 | 2559699.0045 | 1143099.4341 | 2559699.2171 | 1143113.9623 | 2559701.5544 | 1143119.8169
19 | 2559631.8385 | 1143184.9834 | 2559642.7481 | 1143169.5357 | 2559644.4778 | 1143166.1779 | 2559645.5158 | 1143162.8137
20 | 2559645.5158 | 1143162.8137 | 2559663.2128 | 1143177.3246 | 2559665.0759 | 1143177.8124 | 2559667.2631 | 1143177.342
21 | 2559679.3886 | 1143173.581 | 2559667.2631 | 1143177.342
22 | 2559631.8385 | 1143184.9834 | 2559623.6451 | 1143182.5816 | 2559618.9968 | 1143183.8445
23 | 2559631.8385 | 1143184.9834 | 2559626.5909 | 1143200.0929 | 2559625.0967 | 1143208.7741 | 2559629.8126 | 1143208.3311 | 2559630.7784 | 1143207.9577 | 2559631.4573 | 1143207.1861 | 2559633.5964 | 1143196.1217 | 2559635.1356 | 1143191.8536 | 2559637.527 | 1143187.4576 | 2559642.2666 | 1143189.4046 | 2559658.9763 | 1143198.8195
24 | 2559658.9763 | 1143198.8195 | 2559662.8157 | 1143200.6281 | 2559664.9621 | 1143200.9472 | 2559666.8814 | 1143200.6453 | 2559674.7756 | 1143198.5249
25 | 2559658.9763 | 1143198.8195 | 2559652.3986 | 1143206.99 | 2559649.9198 | 1143217.8344 | 2559634.9394 | 1143237.0558 | 2559633.5784 | 1143240.1026
26 | 2559735.2897 | 1143169.7381 | 2559718.2185 | 1143172.9095 | 2559688.615 | 1143194.8078 | 2559674.7756 | 1143198.5249
27 | 2559720.9575 | 1143192.868 | 2559726.1274 | 1143179.8823 | 2559735.2897 | 1143169.7381
28 | 2559735.2897 | 1143169.7381 | 2559742.2363 | 1143168.4465 | 2559728.2573 | 1143159.509
29 | 2559718.318 | 1143151.9087 | 2559713.6558 | 1143146.8823 | 2559705.1969 | 1143128.941 | 2559701.5544 | 1143119.8169
30 | 2559718.318 | 1143151.9087 | 2559721.1572 | 1143154.9696 | 2559728.2573 | 1143159.509
31 | 2559753.8798 | 1143183.3762 | 2559754.8723 | 1143170.9077
32 | 2559753.8798 | 1143183.3762 | 2559748.828 | 1143191.0472 | 2559748.7625 | 1143191.1033
33 | 2559753.8798 | 1143183.3762 | 2559757.7049 | 1143180.6984
34 | 2559814.9535 | 1143088.6142 | 2559806.8784 | 1143109.7845 | 2559796.237 | 1143131.8597
35 | 2559814.9535 | 1143088.6142 | 2559818.0848 | 1143034.0045
36 | 2559796.237 | 1143131.8597 | 2559793.5294 | 1143137.4767 | 2559791.2762 | 1143147.6302 | 2559791.4867 | 1143157.2782 | 2559792.9424 | 1143165.795 | 2559800.5042 | 1143187.5444 | 2559801.8961 | 1143194.5609 | 2559801.6675 | 1143201.755 | 2559799.6212 | 1143208.4532
37 | 2559796.237 | 1143131.8597 | 2559820.36 | 1143142.2875
38 | 2559818.0848 | 1143034.0045 | 2559822.9036 | 1143023.6204
39 | 2559835.8699 | 1142998.6014 | 2559828.6465 | 1143011.2446 | 2559822.9036 | 1143023.6204
40 | 2559798.0243 | 1143213.6804 | 2559799.6212 | 1143208.4532
41 | 2559796.3964 | 1143218.1702 | 2559797.2979 | 1143216.0581 | 2559798.0243 | 1143213.6804
42 | 2559796.3964 | 1143218.1702 | 2559791.4472 | 1143229.7655
43 | 2559790.5861 | 1143231.7829 | 2559791.4472 | 1143229.7655
44 | 2559761.5665 | 1143177.9951 | 2559757.7049 | 1143180.6984
45 | 2559747.528 | 1143192.1602 | 2559748.7625 | 1143191.1033
46 | 2559747.528 | 1143192.1602 | 2559743.5018 | 1143195.6074 | 2559739.4161 | 1143201.7934 | 2559738.4013 | 1143204.4894
47 | 2559735.9882 | 1143213.952 | 2559736.5845 | 1143209.3162 | 2559738.4013 | 1143204.4894
48 | 2559695.1636 | 1143303.8277 | 2559696.6894 | 1143303.32 | 2559710.5703 | 1143301.2149 | 2559719.5732 | 1143298.9311
49 | 2559739.454 | 1143287.9394 | 2559729.5207 | 1143296.4078 | 2559719.5732 | 1143298.9311
50 | 2559758.5715 | 1143260.8843 | 2559755.2668 | 1143267.7654 | 2559742.1905 | 1143285.6064 | 2559739.454 | 1143287.9394
51 | 2559758.5715 | 1143260.8843 | 2559765.9817 | 1143269.15
52 | 2559758.5715 | 1143260.8843 | 2559750.6716 | 1143250.6319 | 2559742.6525 | 1143238.6572 | 2559741.7911 | 1143236.8072
53 | 2559765.9817 | 1143269.15 | 2559776.6077 | 1143256.1498
54 | 2559740.4914 | 1143234.0158 | 2559741.7911 | 1143236.8072
55 | 2559776.6077 | 1143256.1498 | 2559779.8783 | 1143252.1485 | 2559789.9127 | 1143233.3607 | 2559790.5861 | 1143231.7829
56 | 2559740.4914 | 1143234.0158 | 2559737.7401 | 1143228.1069 | 2559737.0063 | 1143224.2632
57 | 2559735.9882 | 1143213.952 | 2559735.6056 | 1143216.9266 | 2559737.0063 | 1143224.2632

## bus_geodata
| x | y | coords
0 | 2559670.3336 | 1143023.7695
1 | 2559610.7497 | 1143084.9938
2 | 2559618.5822 | 1143109.5784
3 | 2559629.8329 | 1143069.9896
4 | 2559619.1111 | 1143135.6992
5 | 2559740.879 | 1143006.3225
6 | 2559732.8958 | 1143031.4393
7 | 2559731.2038 | 1143038.3732
8 | 2559744.9046 | 1143030.8697
9 | 2559729.9478 | 1143044.5434
10 | 2559745.5846 | 1143030.3016
11 | 2559723.9693 | 1143068.0179
12 | 2559709.1981 | 1143075.3269
13 | 2559747.5338 | 1143028.6733
14 | 2559715.5427 | 1143096.9643
15 | 2559699.0045 | 1143099.4341
16 | 2559749.0948 | 1143023.4502
17 | 2559607.8764 | 1143132.1252
18 | 2559645.5158 | 1143162.8137
19 | 2559667.2631 | 1143177.342
20 | 2559679.3886 | 1143173.581
21 | 2559631.8385 | 1143184.9834
22 | 2559618.9968 | 1143183.8445
23 | 2559658.9763 | 1143198.8195
24 | 2559674.7756 | 1143198.5249
25 | 2559633.5784 | 1143240.1026
26 | 2559735.2897 | 1143169.7381
27 | 2559701.5544 | 1143119.8169
28 | 2559718.318 | 1143151.9087
29 | 2559728.2573 | 1143159.509
30 | 2559754.8723 | 1143170.9077
31 | 2559753.8798 | 1143183.3762
32 | 2559814.9535 | 1143088.6142
33 | 2559796.237 | 1143131.8597
34 | 2559818.0848 | 1143034.0045
35 | 2559835.8699 | 1142998.6014
36 | 2559822.9036 | 1143023.6204
37 | 2559799.6212 | 1143208.4532
38 | 2559820.36 | 1143142.2875
39 | 2559798.0243 | 1143213.6804
40 | 2559720.9575 | 1143192.868
41 | 2559796.3964 | 1143218.1702
42 | 2559791.4472 | 1143229.7655
43 | 2559761.5665 | 1143177.9951
44 | 2559757.7049 | 1143180.6984
45 | 2559748.7625 | 1143191.1033
46 | 2559747.528 | 1143192.1602
47 | 2559738.4013 | 1143204.4894
48 | 2559695.1636 | 1143303.8277
49 | 2559719.5732 | 1143298.9311
50 | 2559739.454 | 1143287.9394
51 | 2559758.5715 | 1143260.8843
52 | 2559765.9817 | 1143269.15
53 | 2559741.7911 | 1143236.8072
54 | 2559776.6077 | 1143256.1498
55 | 2559740.4914 | 1143234.0158
56 | 2559790.5861 | 1143231.7829
57 | 2559737.0063 | 1143224.2632
58 | 2559735.9882 | 1143213.952
59 | 2559720.9575 | 1143192.868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1