## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5886-52_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5886-52_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5886-52_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5886-52_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5886-52_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5886-52_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5886-52_0_5_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_5886-52_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_5886-52_0_5_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5886-52_0_5_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_5886-52_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5886-52_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5886-52_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5886-52_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5886-52_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5886-52_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5886-52_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5886-52_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5886-52_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5886-52_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5886-52_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_5886-52_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_5886-52_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5886-52_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5886-52_0_5_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_5886-52_0_5_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5886-52_0_5_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_5886-52_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5886-52_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5886-52_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5886-52_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5886-52_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5886-52_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5886-52_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5886-52_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5886-52_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5886-52_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5886-52_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5886-52_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5886-52_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5886-52_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5886-52_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5886-52_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5886-52_0_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_5886-52_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5886-52_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5886-52_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5886-52_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5886-52_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5886-52_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5886-52_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5886-52_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5886-52_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5886-52_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5886-52_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5886-52_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5886-52_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_5886-52_0_5_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_5886-52_0_5_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5886-52_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5886-52_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_MV_260_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5886-52_0_5_load_0 | 0 | 0.0065558 | 0.001643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5886-52_0_5_load_1 | 1 | 0.0024391 | 0.00061131 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5886-52_0_5_load_3 | 3 | 0.0030391 | 0.00076168 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5886-52_0_5_load_4 | 4 | 0.0052713 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5886-52_0_5_load_5 | 5 | 0.0035375 | 0.00088659 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5886-52_0_5_load_48 | 7 | 0.0055492 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5886-52_0_5_load_62 | 8 | 0.085229 | 0.02136 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5886-52_0_5_load_6 | 10 | 0.048153 | 0.012068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5886-52_0_5_load_7 | 11 | 0.074677 | 0.018716 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5886-52_0_5_load_9 | 13 | 0.091786 | 0.023004 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5886-52_0_5_load_10 | 14 | 0.042091 | 0.010549 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5886-52_0_5_load_13 | 16 | 0.02255 | 0.0056517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5886-52_0_5_load_14 | 17 | 0.0052713 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5886-52_0_5_load_16 | 19 | 0.011762 | 0.0029479 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5886-52_0_5_load_50 | 20 | 0.0051402 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5886-52_0_5_load_17 | 22 | 0.0011414 | 0.00028605 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5886-52_0_5_load_18 | 23 | 0.0023593 | 0.00059129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5886-52_0_5_load_19 | 27 | 0.0024779 | 0.00062101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5886-52_0_5_load_20 | 28 | 0.0026503 | 0.00066422 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5886-52_0_5_load_21 | 29 | 0.0026628 | 0.00066737 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5886-52_0_5_load_23 | 31 | 0.0067316 | 0.0016871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5886-52_0_5_load_35 | 33 | 0.0053438 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5886-52_0_5_load_60 | 34 | 0.003977 | 0.00099673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5886-52_0_5_load_25 | 36 | 0.0085071 | 0.0021321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5886-52_0_5_load_27 | 38 | 0.0019613 | 0.00049155 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5886-52_0_5_load_40 | 40 | 0.0090857 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5886-52_0_5_load_32 | 42 | 0.0023782 | 0.00059603 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5886-52_0_5_load_49 | 43 | 0.0014156 | 0.00035479 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5886-52_0_5_load_30 | 44 | 0.0015777 | 0.00039542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5886-52_0_5_load_29 | 45 | 0.008502 | 0.0021308 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5886-52_0_5_load_34 | 48 | 0.0024413 | 0.00061185 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5886-52_0_5_load_42 | 49 | 0.0023929 | 0.00059972 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5886-52_0_5_load_41 | 50 | 0.00087339 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5886-52_0_5_load_43 | 52 | 0.00091367 | 0.00022899 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5886-52_0_5_load_59 | 53 | 0.0055717 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5886-52_0_5_load_44 | 54 | 0.0013507 | 0.00033852 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5886-52_0_5_load_46 | 55 | 0.0008441 | 0.00021155 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5886-52_0_5_load_45 | 56 | 0.0015436 | 0.00038687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5886-52_0_5_load_53 | 57 | 0.00089933 | 0.00022539 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5886-52_0_5_load_57 | 58 | 0.0021688 | 0.00054354 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5886-52_0_5_load_54 | 60 | 0.0078588 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5886-52_0_5_line_0 |  | 0 | 1 | 0.059663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5886-52_0_5_line_1 |  | 0 | 2 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5886-52_0_5_line_2 |  | 1 | 3 | 0.038623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5886-52_0_5_line_3 |  | 2 | 4 | 0.022169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5886-52_0_5_line_4 |  | 2 | 5 | 0.016301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5886-52_0_5_line_5 |  | 3 | 6 | 0.073263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5886-52_0_5_line_6 |  | 5 | 7 | 0.037365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5886-52_0_5_line_7 |  | 6 | 8 | 0.043417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5886-52_0_5_line_8 |  | 7 | 9 | 0.075406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5886-52_0_5_line_9 |  | 8 | 18 | 0.04932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5886-52_0_5_line_10 |  | 9 | 47 | 0.00444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5886-52_0_5_line_11 |  | 10 | 11 | 0.073773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5886-52_0_5_line_12 |  | 10 | 12 | 0.031022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5886-52_0_5_line_13 |  | 11 | 13 | 0.06188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5886-52_0_5_line_14 |  | 12 | 14 | 0.039403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5886-52_0_5_line_15 |  | 12 | 15 | 0.04693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5886-52_0_5_line_16 |  | 14 | 16 | 0.03645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5886-52_0_5_line_17 |  | 15 | 17 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5886-52_0_5_line_18 |  | 16 | 18 | 0.023049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5886-52_0_5_line_19 |  | 19 | 20 | 0.10803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5886-52_0_5_line_20 |  | 20 | 21 | 0.028722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5886-52_0_5_line_21 |  | 21 | 57 | 0.055537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5886-52_0_5_line_22 |  | 22 | 23 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5886-52_0_5_line_23 |  | 23 | 24 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5886-52_0_5_line_24 |  | 24 | 25 | 0.005632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5886-52_0_5_line_25 |  | 24 | 26 | 0.044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5886-52_0_5_line_26 |  | 25 | 53 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5886-52_0_5_line_27 |  | 25 | 35 | 0.060357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5886-52_0_5_line_28 |  | 26 | 60 | 0.05252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5886-52_0_5_line_29 |  | 27 | 28 | 0.036934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5886-52_0_5_line_30 |  | 27 | 29 | 0.028451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5886-52_0_5_line_31 |  | 28 | 30 | 0.091127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5886-52_0_5_line_32 |  | 29 | 31 | 0.058492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5886-52_0_5_line_33 |  | 30 | 32 | 0.028132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5886-52_0_5_line_34 |  | 31 | 33 | 0.061489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5886-52_0_5_line_35 |  | 32 | 34 | 0.052462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5886-52_0_5_line_36 |  | 33 | 35 | 0.071211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5886-52_0_5_line_37 |  | 35 | 51 | 0.051506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5886-52_0_5_line_38 |  | 36 | 37 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5886-52_0_5_line_39 |  | 37 | 38 | 0.039287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5886-52_0_5_line_40 |  | 37 | 39 | 0.039186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5886-52_0_5_line_41 |  | 38 | 40 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5886-52_0_5_line_42 |  | 39 | 41 | 0.003593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5886-52_0_5_line_43 |  | 39 | 42 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5886-52_0_5_line_44 |  | 41 | 43 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5886-52_0_5_line_45 |  | 42 | 44 | 0.029728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5886-52_0_5_line_46 |  | 43 | 55 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5886-52_0_5_line_47 |  | 44 | 45 | 0.013298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5886-52_0_5_line_48 |  | 45 | 46 | 0.031336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5886-52_0_5_line_49 |  | 46 | 47 | 0.00989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5886-52_0_5_line_50 |  | 46 | 48 | 0.12 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5886-52_0_5_line_51 |  | 47 | 49 | 0.045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5886-52_0_5_line_52 |  | 49 | 50 | 0.0002845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5886-52_0_5_line_53 |  | 51 | 52 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5886-52_0_5_line_54 |  | 52 | 54 | 0.0077216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5886-52_0_5_line_55 |  | 54 | 56 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5886-52_0_5_line_56 |  | 55 | 56 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5886-52_0_5_line_57 |  | 57 | 58 | 0.0097605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5886-52_0_5_line_58 |  | 58 | 59 | 0.021289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5886-52_0_5_line_59 |  | 59 | 60 | 0.042151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5886-52_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 61 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2558647.0827 | 1144666.8262 | 2558646.402 | 1144690.7431 | 2558643.2126 | 1144704.0384 | 2558638.6828 | 1144719.0661 | 2558635.7636 | 1144724.7263
1 | 2558645.3811 | 1144645.0823 | 2558647.0827 | 1144666.8262 | 2558647.0827 | 1144666.8262
2 | 2558635.7636 | 1144724.7263 | 2558618.0604 | 1144759.0528
3 | 2558645.3811 | 1144645.0823 | 2558641.0828 | 1144623.3343
4 | 2558645.3811 | 1144645.0823 | 2558659.2527 | 1144644.3755 | 2558661.4524 | 1144643.3874
5 | 2558618.0604 | 1144759.0528 | 2558558.9413 | 1144802.3241
6 | 2558674.438 | 1144610.7382 | 2558672.2511 | 1144628.4003 | 2558666.7671 | 1144641 | 2558661.4524 | 1144643.3874
7 | 2558539.9798 | 1144763.4793 | 2558551.6073 | 1144791.7025 | 2558558.9413 | 1144802.3241
8 | 2558695.0787 | 1144539.9873 | 2558686.6452 | 1144550.5172 | 2558682.7843 | 1144558.9258 | 2558679.8583 | 1144566.9611 | 2558674.438 | 1144610.7382
9 | 2558527.6796 | 1144715.7175 | 2558539.9798 | 1144763.4793
10 | 2558698.3079 | 1144536.9302 | 2558695.0787 | 1144539.9873
11 | 2558578.5134 | 1144603.4854 | 2558575.0729 | 1144592.139 | 2558573.2306 | 1144589.0501 | 2558571.1655 | 1144587.0855 | 2558568.8697 | 1144586.212 | 2558566.5664 | 1144586.4725 | 2558564.4585 | 1144587.2096 | 2558559.708 | 1144591.3778 | 2558548.622 | 1144610.5417 | 2558536.8639 | 1144626.7233
12 | 2558577.4957 | 1144633.7769 | 2558581.0841 | 1144614.8314 | 2558581.1582 | 1144612.2074 | 2558578.5134 | 1144603.4854
13 | 2558510.4425 | 1144681.9859 | 2558524.694 | 1144656.0298 | 2558526.1203 | 1144645.5924 | 2558535.0966 | 1144629.1555 | 2558536.8639 | 1144626.7233
14 | 2558577.4957 | 1144633.7769 | 2558573.7382 | 1144633.7361 | 2558570.7401 | 1144634.635 | 2558568.784 | 1144636.2159 | 2558555.0058 | 1144662.8649
15 | 2558577.4957 | 1144633.7769 | 2558580.7994 | 1144634.8547 | 2558582.9792 | 1144636.7407 | 2558584.5215 | 1144639.7872 | 2558585.8912 | 1144643.424 | 2558587.7839 | 1144660.5309 | 2558588.5897 | 1144662.6264 | 2558589.7072 | 1144664.2306 | 2558591.6449 | 1144665.5624 | 2558600.3164 | 1144669.5603
16 | 2558555.0058 | 1144662.8649 | 2558538.2652 | 1144695.2436
17 | 2558600.3164 | 1144669.5603 | 2558602.1185 | 1144661.2326 | 2558602.7306 | 1144657.5042 | 2558603.028 | 1144655.1828
18 | 2558527.6796 | 1144715.7175 | 2558538.2652 | 1144695.2436
19 | 2559100.0265 | 1144592.2097 | 2559027.5276 | 1144512.1261
20 | 2559079.4322 | 1144612.2087 | 2559094.0918 | 1144598.5576 | 2559100.0265 | 1144592.2097
21 | 2559079.4322 | 1144612.2087 | 2559038.7827 | 1144650.0495
22 | 2558888.6471 | 1144615.6747 | 2558893.5629 | 1144604.5432
23 | 2558880.1368 | 1144634.9459 | 2558888.6471 | 1144615.6747
24 | 2558880.1368 | 1144634.9459 | 2558874.4951 | 1144634.6621
25 | 2558880.1368 | 1144634.9459 | 2558888.4496 | 1144637.079 | 2558910.6865 | 1144642.7856 | 2558922.4714 | 1144647.0517
26 | 2558865.4069 | 1144660.7153 | 2558874.4951 | 1144634.6621
27 | 2558814.2553 | 1144633.4513 | 2558817.9998 | 1144632.7142 | 2558821.17 | 1144632.2589 | 2558831.491 | 1144631.4212 | 2558844.4624 | 1144631.6437 | 2558874.4951 | 1144634.6621
28 | 2558922.4714 | 1144647.0517 | 2558959.4286 | 1144660.4508 | 2558972.3938 | 1144662.9771
29 | 2558920.863 | 1144442.5142 | 2558927.3727 | 1144434.3097 | 2558942.3347 | 1144412.485
30 | 2558920.863 | 1144442.5142 | 2558908.7842 | 1144457.7375 | 2558903.4422 | 1144465.0032
31 | 2558986.8029 | 1144333.4306 | 2558970.2976 | 1144371.696 | 2558942.3347 | 1144412.485
32 | 2558871.2536 | 1144513.7064 | 2558882.39 | 1144493.6361 | 2558903.4422 | 1144465.0032
33 | 2558986.8029 | 1144333.4306 | 2559012.4398 | 1144345.173
34 | 2558843.5802 | 1144568.5584 | 2558855.703 | 1144541.732 | 2558871.2536 | 1144513.7064
35 | 2558998.1164 | 1144391.2942 | 2559016.2476 | 1144359.321 | 2559016.8259 | 1144353.981 | 2559016.1776 | 1144349.0496 | 2559012.4398 | 1144345.173
36 | 2558814.2553 | 1144633.4513 | 2558843.5802 | 1144568.5584
37 | 2558814.2553 | 1144633.4513 | 2558794.011 | 1144680.8252
38 | 2558795.7452 | 1144568.3671 | 2558801.028 | 1144568.9645 | 2558801.0708 | 1144575.2119 | 2558795.8846 | 1144586.8893
39 | 2558795.7452 | 1144568.3671 | 2558800.3152 | 1144562.4994 | 2558815.3961 | 1144534.4468
40 | 2558771.0746 | 1144598.8627 | 2558795.7452 | 1144568.3671
41 | 2558829.6439 | 1144510.3649 | 2558819.1082 | 1144527.5418 | 2558815.3961 | 1144534.4468
42 | 2558771.0746 | 1144598.8627 | 2558773.108 | 1144601.8281
43 | 2558771.0746 | 1144598.8627 | 2558762.3511 | 1144583.574
44 | 2558773.108 | 1144601.8281 | 2558773.9387 | 1144615.9765
45 | 2558741.8802 | 1144563.5115 | 2558747.3106 | 1144566.5869 | 2558755.2093 | 1144571.0573 | 2558762.3511 | 1144583.574
46 | 2558774.5966 | 1144632.0062 | 2558774.7175 | 1144629.2422 | 2558773.9387 | 1144615.9765
47 | 2558728.8544 | 1144560.8363 | 2558741.8802 | 1144563.5115 | 2558741.8802 | 1144563.5115
48 | 2558701.2925 | 1144546.359 | 2558724.4906 | 1144559.9401 | 2558728.8544 | 1144560.8363
49 | 2558701.2925 | 1144546.359 | 2558698.3079 | 1144536.9302
50 | 2558701.2925 | 1144546.359 | 2558697.9012 | 1144554.9089 | 2558689.6967 | 1144605.4799 | 2558684.6183 | 1144664.8117
51 | 2558698.3079 | 1144536.9302 | 2558708.7008 | 1144525.2752 | 2558714.8847 | 1144516.1058 | 2558719.7381 | 1144507.8794 | 2558722.8311 | 1144499.6696
52 | 2558722.8311 | 1144499.6696 | 2558722.9314 | 1144499.4034
53 | 2558794.011 | 1144680.8252 | 2558780.3256 | 1144668.3459
54 | 2558780.3256 | 1144668.3459 | 2558777.0626 | 1144661.3476
55 | 2558777.0626 | 1144661.3476 | 2558773.6347 | 1144653.9956 | 2558773.7388 | 1144651.6173
56 | 2558773.7388 | 1144651.6173 | 2558774.5966 | 1144632.0062
57 | 2559031.6386 | 1144656.7 | 2559038.7827 | 1144650.0495
58 | 2559014.0126 | 1144668.3605 | 2559026.1998 | 1144661.763 | 2559031.6386 | 1144656.7
59 | 2559014.0126 | 1144668.3605 | 2559000.6595 | 1144668.4849 | 2558972.3938 | 1144662.9771

## bus_geodata
| x | y | coords
0 | 2558647.0827 | 1144666.8262
1 | 2558635.7636 | 1144724.7263
2 | 2558645.3811 | 1144645.0823
3 | 2558618.0604 | 1144759.0528
4 | 2558641.0828 | 1144623.3343
5 | 2558661.4524 | 1144643.3874
6 | 2558558.9413 | 1144802.3241
7 | 2558674.438 | 1144610.7382
8 | 2558539.9798 | 1144763.4793
9 | 2558695.0787 | 1144539.9873
10 | 2558578.5134 | 1144603.4854
11 | 2558536.8639 | 1144626.7233
12 | 2558577.4957 | 1144633.7769
13 | 2558510.4425 | 1144681.9859
14 | 2558555.0058 | 1144662.8649
15 | 2558600.3164 | 1144669.5603
16 | 2558538.2652 | 1144695.2436
17 | 2558603.028 | 1144655.1828
18 | 2558527.6796 | 1144715.7175
19 | 2559027.5276 | 1144512.1261
20 | 2559100.0265 | 1144592.2097
21 | 2559079.4322 | 1144612.2087
22 | 2558893.5629 | 1144604.5432
23 | 2558888.6471 | 1144615.6747
24 | 2558880.1368 | 1144634.9459
25 | 2558874.4951 | 1144634.6621
26 | 2558922.4714 | 1144647.0517
27 | 2558920.863 | 1144442.5142
28 | 2558942.3347 | 1144412.485
29 | 2558903.4422 | 1144465.0032
30 | 2558986.8029 | 1144333.4306
31 | 2558871.2536 | 1144513.7064
32 | 2559012.4398 | 1144345.173
33 | 2558843.5802 | 1144568.5584
34 | 2558998.1164 | 1144391.2942
35 | 2558814.2553 | 1144633.4513
36 | 2558795.8846 | 1144586.8893
37 | 2558795.7452 | 1144568.3671
38 | 2558815.3961 | 1144534.4468
39 | 2558771.0746 | 1144598.8627
40 | 2558829.6439 | 1144510.3649
41 | 2558773.108 | 1144601.8281
42 | 2558762.3511 | 1144583.574
43 | 2558773.9387 | 1144615.9765
44 | 2558741.8802 | 1144563.5115
45 | 2558728.8544 | 1144560.8363
46 | 2558701.2925 | 1144546.359
47 | 2558698.3079 | 1144536.9302
48 | 2558684.6183 | 1144664.8117
49 | 2558722.8311 | 1144499.6696
50 | 2558722.9314 | 1144499.4034
51 | 2558794.011 | 1144680.8252
52 | 2558780.3256 | 1144668.3459
53 | 2558865.4069 | 1144660.7153
54 | 2558777.0626 | 1144661.3476
55 | 2558774.5966 | 1144632.0062
56 | 2558773.7388 | 1144651.6173
57 | 2559038.7827 | 1144650.0495
58 | 2559031.6386 | 1144656.7
59 | 2559014.0126 | 1144668.3605
60 | 2558972.3938 | 1144662.9771
61 | 2558600.3164 | 1144669.5603

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1