## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5891-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5891-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5891-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5891-4_0_6_node_121 | 0.4 | n |  | TRUE
4 | bus_LV_5891-4_0_6_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_5891-4_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5891-4_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5891-4_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5891-4_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5891-4_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5891-4_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5891-4_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5891-4_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5891-4_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5891-4_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5891-4_0_6_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_5891-4_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_5891-4_0_6_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5891-4_0_6_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_5891-4_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5891-4_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5891-4_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5891-4_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5891-4_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_5891-4_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5891-4_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5891-4_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5891-4_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5891-4_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5891-4_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5891-4_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5891-4_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5891-4_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5891-4_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5891-4_0_6_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_5891-4_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5891-4_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5891-4_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5891-4_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5891-4_0_6_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_5891-4_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5891-4_0_6_node_114 | 0.4 | n |  | TRUE
42 | bus_LV_5891-4_0_6_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_5891-4_0_6_node_115 | 0.4 | n |  | TRUE
44 | bus_LV_5891-4_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5891-4_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5891-4_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5891-4_0_6_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_5891-4_0_6_node_117 | 0.4 | n |  | TRUE
49 | bus_LV_5891-4_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5891-4_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_5891-4_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5891-4_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5891-4_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5891-4_0_6_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5891-4_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5891-4_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5891-4_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5891-4_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5891-4_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5891-4_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5891-4_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5891-4_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5891-4_0_6_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_5891-4_0_6_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_5891-4_0_6_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_5891-4_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5891-4_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5891-4_0_6_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_5891-4_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_5891-4_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5891-4_0_6_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5891-4_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5891-4_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5891-4_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5891-4_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_5891-4_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_5891-4_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5891-4_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5891-4_0_6_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5891-4_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5891-4_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5891-4_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5891-4_0_6_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_5891-4_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5891-4_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5891-4_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5891-4_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5891-4_0_6_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5891-4_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_5891-4_0_6_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_5891-4_0_6_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5891-4_0_6_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_5891-4_0_6_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_5891-4_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5891-4_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5891-4_0_6_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_5891-4_0_6_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_5891-4_0_6_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_5891-4_0_6_node_106 | 0.4 | n |  | TRUE
100 | bus_LV_5891-4_0_6_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_5891-4_0_6_node_118 | 0.4 | n |  | TRUE
102 | bus_LV_5891-4_0_6_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_5891-4_0_6_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_5891-4_0_6_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_5891-4_0_6_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_5891-4_0_6_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_5891-4_0_6_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_5891-4_0_6_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_5891-4_0_6_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_5891-4_0_6_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_5891-4_0_6_node_108 | 0.4 | n |  | TRUE
112 | bus_LV_5891-4_0_6_node_109 | 0.4 | n |  | TRUE
113 | bus_LV_5891-4_0_6_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_5891-4_0_6_node_112 | 0.4 | n |  | TRUE
115 | bus_MV_261_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5891-4_0_6_load_0 | 0 | 0.0010496 | 0.00026305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5891-4_0_6_load_1 | 1 | 0.00078744 | 0.00019735 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5891-4_0_6_load_121 | 3 | 0.0018531 | 0.00046443 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5891-4_0_6_load_88 | 4 | 0.0017476 | 0.000438 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5891-4_0_6_load_3 | 5 | 0.00385 | 0.00096489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5891-4_0_6_load_4 | 6 | 0.0053249 | 0.0013345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5891-4_0_6_load_6 | 7 | 0.01132 | 0.002837 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5891-4_0_6_load_7 | 8 | 0.0047718 | 0.0011959 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5891-4_0_6_load_11 | 11 | 0.014073 | 0.003527 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5891-4_0_6_load_12 | 12 | 0.0084422 | 0.0021158 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5891-4_0_6_load_10 | 13 | 0.01711 | 0.0042881 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5891-4_0_6_load_38 | 15 | 0.0046563 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5891-4_0_6_load_39 | 17 | 0.0033814 | 0.00084745 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5891-4_0_6_load_14 | 19 | 0.0033115 | 0.00082994 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5891-4_0_6_load_15 | 20 | 0.0030993 | 0.00077675 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5891-4_0_6_load_16 | 21 | 0.0035965 | 0.00090136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5891-4_0_6_load_27 | 23 | 0.0031698 | 0.00079443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5891-4_0_6_load_20 | 24 | 0.0049661 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5891-4_0_6_load_19 | 26 | 0.0033933 | 0.00085045 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5891-4_0_6_load_18 | 27 | 0.0027181 | 0.00068122 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5891-4_0_6_load_22 | 29 | 0.0022049 | 0.0005526 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5891-4_0_6_load_23 | 30 | 0.0021926 | 0.00054952 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5891-4_0_6_load_24 | 31 | 0.0029921 | 0.00074989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5891-4_0_6_load_25 | 32 | 0.0029374 | 0.00073618 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5891-4_0_6_load_30 | 33 | 0.0028521 | 0.00071481 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5891-4_0_6_load_91 | 34 | 0.0058143 | 0.0014572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5891-4_0_6_load_26 | 35 | 0.0020971 | 0.00052559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5891-4_0_6_load_33 | 36 | 0.0046317 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5891-4_0_6_load_29 | 37 | 0.00393 | 0.00098495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5891-4_0_6_load_37 | 38 | 0.011917 | 0.0029867 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5891-4_0_6_load_89 | 39 | 0.0017835 | 0.000447 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5891-4_0_6_load_34 | 40 | 0.0030878 | 0.00077388 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5891-4_0_6_load_114 | 41 | 0.0021422 | 0.00053688 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5891-4_0_6_load_113 | 42 | 0.0050131 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5891-4_0_6_load_115 | 43 | 0.0032036 | 0.0008029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5891-4_0_6_load_40 | 44 | 0.0012437 | 0.0003117 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5891-4_0_6_load_35 | 45 | 0.00997 | 0.0024987 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5891-4_0_6_load_36 | 46 | 0.0023952 | 0.0006003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5891-4_0_6_load_116 | 47 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5891-4_0_6_load_117 | 48 | 0.0026345 | 0.00066028 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5891-4_0_6_load_53 | 50 | 0.0075761 | 0.0018987 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5891-4_0_6_load_43 | 51 | 0.0040656 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5891-4_0_6_load_50 | 52 | 0.0027729 | 0.00069497 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5891-4_0_6_load_58 | 53 | 0.011369 | 0.0028494 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5891-4_0_6_load_55 | 54 | 0.0059646 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5891-4_0_6_load_44 | 56 | 0.0032418 | 0.00081247 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5891-4_0_6_load_45 | 57 | 0.0034734 | 0.00087053 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5891-4_0_6_load_46 | 58 | 0.002294 | 0.00057492 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5891-4_0_6_load_48 | 59 | 0.002885 | 0.00072304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5891-4_0_6_load_49 | 60 | 0.0029603 | 0.00074192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5891-4_0_6_load_51 | 61 | 0.0026449 | 0.00066286 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5891-4_0_6_load_54 | 62 | 0.0029448 | 0.00073803 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5891-4_0_6_load_120 | 63 | 0.003664 | 0.00091828 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5891-4_0_6_load_119 | 65 | 0.0024652 | 0.00061784 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5891-4_0_6_load_60 | 66 | 0.0094777 | 0.0023753 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5891-4_0_6_load_56 | 67 | 0.010446 | 0.0026179 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5891-4_0_6_load_80 | 69 | 0.0021302 | 0.00053388 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5891-4_0_6_load_57 | 70 | 0.0032817 | 0.00082247 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5891-4_0_6_load_59 | 71 | 0.0023818 | 0.00059694 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5891-4_0_6_load_63 | 74 | 0.014962 | 0.0037497 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5891-4_0_6_load_64 | 75 | 0.002185 | 0.00054761 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5891-4_0_6_load_65 | 76 | 0.0046863 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5891-4_0_6_load_71 | 78 | 0.0049787 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5891-4_0_6_load_68 | 80 | 0.046917 | 0.011759 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5891-4_0_6_load_69 | 81 | 0.0066288 | 0.0016613 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5891-4_0_6_load_70 | 82 | 0.033221 | 0.008326 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5891-4_0_6_load_82 | 86 | 0.0087934 | 0.0022038 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5891-4_0_6_load_77 | 87 | 0.063968 | 0.016032 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5891-4_0_6_load_83 | 88 | 0.003247 | 0.00081378 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5891-4_0_6_load_81 | 89 | 0.0026912 | 0.00067447 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5891-4_0_6_load_85 | 91 | 0.0027957 | 0.00070066 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5891-4_0_6_load_86 | 92 | 0.0080223 | 0.0020106 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5891-4_0_6_load_87 | 93 | 0.015892 | 0.003983 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5891-4_0_6_load_92 | 94 | 0.00343 | 0.00085964 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5891-4_0_6_load_95 | 97 | 0.018837 | 0.0047211 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5891-4_0_6_load_105 | 98 | 0.0022544 | 0.00056501 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5891-4_0_6_load_106 | 99 | 0.0065377 | 0.0016385 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5891-4_0_6_load_96 | 100 | 0.0052154 | 0.0013071 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5891-4_0_6_load_110 | 102 | 0.0020559 | 0.00051526 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5891-4_0_6_load_98 | 104 | 0.017167 | 0.0043024 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5891-4_0_6_load_99 | 105 | 0.0089865 | 0.0022522 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5891-4_0_6_load_100 | 106 | 0.008107 | 0.0020318 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5891-4_0_6_load_101 | 107 | 0.0040751 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5891-4_0_6_load_107 | 108 | 0.0069748 | 0.0017481 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5891-4_0_6_load_104 | 109 | 0.0040923 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5891-4_0_6_load_103 | 110 | 0.0034398 | 0.0008621 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5891-4_0_6_load_108 | 111 | 0.0072708 | 0.0018222 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5891-4_0_6_load_109 | 112 | 0.0024473 | 0.00061335 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5891-4_0_6_load_111 | 113 | 0.0052538 | 0.0013167 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5891-4_0_6_load_112 | 114 | 0.001502 | 0.00037645 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5891-4_0_6_line_0 |  | 0 | 1 | 0.097697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5891-4_0_6_line_1 |  | 1 | 2 | 0.038412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5891-4_0_6_line_2 |  | 2 | 3 | 0.9019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5891-4_0_6_line_3 |  | 3 | 4 | 0.11368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5891-4_0_6_line_4 |  | 4 | 39 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5891-4_0_6_line_5 |  | 5 | 6 | 0.0049324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5891-4_0_6_line_6 |  | 6 | 7 | 0.019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5891-4_0_6_line_7 |  | 7 | 8 | 0.0088762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5891-4_0_6_line_8 |  | 8 | 9 | 0.0084022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5891-4_0_6_line_9 |  | 9 | 10 | 0.004882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5891-4_0_6_line_10 |  | 10 | 11 | 0.045655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5891-4_0_6_line_11 |  | 10 | 12 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5891-4_0_6_line_12 |  | 11 | 14 | 0.013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5891-4_0_6_line_13 |  | 12 | 15 | 0.026422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5891-4_0_6_line_14 |  | 13 | 14 | 0.027371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5891-4_0_6_line_15 |  | 14 | 16 | 0.007209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5891-4_0_6_line_16 |  | 15 | 17 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5891-4_0_6_line_17 |  | 16 | 18 | 0.045067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5891-4_0_6_line_18 |  | 17 | 44 | 0.0017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5891-4_0_6_line_19 |  | 18 | 49 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5891-4_0_6_line_20 |  | 18 | 50 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5891-4_0_6_line_21 |  | 19 | 20 | 0.025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5891-4_0_6_line_22 |  | 20 | 21 | 0.030083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5891-4_0_6_line_23 |  | 21 | 22 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5891-4_0_6_line_24 |  | 22 | 23 | 0.052358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5891-4_0_6_line_25 |  | 22 | 24 | 0.026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5891-4_0_6_line_26 |  | 23 | 25 | 0.014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5891-4_0_6_line_27 |  | 24 | 26 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5891-4_0_6_line_28 |  | 25 | 41 | 0.0074426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5891-4_0_6_line_29 |  | 25 | 42 | 0.021455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5891-4_0_6_line_30 |  | 26 | 27 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5891-4_0_6_line_31 |  | 28 | 29 | 0.03091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5891-4_0_6_line_32 |  | 28 | 30 | 0.038205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5891-4_0_6_line_33 |  | 28 | 31 | 0.031215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5891-4_0_6_line_34 |  | 29 | 32 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5891-4_0_6_line_35 |  | 29 | 33 | 0.036069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5891-4_0_6_line_36 |  | 29 | 34 | 0.044356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5891-4_0_6_line_37 |  | 30 | 35 | 0.030925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5891-4_0_6_line_38 |  | 32 | 36 | 0.000415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5891-4_0_6_line_39 |  | 33 | 37 | 0.0085338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5891-4_0_6_line_40 |  | 34 | 38 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5891-4_0_6_line_41 |  | 35 | 39 | 0.059819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5891-4_0_6_line_42 |  | 36 | 40 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5891-4_0_6_line_43 |  | 40 | 45 | 0.0015426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5891-4_0_6_line_44 |  | 41 | 43 | 0.0014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5891-4_0_6_line_45 |  | 42 | 44 | 0.010925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5891-4_0_6_line_46 |  | 43 | 101 | 0.002456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5891-4_0_6_line_47 |  | 45 | 46 | 0.00057651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5891-4_0_6_line_48 |  | 46 | 47 | 0.017589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5891-4_0_6_line_49 |  | 47 | 48 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5891-4_0_6_line_50 |  | 48 | 114 | 0.0087567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5891-4_0_6_line_51 |  | 49 | 53 | 0.010205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5891-4_0_6_line_52 |  | 49 | 54 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5891-4_0_6_line_53 |  | 51 | 52 | 0.0094517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5891-4_0_6_line_54 |  | 52 | 55 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5891-4_0_6_line_55 |  | 53 | 66 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5891-4_0_6_line_56 |  | 54 | 67 | 0.021998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5891-4_0_6_line_57 |  | 55 | 60 | 0.02406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5891-4_0_6_line_58 |  | 55 | 57 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5891-4_0_6_line_59 |  | 56 | 57 | 0.020752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5891-4_0_6_line_60 |  | 56 | 58 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5891-4_0_6_line_61 |  | 58 | 59 | 0.0028295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5891-4_0_6_line_62 |  | 59 | 61 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5891-4_0_6_line_63 |  | 60 | 62 | 0.025789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5891-4_0_6_line_64 |  | 61 | 63 | 0.0012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5891-4_0_6_line_65 |  | 62 | 64 | 0.0081602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5891-4_0_6_line_66 |  | 63 | 65 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5891-4_0_6_line_67 |  | 64 | 68 | 0.007897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5891-4_0_6_line_68 |  | 64 | 69 | 0.0075501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5891-4_0_6_line_69 |  | 65 | 101 | 0.010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5891-4_0_6_line_70 |  | 66 | 72 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5891-4_0_6_line_71 |  | 67 | 70 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5891-4_0_6_line_72 |  | 68 | 88 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5891-4_0_6_line_73 |  | 69 | 89 | 0.0082948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5891-4_0_6_line_74 |  | 70 | 71 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5891-4_0_6_line_75 |  | 72 | 73 | 0.004141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5891-4_0_6_line_76 |  | 72 | 74 | 0.046196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_5891-4_0_6_line_77 |  | 73 | 75 | 0.046406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5891-4_0_6_line_78 |  | 73 | 76 | 0.058906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5891-4_0_6_line_79 |  | 74 | 77 | 0.03054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_5891-4_0_6_line_80 |  | 76 | 78 | 0.029047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5891-4_0_6_line_81 |  | 77 | 79 | 0.042929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5891-4_0_6_line_82 |  | 77 | 80 | 0.0085901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5891-4_0_6_line_83 |  | 79 | 81 | 0.033134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5891-4_0_6_line_84 |  | 80 | 82 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_5891-4_0_6_line_85 |  | 82 | 83 | 0.056423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5891-4_0_6_line_86 |  | 83 | 84 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5891-4_0_6_line_87 |  | 83 | 85 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_5891-4_0_6_line_88 |  | 84 | 86 | 0.0076997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5891-4_0_6_line_89 |  | 85 | 87 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5891-4_0_6_line_90 |  | 88 | 90 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5891-4_0_6_line_91 |  | 90 | 91 | 0.042985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5891-4_0_6_line_92 |  | 90 | 92 | 0.022273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5891-4_0_6_line_93 |  | 93 | 94 | 0.021462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5891-4_0_6_line_94 |  | 94 | 95 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5891-4_0_6_line_95 |  | 95 | 96 | 0.006954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5891-4_0_6_line_96 |  | 95 | 97 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5891-4_0_6_line_97 |  | 96 | 98 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_5891-4_0_6_line_98 |  | 96 | 99 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5891-4_0_6_line_99 |  | 97 | 100 | 0.0091973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5891-4_0_6_line_100 |  | 98 | 101 | 0.0059101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_5891-4_0_6_line_101 |  | 99 | 102 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5891-4_0_6_line_102 |  | 100 | 103 | 0.0042329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5891-4_0_6_line_103 |  | 102 | 111 | 0.0011466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5891-4_0_6_line_104 |  | 103 | 104 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5891-4_0_6_line_105 |  | 103 | 105 | 0.01884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5891-4_0_6_line_106 |  | 104 | 106 | 0.014097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5891-4_0_6_line_107 |  | 105 | 107 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5891-4_0_6_line_108 |  | 107 | 108 | 0.0015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5891-4_0_6_line_109 |  | 108 | 109 | 0.0023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5891-4_0_6_line_110 |  | 109 | 110 | 0.0018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5891-4_0_6_line_111 |  | 111 | 112 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5891-4_0_6_line_112 |  | 112 | 113 | 0.00015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5891-4_0_6_line_113 |  | 113 | 114 | 0.00097377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5891-4_0_6_trafo_45 | 0.63 MVA 20/0.4 kV | 115 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2561960.1431 | 1141651.6073 | 2562046.0442 | 1141698.1442
1 | 2561931.2807 | 1141633.6661 | 2561933.3983 | 1141639.0887 | 2561937.515 | 1141645.7883 | 2561941.4467 | 1141649.9767 | 2561947.3546 | 1141651.8292 | 2561958.7228 | 1141651.6127 | 2561960.1431 | 1141651.6073
2 | 2561142.0448 | 1141197.1775 | 2561931.2807 | 1141633.6661
3 | 2561062.1553 | 1141278.0569 | 2561142.0448 | 1141197.1775
4 | 2561062.1553 | 1141278.0569 | 2561056.3334 | 1141275.7491 | 2561049.7824 | 1141272.0341 | 2561039.9099 | 1141264.819
5 | 2560812.0756 | 1141124.6244 | 2560809.341 | 1141128.7295
6 | 2560799.1062 | 1141145.6331 | 2560800.168 | 1141142.4999 | 2560809.341 | 1141128.7295
7 | 2560799.1062 | 1141145.6331 | 2560796.2572 | 1141154.0396
8 | 2560793.5604 | 1141161.9973 | 2560796.2572 | 1141154.0396
9 | 2560791.9914 | 1141166.621 | 2560793.5604 | 1141161.9973
10 | 2560791.9914 | 1141166.621 | 2560786.0953 | 1141165.5255 | 2560754.7251 | 1141172.0999 | 2560747.1241 | 1141172.371
11 | 2560791.9914 | 1141166.621 | 2560797.3834 | 1141171.7662 | 2560800.5615 | 1141179.2938 | 2560801.8129 | 1141184.11
12 | 2560734.1185 | 1141172.8347 | 2560747.1241 | 1141172.371
13 | 2560801.8129 | 1141184.11 | 2560808.4575 | 1141209.6829
14 | 2560734.1185 | 1141172.8347 | 2560748.273 | 1141149.4083
15 | 2560734.1185 | 1141172.8347 | 2560726.9547 | 1141171.8587
16 | 2560808.4575 | 1141209.6829 | 2560810.3397 | 1141216.927 | 2560810.4046 | 1141226.8983 | 2560808.9752 | 1141231.2863
17 | 2560687.213 | 1141151.4634 | 2560719.082 | 1141170.6539 | 2560726.9547 | 1141171.8587
18 | 2560808.4208 | 1141232.9881 | 2560808.9752 | 1141231.2863
19 | 2560676.3996 | 1141144.9529 | 2560687.213 | 1141151.4634
20 | 2560687.213 | 1141151.4634 | 2560696.9497 | 1141137.0844
21 | 2560860.8392 | 1141150.8363 | 2560853.4189 | 1141166.7212 | 2560851.3393 | 1141174.0457
22 | 2560843.1228 | 1141202.985 | 2560851.3393 | 1141174.0457
23 | 2560840.1537 | 1141213.4423 | 2560843.1228 | 1141202.985
24 | 2560840.1537 | 1141213.4423 | 2560835.5897 | 1141216.2067 | 2560825.5721 | 1141226.7773 | 2560816.7349 | 1141246.2669 | 2560808.7797 | 1141253.95
25 | 2560840.1537 | 1141213.4423 | 2560850.0934 | 1141207.4079 | 2560862.5075 | 1141198.4202
26 | 2560798.5522 | 1141263.8276 | 2560808.7797 | 1141253.95
27 | 2560862.5075 | 1141198.4202 | 2560868.1595 | 1141194.3282 | 2560874.0102 | 1141186.1901
28 | 2560798.5522 | 1141263.8276 | 2560796.9252 | 1141268.9741 | 2560796.3968 | 1141270.9496
29 | 2560798.5522 | 1141263.8276 | 2560804.8121 | 1141244.0657 | 2560805.0368 | 1141243.3759
30 | 2560881.7137 | 1141175.475 | 2560874.0102 | 1141186.1901
31 | 2560937.7649 | 1141248.6259 | 2560906.862 | 1141247.9459
32 | 2560937.7649 | 1141248.6259 | 2560945.1874 | 1141269.3438 | 2560959.7395 | 1141276.4578
33 | 2560937.7649 | 1141248.6259 | 2560944.6862 | 1141251.349 | 2560957.5482 | 1141241.8941 | 2560962.7619 | 1141236.074
34 | 2560888.597 | 1141247.544 | 2560906.862 | 1141247.9459
35 | 2560906.862 | 1141247.9459 | 2560918.4408 | 1141213.7859
36 | 2560906.862 | 1141247.9459 | 2560900.5734 | 1141291.8538
37 | 2560986.5479 | 1141291.8536 | 2560963.3653 | 1141278.2304 | 2560959.7395 | 1141276.4578
38 | 2560888.597 | 1141247.544 | 2560888.1821 | 1141247.5348
39 | 2560917.3786 | 1141205.3185 | 2560918.4408 | 1141213.7859
40 | 2560900.5734 | 1141291.8538 | 2560898.4505 | 1141293.7818 | 2560896.184 | 1141299.9108 | 2560895.9162 | 1141304.8373 | 2560896.6715 | 1141311.0355
41 | 2560986.5479 | 1141291.8536 | 2561039.9099 | 1141264.819
42 | 2560888.1821 | 1141247.5348 | 2560880.8204 | 1141247.3729 | 2560871.8683 | 1141249.2098 | 2560865.9981 | 1141252.0716 | 2560862.9935 | 1141254.6723
43 | 2560861.8271 | 1141255.6819 | 2560862.9935 | 1141254.6723
44 | 2560796.0138 | 1141272.3811 | 2560796.3968 | 1141270.9496
45 | 2560805.0368 | 1141243.3759 | 2560808.4208 | 1141232.9881
46 | 2560795.3792 | 1141274.7538 | 2560796.0138 | 1141272.3811
47 | 2560861.8271 | 1141255.6819 | 2560861.3912 | 1141256.0592
48 | 2560861.3912 | 1141256.0592 | 2560855.0507 | 1141261.5476 | 2560847.3356 | 1141266.5651
49 | 2560837.1017 | 1141277.8017 | 2560839.9772 | 1141271.3506 | 2560847.3356 | 1141266.5651
50 | 2560837.1017 | 1141277.8017 | 2560833.5366 | 1141285.7999 | 2560833.5366 | 1141285.7999
51 | 2560676.3996 | 1141144.9529 | 2560667.8681 | 1141139.353
52 | 2560676.3996 | 1141144.9529 | 2560665.2447 | 1141163.3158
53 | 2560707.0054 | 1141216.1975 | 2560702.8681 | 1141224.6955
54 | 2560696.7151 | 1141237.3338 | 2560702.8681 | 1141224.6955
55 | 2560667.8681 | 1141139.353 | 2560648.5174 | 1141126.6515
56 | 2560665.2447 | 1141163.3158 | 2560658.6697 | 1141174.1391 | 2560653.7932 | 1141182.0975
57 | 2560696.7151 | 1141237.3338 | 2560683.3163 | 1141257.318
58 | 2560696.7151 | 1141237.3338 | 2560713.6621 | 1141247.5945
59 | 2560731.4136 | 1141258.3423 | 2560713.6621 | 1141247.5945
60 | 2560731.4136 | 1141258.3423 | 2560740.9105 | 1141264.0923 | 2560751.0157 | 1141269.7735
61 | 2560751.0157 | 1141269.7735 | 2560753.4822 | 1141271.1602
62 | 2560773.512 | 1141275.4744 | 2560773.512 | 1141275.4744 | 2560769.0121 | 1141276.2597 | 2560759.7533 | 1141274.6859 | 2560753.4822 | 1141271.1602
63 | 2560683.3163 | 1141257.318 | 2560682.4015 | 1141258.6825 | 2560672.718 | 1141276.8217 | 2560671.4707 | 1141280.1817
64 | 2560773.512 | 1141275.4744 | 2560774.593 | 1141274.9361
65 | 2560668.6309 | 1141287.8318 | 2560671.4707 | 1141280.1817
66 | 2560774.593 | 1141274.9361 | 2560780.5466 | 1141271.9712 | 2560785.2027 | 1141272.8447
67 | 2560674.2257 | 1141293.4203 | 2560668.6309 | 1141287.8318
68 | 2560668.6309 | 1141287.8318 | 2560663.3292 | 1141288.2777 | 2560661.1569 | 1141287.7752
69 | 2560795.3792 | 1141274.7538 | 2560785.2027 | 1141272.8447
70 | 2560623.563 | 1141116.0503 | 2560629.0613 | 1141116.2478 | 2560636.5893 | 1141118.8221 | 2560648.5174 | 1141126.6515
71 | 2560653.7932 | 1141182.0975 | 2560646.8766 | 1141193.3851
72 | 2560674.2257 | 1141293.4203 | 2560691.5577 | 1141299.0512
73 | 2560653.0756 | 1141285.9056 | 2560661.1569 | 1141287.7752
74 | 2560638.6032 | 1141206.887 | 2560646.8766 | 1141193.3851
75 | 2560623.563 | 1141116.0503 | 2560625.0446 | 1141112.1831
76 | 2560623.563 | 1141116.0503 | 2560618.5753 | 1141117.5059 | 2560615.6427 | 1141119.326 | 2560612.7163 | 1141122.091 | 2560610.2264 | 1141125.7647 | 2560598.7432 | 1141152.0088 | 2560598.5698 | 1141152.4112
77 | 2560625.0446 | 1141112.1831 | 2560632.7054 | 1141108.0198 | 2560644.4844 | 1141105.8194 | 2560661.649 | 1141086.5752
78 | 2560625.0446 | 1141112.1831 | 2560627.3651 | 1141106.1093 | 2560662.6111 | 1141067.3299
79 | 2560579.8814 | 1141174.9773 | 2560585.963 | 1141171.5357 | 2560589.4788 | 1141169.545 | 2560591.9959 | 1141166.5048 | 2560594.51 | 1141161.8304 | 2560598.5698 | 1141152.4112
80 | 2560682.1478 | 1141045.8347 | 2560662.6111 | 1141067.3299
81 | 2560579.8814 | 1141174.9773 | 2560589.3785 | 1141133.1161
82 | 2560579.8814 | 1141174.9773 | 2560577.9789 | 1141183.354
83 | 2560589.3785 | 1141133.1161 | 2560593.264 | 1141115.9708 | 2560598.9805 | 1141101.5056
84 | 2560577.9789 | 1141183.354 | 2560575.3755 | 1141194.8169 | 2560573.5105 | 1141203.0394
85 | 2560561.0293 | 1141258.0652 | 2560573.5105 | 1141203.0394
86 | 2560561.0293 | 1141258.0652 | 2560570.0403 | 1141260.5407 | 2560571.9888 | 1141261.0727 | 2560572.7477 | 1141268.9384 | 2560576.6302 | 1141268.9574
87 | 2560561.0293 | 1141258.0652 | 2560559.5872 | 1141264.4223 | 2560553.3365 | 1141260.817 | 2560547.0779 | 1141257.2006
88 | 2560576.6302 | 1141268.9574 | 2560584.2323 | 1141270.179
89 | 2560547.0779 | 1141257.2006 | 2560539.4525 | 1141252.6594 | 2560529.1875 | 1141244.2002 | 2560527.0135 | 1141242.2846
90 | 2560705.8898 | 1141303.7076 | 2560691.5577 | 1141299.0512
91 | 2560705.8898 | 1141303.7076 | 2560715.5583 | 1141280.9218 | 2560719.5288 | 1141277.9388 | 2560724.7914 | 1141277.3931 | 2560732.4488 | 1141279.7999
92 | 2560705.8898 | 1141303.7076 | 2560728.091 | 1141305.4938
93 | 2560754.6456 | 1141304.5255 | 2560776.0534 | 1141303.0074
94 | 2560786.1027 | 1141302.2948 | 2560776.0534 | 1141303.0074
95 | 2560786.1027 | 1141302.2948 | 2560789.5998 | 1141296.2801
96 | 2560786.1027 | 1141302.2948 | 2560782.5581 | 1141305.7641 | 2560779.8736 | 1141312.6073 | 2560779.9167 | 1141317.917
97 | 2560789.5998 | 1141296.2801 | 2560791.5893 | 1141288.9412 | 2560793.8539 | 1141280.4636
98 | 2560789.5998 | 1141296.2801 | 2560793.9914 | 1141298.9195 | 2560801.2303 | 1141300.5922
99 | 2560779.9912 | 1141327.1139 | 2560779.9167 | 1141317.917
100 | 2560795.3792 | 1141274.7538 | 2560793.8539 | 1141280.4636
101 | 2560801.2303 | 1141300.5922 | 2560807.3267 | 1141302.0009 | 2560820.7797 | 1141300.7238 | 2560821.4826 | 1141300.6226
102 | 2560783.3979 | 1141329.6263 | 2560779.9912 | 1141327.1139
103 | 2560822.6175 | 1141300.4593 | 2560821.4826 | 1141300.6226
104 | 2560783.3979 | 1141329.6263 | 2560781.6836 | 1141340.254 | 2560781.5186 | 1141341.0795
105 | 2560783.3979 | 1141329.6263 | 2560801.4681 | 1141334.9558 | 2560801.4681 | 1141334.9558
106 | 2560778.7558 | 1141354.9027 | 2560781.5186 | 1141341.0795
107 | 2560801.4681 | 1141334.9558 | 2560802.7626 | 1141341.3061 | 2560800.4359 | 1141346.9019
108 | 2560800.4359 | 1141346.9019 | 2560799.8333 | 1141348.351 | 2560799.8333 | 1141348.351
109 | 2560798.5302 | 1141350.2944 | 2560799.8333 | 1141348.351
110 | 2560798.5302 | 1141350.2944 | 2560797.473 | 1141351.8709
111 | 2560822.6175 | 1141300.4593 | 2560825.3113 | 1141300.0717 | 2560829.3356 | 1141298.2557 | 2560831.5461 | 1141294.1726 | 2560833.2746 | 1141286.902
112 | 2560833.3114 | 1141286.7472 | 2560833.2746 | 1141286.902
113 | 2560833.5366 | 1141285.7999 | 2560833.3114 | 1141286.7472

## bus_geodata
| x | y | coords
0 | 2562046.0442 | 1141698.1442
1 | 2561960.1431 | 1141651.6073
2 | 2561931.2807 | 1141633.6661
3 | 2561142.0448 | 1141197.1775
4 | 2561062.1553 | 1141278.0569
5 | 2560812.0756 | 1141124.6244
6 | 2560809.341 | 1141128.7295
7 | 2560799.1062 | 1141145.6331
8 | 2560796.2572 | 1141154.0396
9 | 2560793.5604 | 1141161.9973
10 | 2560791.9914 | 1141166.621
11 | 2560747.1241 | 1141172.371
12 | 2560801.8129 | 1141184.11
13 | 2560748.273 | 1141149.4083
14 | 2560734.1185 | 1141172.8347
15 | 2560808.4575 | 1141209.6829
16 | 2560726.9547 | 1141171.8587
17 | 2560808.9752 | 1141231.2863
18 | 2560687.213 | 1141151.4634
19 | 2560860.8392 | 1141150.8363
20 | 2560851.3393 | 1141174.0457
21 | 2560843.1228 | 1141202.985
22 | 2560840.1537 | 1141213.4423
23 | 2560808.7797 | 1141253.9499
24 | 2560862.5075 | 1141198.4202
25 | 2560798.5522 | 1141263.8276
26 | 2560874.0102 | 1141186.1901
27 | 2560881.7137 | 1141175.475
28 | 2560937.7649 | 1141248.6259
29 | 2560906.862 | 1141247.9459
30 | 2560959.7395 | 1141276.4578
31 | 2560962.7619 | 1141236.074
32 | 2560888.597 | 1141247.544
33 | 2560918.4408 | 1141213.7859
34 | 2560900.5734 | 1141291.8538
35 | 2560986.5479 | 1141291.8536
36 | 2560888.1821 | 1141247.5348
37 | 2560917.3786 | 1141205.3185
38 | 2560896.6715 | 1141311.0355
39 | 2561039.9099 | 1141264.819
40 | 2560862.9935 | 1141254.6723
41 | 2560796.3968 | 1141270.9496
42 | 2560805.0368 | 1141243.3759
43 | 2560796.0138 | 1141272.3811
44 | 2560808.4208 | 1141232.9881
45 | 2560861.8271 | 1141255.6819
46 | 2560861.3912 | 1141256.0592
47 | 2560847.3356 | 1141266.5651
48 | 2560837.1017 | 1141277.8017
49 | 2560676.3996 | 1141144.9529
50 | 2560696.9497 | 1141137.0844
51 | 2560707.0054 | 1141216.1975
52 | 2560702.8681 | 1141224.6955
53 | 2560667.8681 | 1141139.353
54 | 2560665.2447 | 1141163.3158
55 | 2560696.7151 | 1141237.3338
56 | 2560731.4136 | 1141258.3423
57 | 2560713.6621 | 1141247.5945
58 | 2560751.0157 | 1141269.7735
59 | 2560753.4822 | 1141271.1602
60 | 2560683.3163 | 1141257.318
61 | 2560773.512 | 1141275.4744
62 | 2560671.4707 | 1141280.1817
63 | 2560774.593 | 1141274.9361
64 | 2560668.6309 | 1141287.8318
65 | 2560785.2027 | 1141272.8447
66 | 2560648.5174 | 1141126.6515
67 | 2560653.7932 | 1141182.0975
68 | 2560674.2257 | 1141293.4203
69 | 2560661.1569 | 1141287.7752
70 | 2560646.8766 | 1141193.3851
71 | 2560638.6032 | 1141206.887
72 | 2560623.563 | 1141116.0503
73 | 2560625.0446 | 1141112.1831
74 | 2560598.5698 | 1141152.4112
75 | 2560661.649 | 1141086.5752
76 | 2560662.6111 | 1141067.3299
77 | 2560579.8814 | 1141174.9773
78 | 2560682.1478 | 1141045.8347
79 | 2560589.3785 | 1141133.1161
80 | 2560577.9789 | 1141183.354
81 | 2560598.9805 | 1141101.5056
82 | 2560573.5105 | 1141203.0394
83 | 2560561.0293 | 1141258.0652
84 | 2560576.6302 | 1141268.9574
85 | 2560547.0779 | 1141257.2006
86 | 2560584.2323 | 1141270.179
87 | 2560527.0135 | 1141242.2846
88 | 2560691.5577 | 1141299.0512
89 | 2560653.0756 | 1141285.9056
90 | 2560705.8898 | 1141303.7076
91 | 2560732.4488 | 1141279.7999
92 | 2560728.091 | 1141305.4938
93 | 2560754.6456 | 1141304.5255
94 | 2560776.0534 | 1141303.0074
95 | 2560786.1027 | 1141302.2948
96 | 2560789.5998 | 1141296.2801
97 | 2560779.9167 | 1141317.917
98 | 2560793.8539 | 1141280.4636
99 | 2560801.2303 | 1141300.5922
100 | 2560779.9912 | 1141327.1139
101 | 2560795.3792 | 1141274.7538
102 | 2560821.4826 | 1141300.6226
103 | 2560783.3979 | 1141329.6263
104 | 2560781.5186 | 1141341.0795
105 | 2560801.4681 | 1141334.9558
106 | 2560778.7558 | 1141354.9027
107 | 2560800.4359 | 1141346.9019
108 | 2560799.8333 | 1141348.351
109 | 2560798.5302 | 1141350.2944
110 | 2560797.473 | 1141351.8709
111 | 2560822.6175 | 1141300.4593
112 | 2560833.2746 | 1141286.902
113 | 2560833.3114 | 1141286.7472
114 | 2560833.5366 | 1141285.7999
115 | 2560696.7151 | 1141237.3338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1