## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5892-12_1_3_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_5892-12_1_3_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_5892-12_1_3_node_57 | 0.4 | n |  | TRUE
3 | bus_LV_5892-12_1_3_node_109 | 0.4 | n |  | TRUE
4 | bus_LV_5892-12_1_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_5892-12_1_3_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_5892-12_1_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_5892-12_1_3_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_5892-12_1_3_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_5892-12_1_3_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_5892-12_1_3_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_5892-12_1_3_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_5892-12_1_3_node_107 | 0.4 | n |  | TRUE
13 | bus_LV_5892-12_1_3_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_5892-12_1_3_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_5892-12_1_3_node_118 | 0.4 | n |  | TRUE
16 | bus_LV_5892-12_1_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_5892-12_1_3_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_5892-12_1_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_5892-12_1_3_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_5892-12_1_3_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_5892-12_1_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_5892-12_1_3_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_5892-12_1_3_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_5892-12_1_3_node_114 | 0.4 | n |  | TRUE
25 | bus_LV_5892-12_1_3_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_5892-12_1_3_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_5892-12_1_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_5892-12_1_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_5892-12_1_3_node_117 | 0.4 | n |  | TRUE
30 | bus_LV_5892-12_1_3_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_5892-12_1_3_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_5892-12_1_3_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_5892-12_1_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_5892-12_1_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_5892-12_1_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_5892-12_1_3_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_5892-12_1_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_5892-12_1_3_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_5892-12_1_3_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_5892-12_1_3_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_5892-12_1_3_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_5892-12_1_3_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_5892-12_1_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_5892-12_1_3_node_111 | 0.4 | n |  | TRUE
45 | bus_MV_37_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5892-12_1_3_load_55 | 0 | 0.0034633 | 0.00086799 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5892-12_1_3_load_58 | 1 | 0.00063843 | 0.00016001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5892-12_1_3_load_57 | 2 | 0.0026682 | 0.0006687 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5892-12_1_3_load_109 | 3 | 0.0026682 | 0.0006687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5892-12_1_3_load_78 | 4 | 0.0030457 | 0.00076331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5892-12_1_3_load_67 | 5 | 0.0035455 | 0.00088858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5892-12_1_3_load_68 | 6 | 0.0017752 | 0.0004449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5892-12_1_3_load_70 | 8 | 0.0019604 | 0.00049132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5892-12_1_3_load_73 | 10 | 0.0019626 | 0.00049187 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5892-12_1_3_load_113 | 11 | 0.012433 | 0.003116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5892-12_1_3_load_74 | 13 | 0.0025255 | 0.00063294 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5892-12_1_3_load_118 | 15 | 0.018589 | 0.0046589 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5892-12_1_3_load_79 | 16 | 0.00024767 | 6.2072e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5892-12_1_3_load_80 | 17 | 0.00026252 | 6.5793e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5892-12_1_3_load_83 | 20 | 0.003918 | 0.00098194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5892-12_1_3_load_112 | 23 | 0.0040965 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5892-12_1_3_load_99 | 26 | 0.00019345 | 4.8483e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5892-12_1_3_load_117 | 29 | 0.0093827 | 0.0023515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5892-12_1_3_load_87 | 30 | 0.00031837 | 7.9792e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5892-12_1_3_load_88 | 31 | 0.0013952 | 0.00034967 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5892-12_1_3_load_92 | 35 | 0.0056957 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5892-12_1_3_load_94 | 36 | 0.001985 | 0.00049749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5892-12_1_3_load_95 | 37 | 0.0020356 | 0.00051017 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5892-12_1_3_load_93 | 38 | 0.089229 | 0.022363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5892-12_1_3_load_101 | 39 | 0.0020253 | 0.00050758 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5892-12_1_3_load_98 | 41 | 0.058139 | 0.014571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5892-12_1_3_load_108 | 42 | 0.0019604 | 0.00049132 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5892-12_1_3_load_110 | 43 | 0.0054512 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5892-12_1_3_load_111 | 44 | 0.00021973 | 5.5069e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5892-12_1_3_line_0 |  | 0 | 1 | 0.026368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5892-12_1_3_line_1 |  | 1 | 4 | 0.010027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5892-12_1_3_line_2 |  | 2 | 3 | 0.00833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5892-12_1_3_line_3 |  | 3 | 43 | 0.067269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5892-12_1_3_line_4 |  | 4 | 13 | 0.17343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5892-12_1_3_line_5 |  | 5 | 6 | 0.02743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5892-12_1_3_line_6 |  | 5 | 7 | 0.046227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5892-12_1_3_line_7 |  | 6 | 8 | 0.0066201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5892-12_1_3_line_8 |  | 7 | 9 | 0.027891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5892-12_1_3_line_9 |  | 8 | 10 | 0.0066231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5892-12_1_3_line_10 |  | 9 | 11 | 0.026667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5892-12_1_3_line_11 |  | 10 | 12 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5892-12_1_3_line_12 |  | 11 | 24 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5892-12_1_3_line_13 |  | 12 | 42 | 0.0029775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5892-12_1_3_line_14 |  | 13 | 14 | 0.020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5892-12_1_3_line_15 |  | 14 | 15 | 0.15432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5892-12_1_3_line_16 |  | 15 | 27 | 0.10838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5892-12_1_3_line_17 |  | 16 | 17 | 0.0092138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5892-12_1_3_line_18 |  | 16 | 18 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5892-12_1_3_line_19 |  | 17 | 19 | 0.036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5892-12_1_3_line_20 |  | 18 | 20 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5892-12_1_3_line_21 |  | 19 | 21 | 0.046152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5892-12_1_3_line_22 |  | 19 | 22 | 0.11323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5892-12_1_3_line_23 |  | 21 | 23 | 0.058774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5892-12_1_3_line_24 |  | 21 | 24 | 0.07354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5892-12_1_3_line_25 |  | 22 | 29 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5892-12_1_3_line_26 |  | 22 | 25 | 0.15857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5892-12_1_3_line_27 |  | 23 | 44 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5892-12_1_3_line_28 |  | 25 | 26 | 0.05367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5892-12_1_3_line_29 |  | 25 | 27 | 0.12776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5892-12_1_3_line_30 |  | 25 | 28 | 0.051501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5892-12_1_3_line_31 |  | 28 | 40 | 0.061122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5892-12_1_3_line_32 |  | 28 | 38 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5892-12_1_3_line_33 |  | 30 | 31 | 0.0046368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5892-12_1_3_line_34 |  | 30 | 32 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5892-12_1_3_line_35 |  | 32 | 33 | 0.009385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5892-12_1_3_line_36 |  | 32 | 34 | 0.02347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5892-12_1_3_line_37 |  | 33 | 35 | 0.004644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5892-12_1_3_line_38 |  | 34 | 36 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5892-12_1_3_line_39 |  | 34 | 37 | 0.051408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5892-12_1_3_line_40 |  | 36 | 39 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5892-12_1_3_line_41 |  | 39 | 41 | 0.025206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5892-12_1_3_line_42 |  | 40 | 41 | 0.046573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5892-12_1_3_line_43 |  | 43 | 44 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5892-12_1_3_trafo_92 | 0.63 MVA 20/0.4 kV | 45 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2555598.7555 | 1146894.6332 | 2555592.7843 | 1146891.1044 | 2555587.766 | 1146882.4148 | 2555579.8152 | 1146877.4044
1 | 2555607.3877 | 1146899.7344 | 2555598.7555 | 1146894.6332
2 | 2555534.1759 | 1146541.5298 | 2555530.8209 | 1146539.7592 | 2555526.584 | 1146538.1383
3 | 2555534.1759 | 1146541.5298 | 2555545.3413 | 1146547.4225 | 2555587.4065 | 1146562.375 | 2555597.1422 | 1146564.6598
4 | 2555607.3877 | 1146899.7344 | 2555649.2864 | 1147068.0236
5 | 2555624.7912 | 1146523.7159 | 2555598.067 | 1146517.5311
6 | 2555653.643 | 1146497.0082 | 2555650.0449 | 1146515.3109 | 2555629.991 | 1146524.9192 | 2555624.7912 | 1146523.7159
7 | 2555598.067 | 1146517.5311 | 2555591.6174 | 1146516.0385
8 | 2555653.643 | 1146497.0082 | 2555673.2869 | 1146514.0722 | 2555674.7015 | 1146515.2958
9 | 2555585.1648 | 1146514.5452 | 2555591.6174 | 1146516.0385
10 | 2555674.7015 | 1146515.2958 | 2555682.9502 | 1146522.4609 | 2555697.0587 | 1146529.441
11 | 2555571.6821 | 1146504.0389 | 2555570.2672 | 1146511.0974 | 2555585.1648 | 1146514.5452
12 | 2555706.6179 | 1146534.1704 | 2555697.0587 | 1146529.441
13 | 2555571.6821 | 1146504.0389 | 2555572.3268 | 1146501.132
14 | 2555663.445 | 1147053.2666 | 2555656.8591 | 1147060.052 | 2555649.2864 | 1147068.0236
15 | 2555722.8573 | 1146910.8446 | 2555663.445 | 1147053.2666
16 | 2555768.4635 | 1146845.8534 | 2555767.541 | 1146859.3115 | 2555761.987 | 1146886.344 | 2555752.9813 | 1146905.6535 | 2555743.4572 | 1146918.1745 | 2555732.0855 | 1146924.9061 | 2555728.4995 | 1146921.8976 | 2555722.8573 | 1146910.8446
17 | 2555672.6015 | 1146648.1555 | 2555681.5949 | 1146650.1588
18 | 2555658.8908 | 1146645.1013 | 2555672.6015 | 1146648.1555
19 | 2555705.1069 | 1146622.0489 | 2555688.4167 | 1146639.8699 | 2555681.5949 | 1146650.1588 | 2555681.5949 | 1146650.1588
20 | 2555658.8908 | 1146645.1013 | 2555653.4523 | 1146667.9643
21 | 2555705.1069 | 1146622.0489 | 2555715.3002 | 1146613.7696 | 2555688.938 | 1146593.8869
22 | 2555705.1069 | 1146622.0489 | 2555715.3002 | 1146613.7696 | 2555745.0392 | 1146636.4291 | 2555746.9622 | 1146633.669 | 2555750.5042 | 1146628.5848 | 2555751.5837 | 1146627.0539 | 2555751.6186 | 1146624.4967 | 2555754.9304 | 1146619.4476 | 2555756.8294 | 1146616.5543 | 2555760.8589 | 1146607.7868 | 2555770.7753 | 1146600.4879 | 2555776.1533 | 1146599.6146 | 2555779.5035 | 1146588.2953
23 | 2555688.938 | 1146593.8869 | 2555670.4153 | 1146580.9056 | 2555662.5391 | 1146577.3729 | 2555652.3861 | 1146574.4574 | 2555635.5172 | 1146572.7064
24 | 2555688.938 | 1146593.8869 | 2555690.3716 | 1146582.048 | 2555699.703 | 1146571.4516 | 2555709.6807 | 1146564.141 | 2555714.2883 | 1146556.6921 | 2555716.3851 | 1146548.328 | 2555713.9484 | 1146540.7865 | 2555706.6179 | 1146534.1704
25 | 2555779.5035 | 1146588.2953 | 2555783.0801 | 1146577.5489
26 | 2555772.3171 | 1146719.2266 | 2555776.2152 | 1146703.0451 | 2555773.7368 | 1146694.0032 | 2555771.3213 | 1146688.2735 | 2555770.7423 | 1146682.6638 | 2555772.004 | 1146678.7636 | 2555775.4945 | 1146675.036 | 2555785.3771 | 1146665.2472 | 2555783.9622 | 1146660.8443 | 2555783.9512 | 1146656.2197 | 2555785.317 | 1146651.8519 | 2555787.924 | 1146648.0975 | 2555791.5442 | 1146645.2916 | 2555798.9498 | 1146621.4027 | 2555794.0065 | 1146619.7715 | 2555795.8201 | 1146614.6556 | 2555783.6349 | 1146610.0761 | 2555783.8003 | 1146609.5969 | 2555786.5981 | 1146601.4944 | 2555782.4278 | 1146600.5245 | 2555779.5035 | 1146588.2953
27 | 2555635.5172 | 1146572.7064 | 2555628.1873 | 1146571.9456 | 2555621.452 | 1146570.365
28 | 2555719.3058 | 1146711.268 | 2555753.4112 | 1146716.731 | 2555761.9559 | 1146719.2917 | 2555772.3171 | 1146719.2266
29 | 2555768.4635 | 1146845.8534 | 2555769.2124 | 1146834.8978 | 2555767.6415 | 1146812.4311 | 2555767.3167 | 1146799.6047 | 2555767.3809 | 1146788.4874 | 2555770.9128 | 1146782.047 | 2555772.0028 | 1146766.2975 | 2555772.8029 | 1146748.7271 | 2555773.1925 | 1146740.0864 | 2555773.5296 | 1146729.5229 | 2555772.3171 | 1146719.2266
30 | 2555741.3881 | 1146760.2307 | 2555765.2069 | 1146725.8156 | 2555772.3171 | 1146719.2266
31 | 2555741.3881 | 1146760.2307 | 2555734.9181 | 1146770.2946 | 2555720.6386 | 1146798.3586 | 2555717.9638 | 1146815.8428
32 | 2555741.3881 | 1146760.2307 | 2555724.805 | 1146766.4893
33 | 2555633.3192 | 1146745.8862 | 2555637.8619 | 1146746.8156
34 | 2555658.5969 | 1146751.058 | 2555637.8619 | 1146746.8156
35 | 2555658.5969 | 1146751.058 | 2555667.835 | 1146752.8575
36 | 2555658.5969 | 1146751.058 | 2555649.2006 | 1146772.5716
37 | 2555672.4041 | 1146753.7576 | 2555667.835 | 1146752.8575
38 | 2555649.2006 | 1146772.5716 | 2555645.7335 | 1146780.5013 | 2555639.4907 | 1146790.0967 | 2555635.8448 | 1146802.9413
39 | 2555649.2006 | 1146772.5716 | 2555638.9562 | 1146777.005 | 2555635.3257 | 1146777.3431 | 2555629.3771 | 1146777.8984 | 2555615.6504 | 1146775.6985 | 2555601.4184 | 1146772.6687 | 2555599.3361 | 1146772.0507
40 | 2555652.2918 | 1146814.6927 | 2555652.2918 | 1146814.6927 | 2555641.4825 | 1146807.0908 | 2555635.8448 | 1146802.9413
41 | 2555652.2918 | 1146814.6927 | 2555662.1503 | 1146820.4453 | 2555674.3489 | 1146826.8809
42 | 2555717.9638 | 1146815.8428 | 2555705.1762 | 1146824.3191 | 2555690.477 | 1146827.6958 | 2555674.3489 | 1146826.8809
43 | 2555597.1422 | 1146564.6598 | 2555621.452 | 1146570.365

## bus_geodata
| x | y | coords
0 | 2555579.8152 | 1146877.4044
1 | 2555598.7555 | 1146894.6332
2 | 2555526.584 | 1146538.1383
3 | 2555534.1759 | 1146541.5298
4 | 2555607.3877 | 1146899.7344
5 | 2555624.7912 | 1146523.7159
6 | 2555598.067 | 1146517.5311
7 | 2555653.643 | 1146497.0082
8 | 2555591.6174 | 1146516.0385
9 | 2555674.7015 | 1146515.2958
10 | 2555585.1648 | 1146514.5452
11 | 2555697.0587 | 1146529.441
12 | 2555571.6821 | 1146504.0389
13 | 2555649.2864 | 1147068.0236
14 | 2555663.445 | 1147053.2666
15 | 2555722.8573 | 1146910.8446
16 | 2555672.6015 | 1146648.1555
17 | 2555681.5949 | 1146650.1588
18 | 2555658.8908 | 1146645.1013
19 | 2555705.1069 | 1146622.0489
20 | 2555653.4523 | 1146667.9643
21 | 2555688.938 | 1146593.8869
22 | 2555779.5035 | 1146588.2953
23 | 2555635.5172 | 1146572.7064
24 | 2555706.6179 | 1146534.1704
25 | 2555772.3171 | 1146719.2266
26 | 2555719.3058 | 1146711.268
27 | 2555768.4635 | 1146845.8534
28 | 2555741.3881 | 1146760.2307
29 | 2555783.0801 | 1146577.5489
30 | 2555637.8619 | 1146746.8156
31 | 2555633.3192 | 1146745.8862
32 | 2555658.5969 | 1146751.058
33 | 2555667.835 | 1146752.8575
34 | 2555649.2006 | 1146772.5716
35 | 2555672.4041 | 1146753.7576
36 | 2555635.8448 | 1146802.9413
37 | 2555599.3361 | 1146772.0507
38 | 2555724.805 | 1146766.4893
39 | 2555652.2918 | 1146814.6927
40 | 2555717.9638 | 1146815.8428
41 | 2555674.3489 | 1146826.8809
42 | 2555572.3268 | 1146501.132
43 | 2555597.1422 | 1146564.6598
44 | 2555621.452 | 1146570.365
45 | 2555667.835 | 1146752.8575

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1